## Sheet1
| Article |  | GB Status Quo | Dcode | What will be the applicable in GB?
Demand Connected at T | 2(1)(b) | 52 | y | n | Complete next workgroup meeting
Demand Connected at D | X |  | X | Y | 3 sets of data across them all
Generation Connected at T ( B-D) | 2(1)(a) |  | Y | N
Generation Connected at D (B-D) | 2(1)(a) |  | Y | Y
Demand Side Response directly to the TSO | 2(1)(d) | 53 | N | N
Demand Side Response directly to the DSO | X |  | X | N
Aggregation of Demand for redispatch | 2(1) (e) |  | N | N
Aggregation of Demand Side Response directly to the TSO | 2(1)(d) | 53 | N | N
Aggregation of Generation for dispatch | 2(1) (e) |  | N | N
Aggregation by CDSO | 2(1) (d) |  | N | N
CDSOs Transmission connected | 2(1) (b) |  | Y | N
DSOs*Except certain islands | 2 (2) |  | Y | N
HVDC | 2 (1) (f) |  | Y | N