# Grid Code Industry Consultation Response Proforma

GC0048 – Requirements for Generators – GB Banding Thresholds

Industry parties are invited to respond to this consultation expressing their views and supplying the rationale for those views, particularly in respect of any specific questions detailed below.

Please send your responses by 29 April 2016 to Grid.Code@nationalgrid.com.  Please note that any responses received after the deadline or sent to a different email address may not receive due consideration.

These responses will be included in the Report to the Authority which is drafted by National Grid and submitted to the Authority for a decision.

| Respondent: | Alastair Frew |
| --- | --- |
| Company Name: | ScottishPower Generation |
| ##### Consultation Questions: |  |
| ##### i) From your perspective, which of the banding options presented in the consultation document (‘high’, ‘medium’, and ‘low’ is most suitable to apply in the GB synchronous area for the next three-five years? |  |
| ##### The High option |  |
| ##### ii) In respect of your preferred banding option stated in question (i), please can you provide a supporting justification, particularly focusing on quantifying any costs/savings/benefits (the attached template is provided as a guide), when it is compared to the other two options presented in this report. |  |
| Reviewing the existing generation and proposed generation in 5 years’ time from the data available in the TEC Register dated 16 November 2015, Embedded Register dated 16 November 2015 and 2015 week 24 data plus DNO ED1 allows comparisons between existing and future capacity. Summary tables of this data are given at the end of this text. Looking at the available frequency response if the proposed banding were to be applied to the current generation mixed as can be seen in tables 1a, b & c all options would result in the approximately 80 GW of plant available to provide response. The difference between the high and medium options is less than 4% of the total generating capacity or 3500MW of generating capacity, even the low option only offers 14% increase or 12000MW of generating capacity. The additional capacity then only equates to potentially 10% additional frequency response of 350MW for medium option compared to high and 1200MW for the low option compared to the high option. Similarly looking forward at the potentially available frequency response if the proposed banding were to be applied to the end of 2021 generation mixed as can be seen in tables 2a, b & c all options would result in the approximately 130 GW of plant available to provide response. The difference between the high and medium options is less than 2% of the total generating capacity or 4000MW of generating capacity, even the low option only offers 9% increase or 17000MW of generating capacity. The additional capacity then only equates to potentially 10% additional response of 400MW for medium option compared to high and 1700MW for the low option compared to the high option. It should also be noted that this has been applied to all generation and not just the generation connected after 2018 and in practice the low option may only pick up an additional 2000MW of generating capacity and not the 17000MW, there will be a similar issue with the medium option as well. Based on the current frequency response usage level of Primary 657MW, Secondary 448MW and High 708MW which are less than 7.5% of the current capacity the potential changes to the current availability of response for the medium option would only be a 3% increase in capacity and the low would only probably result in a 4% increase in capability. Looking forward 5 years assuming the infeed lose has not changed then the current response requirements should still be applicable in this scenario. Given that the available generation to provide response increases by just approximately 50GW from current under the high option with 70% of plant still providing response should in 6 years’ time still provide adequate response margins. The high option would appear to suffice in terms of response requirements as there appear to be no detrimental cost implications. Choosing a lower banding will give greater availability of response capability but its usage this is likely to be limited, however the cost implications of this are not clear as other codes such as the Transmission System Operation Guidelines (TSOG) appear to be applying the banding retrospectively to existing generators which may require a sudden increase in communication links with unknown costs. On the bases that for the next 5 years the high option suffices and as some potential costs implications will not be known until all the Network Codes are complete, applying the high option and then carrying out a further review as required in 3 years’ time when all codes are complete appears to be the most pragmatic solution. Tables 1a, b & c below summaries the data for current generation available volumes based on the TEC Register dated 16 November 2015, Embedded Register dated 16 November 2015 and DNO week 24 data 2015. Total Generating capacity in MW in each band from each source. Data source; Generator size band. 0.8kW to 1 MW; 1 to 49.9 MW; 50 to 74.9 MW; >75MW. DNO ED1; 2880; 14585; 7199; 0. TEC Register; 1380.43; 887.85; 67702.9. Embedded Resister; 1269.77; 233.1; 75. Total; 2880; 17235.2; 8319.95; 67777.9. Generator Banding. Type A; 2880. Type B; 15854.77. Type C; 7432.1. Type D; 70046.18. Total; 96213.05. Total C + D; 77478.28; Percentage; 80.52783. Table 1a – Analysis of current generating levels against high banding option. Total Generating capacity in MW in each band from each source. Data source; Generator size band. 0.8kW to 1 MW; 1 to 29.9 MW; 30 to 49.9 MW; >50MW. DNO ED1; 2880; 11676; 2909; 7199. TEC Register; 558.33; 822.1; 68590.75. Embedded Resister; 605.77; 664; 308.1. Total; 2880; 12840.1; 4395.1; 76097.85. Generator Banding. Type A; 2880. Type B; 12281.77. Type C; 3573. Type D; 77478.28. Total; 96213.05. Total C + D; 81051.28; Percentage; 84.24146. Table 1b – Analysis of current generating levels against medium banding option Total Generating capacity in MW in each band from each source. Data source; Generator size band. 0.8kW to 1 MW; 1 to 4.9 MW; 5 to 9.9 MW; >10MW. DNO ED1; 2880; 2366; 2860; 16558. TEC Register; 0; 0; 69971.18. Embedded Resister; 28.1; 91.05; 1458.72. Total; 2880; 2394.1; 2951.05; 87987.9. Generator Banding. Type A; 2880. Type B; 2394.1. Type C; 2951.05. Type D; 87987.9. Total; 96213.05. Total C + D; 90938.95; Percentage; 94.51831. Table 1c – Analysis of current generating levels against low banding option Tables 2a, b & c below summaries the data for predicted generation available volumes in years’ time (i.e. end of 2021) based on the TEC Register dated 16 November 2015, Embedded Register dated 16 November 2015 and DNO week 24 data 2015. Total Generating capacity in MW in each band from each source. Data source; Generator size band. 0.8kW to 1 MW; 1 to 49.9 MW; 50 to 74.9 MW; >75MW. DNO ED1; 25062.4; 21378.29; 7199; 750. TEC Register; 3352.13; 2669.15; 112750.1. Embedded Resister; 2336.57; 283.1; 75. Total; 25062.4; 27066.99; 10151.25; 113575.1. Generator Banding. Type A; 25062.4. Type B; 23714.86. Type C; 7482.1. Type D; 119596.4. Total; 175855.7. Total C + D; 127078.5; Percentage; 72.26291. Table 2a – Analysis of end of 2021 generating levels against high banding option. Total Generating capacity in MW in each band from each source. Data source; Generator size band. 0.8kW to 1 MW; 1 to 29.9 MW; 30 to 49.9 MW; >50MW. DNO ED1; 25062.4; 18469.29; 2909; 7949. TEC Register; 1323.83; 2028.3; 115419.3. Embedded Resister; 1510.47; 826.1; 358.1. Total; 25062.4; 21303.59; 5763.4; 123726.4. Generator Banding. Type A; 25062.4. Type B; 19979.76. Type C; 3735.1. Type D; 127078.5. Total; 175855.7. Total C + D; 130813.6; Percentage; 74.38687. Table 2b – Analysis of end of 2021 generating levels against medium banding option Total Generating capacity in MW in each band from each source. Data source; Generator size band. 0.8kW to 1 MW; 1 to 4.9 MW; 5 to 9.9 MW; >10MW. DNO ED1; 25062.4; 7289.19; 3861.77; 18176.33. TEC Register; 5; 38.8; 118727.6. Embedded Resister; 187.05; 430.45; 2077.17. Total; 25062.4; 7481.24; 4331.02; 138981.1. Generator Banding. Type A; 25062.4. Type B; 7476.24. Type C; 4292.22. Type D; 139024.9. Total; 175855.7. Total C + D; 143317.1; Percentage; 81.49697. Table 2c – Analysis of end for 2021 generating levels against low banding option |
| ##### iii) Does your preferred banding level adequately protect the interests of all Transmission System and Distribution System Users? If not, why does it fail to do so? |  |
| ##### Yes |  |
| ##### iv) Do the proposed banding levels strike an appropriate balance between the needs of the System Operator, Network Operators, Generators and other interested parties? If not, why do they fail to do so? |  |
| ##### Yes |  |
| ##### v) Are there additional considerations for the banding level which the Workgroup has so far not taken account of in this report? |  |
| ##### No |  |
| ##### vi) Please provide any other comments you feel are relevant to the proposed change. |  |
| ##### The proposed legal text could be simplified by not including the current proposed text from the RFG and just modifying the definition of a power-generating module as follows:- ‘power-generating module’ means either a synchronous power-generating module or a power park module; these can be further subdivided into the following types:- - type A power-generating modules have a connection point voltage below 110 kV and maximum capacity of greater than 800W (watts) and less than 1MW; - type B power-generating modules have a connection point voltage below 110 kV and maximum capacity of 1MW or greater and less than 50MW; - type C power-generating modules have a connection point voltage below 110 kV and maximum capacity of 50MW or greater and less than 75MW; - type D power-generating modules have maximum capacity of 75MW or greater or have a connection point voltage at 110 kV or above. Note numbers highlighted in yellow to be confirmed after banding levels have been confirmed. |  |
| ##### vii) How do you believe your preferred banding level facilitates the Grid Code/Distribution Code objectives? |  |
| For reference the applicable Grid Code objectives are: (i) to permit the development, maintenance and operation of an efficient, coordinated and economical system for the transmission of electricity; ##### Choosing the high option limits the introduction of addition cost to smaller generators in having to be capable of providing services which are unlikely to be called upon. (ii) to facilitate competition in the generation and supply of electricity (and without limiting the foregoing, to facilitate the national electricity transmission system being made available to persons authorised to supply or generate electricity on terms which neither prevent nor restrict competition in the supply or generation of electricity); ##### The higher banding option is the closest to the existing requirements so ensures a more equal balance between existing users and new by limiting the number of additional requirements being applied to new generators. (iii) subject to sub-paragraphs (i) and (ii), to promote the security and efficiency of the electricity generation, transmission and distribution systems in the national electricity transmission system operator area taken as a whole; and ##### This option does not affect the current situation. (iv) to efficiently discharge the obligations imposed upon the licensee by this license and to comply with the Electricity Regulation and any relevant legally binding decisions of the European Commission and/or the Agency. ##### This banding option permits compliance with Electricity Regulation. |  |
| Do you have any additional comments? |  |
| ##### No |  |