## Info
Title | Historic utilisation profiles of Reactive Power in the Power Potential Region
Project | Power Potential
Date | 2018-05-29
Version | 4_0
Purpose: To provide indicative daily net lead (-) / lag (+)utilisation profiles based on that observed on transmission-connected units between April 2016 and April 2018. Note that this data is not intended to be a forecast of utilisation requirements in 2019; actual utilisation during trials in 2019 will be in line with real time operational requirements and trial volumes will be a function of the set points provided at the point of arming, plus local (i.e. distribution-level) voltage conditions. Note this data set does not include bank holidays. Disclaimer All information published or otherwise made available to market participants and other interested parties pursuant to these Procurement Guidelines is done so in good faith. However, no warranty or representation is given by National Grid Electricity Transmission plc , its officers, employees or agents as to the accuracy or completeness of any such information, nor is any warranty or representation given that there are no matters material to any such information not contained or referred to therein. Accordingly, no liability can be accepted for any error, misstatement or omission in respect thereof, save in respect of a misrepresentation made fraudulently.

## Charts
| Weekday | Weekend
January
February
March
April
May
June
July
August
September
October
November
December

## WD
Average weekday hourly net utilisation as % of reactive lead (-) or lag (+) capability
| SP | Time | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| 47 | 23:00 | 0% | -15% | -5% | -5% | 0% | -10% | 5% | 0% | -10% | -20% | -10% | -20%
| 48 | 23:30 | 0% | -15% | -5% | -5% | 0% | -10% | 5% | 0% | -10% | -20% | -10% | -20%
| 1 | 0:00 | -10% | -20% | -10% | -20% | -15% | -25% | -5% | -15% | -20% | -30% | -25% | -20%
| 2 | 0:30 | -10% | -20% | -10% | -20% | -15% | -25% | -5% | -15% | -20% | -30% | -25% | -20%
| 3 | 1:00 | -10% | -20% | -15% | -20% | -25% | -35% | -25% | -25% | -25% | -35% | -25% | -20%
| 4 | 1:30 | -10% | -20% | -15% | -20% | -25% | -35% | -25% | -25% | -25% | -35% | -25% | -20%
| 5 | 2:00 | -15% | -25% | -20% | -20% | -25% | -40% | -30% | -35% | -30% | -35% | -35% | -25%
| 6 | 2:30 | -15% | -25% | -20% | -20% | -25% | -40% | -30% | -35% | -30% | -35% | -35% | -25%
| 7 | 3:00 | -15% | -25% | -25% | -25% | -25% | -40% | -40% | -40% | -35% | -40% | -35% | -30%
| 8 | 3:30 | -15% | -25% | -25% | -25% | -25% | -40% | -40% | -40% | -35% | -40% | -35% | -30%
| 9 | 4:00 | -15% | -30% | -35% | -25% | -30% | -45% | -40% | -40% | -40% | -40% | -40% | -30%
| 10 | 4:30 | -15% | -30% | -35% | -25% | -30% | -45% | -40% | -40% | -40% | -40% | -40% | -30%
| 11 | 5:00 | -10% | -25% | -35% | -25% | -30% | -45% | -40% | -40% | -40% | -40% | -35% | -30%
| 12 | 5:30 | -10% | -25% | -35% | -25% | -30% | -45% | -40% | -40% | -40% | -40% | -35% | -30%
| 13 | 6:00 | 0% | -20% | -15% | -15% | -25% | -40% | -30% | -25% | -25% | -30% | -20% | -25%
| 14 | 6:30 | 0% | -20% | -15% | -15% | -25% | -40% | -30% | -25% | -25% | -30% | -20% | -25%
| 15 | 7:00 | 0% | -10% | -5% | -10% | 0% | -15% | -10% | -5% | -10% | -5% | -5% | -10%
| 16 | 7:30 | 0% | -10% | -5% | -10% | 0% | -15% | -10% | -5% | -10% | -5% | -5% | -10%
| 17 | 8:00 | 0% | -5% | 0% | 0% | 0% | 0% | 5% | 0% | -5% | 0% | -5% | -5%
| 18 | 8:30 | 0% | -5% | 0% | 0% | 0% | 0% | 5% | 0% | -5% | 0% | -5% | -5%
| 19 | 9:00 | 5% | 0% | 0% | 0% | 0% | 0% | 5% | 0% | 0% | 0% | -5% | -5%
| 20 | 9:30 | 5% | 0% | 0% | 0% | 0% | 0% | 5% | 0% | 0% | 0% | -5% | -5%
| 21 | 10:00 | 0% | -5% | 0% | 0% | 0% | 0% | 5% | 5% | -5% | 0% | -5% | -5%
| 22 | 10:30 | 0% | -5% | 0% | 0% | 0% | 0% | 5% | 5% | -5% | 0% | -5% | -5%
| 23 | 11:00 | 0% | -5% | 0% | 0% | 0% | 0% | 5% | 5% | -5% | 0% | -5% | -5%
| 24 | 11:30 | 0% | -5% | 0% | 0% | 0% | 0% | 5% | 5% | -5% | 0% | -5% | -5%
| 25 | 12:00 | 0% | -5% | -5% | -5% | 0% | 0% | 5% | 5% | -5% | 0% | -5% | -5%
| 26 | 12:30 | 0% | -5% | -5% | -5% | 0% | 0% | 5% | 5% | -5% | 0% | -5% | -5%
| 27 | 13:00 | -5% | -5% | -5% | -5% | 0% | -5% | 5% | 0% | -5% | 0% | -5% | -5%
| 28 | 13:30 | -5% | -5% | -5% | -5% | 0% | -5% | 5% | 0% | -5% | 0% | -5% | -5%
| 29 | 14:00 | -5% | -5% | -5% | -10% | -5% | -10% | -5% | 0% | -10% | 0% | -5% | -10%
| 30 | 14:30 | -5% | -5% | -5% | -10% | -5% | -10% | -5% | 0% | -10% | 0% | -5% | -10%
| 31 | 15:00 | 0% | -5% | -5% | -10% | -5% | -5% | 0% | 0% | -10% | -5% | -10% | -10%
| 32 | 15:30 | 0% | -5% | -5% | -10% | -5% | -5% | 0% | 0% | -10% | -5% | -10% | -10%
| 33 | 16:00 | 0% | -5% | 0% | -10% | 0% | -5% | 5% | 0% | -5% | -10% | -10% | -5%
| 34 | 16:30 | 0% | -5% | 0% | -10% | 0% | -5% | 5% | 0% | -5% | -10% | -10% | -5%
| 35 | 17:00 | 5% | 5% | 5% | -5% | 0% | 0% | 5% | 5% | 0% | -10% | 0% | 0%
| 36 | 17:30 | 5% | 5% | 5% | -5% | 0% | 0% | 5% | 5% | 0% | -10% | 0% | 0%
| 37 | 18:00 | 5% | 5% | 10% | -5% | 5% | 0% | 5% | 5% | 0% | 0% | 0% | 0%
| 38 | 18:30 | 5% | 5% | 10% | -5% | 5% | 0% | 5% | 5% | 0% | 0% | 0% | 0%
| 39 | 19:00 | 0% | 5% | 10% | -5% | 5% | -5% | 5% | 5% | 5% | 5% | -5% | 0%
| 40 | 19:30 | 0% | 5% | 10% | -5% | 5% | -5% | 5% | 5% | 5% | 5% | -5% | 0%
| 41 | 20:00 | 0% | 0% | 5% | 0% | 5% | 0% | 5% | 5% | 5% | -5% | -5% | 0%
| 42 | 20:30 | 0% | 0% | 5% | 0% | 5% | 0% | 5% | 5% | 5% | -5% | -5% | 0%
| 43 | 21:00 | 5% | 0% | 5% | 0% | 5% | 0% | 5% | 5% | -5% | -5% | -5% | -5%
| 44 | 21:30 | 5% | 0% | 5% | 0% | 5% | 0% | 5% | 5% | -5% | -5% | -5% | -5%
| 45 | 22:00 | 5% | -5% | 0% | -5% | 0% | -5% | 5% | 5% | -5% | 0% | 0% | -10%
| 46 | 22:30 | 5% | -5% | 0% | -5% | 0% | -5% | 5% | 5% | -5% | 0% | 0% | -10%

## WE
Average weekday hourly net utilisation as % of reactive lead (-) or lag (+) capability
| SP | Time | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| 47 | 23:00 | 0% | -25% | -10% | -5% | 0% | -20% | 10% | -5% | -15% | -30% | -30% | -10%
| 48 | 23:30 | 0% | -25% | -10% | -5% | 0% | -20% | 10% | -5% | -15% | -30% | -30% | -10%
| 1 | 0:00 | 0% | -20% | -15% | -20% | -25% | -35% | -20% | -5% | -20% | -30% | -25% | -15%
| 2 | 0:30 | 0% | -20% | -15% | -20% | -25% | -35% | -20% | -5% | -20% | -30% | -25% | -15%
| 3 | 1:00 | 0% | -25% | -10% | -25% | -30% | -45% | -40% | -20% | -30% | -35% | -30% | -20%
| 4 | 1:30 | 0% | -25% | -10% | -25% | -30% | -45% | -40% | -20% | -30% | -35% | -30% | -20%
| 5 | 2:00 | -10% | -30% | -20% | -30% | -35% | -50% | -45% | -30% | -35% | -40% | -40% | -30%
| 6 | 2:30 | -10% | -30% | -20% | -30% | -35% | -50% | -45% | -30% | -35% | -40% | -40% | -30%
| 7 | 3:00 | -10% | -30% | -30% | -30% | -40% | -55% | -55% | -40% | -40% | -45% | -45% | -30%
| 8 | 3:30 | -10% | -30% | -30% | -30% | -40% | -55% | -55% | -40% | -40% | -45% | -45% | -30%
| 9 | 4:00 | -10% | -35% | -35% | -35% | -50% | -60% | -60% | -45% | -45% | -50% | -50% | -40%
| 10 | 4:30 | -10% | -35% | -35% | -35% | -50% | -60% | -60% | -45% | -45% | -50% | -50% | -40%
| 11 | 5:00 | -10% | -40% | -35% | -35% | -50% | -65% | -65% | -45% | -45% | -50% | -50% | -40%
| 12 | 5:30 | -10% | -40% | -35% | -35% | -50% | -65% | -65% | -45% | -45% | -50% | -50% | -40%
| 13 | 6:00 | -10% | -35% | -30% | -35% | -55% | -65% | -60% | -40% | -40% | -45% | -45% | -35%
| 14 | 6:30 | -10% | -35% | -30% | -35% | -55% | -65% | -60% | -40% | -40% | -45% | -45% | -35%
| 15 | 7:00 | 0% | -25% | -20% | -25% | -40% | -50% | -55% | -35% | -30% | -35% | -30% | -25%
| 16 | 7:30 | 0% | -25% | -20% | -25% | -40% | -50% | -55% | -35% | -30% | -35% | -30% | -25%
| 17 | 8:00 | -5% | -20% | -10% | -5% | -15% | -30% | -35% | -15% | -25% | -20% | -20% | -15%
| 18 | 8:30 | -5% | -20% | -10% | -5% | -15% | -30% | -35% | -15% | -25% | -20% | -20% | -15%
| 19 | 9:00 | 5% | -10% | -5% | 0% | -5% | -15% | -5% | -5% | -5% | -10% | -5% | -5%
| 20 | 9:30 | 5% | -10% | -5% | 0% | -5% | -15% | -5% | -5% | -5% | -10% | -5% | -5%
| 21 | 10:00 | 5% | 0% | -5% | 0% | 0% | -10% | 5% | 0% | -5% | -5% | -5% | -5%
| 22 | 10:30 | 5% | 0% | -5% | 0% | 0% | -10% | 5% | 0% | -5% | -5% | -5% | -5%
| 23 | 11:00 | 5% | 0% | -5% | 0% | 0% | -5% | 10% | 0% | -5% | -5% | -5% | -5%
| 24 | 11:30 | 5% | 0% | -5% | 0% | 0% | -5% | 10% | 0% | -5% | -5% | -5% | -5%
| 25 | 12:00 | 5% | 0% | -5% | 0% | 0% | -5% | 5% | 0% | -10% | -5% | -5% | -5%
| 26 | 12:30 | 5% | 0% | -5% | 0% | 0% | -5% | 5% | 0% | -10% | -5% | -5% | -5%
| 27 | 13:00 | 5% | 0% | -5% | -5% | 0% | -10% | 5% | 0% | -15% | -5% | -5% | -5%
| 28 | 13:30 | 5% | 0% | -5% | -5% | 0% | -10% | 5% | 0% | -15% | -5% | -5% | -5%
| 29 | 14:00 | 0% | -5% | -10% | -10% | -5% | -15% | -5% | -15% | -20% | -10% | -5% | -10%
| 30 | 14:30 | 0% | -5% | -10% | -10% | -5% | -15% | -5% | -15% | -20% | -10% | -5% | -10%
| 31 | 15:00 | 0% | -5% | -10% | -10% | -5% | -15% | -10% | -10% | -20% | -10% | -10% | -10%
| 32 | 15:30 | 0% | -5% | -10% | -10% | -5% | -15% | -10% | -10% | -20% | -10% | -10% | -10%
| 33 | 16:00 | 5% | -5% | -10% | -10% | -5% | -15% | -5% | -10% | -20% | -5% | -5% | -5%
| 34 | 16:30 | 5% | -5% | -10% | -10% | -5% | -15% | -5% | -10% | -20% | -5% | -5% | -5%
| 35 | 17:00 | 5% | 0% | -5% | 0% | 0% | -10% | 5% | 0% | -10% | 0% | 5% | 5%
| 36 | 17:30 | 5% | 0% | -5% | 0% | 0% | -10% | 5% | 0% | -10% | 0% | 5% | 5%
| 37 | 18:00 | 5% | 5% | 5% | 5% | 5% | -10% | 15% | 5% | -5% | 5% | 0% | 0%
| 38 | 18:30 | 5% | 5% | 5% | 5% | 5% | -10% | 15% | 5% | -5% | 5% | 0% | 0%
| 39 | 19:00 | 5% | 0% | 0% | 5% | 5% | -5% | 15% | 5% | 0% | 5% | -10% | 0%
| 40 | 19:30 | 5% | 0% | 0% | 5% | 5% | -5% | 15% | 5% | 0% | 5% | -10% | 0%
| 41 | 20:00 | 5% | -10% | 0% | 5% | 5% | -10% | 15% | 10% | 0% | -5% | -15% | 0%
| 42 | 20:30 | 5% | -10% | 0% | 5% | 5% | -10% | 15% | 10% | 0% | -5% | -15% | 0%
| 43 | 21:00 | 5% | -5% | 0% | 5% | 5% | -10% | 15% | 10% | 0% | -15% | -15% | 0%
| 44 | 21:30 | 5% | -5% | 0% | 5% | 5% | -10% | 15% | 10% | 0% | -15% | -15% | 0%
| 45 | 22:00 | 5% | -15% | -5% | 0% | 5% | -5% | 15% | 5% | -5% | -15% | -15% | -5%
| 46 | 22:30 | 5% | -15% | -5% | 0% | 5% | -5% | 15% | 5% | -5% | -15% | -15% | -5%