## Eleclink
Comments submitted by Rob Selbie on behalf of Eleclink on 8th May 2019
Respondees comments | Position taken | General comments
Introduction
ElecLink would like to highlight the following concerns with the NGESO amended proposal;
- The governance arrangements proposed by NGESO are not clear. For example, it is unclear whether aspects currently within the Grid Code will be moved into a subsidiary document in the SQSS.
- The limits on the exchange and/or sharing of RR, FRR and FCR are not specified in enough detail. ElecLink has separately received further details from NGESO which were not included within the consultation or within the regulatory submission. ElecLink considers that all information regarding the limitations should be made publicly available and should be subject to regulatory approval. In addition, ElecLink has concerns regarding the restriction of cross border capacity outside of the framework established by Article 37 of the Electricity Balancing Guideline (EBGL) and suggests that a regional methodology for capacity calculation in the balancing timeframe should be established as soon as possible. | It is not consistent or appropriate to put excessive detail into the electricity codes or methodology statements and this is detailed in operating protocols and where appropraite in commercial service arrangements.
- The ramping restrictions for active power output are not specified in enough detail. ElecLink has separately received further details from NGESO which were not included within the consultation or within the regulatory submission. ElecLink considers that all information regarding the restrictions should be made publicly available and should be subject to regulatory approval. The NGESO proposal only requires the publication of a “summary of the ramping-restrictions to be applied to HVDC interconnectors”. ElecLink believes that NGESO should be required to publish the full details of the actual ramping restrictions applied on each HVDC interconnector. | It is not consistent or appropriate to put excessive detail into the electricity codes or methodology statements and this is detailed in operating protocols and where appropraite in commercial service arrangements.
- NGESO has proposed that the ramping restrictions defined in accordance with Article 137 should be applied to the TERRE active power output. ElecLink believes that this is not in line with SOGL Article 137(1) which explicitly prohibits this approach. |  | SOGL article 137 relates to ramping-restrictions applied to market related allocations; the design of processes and rules associated with how the FCP, FRP and RRP function as well as cross border process design are covered specifically elsewhere. It is the responsibility of the TSOs responsible for frequency quality and reserve activation who must ensure that these activation processes function to aid and improve frequency quality and not to hinder it. The general rules governing the processes are articles 142 to 150. SPecifically with regads to TERRE-RRP I would invite Eleclink to look at article 148(3) which shows the principles and properties that the cross border process must follow. Articles 171(7) and (8) show that the process must not violate security principles or interfere with dimensioning and reserve management processes. Ramping and NTC restrictions clearly assist with ensuring this. Furthermore as specified in article 178(1) the cross border exchange of RR should take into account the ability of the ESO to comply with frequency quality parameters. This aligns with the objectives that article 137 has for the general market activites. Thus rules governing ramp-rate; ramping-periods; devils ears etc are all appropriate controls and measures to ensure that frequency quality, reserve management and where appropriate ACE of the two synchronous are not unduly harmed.
ElecLink would also like to this opportunity to raise concerns regarding the financial settlement of the imbalance energy volumes resulting from the ramping restrictions defined in this SOGL 118/119 proposal. |  | SOGL and related methodologies focus on system security related issues not commerical and market ones. These issues are being discussed elsewhere.
Call for clarity – more information can be provided.
Governance arrangements
It is not clear where NGESO intends to document the various SOGL proposals. | All technical procedures and regulation will be documented and regulated as part of the GB set of procedures and regulation, with SAOA and LFCBOA mappings published with ENTSO-E. Obligations from 118 and 119 applicable to GB cited in SOGL article 8 requiring OFGEM (ie NRA) oversight and for which GB regulatory texts do not currently exist will be placed as a subsidiary document to the NETS SQSS where they relate to system security targets and procedures related to ESO actions and Grid Code where they are obligations on other GB roles. For technical methodologies requiring no regulatory oversight, these will be published in a separate document on the ESO website. Since codification of technical texts into GB is aniticipated to take a number of months, GB compliance with SOGL will be ensured by time-limited methodologies that will be superceded by GB documents in due course. These interim documents will be published, once approved, on the NGESO website. The ENTSO-E mapping 'methodology' will be maintained (from the starting target publication date December 2019 or whensoever they enter-into-force thereafter). | The mapping spreasheet and proposal set out this information. In 14 March 2019, OFGEM response to the 14 September 2018 NGESO submission of methodology texts it was spelled out that the GB regulator desired the technical texts to sit under GB electricity codes where obligations require NRA oversight. SOGL requires publication of methodologies with ENTSO-E which for GB will become a mapping sheet directing readers to GB codes, an NETS SQSS subsidiary document and stand-alone principles document published on the NGESO website alongide GB codes for those texts not requiring regulatory oversight. Some technical obligations and operational principles/limits are already covered by pre-existing text in the GB electricity codes and therefore the mapping points directly to them. The proposal for a subsidiary document to the NETS SQSS is the OFGEM prefered solution. A code modification will be raised such that the new document is referenced and appropriate SOGL compliance governance is spelled-out. The technical texts previously consulted upon in April and again in July 2018 will be used as the basis for the technical texts to be used in the NETS SQSS subsidiary document and the new stand-alone SOGL principles document. In the case of obligations on 3rd parties (e.g. interconnector ramping) this text better sits in the Grid Code and hence a seperate modification will be raised for this. Since several months will be required to raise and impement the NETS SQSS and Grid-Code modifications. To ensure compliance in the intervening period until GB code modifications have been completed, time-limited methodologies will be in-force. By the end of this process SOGL required procedures and regulatory obligations will be codified within GB procedures and regulation and all article 118 and 119 technical texts will be referenced in a GB regulatory mapping published with ENTSO-E.
The proposal letter refers to;
- “a subsidiary document covering the items for inclusion in the SQSS … referenced from the SQSS” |  | A document containing methodologies that will be under the governance and control of OFGEM will be referenced from the NETS SQSS to ensure that OFGEM has oversight of the regulatory statements contained within them. This document will be also referenced from the mapping document to be published with ENTSO-E.
- “For items not needing authority approval we will create a standalone document, which will be published” |  | A stand alone document will contain these articles. Please refer to the mapping spreadsheet. This separate document will itself be referenced from the mapping to be published with ENTSO-E.
- “… an intermediate methodology. This will have termination clauses so that it is no longer applicable once we make changes to the SQSS and Grid Code.” |  | Since code mods take time to be developed and implemented into GB codes (a minimum of 4 to 6 months), an interim set of methodologies will ensure GB compliance with SOGL until such time as a subsidiary document to NETS SQSS is produced and approved by the code panel.
- “NGESO will also provide a mapping showing where all items can be found.” |  | This document is an obligation under the transparency requirements of SOGL and this mapping document will be published with ENTSO-E. The mapping will be maintained and it is likely that it will initially reference the intermediatory methodology document until such time as the NETS SQSS subsidiary document can be revised.
The “SOGL implementation planning” document provides a mapping of the Article 118 and 119 proposals to the GB codes. This mapping includes references to the Grid Code, BSC, and NETS SQSS. It is not clear if the existing provisions within the Grid Code and BSC will be moved to the subsidiary document of the SQSS. |  | A mapping will be published on the ENTSO-E website by the ENTSO-E publication date (expected December 2019) or once OFGEM have given final approval; whichever comes later.
NGESO also states that “The only exception is 119(1) (c) which fits better with the Grid Code”, but no further information is provided on how these proposals will be documented. |  | These proposals will be raised in the form of modification proposals in due course with the respective code panels.
Limits on the exchange and/or sharing of RR, FRR and FCR
Three of the NGESO proposals relate to limits on the amount of exchange or sharing of RR, FRR or FCR between synchronous areas. These are the proposals stated in SOGL Article 118(1) (z), (aa) and (w). The proposals stated in SOGL Article 118(1) (z) and (aa) are subject to regulatory approval.
All three proposals are very similar in form[1], and all list the following factors which could result in limits on the amount of exchange or sharing of RR, FRR and FCR between synchronous areas; | The ESO must limit the capacity shared or exchanged to ensure that: > Grid transfer limits are not exceeded > provision of capacity to other parties does not impede secure operation of GB Load Frequency Control > provision of capacity from other areas over interconnectors does not put GB at risk in the case of service failure > activation and delivery of MWs associated with the service does not destabilise or interfere with the general objectives of the "Process Activation Structure" (SOGL article 140) of which cross-border services/processes form a part. | The limitations on sharing and exchange relate to security consdierations to ensure that sharing/exchange does not have a negative impact on the frequency quality, reserve management, balancing and wider security operational controls of ESOs connected or involved in the processes.
a. Whether sharing or exchange of [RR, FRR, FCR] can be accommodated by the ESO under expected system conditions whilst complying with NETS SQSS;
b. The ability to transfer [RR, FRR, FCR] between synchronous areas;
c. To consider any loss of provision of [RR, FRR, FCR] during a reference incident as defined by
SOGL Article 157 (2)(d);
d. Seek minimum cost solution of meeting GB [RR, FRR, FCR] and therein the sharing or exchange of [RR, FRR, FCR] , that could be possible subject to meeting points a-c.
e. The risk of the probability and impact of [RR, FRR, FCR] short falls that could arise due to sharing.
ElecLink has been working with NGESO and RTE to develop the operational processes required for
ElecLink’s go-live and implementation of project TERRE (Trans EU Replacement Reserve Exchange); the EU pilot project for the exchange of RR.
NGESO and RTE have presented ElecLink with an additional proposal to calculate restrictions in the cross-border capacity that is provided to the TERRE market. This proposal is presented in Annex 2. This additional proposal has not been subject to public consultation and has not been presented for regulatory approval.
The additional proposal calculates restrictions of the Available Transmission Capacity (ATC) for TERRE based upon the ramp rate of the interconnector and the forecasted Rate Of Change Of Frequency of the GB synchronous area.
ElecLink does not believe that the proposal provided in Annex 2 is consistent with the provisions of the proposals stated in SOGL Article 118(1) (aa) or with the provisions of the Electricity Balancing Guideline (EBGL) Article 37. | Adjusting NTC to ensure that security limits are not violated; in ensuring that frequency quality is met and hard system security limits are not breached is within the scope of SOGL as set-out in articles 144(1) , 148(3), 171(4f), 171(7), 178. These articles specify that the cross-border processes must firstly not harm GB frequency quality and system security; that the processes must effectively contribute to frequency control, balancing and reserve managment in GB. Providing the TERRE algorithim with a new NTC at each market step to ensure ramping-limits are not exceeded is constant with this principle. | The need to set-out rules that ensure that capacity allocation, derivation control programme/activation processes facilitate the objectives of the relevant national control process (FCP, FRP or RRP) and do not detrimentally impact security or impede the ESO in wider operation of its control processes is set out in the SOGL. The intricate nature of systems and processes such as those in TERRE invariably require more detail that the general principles set forth in regulation (of which these methodologies form a part). The detailed rules and protocols relative to individual services and processes are developed in the operating protocols and service specific agreements. The use of the ATC as an input to the TERRE algorithm derived from the maximum rate-of-change the system can withstand relative to the existing transfer programme is consistent with the objectives and requirements of the SOGL. EBGL matters are out of scope of this proposal.
EBGL Article 37 sets out the requirements for a cross zonal capacity calculation for the balancing timeframe. ElecLink understands that a capacity calculation within the balancing timeframe would calculate the capacity to be made available for the exchange of RR and FRR. ElecLink’s view is that EBGL Article 37(2) is clear in requiring TSOs to use remaining intraday cross zonal capacity after intraday gate closure until such time as a Capacity Calculation Methodology (CCM) can be implemented for the balancing timeframe. At present, the ATC methodology presented by NGESO and RTE has not been subject to public consultation and, we understand, is not the CCM required by the EBGL Article 37. Further analysis of EBGL Article 37 is presented in Annex 3.
ElecLink would support the development of the EBGL Article 37(3) methodology where possible. ElecLink understands that EBGL only specifies the deadline for an EBGL CCM, and we believe that developing a proposal/approval in advance of this deadline is permissible under the EBGL. NGESO have stated that they can implement an ATC calculation without impacting TERRE go-live timelines. | Not in the scope of this document | This objective of EBGL is not within the scope of this SOGL methodology. Market rules developed under EBGL must operate sympathetically with SOGL security requirements.
Any ATC limitation will affect the TERRE clearing prices in GB and in FR. Market participants should be made aware of these restrictions as it will have a direct financial impact on them (the market will clear at a different price to expected), and this may affect their TERRE bidding strategy. Care should be taken that these cross zonal capacity limitations do not introduce market distortions, and it may be appropriate to consider close to real time publication of these dynamic limits. | Use of ATC limits in short-timescales is an approach which effectively achieves the objectives of ensuring GB security limits are not breached by cross-border capacity allocation and activation processes. | The nature of physical limitations to electricity grids manifest as losses of financial opportunities and/or costs and who bears thoses costs is not the subject of SOGL.
As the ATC limitations will impact TERRE market prices, ElecLink believes it would be appropriate to check that these were considered within the TERRE cost benefit analysis. | Not in the scope of this document | Not in the scope of this document
ElecLink are committed to being compliant with relevant legislation and are putting in effort in designing our processes and IT tools to comply with current and future EU-wide implementation projects. At present, we are facing some difficulties with interconnector TSO participation in Project TERRE and, specifically, the regulatory compliance element of the inputs and outputs of the TERRE algorithm. | Not in the scope of this document | Not in the scope of this document
ElecLink would like to highlight that it is not a member of the TERRE project and to date has not been invited as an observer, nor offered a Non-Disclosure Agreement in order to access project information regarding the compliance or technical aspects of the project. Some technical areas have been shared by NGESO and RTE, but the lack of transparency to date is making this project quite complex for ElecLink as we try and prepare for go-live. | Not in the scope of this document
Ramping restrictions for active power output
The NGESO proposal defines ramping restrictions for active power output as stated in SOGL Article 119(1)(c) and is copied in Annex 1 for reference. SOGL requires that this proposal is subject to public consultation and regulatory approval. | The technical text that the GBESO desires to use went out to public consultation and feedback from many parties taken into account during consultations in April 2018 and July 2018. This text will form the basis of the code modifications to be raised in GB in the next phase of this work.
ElecLink has been working with RTE and NGESO to develop the operational processes required for ElecLink’s go-live and implementation of project TERRE (Trans EU Replacement Reserve Exchange); the EU pilot project for the exchange of RR. | NGESO has been working closely with its partners in developing interconnector procedures and rules.
On 5 October 2018, NGESO and RTE presented ElecLink with an additional proposal which specifies the ramping restrictions to be applied in accordance with SOGL article 137(3). This methodology is presented in Annex 4. This additional methodology has not been subject to public consultation and has not been presented for regulatory approval. | Operating protocols that embody the principles of regulation do not require consultation and often for reasons of national security or commercial sensitivity, it is not appropriate to do so. Specific procedures and rules are below the level of regulation and do not generally meet the criteria of requiring public consultation or NRA approval.
Eleclink would like to highlight concerns with the proposal presented in Annex 4;
- Firstly, the proposal has been presented by RTE and NGESO as non-negotiable and has not been subject to consultation or any NRA approval. It was presented informally over email, and was noted as a ‘proposal’. We understand it is linked to the implementation of SOGL methodologies (LFC Block Operational Agreements in FR and in GB in accordance with SOGL Article 119 (ramping covered under SOGL Article 137(3)).The draft text within the LFC block agreements states that ramping restriction processes will be put in place by “agreement with the TSOs responsible for operating the interconnector” and as an impacted party, with a direct financial implication to ElecLink, we believe that ElecLink’s views should have been sought and taken into account before presenting the decision as final. | Comment is not specific to the 118 and 119 methods or SOGL regulation. | Specific service level design and operating protocols must comply with regulation but do not form part of the body of this regulation. Discussions about the TERRE market design and wider process alignment with other regulatory objectives is not within the scope of the 118 and 119 methods or SOGL regulation.
- Generators and demand customers in the GB and French markets can vary their profiles within parameters set by the TSOs, and ultimately avoid expensive imbalance charges that come from relying on the TSOs to take real-time balancing actions. This “causer pays” approach comes from the third energy package and is implemented via the EBGL. ElecLink is being instructed to be the first participant in these markets that not only needs to provide certainty to the TSOs in scheduling but to do so by consistently being exposed to imbalance charges in both markets. In their cover note the TSOs suggest these costs could be recovered through provisions in the EBGL (via tariffs). We would suggest that these costs should be avoided in the first place and the risk remain with the party best placed to manage the risk and take on the appropriate costs, in our view this should be the appropriately licenced TSOs. As the proposal stands, ElecLink would simply be subject to a bill for imbalance that is unavoidable, and for which ElecLink can do nothing to mitigate the cost.
- In addition to the upfront change to implement the algorithm, ElecLink would be exposed to significant costs on an ongoing basis, each time the flow changes. The ElecLink dispatch system can vary ElecLink’s flow dynamically to ensure that the energy due to be delivered during each settlement period is fully achieved, even when accounting for ramping limitations. It does this by instructing slight variations (within a defined band and subject to overall limits) to the power flow above and beyond the energy value, leading to what is known as ‘undershoots’ and ‘overshoots’ (examples in Annex 4). In doing so, ElecLink can meet exactly the market requirements while meeting TSO limitations. The proposal from the TSOs removes this possibility, simply forcing imbalance cost (due to undeliverable energy) onto ElecLink. The restriction requiring a minimum 10 minute ‘ramping period’ also increases ElecLink’s exposure to cost, by requiring stretching of the ramping period to cover minimum of 10 minutes for ramps of less than 1000MW (for example, changing flow by 100MW over ten minutes rather than in one minute as is currently the case on BritNed and IFA).
Absence of economic justification
NGESO has no incentive to amend these restrictions in the future as NGESO is not currently financially responsible for the imbalance volumes these restrictions cause. NGESO have not provided any analysis to justify the 100MW/min ramp rate, the capping of overshoots/undershoots or the 10 minute ramping period.
ElecLink believes that the SOGL methodology should require NGESO to;
a) Demonstrate that the combinatory application of ramping rates, ramping periods and the prohibition of over/undershoots represents the most economic and efficient way to manage the GB system. |  | Within the scope of this document; the methodologies must ensure that the cross-border processes meet the SOGL requirements for secure operation of the GB grid (as laid-out in previous positions-taken statements above).
b) Demonstrate that the proposed parameters (100MW/min ramping rate and 10 minute ramping period) define the optimal level of the ramping restriction.
c) Periodically review the ramping restriction parameters and implement remedies to reduce the restriction. Limited transparency
NGESO has not committed to publishing the full details of these restrictions but only intends to publish a summary. This will prevent parties from fully scrutinizing the ramping restrictions applied to appraise whether or not NGESO is providing the same level of access to all HVDC interconnectors connecting the to the GB network. ElecLink is concerned with this approach as National Grid partially own the only operational interconnector on the GB-FR border. ElecLink would like to see NGESO take all reasonable steps to avoid any conflict of interest (real or perceived) and believes that full and transparent publications forms an important aspect of this assurance. | The technical text used to derive ramping rules has been scritinised by industry and regulators. The ESO will publish general ramping conditions and also report on those periods where system conditions required ramping-rates to be reduced further in specific reports.
Prohibiting overshoot/undershoots not in line with SOGL Article 137
The NGESO and RTE proposal in Annex 4 prohibits overshooting/undershooting the commercial position in order to limit the overall energy imbalance volume. SOGL Articles allows TSOs to define ramping restrictions in the form of “ramping periods [10 minutes] and/or maximum ramping rates[100MW/min]”. The prohibition of overshoots/undershoots is not one of the permissible restrictions listed in SOGL Article 137. This prohibition also removes one of the only mechanism ElecLink has to limit the financial cost of the ramping restrictions. ElecLink believes this restriction is contrary to SOGL and should be removed. | The requirement is consistent with SOGL requirements to ensure that cross-border flows not harm frequency quality nor interfere with the smooth management of and activation of reserves. Market design and commercial issues are not in the scope of this document.
Financial settlement | The market design and commercial arrangements associated with interconnector operations and cross-border service provision are not within the scope of this document
ElecLink recognises that the financial settlement of the energy imbalances resulting from ramping restrictions is not within the scope of these SOGL Article 118/119 proposals. However, ElecLink believes that there is currently no economic incentive for the System Operator to improve the ramping restrictions as NGESO are not financially responsible for the settlement of the imbalance volumes these restrictions introduce. Currently the Interconnector (and not the System Operator) is financially responsible for settlement of these energy volumes.
ElecLink does not define the ramping restriction. ElecLink does not have any mechanism to improve the ramping restriction. If the TSO introducing the ramping restriction (NGESO and/or RTE) is not financially responsible for the costs introduced by these restrictions, there is no reason for these restrictions to be reviewed/improved in the future. The recent Committee on Climate Change report[1] highlighted the importance of “measures to enhance the flexibility of the electricity system to accommodate high proportions of inflexible generation (e.g. wind).” The report suggested that “[p]olicy and regulatory frameworks should also encourage flexibility (e.g. demand response, storage and interconnection)”. The definition of static ramping restrictions with no financial incentive for these to be viewed in the future appears to be contrary to this advice.
In addition, ElecLink believes that the current practice in GB, which sees Interconnector Owners financially responsible for the energy imbalances introduced by the System Operator ramping restrictions, is not consistent with the following EBGL provisions;
- EBGL Article 44(1)(c) - “provide incentives to balance responsible parties to be in balance or help the system to restore its balance”.
Under current settlement rules ElecLink is incentivised to over or under deliver at other times to reduce the costs introduced by the ramping restrictions. This will introduce additional imbalances in France and in GB. Therefore ElecLink does not believe the proposed approach is consistent with EBGL Article 44(1)(c).
- EBGL Article 44 - “ensure the financial neutrality of all TSOs”
RTE have calculated that ElecLink should expect a net cost (including GB and France imbalance charges) of around 125,000 EUR per year due the ramping restriction. ElecLink does not believe the current practice is consistent with EBGL Article 44(1)(i).
- Article 44(2) - “Each relevant regulatory authority in accordance with Article 37 of Directive 2009/72/EC shall ensure that all TSOs under its competence do not incur economic gains or losses with regard to the financial outcome of the settlement”.
As ElecLink will incur a financial cost relating to ramping restrictions we do not believe the current practice is consistent with EBGL Article 44(2).
- EBGL Article 44(2) - “shall be passed on to network users in accordance with the applicable national rules”.
Unlike RTE or NGESO, ElecLink cannot pass costs to network users.
- EBGL Article 44(1)(f) - “avoid distorting incentives to balance responsible parties, balancing service providers and TSOs”
As the ramping restrictions result in a net financial cost for ElecLink, Eleclink is incentivised to find other methods to limit these costs. These could include over or under delivery in other settlement periods, or by distorting the losses calculation. ElecLink does not believe the current approach is consistent with EBGL Article 44(1)(f).
- EBGL Article 44(1)(d) - “facilitate harmonisation of imbalance settlement mechanisms”
Across Europe it is only the HVDC interconnectors to GB where the financial costs are borne by the interconnector owner. Everywhere else these costs are recovered from network users through network charges. ElecLink does not believe the proposed approach is consistent with EBGL Article 44(1)(d).
ElecLink is contributing to the European development of the TSO proposals on EBGL Article 50(3), 50(4), 51(1) and 51(2). ElecLink understands that these proposals will further develop common settlement rules relating to ramping imbalances.
The application of ramping restrictions to TERRE active power output
NGESO/RTE are proposing to implement the same ramping restrictions for TERRE as are currently being discussed under SOGL Article 137(1) for market timeframes (note that these have not yet been agreed), with the distinction of capping the ramp at 10 minutes and 100MW/min, which would cap the change in flow to 1000MW for ElecLink (half of the capability). This would be a restriction to the input data, which we believe is misaligned with EBGL Article 37 as described above. ElecLink understands the need for some ramping restrictions, however we have concerns about the compliance of such an approach, in addition to the negative impact to the market and prices for Balancing Service Providers (BRPs) when the market capability is restricted. | Article 137 does not apply to cross-border balancing processes. Nonetheless as previously stated in positions taken statements above, the ESOs reponsible for LFCR operations affected by the interconnector are required to define rules and restrictions to ensure that security of the grid systems is not harmed and to ensure that interconnector operations and cross-border balancing services function in harmony and sympathy with local balancing, frequency control and constraint management procedures. The market and commercial arrangements surrounding the application of ramping-restrictions is not within the scope of this document or this regulation.