## Slide 1
Data for GC0096
Flywheels - 002
Eric A Lewis Enstore director
Issued 03-04-2017 Electricity storage flywheels – Issue 002 Slide

## Slide 2
Has zero power at df/dt = 0.
This is not compatible with Grid Code Electricity Storage.
Basic Flywheel option -1
Grid Entry
Points
Onshore Transmission System
Power Station
Bus bar
Power Station
Stator
Flywheel
Issued 03-04-2017 Electricity storage flywheels – Issue 002 Slide
2

## Slide 3
Basic Flywheel option - 2
Issued 03-04-2017 Electricity storage flywheels – Issue 002 Slide
Grid Entry
Points
Onshore Transmission System
Power Station
Bus bar
Power Station
Stator
Flywheel
Motor
ESU
Has a power at df/dt = 0.
This is compatible with Grid Code Electricity Storage.

## Slide 4
Advanced Flywheels - 1
Grid Entry Point
Onshore Transmission System
Power Station
Bus bar
Power Station
Stator
Flywheel
Field Power
Converter
Synchronous motor + flywheel
Main Power
Converter
Onshore Transmission System
Power Station
Bus bar
Power Station
Stator
Flywheel
Induction motor + flywheel
Main Power
Converter
4
Issued 03-04-2017 Electricity storage flywheels – Issue 002 Slide
Compatible with Grid Code Electricity Storage.

## Slide 5
Issued 03-04-2017 Electricity storage flywheels – Issue 002 Slide
Grid Entry Point
Onshore Transmission System
Power Station
Bus bar
Power Station
Stator
Flywheel
Field Power
Converter
Adjustable in this range
Synchronous with inertia
Choice
Asynchronous with power to aid recovery
Synchronous Flywheel Type 2
Advanced Flywheels - 2
Has zero power at df/dt = 0.
This is not compatible with Grid Code Electricity Storage.

## Slide 6
Thank you
Issued 03-04-2017 Electricity storage flywheels – Issue 002 Slide
6