## Slide 1
Data for GC0096
Ultra capacitors -002
Eric A Lewis Enstore director
Issued 03-04-2017 Electricity storage Ultra Capacitors – Issue 002 Slide

## Slide 2
Electricity storage using DC batteries
Issued 03-04-2017 Electricity storage Ultra Capacitors – Issue 002 Slide
Typical data :
The DC batteries can not be directly connected to the AC bus.
The circuits shown, in a simplified form, is based on using a standard low voltage inverter.
The inverter’s DC bus voltage is varied to control the battery’s power flow.
This is now a widely used design especially with higher voltage batteries.
Batteries are used in series and parallel depends on the required power and energy.
Transformer
AC bus
CB
AC
inductors
AC supply inverter
Inverter’s DC bus
Diodes
Fast switching devices
Interface parts
DC batteries

## Slide 3
Electricity storage using Ultra capacitors
Issued 03-04-2017 Electricity storage Ultra Capacitors – Issue 002 Slide
Typical data :
The Ultra Capacitors are only DC rated and can not be directly connected to the AC bus.
The circuits shown is the same as used for DC batteries.
Ultra capacitors do not need a special class in the Grid Code.
Transformer
AC bus
CB
AC
inductors
AC supply inverter
Inverter’s DC bus
Diodes
Fast switching devices
Interface parts
Ultra capacitors

## Slide 4
Thank you
Issued 03-04-2017 Electricity storage Ultra Capacitors – Issue 002 Slide