0 | 20876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4174.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20877 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4175 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20878 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4175.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20879 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4175.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20880 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4175.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20881 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4175.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20882 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4176 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20883 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4176.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20884 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4176.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20885 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4176.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20886 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4176.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20887 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4177 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4177.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4177.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20890 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4177.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20891 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4177.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20892 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4178 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20893 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4178.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20894 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4178.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20895 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4178.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20896 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4178.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20897 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4179 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20898 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4179.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20899 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4179.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20900 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4179.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20901 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4179.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20902 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4180 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20903 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4180.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4180.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20905 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4180.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20906 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4180.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20907 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4181 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20908 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4181.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4181.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20910 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4181.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20911 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4181.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20912 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4182 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20913 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4182.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20914 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4182.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20915 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4182.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20916 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4182.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4183 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4183.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20919 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4183.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20920 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4183.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20921 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4183.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20922 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4184 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20923 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4184.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20924 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4184.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20925 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4184.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20926 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4184.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20927 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4185 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20928 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4185.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20929 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4185.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20930 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4185.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20931 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4185.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20932 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4186 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20933 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4186.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20934 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4186.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20935 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4186.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20936 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4186.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20937 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4187 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4187.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20939 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4187.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20940 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4187.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20941 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4187.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20942 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4188 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20943 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4188.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4188.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20945 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4188.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4188.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20947 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4189 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20948 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4189.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20949 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4189.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20950 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4189.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4189.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4190 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20953 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4190.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20954 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4190.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20955 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4190.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20956 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4190.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20957 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4191 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20958 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4191.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20959 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4191.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20960 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4191.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20961 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4191.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20962 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4192 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20963 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4192.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20964 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4192.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20965 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4192.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20966 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4192.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20967 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4193 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20968 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4193.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20969 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4193.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20970 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4193.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20971 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4193.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20972 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4194 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20973 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4194.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20974 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4194.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20975 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4194.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4194.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20977 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4195 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20978 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4195.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20979 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4195.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20980 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4195.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20981 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4195.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20982 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4196 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20983 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4196.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20984 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4196.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4196.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4196.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20987 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4197 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20988 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4197.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4197.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20990 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4197.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20991 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4197.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20992 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4198 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20993 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4198.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20994 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4198.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20995 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4198.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20996 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4198.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20997 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4199 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20998 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4199.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 20999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4199.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 21000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4199.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 21001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4199.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
0 | 21002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.69 | 49.7 | 49.71 | 50 | 50 | 1.0009 | 109 | 139 | 1909 | 119 | 139 | 119 | 1909 | 4200 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0

## Relay
Sample Site -Relay Operating Point

## Secondary
Sample Site -Overall Response in Secondary Timescale Period
Sample Site -Minimum Response in Secondary Timescale Period
Sample Site -Overall Response in Secondary Timescale Period

## MW v Hz
Sample Site -Active Power vs Frequency Injection

## Hz v Relay
Sample Site -Frequency Injection vs Relay Logic

## MW v Relay
Sample Site -Active Power vs Relay Logic