## Summary
Total Cost
625000000
Assumed converter cost % of the Total Cost
50%
Asset Capability (MW)
600
Option | Description | Variable | Value removed from Gen TNUoS | HH demand tariff change (residual only) (£/kW) | Average NHH demand tariff change (p/kWh)
Original | A fixed percentage of the total cost is associated with the additional bi-directional functionality (compared to mono-directional) | 0.5% | 3125000 | 0.062004 | 0.0079806
|  | 1% | 6250000 | 0.12401 | 0.015961
|  | 5% | 31250000 | 0.62004 | 0.079806
|  | 10% | 62500000 | 1.2401 | 0.15961
WACM1 | The AC-DC converters make up a percentage of the total cost (see cell A5). Half of the converter cost is associated with the additional bi-directional functionality (compared to mono-directional) | N/A | 156250000 | 3.1002 | 0.39903
WACM2 | The AC-DC converters make up a percentage of the total cost (see cell A5). All of the converter cost is associated with the additional bi-directional functionality (compared to mono-directional) | N/A | 312500000 | 6.2004 | 0.79806
WACM3 | The AC-DC converters make up a percentage of the total cost (see cell A5). A link specific percentage of the converter cost is associated with the additional bi-directional functionality (compared to mono-directional) | N/A | N/A | N/A | N/A
WACM4 | A non-CUSC defined method is used to determine the value of the additional bi-directional functionality (compared to mono-directional). | Orkney | 15000000 | 0.29762 | 0.038307
|  | Western Isles | 23000000 | 0.45635 | 0.058737
|  | Shetland | 394000000 | 7.8175 | 1.0062
WACM5 | Combination of WACM 1 and 4, with WACM 1 processed first | WACM 1 + 4 | 179250000 | 3.5565 | 0.45777
| Combination of WACM 1 and 4, with WACM 4 processed first | WACM 4+ 1 | 173500000 | 3.4425 | 0.44308
WACM6 | Combination of WACM 2 and 4, with WACM 2 processed first | WACM 2 + 4 | 335500000 | 6.6567 | 0.85679
| Combination of WACM 2 and 4, with WACM 4 processed first | WACM 4 + 2 | 324000000 | 6.4286 | 0.82743
WACM7 | Combination of WACM 3 and 4. | N/A | N/A | N/A | N/A
WACM8 | The percentage of the HVDC used by demand should be paid for by demand - using summer minimum demand | Min Demand | 5208333.3333 | 0.10334 | 0.013301
| The percentage of the HVDC used by demand should be paid for by demand - using winter maximum demand | Max Demand | 25000000 | 0.49603 | 0.063845
WACM9 | Combination of WACM 2 and 8, with WACM 2 processed first and maximum winter demand used for WACM8 | WACM 2+8 (Max Demand) | 325000000 | 6.4484 | 0.82998
| Combination of WACM 2 and 8, with WACM 8 processed first using maximum winter demand followed by WACM2 | WACM 8(Max Demand)+2 | 337500000 | 6.6964 | 0.8619
| Combination of WACM 2 and 8, with WACM 2 processed first and minimum summer demand used for WACM10 | WACM 2+8(Min Demand) | 315104166.6667 | 6.2521 | 0.80471
| Combination of WACM 2 and 8, with WACM 8 processed first using minimum summer demand followed by WACM2 | WACM 8(Min Demand)+2 | 317708333.3333 | 6.3037 | 0.81136
|  | Minimum | 3125000 | 0.062004 | 0.0079806
|  | Maximum | 394000000 | 7.8175 | 1.0062
Note on A1: Grahame Neale: Based on estimated Western Isles costs - footer of page 6 - https://www.ofgem.gov.uk/system/files/docs/2019/05/shepd_contribution_consultation.pdf

## Key
Cell Format | Description
Input | Value is used only as a raw data input for the tool
Calculation | Figure calculated by the tool
Answer | WACM answer - shown in the Summary tab
Cross-referenced Input | Value is referenced from another Input cell in the tool
Answer and Input | Value is both a WACM answer and raw data input
Additional Information | Additional Information not used in calculating values but to support using the tool

## TNUoS_Impact
TNUoS Revenue Variation (£m) | HH demand tariff change (residual only) (£/kW) | average NHH demand tariff change (p/kWh)
1 | 0.019841 | 0.0025538
| Triad Gross charging base (MW) | NHH volume (TWh) charging base
| 50400 | 24.31
% of NHH revenue in demand revenue
62.08%
* based on July forecast of 2020/21 tariffs

## Original
Description
Percentage of the Total Cost is moved from Generation to Demand TNUoS. Based on workgroup comments, these values are expected to be low (<5%) however these cannot be quantified at present
Total Cost
625000000
Percentage | Value
0.5% | 3125000
1% | 6250000
5% | 31250000
10% | 62500000

## WACM1&2&3
Description
A Percentage of the converter cost is moved from Generation to Demand TNUoS
WACM 1 | WACM 2 | WACM 3
Total Cost | Total Cost | Unable to calculate as project specific percentage, however must be lower than WACM2
625000000 | 625000000
Assumed converter cost % of the Total Cost | Assumed converter cost % of the Total Cost
50% | 50%
WACM 1 converter percentage | WACM 2 converter percentage
50% | 100%
Value | Value
156250000 | 312500000

## WACM4
Description
Fixed value removed from Generation TNUoS and recovered via Demand TNUoS or alternate mechanism
Figures of consumer benefit from SHEPD
Orkney | 15000000
Western Isles | 23000000
Shetland | 394000000
Note on A4: Grahame Neale: From: https://www.ofgem.gov.uk/system/files/docs/2019/05/shepd_contribution_consultation.pdf

## WACM5
Description
WACM1 + 4 - Half of the converter cost and a fixed value is moved from Generation to Demand TNUoS
Method 1 - WACM 1 + 4 |  | Method 2 - WACM 4 + 1
Figures of consumer benefit from SHEPD |  | Figures of consumer benefit from SHEPD
Western Isles | 23000000 | Western Isles | 23000000
Total Cost |  | Total Cost
625000000 |  | 625000000
Assumed converter cost % of the Total Cost |  | Assumed converter cost % of the Total Cost
50% |  | 50%
WACM 1 converter percentage |  | WACM 1 converter percentage
50% |  | 50%
Converter Calculation |  | WACM4 only value
156250000 |  | 23000000
Value |  | Value
179250000 | WACM 1 + 4 | 173500000 | WACM 4+ 1

## WACM6
Description
WACM 2 + 4 - All of the converter cost and a fixed value is moved from Generation to Demand TNUoS
Method 1 - WACM 2 + 4 |  | Method 2 - WACM 4 + 2
Figures of consumer benefit from SHEPD |  | Figures of consumer benefit from SHEPD
Western Isles | 23000000 | Western Isles | 23000000
Total Cost |  | Total Cost
625000000 |  | 625000000
Assumed converter cost % of the Total Cost |  | Assumed converter cost % of the Total Cost
50% |  | 50%
WACM 2 converter percentage |  | WACM 2 converter percentage
100% |  | 100%
Converter Calculation |  | WACM4 only value
312500000 |  | 23000000
Value |  | Value
335500000 | WACM 2 + 4 | 324000000 | WACM 4 + 2

## WACM7
Description
WACM 3 + 4 - Project specific converter cost and a fixed value is moved from Generation to Demand TNUoS
Unable to calculate as project specific percentage required, however must be lower than WACM6

## WACM8
Description
Pro-Rata - The percentage of the HVDC used by demand should be paid for by demand
Method 1 - Max Winter Demand | Method 2 - Min Summer Demand | Island | Winter Max (MW) | Summer Min (MW)
|  | Shetland | 43.3 | 9.6
Total Cost | Total Cost | Stornoway (Western Isles) | 23.8 | 4.9
625000000 | 625000000 | Orkney | 27 | 1.6
Asset Capability (MW) | Asset Capability (MW)
600 | 600
Max Winter Demand (MW) | Min Summer Demand (MW)
24 | 5
Demand asset usage | Demand asset usage
4% | 0.8333%
Value | Value
25000000 | 5208333.3333

## WACM9
Description
WACM 2 + 8 - The total converter cost and the percentage of the HVDC used by demand should be paid for by demand
Method 1 - WACM 2 + 8 (Max Winter) |  | Method 2 - WACM 8 (Max Winter) + 2 |  | Method 3 - WACM 2 + 8 (Min Summer) |  | Method 4 - WACM 8 (Min Summer) + 2
Total Cost |  | Total Cost |  | Total Cost |  | Total Cost
625000000 |  | 625000000 |  | 625000000 |  | 625000000
Assumed converter cost % of the Total Cost |  | Assumed converter cost % of the Total Cost |  | Assumed converter cost % of the Total Cost |  | Assumed converter cost % of the Total Cost
50% |  | 50% |  | 50% |  | 50%
WACM 2 converter percentage |  | WACM 2 converter percentage |  | WACM 2 converter percentage |  | WACM 2 converter percentage
100% |  | 100% |  | 100% |  | 100%
Converter Calculation |  | Converter Calculation |  | Converter Calculation |  | Converter Calculation
312500000 |  | 312500000 |  | 312500000 |  | 312500000
Asset Capability (MW) |  | Asset Capability (MW) |  | Asset Capability (MW) |  | Asset Capability (MW)
600 |  | 600 |  | 600 |  | 600
Demand asset usage |  | Demand asset usage |  | Demand asset usage |  | Demand asset usage
4% |  | 4% |  | 0.8333% |  | 0.8333%
Value |  | Value |  | Value |  | Value
325000000 | WACM 2+8 (Max Demand) | 337500000 | WACM 8(Max Demand)+2 | 315104166.6667 | WACM 2+8(Min Demand) | 317708333.3333 | WACM 8(Min Demand)+2