## Sheet1
Chapter/Section | Page number in section (full page number) | Contents | Proposed modifications
GLOSSARY & DEFINITIONS | P46 of 70 (P52) | Output Usable or OU The (daily or weekly) forecast value (in MW), at the time of the (daily or weekly) peak demand, of the maximum level at which the Genset can export to the Grid Entry Point, or in the case of Embedded Power Stations, to the User System Entry Point. In addition, for a Genset powered by an Intermittent Power Source the forecast value is based upon the Intermittent Power Source being at a level which would enable the Genset to generate at Registered Capacity. For the purpose of OC2 only, the term Output Usable shall include the terms Interconnector Export Capacity and Interconnector Import Capacity where the term Output Usable is being applied to an External Interconnection. | Output Usable or OU The forecast value (in MW), profiled across a time period affected or if single value at the time of the (daily or weekly) peak demand, of the maximum level at which the Genset can export to the Grid Entry Point, or in the case of Embedded Power Stations, to the User System Entry Point. In addition, for a Genset powered by an Intermittent Power Source the forecast value is based upon the Intermittent Power Source being at a level which would enable the Genset to generate at Registered Capacity. For the purpose of OC2 only, the term Output Usable shall include the terms Interconnector Export Capacity and Interconnector Import Capacity where the term Output Usable is being applied to an External Interconnection.
GLOSSARY & DEFINITIONS | P61 of 70 (P67) | Surplus A MW figure relating to a System Zone equal to the total Output Usable in the System Zone: (a) minus the forecast of Active Power Demand in the System Zone, and (b) minus the export limit in the case of an export limited System Zone, or plus the import limit in the case of an import limited System Zone, and (c) (only in the case of a System Zone comprising the National Electricity Transmission System) minus the Operational Planning Margin. For the avoidance of doubt, a Surplus of more than zero in an export limited System Zone indicates an excess of generation in that System Zone; and a Surplus of less than zero in an import limited System Zone indicates insufficient generation in that System Zone. | Surplus A MW figure equal to the total Output Usable: (a) minus the forecast of Active Power Demand, and (b) minus the Operational Planning Margin.
GLOSSARY & DEFINITIONS | P63 of 70 (P69) | System Zone A region of the National Electricity Transmission System within a described boundary or the whole of the National Electricity Transmission System, as further provided for in OC2.2.4, and the term "Zonal" will be construed accordingly. | delete System Zone and contents from Glossary and Definitions
SCHEDULE 3 | P38 of 107 (P856) | PLANNING FOR YEARS 3 - 7 AHEAD (OC2.4.1.2.1(a)(i), (e) & (j)) | delete the table for "PLANNING FOR YEARS 3 - 7 AHEAD (OC2.4.1.2.1(a)(i), (e) & (j))"
SCHEDULE 3 | P38 of 107 (P856) | PLANNING FOR YEARS 1 - 2 AHEAD (OC2.4.1.2.2(a) & OC2.4.1.2.2(i)) | delete the table for "PLANNING FOR YEARS 1 - 2 AHEAD (OC2.4.1.2.2(a) & OC2.4.1.2.2(i))"
SCHEDULE 3 | P39 of 107 (P856) | PLANNING FOR YEAR 0 | delete the table for "PLANNING FOR YEAR 0"
GENERAL CONDITIONS | P14 of 15 (P940) | (i) OC2.4.1.2.3 (a) from 19 January 2005 in respect of 2 to 52 week submissions, | change OC2.4.1.2.3 (a) to OC2.4.1.2.3
GENERAL CONDITIONS | P14 of 15 (P940) | (ii) OC2.4.1.2.4 (c) from 25 February 2005 in respect of 2 to 49 day submissions | change OC2.4.1.2.4 (c) to OC2.4.1.2.4
GENERAL CONDITIONS | P14 of 15 (P940) | (iii) OC2.4.1.2.4 (b) from 22 March 2005 in respect of 2 to 14 day submissions | change OC2.4.1.2.4 (b) to OC2.4.1.2.4
GENERAL CONDITIONS | P14 of 15 (P940) | The data to be submitted in respect of OC2.4.1.2.3 (a) and OC2.4.1.2.4 (b) and (c) need only be in respect of dates on or after 1 April 2005. | change OC2.4.1.2.3 (a) to OC2.4.1.2.3 change OC2.4.1.2.4 (c) to OC2.4.1.2.4 change OC2.4.1.2.4 (b) to OC2.4.1.2.4