## TEC Register
TEC Register Report as on 31/10/2019
Customer Name | Project Name | Connection Site | MW Connected | MW Increase / Decrease | MW Total | MW Effective Date | Project Status | HOST TO | Plant Type
District Energy Ltd. | Abedare | Upperboat 132 kV | 10 | 0 | 10 |  | Built | NGET | CCGT
Aberarder Wind Farm LLP | Aberarder Wind Farm | Aberarder Wind Farm 132/33kV Substation | 0 | 49.99 | 49.99 | 2020-08-25 01:00 | Consents Approved | SHET | Wind Onshore
Aberdeen Offshore Wind Farm Limited | Aberdeen Offshore Wind Farm | Blackdog 132kV Substation | 95.5 | 0 | 95.5 |  | Built | SHET | Wind Offshore
Abergelli Power Limited | Abergelli Power Limited | Swansea North 400kV | 0 | 299 | 299 | 2022-09-30 01:00 | Scoping | NGET | OCGT
RWE Generation UK Plc | Aberthaw | Aberthaw 275kV | 1610 | 0 | 1610 |  | Built | NGET | Coal
A'Chruach Wind Farm Limited | A'Chruach Wind Farm | A'Chruach Wind Farm | 43 | 0 | 43 |  | Built | SHET | Wind Onshore
Afton Wind Farm Limited | Afton Wind Farm | Afton | 50 | 0 | 50 |  | Built | SPT | Wind Onshore
SSE Generation Ltd | Aigas (part of the Beauly Cascade) | Aigas | 20 | 0 | 20 |  | Built | SHET | Hydro
Aikengall II Community Wind Company Limited | Aikengall II Windfarm | Westerdod 132kV | 63.8 | 0 | 63.8 |  | Built | SPT | Wind Onshore
Aikengall IIa Community Wind Company Limited | Aikengall IIa Wind Farm |  | 0 | 5 | 5 | 2020-10-30 | Under Construction/Commissioning | SPT | Wind Onshore
Aikengall IIa Community Wind Company Limited | Aikengall IIa Wind Farm |  | 76.2 | 0 | 76.2 |  | Built | SPT | Wind Onshore
Airies WindFarm Limited | Airies Wind Farm | Newton Stewart 132/33kV | 35 | 0 | 35 |  | Built | SPT | Wind Onshore
Pivoted Power LLP | Alverdiscott | Alverdiscott | 0 | 49.9 | 49.9 | 2023-10-31 | Scoping | NGET | Battery Storage
An Suidhe Wind Farm Ltd | An Suidhe Wind Farm, Argyll (SRO) | Eredine Forest | 19.3 | 0 | 19.3 |  | Built | SHET | Wind Onshore
Andershaw Wind Power Limited | Andershaw Wind Farm | Linnmill 132/33kV | 35 | 0 | 35 |  | Built | SPT | Wind Onshore
ScottishPower Renewables (UK) Limited | Ardkinglas | Ardkinglas | 19.25 | 0 | 19.25 |  | Built | SHET | Wind Onshore
ScottishPower Renewables (UK) Limited | Arecleoch | Arecleoch 132kV | 114 | 0 | 114 |  | Built | SPT | Wind Onshore
Artfield Forest Wind Farm Ltd | Artfield Forest Windfarm | Newton Stewart | 0 | 20.7 | 20.7 | 2023-10-30 | Scoping | SPT | Wind Onshore
Falck Renewables Wind Ltd | Assel Valley Wind Farm | Maybole 132/33KV | 29.95 | 0 | 29.95 |  | Built | SPT | Wind Onshore
Auchrobert Wind Energy Limited | Auchrobert Wind Farm | Linmill 132/33kV | 36 | 0 | 36 |  | Built | SPT | Wind Onshore
Pivoted Power LLP | Axminster | Axminster 400kV Substation | 0 | 49.9 | 49.9 | 2022-10-31 | Scoping | NGET | Battery Storage
Innogy Renewables UK Ltd | Bad a Cheo Wind Farm | Mybster 3 33kV Substation | 26.65 | 0 | 26.65 |  | Built | SHET | Wind Onshore
Baglan Generating Ltd & Baglan Operations Ltd | Baglan Bay | Baglan Bay | 552 | 0 | 552 |  | Built | NGET | CCGT
Baglan Generating Ltd & Baglan Operations Ltd | Baglan Bay | Baglan Bay | 0 | 41 | 41 | 2022-10-31 | Under Construction/Commissioning | NGET | CCGT
Baillie Wind Farm Ltd | Baillie Wind Farm | Dounreay | 52.5 | 0 | 52.5 |  | Built | SHET | Wind Onshore
Barking Power Ltd | Barking | Barking 275kV Substation | 0 | 0 | 0 |  | Built | NGET | CCGT
Barrow Offshore Wind Ltd | Barrow Offshore Wind Farm |  | 90 | 0 | 90 |  | Built | OFFSHORE | Wind Offshore
Centrica Barry Ltd | Barry Power Station | Aberthaw 132kV substation | 0 | 0 | 0 |  | Terminated | NGET | CCGT
Viridis 178 Ltd | Barton Hill | Abham GSP | 20.88 | 0 | 20.88 |  | Built | NGET | CHP
Beatrice Offshore Windfarm Ltd | Beatrice Wind Farm | Beatrice 33/132kV Offshore Substations | 35 | 0 | 35 |  | Built | SHET | Wind Offshore
Beatrice Offshore Windfarm Ltd | Beatrice Wind Farm | Beatrice 33/132kV Offshore Substations | 294 | 0 | 294 |  | Built | SHET | Wind Offshore
Beatrice Offshore Windfarm Ltd | Beatrice Wind Farm | Beatrice 33/132kV Offshore Substations | 259 | 0 | 259 |  | Built | SHET | Wind Offshore
Peel Wind Farms (Yell) Limited | Beaw Field Wind Farm | Yell | 0 | 72 | 72 | 2024-03-31 | Scoping | SHET | Wind Onshore
Citigen (London) Ltd | Beech Street/City Road | Beech Street/City Road | 30 | 0 | 30 |  | Built | NGET | CHP
ScottishPower Renewables (UK) Limited | Beinn an Tuirc 2 | Carradale | 43.7 | 0 | 43.7 |  | Built | SHET | Wind Onshore
ScottishPower Renewables (UK) Limited | Beinn an Tuirc 3 | Carradale 132/33kV Substation | 0 | 50 | 50 | 2020-10-31 | Consents Approved | SHET | Wind Onshore
ScottishPower Renewables (UK) Limited | Beinn Tharsuinn | Alness GSP | 29 | 0 | 29 |  | Built | SHET | Wind Onshore
Beinneun Wind Farm Ltd | Beinneun Wind Farm | Beinneun 132/33kV substation | 109 | 0 | 109 |  | Built | SHET | Wind Onshore
E.ON Climate & Renewables UK Developments Limited | Benbrack Wind Farm | Kendoon North 132/33kV | 0 | 72 | 72 | 2023-05-30 01:00 | Awaiting Consents | SPT | Wind Onshore
Berry Burn Wind Farm Limited | Berry Burn Wind Farm | Berry Burn 275/33kV Substation | 67 | 0 | 67 |  | Built | SHET | Wind Onshore
SSE Generation Ltd | Bhlaraidh Wind Farm | Bhlaraidh 132/33kV Substation | 108 | 0 | 108 |  | Built | SHET | Wind Onshore
GEA Bilbo Limited | Bilbo Farm | Strichen | 0 | 25 | 25 | 2020-07-06 | Scoping | SHET | PV Array
Blackcraig Wind Farm (Scotland) Limited | Blackcraig Wind Farm | Black Craig | 52.9 | 0 | 52.9 |  | Built | SPT | Wind Onshore
ScottishPower Renewables (UK) Limited | Blacklaw | Blacklaw Wind Farm | 118 | 0 | 118 |  | Built | SPT | Wind Onshore
ScottishPower Renewables (UK) Limited | Blacklaw Extension | Blacklaw Extension | 60 | 0 | 60 |  | Built | SPT | Wind Onshore
Blary Hill Energy Limited | Blary Hill Wind Farm | Carradale | 0 | 35 | 35 | 2020-10-31 | Consents Approved | SHET | Wind Onshore
Arenko Desert Sensation Limited | Bloxwich | Bustleholm 132kV | 41 | 0 | 41 |  | Built | NGET | Battery Storage
National Reserve Limited | Bolney |  | 0 | 49.9 | 49.9 | 2023-10-30 | Scoping | NGET | Battery Storage
Pivoted Power LLP | Bolney |  | 0 | 49.9 | 49.9 | 2022-10-31 | Scoping | NGET | Battery Storage
Bradwell Power Generation Company Limited | Bradwell B | Bradwell 400kV Substation | 0 | 1670 | 1670 | 2029-12-31 | Scoping | NGET | Nuclear
Brookfield Renewable UK Ltd | Braelangwell Wind Farm | Shin 132/33kV GSP Substation | 0 | 68 | 68 | 2023-12-31 | Awaiting Consents | SHET | Wind Onshore
Braes of Doune Wind Farm (Scotland) Ltd | Braes of Doune | Braco | 74 | 0 | 74 |  | Built | SHET | Wind Onshore
Pivoted Power LLP | Braintree |  | 0 | 49.9 | 49.9 | 2020-10-31 | Awaiting Consents | NGET | Battery Storage
Pivoted Power LLP | Bramford |  | 0 | 49.9 | 49.9 | 2021-10-31 | Awaiting Consents | NGET | Battery Storage
Pivoted Power LLP | Bredbury |  | 0 | 49.9 | 49.9 | 2022-10-31 | Scoping | NGET | Battery Storage
Centrica Brigg Ltd | Brigg | Keadby 400kV Substation | 99 | 0 | 99 |  | Built | NGET | CCGT
Broken Cross Windfarm Ltd | Broken Cross Windfarm | Broken Cross Windfarm | 0 | 48 | 48 | 2026-10-31 | Awaiting Consents | SPT | Wind Onshore
Brownieleys Renewables LLP | Brownieleys | Fiddes 132/33kV Substation | 7.5 | 0 | 7.5 |  | Built | SHET | Wind Onshore
DONG Energy Burbo Extension (UK) Ltd | Burbo Bank Extension Offshore Wind Farm | BURBO BANK EXTENSION OFFSHORE SUBSTATION | 254 | 0 | 254 |  | Built | NGET | Wind Offshore
Eneco Burn Of Whilk Limited | Burn of Whilk Wind Farm | Mybster 1 | 22.5 | 0 | 22.5 |  | Built | SHET | Wind Onshore
Pivoted Power LLP | Burwell | Burwell 400kV Substation | 0 | 49.9 | 49.9 | 2021-10-31 01:00 | Awaiting Consents | NGET | Battery Storage
Energy Power Resources Ltd | Burwell | Burwell Main/Histon | 38 | 0 | 38 |  | Built | NGET | Biomass
C.GEN Killingholme Ltd | C.Gen Killingholme North Power Station | C.Gen North Killingholme | 0 | 540 | 540 | 2021-04-01 01:00 | Consents Approved | NGET | CCGT
Renewable Energy Systems Limited | Cairn Duhie Wind Farm | Cairn Duhie 275kV Substation | 0 | 84 | 84 | 2023-07-30 01:00 | Scoping | SHET | Wind Onshore
Renewable Energy Systems Limited | Cairnmore Hill Wind Farm | Thurso GSP | 0 | 36 | 36 | 2024-10-31 | Awaiting Consents | SHET | Wind Onshore
UPM-KYMMENE (UK) Ltd | Caledonian Paper Mill (Meadowhead) | Meadowhead | 20 | 0 | 20 |  | Built | SPT | CCGT
HD888CAP Ltd | Capenhurst Gas |  | 0 | 49.5 | 49.5 | 2022-10-30 | Scoping | NGET | CCGT
Tidal Lagoon | Cardiff Bay | Newport 400kV Substation | 0 | 820 | 820 | 2026-04-01 01:00 | Scoping | NGET | Wave
Tidal Lagoon | Cardiff Bay | Newport 400kV Substation | 0 | 1820 | 1820 | 2027-04-01 01:00 | Scoping | NGET | Wave
Tidal Lagoon | Cardiff Bay | Newport 400kV Substation | 0 | 505 | 505 | 2028-04-01 01:00 | Scoping | NGET | Wave
Npower Renewables Ltd | Carnedd Wen Wind Farm | Mid-Wales West | 0 | 150 | 150 | 2026-04-01 01:00 | Scoping | NGET | Wind Onshore
Green Power Limited | Carraig Gheal Wind Farm | Carraig Gheal 132/33kV Substation | 46 | 0 | 46 |  | Built | SHET | Wind Onshore
Pivoted Power LLP | Carrington |  | 0 | 49.9 | 49.9 | 2022-10-31 | Awaiting Consents | NGET | Battery Storage
Carrington Power Ltd | Carrington Power Station | Carrington | 910 | 0 | 910 |  | Built | NGET | CCGT
SSE Generation Ltd | Cashlie (Part of Killin Cascade Hydro Scheme) | Cashlie | 11 | 0 | 11 |  | Built | SHET | Hydro
Uniper UK Limited | CDCL | Cottam 400kV Substation | 445 | 0 | 445 |  | Built | NGET | CCGT
SSE Generation Ltd | Ceannacroc (part of the Moriston Cascade) | Ceannacroc | 20 | 0 | 20 |  | Built | SHET | Hydro
RWE Generation UK Plc | Cheshire | Capenhurst | 0 | 22.75 | 22.75 | 2020-08-01 | Scoping | NGET | OCGT
RWE Generation UK Plc | Cheshire | Capenhurst | 67.25 | 0 | 67.25 |  | Built | NGET | OCGT
National Reserve Limited | Chickerell |  | 0 | 54.5 | 54.5 | 2023-10-30 | Scoping | NGET | HYBRID
Chirmorie Wind Farm Limited | Chirmorie Wind Farm | Chirmorie 132/ 33KV SUBSTATION | 0 | 80 | 80 | 2022-09-30 01:00 | Awaiting Consents | SPT | Wind Onshore
EDF Energy Renewables Limited | Clash Gour | Clash Gour Wind Farm 132kV Substation | 0 | 210 | 210 | 2023-10-30 | Awaiting Consents | SHET | Wind Onshore
Vattenfall Wind Power Ltd | Clashindarroch | Clashindarroch | 37 | 0 | 37 |  | Built | SHET | Wind Onshore
Vattenfall Wind Power Ltd | Clashindarroch 2 | Cairnford | 0 | 77 | 77 | 2023-09-30 01:00 | Scoping | SHET | Wind Onshore
Christopher Moran Energy Limited | Clashindarroch Extension | Clashindarroch Windfarm Extension 132kV Substation | 0 | 37.5 | 37.5 | 2023-10-31 | Scoping | SHET | Wind Onshore
Cleve Hill Solar Park Limited | Cleve Hill Solar Park | Cleve Hill 400kV Substation | 0 | 350 | 350 | 2024-04-01 01:00 | Awaiting Consents | NGET | PV Array
SSE Generation Ltd | Cloiche Wind Farm | Cloiche 132/33kV Substation | 0 | 200 | 200 | 2026-10-31 | Scoping | SHET | Wind Onshore
SSE Generation Ltd | Clunie (part of the Clunie Cascade) | Clunie | 61.2 | 0 | 61.2 |  | Built | SHET | Hydro
Clyde Wind Farm (Scotland) Ltd | Clyde North | Clyde North 275/33kV | 374.5 | 0 | 374.5 |  | Built | SPT | Wind Onshore
Clyde Wind Farm (Scotland) Ltd | Clyde South | Clyde South 275/33kV | 128.8 | 0 | 128.8 |  | Built | SPT | Wind Onshore
Codling Wind Park Ltd | Codling Park Wind Farm | Pentir Substation | 0 | 1000 | 1000 | 2024-10-31 | Scoping | NGET | Wind Offshore
Coire Glas Hydro Pumped Storage Limited | Coire Glas Pumped Storage | Coire Glas 400kV Substation | 0 | 612 | 612 | 2025-10-31 | Consents Approved | SHET | Pump Storage
RockbySea Ltd | Coire Na Cloiche | Alness GSP | 30 | 0 | 30 |  | Built | SHET | Wind Onshore
Uniper UK Limited | Connahs Quay | Deeside 400kV Substation | 1380 | 0 | 1380 |  | Built | NGET | CCGT
HD001KIR Ltd | Coopers Lane Kirkby |  | 0 | 49.5 | 49.5 | 2022-10-30 | Scoping | NGET | CCGT
Corby Power Ltd | Corby | Corby 132kV substation | 401 | 0 | 401 |  | Built | NGET | CCGT
Corriegarth Wind Energy Limited | Corriegarth | Corriegarth 132/33kV substation | 69 | 0 | 69 |  | Built | SHET | Wind Onshore
Corriemoillie Windfarm Limited | Corriemoillie Wind Farm | Corriemoillie 132/33kV Substation | 47.5 | 0 | 47.5 |  | Built | SHET | Wind Onshore
Coryton Energy Company Ltd | Coryton | Coryton | 800 | 0 | 800 |  | Built | NGET | CCGT
Costa Head Wind Farm Limited | Costa Head Wind Farm | Costa Head 132/33kV Substation | 0 | 20.4 | 20.4 | 2023-04-30 01:00 | Awaiting Consents | SHET | Wind Onshore
EDF Energy (Thermal Generation) Limited | Cottam | Cottam 400kV Substation | 2000 | -2000 | 0 | 2020-04-01 | Built | NGET | Coal
Cour Wind Farm (Scotland) Limited | Cour Wind Farm | Crossaig 132/33kV Substation | 20.5 | 0 | 20.5 |  | Built | SHET | Wind Onshore
Pivoted Power LLP | Coventry |  | 0 | 49.9 | 49.9 | 2021-10-31 01:00 | Awaiting Consents | NGET | Battery Storage
RWE Generation UK Plc | Cowes | Fawley 400kV Substation | 140 | 0 | 140 |  | Built | NGET | OCGT
Pivoted Power LLP | Cowley |  | 0 | 49.9 | 49.9 | 2020-04-30 01:00 | Awaiting Consents | NGET | Battery Storage
ESB Asset Development UK Limited | CPG Power | Carrington 400kV Substation | 0 | 49.9 | 49.9 | 2021-06-30 01:00 | Scoping | NGET | Gas Reciprocating
Craig Wind Farm Limited | Craig II Wind Farm | Chapelcross 132/33kV Substation | 4.7 | 0 | 4.7 |  | Built | SPT | Wind Onshore
Creag Riabhach Wind Farm Ltd | Creag Riabhach Wind Farm | Creag Riabhach 132/33kV Substation | 0 | 79.2 | 79.2 | 2022-04-30 | Consents Approved | SHET | Wind Onshore
Crookedstane Windfarm Limited | Crookedstane Windfarm | Clyde South | 0 | 25.4 | 25.4 | 2021-04-30 | Consents Approved | SPT | Wind Onshore
Crossdykes Wind Farm Limited | Crossdykes | Crossdykes 33kV Substation | 0 | 46 | 46 | 2020-08-31 | Consents Approved | SPT | Wind Onshore
Muirhall Energy Ltd | Crossdykes Extension | Ewe Hill | 0 | 40 | 40 | 2024-11-30 | Scoping | SPT | Wind Onshore
Drax Generation Enterprise Limited | Cruachan | Dalmally | 440 | 0 | 440 |  | Built | SPT | Pump Storage
Crystal Rig II Ltd | Crystal Rig 2 Wind Farm | Crystal Rig | 138 | 0 | 138 |  | Built | SPT | Wind Onshore
Crystal Rig III Limited | Crystal Rig 3 Wind Farm | Crystal Rig 400/132kV Substation | 13.8 | 0 | 13.8 |  | Built | SPT | Wind Onshore
Crystal Rig III Limited | Crystal Rig 3 Wind Farm | Crystal Rig 400/132kV Substation | 0 | 48.2 | 48.2 | 2020-04-01 | Consents Approved | SPT | Wind Onshore
SSE Generation Ltd | Culligran (part of the Beauly Cascade) | Culligran | 19.1 | 0 | 19.1 |  | Built | SHET | Hydro
Cumberhead Wind Energy Limited | Cumberhead | Cumberhead | 0 | 50 | 50 | 2020-06-30 01:00 | Awaiting Consents | SPT | Wind Onshore
RWE Generation UK Plc | Cwm Dyli | Trawfynydd | 10 | 0 | 10 |  | Built | NGET | Hydro
Statkraft Energy Ltd | Cwm Rheidol | Swansea North | 50 | 0 | 50 |  | Built | NGET | Hydro
Dalquhandy Wind Farm Limited | Dalquhandy Wind Farm | Dalquhandy 132/33kV Substation | 0 | 45 | 45 | 2022-10-31 | Consents Approved | SPT | Wind Onshore
Dalswinton Wind Farm (Scotland) Ltd | Dalswinton | Dumfries | 30 | 0 | 30 |  | Built | SPT | Wind Onshore
Drax Generation Enterprise Limited | Damhead Creek | Kingsnorth | 805 | 0 | 805 |  | Built | NGET | CCGT
Drax Generation Enterprise Limited | Damhead Creek II | Kingsnorth 400kV Substation | 0 | 1800 | 1800 | 2021-12-01 | Consents Approved | NGET | CCGT
SSE Generation Ltd | Deanie (part of the Beauly Cascade) | Deanie | 38 | 0 | 38 |  | Built | SHET | Hydro
Deeside Power Development Co Ltd | Deeside | Deeside 400kV Substation | 1 | 0 | 1 |  | Built | NGET | CCGT
ScottishPower Renewables (UK) Limited | Dersalloch Wind Farm | Dersalloch | 69 | 0 | 69 |  | Built | SPT | Wind Onshore
Derwent Cogeneration Ltd | Derwent | Willington 132kV Substation | 0 | 162 | 162 | 2020-10-30 | Built | NGET | CHP
RWE Generation UK Plc | Didcot A GTs | Didcot 400kV Substation | 99.9 | 0 | 99.9 |  | Built | NGET | OCGT
RWE Generation UK Plc | Didcot B | Didcot 400kV Substation | 1450 | 0 | 1450 |  | Built | NGET | CCGT
First Hydro Company | Dinorwig | Dinorwig 400kV Substation | 1644 | 0 | 1644 |  | Built | NGET | Pump Storage
Dogger Bank Offshore Wind Farm Project 1 Projco Limited | Dogger Bank Project 1 | Dogger Bank 220/33kV Offshore Substations | 0 | 600 | 600 | 2023-04-01 01:00 | Consents Approved | NGET | Wind Offshore
Dogger Bank Offshore Wind Farm Project 1 Projco Limited | Dogger Bank Project 1 | Dogger Bank 220/33kV Offshore Substations | 0 | 600 | 600 | 2023-04-01 01:00 | Consents Approved | NGET | Wind Offshore
Dogger Bank Offshore Wind Farm Project 3 Projco Limited | Dogger Bank Project 2 | Dogger Bank 220/33kV Offshore Substations | 0 | 0 | 1500 | 2024-04-01 | Awaiting Consents | NGET | Wind Offshore
Dogger Bank Offshore Wind Farm Project 2 Projco Limited | Dogger Bank Project 4 | Dogger Bank 220/33kV Offshore Substations | 0 | 600 | 600 | 2023-04-01 01:00 | Consents Approved | NGET | Wind Offshore
Dogger Bank Offshore Wind Farm Project 2 Projco Limited | Dogger Bank Project 4 | Dogger Bank 220/33kV Offshore Substations | 0 | 600 | 600 | 2023-04-01 01:00 | Consents Approved | NGET | Wind Offshore
RWE Generation UK Plc | Dolgarrog | Pentir | 39 | 0 | 39 |  | Built | NGET | Hydro
Dorenell Windfarm Limited | Dorenell Windfarm | Dorenell 132/33kV | 177 | 0 | 177 |  | Built | SHET | Wind Onshore
Douglas West Wind Farm Ltd | Douglas West | Coalburn132/33kV | 0 | 45 | 45 | 2021-04-30 01:00 | Consents Approved | SPT | Wind Onshore
ScottishPower Renewables (UK) Limited | Douglas West Extension | Coalburn | 0 | 0 | 0 |  |  | SPT | Wind Onshore
ScottishPower Renewables (UK) Limited | Douglas West Extension | Coalburn | 0 | 78 | 78 | 2024-07-31 | Awaiting Consents | SPT | Wind Onshore
Viridis 178 Ltd | Dowlais | Upperboat 132 | 21 | 0 | 21 |  | Built | NGET | Thermal
Drax Power Ltd | Drax (Biomass) | Drax | 1905 | 0 | 1905 |  | Built | NGET | Biomass
Drax Power Ltd | Drax (CCGT) | Drax | 0 | 1190 | 1190 | 2023-04-01 | Scoping | NGET | CCGT
Drax Power Ltd | Drax (Coal) | Drax | 2001 | -65 | 1936 | 2023-04-01 01:00 | Built | NGET | Coal
Druim Leathann Windfarm Ltd | Druim Leathann BEGA |  | 0 | 49.7 | 49.7 | 2023-10-31 | Scoping | SHET | Wind Onshore
Dudgeon Offshore Wind Ltd | Dudgeon Offshore Wind Farm | Necton 400kV Substation | 400 | 0 | 400 |  | Built | NGET | Wind Offshore
EDF Energy Nuclear Generation Ltd | Dungeness B | Dungeness 275kV Substation | 1120 | 0 | 1120 |  | Built | NGET | Nuclear
ScottishPower Renewables (UK) Limited | Dunlaw Extension | Dunlaw Extension | 29.75 | 0 | 29.75 |  | Built | SPT | Wind Onshore
Dunmaglass Wind Farm Limited | Dunmaglass Wind Farm | Beauly/Foyers | 94 | 0 | 94 |  | Built | SHET | Wind Onshore
ScottishPower Renewables (UK) Limited | East Anglia 2 | Platform EA2A and Platform EA2B 220/33kV Offshore Substations | 0 | 860 | 860 | 2026-04-01 01:00 | Scoping | NGET | Wind Offshore
East Anglia THREE Limited | East Anglia 3 | Platform EA3A and Platform EA3B 220/33kV Substations | 0 | 600 | 600 | 2023-04-01 01:00 | Consents Approved | NGET | Wind Offshore
East Anglia THREE Limited | East Anglia 3 | Platform EA3A and Platform EA3B 220/33kV Substations | 0 | 600 | 600 | 2023-04-01 01:00 | Consents Approved | NGET | Wind Offshore
East Anglia FOUR Limited | East Anglia 4 | Platform EA4A and Platform EA4B 220/33kV Offshore Substations | 0 | 900 | 900 | 2027-04-01 01:00 | Scoping | NGET | Wind Offshore
East Anglia FOUR Limited | East Anglia 5 | Platform EA5A and Platform EA5B 220/33kV Substations | 0 | 900 | 900 | 2027-04-01 01:00 | Scoping | NGET | Wind Offshore
East Anglia FOUR Limited | East Anglia 6 | Platform EA6A and Platform EA6B and Platform EA6C 220/33kV Substations | 0 | 900 | 900 | 2024-04-01 01:00 | Scoping | NGET | Wind Offshore
East Anglia FOUR Limited | East Anglia 6 | Platform EA6A and Platform EA6B and Platform EA6C 220/33kV Substations | 0 | 900 | 900 | 2024-04-01 01:00 | Scoping | NGET | Wind Offshore
East Anglia One Limited | East Anglia One | Platform EA One 220/66kV Offshore Substation | 340 | 0 | 340 |  | Built | NGET | Wind Offshore
East Anglia One Limited | East Anglia One | Platform EA One 220/66kV Offshore Substation | 0 | 340 | 340 | 2019-11-30 | Under Construction/Commissioning | NGET | Wind Offshore
East Anglia One Limited | East Anglia One North |  | 0 | 860 | 860 | 2027-04-01 01:00 | Scoping | OFFSHORE | Wind Offshore
Vattenfall Wind Power Ltd | Edinbane Wind, Skye | Edinbane | 41.4 | 0 | 41.4 |  | Built | SHET | Wind Onshore
Eggborough Power Ltd | Eggborough | Eggborough 400kV Substation | 0 | 0 | 0 |  | Built | NGET | Coal
Eggborough Power Ltd | Eggborough | Eggborough 400kV Substation | 0 | 2450 | 2450 | 2022-04-01 01:00 | Awaiting Consents | NGET | CCGT
Elchies Wind Limited | Elchies Wind Farm | Elchies 132/33kV Substation | 0 | 99 | 99 | 2023-06-30 01:00 | Scoping | SHET | Wind Onshore
Clearstone Services Limited | Elstree | Elstree 275kv Substation | 0 | 49.5 | 49.5 | 2022-10-31 | Scoping | NGET | CCGT
Statkraft Ireland Limited | Energy Isles |  | 0 | 120.3 | 120.3 | 2024-03-31 | Scoping | SHET | Wind Offshore
Uniper UK Limited | Enfield | Brimsdown 132kV Substation | 415 | 0 | 415 |  | Built | NGET | CCGT
Uniper UK Limited | Enfield | Brimsdown 132kV Substation | 0 | 27 | 27 | 2020-04-01 | Under Construction/Commissioning | NGET | CCGT
E.ON Climate & Renewables UK Developments Limited | Enoch Hill | Enoch Hill 132/33kV | 0 | 69 | 69 | 2023-05-30 01:00 | Scoping | SPT | Wind Onshore
Equinor New Energy Ltd | Equinor | Sheringham Shoal and Dudgeon Offshore Windfarms | 0 | 0 | 719 | 2025-09-01 01:00 | Scoping | NGET | Wind Offshore
SSE Generation Ltd | Errochty | Errochty | 75 | 0 | 75 |  | Built | SHET | Hydro
ScottishPower Renewables (UK) Limited | Ewe Hill | Ewe Hill | 39 | 0 | 39 |  | Built | SPT | Wind Onshore
Pivoted Power LLP | Exeter | Exeter 400kV Substation | 0 | 49.9 | 49.9 | 2021-10-31 01:00 | Awaiting Consents | NGET | Battery Storage
EDF Energy Renewables Limited | Fallago Rig 2 | Fallago 400kV Substation | 0 | 41.4 | 41.4 | 2021-10-31 01:00 | Awaiting Consents | SPT | Wind Onshore
Fallago Rig Wind Farm Ltd | Fallago Rig Wind Farm | Fallago 400kV Substation | 144 | 0 | 144 |  | Built | SPT | Wind Onshore
Farr Wind Farm Limited | Farr Wind Farm, Tomatin | Beauly | 92 | 0 | 92 |  | Built | SHET | Wind Onshore
SSE Generation Ltd | Fasnakyle G1 & G2 | Fasnakyle | 46 | 0 | 46 |  | Built | SHET | Hydro
SSE Generation Ltd | Fasnakyle G3 & G4 | Fasnakyle | 30.5 | 0 | 30.5 |  | Built | SHET | Hydro
Community Windpower Ltd | Faw Side Community Wind Farm | Faw Side Community Wind Farm | 0 | 250 | 250 | 2025-10-31 | Awaiting Consents | SPT | Wind Onshore
Esso Petroleum Company, Limited | Fawley CHP | Fawley 400kV Substation | 158 | 0 | 158 |  | Built | NGET | CHP
Keadby Generation Ltd | Ferrybridge D | Ferrybridge | 0 | 1820 | 1820 | 2023-04-01 01:00 | Scoping | NGET | CCGT
First Hydro Company | Ffestiniog | Ffestiniog 275kV Substation | 360 | 0 | 360 | 2020-02-21 | Built | NGET | Pump Storage
First Hydro Company | Ffestiniog | Ffestiniog 275kV Substation | 360 | 0 | 360 | 2020-04-02 | Built | NGET | Pump Storage
Keadby Generation Ltd | Fiddlers Ferry | Fiddlers Ferry | 1455 | -1455 | 0 | 2020-04-01 01:00 | Built | NGET | Coal
SSE Generation Ltd | Finlarig | Finlarig | 16.5 | 0 | 16.5 |  | Built | SHET | Hydro
Seagreen Wind Energy Ltd | Firth of Forth Offshore Wind Farm 2A |  | 0 | 700 | 700 | 2023-04-01 01:00 | Scoping | SPT | Wind Offshore
Seagreen Wind Energy Ltd | Firth of Forth Offshore Wind Farm 2B | Branxton 400kV | 0 | 700 | 700 | 2024-04-01 01:00 | Scoping | SPT | Wind Offshore
Seagreen Wind Energy Ltd | Firth of Forth Phase 1 | Tealing 275/33kv | 0 | 0 | 0 |  |  | SHET | Wind Offshore
Seagreen Wind Energy Ltd | Firth of Forth Phase 1 | Tealing 275/33kv | 0 | 1075 | 1075 | 2021-10-31 | Consents Approved | SHET | Wind Offshore
Whitetower Energy Limited | Fort Dunlop | Dunlop 132kV substation | 99 | 0 | 99 |  | Built | NGET | OCGT
SSE Generation Ltd | Foyers | Foyers | 300 | 0 | 300 |  | Built | SHET | Pump Storage
RES UK & Ireland Limited | Freasdail | Crossaig 132kV Substation | 22.2 | 0 | 22.2 |  | Built | SHET | Wind Onshore
Galawhistle Wind Farm Ltd | Galawhistle Wind Farm | Galawhistle 132/33kV | 55.2 | 0 | 55.2 |  | Built | SPT | Wind Onshore
Galloper Wind Farm Limited | Galloper Wind Farm | Galloper North 132/33kv | 348 | 0 | 348 |  | Built | NGET | Wind Offshore
Gateway Energy Centre Limited | Gateway Energy Centre Power Station | Coryton South 400kV Substation | 0 | 450.01 | 450.01 | 2023-09-30 01:00 | Consents Approved | NGET | HYBRID
Gateway Energy Centre Limited | Gateway Energy Centre Power Station | Coryton South 400kV Substation | 0 | 549.99 | 549.99 | 2022-09-30 01:00 | Consents Approved | NGET | HYBRID
Gilston Hill Windfarm Limited | Gilston Hill Wind Farm | Gilston Hill 33kV Substation | 0 | 25.2 | 25.2 | 2021-06-30 01:00 | Consents Approved | SPT | Wind Onshore
Fibrogen Ltd | Glanford | Keadby | 15 | 0 | 15 |  | Built | NGET | Biomass
Renewable Energy Systems Limited | Gleann Eoghainn | Dunvegan 132/33kV GSP | 0 | 25 | 25 | 2027-05-31 01:00 | Awaiting Consents | SHET | Wind Onshore
ScottishPower Renewables (UK) Limited | Glen App Windfarm | Glen App and Loch Ree 132/33kV Substation | 32.2 | 0 | 32.2 |  | Built | SPT | Wind Onshore
Glen Kyllachy Wind Farm Limited | Glen Kyllachy Wind Farm | Glen Kyllachy Wind Farm | 0 | 48.5 | 48.5 | 2021-04-30 01:00 | Consents Approved | SHET | Wind Onshore
Kilmac Energy (Glen Ullinish) Limited | Glen Ullinish Wind Farm | Glen Ullinish 132/33kV Substation | 0 | 42 | 42 | 2024-10-31 | Consents Approved | SHET | Wind Onshore
SSE Renewables Developments (UK) Ltd | Glencassley Wind Farm | Shin 33kV | 0 | 65 | 65 | 2024-04-30 01:00 | Awaiting Consents | SHET | Wind Onshore
RES UK & Ireland Limited | Glenchamber Wind Farm | Glenluce | 25.3 | 0 | 25.3 |  | Built | SPT | Wind Onshore
RES UK & Ireland Limited | Glenchamber Wind Farm | Glenluce | 0 | 2.2 | 2.2 | 2022-10-30 01:00 | Consents Approved | SPT | Wind Onshore
SSE Generation Ltd | Glendoe | Fort Augustus | 99.9 | 0 | 99.9 |  | Built | SHET | Hydro
SSE Generation Ltd | Glenmoriston (part of the Moriston Cascade) | Glenmoriston | 40 | 0 | 40 |  | Built | SHET | Hydro
Glenmuckloch Pumped Storage Hydro Limited | Glenmuckloch Pumped Storage | Glenmuckloch 132kV Substation | 0 | 210 | 210 | 2023-10-31 | Consents Approved | SPT | Pump Storage
Glenmuckloch Renewable Energy Limited | Glenmuckloch Wind Farm | Glenmuckloch 33kV | 0 | 33.6 | 33.6 | 2023-04-30 01:00 | Awaiting Consents | SPT | Wind Onshore
Glens of Foudland Wind Farm Ltd | Glens of Foudland Wind (SRO) | Keith | 26 | 0 | 26 |  | Built | SHET | Wind Onshore
SIMEC Wind One Limited | Glenshero | Glenshero | 0 | 168 | 168 | 2023-05-31 01:00 | Scoping | SHET | Wind Onshore
Innogy Renewables UK Ltd | Goole Fields Wind farm | Camblesforth 66kV Substation | 32 | 0 | 32 |  | Built | NGET | Wind Onshore
SSE Generation Ltd | Gordonbush Wind Farm | Gordonbush | 70 | 0 | 70 |  | Built | SHET | Wind Onshore
SSE Generation Ltd | Gordonbush Wind Farm | Gordonbush | 0 | 38 | 38 | 2023-04-01 01:00 | Awaiting Consents | SHET | Wind Onshore
Gordonstown Hill Wind Farm Limited | Gordonstown Hill Wind Farm | Kintore 132/33kV Substation | 12.5 | 0 | 12.5 |  | Built | SHET | Wind Onshore
Uniper UK Limited | Grain | Grain 400kV Substation | 1517 | 0 | 1517 |  | Built | NGET | CCGT
Grangemouth CHP Ltd | Grangemouth CHP | Grangemouth | 120 | 0 | 120 |  | Built | SPT | CHP
RWE Generation UK Plc | Great Yarmouth | Norwich Main 132kV Substation | 420 | 0 | 420 |  | Built | NGET | CCGT
Greater Gabbard Offshore Winds Ltd | Greater Gabbard Offshore Wind Farm | Gabbard 33/132kV Offshore Substation | 500 | 0 | 500 |  | Built | OFFSHORE | Wind Offshore
Viridis 178 Ltd | Green Frog @ Alcoa | swansea North | 0 | 40 | 40 | 2017-12-18 | Under Construction/Commissioning | NGET | OCGT
Viridis 178 Ltd | Green Frog @ Down Barn Farm | Lovedean 400/132kV Substation | 0 | 20 | 20 | 2018-12-13 | Under Construction/Commissioning | NGET | CCGT
Viridis 178 Ltd | Green Frog @ Goose House Lane | Rochdale 132kV Substation | 0 | 21 | 21 | 2018-11-04 | Under Construction/Commissioning | NGET | CCGT
Viridis 178 Ltd | Green Frog @ Letchworth | Wymondley GSP | 15 | 0 | 15 |  | Built | NGET | OCGT
Viridis 178 Ltd | Green Frog @ Moorfield Drive | Padiham 132kV Substation | 0 | 21 | 21 | 2018-11-04 | Under Construction/Commissioning | NGET | CCGT
Viridis 178 Ltd | Green Frog @ Rake Lane | Kearsley 132kV Substation | 0 | 21 | 21 | 2018-11-12 | Under Construction/Commissioning | NGET | CCGT
Viridis 178 Ltd | Green frog @ The Drove | Bridgwater | 6 | 0 | 6 |  | Built | NGET | OCGT
Viridis 178 Ltd | Green Frog at Lester Way | Cowley GSP | 12 | 0 | 12 |  | Built | NGET | OCGT
REG Greenburn Limited | Greenburn Mixed Technology | Greenburn Mixed Technology 132kV Substation | 0 | 90 | 90 | 2027-10-31 01:00 | Scoping | SPT | HYBRID
Greenwire Transmission Pentir Limited | Greenwire Wind Farm - Pentir | Pentir 400kV Substation | 0 | 1000 | 1000 | 2024-12-31 | Scoping | NGET | Wind Offshore
SSE Generation Ltd | Griffin Wind Farm | Errochty / Burghmuir | 188.6 | 0 | 188.6 |  | Built | SHET | Wind Onshore
Gunfleet Sands II Ltd | Gunfleet Sands II Offshore Wind Farm |  | 64 | 0 | 64 |  | Built | OFFSHORE | Wind Offshore
Gunfleet Sands Ltd | Gunfleet Sands Offshore Wind Farm |  | 99.9 | 0 | 99.9 |  | Built | OFFSHORE | Wind Offshore
Gwynt Y Mor Offshore Wind Farm Ltd | Gwynt Y Mor Offshore Wind Farm | Gwynt y Mor 132/33kV Offshore Substation | 574 | 0 | 574 |  | Built | OFFSHORE | Wind Offshore
SSE Generation Ltd | Hadyard Hill | Maybole | 99.9 | 0 | 99.9 |  | Built | SPT | Wind Onshore
Hagshaw Hill Repowering Limited | Hagshaw Hill Phase 1 | Coalburn | 0 | 30 | 30 | 2024-05-30 | Scoping | SPT | Wind Onshore
Hagshaw Hill Repowering Limited | Hagshaw Hill Phase 2 | Coalburn | 0 | 54 | 54 | 2024-05-30 01:00 | Scoping | SPT | Wind Onshore
ScottishPower Renewables (UK) Limited | Halsary Wind Farm | Mybster 132/33kV Substation | 0 | 28.5 | 28.5 | 2020-10-31 | Consents Approved | SHET | Wind Onshore
LDV Harburnhead Ltd | Harburnhead Wind Farm | Livingston East | 51.7 | 0 | 51.7 |  | Built | SPT | Wind Onshore
ScottishPower Renewables (UK) Limited | Hare Hill Extension Wind Farm | Coylton | 29.75 | 0 | 29.75 |  | Built | SPT | Wind Onshore
ScottishPower Renewables (UK) Limited | Harestanes | Harestanes | 125 | 0 | 125 |  | Built | SPT | Wind Onshore
Pivoted Power LLP | Harker |  | 0 | 49.9 | 49.9 | 2019-10-31 | Consents Approved | NGET | Battery Storage
Innogy Renewables UK Ltd | Harryburn Wind Farm | Elvanfoot 275/132/33kV | 0 | 68 | 68 | 2022-10-30 01:00 | Scoping | SPT | Wind Onshore
Banks Renewables (Harting Rig Wind Farm) Limited | Harting Rig Wind Farm | Harting Rig 132/33kv | 0 | 61.2 | 61.2 | 2023-10-30 | Consents Approved | SPT | Wind Onshore
EDF Energy Nuclear Generation Ltd | Hartlepool | Hartlepool 275kV Substation | 1207 | 0 | 1207 |  | Built | NGET | Nuclear
Hesta Head Wind Farm Limited | Hesta Head Wind Farm | Hesta Head 132/33kV Substation | 0 | 20.4 | 20.4 | 2023-04-30 01:00 | Awaiting Consents | SHET | Wind Onshore
EDF Energy Nuclear Generation Ltd | Heysham Power Station | Heysham | 2400 | -12 | 2388 | 2020-04-01 | Built | NGET | Nuclear
Hill of Glaschyle Renewables LLP | Hill of Glaschyle | Berryburn 275/33kV Substation | 27.6 | 0 | 27.6 |  | Built | SHET | Wind Onshore
Renewable Energy Systems Limited | Hill of Towie 2 Wind Farm | Hill of Towie 2 | 0 | 36 | 36 | 2023-08-30 | Consents Approved | SHET | Wind Onshore
Hill of Towie Limited | Hill of Towie/Drummuir |  | 48.3 | 0 | 48.3 |  | Built | SHET | Wind Onshore
EDF Energy Nuclear Generation Ltd | Hinkley Point B | Hinkley Point 400kV Substation | 1061 | 0 | 1061 |  | Built | NGET | Nuclear
EDF Energy Nuclear Generation Ltd | Hinkley Point C | Hinkley 400kV Substation | 0 | 1670 | 1670 | 2024-12-06 | Consents Approved | NGET | Nuclear
EDF Energy Nuclear Generation Ltd | Hinkley Point C | Hinkley 400kV Substation | 0 | 1670 | 1670 | 2025-12-06 | Consents Approved | NGET | Nuclear
Hirwaun Power Ltd | Hirwaun Power Station | Rhigos | 0 | 299 | 299 | 2020-07-10 01:00 | Consents Approved | NGET | OCGT
Orthios Power (Anglesey) Ltd | Holyhead | Penhros | 0 | 150 | 150 | 2021-10-31 01:00 | Consents Approved | NGET | Biomass
Orthios Power (Anglesey) Ltd | Holyhead | Penhros | 0 | 60 | 60 | 2023-04-01 01:00 | Consents Approved | NGET | Biomass
Hopsrig Wind Farm Limited | Hopsrig Wind Farm | Hopsrig Wind Farm 132/33kV Substation | 0 | 48 | 48 | 2022-10-31 | Consents Approved | SPT | Wind Onshore
Hornsea 1 Limited | Hornsea Power Station 1A | Hornsea Platform 1A Offshore Substation | 400 | 0 | 400 |  | Built | NGET | Wind Offshore
Hornsea 1 Limited | Hornsea Power Station 1B | Hornsea Platform 1B Offshore Substation | 400 | 0 | 400 |  | Built | NGET | Wind Offshore
Hornsea 1 Limited | Hornsea Power Station 1C | Hornsea Platform 1C Offshore Substation | 400 | 0 | 400 |  | Built | NGET | Wind Offshore
Breesea Limited | Hornsea Power Station 2A | Hornsea Platform 2A Offshore Substation | 0 | 440 | 440 | 2020-10-01 01:00 | Consents Approved | NGET | Wind Offshore
Soundmark Wind Limited | Hornsea Power Station 2B | Hornsea Platform 2B Offshore Substation | 0 | 440 | 440 | 2021-04-01 01:00 | Consents Approved | NGET | Wind Offshore
Sonningmay Wind Limited | Hornsea Power Station 2C | Hornsea Power Station 2C Offshore platform | 0 | 440 | 440 | 2021-10-01 01:00 | Consents Approved | NGET | Wind Offshore
Orsted Hornsea Project Three Uk Ltd | Hornsea Power Station 3A-1 (formerly 3A) | Hornsea Platform 3A Offshore Substation | 0 | 500 | 500 | 2023-04-01 01:00 | Scoping | NGET | Wind Offshore
Orsted Hornsea Project Three Uk Ltd | Hornsea Power Station 3A-2 (formerly 3B) | Hornsea Platform 3B Offshore Substation | 0 | 500 | 500 | 2023-10-01 01:00 | Scoping | NGET | Wind Offshore
Orsted Hornsea Project Four Limited | Hornsea Power Station 4 | Hornsea Offshore Substation Platform 4 | 0 | 1500 | 1500 | 2025-04-01 | Awaiting Consents | NGET | Wind Offshore
Orsted Hornsea Project Four Limited | Hornsea Power Station 4 | Hornsea Offshore Substation Platform 4 | 0 | 1100 | 1100 | 2028-10-31 | Awaiting Consents | NGET | Wind Offshore
Orsted Hornsea Project Three Uk Ltd | Hornsea Power Station Project 3B-1 (formerly 3C) | Hornsea Platform 3C Offshore Substation | 0 | 500 | 500 | 2024-04-01 01:00 | Scoping | NGET | Wind Offshore
Orsted Hornsea Project Three Uk Ltd | Hornsea Power Station Project 3B-2 (formerly 3D) | Hornsea Platform 3D Offshore Substation | 0 | 500 | 500 | 2024-10-01 01:00 | Scoping | NGET | Wind Offshore
E.ON Climate & Renewables UK Humber Wind Ltd | Humber Gateway Offshore Wind Farm | Humber Gateway 33/132kV Offshore Substation | 220 | 0 | 220 |  | Built | OFFSHORE | Wind Offshore
EDF Energy Nuclear Generation Ltd | Hunterston | Hunterston 400kV Substation | 1000 | 0 | 1000 |  | Built | SPT | Nuclear
District Energy Ltd. | Huntworth | Taunton | 10 | 0 | 10 |  | Built | NGET | CCGT
Pivoted Power LLP | Hutton | Hutton | 0 | 49.9 | 49.9 | 2023-10-31 | Awaiting Consents | NGET | Battery Storage
Hywind (Scotland) Ltd | Hywind Wind Farm | Peterhead Grange | 30 | 0 | 30 |  | Built | SHET | Wind Onshore
VPI Immingham LLP | Immingham | Humber Refinery 400kV Substation | 1218 | 0 | 1218 |  | Built | NGET | CHP
VPI Immingham LLP | Immingham | Humber Refinery 400kV Substation | 0 | 50 | 1268 | 2020-10-01 | Under Construction/Commissioning | NGET | CHP
Inch Cape Offshore Ltd | Inch Cape Offshore Wind Farm Platform 1 | Cockenzie 275kV | 0 | 130 | 130 | 2023-04-01 01:00 | Consents Approved | SPT | Wind Offshore
Inch Cape Offshore Ltd | Inch Cape Offshore Wind Farm Platform 1 | Cockenzie 275kV | 0 | 200 | 200 | 2023-10-31 | Consents Approved | SPT | Wind Offshore
Inch Cape Offshore Ltd | Inch Cape Offshore Wind Farm Platform 2 | Cockenzie 275kV | 0 | 370 | 370 | 2023-04-01 01:00 | Consents Approved | SPT | Wind Offshore
National Reserve Limited | Indian Queens |  | 0 | 49.9 | 49.9 | 2023-10-30 | Scoping | NGET | Battery Storage
AES Indian Queens Power Ltd | Indian Queens | Indian Queens 400kV Substation | 140 | 0 | 140 |  | Built | NGET | OCGT
Pivoted Power LLP | Indian Queens | Indian Queens 400kV | 0 | 49.9 | 49.9 | 2023-10-31 | Awaiting Consents | NGET | Battery Storage
SSE Generation Ltd | Invergarry (part of the Garry Cascade) | Invergarry | 20 | 0 | 20 |  | Built | SHET | Hydro
Pivoted Power LLP | Iver | Iver 275kV Substation | 0 | 49.9 | 49.9 | 2023-10-31 | Scoping | NGET | Battery Storage
J G Pears Grid Connection Ltd | J G Pears | High Marnham | 0 | 17 | 17 | 2019-09-06 01:00 | Under Construction/Commissioning | NGET | CHP
J G Pears Grid Connection Ltd | J G Pears | High Marnham | 13 | 0 | 13 |  | Built | NGET | CHP
Harmony JF Limited | Jamesfield Farm Battery Storage | Abernethy 132/33kV Substation | 0 | 30 | 30 | 2022-10-31 | Scoping | SHET | Battery Storage
Harmony JF Limited | Jamesfield Farm Phase 2 Battery Storage | Abernethy 132/33kV Substation | 0 | 19 | 19 | 2022-10-31 | Scoping | SHET | Battery Storage
Keadby Generation Ltd | Keadby | Keadby | 755 | 0 | 755 |  | Built | NGET | CCGT
Keadby Generation Ltd | Keadby II | Keadby | 0 | 893 | 893 | 2020-12-30 | Consents Approved | NGET | CCGT
Pivoted Power LLP | Kearsley |  | 0 | 49.9 | 49.9 | 2022-10-31 | Awaiting Consents | NGET | Battery Storage
Renewable Energy Systems Limited | Keirs Hill Wind Farm | Coylton GSP | 0 | 40 | 40 | 2024-04-01 01:00 | Awaiting Consents | SPT | Wind Onshore
Diamond Wind Limited | Keith Hill Wind Farm | Keith Hill 33kV Substation | 4.5 | 0 | 4.5 |  | Built | SPT | Wind Onshore
Grovehurst Energy | Kemsley | Kemsley | 35.8 | 0 | 35.8 |  | Built | NGET | CHP
Pivoted Power LLP | Kemsley |  | 0 | 49.9 | 49.9 | 2020-10-31 | Awaiting Consents | NGET | Battery Storage
Brookfield Renewable UK Ltd | Kennoxhead Wind Farm | Kennoxhead | 0 | 112 | 112 | 2024-02-27 | Awaiting Consents | SPT | Wind Onshore
Brookfield Renewable UK Ltd | Kennoxhead Wind Farm Extension | Middlemuir | 0 | 60 | 60 | 2021-10-31 01:00 | Awaiting Consents | SPT | Wind Onshore
Sunnica Limited | Kestrel Meadow BCA | Burwell GSP | 0 | 500 | 500 | 2025-04-01 01:00 | Awaiting Consents | NGET | Battery Storage
Kilbraur Wind Energy Ltd | Kilbraur Wind Farm | Kilbraur Wind Farm | 67 | 0 | 67 |  | Built | SHET | Wind Onshore
ScottishPower Renewables (UK) Limited | Kilgallioch | Kilgallioch 132/33kV Substation | 0 | 46 | 46 | 2022-10-31 | Consents Approved | SPT | Wind Onshore
ScottishPower Renewables (UK) Limited | Kilgallioch | Kilgallioch 132/33kV Substation | 228 | 0 | 228 |  | Built | SPT | Wind Onshore
Uniper UK Limited | Killingholme | Killingholme 400kV Substation | 600 | 0 | 600 |  | Built | NGET | OCGT
Centrica Generation Ltd | Killingholme 2 | Killingholme | 0 | 0 | 0 |  | Built | NGET | CCGT
SSE Generation Ltd | Kilmorack (part of the Beauly Cascade) | Kilmorack | 20 | 0 | 20 |  | Built | SHET | Hydro
Kincardine Offshore Wind Limited | Kincardine Offshore Wind Farm | Redmoss 132/33kV Grid Supply Point Substation | 2 | 0 | 2 |  | Built | SHET | Wind Offshore
Kincardine Offshore Wind Limited | Kincardine Offshore Wind Farm | Redmoss 132/33kV Grid Supply Point Substation | 0 | 47.6 | 47.6 | 2020-04-01 | Under Construction/Commissioning | SHET | Wind Offshore
Centrica KL Ltd | Kings Lynn A | Walpole 132KV Substation | 99 | 0 | 99 |  | Built | NGET | CCGT
Centrica KL Ltd | Kings Lynn A | Walpole 132KV Substation | 281 | 0 | 281 |  | Built | NGET | CCGT
EP UK Power Developments Limited | Kings Lynn B | Kings Lynn B 400kV Substation | 0 | 1700 | 1700 | 2023-09-30 01:00 | Consents Approved | NGET | CCGT
Kirk Hill Wind Farm Limited | Kirk Hill | Maybole | 0 | 20 | 20 | 2022-10-31 | Awaiting Consents | SPT | Wind Onshore
Pivoted Power LLP | Kirkby |  | 0 | 49.9 | 49.9 | 2021-10-31 01:00 | Scoping | NGET | Battery Storage
REG Knockodhar Limited | Knockodhar Wind Farm | Markhill Substation | 0 | 120 | 120 | 2026-10-30 | Scoping | SPT | Wind Onshore
Banks Renewables (Kype Muir Wind Farm) Limited | Kype Muir | Coalburn 132/33kV | 88.4 | 0 | 88.4 |  | Built | SPT | Wind Onshore
Pivoted Power LLP | Laleham |  | 0 | 49.9 | 49.9 | 2022-10-31 | Scoping | NGET | Battery Storage
Pivoted Power LLP | Landulph | Landulph 400kV Substation | 0 | 49.9 | 49.9 | 2022-10-31 | Consents Approved | NGET | Battery Storage
Centrica Langage Ltd | Langage | Langage 400kV Substation | 905 | 0 | 905 |  | Built | NGET | CCGT
Infinergy Ltd | Limekilns | Limekilns 132/33kV substation | 0 | 90 | 90 | 2020-10-31 | Scoping | SHET | Wind Onshore
Lincs Wind Farm Ltd | Lincs Offshore Wind Farm | Lincs 33/132kV Offshore Substation | 256 | 0 | 256 |  | Built | OFFSHORE | Wind Offshore
RWE Generation UK Plc | Little Barford | Eaton Socon 400kV Substation | 740 | 0 | 740 |  | Built | NGET | CCGT
Daisy No 2 Limited | Little Raith | Glenniston 132kV Substation | 0 | 50 | 50 | 2020-06-30 01:00 | Consents Approved | SPT | Battery Storage
SSE Generation Ltd | Livishie (part of the Moriston Cascade) | Glenmoriston | 18 | 0 | 18 |  | Built | SHET | Hydro
Greenfields (T) Limited | Llanwern Phase 1 | Whitston 275/33kV Substation | 0 | 49.9 | 49.9 | 2019-10-31 | Consents Approved | NGET | PV Array
Greenfields (Q) Limited | Llanwern Phase 2 | Whitson Substation | 0 | 190 | 190 | 2023-09-30 | Awaiting Consents | NGET | HYBRID
Bluebell Wind Farm Limited | Loch Luichart Extension II | Loch Luichart Extension II Substation | 0 | 36 | 36 | 2023-10-31 | Scoping | SHET | Wind Onshore
SSE Generation Ltd | Lochay (Part of Killin Cascade Hydro Scheme) | Lochay | 47 | 0 | 47 |  | Built | SHET | Hydro
Turbine Marketing SPV Limited T/A Turbine Solar Energy | Lochgoin Solar Farm | Whitelee Extension 275kV Substation | 0 | 89 | 89 | 2023-08-25 | Awaiting Consents | SPT | PV Array
LZN Ltd | Lochluichart | Corriemoillie 132kV Substation | 69 | 0 | 69 |  | Built | SHET | Wind Onshore
Loganhead Wind Farm Limited | Loganhead Windfarm | EWE HILL WF 33/132KV COLLECTOR SUBSTATION | 0 | 36 | 36 | 2023-10-31 | Awaiting Consents | SPT | Wind Onshore
London Array Ltd | London Array Offshore Wind Farm | London Array 33/150kV Offshore Substations | 630 | 0 | 630 |  | Built | OFFSHORE | Wind Offshore
E.ON Climate & Renewables UK Developments Limited | Lorg Wind Farm | Lorg Wind Farm Substation | 0 | 49.5 | 49.5 | 2023-04-30 01:00 | Scoping | SPT | Wind Onshore
Pivoted Power LLP | Lovedean |  | 0 | 49.9 | 49.9 | 2022-10-31 | Awaiting Consents | NGET | Battery Storage
SSE Generation Ltd | Lubreoch Hydro (Part of Killin Cascade Hydro Scheme) | Killin | 4 | 0 | 4 |  | Built | SHET | Hydro
SSE Generation Ltd | Luichart (part of the Conon Cascade) | Luichart | 34 | 0 | 34 |  | Built | SHET | Hydro
Lynemouth Power Limited | Lynemouth Power Station | Blyth | 396 | 0 | 396 |  | Built | NGET | Biomass
BP (CHP) Ltd | Lynes Common | Fawley 400kV Substation | 49.9 | 0 | 49.9 |  | Built | NGET | OCGT
Nuclear Decommissioning Authority | Maentwrog |  | 30 | 0 | 30 |  | Built | NGET | Hydro
Pivoted Power LLP | Mannington | Mannington | 0 | 49.9 | 49.9 | 2024-04-30 01:00 | Awaiting Consents | NGET | Battery Storage
Marchwood Power Ltd | Marchwood | Marchwood 400kV Substation | 920 | 0 | 920 |  | Built | NGET | CCGT
ScottishPower Renewables (UK) Limited | Mark Hill Wind Farm | Mark Hill | 53 | 0 | 53 |  | Built | SPT | Wind Onshore
RWE Npower Renewables (Markinch Ltd) | Markinch (Rothes) Biomass CHP Plant | Glenrothes | 55 | 0 | 55 |  | Built | SPT | Biomass
Medway Power Ltd | Medway Power Station | Grain | 735 | 0 | 735 |  | Built | NGET | CCGT
Brookfield Renewable UK Ltd | Meikle Hill Wind Farm | Elgin 275/132kV Substation | 0 | 23 | 23 | 2022-10-31 | Consents Approved | SHET | Wind Onshore
MeyGen Ltd | MeyGen Tidal | Gills Bay | 0 | 15 | 15 | 2021-08-31 01:00 | Consents Approved | SHET | Tidal
MeyGen Ltd | MeyGen Tidal | Gills Bay | 0 | 56 | 56 | 2022-10-31 | Consents Approved | SHET | Tidal
MeyGen Ltd | MeyGen Tidal | Gills Bay | 0 | 83 | 83 | 2023-10-31 | Awaiting Consents | SHET | Tidal
MeyGen Ltd | MeyGen Tidal | Gills Bay | 0 | 83 | 83 | 2024-10-31 | Awaiting Consents | SHET | Tidal
Banks Renewables (Middle Muir Wind Farm) Limited | Middle Muir Wind Farm | Middle Muir 132/33kV | 51 | 0 | 51 |  | Built | SPT | Wind Onshore
Egnedol Pembroke Eco-Power Ltd | Milford Haven | Pembroke 400kV Substation | 0 | 350 | 350 | 2022-10-31 | Awaiting Consents | NGET | Biomass
Millbrook Power Limited | Millbrook Power | Millbrook 400kV | 0 | 299 | 299 | 2022-07-15 01:00 | Scoping | NGET | OCGT
Falck Renewables Wind Ltd | Millennium South | Millennium South 132/33kV Substation | 0 | 25 | 25 | 2021-10-31 01:00 | Consents Approved | SHET | Wind Onshore
Millennium Wind Energy Ltd | Millennium Wind | Millennium | 65 | 0 | 65 |  | Built | SHET | Wind Onshore
Minnygap Energy Limited | Minnygap | Moffat132/33Kv | 25 | 0 | 25 |  | Built | SPT | Wind Onshore
Minsca Wind Farm (Scotland) Ltd | Minsca | Chapelcross | 37.5 | 0 | 37.5 |  | Built | SPT | Wind Onshore
E.ON Climate & Renewables UK Developments Limited | Monquhill Wind Farm | Monquhill Wind Farm 33kV Substation | 0 | 10 | 10 | 2023-10-31 | Awaiting Consents | SPT | Wind Onshore
Moray Offshore Windfarm (East) Ltd | Moray Firth Offshore Wind Farm | Moray Firth 220/33kV Platform 1 & 2 Offshore Substation | 0 | 80 | 80 | 2021-01-01 | Consents Approved | SHET | Wind Offshore
Moray Offshore Windfarm (East) Ltd | Moray Firth Offshore Wind Farm | Moray Firth 220/33kV Platform 1 & 2 Offshore Substation | 0 | 520 | 520 | 2021-04-01 01:00 | Consents Approved | SHET | Wind Offshore
Moray Offshore Windfarm (East) Ltd | Moray Firth Offshore Wind Farm | Moray Firth 220/33kV Platform 1 & 2 Offshore Substation | 0 | 300 | 300 | 2021-04-01 01:00 | Consents Approved | SHET | Wind Offshore
Moray Offshore Windfarm (West) Limited | Moray Offshore West Windfarm | Moray Firth 220/33kV Platform 1 & 2 Offshore Substation | 0 | 400 | 400 | 2024-03-31 | Scoping | SHET | Wind Offshore
Moray Offshore Windfarm (West) Limited | Moray Offshore West Windfarm | Moray Firth 220/33kV Platform 1 & 2 Offshore Substation | 0 | 400 | 400 | 2024-04-01 01:00 | Scoping | SHET | Wind Offshore
SSE Generation Ltd | Mossford (part of the Conon Cascade) | Mossford | 18.7 | 0 | 18.7 |  | Built | SHET | Hydro
Peel (No 1) Wind Farms Limited | Mossy Hill Wind Farm | Mossy Hill 132/33kV Substation | 0 | 49.9 | 49.9 | 2024-04-01 01:00 | Scoping | SHET | Wind Onshore
Carbon Free Moy Ltd | Moy Wind Farm | Inverness 132/33kV GSP | 60 | 0 | 60 |  | Built | SHET | Wind Onshore
Uisenis Power Limited | Muaitheabhal Wind Farm | Muaitheabhal 132/33kV Substation | 0 | 150 | 150 | 2023-10-31 | Consents Approved | SHET | Wind Onshore
SSE Generation Ltd | Nant | Nant | 15 | 0 | 15 |  | Built | SHET | Hydro
Neart Na Gaoithe Offshore Wind Ltd | Neart Na Gaoithe Offshore Wind Farm |  | 0 | 450 | 450 | 2021-02-26 | Consents Approved | SPT | Wind Offshore
Clearstone Services Limited | North Hyde | CST Seven (North Hyde) | 0 | 49.5 | 49.5 | 2021-10-31 01:00 | Scoping | NGET | CCGT
North Kyle Wind Farm Limited | North Kyle New Cumnock | New Cumnock | 0 | 212 | 212 | 2024-04-30 | Awaiting Consents | SPT | Wind Onshore
NLEI Limited | North Lowther Energy Initiative | NLEI Substation | 0 | 151.2 | 151.2 | 2024-10-31 | Scoping | SPT | Wind Onshore
Pivoted Power LLP | Norwich | Norwich 400kV Substation | 0 | 49.9 | 49.9 | 2020-10-31 | Consents Approved | NGET | Battery Storage
Clearstone Services Limited | Norwich | Norwich 400kV Substation | 0 | 49.5 | 49.5 | 2021-10-31 01:00 | Consents Approved | NGET | CCGT
Nursling Energy Two Limited | Nursling |  | 0 | 49.9 | 49.9 | 2019-10-31 | Consents Approved | NGET | Battery Storage
Nuclear Decommissioning Authority | Oldbury | Oldbury-on-Severn 400kV Substation | 0 | 0 | 0 |  | Built | NGET | Nuclear
Pivoted Power LLP | Oldbury |  | 0 | 49.9 | 49.9 | 2021-10-31 01:00 | Awaiting Consents | NGET | Battery Storage
Horizon Nuclear Power Oldbury Ltd | Oldbury C | Oldbury-on-Severn 400kV Substation | 0 | 0 | 0 | 2029-04-01 01:00 | Terminated | NGET | Nuclear
Ormonde Energy Ltd | Ormonde Offshore Wind Farm | Ormonde 33/132kV Offshore Substation | 150 | 0 | 150 |  | Built | OFFSHORE | Wind Offshore
SSE Generation Ltd | Orrin (part of the Conon Cascade) | Orrin | 18 | 0 | 18 |  | Built | SHET | Hydro
Orsted ESS Mersey Limited | Orsted CRS |  | 0 | 20 | 20 | 2018-11-05 | Under Construction/Commissioning | NGET | Battery Storage
Peak Gen Power 2 Limited | Peak Gen BEGA | Walpole | 20.5 | 0 | 20.5 |  | Built | NGET | Oil & AGT
RWE Generation UK Plc | Pembroke Power Station | Pembroke 400kV Substation | 2199 | 0 | 2199 |  | Built | NGET | CCGT
Pen Y Cymoedd Wind Farm Ltd | Pen Y Cymoedd Wind Farm | Rhigos 400kV | 228 | 0 | 228 |  | Built | NGET | Wind Onshore
Pencloe Wind Energy Ltd | Pencloe Windfarm | Pencloe 132/33kV | 0 | 63 | 63 | 2020-09-30 01:00 | Consents Approved | SPT | Wind Onshore
Pencloe Wind Energy Ltd | Pencloe Windfarm | Pencloe 132/33kV | 0 | 33 | 33 | 2022-08-30 01:00 | Awaiting Consents | SPT | Wind Onshore
Centrica PB Ltd | Peterborough | Walpole 132KV Substation | 245 | 0 | 245 |  | Built | NGET | CCGT
SSE Generation Ltd | Peterhead | Peterhead | 1180 | 0 | 1180 |  | Built | SHET | CCGT
SSE Generation Ltd | Pitlochry (part of the Clunie Cascade) | Pitlochry | 15 | 0 | 15 |  | Built | SHET | Hydro
Viridis 178 Ltd | Plymouth Main | Landulph | 0 | 25.52 | 25.52 |  | Under Construction/Commissioning | NGET | CHP
Viridis 178 Ltd | Plymouth Rock | Landulph | 0 | 15.08 | 15.08 |  | Under Construction/Commissioning | NGET | CHP
Pogbie Wind Farm (Grid) Limited | Pogbie Wind Farm | Pogbie 33kV Substation | 9.6 | 0 | 9.6 |  | Built | SPT | Wind Onshore
Conservation Energy Limited | Porters Wood |  | 0 | 0 | 0 |  |  | NGET | HYBRID
Conservation Energy Limited | Porters Wood |  | 0 | 500 | 500 | 2025-04-01 | Scoping | NGET | HYBRID
Powersite Ltd | Powersite @ Drakelow | Drakelow | 0 | 380 | 380 | 2020-10-01 01:00 | Under Construction/Commissioning | NGET | CCGT
Priestgill Wind Farm Limited | Priestgill Wind Farm |  | 0 | 41 | 41 | 2023-12-15 | Awaiting Consents | SPT | Wind Onshore
Progress Power Ltd | Progress Power Station | Yaxley 400kV Substation | 0 | 299 | 299 | 2021-08-01 01:00 | Consents Approved | NGET | OCGT
SSE Generation Ltd | Quoich (part of the Garry Cascade) | Quoich | 18 | 0 | 18 |  | Built | SHET | Hydro
DONG Energy RB (UK) Limited | Race Bank Wind Farm | Race Bank 132/33kV Substation | 565 | 0 | 565 |  | Built | NGET | Wind Offshore
RAMPION OFFSHORE WIND LIMITED | Rampion Offshore Wind Farm | Rampion 33/132kV Offshore Substation | 400 | 0 | 400 |  | Built | NGET | Wind Offshore
Uniper UK Limited | Ratcliffe on Soar | Ratcliffe 400kV Substation | 2021 | 0 | 2021 |  | Built | NGET | Coal
Cinergy Global Power (UK) Ltd | Redditch | Feckenham | 29 | 0 | 29 |  | Built | NGET | CCGT
Viridis 178 Ltd | Redfield Road A | Ratcliffe GSP | 20.88 | 0 | 20.88 |  | Built | NGET | CHP
Viridis 178 Ltd | Redfield Road B | Ratcliffe GSP | 0 | 20.88 | 20.88 | 2016-09-05 01:00 | Under Construction/Commissioning | NGET | Thermal
E.ON UK Renewables UK Robin Rigg East Ltd | Robin Rigg East Offshore Wind Farm | Robin Rigg East 132/33kV Offshore Substation | 86 | 0 | 86 |  | Built | OFFSHORE | Wind Offshore
E.ON UK Renewables UK Robin Rigg West Ltd | Robin Rigg West Offshore Wind Farm | Robin Rigg West 132/33kV Offshore Substation | 92 | 0 | 92 |  | Built | OFFSHORE | Wind Offshore
Pivoted Power LLP | Rochdale |  | 0 | 49.9 | 49.9 | 2023-10-31 | Awaiting Consents | NGET | Battery Storage
Rocksavage Power Company Ltd | Rocksavage | Rocksavage | 810 | 0 | 810 |  | Built | NGET | CCGT
Centrica Brigg Ltd | Roosecote | Roosecote 132kV | 49 | 0 | 49 |  | Built | NGET | Battery Storage
Drax Generation Enterprise Limited | Rye House | Rye House | 715 | 0 | 715 |  | Built | NGET | CCGT
WKN Sallachy Ltd | Sallachy Wind Farm | Sallachy 132kV Substation | 0 | 50 | 50 | 2023-04-30 01:00 | Awaiting Consents | SHET | Wind Onshore
Saltend Cogeneration Company Ltd | Saltend | Saltend South 400kV Substation | 1100 | 0 | 1100 |  | Built | NGET | CCGT
Sandy Knowe Wind Farm Ltd | Sandy Knowe Wind Farm | Sandy Knowe Wind Farm 132/33kV Substation | 0 | 51 | 51 | 2021-10-30 | Consents Approved | SPT | Wind Onshore
Sandy Knowe Wind Farm Ltd | Sandy Knowe Wind Farm | Sandy Knowe Wind Farm 132/33kV Substation | 0 | 39 | 39 | 2023-10-30 | Consents Approved | SPT | Wind Onshore
Sanquhar II Community Wind Company Limited | Sanquhar II Wind Farm | Sanquhar II 132/33kV | 0 | 250 | 250 | 2024-04-30 | Scoping | SPT | Wind Onshore
Sanquhar Community Wind Company Limited | Sanquhar Wind Farm | Ulzieside 132/33kV | 32.4 | -2.4 | 30 | 2020-05-01 | Built | SPT | Wind Onshore
Community Windpower Ltd | Scoop Hill Wind Farm | Scoop Hill Wind Farm 132kV Substation | 0 | 500 | 500 | 2025-08-28 | Scoping | SPT | Wind Onshore
Seabank Power Ltd | Seabank | Seabank 400kV Substation | 1234 | 0 | 1234 |  | Built | NGET | CCGT
Pivoted Power LLP | Seabank |  | 0 | 49.9 | 49.9 | 2021-10-31 01:00 | Awaiting Consents | NGET | Battery Storage
Seabank Power Ltd | Seabank 3 | Seabank 400kV Substation | 0 | 1200 | 1200 | 2025-04-01 01:00 | Scoping | NGET | CCGT
Nuclear Decommissioning Authority | Sellafield | Hutton 132kV Substation | 155 | 0 | 155 |  | Built | NGET | CHP
Pivoted Power LLP | Sellindge |  | 0 | 49.9 | 49.9 | 2021-10-31 01:00 | Awaiting Consents | NGET | Battery Storage
Severn Power Ltd | Severn Power | Uskmouth 275kV Substation | 850 | 0 | 850 |  | Built | NGET | CCGT
District Energy Ltd. | Sevington | Sellindge 132kV Substation | 10 | 0 | 10 |  | Built | NGET | CCGT
ScottishPower Renewables (UK) Limited | Sheirdrim Wind Farm |  | 0 | 84 | 84 | 2024-10-31 | Scoping | SHET | Wind Onshore
SETT Wind Development Limited | Shepherds Rig Wind Farm |  | 0 | 84.6 | 84.6 | 2024-07-30 | Scoping | SPT | Wind Onshore
Scira Offshore Energy Ltd | Sheringham Shoal Offshore Wind Farm | Sheringham Shoal 33/132kV Offshore Substations | 315 | 0 | 315 |  | Built | OFFSHORE | Wind Offshore
Drax Generation Enterprise Limited | Shoreham | Bolney | 420 | 0 | 420 |  | Built | NGET | CCGT
EDF Energy Nuclear Generation Ltd | Sizewell B | Sizewell 132kV Substation | 1223 | 0 | 1223 |  | Built | NGET | Nuclear
EDF Energy Nuclear Generation Ltd | Sizewell B | Sizewell 132kV Substation | 0 | 7 | 7 | 2021-01-01 | Under Construction/Commissioning | NGET | Nuclear
EDF Energy Nuclear Generation Ltd | Sizewell C | Sizewell North 400kV Substation | 0 | 1670 | 1670 | 2029-10-31 | Scoping | NGET | Nuclear
EDF Energy Nuclear Generation Ltd | Sizewell C | Sizewell North 400kV Substation | 0 | 1670 | 1670 | 2030-10-31 | Scoping | NGET | Nuclear
SSE Generation Ltd | Sloy G1 and G4 | Sloy | 72.5 | 0 | 72.5 |  | Built | SHET | Hydro
SSE Generation Ltd | Sloy G2 and G3 | Sloy | 80 | 0 | 80 |  | Built | SHET | Hydro
Sneddon Law Community Wind Company Limited | Sneddon Law Wind | Kilmarnock Town 275/33kV | 0 | 30 | 30 | 2018-10-31 | Under Construction/Commissioning | SPT | Wind Onshore
Sofia Offshore Wind Farm Limited | Sofia Offshore Wind Farm | Dogger Bank 220/33kV Offshore Substations | 0 | 600 | 600 | 2023-04-01 01:00 | Awaiting Consents | NGET | Wind Offshore
Sofia Offshore Wind Farm Limited | Sofia Offshore Wind Farm | Dogger Bank 220/33kV Offshore Substations | 0 | 600 | 600 | 2024-04-01 01:00 | Awaiting Consents | NGET | Wind Offshore
District Energy Ltd. | Solutia | Uskmouth | 10 | 0 | 10 |  | Built | NGET | CCGT
Solwaybank Energy Limited | Solwaybank | Chapelcross 132/33Kv Substation | 0 | 29.9 | 29.9 | 2019-03-31 | Consents Approved | SPT | Wind Onshore
Islay Tidal Power Limited | Sound of Islay Tidal | Port Ann GSP | 0 | 10 | 10 | 2021-11-30 | Consents Approved | SHET | Tidal
EP SHB Limited | South Humber Bank | South Humber Bank | 540 | 0 | 540 |  | Built | NGET | CCGT
EP SHB Limited | South Humber Bank | South Humber Bank | 825 | 0 | 825 |  | Built | NGET | CCGT
Vattenfall Wind Power Ltd | South Kyle | South Kyle Wind Farm | 0 | 165 | 165 | 2021-06-01 01:00 | Consents Approved | SPT | Wind Onshore
Vattenfall Wind Power Ltd | South Kyle | South Kyle Wind Farm | 0 | 70 | 70 | 2022-10-30 01:00 | Consents Approved | SPT | Wind Onshore
Spalding Energy Company Limited | Spalding | Spalding North 400kV Substation | 950 | 0 | 950 |  | Built | NGET | CCGT
Spalding Energy Expansion Limited | Spalding Energy Expansion | Spalding | 299.99 | 0 | 299.99 |  | Built | NGET | HYBRID
Spalding Energy Expansion Limited | Spalding Energy Expansion | Spalding | 0 | 550.01 | 550.01 | 2021-09-30 | Consents Approved | NGET | HYBRID
Pivoted Power LLP | Spennymoor |  | 0 | 49.9 | 49.9 | 2023-10-31 | Awaiting Consents | NGET | Battery Storage
Statera Energy Limited | St Dennis Hendra PV | Indian Queens 400kV Substation | 0 | 49.9 | 49.9 | 2025-06-30 | Scoping | NGET | PV Array
RWE Generation UK Plc | Staythorpe C | Staythorpe | 1752 | 0 | 1752 |  | Built | NGET | CCGT
Stornoway Wind Farm Limited | Stornoway Wind Farm | Stornoway 132/33kV Substation | 0 | 180 | 180 | 2023-10-31 | Consents Approved | SHET | Wind Onshore
EDF Energy Renewables Limited | Stranoch Wind Farm | Stranoch Wind 132/33KV | 0 | 102 | 102 | 2023-09-30 01:00 | Consents Approved | SPT | Wind Onshore
SSE Generation Ltd | Strathy North and South Wind | Strathy North and Strathy South 132/33kV Substation | 67.65 | 0 | 67.65 |  | Built | SHET | Wind Onshore
SSE Generation Ltd | Strathy North and South Wind | Strathy North and Strathy South 132/33kV Substation | 0 | 157.6 | 157.6 | 2023-04-01 | Consents Approved | SHET | Wind Onshore
E.ON Climate & Renewables UK Developments Limited | Strathy Wood | Strathy Wood | 0 | 54.4 | 54.4 | 2024-05-01 01:00 | Awaiting Consents | SHET | Wind Onshore
Stronelairg Wind Farm Limited | Stronelairg | Stronelairg 132/33kV Substation | 227.8 | 0 | 227.8 |  | Built | SHET | Wind Onshore
Viridis 178 Ltd | Sudmeadow |  | 0 | 41.76 | 41.76 | 2017-05-24 01:00 | Under Construction/Commissioning | NGET | Thermal
Pivoted Power LLP | Sundon | Sundon GSP | 0 | 49.9 | 49.9 | 2020-10-31 | Awaiting Consents | NGET | Battery Storage
CSE21 Limited | Sundon | Sundon 400kV Substation | 0 | 49.5 | 49.5 | 2022-07-01 | Scoping | NGET | CCGT
Sutton Bridge Power Generation | Sutton Bridge | Walpole | 850 | 0 | 850 |  | Built | NGET | CCGT
Tidal Lagoon (Swansea Bay) Plc | Swansea Bay | Baglan Bay 275kV Substation | 0 | 320 | 320 | 2023-06-01 | Consents Approved | NGET | Tidal
Pivoted Power LLP | Swansea North |  | 0 | 49.9 | 49.9 | 2026-10-31 | Awaiting Consents | NGET | Battery Storage
SSE Renewables Developments (UK) Ltd | Tangy III Wind Farm | Carradale | 0 | 39.1 | 39.1 | 2022-04-01 | Consents Approved | SHET | Wind Onshore
Coronation Power Limited | Tarland | Tarland | 0 | 20 | 20 | 2023-10-31 | Awaiting Consents | SHET | Battery Storage
Pivoted Power LLP | Taunton | Taunton | 0 | 49.9 | 49.9 | 2023-10-31 | Awaiting Consents | NGET | Battery Storage
Uniper UK Limited | Taylors Lane | Willesden | 144 | 0 | 144 |  | Built | NGET | CCGT
Sembcorp Utilities (UK) Ltd | Tees CCPP | Greystones | 0 | 850 | 850 | 2022-09-30 01:00 | Awaiting Consents | NGET | CCGT
Sembcorp Utilities (UK) Ltd | Tees CCPP | Greystones | 0 | 850 | 850 | 2024-09-30 01:00 | Awaiting Consents | NGET | CCGT
MGT Teesside Ltd | Tees Renewable Energy Plant | Lackenby | 285 | 0 | 285 |  | Built | NGET | Biomass
Clearstone Services Limited | Templeborough | Templeborough | 0 | 49.5 | 49.5 | 2020-10-31 | Awaiting Consents | NGET | CCGT
Vattenfall Wind Power Ltd | Thanet Extension Offshore Wind Farm |  | 0 | 340 | 340 | 2023-04-30 | Scoping | OFFSHORE | Wind Offshore
Thanet Offshore Wind Ltd | Thanet Offshore Wind Farm | Thanet 33/132kV Offshore Substation | 300 | 0 | 300 |  | Built | OFFSHORE | Wind Offshore
Fibrothetford Ltd | Thetford | Bramford 400kV | 41 | 0 | 41 |  | Built | NGET | Biomass
Thurrock Power Limited | Thurrock | Tilbury 275kV Substation | 0 | 600 | 600 | 2020-12-21 | Scoping | NGET | OCGT
ESB Independent Generation Trading Ltd | Tilbury |  | 43 | 0 | 43 |  | Built | NGET | Biomass
SSE Toddleburn Ltd | Toddleburn Wind Farm | Toddleburn Wind Farm | 27.6 | 0 | 27.6 |  | Built | SPT | Wind Onshore
EDF Energy Nuclear Generation Ltd | Torness | Torness | 1250 | 0 | 1250 |  | Built | SPT | Nuclear
SSE Generation Ltd | Torr Achilty (part of the Conon Cascade) | Torr Achilty | 15 | 0 | 15 |  | Built | SHET | Hydro
Torrs Hill Windfarm Limited | Torrs Hill Wind Farm | Torrs Hill 33kV Substation | 0 | 28 | 28 | 2025-05-30 01:00 | Scoping | SPT | Wind Onshore
Viridis 178 Ltd | Trafalgar Park | Willington | 14 | 0 | 14 |  | Built | NGET | Thermal
Wainstones Energy Ltd | Trafford Power | Carrington 400kV | 0 | 2050 | 2050 | 2020-07-15 01:00 | Consents Approved | NGET | CCGT
Tralorg Wind Farm Limited | Tralorg Wind Farm | Tralorg 33KV | 0 | 20 | 20 | 2019-10-30 | Consents Approved | SPT | Wind Onshore
Triton Knoll Offshore Wind Farm Ltd | Triton Knoll Offshore Wind Farm | Triton Knoll Offshore Substation | 0 | 360 | 360 | 2020-06-01 | Under Construction/Commissioning | NGET | Wind Offshore
Triton Knoll Offshore Wind Farm Ltd | Triton Knoll Offshore Wind Farm | Triton Knoll Offshore Substation | 0 | 540 | 540 | 2021-04-01 | Under Construction/Commissioning | NGET | Wind Offshore
EDF Energy Renewables Limited | Troston Wind Farm | Troston Wind Farm 132kV Substation | 0 | 68 | 68 | 2025-10-30 | Awaiting Consents | SPT | Wind Onshore
Tullo Wind Farm Ltd | Tullo Wind Farm | Bridge of Dun | 17 | 0 | 17 |  | Built | SHET | Wind Onshore
Tullymurdoch Limited | Tullymurdoch Wind Farm | Coupar Angus | 17.5 | 0 | 17.5 |  | Built | SHET | Wind Onshore
Twentyshilling Limited | Twentyshilling Wind Farm | Glenglass | 0 | 37.8 | 37.8 | 2020-04-30 01:00 | Consents Approved | SPT | Wind Onshore
Twinshiels Wind Farm Ltd | Twinshiels (Tullo 2) Wind Farm | Fiddes GSP | 25 | 0 | 25 |  | Built | SHET | Wind Onshore
Uskmouth Power Company | Uskmouth | Uskmouth 132kV Substation | 230 | 0 | 230 |  | Built | NGET | Coal
Viking Energy Limited | Viking Wind Farm | Kergord | 0 | 457 | 457 | 2024-03-31 | Consents Approved | SHET | Wind Onshore
DONG Energy Walney Extension (UK) Ltd | Walney 3 Offshore Wind Farm | Walney 3 Offshore Substation | 330 | 0 | 330 |  | Built | NGET | Wind Offshore
DONG Energy Walney Extension (UK) Ltd | Walney 4 Offshore Wind Farm | Walney 4 Offshore Substation | 330 | 0 | 330 |  | Built | NGET | Wind Offshore
DONG Walney UK Ltd | Walney I Offshore Wind Farm |  | 182 | 0 | 182 |  | Built | OFFSHORE | Wind Offshore
Walney (UK) Offshore Windfarms Ltd | Walney II Offshore Wind Farm |  | 182 | 0 | 182 |  | Built | OFFSHORE | Wind Offshore
Pivoted Power LLP | Walpole |  | 0 | 49.9 | 49.9 | 2022-10-31 | Awaiting Consents | NGET | Battery Storage
Clearstone Services Limited | Warley | Warley 400kV Substation | 0 | 49.5 | 49.5 | 2022-10-31 | Scoping | NGET | CCGT
Viridis 178 Ltd | Water Lane | Exeter GSP | 20.88 | 0 | 20.88 |  | Built | NGET | CHP
EDF Energy (Thermal Generation) Limited | West Burton A | West Burton 400kV Substation | 1987 | -12 | 1975 | 2020-04-01 | Built | NGET | Coal
EDF Energy (Thermal Generation) Limited | West Burton B | West Burton 400kV Substation | 1333 | 0 | 1333 |  | Built | NGET | CCGT
West Burton Limited (EDF) | West Burton Energy Storage | West Burton 400kV Substation | 0 | 0 | 0 |  | Under Construction/Commissioning | NGET | Battery Storage
Morecambe Wind Ltd | West of Duddon Sands Offshore Wind Farm | West of Duddon Sands 34/155kV Offshore Substation | 382 | 0 | 382 |  | Built | OFFSHORE | Wind Offshore
Pivoted Power LLP | West Weybridge |  | 0 | 49.9 | 49.9 | 2023-10-31 | Scoping | NGET | Battery Storage
Westermost Rough Ltd | Westermost Rough Offshore Wind Farm |  | 206.5 | 0 | 206.5 |  | Built | OFFSHORE | Wind Offshore
Hargreaves Services PLC | Westfield | Westfield | 0 | 23 | 23 | 2022-06-30 01:00 | Scoping | SPT | HYBRID
Hargreaves Services PLC | Westfield | Westfield | 0 | 32 | 32 | 2023-04-30 01:00 | Scoping | SPT | HYBRID
Whitelaw Brae Windfarm Limited | Whitelaw Brae Windfarm | Whitelaw Brae 'A' and 'B' 33kV Substations | 0 | 57 | 57 | 2022-10-31 | Scoping | SPT | Wind Onshore
ScottishPower Renewables (UK) Limited | Whitelee | Whitelee | 305 | 0 | 305 |  | Built | SPT | Wind Onshore
ScottishPower Renewables (UK) Limited | Whitelee Extension | Whitelee Extension | 206 | 0 | 206 |  | Built | SPT | Wind Onshore
Whiteside Hill Windfarm (Scotland) Limited | Whiteside Hill Wind Farm | Glenglass 132/33kV Substation | 27 | 0 | 27 |  | Built | SPT | Wind Onshore
Pivoted Power LLP | Whitson | Whitson 275kV Substation | 0 | 49.9 | 49.9 | 2026-10-31 | Scoping | NGET | Battery Storage
Calon Energy Limited | Willington | Willington | 0 | 317 | 317 | 2021-04-01 01:00 | Consents Approved | NGET | HYBRID
Calon Energy Limited | Willington | Willington | 0 | 828 | 828 | 2022-04-01 01:00 | Consents Approved | NGET | HYBRID
Calon Energy Limited | Willington | Willington | 0 | 828 | 828 | 2022-02-01 | Consents Approved | NGET | HYBRID
Pivoted Power LLP | Willington |  | 0 | 49.9 | 49.9 | 2022-10-31 | Scoping | NGET | Battery Storage
Good Energy Development (No.7) Limited | Willow Wind Farm | Willow Wind 132/33kV | 0 | 45 | 45 | 2023-04-01 01:00 | Awaiting Consents | SHET | Wind Onshore
Sembcorp Utilities (UK) Ltd | Wilton | Wilton 66kV | 141 | 0 | 141 |  | Built | NGET | CCGT
Windy Rig Wind Farm Limited | Windy Rig Wind Farm | Blackhill | 0 | 42.8 | 42.8 | 2020-04-30 01:00 | Scoping | SPT | Wind Onshore
Brockloch Rig Windfarm Ltd | Windy Standard II (Brockloch Rig 1) Wind Farm | Dun Hill 132/33kV Substation | 61.5 | 0 | 61.5 |  | Built | SPT | Wind Onshore
Brockloch Rig Windfarm Ltd | Windy Standard II (Brockloch Rig 1) Wind Farm | Dun Hill 132/33kV Substation | 0 | 13.5 | 13.5 | 2022-04-30 | Consents Approved | SPT | Wind Onshore
Brockloch Rig III Limited | Windy Standard III Wind Farm | Dun Hill | 0 | 43.5 | 43.5 | 2022-04-30 01:00 | Awaiting Consents | SPT | Wind Onshore
Nuclear Decommissioning Authority | Wylfa | Wylfa 400kV Substation | 0 | 0 | 0 |  | Built | NGET | Nuclear
Horizon Nuclear Power Wylfa Limited | Wylfa Newydd | Wylfa 400kV Substation | 0 | 0 | 0 | 2026-06-01 | Terminated | NGET | Nuclear
Horizon Nuclear Power Wylfa Limited | Wylfa Newydd | Wylfa 400kV Substation | 0 | 0 | 0 | 2027-06-01 | Terminated | NGET | Nuclear
Pivoted Power LLP | Wymondley |  | 0 | 49.9 | 49.9 | 2022-10-31 | Awaiting Consents | NGET | Battery Storage