## Sheet1
Company Name | Unit ID | ME Group | AON Group | Voltage | Connection Point | Rating (MVA) | H (s) | Inertia (MVA.s) | Absorption (Mvar) | Injection (Mvar) | Power Consumption (MW) | Start Date | Firm Cost (£/SP) | Contract End Date | Accept/Reject | Reason
Drax Power Limited | DRAXX-5 | 1 |  | 400 | DRAX | 409 | 1.55 | 633.95 | 350 | 585 | 6 | 2021-04-01 | 436 | 2026-03-31 | Reject | Tender not beneficial against alternative cost
Drax Generation Enterprise Limited | CRUA-3 | 1 |  | 275 | CRUA | 111.111 | 4.8 | 533.33 | 50 | 50 | 2 | 2020-06-01 | 259 | 2026-03-31 | Accept | Beneficial
Rassau Grid Services Limited | XXXX |  |  | 132 | RASS | 110 | 6.82 | 750 | 60 | 60 | 1.26 | 2021-03-31 | 414 | 2026-03-31 | Accept | Beneficial
SSE Generation Limited | T_ERRO-3 |  |  | 132 | ERRO | 27.8 | 2.8 | 77.84 | 19 | 14 | 0.5 | 2021-04-01 | 200 | 31/03/2026 | Reject | Tender not beneficial against alternative cost
SSE Generation Limited | M_SLOY-4 |  |  | 132 | SLOY | 42.5 | 3.5 | 148.75 | 21 | 19 | 0.5 | 2021-04-01 | 150 | 31/03/2026 | Reject | Tender not beneficial against alternative cost
First Hydro Company | T_DINO-5 |  |  | 400 | PENT | 330 | 4.825 | 1592.25 | 214.5 | 198 | 5 | 2020-04-01 | 1300 | 2026-03-31 | Reject | Tender not beneficial against alternative cost
First Hydro Company | T_DINO-6 |  |  | 400 | PENT | 330 | 4.825 | 1592.25 | 214.5 | 198 | 5 | 2020-04-01 | 1300 | 2026-03-31 | Reject | Tender not beneficial against alternative cost
First Hydro Company | T_FFES-2 |  |  | 275 | TRAW | 95 | 3.153 | 299.535 | 53.2 | 68.4 | 2 | 2021-03-31 | 300 | 2026-03-31 | Reject | Tender not beneficial against alternative cost
Deeside Power (UK) Ltd | DEEP-1 |  | B | 400 | CONQ | 210 | 7.3 | 1533 | 40 | 150 | 2 | 2020-08-01 | 218.14 | 2026-03-31 | Accept | Beneficial
Deeside Power (UK) Ltd | DEEP-1 |  | B | 400 | CONQ | 210 | 7.3 | 1533 | 40 | 150 | 2 | 2020-08-01 | 218.14 | 2026-03-31 | Accept | Beneficial
Indian Queens Power Ltd | INDQ-1 |  |  | 400 | INDQ | 225 | 1.37 | 308.25 | 70 | 180 | 2.5 | 2020-04-01 | 99.89 | 2026-03-31 | Reject | Tender not beneficial against alternative cost
Uniper UK | XXXX-1 | 1 | A | 400 | KILL | 145 | 9.86 | 1430 | 90 | 130 | 4 | 2021-04-01 | 234.5 | 2026-03-31 | Accept | Beneficial
Uniper UK | XXXX-2 | 2 | C | 400 | KILL | 145 | 9.86 | 1430 | 90 | 130 | 4 | 2021-04-01 | 357.5 | 2026-03-31 | Accept | Beneficial
Uniper UK | XXXX-3 | 3 | E | 400 | GRAI | 100 | 17.29 | 1729 | 100 | 100 | 3 | 2021-04-01 | 329.5 | 2026-03-31 | Accept | Beneficial
Uniper UK | XXXX-4 | 4 | G | 400 | GRAI | 100 | 17.29 | 1729 | 100 | 100 | 3 | 2021-04-01 | 449.5 | 2026-03-31 | Accept | Beneficial
Uniper UK | RATS-2 | 5 | I | 400 | RATS | 579 | 1.5 | 869 | 185 | 290 | 7 | 2021-04-01 | 474.5 | 2026-03-31 | Reject | Tender not beneficial against alternative cost
Statkraft UK Ltd. | XXXX-3 |  | A | 132 | KEIT | 65 | 6.92 | 450 | 65.3 | 56.9 | 1.02 | 2021-04-01 | 128.5 | 2026-03-31 | Accept | Beneficial
Statkraft UK Ltd. | XXXX-4 |  | A | 132 | KEIT | 65 | 6.92 | 450 | 65.3 | 56.9 | 1.02 | 2021-04-01 | 128.5 | 2026-03-31 | Accept | Beneficial
Statkraft UK Ltd. | XXXX-1 |  |  | 275 | LISD | 65 | 6.92 | 450 | 60 | 57.5 | 1.02 | 2021-04-01 | 128.5 | 2026-03-31 | Accept | Beneficial
Statkraft UK Ltd. | XXXX-2 |  |  | 275 | LISD | 65 | 6.92 | 450 | 60 | 57.5 | 1.02 | 2021-04-01 | 128.5 | 2026-03-31 | Accept | Beneficial
CHSL | XXXX-1 | 1 | A | 400 | CARR | 125 | 11.8 | 1500* | 50 | 50 | 2.5 | 2021-04-01 | 788.4 | 2026-03-31 | Reject | Tender not beneficial against alternative cost
CHSL | XXXX-1 | 1 | B | 400 | CARR | 125 | 11.8 | 1500* | 50 | 50 | 2.5 | 2021-04-01 | 638.4 | 2026-03-31 | Reject | Tender not beneficial against alternative cost
CHSL | XXXX-2 | 1 | B | 400 | CARR | 125 | 11.8 | 1500* | 50 | 50 | 2.5 | 2021-04-01 | 638.4 | 2026-03-31 | Reject | Tender not beneficial against alternative cost
CHSL | XXXX-1 | 1 | C | 400 | CARR | 125 | 11.8 | 1500* | 50 | 50 | 2.5 | 2021-04-01 | 825.9 | 2026-03-31 | Reject | Tender not beneficial against alternative cost
CHSL | XXXX-2 | 1 | C | 400 | CARR | 125 | 11.8 | 1500* | 50 | 50 | 2.5 | 2021-04-01 | 825.9 | 2026-03-31 | Reject | Tender not beneficial against alternative cost
CHSL | XXXX-3 | 1 | C | 400 | CARR | 125 | 11.8 | 1500* | 50 | 50 | 2.5 | 2021-04-01 | 825.9 | 2026-03-31 | Reject | Tender not beneficial against alternative cost
CHSL | XXXX-4 | 1 | C | 400 | CARR | 125 | 11.8 | 1500* | 50 | 50 | 2.5 | 2021-04-01 | 825.9 | 2026-03-31 | Reject | Tender not beneficial against alternative cost
CHSL | XXXX-5 | 2 | D | 400 | EGGB | 125 | 11.8 | 1500* | 50 | 50 | 2.5 | 2021-04-01 | 900.9 | 2026-03-31 | Reject | Tender not beneficial against alternative cost
Drax Power Limited | DRAXX-5 | 1 |  | 400 | DRAX | 409 | 1.55 | 633.95 | 350 | 585 | 6 | 2021-04-01 | 872 | 2023-03-31 | Reject | contract ending 2023 contract - only accepting contracts ending 2026
Drax Generation Enterprise Limited | CRUA-3 | 1 |  | 275 | CRUA | 111.111 | 4.8 | 533.33 | 50 | 50 | 2 | 2020-06-01 | 518 | 2023-03-31 | Reject | contract ending 2023 contract - only accepting contracts ending 2026
First Hydro Company | T_DINO-1 |  |  | 400 | PENT | 330 | 4.825 | 1592.25 | 214.5 | 198 | 5 | 2020-04-01 | 1300 | 2023-03-31 | Reject | contract ending 2023 contract - only accepting contracts ending 2026
First Hydro Company | T_DINO-2 |  |  | 400 | PENT | 330 | 4.825 | 1592.25 | 214.5 | 198 | 5 | 2020-04-01 | 1300 | 2023-03-31 | Reject | contract ending 2023 contract - only accepting contracts ending 2026
First Hydro Company | T_FFES-1 |  |  | 275 | TRAW | 95 | 3.153 | 299.535 | 53.2 | 68.4 | 2 | 2021-03-31 | 300 | 2023-03-31 | Reject | contract ending 2023 contract - only accepting contracts ending 2026
Deeside Power (UK) Ltd | DEEP-1 |  | A | 400 | CONQ | 210 | 7.3 | 1533 | 40 | 150 | 2 | 2020-08-01 | 278.87 | 2023-03-31 | Reject | contract ending 2023 contract - only accepting contracts ending 2026
Deeside Power (UK) Ltd | DEEP-1 |  | A | 400 | CONQ | 210 | 7.3 | 1533 | 40 | 150 | 2 | 2020-08-01 | 278.87 | 2023-03-31 | Reject | contract ending 2023 contract - only accepting contracts ending 2026
Indian Queens Power Ltd | INDQ-1 | 3 |  | 400 | INDQ | 225 | 1.37 | 308.25 | 70 | 180 | 2.5 | 2020-04-01 | 128.42 | 2023-03-31 | Reject | contract ending 2023 contract - only accepting contracts ending 2026
Uniper UK | XXXX-1 | 1 | B | 400 | KILL | 145 | 9.86 | 1430 | 90 | 130 | 4 | 2021-04-01 | 484.5 | 2023-03-31 | Reject | contract ending 2023 contract - only accepting contracts ending 2026
Uniper UK | XXXX-2 | 2 | D | 400 | KILL | 145 | 9.86 | 1430 | 90 | 130 | 4 | 2021-04-01 | 607.5 | 2023-03-31 | Reject | contract ending 2023 contract - only accepting contracts ending 2026
Uniper UK | XXXX-3 | 3 | F | 400 | GRAI | 100 | 17.29 | 1729 | 100 | 100 | 3 | 2021-04-01 | 584.5 | 2023-03-31 | Reject | contract ending 2023 contract - only accepting contracts ending 2026
Uniper UK | XXXX-4 | 4 | H | 400 | GRAI | 100 | 17.29 | 1729 | 100 | 100 | 3 | 2021-04-01 | 694.5 | 2023-03-31 | Reject | contract ending 2023 contract - only accepting contracts ending 2026
Uniper UK | RATS-2 | 5 | J | 400 | RATS | 579 | 1.5 | 869 | 185 | 290 | 7 | 2021-04-01 | 612 | 2023-03-31 | Reject | contract ending 2023 contract - only accepting contracts ending 2026
SSE Generation Limited | E_FASN-3 |  |  | 33 | FASN | 23.2 | 5.7 | 132.24 | 23 | 9 | 0.5 | 2021-04-01 | 250 | 31/03/2026 | Reject | Non-compliant as connected at 33kV
ESBAD | XXXX | 1 | A | 400 | SELL | 350 | 6.07 | 2124 | 200 | 300 | 3 | 2022-05-01 | 327.5 | 2030-03-31 | Reject | Non-compliant as don't meet latest in service date & bespoke contract term
ESBAD | XXXX | 1 | B | 400 | SELL | 350 | 10.7 | 3750 | 200 | 300 | 3 | 2022-05-01 | 357.5 | 2030-03-31 | Reject | Non-compliant as don't meet latest in service date & bespoke contract term
ESBAD | XXXX | 1 | C | 400 | SELL | 350 | 6.07 | 2124 | 200 | 300 | 3 | 2022-05-01 | 577.5 | 2026-03-31 | Reject | Non-compliant as don't meet latest in service date
ESBAD | XXXX | 1 | D | 400 | SELL | 350 | 10.7 | 3750 | 200 | 300 | 3 | 2022-05-01 | 633.5 | 2026-03-31 | Reject | Non-compliant as don't meet latest in service date
*rounded