## Small Power Station Data <1MW
Schedule 11 - Embedded Small Power Stations <1MW
Date
Network Operator
Network Operator Unique Ref. No.
Note: This table should be expanded to cater for all GSPs in the DNO
Aggregate Registered Capacity Total MW
GSP As Named on the SLD | Connected Node As named on the SLD | Biomass | Fossil brown coal/lignite | Fossil coal-derived gas | Fossil gas | Fossil hard coal | Fossil oil | Fossil oil shale | Fossil peat | Geothermal | Hydro pumped storage | Hydro run-of-river and poundage | Hydro water reservoir | Marine | Nuclear | Other renewable | Solar | Waste | Wind offshore | Wind onshore | Other | Number of PGMs | Comments
GSP1 | BSP_1
BSP_2
BSP_3
BSP_4
BSP_5
GSP2 | BSP_6
BSP_7
BSP_8
BSP_9
BSP_10
BSP_11

## Power Station Data >1MW
Schedule 11 - Embedded Power Stations > 1MW | [25 empty] | Appendix G Technical Conditions
[14 empty] | If Control Mode = Voltage |  |  | If Control Mode = Power Factor |  |  | Additional Requirements for Storage |  |  | Appendix G | Medium PS Data |  | Column 1 | Column 2 | Column 3 | Column 4 | Medium PS Data
Reference Unique | Power Station Name (Optional) | Commercial Position Connected/Accepted | Forecast Connection Date | GSP As named on SLDs | Connected Node As named on SLDs | Location if wind or PV |  |  | If Connected Pre 2015 Fuel Type | If Connected Post 2015 |  | Registered Capacity MW | Control Mode | Voltage Set Point PU | Min Reactive Capacity MVAr | Max Reactive Capability MVAr | Target Power Factor PF | Loss of Mains Protection Type | Loss of Mains Protection Settings | Total Energy Storage Capacity (MWh) | Exporting Power Rating (Generating) MW | Importing Power Rating (Storage) MW | Technical Condition | Where Connection modelled in SLD | Comment | A | B | C | D | Not Applicable
[6 empty] | Latitude | Longitude | Grid Ref |  | Fuel Type | Part of CHP | [18 empty] | Sync Medium PS
Non-Sync Medium PS
Technical Conditions
None
Table GUIDANCE: | [24 empty] | A = Emergency Instruction
* This table should include all Power Stations connected to the distribution network greater than or equal to 1MW. This inludes small, medium and Large Power Stations | [24 empty] | B= Power Factor Constraint
* This table should be expanded as required to allow all generation/storage to be listed | [24 empty] | C= Transmssion System to ANM Intertrip
* Embedded Medium Power Stations that are directly connected to the subtransmission (the first voltage level below the transmissionvoltage) network and are discretely modelled in the SLD are required to supply DRC data | [24 empty] | D = Operational Visibility and Control
* This table should be updated for all Statement of Works applications and/or Week 24 submissions
* The Power Station Reference can either be in the form of a code (with a combination of numbers and/or letters) or a name. The name and reference number must be the same as in the Appendix G within the BCA.
* Any Small Power Station that connects above the level of the lowest voltage modelled node (BSP) will be discretely modelled and will require:
- the three phase short circuit contribution entered in this table above
- its location marked on the SLD
- network data for the network between its connection point and the network provided in the "Embedded Medium Power Station Network Data" in the Sync Medium PS Data tab
* Addition columns for storage can include data for any demand side flexibility provider.

## Guidance - PS Detailed Data
Embedded Medium Power Station Data
* Further data is required for Embedded Medium or Large Power Stations. The data requirements are highlited in the table below.
* Embedded Medium Power Stations are only required to supply DRC data if they are subtransmission connected (the first voltage level below the transmission voltage)
* They are required to complete Data Registration Codes 1,2,5 & 14 if synchronous and 1,2,5 & 13 is they are power electronics based generation
Classification of Power Stations
The classification of power stations is dependent upon their location with respect to transmission system ownership as tabulated below
Relevant Links to the Grid Code
Embedded Medium Power Station (Synchronous) DRC
Embedded Medium Power Station (Power Electronic) DRC
Embedded Medium Power Station Network Data
Guidance notes on the submission of Grid Code data for Power Stations

## Sync PS Detailed Data
|  |  | Embedded Medium Power Station Data (Synchronous) | [19 empty] | Embedded Medium Power Station Network Data
Power Station Reference |  |  | Generating Unit Data | [5 empty] | Impedances |  |  | Time Constants | Excitation | Generating Unit Step-up Transformer | [8 empty] | Users System Layout (SLD) | Circuit Parameters | [6 empty] | Transformer Data
Unique Reference | Power Station Name (Optional) | List of units within Power Station | Connection Point to User System (DNO Network) as on User (DNO) Wk 24 SLD | Generating Unit Type | Rated MVA | Rated MW | Rated terminal voltage kV | Intertia Constant MW secs | Direct axis synchronus reactance (Unsaturated) Z% (100MVA) | Direct axis transient reactance Z% (100MVA) | Direct axis sub-transiet reactance Z% (100MVA) | Direct axis sub-transient time constant s | Excitation System - Rotating or Static Exciter | Rated MVA | Voltage Ratio | Positive Sequence Reactance Z% (100MVA) | Positive sequence resistance Z% (100MVA) | Zero phase sequence reactance Z% (100MVA) | Max tap | Min tap | Nominal tap | Tap change step size % | A Single Line Diagram showing all or part of the User’s System. | Node 1 | Node 2 | Rated Voltage kV | Operating Voltage kV | Positive Phase Sequence % on 100 MVA R Z% (100MVA) | Positive Phase Sequence % on 100 MVA X Z% (100MVA) | Positive Phase Sequence % on 100 MVA B Z% (100MVA) | Transfomer connection nodes on SLD | Transformer identity/name on SLD | Rating MVA | HV Winding Operating Voltage kV | Voltage Ratio | Positive Phase Sequence Reactance % on Rating Z% (100MVA) | Positive Phase Sequence Resistance % on Rating Z% (100MVA) | Zero Sequence Reactance % on Rating Z% (100MVA) | Winding Arrangement | Tap Changer range +%to-% % | Tap Changer step size % % | Tap Changer type (On / Off) | Earthing details (Direct/Resistance/Reactance)
|  | (PC.A.3.2.2 (g)) | (PC.A.3.4.1) | (PC.A.3.2.2 (h)) | (PC.A.3.3.1) | (PC.A.3.3.1) | (PC.A.5.3.2.(a) & PC.A.5.4.2 (b)) | (PC.A.5.3.2(a)) | (PC.A.5.3.2(a)) | (PC.A.3.3.1(a)& PC.A.5.3.2(a) | (PC.A.5.3.2(a)) | (PC.A.5.3.2(a)) | (PC.A.5.3.2c) | (PC.A.3.3.1 & PC.A.5.3.2) | (PC.A.5.3.2) | (PC.A.5.3.2) | (PC.A.5.3.2) | (PC.A.5.3.2) |  |  |  | (PC.A.5.3.2) | (PC.A.2.2) | (PC.A.2.2.4) | [6 empty] | (PC.A.2.2.5)

## Non-Sync PS Detailed Data
|  |  | Embedded Medium Power Station Data (Non-Synchronous) | [11 empty] | Embedded Medium Power Station Network Data
Power Station Reference |  |  | Power Park Module/Generating Unit Data |  |  |  | Short Circuit Infeed to User System (DNO Network) Connection Point | [7 empty] | Users System Layout (SLD) | Circuit Parameters | [6 empty] | Transformer Data
Unique Reference | Power Station Name (Optional) | List of Power Park Modules/Generating Units within Power Station | Connection Point to DNO Network as on Wk 24 SLD | Generating Unit Type | Rated MVA | Rated MW | Symmetrical three phase short-circuit current infeed - Sub-Transient kA | Symmetrical three phase short-circuit current infeed - Transient kA | Positive sequence X/R ratio at instance of fault | Pre-Fault voltage magnitude at which the maximum fault currents were calculated p.u. p.u. | Zero sequence source impedances as seen from the Point of Connection or node on the Single Line Diagram (as appropriate) consistent with the maximum infeed above: - Resistance % on 100 MVA R% (100MVA) | Zero sequence source impedances as seen from the Point of Connection or node on the Single Line Diagram (as appropriate) consistent with the maximum infeed above: - Reactance % on 100 MVA X% (100MVA) | Negative sequence impedances of User’s System as seen from the Point of Connection or node on the Single Line Diagram (as appropriate). - Resistance % on 100 MVA R% (100MVA) | Negative sequence impedances of User’s System as seen from the Point of Connection or node on the Single Line Diagram (as appropriate). - Reactance % on 100 MVA X% (100MVA) | A Single Line Diagram showing all or part of the User’s System. | Node 1 | Node 2 | Rated Voltage kV | Operating Voltage kV | Positive Phase Sequence % on 100 MVA R Z% (100MVA) | Positive Phase Sequence % on 100 MVA X Z% (100MVA) | Positive Phase Sequence % on 100 MVA B Z% (100MVA) | Transfomer connection nodes on SLD | Transformer identity/name on SLD | Rating MVA | HV Winding Operating Voltage kV | Voltage Ratio | Positive Phase Sequence Reactance % on Rating Z% (100MVA) | Positive Phase Sequence Resistance % on Rating Z% (100MVA) | Zero Sequence Reactance % on Rating Z% (100MVA) | Winding Arrangement | Tap Changer range +%to-% % | Tap Changer step size % % | Tap Changer type (On / Off) | Earthing details (Direct/Resistance/Reactance)
|  | (PC.A.3.2.2 (g)) | (PC.A.3.4.1) | (PC.A.3.2.2 (h)) | (PC.A.3.3.1) | (PC.A.3.3.1) | (PC.A.3.3.1 & PC.A.5.3.2) | (PC.A.5.3.2) |  |  | (PC.A.5.3.2) |  | (PC.A.5.3.2) | (PC.A.5.3.2) | (PC.A.2.2) | (PC.A.2.2.4) | [6 empty] | (PC.A.2.2.5)