## Contents
Introduction
The workbook contains all graphs and data from our 2020 Summer Outlook Report. The Summer Outlooks Report can be downloaded from the National Grid ESO website.
Chart Contents
Chapter Section | Figure Title | Figure Number
Electricity demand | Weekly peak demand for summer 2019 against our summer 2020 scenarios (weather corrected) | Figure 2
| Summer minimum demands, 2019 and 2020 scenarios (weather corrected) | Figure 3
| Summer daytime minimum demands 2019 against our summer 2020 scenarios (weather corrected) | Link
| Embedded solar impact 2019 | Figure 4
Electricity supply | Weekly generation and demand operational margin summer 2020 | Figure 5
| Generation and minimum demand by week, summer 2020 | Figure 6
Europe and interconnected markets | Forward baseload prices for summer 2020 | Figure 7
Assumptions and additional data | Generation output for a typical summer's day | Gen output
| French nuclear outages 2020 | French nuclear
| Whole System | Whole System
| Breakdown rates | Breakdown rates
| Load factors | Load factors
Glossary
Legal Notice

## Electricity Demand
Electricity Demand
Electricity demand | Weekly peak demand for summer 2019 against our summer 2020 forecast (weather corrected)
Summer minimum demands, 2019 and 2020 forecast (weather corrected)
Embedded solar impact 2019

## Figure 2 Weekly peak demand
Week Number | Peak 2019 (GW) | Pre-Covid-19 forecast peak 2020 (GW) | Forecast peak 2020 - Covid-19 low impact scenario (GW) | Forecast peak 2020 - Covid-19 medium impact scenario (GW) | Forecast peak 2020 - Covid-19 high impact scenario (GW) | Peak summer period
15 | 37.16 | 36.264 | 34.8134 | 30.2877 | 25.1388
16 | 36.231 | 35.034 | 33.6326 | 29.2604 | 24.2861
17 | 34.758 | 34.733 | 33.3437 | 29.009 | 24.0775
18 | 34.053 | 33.957 | 32.5987 | 28.3609 | 23.5395
19 | 33.124 | 33.087 | 31.7635 | 27.6343 | 22.9364
20 | 32.606 | 32.814 | 31.5014 | 27.4063 | 22.7472
21 | 32.263 | 32.621 | 31.3162 | 27.2451 | 22.6134
22 | 31.311 | 32.652 | 31.3459 | 27.271 | 22.6349
23 | 31.584 | 31.45 | 30.192 | 26.267 | 21.8016 | 50
24 | 31.808 | 32.056 | 30.7738 | 26.7732 | 22.2217 | 50
25 | 31.978 | 31.611 | 30.3466 | 26.4015 | 21.9133 | 50
26 | 32.024 | 31.303 | 30.0509 | 26.1443 | 21.6997 | 50
27 | 32.243 | 30.995 | 29.7552 | 25.887 | 21.4862 | 50
28 | 32.285 | 30.452 | 29.2339 | 25.4335 | 21.1098 | 50
29 | 31.634 | 31.002 | 29.7619 | 25.8929 | 21.4911 | 50
30 | 31.985 | 30.818 | 29.5853 | 25.7392 | 21.3635 | 50
31 | 31.102 | 30.912 | 29.6755 | 25.8177 | 21.4287 | 50
32 | 31.366 | 30.686 | 29.4586 | 25.6289 | 21.272 | 50
33 | 31.691 | 31.064 | 29.8214 | 25.9447 | 21.5341 | 50
34 | 32.268 | 31.556 | 30.2938 | 26.3556 | 21.8751 | 50
35 | 32.924 | 31.762 | 30.4915 | 26.5276 | 22.0179 | 50
36 | 33.443 | 32.12 | 30.8352 | 26.8266 | 22.2661
37 | 34.812 | 33.006 | 31.6858 | 27.5666 | 22.8803
38 | 35.386 | 33.43 | 32.0928 | 27.9207 | 23.1742
39 | 36.59 | 34.62 | 33.2352 | 28.9146 | 23.9991
40 | 38.549 | 35.333 | 33.9197 | 29.5101 | 24.4934
41 | 38.119 | 36.11 | 34.6656 | 30.1591 | 25.032
42 | 39.837 | 36.956 | 35.4778 | 30.8657 | 25.6185
43 | 40.779 | 37.527 | 36.0259 | 31.3426 | 26.0143

## Figure 3 Weekly min demand
Week Number | Weekly summer minimum 2019 (GW) | Pre-Covid-19 forecast weekly summer minimum 2020 (GW) | Forecast weekly summer minimum 2020 Covid-19 low impact scenario (GW) | Forecast weekly summer minimum 2020 Covid-19 medium impact scenario (GW) | Forecast weekly summer minimum 2020 Covid-19 high impact scenario (GW) | Weekly daytime summer minimum 2019 (GW) | Pre-Covid-19 forecast weekly daytime summer minimum 2020 (GW) | Forecast weekly daytime summer minimum 2020 Covid-19 low impact scenario (GW) | Forecast weekly daytime summer minimum 2020 Covid-19 medium impact scenario (GW) | Forecast weekly daytime summer minimum 2020 Covid-19 high impact scenario (GW) | Peak summer period
15 | 20.434 | 20.691 | 20.2772 | 19.2426 | 18.0012 | 24.323 | 22.824 | 21.911 | 19.8569 | 18.2592
16 | 19.525 | 20.593 | 20.1811 | 19.1515 | 17.9159 | 21.716 | 23.274 | 22.343 | 20.2484 | 18.6192
17 | 20.024 | 19.973 | 19.5735 | 18.5749 | 17.3765 | 23.563 | 23.032 | 22.1107 | 20.0378 | 18.4256
18 | 19.199 | 19.416 | 19.0277 | 18.0569 | 16.8919 | 21.874 | 22.696 | 21.7882 | 19.7455 | 18.1568
19 | 19.142 | 19.056 | 18.6749 | 17.7221 | 16.5787 | 22.197 | 21.446 | 20.5882 | 18.658 | 17.1568
20 | 18.685 | 18.586 | 18.2143 | 17.285 | 16.1698 | 21.748 | 22.03 | 21.1488 | 19.1661 | 17.624
21 | 18.201 | 17.876 | 17.5185 | 16.6247 | 15.5521 | 20.41 | 21.802 | 20.9299 | 18.9677 | 17.4416
22 | 17.981 | 18.145 | 17.7821 | 16.8749 | 15.7861 | 21.542 | 21.134 | 20.2886 | 18.3866 | 16.9072
23 | 17.638 | 18.004 | 17.6439 | 16.7437 | 15.6635 | 21.769 | 21.798 | 20.9261 | 18.9643 | 17.4384 | 50
24 | 18.14 | 17.854 | 17.4969 | 16.6042 | 15.533 | 21.628 | 21.303 | 20.4509 | 18.5336 | 17.0424 | 50
25 | 17.667 | 17.694 | 17.3401 | 16.4554 | 15.3938 | 21.33 | 21.399 | 20.543 | 18.6171 | 17.1192 | 50
26 | 18.129 | 17.664 | 17.3107 | 16.4275 | 15.3677 | 20.993 | 21.349 | 20.495 | 18.5736 | 17.0792 | 50
27 | 18.263 | 17.635 | 17.2823 | 16.4005 | 15.3425 | 21.324 | 21.299 | 20.447 | 18.5301 | 17.0392 | 50
28 | 18.035 | 17.66 | 17.3068 | 16.4238 | 15.3642 | 21.59 | 21.395 | 20.5392 | 18.6136 | 17.116 | 50
29 | 17.914 | 17.662 | 17.3088 | 16.4257 | 15.3659 | 21.216 | 21.561 | 20.6986 | 18.7581 | 17.2488 | 50
30 | 17.95 | 17.635 | 17.2823 | 16.4005 | 15.3425 | 20.914 | 21.187 | 20.3395 | 18.4327 | 16.9496 | 50
31 | 17.749 | 17.649 | 17.296 | 16.4136 | 15.3546 | 21.255 | 21.192 | 20.3443 | 18.437 | 16.9536 | 50
32 | 17.581 | 17.646 | 17.2931 | 16.4108 | 15.352 | 21.216 | 21.187 | 20.3395 | 18.4327 | 16.9496 | 50
33 | 17.797 | 17.75 | 17.395 | 16.5075 | 15.4425 | 21.211 | 21.623 | 20.7581 | 18.812 | 17.2984 | 50
34 | 18.222 | 17.776 | 17.4205 | 16.5317 | 15.4651 | 20.715 | 21.503 | 20.6429 | 18.7076 | 17.2024 | 50
35 | 17.516 | 18.032 | 17.6714 | 16.7698 | 15.6878 | 21.59 | 21.673 | 20.8061 | 18.8555 | 17.3384 | 50
36 | 17.697 | 17.905 | 17.5469 | 16.6517 | 15.5774 | 22.782 | 22.296 | 21.4042 | 19.3975 | 17.8368
37 | 17.753 | 18.011 | 17.6508 | 16.7502 | 15.6696 | 22.774 | 23.386 | 22.4506 | 20.3458 | 18.7088
38 | 18.167 | 18.16 | 17.7968 | 16.8888 | 15.7992 | 23.849 | 24.216 | 23.2474 | 21.0679 | 19.3728
39 | 18.528 | 18.337 | 17.9703 | 17.0534 | 15.9532 | 23.963 | 24.384 | 23.4086 | 21.2141 | 19.5072
40 | 19.154 | 18.558 | 18.1868 | 17.2589 | 16.1455 | 25.771 | 24.707 | 23.7187 | 21.4951 | 19.7656
41 | 19.782 | 18.855 | 18.4779 | 17.5352 | 16.4038 | 26.11 | 25.668 | 24.6413 | 22.3312 | 20.5344
42 | 19.678 | 19.223 | 18.8385 | 17.8774 | 16.724 | 26.922 | 26.168 | 25.1213 | 22.7662 | 20.9344
43 | 20.892 | 19.865 | 19.4677 | 18.4745 | 17.2826 | 28.395 | 27.916 | 26.7994 | 24.2869 | 22.3328

## Figure 4 Embedded Solar
High Solar Profile |  | 2019-05-14 |  |  | Low Solar Profile |  | 2019-06-04
Date | Time | Load (GW) | PV (GW) | Wind (GW) | Date | Time | Load (GW) | PV (GW) | Wind (GW)
2019-05-14 | 0:30 | 23.089 | 0 | 0.797 | 2019-06-04 | 0:30 | 22.394 | 0 | 1.088
2019-05-14 | 1:00 | 22.33 | 0 | 0.772 | 2019-06-04 | 1:00 | 21.674 | 0 | 0.997
2019-05-14 | 1:30 | 22.216 | 0 | 0.765 | 2019-06-04 | 1:30 | 21.415 | 0 | 0.971
2019-05-14 | 2:00 | 22.319 | 0 | 0.758 | 2019-06-04 | 2:00 | 21.299 | 0 | 0.944
2019-05-14 | 2:30 | 22.139 | 0 | 0.756 | 2019-06-04 | 2:30 | 21.071 | 0 | 0.904
2019-05-14 | 3:00 | 21.791 | 0 | 0.753 | 2019-06-04 | 3:00 | 20.72 | 0 | 0.863
2019-05-14 | 3:30 | 21.562 | 0 | 0.745 | 2019-06-04 | 3:30 | 20.521 | 0 | 0.836
2019-05-14 | 4:00 | 21.397 | 0 | 0.737 | 2019-06-04 | 4:00 | 20.38 | 0 | 0.809
2019-05-14 | 4:30 | 21.392 | 0 | 0.741 | 2019-06-04 | 4:30 | 20.458 | 0 | 0.777
2019-05-14 | 5:00 | 21.425 | 0 | 0.744 | 2019-06-04 | 5:00 | 20.311 | 0.001 | 0.745
2019-05-14 | 5:30 | 21.731 | 0.007 | 0.728 | 2019-06-04 | 5:30 | 20.87 | 0.052 | 0.739
2019-05-14 | 6:00 | 22.749 | 0.167 | 0.712 | 2019-06-04 | 6:00 | 21.901 | 0.207 | 0.733
2019-05-14 | 6:30 | 25.317 | 0.591 | 0.705 | 2019-06-04 | 6:30 | 23.916 | 0.49 | 0.734
2019-05-14 | 7:00 | 27.673 | 1.2 | 0.697 | 2019-06-04 | 7:00 | 25.99 | 0.727 | 0.734
2019-05-14 | 7:30 | 30.009 | 1.98 | 0.667 | 2019-06-04 | 7:30 | 28.836 | 1.13 | 0.73
2019-05-14 | 8:00 | 30.743 | 2.81 | 0.636 | 2019-06-04 | 8:00 | 30.167 | 1.65 | 0.725
2019-05-14 | 8:30 | 30.963 | 3.72 | 0.639 | 2019-06-04 | 8:30 | 31.186 | 2.31 | 0.736
2019-05-14 | 9:00 | 29.975 | 4.66 | 0.642 | 2019-06-04 | 9:00 | 30.728 | 2.84 | 0.747
2019-05-14 | 9:30 | 29.294 | 5.58 | 0.671 | 2019-06-04 | 9:30 | 30.833 | 3.62 | 0.778
2019-05-14 | 10:00 | 28.544 | 6.44 | 0.7 | 2019-06-04 | 10:00 | 30.739 | 4.12 | 0.808
2019-05-14 | 10:30 | 27.7 | 7.24 | 0.733 | 2019-06-04 | 10:30 | 30.853 | 4.13 | 0.818
2019-05-14 | 11:00 | 27.113 | 7.97 | 0.766 | 2019-06-04 | 11:00 | 30.814 | 4.43 | 0.828
2019-05-14 | 11:30 | 26.552 | 8.58 | 0.794 | 2019-06-04 | 11:30 | 30.902 | 3.95 | 0.838
2019-05-14 | 12:00 | 26.317 | 9.01 | 0.822 | 2019-06-04 | 12:00 | 31.061 | 3.55 | 0.847
2019-05-14 | 12:30 | 26.083 | 9.35 | 0.852 | 2019-06-04 | 12:30 | 31.396 | 2.78 | 0.87
2019-05-14 | 13:00 | 25.704 | 9.53 | 0.882 | 2019-06-04 | 13:00 | 31.543 | 2.46 | 0.893
2019-05-14 | 13:30 | 25.362 | 9.55 | 0.899 | 2019-06-04 | 13:30 | 31.593 | 2.11 | 0.913
2019-05-14 | 14:00 | 25.134 | 9.39 | 0.915 | 2019-06-04 | 14:00 | 31.737 | 1.99 | 0.932
2019-05-14 | 14:30 | 25.1 | 9.07 | 0.93 | 2019-06-04 | 14:30 | 31.527 | 1.95 | 0.938
2019-05-14 | 15:00 | 25.048 | 8.59 | 0.944 | 2019-06-04 | 15:00 | 31.517 | 1.76 | 0.944
2019-05-14 | 15:30 | 25.212 | 7.98 | 0.946 | 2019-06-04 | 15:30 | 31.882 | 1.74 | 0.922
2019-05-14 | 16:00 | 26.118 | 7.25 | 0.948 | 2019-06-04 | 16:00 | 32.377 | 1.86 | 0.9
2019-05-14 | 16:30 | 27.202 | 6.42 | 0.943 | 2019-06-04 | 16:30 | 32.862 | 1.78 | 0.911
2019-05-14 | 17:00 | 28.532 | 5.51 | 0.937 | 2019-06-04 | 17:00 | 33.101 | 1.56 | 0.921
2019-05-14 | 17:30 | 29.702 | 4.57 | 0.929 | 2019-06-04 | 17:30 | 33.321 | 1.48 | 0.941
2019-05-14 | 18:00 | 30.656 | 3.62 | 0.921 | 2019-06-04 | 18:00 | 33.316 | 1.13 | 0.96
2019-05-14 | 18:30 | 31.464 | 2.72 | 0.869 | 2019-06-04 | 18:30 | 33.096 | 0.955 | 0.974
2019-05-14 | 19:00 | 32.073 | 1.91 | 0.816 | 2019-06-04 | 19:00 | 33.114 | 0.835 | 0.987
2019-05-14 | 19:30 | 32.268 | 1.2 | 0.794 | 2019-06-04 | 19:30 | 33.061 | 0.491 | 0.979
2019-05-14 | 20:00 | 32.273 | 0.6 | 0.772 | 2019-06-04 | 20:00 | 32.771 | 0.333 | 0.971
2019-05-14 | 20:30 | 31.754 | 0.165 | 0.786 | 2019-06-04 | 20:30 | 32.012 | 0.175 | 0.984
2019-05-14 | 21:00 | 31.574 | 0.008 | 0.8 | 2019-06-04 | 21:00 | 31.37 | 0.045 | 0.997
2019-05-14 | 21:30 | 31.814 | 0 | 0.812 | 2019-06-04 | 21:30 | 30.801 | 0.001 | 1.026
2019-05-14 | 22:00 | 31.094 | 0 | 0.823 | 2019-06-04 | 22:00 | 30.066 | 0 | 1.055
2019-05-14 | 22:30 | 29.501 | 0 | 0.814 | 2019-06-04 | 22:30 | 28.704 | 0 | 1.07
2019-05-14 | 23:00 | 27.39 | 0 | 0.805 | 2019-06-04 | 23:00 | 26.776 | 0 | 1.084
2019-05-14 | 23:30 | 25.593 | 0 | 0.794 | 2019-06-04 | 23:30 | 24.979 | 0 | 1.109
2019-05-14 | 0:00 | 24.232 | 0 | 0.782 | 2019-06-04 | 0:00 | 23.383 | 0 | 1.133

## Electricity supply
Electricity Supply
Electricity supply | Weekly generation and demand summer 2020
Geenration and minimum demand by week, summer 2020

## Figure 5 Operational Margin
Week Number | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43
Date | 06/04/2020 | 13/04/2020 | 20/04/2020 | 27/04/2020 | 04/05/2020 | 11/05/2020 | 18/05/2020 | 25/05/2020 | 01/06/2020 | 08/06/2020 | 15/06/2020 | 22/06/2020 | 29/06/2020 | 06/07/2020 | 13/07/2020 | 20/07/2020 | 27/07/2020 | 03/08/2020 | 10/08/2020 | 17/08/2020 | 24/08/2020 | 31/08/2020 | 07/09/2020 | 14/09/2020 | 21/09/2020 | 28/09/2020 | 05/10/2020 | 12/10/2020 | 19/10/2020
Short term operating reserve | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Max normal demand (including full Ireland export) | 37010 | 35780 | 35480 | 34710 | 33840 | 33560 | 33370 | 33400 | 32200 | 32810 | 32410 | 32011 | 31988 | 32059 | 32157 | 32162 | 31681 | 31827 | 32115 | 32682 | 33308 | 34543 | 35284 | 36154 | 37112 | 38176 | 39354 | 40647 | 41831
Assumed generation and Wind @ EFC | 40872.9135 | 42361.9916 | 41285.8865 | 40935.6866 | 40679.0404 | 40843.4978 | 39862.1131 | 38501.0322 | 37479.9718 | 34897.5993 | 36419.6977 | 38506.2492 | 37791.7578 | 38876.1302 | 40659.0107 | 40473.9427 | 37879.9571 | 39989.9135 | 40216.2568 | 40151.7312 | 41506.8788 | 40704.9505 | 40165.4991 | 43796.3622 | 44257.5601 | 45392.5108 | 44550.6317 | 45413.3726 | 45348.7054
No IC Imports | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Base IC flows | 1575 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 1900 | 2275 | 2275 | 2275 | 2275 | 1575 | 1575 | 1575 | 1575 | 2275
High IC Imports | 3014.186 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 4008.3721 | 3014.186 | 3014.186 | 3014.186 | 3014.186 | 4008.3721
Assumed generation with no continental IC flows | 40872.9135 | 42361.9916 | 41285.8865 | 40935.6866 | 40679.0404 | 40843.4978 | 39862.1131 | 38501.0322 | 37479.9718 | 34897.5993 | 36419.6977 | 38506.2492 | 37791.7578 | 38876.1302 | 40659.0107 | 40473.9427 | 37879.9571 | 39989.9135 | 40216.2568 | 40151.7312 | 41506.8788 | 40704.9505 | 40165.4991 | 43796.3622 | 44257.5601 | 45392.5108 | 44550.6317 | 45413.3726 | 45348.7054
Assumed generation with base continental IC flows | 42447.9135 | 44636.9916 | 43560.8865 | 43210.6866 | 42954.0404 | 43118.4978 | 42137.1131 | 40776.0322 | 39754.9718 | 37172.5993 | 38694.6977 | 40781.2492 | 40066.7578 | 41151.1302 | 42934.0107 | 42748.9427 | 40154.9571 | 42264.9135 | 42491.2568 | 42051.7312 | 43781.8788 | 42979.9505 | 42440.4991 | 46071.3622 | 45832.5601 | 46967.5108 | 46125.6317 | 46988.3726 | 47623.7054
Assumed generation with high IC continental flows | 43887.0995 | 46370.3637 | 45294.2586 | 44944.0587 | 44687.4125 | 44851.8699 | 43870.4852 | 42509.4043 | 41488.3439 | 38905.9714 | 40428.0698 | 42514.6213 | 41800.1299 | 42884.5023 | 44667.3828 | 44482.3147 | 41888.3292 | 43998.2856 | 44224.6289 | 44160.1033 | 45515.2509 | 44713.3226 | 44173.8712 | 47804.7343 | 47271.7461 | 48406.6969 | 47564.8177 | 48427.5587 | 49357.0774
Date (Text) | 2020-04-06 | 2020-04-13 | 2020-04-20 | 2020-04-27 | 2020-05-04 | 2020-05-11 | 2020-05-18 | 2020-05-25 | 2020-06-01 | 2020-06-08 | 2020-06-15 | 2020-06-22 | 2020-06-29 | 2020-07-06 | 2020-07-13 | 2020-07-20 | 2020-07-27 | 2020-08-03 | 2020-08-10 | 2020-08-17 | 2020-08-24 | 2020-08-31 | 2020-09-07 | 2020-09-14 | 2020-09-21 | 2020-09-28 | 2020-10-05 | 2020-10-12 | 2020-10-19
Low IC surplus | 832.9135 | 2321.9916 | 1245.8865 | 895.6866 | 639.0404 | 803.4978 | -177.8869 | -1538.9678 | -2560.0282 | -5142.4007 | -3620.3023 | -1533.7508 | -2248.2422 | -1163.8698 | 619.0107 | 433.9427 | -2160.0429 | -50.0865 | 176.2568 | 111.7312 | 1466.8788 | 664.9505 | 125.4991 | 3756.3622 | 4217.5601 | 5352.5108 | 4510.6317 | 5373.3726 | 5308.7054
Base IC Surplus | 2407.9135 | 4596.9916 | 3520.8865 | 3170.6866 | 2914.0404 | 3078.4978 | 2097.1131 | 736.0322 | -285.0282 | -2867.4007 | -1345.3023 | 741.2492 | 26.7578 | 1111.1302 | 2894.0107 | 2708.9427 | 114.9571 | 2224.9135 | 2451.2568 | 2011.7312 | 3741.8788 | 2939.9505 | 2400.4991 | 6031.3622 | 5792.5601 | 6927.5108 | 6085.6317 | 6948.3726 | 7583.7054
Max IC Surplus | 3847.0995 | 6330.3637 | 5254.2586 | 4904.0587 | 4647.4125 | 4811.8699 | 3830.4852 | 2469.4043 | 1448.3439 | -1134.0286 | 388.0698 | 2474.6213 | 1760.1299 | 2844.5023 | 4627.3828 | 4442.3147 | 1848.3292 | 3958.2856 | 4184.6289 | 4120.1033 | 5475.2509 | 4673.3226 | 4133.8712 | 7764.7343 | 7231.7461 | 8366.6969 | 7524.8177 | 8387.5587 | 9317.0774
updated:19-03-2020
IC outages | 15W20 | 16W20 | 17W20 | 18W20 | 19W20 | 20W20 | 21W20 | 22W20 | 23W20 | 24W20 | 25W20 | 26W20 | 27W20 | 28W20 | 29W20 | 30W20 | 31W20 | 32W20 | 33W20 | 34W20 | 35W20 | 36W20 | 37W20 | 38W20 | 39W20 | 40W20 | 41W20 | 42W20 | 43W20
I/C Capacity EW MW | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 0 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
I/C Capacity IFA MW | 1000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 1000 | 1000 | 1000 | 1000 | 2000
I/C Capacity Britned MW | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
I/C Capacity Moyle MW | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
I/C Capacity Nemo MW | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020 | 1020
| France | Britned | Moyle | EWIC | Nemo
IC breakdown rates | 2020-04-06: 0.99419; 2020-04-13: 1; 2020-04-20: 0.99684; 2020-04-27: 0.9814
Base IC LF | 2020-04-06: 0.75; 2020-04-13: 0.7; 2020-04-20: 1; 2020-04-27: 1; 2020-05-04: 0.7

## Fig 6 Weekly min dmd and gen
Week Number | 14W20 | 15W20 | 16W20 | 17W20 | 18W20 | 19W20 | 20W20 | 21W20 | 22W20 | 23W20 | 24W20 | 25W20 | 26W20 | 27W20 | 28W20 | 29W20 | 30W20 | 31W20 | 32W20 | 33W20 | 34W20 | 35W20 | 36W20 | 37W20 | 38W20 | 39W20 | 40W20 | 41W20 | 42W20 | 43W20 | 42W18
Date of min | 2020-04-05 | 2020-04-12 | 2020-04-19 | 2020-04-26 | 2020-05-03 | 2020-05-10 | 2020-05-17 | 2020-05-24 | 2020-05-31 | 2020-06-07 | 2020-06-14 | 2020-06-21 | 2020-06-28 | 2020-07-05 | 2020-07-12 | 2020-07-19 | 2020-07-26 | 2020-08-02 | 2020-08-09 | 2020-08-16 | 2020-08-23 | 2020-08-30 | 2020-09-06 | 2020-09-13 | 2020-09-20 | 2020-09-27 | 2020-10-04 | 2020-10-11 | 2020-10-18 | 2020-10-25 | 2018-10-21
W/C Date | 05-Apr | 2020-04-12 | 2020-04-19 | 2020-04-26 | 2020-05-03 | 2020-05-10 | 2020-05-17 | 2020-05-24 | 2020-05-31 | 2020-06-07 | 2020-06-14 | 2020-06-21 | 2020-06-28 | 2020-07-05 | 2020-07-12 | 2020-07-19 | 2020-07-26 | 2020-08-02 | 2020-08-09 | 2020-08-16 | 2020-08-23 | 2020-08-30 | 2020-09-06 | 2020-09-13 | 2020-09-20 | 2020-09-27 | 2020-10-04 | 2020-10-11 | 2020-10-18 | 2020-10-25 | 2020-11-01
Minimum demand | 21220 | 20180 | 20090 | 19470 | 18910 | 18550 | 18080 | 17370 | 17640 | 17500 | 17350 | 17190 | 17720 | 17691 | 17916 | 17918 | 17732 | 17495 | 17683 | 17887 | 17815 | 17920 | 17931 | 17905 | 18091 | 18113 | 18373 | 18910 | 19551 | 19431 | 19758.21
Minimum demand inc. pumping | 22920 | 21880 | 21790 | 21170 | 20610 | 20250 | 19780 | 19070 | 19340 | 19200 | 19050 | 18890 | 19420 | 19391 | 19616 | 19618 | 19432 | 19195 | 19383 | 19587 | 19515 | 19620 | 19631 | 19605 | 19791 | 19813 | 20073 | 20610 | 21251 | 21131 | 21858.21
Demand reduction - medium impact | 19734.6 | 18767.4 | 18683.7 | 18107.1 | 17586.3 | 17251.5 | 16814.4 | 16154.1 | 16405.2 | 16275 | 16135.5 | 15986.7 | 16479.6 | 16452.63 | 16661.88 | 16663.74 | 16490.76 | 16270.35 | 16445.19 | 16634.91 | 16567.95 | 16665.6 | 16675.83 | 16651.65 | 16824.63 | 16845.09 | 17086.89 | 17586.3 | 18182.43 | 18070.83 | 18375.1353
Demand reduction - high impact | 18461.4 | 17556.6 | 17478.3 | 16938.9 | 16451.7 | 16138.5 | 15729.6 | 15111.9 | 15346.8 | 15225 | 15094.5 | 14955.3 | 15416.4 | 15391.17 | 15586.92 | 15588.66 | 15426.84 | 15220.65 | 15384.21 | 15561.69 | 15499.05 | 15590.4 | 15599.97 | 15577.35 | 15739.17 | 15758.31 | 15984.51 | 16451.7 | 17009.37 | 16904.97 | 17189.6427
Plant total providing requlating reserve | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100 | 2100
Nuclear | 4396.38 | 5348.6 | 5398.42 | 6453.1 | 6529.24 | 5938.92 | 6270.74 | 5776.3 | 5581.72 | 5898.5 | 6195.54 | 6383.54 | 6745.44 | 6705.02 | 6209.64 | 7500.26 | 7893.18 | 6988.9 | 7648.78 | 7306.62 | 6789.62 | 6928.74 | 7402.5 | 7406.26 | 7830.2 | 7759.7 | 7519.06 | 6785.86 | 6762.36 | 6697.5 | 5522.76
Inflexible wind | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2070.8011 | 2870.1033
Inflexible hydro | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 99.5 | 393
Inflexible BMUs (eg CHP) | 336.7066 | 359.3689 | 368.9981 | 381.3962 | 388.7109 | 192.9289 | 342.6427 | 339.14 | 331.758 | 336.7998 | 339.7513 | 340.7849 | 341.8195 | 344.5 | 183 | 343.5 | 347 | 352 | 357.5 | 357.5 | 357.5 | 193.5 | 357.5 | 362 | 362 | 362 | 357 | 368 | 368 | 368 | 1188
I/C imports after trades | 2964 | 2614 | 3314 | 3314 | 3314 | 3314 | 3314 | 3314 | 3314 | 3314 | 3314 | 3314 | 3314 | 3314 | 3314 | 3314 | 3314 | 3314 | 3314 | 3314 | 3064 | 3314 | 3314 | 3314 | 3314 | 2614 | 2614 | 2614 | 2614 | 3314 | 2600
Plant providing voltage support | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 3000
Flexible wind | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 4336.6224 | 3725.2875
Updated: 19/03/2019

## Europe&interconnected market
Europe and interconnected markets
Europe and interconnected markets | Day ahead baseload prices for summer 2019

## Fig 7 Forward baseload prices
Date | French summer baseload | Dutch summer baseload | UK summer baseload | Belgian summer baseload
2020-03-24 | 19.34 | 22.16 | 28.9 | 19.7926
2020-03-23 | 19.605 | 21.56 | 29.1 | 19.4238
2020-03-20 | 20.435 | 22.705 | 30.95 | 20.8808
2020-03-19 | 21.34 | 23.07 | 30.5 | 21.8303
2020-03-18 | 22.435 | 23.765 | 30.5 | 22.6579
2020-03-17 | 23.335 | 24.905 | 32.75 | 23.9138
2020-03-16 | 25.4 | 26.54 | 32.75 | 25.2092
2020-03-13 | 27.73 | 28.56 | 34.75 | 27.4602
2020-03-12 | 26.655 | 28.03 | 33.5 | 27.431
2020-03-11 | 26.855 | 28.055 | 34.625 | 27.2684
2020-03-10 | 27.335 | 27.97 | 32.7 | 26.1933
2020-03-09 | 25.01 | 26.645 | 32.7 | 25.4403
2020-03-06 | 25.085 | 26.865 | 32.7 | 25.6303
2020-03-04 | 25.055 | 26.895 | 32.5 | 25.8307
2020-03-03 | 25.045 | 26.655 | 32.3 | 25.7133
2020-03-02 | 25.03 | 27.095 | 32.3 | 25.469
2020-02-28 | 24.915 | 26.53 | 32.3 | 25.302
2020-02-27 | 25.925 | 26.61 | 32.3 | 25.2683
2020-02-26 | 25.74 | 26.59 | 32.3 | 25.2759
2020-02-25 | 25.175 | 26.995 | 32.525 | 25.702
2020-02-24 | 25.96 | 27.54 | 32.75 | 25.9318
2020-02-21 | 26.425 | 27.995 | 33.25 | 27.0153
2020-02-20 | 26.715 | 28.18 | 34.55 | 27.1124
2020-02-19 | 26.355 | 28.07 | 34.25 | 26.9842
2020-02-18 | 26.835 | 27.955 | 34.15 | 26.8771
2020-02-17 | 26.83 | 27.64 | 32.5 | 26.7304
2020-02-14 | 26.485 | 27.64 | 32.625 | 26.8165
2020-02-13 | 26.12 | 27.05 | 32.5 | 26.2663
2020-02-12 | 26.01 | 26.81 | 33.9 | 26.6228
2020-02-11 | 25.85 | 27.135 | 33.9 | 26.4469
2020-02-10 | 25.645 | 26.725 | 33.9 | 26.1299
2020-02-07 | 26.655 | 27.925 | 33.9 | 27.1857
2020-02-06 | 26.855 | 28.15 | 33.9 | 26.9411
2020-02-05 | 26.88 | 28.215 | 33.9 | 27.2995
2020-02-04 | 26.19 | 28.16 | 34 | 27.1098
2020-02-03 | 26.55 | 28.49 | 34 | 26.9991
2020-01-31 | 26.775 | 28.725 | 34.85 | 27.6403
2020-01-30 | 27.27 | 28.805 | 34.85 | 27.8668
2020-01-29 | 28.015 | 30 | 35.85 | 28.7558
2020-01-28 | 28.745 | 30.51 | 36.625 | 29.1846
2020-01-27 | 27.795 | 30.2 | 36 | 28.883
2020-01-24 | 27.735 | 29.995 | 35.55 | 28.556
2020-01-23 | 27.775 | 29.99 | 35.3 | 28.5927
2020-01-22 | 27.57 | 30.23 | 36.05 | 29.047
2020-01-21 | 27.775 | 30.73 | 36.35 | 28.9501
2020-01-20 | 27.585 | 30.545 | 36.35 | 28.8013
2020-01-17 | 27.825 | 31.125 | 36.925 | 29.2859
2020-01-16 | 27.425 | 31.345 | 36.8 | 29.0086
2020-01-15 | 27.89 | 31.355 | 37.85 | 29.5195
2020-01-14 | 27.9 | 31.585 | 37.325 | 29.567
2020-01-13 | 28.91 | 32.575 | 38.75 | 30.6382
2020-01-10 | 28.87 | 32.355 | 37.975 | 30.568
2020-01-09 | 28.96 | 32.625 | 39.05 | 30.5747
2020-01-08 | 28.95 | 32.13 | 38.4 | 30.4398
2020-01-07 | 28.645 | 32.02 | 38 | 30.4378
2020-01-06 | 29.18 | 32.795 | 41.45 | 30.6757
2020-01-03 | 29.42 | 33.11 | 41.45 | 31.1822
2020-01-02 | 29.04 | 32.61 | 41.45 | 30.6399
2019-12-31 | 36.725 | 37.73 | 41.45 | 31.0125
2019-12-30 | 37.925 | 37.73 | 41.45 | 37.5153
2019-12-27 | 38.845 | 37.73 | 42.8 | 38.2168
2019-12-26 | 39.69 | 37.73 | 42.825 | 38.0228
2019-12-24 | 38.755 | 37.73 | 42.825 | 38.0944
2019-12-23 | 39.275 | 37.73 | 43.675 | 39.1795
2019-12-20 | 40.975 | 38.125 | 45.175 | 40.7872
2019-12-19 | 43.58 | 39.25 | 46.725 | 42.1998
2019-12-18 | 42.065 | 38.73 | 46.275 | 41.8274
2019-12-17 | 41.995 | 38.6 | 45.125 | 41.5387
2019-12-16 | 39.635 | 36.81 | 43.6 | 40.0533
2019-12-13 | 40.99 | 36.695 | 43.1 | 40.5189
2019-12-12 | 41.72 | 38.265 | 45.15 | 41.3076
2019-12-11 | 41.095 | 38.21 | 44.35 | 41.0266
2019-12-10 | 41.65 | 38.015 | 44.95 | 41.3019
2019-12-09 | 42.3 | 38.535 | 45.35 | 42.1407
2019-12-06 | 43.94 | 39.56 | 46.375 | 43.3934
2019-12-05 | 43.94 | 39.73 | 47.225 | 43.6081
2019-12-04 | 44.805 | 40.03 | 47.625 | 43.9447
2019-12-03 | 46.09 | 40.555 | 47.825 | 44.7765
2019-12-02 | 46.365 | 40.805 | 48.325 | 45.3995

## Assumptions & further data
Assumptions and additional data
| BM reports website: | https://www.bmreports.com/
Assumptions
All demand figures shown in our operational view are normalised transmission system demands unless otherwise stated – based on national demand plus a station load of 500 MW, and interconnector exports. We have assumed 750 MW of export to Ireland during peak demand periods. The IFA, Nemo and Britned interconnectors are treated as generation. Underlying demand where quoted is corrected for the impact of the weather and where appropriate day of the week.
We have assumed a real time reserve requirement of 1.5 GW for each week of our analysis (shown in figure 5)
Underlying demand is corrected for the impact of weather and day of week. Pre-Covid-19 we forecast similar levels compared summer 2019 based on the analysis done by Energy Insights team. To account for Covid-19 impact we have produced a range of scenarios considering impactof this on demand. We forecast demand normalised demand using long term trends to estimate underlying demand with a 30 - year average. This has been done with weekly resolution.
Load factors are used to determine how much inflexible generation is likely to be available at different times, for example during periods of low demand. These are based on historic availability over previous minimum demand periods. We also apply a load factor to interconnectors. These are based on the price differential between Europe and GB, plus a reasonable number of trades it would take to resolve RoCoF issues.
Breakdown rates for generation over the summer are calculated using historic summer breakdown rates. These are taken from a units output against capacity, for demand peaks higher than the 80th percentile, for the last 3 years. This excludes planned outages notified to the SO. For wind, a median load factor is calculated, meaning that there is a 50% chance of wind being higher or lower than this.
Electricity interconnector scenarios referred to in the document are as follows:
No continental imports scenario: 750 MW export to Ireland, no imports from Britned, IFA or Nemo. (net import -750 MW)
Base imports scenario: 750 MW export to Ireland, 2900 total imports from Britned, IFA or Nemo. Net imports 2150 MW
High imports scenario: 750 MW export to Ireland, 3988 total imports from Britned, IFA or Nemo. Net imports 3238 MW.
Further data
Electricity: Much of our electricity data is based on availability data provided to us by generators known as Operational Code (OC2) data. You can access the latest OC2 data, published each Friday at our BM reports website. Note data on the BM reports website does not include interconnector imports / exports and is largely unadjusted (i.e. does not include derating or breakdowns – with the exception of wind where this is accounted for via the assumed load factor).
Demands published in Summer Outlook 2020 are based on March 2020 data. Demand forecasts are also regularly updated throughout the year and can be accessed at the BM reports website. The System Operator Notification Reporting system (SONAR) provides real time operational information such as changes to generation operational parameters or instructions issued by the control room. These can be viewed at the SONAR website.

## Gen running order
Period | Biomass | Fossil Gas | Fossil Hard coal | Fossil Oil | Hydro Pumped Storage | Hydro Run-of-river and poundage | Nuclear | Other | Solar | Wind Offshore | Wind Onshore
0:30 | 2234 | 5254 | 0 | 0 | 0 | 317 | 5145 | 98 | 0 | 2916.191 | 2277.555
1:00 | 2041 | 4701 | 0 | 0 | 0 | 310 | 5142 | 99 | 0 | 3334.422 | 2235.589
1:30 | 1770 | 4310 | 0 | 0 | 0 | 311 | 5140 | 100 | 0 | 3445.252 | 2297.254
2:00 | 1687 | 4316 | 0 | 0 | 0 | 304 | 5145 | 101 | 0 | 3517.187 | 2316.433
2:30 | 1533 | 4435 | 0 | 0 | 0 | 304 | 5152 | 104 | 0 | 3591.273 | 2537.091
3:00 | 1601 | 3991 | 0 | 0 | 0 | 305 | 5141 | 104 | 0 | 3825.342 | 2542.903
3:30 | 1593 | 3759 | 0 | 0 | 0 | 305 | 5149 | 103 | 0 | 3984.018 | 2651.669
4:00 | 1583 | 3724 | 10 | 0 | 0 | 305 | 5147 | 103 | 0 | 3856.111 | 2872.172
4:30 | 1642 | 3743 | 14 | 0 | 0 | 306 | 5149 | 102 | 0 | 3856.111 | 2872.172
5:00 | 1587 | 3644 | 27 | 0 | 0 | 305 | 5143 | 101 | 0 | 4080.415 | 3395.117
5:30 | 1585 | 3771 | 40 | 0 | 0 | 341 | 5146 | 101 | 0 | 4083.161 | 3451.731
6:00 | 1781 | 3777 | 65 | 0 | 0 | 345 | 5151 | 99 | 2 | 4075.574 | 3634.432
6:30 | 1852 | 3973 | 215 | 0 | 0 | 321 | 5148 | 110 | 96 | 4039.307 | 3675.681
7:00 | 1907 | 4404 | 486 | 0 | 0 | 341 | 5147 | 104 | 346 | 4207.022 | 4294.244
7:30 | 1732 | 4726 | 785 | 0 | 0 | 387 | 5136 | 103 | 835 | 4321.456 | 5050.442
8:00 | 2134 | 5423 | 938 | 0 | 0 | 394 | 5148 | 104 | 1310 | 4182.923 | 5278.084
8:30 | 2227 | 6023 | 922 | 0 | 0 | 422 | 5148 | 106 | 1820 | 4291.582 | 5814.562
9:00 | 2228 | 6486 | 974 | 0 | 0 | 399 | 5136 | 107 | 2610 | 4291.582 | 5698.37
9:30 | 2228 | 6348 | 1071 | 0 | 0 | 400 | 5137 | 107 | 3310 | 4291.582 | 5698.37
10:00 | 2233 | 6012 | 1083 | 0 | 0 | 384 | 5144 | 107 | 3540 | 4063.815 | 5698.37
10:30 | 2209 | 5568 | 1055 | 0 | 149 | 385 | 5150 | 107 | 4310 | 4063.815 | 5698.37
11:00 | 2072 | 4809 | 1149 | 0 | 0 | 369 | 5149 | 106 | 4880 | 4291.582 | 5698.37
11:30 | 1784 | 4777 | 1179 | 0 | 0 | 354 | 5143 | 104 | 5360 | 4016.886 | 6105.964
12:00 | 2108 | 4540 | 1211 | 0 | 0 | 336 | 5147 | 107 | 5670 | 4409.163 | 6479.828
12:30 | 2218 | 4749 | 1227 | 0 | 149 | 309 | 5144 | 118 | 5990 | 4268.112 | 6342.628
13:00 | 2222 | 4554 | 1234 | 0 | 149 | 346 | 5144 | 106 | 6400 | 4081.706 | 6204.26
13:30 | 2223 | 4487 | 1123 | 0 | 0 | 345 | 5141 | 102 | 6410 | 4292.566 | 5909.163
14:00 | 2201 | 4614 | 1196 | 0 | 0 | 345 | 5144 | 103 | 7040 | 4041.741 | 5815.958
14:30 | 1960 | 4687 | 1228 | 0 | 34 | 305 | 5138 | 104 | 7340 | 3987.122 | 5636.495
15:00 | 1998 | 5121 | 1132 | 0 | 0 | 305 | 5143 | 105 | 6740 | 3729.571 | 5568.975
15:30 | 2219 | 5774 | 853 | 0 | 134 | 352 | 5139 | 136 | 6090 | 3578.949 | 5316.973
16:00 | 2218 | 6361 | 846 | 0 | 124 | 346 | 5143 | 105 | 5380 | 3369.48 | 5264.457
16:30 | 2220 | 7266 | 852 | 0 | 306 | 210 | 5140 | 104 | 4460 | 3105.791 | 4815.812
17:00 | 2222 | 8936 | 848 | 0 | 0 | 245 | 5147 | 108 | 3750 | 2915.134 | 4612.069
17:30 | 2218 | 9505 | 847 | 0 | 771 | 442 | 5142 | 106 | 3300 | 3058.391 | 4114.328
18:00 | 2243 | 10551 | 848 | 0 | 1111 | 541 | 5146 | 126 | 2640 | 2946.086 | 3760.54
18:30 | 2245 | 11319 | 850 | 0 | 1079 | 675 | 5156 | 113 | 2100 | 2849.917 | 3289.07
19:00 | 2241 | 11894 | 853 | 0 | 1255 | 637 | 5172 | 116 | 1510 | 2726.749 | 2962.09
19:30 | 2241 | 12313 | 852 | 0 | 1157 | 572 | 5174 | 115 | 894 | 2605.781 | 2381.059
20:00 | 2246 | 12376 | 852 | 0 | 1267 | 572 | 5181 | 110 | 380 | 2539.271 | 2297.599
20:30 | 2237 | 12328 | 849 | 0 | 1090 | 683 | 5178 | 101 | 60 | 2612.343 | 1956.815
21:00 | 2238 | 12673 | 853 | 0 | 1178 | 714 | 5184 | 103 | 0 | 2098.919 | 1935.177
21:30 | 2247 | 12999 | 853 | 0 | 1368 | 712 | 5204 | 104 | 0 | 1804.188 | 2139.395
22:00 | 2269 | 12753 | 651 | 0 | 754 | 554 | 5215 | 103 | 0 | 1684.065 | 2276.852
22:30 | 2271 | 12891 | 2 | 0 | 420 | 449 | 5247 | 102 | 0 | 1315.905 | 2531.935
23:00 | 2296 | 11512 | 0 | 0 | 0 | 473 | 5272 | 102 | 0 | 1082.679 | 2669.876
23:30 | 2301 | 9816 | 0 | 0 | 127 | 302 | 5282 | 101 | 0 | 1007.495 | 2884.211
24:00 | 2304 | 7519 | 0 | 0 | 440 | 259 | 5340 | 99 | 0 | 1030.937 | 2959.502
Generation merit order
A generation merit order describes the sequence in which generators provide energy to the market at any given time. It is based on the energy price, minus the costs of production and carbon prices where applicable. The price at which energy can be sold varies throughout the day, depending on levels of demand and generation available. The most cost-efficient power stations typically feature first in the merit order, providing continuous output across the day. More expensive generators may respond to peaks in demand, when the electricity price will be higher.
The figure below shows the output of different types of generators over the course of a typical mid-summer day, based on July 2019 data. We expect generator output to follow a similar pattern in summer 2020, subject to Covid-19 demand effects.

## French Nuclear
French nuclear plants in outage (GW)
| 2017 summer actual | 2018 summer actual | 2019 summer actual | Planned 2020
Apr | 17.4 | 18.3 | 9.61 | 6.81
May | 20.7 | 20.1 | 9.12 | 8.15
Jun | 23.1 | 21.5 | 13.515 | 13.835
Jul | 22.4 | 20.4 | 13.915 | 8.045
Aug | 21.9 | 26.1 | 16.545 | 10.27
Sep | 19.9 | 22 | 13.37 | 5.29
Oct | 24.2 | 21.1 | 16.525 | 2.67

## Whole energy system 2019
Date | Renewables Load Factor | Gas plant Load Factor
2019-03-31 | 38.9% | 25.38%
2019-04-01 | 44.74% | 29.52%
2019-04-02 | 54.11% | 15.96%
2019-04-03 | 49.53% | 21.92%
2019-04-04 | 43.69% | 30.26%
2019-04-05 | 38.44% | 36.62%
2019-04-06 | 51.36% | 19.66%
2019-04-07 | 48.14% | 22.41%
2019-04-08 | 50.57% | 21.78%
2019-04-09 | 47.23% | 27.29%
2019-04-10 | 53.82% | 23.67%
2019-04-11 | 58.89% | 17.74%
2019-04-12 | 54.69% | 21.28%
2019-04-13 | 41% | 40.3%
2019-04-14 | 35.17% | 43.04%
2019-04-15 | 29.36% | 47.91%
2019-04-16 | 45.22% | 26.34%
2019-04-17 | 48.59% | 23.87%
2019-04-18 | 42.29% | 31.19%
2019-04-19 | 50.1% | 29.68%
2019-04-20 | 56.49% | 22.96%
2019-04-21 | 46.46% | 32.51%
2019-04-22 | 38.48% | 39.93%
2019-04-23 | 38.61% | 35.04%
2019-04-24 | 43.32% | 31.71%
2019-04-25 | 44.33% | 30.64%
2019-04-26 | 35.76% | 40.46%
2019-04-27 | 27.82% | 46.96%
2019-04-28 | 44.94% | 25.42%
2019-04-29 | 56.68% | 11.17%
2019-04-30 | 55.81% | 13.59%
2019-05-01 | 60% | 7.627%
2019-05-02 | 52.76% | 17.67%
2019-05-03 | 48.94% | 18.42%
2019-05-04 | 27.51% | 50.46%
2019-05-05 | 40.27% | 29.15%
2019-05-06 | 54.66% | 15.77%
2019-05-07 | 62.24% | 11.03%
2019-05-08 | 42.8% | 31.53%
2019-05-09 | 54.68% | 19.77%
2019-05-10 | 61% | 10.41%
2019-05-11 | 50.15% | 18.58%
2019-05-12 | 49.97% | 18.01%
2019-05-13 | 53.17% | 19.87%
2019-05-14 | 55.87% | 20.57%
2019-05-15 | 50.91% | 20.99%
2019-05-16 | 39.27% | 33.5%
2019-05-17 | 44.43% | 22.66%
2019-05-18 | 49.67% | 11.39%
2019-05-19 | 50.9% | 11.18%
2019-05-20 | 56.99% | 14.57%
2019-05-21 | 57.06% | 20.59%
2019-05-22 | 46.76% | 21.92%
2019-05-23 | 44.37% | 30.79%
2019-05-24 | 44.73% | 27.44%
2019-05-25 | 43.94% | 20.73%
2019-05-26 | 18.89% | 49.53%
2019-05-27 | 34.11% | 34.66%
2019-05-28 | 49.83% | 18.17%
2019-05-29 | 45.58% | 20.07%
2019-05-30 | 29.33% | 41.89%
2019-05-31 | 33.62% | 35.56%
2019-06-01 | 40.98% | 29.93%
2019-06-02 | 24.19% | 50.16%
2019-06-03 | 39.75% | 48.25%
2019-06-04 | 57.3% | 16.5%
2019-06-05 | 53.2% | 23.21%
2019-06-06 | 52.59% | 21.76%
2019-06-07 | 46.15% | 24.75%
2019-06-08 | 36.38% | 42.73%
2019-06-09 | 50.46% | 24.1%
2019-06-10 | 57.54% | 15.08%
2019-06-11 | 43.84% | 32.8%
2019-06-12 | 44.22% | 31.32%
2019-06-13 | 46.02% | 31.22%
2019-06-14 | 52.49% | 25.31%
2019-06-15 | 44.91% | 28.72%
2019-06-16 | 40.73% | 34.81%
2019-06-17 | 40.94% | 40.73%
2019-06-18 | 55.83% | 22.04%
2019-06-19 | 63.84% | 13.05%
2019-06-20 | 53.6% | 27.35%
2019-06-21 | 59.2% | 23.87%
2019-06-22 | 54.21% | 22.16%
2019-06-23 | 43.91% | 29.75%
2019-06-24 | 56.95% | 20.58%
2019-06-25 | 60.07% | 18.89%
2019-06-26 | 57.74% | 23.24%
2019-06-27 | 52.24% | 30.91%
2019-06-28 | 47.58% | 36.76%
2019-06-29 | 44.93% | 28.63%
2019-06-30 | 21.73% | 60.83%
2019-07-01 | 32.68% | 52.3%
2019-07-02 | 51.51% | 26.94%
2019-07-03 | 58.01% | 22.9%
2019-07-04 | 51.64% | 32.04%
2019-07-05 | 52.94% | 27.31%
2019-07-06 | 51.62% | 24.98%
2019-07-07 | 55.24% | 19.89%
2019-07-08 | 63.17% | 14.12%
2019-07-09 | 60.59% | 10.57%
2019-07-10 | 59.86% | 15.18%
2019-07-11 | 62.72% | 15.81%
2019-07-12 | 47.73% | 24.87%
2019-07-13 | 46.45% | 23.04%
2019-07-14 | 49.22% | 18.74%
2019-07-15 | 59.02% | 13.36%
2019-07-16 | 58.46% | 12.85%
2019-07-17 | 51.09% | 23.97%
2019-07-18 | 49.89% | 24.85%
2019-07-19 | 50.2% | 21.07%
2019-07-20 | 29.7% | 41.25%
2019-07-21 | 30% | 36.38%
2019-07-22 | 34.41% | 51.91%
2019-07-23 | 52.29% | 31.06%
2019-07-24 | 57.9% | 30.1%
2019-07-25 | 59.52% | 30.31%
2019-07-26 | 58.17% | 20.82%
2019-07-27 | 50.68% | 18.75%
2019-07-28 | 42.32% | 29.41%
2019-07-29 | 55.63% | 19.88%
2019-07-30 | 47.61% | 25.66%
2019-07-31 | 40.35% | 34.43%
2019-08-01 | 54.01% | 18.55%
2019-08-02 | 58.03% | 13.6%
2019-08-03 | 53.91% | 12.72%
2019-08-04 | 47.44% | 19.15%
2019-08-05 | 38.32% | 32.26%
2019-08-06 | 33.72% | 34.07%
2019-08-07 | 32.01% | 37.07%
2019-08-08 | 46.87% | 21.2%
2019-08-09 | 25.41% | 51.29%
2019-08-10 | 18.27% | 53.17%
2019-08-11 | 24.52% | 51.61%
2019-08-12 | 48.24% | 22.53%
2019-08-13 | 49.03% | 21.64%
2019-08-14 | 46.69% | 20.57%
2019-08-15 | 26.71% | 47.86%
2019-08-16 | 25.07% | 42.86%
2019-08-17 | 18.69% | 66.16%
2019-08-18 | 20.41% | 63.66%
2019-08-19 | 28.58% | 50.09%
2019-08-20 | 44.13% | 27.17%
2019-08-21 | 35.51% | 33.58%
2019-08-22 | 27.1% | 45.47%
2019-08-23 | 33% | 37.04%
2019-08-24 | 44.45% | 28.42%
2019-08-25 | 49.93% | 21.23%
2019-08-26 | 56.37% | 20.67%
2019-08-27 | 58.38% | 14.16%
2019-08-28 | 52.92% | 25.11%
2019-08-29 | 36.94% | 42.25%
2019-08-30 | 26.52% | 52.85%
2019-08-31 | 25.26% | 48.61%
2019-09-01 | 30.46% | 42.93%
2019-09-02 | 31.61% | 36.59%
2019-09-03 | 33.95% | 37.1%
2019-09-04 | 23.03% | 51.64%
2019-09-05 | 26.42% | 49.88%
2019-09-06 | 26.3% | 49.01%
2019-09-07 | 37.16% | 31.56%
2019-09-08 | 42.55% | 21.42%
2019-09-09 | 52.57% | 12.96%
2019-09-10 | 45.48% | 19.41%
2019-09-11 | 25.44% | 49.02%
2019-09-12 | 30.5% | 37.13%
2019-09-13 | 41.88% | 29.08%
2019-09-14 | 29.9% | 41.66%
2019-09-15 | 38.56% | 35.42%
2019-09-16 | 50.95% | 17.63%
2019-09-17 | 47.4% | 29.03%
2019-09-18 | 56.65% | 13.21%
2019-09-19 | 59.7% | 12.54%
2019-09-20 | 46.92% | 25.53%
2019-09-21 | 21.7% | 58.11%
2019-09-22 | 37.81% | 30.16%
2019-09-23 | 47.7% | 31.59%
2019-09-24 | 47.71% | 31.47%
2019-09-25 | 50.14% | 21.69%
2019-09-26 | 32.39% | 42.93%
2019-09-27 | 31.99% | 37.54%
2019-09-28 | 28.37% | 41.08%
2019-09-29 | 29.62% | 39.1%
2019-09-30 | 47.6% | 21.55%
2019-10-01 | 40.34% | 35.09%
2019-10-02 | 45.01% | 31.84%
2019-10-03 | 47.05% | 24%
2019-10-04 | 38.43% | 32.04%
2019-10-05 | 36.96% | 26.83%
2019-10-06 | 26.96% | 47.01%
2019-10-07 | 38.19% | 36.81%
2019-10-08 | 29.12% | 50.91%
2019-10-09 | 27.1% | 51.11%
2019-10-10 | 25.26% | 48.68%
2019-10-11 | 25.14% | 49.14%
2019-10-12 | 40.76% | 24.78%
2019-10-13 | 47.76% | 18.44%
2019-10-14 | 53.14% | 13.66%
2019-10-15 | 52.44% | 16.02%
2019-10-16 | 41.88% | 27.79%
2019-10-17 | 51.91% | 23.71%
2019-10-18 | 46.45% | 27.08%
2019-10-19 | 35.28% | 34.95%
2019-10-20 | 34.47% | 33.12%
2019-10-21 | 51.53% | 23.56%
2019-10-22 | 52.95% | 25.88%
2019-10-23 | 49.67% | 24.93%
2019-10-24 | 43.26% | 21.19%
2019-10-25 | 40.74% | 27.79%
2019-10-26 | 34.71% | 32.42%

## Breakdown rate
Power station type | Assumed Breakdown rate
Nuclear | 6%
Hydro generation | 14%
Coal | 11%
Biomass | 11%
Pumped storage | 6%
OCGT | 12%
CCGT | 13%
updated:27/01/2020

## Load factors
Inflexible load factor assumptions at minimum demand
| Generator type | Load factor
| Nuclear | 0.94
| Inflexible Balancing Mechanism units (CHP) | 0.5
| Inflexible hydro | 0.5
| Flexible and inflexible wind | 0.33
| Moyle interconnector | 0.5
| East West interconnector | 0.5
| BritNed | 0.7
| Nemo | 0.7
| Interconnexion France-Angleterre | 0.7

## Glossary
Term | Description
Balancing Mechanism | Balancing Mechanism: is one of the tools used by National Grid ESO to balance electricity supply and demand close to real time. Where National Grid ESO predicts that there will be a discrepancy between the amount of electricity produced and that which will be in demand during a certain time period, they may accept a ‘bid’ or ‘offer’ to either increase or decrease generation (or consumption).
Britned | Britned: BritNed Development Limited is a joint venture between Dutch TenneT and British National Grid that operates the electricity link between Great Britain and the Netherlands. It is a bi-directional interconnector with a capacity of 1,000MW. You can find out more at www.britned.com
Constraints | Constraints: A constraint is where the capacity of the electricity network in a particular area is unable to manage the demand and supply of electricity in that area. This could be due to various factors such as a broken down network asset, or weather conditions leading to high supply of generation for example.
Distribution connected: | Distribution connected: Any generation that is connected directly to the local distribution network, as opposed to the transmission network. It includes combined heat and power schemes of any scale, wind generation and battery units. Generation that is connected to the distribution system is not usually directly visible to National Grid ESO as the system operator, and acts to reduce demand on the transmission system.
East West Interconnector (EWIC) | East West Interconnector (EWIC): A 500 MW interconnector that links the electricity transmission systems of Ireland and Great Britain. You can find out more at www.eirgridgroup.com/customer-and-industry/interconnection/
ElecLink interconnector | ElecLink: is a new HVDC 1000MW electricity interconnector which is being built to operate between France and Great Britain via the Channel Tunnel.
Flexible generation/flexible wind output | Flexible generation/flexible wind output: Types of generation that can respond quickly and easily to requests to change their output, such as interconnectors, some coal and gas units, pumped storage and most large wind farms.
Floating | Floating: When an interconnector is neither importing nor exporting electricity
Footroom | Footroom: Footroom is when a generator can reduce its output without going below minimum output levels.
Forward prices | Forward price: is the predetermined delivery price for an underlying commodity, such as electricity or gas, as decided by the buyer and the seller of the forward contract, to be paid at a predetermined date in the future.
High summer period | High summer period: The period between 1 June and 31 August, or weeks 23 to 35. It is when we expect the greatest number of planned generator outages.
Inertia | Inertia: System inertia is how resilient a system is to frequency change. System inertia will depend on what types of generation are connected to the system. Typically, generators with large moving parts have high inertia – because their moving parts continue to move even after they are switched off or turned down. In contrast, some types of generation that have no moving parts, such as solar panels, are classed as low inertia generation.
Inflexible generation | Inflexible generation: Types of generation that require long notice periods to change their output, do not participate in the Balancing Mechanism or may find it expensive to change their output due to commercial arrangements or technical reasons. Examples of inflexible generation include nuclear, combined heat and power (CHP) stations, and some hydro generators and wind farms.
Interconnectors (elec) | Interconnector (elec): Electricity interconnectors are transmission assets that connect the GB market to Continental Europe. They allow suppliers to trade electricity between these markets.
Interconnexion France–Angleterre (IFA) | Interconnexion France–Angleterre (IFA): The England–France Interconnector is a 2,000 MW link between the French and British transmission systems. Ownership is shared between National Grid and Réseau de Transport d'Electricité (RTE).
Load factors | Load factors: Load factors are an indication of how much a generation plant or technology type has output across the year, expressed as a percentage of maximum possible generation. These are calculated by dividing the total electricity output across the yearby the maximum possible generation form each plant or technology type.
Moyle | Moyle : A 500 MW bi-directional interconnector between Northern Ireland and Scotland. You can find out more at www.mutual-energy.com
National electricity transmission system (NETS) | National electricity transmission system (NETS): High voltage electricity is transported on the transmission system from where it is produced to where it is needed throughout the country. The system is made up of high voltage electricity wires that extend across Britain and nearby offshore waters. It is owned and maintained by regional transmission companies, while the system as a whole is operated by a single Electricity System Operator (ESO).
Negative reserve | Negative reserve: To manage system frequency and to respond to sudden changes in demand and supply, the Electricity System Operator maintains positive and negative reserve which is the capability to increase or decrease supply and demand.
Negative reserve active power margin (NRAPM) | Negative reserve active power margin (NRAPM): The insufficient NRAPM warning is a request to encourage more flexible parameters from generators, and inform participants of a risk of emergency instructions. A NRAPM may be issued if there is insufficient flexibility available to ensure that generation matches demand during periods of low demand. A localised NRAPM occurs where there is a danger that the combination of demand and inflexible generation within a constraint group can exceed the constraint limit of a portion of the network; in both cases there is a risk that the ESO may need to issue emergency instructions to inflexible and non-BM participating plant. Localised NRAPM are more common in the north of Scotland due to the large volume of wind and water generation and relatively low demand.
Nemo Link | Nemo Link: The Nemo Link is a 1,000 MW HVDC sub-sea link between GB and Belgium.
Normalised transmission demand | Normalised transmission demand: Normalised transmission demand is the demand seen on the transmission system, forecast using long term trends and calculated with the effects of the weather and the day of the week removed as appropriate. This takes into account the power used by generating stations when producing electricity (the ‘station load’) and interconnector exports.
Operational Code 2 data (OC2 data) | Operational Code 2 data (OC2 data): Information provided to National Grid ESO by generators. It includes their current generation availability and planned maintenance outages. You can access the latest OC2 data throughout the year on the BM Reports website at ww.bmreports.com
Operational surplus | Operational surplus: The difference between the level of demand (plus the reserve requirement) and generation expected to be available, modelled on a week-by-week basis. It includes both notified planned outages and assumed breakdown rates for each power station type.
Outage | Outage: The annual planned maintenance period, which requires a complete shutdown, during which essential maintenance is carried out.
Peak | Peak: The maximum requirement of a system at a given time, or the amount of energy required to supply customers at times when need is greatest. It can refer either to a given moment (e.g. a specific time of day) or to an average over a given period of time (e.g. a specific day or hour of the day).
Positive and negative reserve | Positive and negative reserve: To manage system frequency and to respond to sudden changes in demand and supply, the ESO maintains positive and negative reserve which is the capability to increase or decrease supply and demand.
Pumped storage | Pumped-storage: a system in which electricity is generated during periods of high demand by the use of water that has been pumped into a reservoir at a higher altitude during periods of low demand
Rate of Change of Frequency (RoCoF): | Rate of Change of Frequency (RoCoF): How quickly system frequency changes on the electricity network. Usually measured in Hertz per second. Some generators have a protection system that will disconnect it from the network if the Rate of Change of Frequency goes above a certain threshold.
Reactive power | Reactive power: Reactive power describes the movement of energy across a network and is measured in MVAr. Different types of network assets and generators can generate or absorb reactive power. The flows of reactive power on a system affect voltage levels.
Renewables | Renewables: Forms of electricity generation from renewable resources, which are naturally replenished, such as sunlight, wind.
Reserve requirement | Reserve requirement: To manage system frequency and to respond to sudden changes in demand and supply, the Electricity System Operator maintains positive and negative reserve which is the capability to increase or decrease supply and demand. Reserve can be thought of as the requirement for a total amount of head room (positive reserve) and foot room (negative reserve) provided across all generators synchronised to the system.
RoCoF limit | RoCoF limit: The maximum loss we can allow on the system. A loss of generation larger than this limit has a high risk of resulting in a RoCoF of 0.125Hz/s.
Shoulder months | Shoulder months: The start and end of a season. These months are not technically months where we would expect a lot of electricity demand from either heating or cooling requirements. However they could see demand for either heating or cooling or both in the same month.
Transmission system demand (TSD) | Transmission system demand (TSD): Electricity demand that National Grid ESO, as the Electricity System Operator, see at grid supply points, which are the connections to the distribution networks.
Vector shift | Vector shift: The sudden change in voltage phase angle in a part of the network. When this happens a generator’s protection settings may disconnect it from the network to protect the equipment.
Voltage | Voltage: Unlike system frequency, voltage varies across different locations on the network, depending on supply and demand for electricity, and the amount of reactive power in that area. Broadly, when electricity demand falls, reactive power increases and this increases the likelihood of a high voltage occurrence.
Weather corrected demand (electricity): | Weather corrected demand (electricity): The demand expected or out turned with the impact of the weather removed. A 30-year average of each relevant weather variable is constructed for each week of the year. This is then applied to linear regression models to calculate what the demand would have been with this standardised weather.
Western High Voltage (HVDC) link | Western High Voltage (HVDC) link: The Western Link uses DC technology to reinforce the existing UK transmission system and move electricity across the country in very large volumes between Hunterston in Scotland and Deeside in North Wales.

## Legal Notice
Pursuant to its electricity transmission licence, National Grid Electricity System Operator Limited is the system operator of the national electricity transmission system. For the purpose of this outlook document, the terms “we”, “our”, “us” etc. are used to refer to the licensed entity, National Grid Electricity System Operator Limited.
National Grid Electricity System Operator Limited has prepared this outlook document pursuant to its electricity transmission licence in good faith, and has endeavoured to prepare this outlook document in a manner which is, as far as reasonably possible, objective, using information collected and compiled from users of the electricity transmission system together with its own forecasts of the future development of those systems.
While National Grid Electricity System Operator Limited has not sought to mislead any person as to the contents of this outlook document and whilst such content represent its best view as at the time of publication, readers of this document should not place any reliance on the contents of this outlook document.
The contents of this outlook document must be considered as illustrative only and no warranty can be or is made as to the accuracy and completeness of such contents, nor shall anything within this outlook document constitute an offer capable of acceptance or form the basis of any contract. Other than in the event of fraudulent misstatement or fraudulent misrepresentation, National Grid Electricity System Operator Limited does not accept any responsibility for any use which is made of the information contained within this outlook document.