## Table
Key points - categories
# | Organisation | Name | Q1 | Q2 |  | Where or how will this be addressed? | Concerns over prioritisation of different types of embedded generation for disconnection | Environmental, safety and grid stability concerns | Lack of compensation/ direct financial impact / damage to plant | Concern over rushed solution for GC0143 | Concerns over implementation | Views relating to enduring solution | Concerns over use only as a last resort | Communications/ reporting of events | Other | Respondent has alternative proposal / suggestions | Contacted directly? | Notes
1 | Biffa Waste Services Ltd | Rob Jones, Group Environment Manager. | No | No | Concerned about impact on smaller generators; time required to reconnect supply, cost impact and no compensation. | System Operators to give further detail on how instructions will be implemented | ü |  | ü
[5 empty] | Concerned about significant and dangerous impact on environment and the public, particularly for the majority of smaller sites that have no backup generation. | Consideration for enduring solution |  | ü
[5 empty] | Suggests ESO should request the smaller generators to disconnect themselves in these circumstances, to mitigate environmental risk. | ESO doesn't consider this approach to be compatible with emergency circumstances. | ü |  | ü | [6 empty] | ü
2 | CLP Envirogas Ltd | John Hewson MD CLP | - | No | Concerned by blanket approach and potential impact of disconnecting essential Environmental Services. | System Operators to give further detail on how instructions will be implemented | ü | ü | ü |  | ü
3 | Dŵr Cymru Cyfyngedig | Andrew Dixon | - | No | Disconnecting certain types of embedded generation could ultimately lead to interruptions in public water supply, create environmental compliance risks and cause pollution. | Consideration for enduring solution | ü | ü | ü
4 | Enviropower Ltd | Marc Linberry (Operations Director) | - | No | Against the proposal due to cost impact of disconnection, with no backup generation in place and likely need for maintenance interventions, and possible subsequent shutdowns. | System Operators to give further detail on how instructions will be implemented | ü |  | ü
[5 empty] | Concerned about impact on public health as disconnection would lead to increased emissions, and impact council waste disposal. | System Operators to give further detail on how instructions will be implemented |  | ü | ü
5 | Electricity North West Limited | Peter Twomey | Yes | Yes | No comments | n/a
6 | Environmental Services Association | Eléonore Soubeyran | No | No | Believes those providing the greatest level of security supply should be the last to be disconnected. | System Operators to give further detail on how instructions will be implemented | ü | ü | ü |  | ü | ü |  |  |  | ü
[5 empty] | Concerned by several environmental / public health impacts | System Operators to give further detail on how instructions will be implemented |  | ü | ü
[5 empty] | Concerned by economic risks for the waste and resources industry, including the likely need for additional maintenance and possibility of further unplanned shutdowns | System Operators to give further detail on how instructions will be implemented |  |  | ü |  | ü
7 | FCC Environment | Steve Brown, Juergen Schaper and Mark Keast | - | - | Believes disconnecting EFW plant causes a risk to public health, and reduces stability on the grid compared with disconnecting pure renewable generators | System Operators to give further detail on how instructions will be implemented | ü | ü | ü | [7 empty] | Yes - consultation response discussed with Rob Wilson, Technical Codes Change Manager, NGESO
[5 empty] | Suggests that prior to any disconnection, plant should be asked to reduce load through bypassing steam to a level typically that they are able to sustain. | ESO doesn't consider this approach to be compatible with emergency circumstances. |  |  | ü | [6 empty] | ü
[5 empty] | Concerned by likely need for additional maintenance and possibility of further unplanned shutdowns | Consideration for enduring solution |  | ü | ü
[5 empty] | Believes those providing the greatest level of security supply should be the last to be disconnected. | System Operators to give further detail on how instructions will be implemented |  |  | ü |  | ü | ü
8 | Gazprom Marketing & Trading Ltd | Giulia Barranu | No | No | Believes the solution discriminates against embedded generators that do not participate in the Balancing Mechanism and is not transparent | Consideration for enduring solution | ü |  | ü |  | ü
[5 empty] | Concerned at cost impact of embedded generation being disconnected without compensation | Consideration for enduring solution |  |  | ü
[5 empty] | Concerned that ESO could prioritise disconnection of embedded generation ahead of more expensive options | System Operators to give further detail on how instructions will be implemented |  |  | ü |  | ü |  | ü
[5 empty] | Concerned that emergency disconnection will cause plant damage and environmental harm | Consideration for enduring solution |  | ü | ü
9 | Ixora Energy | Jamie Charlton | - | - | Believes fossil fuel generators should be disconnected ahead of renewable generators as impact is greater on renewable generators. | System Operators to give further detail on how instructions will be implemented |  |  | ü |  | ü
[5 empty] | Concerned by time taken to restart generator and impact of having to flare excess gas | Consideration for enduring solution |  | ü | ü
10 | Northern Powergrid | Alan Creighton | Yes | Yes | They will work with NGESO to develop detailed implementation arrangements | Working with NGESO |  |  | ü | [7 empty] | Yes - consultation response discussed with Rob Wilson, Technical Codes Change Manager, NGESO
[5 empty] | Believes enduring solution should address other stakeholders concerns | Consideration for enduring solution | [5 empty] | ü
11 | P2 Analysis Ltd | Mike Kay | Yes | Yes | Supports proposal and rationale | n/a |  |  | ü
12 | Community Owned Asset Management Ltd | Ania Vercellotti | - | - | Concerned this will lead to disconnection of most cost effective and lowest carbon generation technologies, particularly solar PV when they are at peak output. | System Operators to give further detail on how instructions will be implemented | ü |  | ü |  | ü | [5 empty] | Yes - consultation response discussed with Rob Wilson, Technical Codes Change Manager, NGESO
[5 empty] | Concerned this will set a precedent for embedded generation. | Sunset clause ensures this. |  | ü | ü |  | ü
[5 empty] | Concerned by cost impact of disconnection, lack of compensation, and of having to reconnect, and that this disproportionately impacts smaller generators | Consideration for enduring solution |  |  | ü
[5 empty] | Would like ESO to show how this will only be used as a last resort | System Operators to give further detail on how instructions will be implemented |  |  | ü |  | ü |  | ü
[5 empty] | Believe enduring solution should consider compensation for impacted generators, and clearly outline under what parameters disconnection would be required | Consideration for enduring solution | [5 empty] | ü
[5 empty] | Would like to know when implementation and impact of GC0143 will be reviewed prior to the October sunset date | Consideration for enduring solution |  |  | ü
13 | Templeborough Biomass | Hugh Unwin | - | - | Environmental impacts: steam turbine bypass could negatively impact local residents and businesses; use of fossil fuels required to restart | Consideration for enduring solution |  | ü | ü
[5 empty] | Potential reduced life of components / increased maintenance cost for turning the plant on/off or up/down too frequently | Proposal ensures that emergency disconnection would only be used as a last resort, so is unlikely to occur frequently. |  |  | ü
[5 empty] | They provide inertia, so believe they should be more beneficial to the grid that other types of renewable generation | System Operators to give further detail on how instructions will be implemented | ü |  | ü
14 | Energy Power Resources Limited (ERPL) | Eddie Wilkinson | - | No | Concerned about knock-on impacts of disconnection: backlogs in food supply chain; increased emissions; increased risk to staff; public health risk from stockpiling of biomass fuels; impact on grid stability | Consideration for enduring solution | ü | ü | ü
[5 empty] | Concerned about risk of damage to plant and equipment, time taken to restore, and cost impact due to lack of compensation | Consideration for enduring solution |  |  | ü
[5 empty] | Against the 'one size fits all' approach; believe more specific consideration of impacts needed | System Operators to give further detail on how instructions will be implemented | ü |  |  |  | ü
15 | Power Balancing Services | Graham White | No | No | Concerned by lack of compensation | Consideration for enduring solution |  |  | ü | [7 empty] | Yes - consultation response discussed with Rob Wilson, Technical Codes Change Manager, NGESO | This response raised a number of issues including some that were broader than the scope of this mod, so not all have been included in this table.
[5 empty] | Unhappy with the last minute nature of the proposal and the communication on this change and the Optional Downward Flexibility Management (ODFM) service | ? |  |  | ü | ü
[5 empty] | Unhappy with the lack of clarity / transparency on how this mechanism would be applied by NGESO and DNOs. | System Operators to give further detail on how instructions will be implemented |  |  |  |  | ü
[5 empty] | Believes the mod is is discriminatory in how it treats different classes of user including interconnectors, disagrees with embedded generation being disconnected rather than nuclear | Consideration for enduring solution | ü |  | ü |  |  |  | ü
[5 empty] | Concerned that there's an apparent commercial incentive for NGESO to disconnect embedded generation ahead of taking other balancing actions. | Consideration for enduring solution |  |  | ü |  | ü |  | ü |  | ü
[5 empty] | Concerned that suppliers will be left out of balance | Consideration for enduring solution |  |  | ü
[5 empty] | Concerned by safety issues resulting from disconnection | Consideration for enduring solution |  | ü | ü
[5 empty] | Believes GC0109 and GC0133 should now be implemented urgently | System warnings could be included in enduring solution |  |  | ü | [5 empty] | ü
16 | Vattenfall | Alwyn Poulter | - | - | Supports principle but believes embedded generators that are disconnected should be compensated, to create a level playing field | Consideration for enduring solution |  |  | ü
[5 empty] | Believes embedded generators should be given sufficient notice prior to disconnection | ESO doesn't consider this approach to be compatible with emergency circumstances. |  |  | ü |  | ü
17 | RWE Generation, RWE Renewables, Innogy Renewables | Tim Ellingham | - | - | Concerned at potential impact on competition if embedded generation is disconnected, and power stations having to restart, but recognise it is intended as last resort action only | Consideration for enduring solution |  |  | ü
[5 empty] | Concerned that isolation of embedded power stations from the relevant system will impact system security, and that consideration is given to the inertia provided by different types of generation | System Operators to give further detail on how instructions will be implemented |  | ü | ü
[5 empty] | Would like reassurance that network operators will seek to remove generation in a controlled manner in preference to a sudden ‘trip’ like actions | System Operators to give further detail on how instructions will be implemented |  |  | ü |  | ü
[5 empty] | Would like assurance that emergency disconnection of embedded generation is used as a last resort only | Commitments to this have been made. |  |  | ü |  | ü |  | ü
[5 empty] | Concerned about impact on embedded sites if disconnected: need for contractors to attend; risk of additional faults | Consideration for enduring solution |  | ü | ü
[5 empty] | Modification should set out how the system restoration process will work | Consideration for enduring solution |  |  | ü | [5 empty] | ü
[5 empty] | Concerned that NGESO has not fully engaged with the market regarding possible commercial curtailment operations | ODFM service established to give a commercial route |  |  | ü |  |  |  | ü |  |  | ü
[5 empty] | Would like more clarity over prioritisation of disconnection of different sites | System Operators to give further detail on how instructions will be implemented | ü |  | ü
18 | Sembcorp | Grace March | - | Yes | Believe the proposed solution is not fully thought through and is unsuitable as an on-going solution. Work should begin on enduring solution asap. | Consideration for enduring solution |  |  |  | ü |  | ü
[5 empty] | Risk of disconnecting generators that are providing other balancing / stability services, therefore reducing grid stability | Consideration for enduring solution | ü | ü | ü
[5 empty] | Concerned that Network Operators making the decision how to reduce Embedded Generation do not have enough information to create the desired change in demand. | Consideration for enduring solution |  |  |  |  | ü | ü
[5 empty] | Lack of clarity over different parties' responsibilities | Consideration for enduring solution |  |  |  |  | ü | ü |  |  | ü
[5 empty] | Concern that generators won't know if disconnection is a trip or purposeful action, and try to restore the connection. | System Operators to give further detail on how instructions will be implemented |  |  |  |  | ü | ü
[5 empty] | Request for a report describing what actions are taken before reaching this “last resort” | System Operators to give further detail on how instructions will be implemented | [6 empty] | ü | ü
[5 empty] | Financial and legal risk for embedded generators | Consideration for enduring solution |  |  | ü
[5 empty] | Request for network operators to provide detailed methodology | System Operators to give further detail on how instructions will be implemented |  |  | ü | [5 empty] | ü
19 | ScottishPower Renewables (UK) Limited (SPR) | Dr. Isaac Gutierrez | - | Yes | Believe NGESO should have anticipated this scenario earlier and a more detailed consultation should have taken place. | Consideration for enduring solution |  |  | ü | ü
[5 empty] | Recommend alignment of the implementation of GC0143 with NGESO’s ODFM programme | ESO will continue to engage with industry regarding ODFM |  |  | ü | [5 empty] | ü
[5 empty] | Concern at lack of guidance or transparency on the criteria for disconnecting embedded generation - request for clarity to be provided on this and other aspects of implementation (see answer to Q3) | System Operators to give further detail on how instructions will be implemented | ü |  |  |  | ü
[5 empty] | Believe emergency disconnection should be issued only after commercial avenues have been exhausted and that the legal drafting should explicitly cover this. | Consideration for enduring solution |  |  | ü |  |  |  | ü |  | ü
[5 empty] | Asks if NGESO will be issuing an updated System Defence Plan to take account of these changes | Consideration for enduring solution | [5 empty] | ü |  |  | ü
[5 empty] | Unclear why reference to BC1.7 is included | As this references other emergency instruction arrangements | [8 empty] | ü
[5 empty] | Requests weekly report on Emergency Instructions taken, including rationale | They will be a last resort and use will be very infrequent if at all. | [5 empty] | ü |  | ü
20 | Triton | Mick Farr | - | - | Believe the mod is rushed and that an enduring solution should be pursued asap | Consideration for enduring solution |  |  |  | ü
[5 empty] | Suggest alternative option for the ESO to ask that BEIS use the Fuel Security Code either to take off/down a nuclear plant, wind or some solar for a period, with appropriate compensation. | ESO doesn't consider this approach to be compatible with emergency circumstances. |  |  | ü |  |  | ü |  |  |  | ü
[5 empty] | Would like more clarity of communication with the market over these and other emergency actions | System Operators to give further detail on how instructions will be implemented |  |  | ü |  |  |  |  | ü
[5 empty] | Would like to see alternative options considered | Consideration for enduring solution | [5 empty] | ü
[5 empty] | Concern at parties being disconnected without compensation. | Consideration for enduring solution |  |  | ü
[5 empty] | Believe implementation approach is unclear and request more detail | System Operators to give further detail on how instructions will be implemented |  |  |  |  | ü
[5 empty] | Concerned at DNOs ability to instruct plant off under untried powers, and risk to system stability | Consideration for enduring solution |  | ü |  |  | ü
21 | Viridor | Mark Knights | - | - | Delay implementation to 31 May 2020 - would allow for Optional Downward Flexibility Management (ODFM) service to be more fully developed | ESO doesn't consider this approach to be compatible with emergency circumstances. |  |  |  | ü |  |  | ü |  |  |  | Yes - consultation response discussed with Rob Wilson, Technical Codes Change Manager, NGESO
[5 empty] | Believe emergency disconnection should be issued only after commercial avenues have been exhausted | Consideration for enduring solution |  |  | ü |  | ü |  | ü
[5 empty] | Urged the need for DNOs to communicate what they will be doing as a result of GC0143 Implementation - e.g. highlight areas that are more sensitive to an over-supply | Consideration for enduring solution |  |  | ü |  | ü
22 | Citizens Advice | James Kerr | Yes | Yes | Support in principle the time bound solution | Consideration for enduring solution | [5 empty] | ü
[5 empty] | Concern that some parties will be compensated but others won't | Consideration for enduring solution |  |  | ü
[5 empty] | Unclear how DNOs will comply with this Emergency Instruction - process needs to be defined | Consideration for enduring solution |  |  | ü |  | ü
[5 empty] | Consumer benefit of doing this not clear | Avoids disruption to security of supply | [8 empty] | ü
[5 empty] | Should have been raised sooner | ESO doesn't consider this approach to be compatible with emergency circumstances. |  |  |  | ü
[5 empty] | Clarification required if temporary solution is up to the end of 24 October 2020 or on 25 October 2020 | To the end of 24 Oct. Unlikely to matter. | [8 empty] | ü
[5 empty] | Enduring solution needs to be fair for all parties (both transmission and distribution connected) | Consideration for enduring solution | [5 empty] | ü
23 | Elexon | Jeremy Caplin | - | Yes | Support implementation approach and believe this better facilitates security of supply | Consideration for enduring solution | [5 empty] | ü
[5 empty] | Concern that some generators will be disproportionately finanically impacted by actions taken at instruction of NGESO - Embedded Generators that are not BM participants will not receive compensation for any emergency action instructed by ESO but these generators (or their Balancing Responsible Parties), will also be liable under BSC for imbalance charges arising from the change in their output | Consideration for enduring solution |  |  | ü
[5 empty] | Lack of transparency of actions instructed by NGESO will affect National Demand and hence electricity prices - request that information about instructions to disconnect embedded generation should be publically available on BMRS. | System Operators to give further detail on how instructions will be implemented |  |  |  |  | ü |  |  | ü
[5 empty] | Actions instructed at a single Grid Supply Point could be open to interpretation as "relieving a physical congestion" as defined under Article 13(1) of the EU Transparency Regulation | Consideration for enduring solution |  |  |  |  | ü | ü
[5 empty] | BSC Implications need to be taken into account for any enduring solution | Consideration for enduring solution | [5 empty] | ü
24 | Flexibility First Forum | Not listed | - | - | Urged the need for sustainable enduring solution | Consideration for enduring solution | [5 empty] | ü
[5 empty] | Concern that embedded generators that are not BM participants will not be compensated | Consideration for enduring solution |  |  | ü
[5 empty] | Need clarity on the manner and the parameters under which this "last resort" mechanism is used | System Operators to give further detail on how instructions will be implemented |  |  |  |  | ü |  | ü
[5 empty] | Need for a functioning flexibility market beyond the existing BM - wider BM participation needed and a market framework that enables network companies the ability to procure demand response flexibility over different timeframes and from a collection of different decentralised users. | Consideration for enduring solution | [5 empty] | ü |  |  |  | ü
25 | Bristol Energy Ltd | Chris Welby | No | No | Concern that embedded generators that are not BM participants will not be compensated | Consideration for enduring solution |  |  | ü
[5 empty] | What is the process/criteria for deciding which generator to disconnect? | System Operators to give further detail on how instructions will be implemented | ü |  | ü
[5 empty] | Sunset clause should be absolute and any alternative or extension should require a new proposal | It is and it will |  |  |  |  | ü
26 | Centrica | Jack Presley Abbott | No | No | Concern that embedded generators that are not BM participants will not be compensated - calls out the need for an interim compensation methodology to be developed for such generators | Consideration for enduring solution |  |  | ü
[5 empty] | Unless and until the aforementioned compensation mechanism is incorporated, the Sunset clause should be absolute and in place until end of May at latest. | ESO doesn't consider this approach to be compatible with emergency circumstances. |  |  | ü
[5 empty] | Concern with speed that this modification is being introduced | Consideration for enduring solution |  |  |  | ü
[5 empty] | Need clarity from ESO and DNOs regarding decision process for curtailing embedded generators | Consideration for enduring solution | ü |  | ü
[5 empty] | Seek assurance from DNOs that essential infrastructure sites are not affected | Consideration for enduring solution | ü | ü
[5 empty] | Curtailing electrical output of embedded generators could result in loss of infrastructure resilience in either an electrical or thermal capacity | Consideration for enduring solution |  | ü
[5 empty] | Increased maintenance cost where shutdowns not appropriately managed | Consideration for enduring solution |  |  | ü
27 | E.on | Lee Stone | No | No | Concern that embedded generators that are not BM participants will not be compensated - creates a significant distortion between generators who do participate in BM and those who don't | Consideration for enduring solution |  |  | ü
[5 empty] | Shared a number of broader concerns that are out of scope for this Modification - e.g. loss of revenue for accredited renewable generating stations, renewable generators may breach carbon emissions permits if DNO disconnect them | Consideration for enduring solution | [5 empty] | ü
[5 empty] | Impact on individual suppliers imbalance positions if embedded generators instructed to disconnect as a last resort - possible BSC change? | Consideration for enduring solution | [5 empty] | ü | ü
[5 empty] | Need clarity from ESO and DNOs regarding decision process for curtailing embedded generators and how they would be notified | Consideration for enduring solution |  |  |  |  | ü
[5 empty] | Clarity needed on what type of arrangements constitute a commericial relationship with NGESO | System Operators to give further detail on how instructions will be implemented |  |  | ü |  | ü
[5 empty] | Would support a modification in the longer term that considers compensating embedded generators for the loss of applicable revenues regardless of whether they are in BM or not | Consideration for enduring solution |  |  | ü
28 | Environment Agency | John Henderson | No | - | Asked that any suppliers with an EPR permit should not be asked to disconnect their generation without the operators consent and remain compliany with their Enviromental Permit requirements | Consideration for enduring solution | ü | ü
[5 empty] | Concerned at public health / environmental impact of disconnecting waste facilities, particularly during coronavirus | Consideration for enduring solution |  | ü
29 | Environmental Services Association | Eléonore Soubeyran | No | No | Believe disconnection should consider all forms of generation at all levels and based upon their security of supply position rather than the level of connection | This isn't the case - the modification is for a last resort action only | [6 empty] | ü |  | ü |  | Yes - consultation response discussed with Rob Wilson, Technical Codes Change Manager, NGESO
[5 empty] | Questions the idea of disconnecting renewable generation to support fossil fuel baseload | This isn't the case - the modification is for a last resort action only | [6 empty] | ü |  | ü
[5 empty] | Concerned at various public health / environmental impact of disconnecting waste facilities, particularly during coronavirus | Consideration for enduring solution |  | ü
[5 empty] | Concerned by economic risks for the waste and resources industry with no compensation given, unlike larger plants who receive curtailment payments | Consideration for enduring solution |  |  | ü
[5 empty] | Concerned that disconnection will cause a site blackout which will take time to restore, require maintenance and risk of subsequent unplanned shutdowns | Consideration for enduring solution |  |  | ü
[5 empty] | Risk of disconnecting generators that are providing other balancing / stability services, therefore reducing grid stability | Consideration for enduring solution |  | ü
[5 empty] | Request clarity on rushed GC0143 process / insufficient scrutiny or time for those impacted to respond | ? |  |  |  | ü
30 | Scottish Renewables | Cara Dalziel | - | - | Request that NGESO is fully transparent about the process in which these powers are used as a last resort. | System Operators to give further detail on how instructions will be implemented | ü | [5 empty] | ü | ü
[5 empty] | Concerned at impact on embedded generators with no compensation to be given | Consideration for enduring solution |  |  | ü
[5 empty] | Support an enduring solution being developed, which considers compensation, and they are keen to engage in this process | Consideration for enduring solution | [5 empty] | ü
31 | Banks Renewables | Dan Thomas | - | - | Concerned at negative impact on competition, as Balancing Market participants would get paid for their response, but embedded generation would not. | Consideration for enduring solution | ü |  | ü
[5 empty] | Should only be used as last resort, and only be available for a limited time. | Already covered in solution |  |  |  |  | ü |  | ü
[5 empty] | What requirements will there be to ensure generators are promptly reconnected? | ? |  |  |  |  | ü
[5 empty] | Have the implications on generator’s offtake arrangements been considered? Will they be ‘kept whole’ in the settlement system? | ? |  |  | ü | [5 empty] | ü
32 | EDF | Andy Vaudin | Yes | Yes | Supportive of solution and implementation approach | n/a | [5 empty] | ü
33 | FFR | Mark Draper | No | No | Additional discrimination for embedded generators | Consideration for enduring solution |  |  | ü
[5 empty] | Interim solution should only be in place for 1 month maximum | Enduring solution cannot be developed in one month |  |  |  | ü
[5 empty] | Concerned at impact on embedded generators with no compensation to be given | Consideration for enduring solution |  |  | ü
[5 empty] | Noted that DNOs do not know who is a BM participant. Need clarity from ESO and DNOs regarding decision process for curtailing embedded generators, how they would be notified, how do they physically disconnect the site | System Operators to give further detail on how instructions will be implemented |  |  |  |  | ü
[5 empty] | Questioned why ESO have not instead procured commercial services with embedded generators | This is the purpose of ODFM |  |  | ü
[5 empty] | Proposed generators, DNOs or Suppliers to be offered a fixed price to take sites offline for a defined period pending further development of a market-based pricing mechanism | Consideration for enduring solution | [9 empty] | ü
[5 empty] | Raised concerns over transparency and communication of actions taken - suggested BRMS would be a viable tool | Consideration for enduring solution | [7 empty] | ü
[5 empty] | Concerned at public health / environmental impact of disconnecting waste facilities | Consideration for enduring solution |  | ü | ü
[5 empty] | Suppliers will be left out of balance | Would require BSC change |  |  | ü
34 | Northumbrian Water Limited | Anthony Browne | No | No | Shutdown of embedded renewable generators could have significant negative consequences for water companies from an environmental and compliance perspective and there would be risk to public water supplies | Consideration for enduring solution |  | ü
[5 empty] | Water utility companies (and other essential utilities) to be given some form of priority within any last resort measures | System Operators to give further detail on how instructions will be implemented | ü | ü
35 | Uniper | Paul Jones | Yes | Yes | Prudent to put in place for a limited period and notes this will only be used as a last resort | Supportive | [6 empty] | ü
[5 empty] | Information needs to be made available to market to demonstrate that this mechanism was used an absolute last resort | System Operators to give further detail on how instructions will be implemented | [6 empty] | ü | ü
36 | SSE | Garth Graham | - | Yes | This urgent modification (along with ODFM) should not set a precedent for an enduring long-term solution – and the Open Networks is the right forum for the discussions of that longer-term solution; | Consideration for enduring solution |  |  |  | ü |  | ü
[5 empty] | The process to be adopted by the ESO when instructing DNOs needs to be transparent and understood by all parties, including generators, who will be impacted commercially and operationally; | System Operators to give further detail on how instructions will be implemented |  |  |  |  | ü | ü
[5 empty] | Believe the ESO could have given parties more time to consider the proposals considering it’s been thinking about them since mid-March and that would have been better due process; | Consideration for enduring solution |  |  |  | ü
[5 empty] | Believe GC0143 mechanism should only be used as a last resort and this should be included in the legal text. | Consideration for enduring solution | [6 empty] | ü
[5 empty] | Urge Ofgem to rapidly consider our GC0133 proposal, as it ensures stakeholders are aware of the system state in real time | Comment for Ofgem to address | [7 empty] | ü
[5 empty] | Believes it's not clear that GC0143 is in compliance with the Network Code for Emergency & Restoration, including in respect of GC0127 together with the proposals with Ofgem for the System Defence Plan and the terms and conditions for defence service providers. | Don't believe this to be the case but can be considered in the enduring solution | [5 empty] | ü
[5 empty] | Concerned at lack of any meaningful transparency when any BC2.9.3.3 (f) Emergency Instructions are actually issued | System Operators to give further detail on how instructions will be implemented | [7 empty] | ü
37 | Suez | Gary Mayson | No | - | Believes that landfill gas generators must not be disconnected due to potential impacts on safety, the environment and local communities | Consideration for enduring solution | ü | ü
[5 empty] | Concerned by commercial impact and lack of compensation | Consideration for enduring solution |  |  | ü
[5 empty] | Keen for NGESO to proceed with Optional Downward Flexibility Service’ with a clearer view on possible Strike Prices to be made available asap | Consideration for ODFS development |  |  | ü
38 | Wessex Water | Wayne Boakes | - | - | Concerned at the environmental impact of disconnecting embedded Combined Heat and Power plants | Consideration for enduring solution |  | ü
39 | Western Power Distribution | Nigel Turvey | Yes | - | Text should be amended to require delivery by DNOs on a ‘best endeavours’ basis. | Consideration for enduring solution | [5 empty] | ü
[5 empty] | Concern over reconnection process, noting that most sites are unmanned and may not have 24/7 response from owner/operator. | Consideration for enduring solution |  |  | ü |  | ü
[5 empty] | Implementation would be enhanced by information exchange between NGESO and DNOs, to allow them to exclude certain generators from their disconnection schemes. | Consideration for enduring solution | ü |  |  |  | ü
[5 empty] | Supports compensation for any generator disconnected | Consideration for enduring solution |  |  | ü
40 | Ventient | Alan Currie | - | No | Believe emergency instructions should only be used as a last resort | Already covered in solution | [6 empty] | ü
[5 empty] | Request that NGESO consider that many generation sites may not react as expected after an emergency disconnect, sites may not automatically come back online impacting security of supply after a low demand event. | Consideration for enduring solution | [5 empty] | ü
[5 empty] | Timeframe has been too short. | Consideration for enduring solution |  |  | ü | ü
[5 empty] | Recommends compensation for any embedded generator disconnected | Consideration for enduring solution |  |  | ü
41 | Zenobe | Catalina Guillen Rozo | - | - | Request clarity on how embedded generation will be rewarded if curtailed and believe the benchmark should be the cost of taking the same action in the BM. | System Operators to give further detail on how instructions will be implemented |  |  | ü
[5 empty] | Disconnection of embedded generation should only be done as a last resort | Already covered in solution | [6 empty] | ü
42 | Statkraft | Knut Dyrstad | No | - | Believe NGESO / DNOs should inform the market in a timely and precise manner about actions to be taken, with link to GC0133 | System warnings could be included in enduring solution | [7 empty] | ü
[5 empty] | Believes there should be an enduring solution that appropriately compensates and incentivises units contributing to maintaining safe operations of the system | Consideration for enduring solution |  |  | ü |  |  | ü
[5 empty] | Recommends a full review of mechanisms, Codes and processes to ensure symmetrical treatment of high and low demand scenarios. | Consideration for enduring solution | [5 empty] | ü |  |  | ü
43 | VEOLIA | Martin Curtois | No | - | Concerned at commercial impact on embedded generators due to lack of compensation | Consideration for enduring solution |  |  | ü
[5 empty] | Believes that NGESO lacks the information needed for them to make an informed decision about the costs and benefits of disconnecting some embedded generators and that this will put wider system security at risk | System Operators to give further detail on how instructions will be implemented |  | ü | ü |  | ü
[5 empty] | Concerned by environmental, health and safety, and commercial impacts from disconnection of certain types of embedded generation such as landfill, biomass, sewage gas generation | System Operators to give further detail on how instructions will be implemented |  | ü
[5 empty] | Concerned that renewable generation could be disconnected whilst fossil fuel plants remain on. | Consideration for enduring solution | ü | ü
[5 empty] | Concerned at impact on local network management if embedded generation that provides inertia / voltage control is disconnected. | System Operators to give further detail on how instructions will be implemented | ü | ü
[5 empty] | Proposes that there should be a list of “priority generators” i.e. those whose sites have an environmental permit who would not be subject to disconnection, with the option for embedded generators to apply to be on this list. | Consideration for enduring solution | ü | ü | [7 empty] | ü
[5 empty] | Concerned at how the modification has been rushed through, and could have been raised earlier, and believes it should be the subject of a Judicial Review. | This would not address the urgent need for a resolution |  |  |  | ü
[5 empty] | Various concerns about potential damage to plant including: lack of availability of appropriate engineers during COVID-19 restrictions, likely need for additional maintenance, possibility of further unplanned shutdowns | Consideration for enduring solution |  |  | ü
44 | Twinwoods | Kim Hall | - | No | No comments provided | N/A | [8 empty] | ü
45 | Thames Water | Matthew Gee | No | - | Concerned that the emergency proposal does not clarifiy prioritisation of different generators and also does not explain how the instruction will be delivered so it is unable to prepare sufficiently. | Consideration for enduring solution | ü |  |  |  | ü | [5 empty] | Yes - consultation response discussed with Rob Wilson, Technical Codes Change Manager, NGESO
[5 empty] | Recommends that enduring solution considers that DSOs are obliged by the code to disconnect those generating stations with the least operational impact first, these being Solar and Wind, before other forms of generation are disconnected. | Consideration for enduring solution | ü
[5 empty] | It recommends that a notice period should be required before disconnection, and a duration of disconnection also communicated. | Incompatible with emergency situation |  |  |  |  | ü
[5 empty] | Concerned CHP plants cannot be disconnected due to wider implications on the network | Consideration for enduring solution | ü
[5 empty] | Concerned that there is no consideration in the code modification on the safety consequences of remote disconnection | Consideration for enduring solution |  | ü
46 | SSEN | John Smart | Yes | Yes | Recommends that CHP plants which have a dual-function – to generate both a supply of electricity and heat – particularly CHPs which are disposing of biogas, should be able to decline a request to disconnect. | Consideration for enduring solution | ü | ü
[5 empty] | In agreement with the proposal and looks foward to hearing more on the enduring solution when the time comes | Consideration for enduring solution | [8 empty] | ü
47 | SPEN | Graeme Vincent | Yes | Yes | Concerns over format of instructions, timescales for their implementation | Consideration for enduring solution |  |  |  |  | ü
[5 empty] | Concerned by determination of those embedded generators which will be subject to the emergency instruction. | System Operators to give further detail on how instructions will be implemented | ü | [8 empty] | ü
[5 empty] | Recommends a communication exercise with impacted stakeholders post event to be managed by Network Operators and would expect to be supported in this by NGESO. | Consideration for enduring solution | [5 empty] | ü |  | ü
48 | Southern Water | Kirsten Abbot | Yes | Yes | As a public utility they are concerned with the ability to maintain processes on its sites and would require notice on any disconnection. | System Operators to give further detail on how instructions will be implemented | ü | ü
[5 empty] | DNOs should proactively engage with companies with generation in areas of particular concern prior to this weekend. Companies such as Southern Water may be able and willing to turn off generation if risks and mitigation are fully understood | Consideration for enduring solution |  |  |  |  | ü
49 | Riverside Resource Recovery | Ben Butler, Group CFO | No | No | Concerned that the proposed implementation approach poses significant risks for this business and waste & resources industry more generally | Consideration for enduring solution |  | ü | ü
[5 empty] | Concerned that this also poses significant public health and environmental risks. | ESO doesn't consider this approach to be compatible with emergency circumstances. |  | ü
[5 empty] | Concerned that there is a commercial risk as it implies that an embedded generator that is switched off through this mechanism will not be compensated. | Consideration for enduring solution |  |  | ü
[5 empty] | Concerned there could be unfairness and distortion between larger and smaller embedded generators, as it is their view that it's likely DNOs will target larger generators, in order reduce the burden of communication. | System Operators to give further detail on how instructions will be implemented | ü |  | ü
50 | Solar Trade | Cam Witten, Policy Manager | No | Yes | Concerned with site blackout and other serious implications on site with an unplanned disconnection. | System Operators to give further detail on how instructions will be implemented | ü |  | ü
[5 empty] | Concerned that this approach could lead to the disconnection of the most cost effective and lowest carbon generation technologies, particularly solar PV, at a time when they are at peak output. | Consideration for enduring solution | ü |  | ü
[5 empty] | Concerned with the idea that this mod presents the risk that it covers the months when solar PV output is highest and therefore most at risk of being curtailed without compensation | The likelihood of an EI is only when demand is very low | ü |  | ü
[5 empty] | Concerned that additional clarity from the ESO is required to show that this last resort approach will not set a precedent for embedded generation | Consideration for enduring solution | [5 empty] | ü | ü
51 | ICON (Industrial & Commercial Operations Network) | Georgina Penfold | Yes | Yes | Concerned that legal text of this modification provides no safeguard to prevent the ESO from relying upon emergency disconnection of embedded generation as an alternative to reaching a commercial arrangement with generators | Consideration for enduring solution |  |  | ü |  |  |  | ü
[5 empty] | Concerned that switching off generators that serve demand users could cause critical damage to public or industrial infrastructure. | Consideration for enduring solution |  |  | ü
[5 empty] | Concerned by the order in which generators are told to switch off. | System Operators to give further detail on how instructions will be implemented | ü |  |  |  | ü
[5 empty] | Concerned that public utilites, hospitals etc should be protected | System Operators to give further detail on how instructions will be implemented | ü | ü
52 | Renewable UK | Barnaby Wharton | - | Yes | Concerned why the sunset clause ends in October and suggests it should have been aligned with ODFM August date. | Is is unlikely that an enduring solution can be delivered before then | [5 empty] | ü
[5 empty] | Concerned that the instruction poses a very high risk for generators and should only be considered in extreme situations | Consideration for enduring solution | [6 empty] | ü
[5 empty] | Concerned that the solution should consider some kind of post event compensation (for power price, ROC or SSFiT) to ensure a level playing field with BMUs. | Consideration for enduring solution |  |  | ü
[5 empty] | Noted for enduring solution wording in BC2.9.3.3 could be that “In any such case the Network Operator will be required to give reasonable notice to the operators of Embedded Power Stations which are to be disconnected to enable a controlled shutdown of the Embedded Power Station”. | Incompatible with emergency situation |  |  |  |  | ü | ü
53 | Renewable Connections | Charles Deacon | Yes | Yes | Concerned about more detail needed on how and when instructions would be given in an emergency situation, given that embedded generators might run a risk if turned off at short notice. | Consideration for enduring solution |  |  | ü |  | ü | [5 empty] | Yes - consultation response discussed with Rob Wilson, Technical Codes Change Manager, NGESO
[5 empty] | Concerned with compensation arrangments and how some will recieve this but others will not | Included in how the solution is implemented between DNOs and NGESO. |  |  | ü
[5 empty] | Concerned with the details of the instruction; how will the sites be turned off and in what order & especially considering sites that do not have remote comms. | Consideration for enduring solution | ü |  |  |  | ü
[5 empty] | Concerned with the imbalance to suppliers and how it will be addressed | Consideration for enduring solution |  |  | ü
54 | Innology | Nicola Percival, Policy & Regulations Manager | Yes | No | Concerned about how the market will be protected and the risk of BM plants increasing their bids. | Consideration for enduring solution |  |  | ü
[5 empty] | Commercial arrangments; want assurance that ESO has utilised all possible commercial arrangments before using emergency measures | Consideration for enduring solution | [6 empty] | ü
[5 empty] | Communication; concerned that the speed of this proposal means affected parties are not completely clear on instructions | System Operators to give further detail on how instructions will be implemented |  |  |  | ü
[5 empty] | Concerned that enduring solution must set out arrangements for how associated system restoration processes will work | System Operators to give further detail on how instructions will be implemented | [5 empty] | ü
55 | Good Energy | Kit Dixon | Yes | Yes | Concerned that the lack of a mechanism by which embedded generators will be compensated for being disconnected impedes the grid code. | Consideration for enduring solution |  |  | ü
[5 empty] | Concerned that renewables are being penalised over and above other plant owing to their being safer by design. | This isn't the case |  | ü | [6 empty] | ü
[5 empty] | Concerned that the sunset clause period (ending in October) is too long a period of risk | Is is unlikely that an enduring solution can be delivered before then |  |  |  |  | ü
56 | Forsa Energy | Jonathan Poley | No | No | Concerned that the urgent nature of this shows that ESO is relying on emergency actions over commercial solutions. | Last resort already addressed | [6 empty] | ü
[5 empty] | Concerns that actions resulting from this proposal could distort competition in the rest of the market. | Consideration for enduring solution |  |  | ü
[5 empty] | Concerned about no compensation for embedded generators | Consideration for enduring solution |  |  | ü
[5 empty] | Concerned about environmental impacts when considering waste disposal sites | Consideration for enduring solution |  | ü
[5 empty] | Concerned that DNO processes if instructed is not clear | System Operators to give further detail on how instructions will be implemented | [7 empty] | ü
[5 empty] | Concerned that no cost benefit analysis has been done to determine this is the most cost effective solution | Consideration for enduring solution |  |  | ü | ü
[5 empty] | Concerned that there has not been sufficient communication about the consultation | System Operators to give further detail on how instructions will be implemented | ü |  |  | ü
57 | Buckinghamshire Council | Cllr Martin Trett | - | - | Concerned that suppliers will be left out of balance when the generation that they were expecting is not delivered | Consideration for enduring solution |  |  | ü | [7 empty] | Yes - consultation response discussed with Rob Wilson, Technical Codes Change Manager, NGESO
[5 empty] | Concerned that it operates an Energy from Waste site and given it's local importance, it should be lower prioritised due to the financial consequence of being disconnected. | System Operators to give further detail on how instructions will be implemented | ü |  | ü
[5 empty] | Concerned of the impact it would have on its ability to treat the significant amount of waste it treats | System Operators to give further detail on how instructions will be implemented | ü | ü
58 | Ecotricity | Alan Chambers | No | No | Concerned that this would lower investor confidence in generation that is not part of a BM unit. | Last resort already addressed |  |  | ü
[5 empty] | Concerned that compensation to embedded generators would need to be arranged before it could be implemented which is not possible at such short notice. | Consideration for enduring solution |  |  | ü | ü
[5 empty] | Concerned that the short-term nature of the proposed change is dangerous as it can set a precedent that has not been fully thought through. | Consideration for enduring solution |  |  | ü | ü
59 | Drax Power Limited | Paul Youngman | Yes | Yes | Concerned that embedded benefits have been significantly eroded in recent years and this would further disadvantage embedded generators | Last resort already addressed |  |  | ü
[5 empty] | The enduring solution needs to consider compensation requirements, disconnection for non BM parties, selection of which parties to disconnect | Consideration for enduring solution | ü |  | ü |  |  | ü
60 | Opus | Paul Bedford | Yes | Yes | Concerned that a gap exists in the ESO’s assessment of risks to the system and networks emergency planning protocols | Consideration for enduring solution |  | ü
[5 empty] | Concerned that currently this causes an increase in uncertainty for suppliers and embedded generators | Consideration for enduring solution |  |  | ü
61 | British Steel | Peter Wood | - | - | Concerned with the prioritisation and suggests generation sites being disconnected ahead of mixed sites, especially those that are typically load | System Operators to give further detail on how instructions will be implemented | ü | [9 empty] | Yes - consultation response discussed with Rob Wilson, Technical Codes Change Manager, NGESO
62 | ADBA | - | Yes | - | Concerned that disconnecting AD plants could cause significant environmental impact due to them being different to other connections. | System Operators to give further detail on how instructions will be implemented |  | ü
[5 empty] | Would like to know more about the enduring solution | Consideration for enduring solution | [5 empty] | ü
63 | Ørsted | Oliver Zhe Xing | Yes | Yes | Concerned about the financial impacts to embedded generators and relevant energy suppliers | Consideration for enduring solution |  |  | ü
[5 empty] | Concerned about consequences for suppliers should this be used ahead of commercial solutions | Consideration for enduring solution |  |  | ü |  |  |  | ü
64 | Association for Decentralised Energy | Caroline Bragg | Yes | Yes | Concerned that under the current proposal, embedded generation that is disconnected will not be compensated. | Consideration for enduring solution |  |  | ü
[5 empty] | Concerned that stakeholders have not been consulted sufficiently due to the speed in which it has been raised | Consideration for enduring solution |  |  |  | ü
[5 empty] | Concerned about the risks that such a disconnection would pose to larger industrial and commercial sites. | Consideration for enduring solution | ü |  | ü
65 | Energy UK | Matthew Deitz, Policy Manager, Power | - | No | Concerned that the ESO must commit to full transparency of the actions that it would intend to use prior to the utilisation of GC0143 provisions | Consideration for enduring solution |  |  |  |  | ü |  |  | ü
[5 empty] | Concerned that the ESO should immediately commit to ahead of time market signals and information on dispatch and reinstatement of the generation interrupted | Consideration for enduring solution |  |  |  | ü | ü |  |  | ü
[5 empty] | Concerned that some smaller parties who are not parties to the Grid Code are unaware of this modification | Consideration for enduring solution |  |  |  |  | ü | ü
66 | REA | N/A | Yes | Yes | Concerned the impacts could force certain parties to exceed their environmental permitting by requiring burning of fuels in the absence of generation and also compensation. | Consideration for enduring solution |  |  | ü
[5 empty] | Concerned with lack of compensation for plants that are switched off | Consideration for enduring solution |  |  | ü |  | ü
[5 empty] | Need for public document stating the rarity of the need to use this instruction | Already addressed in solution | [8 empty] | ü
[5 empty] | Difficulty in disconnecting certain (fuelled) generation types | System Operators to give further detail on how instructions will be implemented |  |  | ü |  | ü
67 | Bluefield Partners LLP | Luke Roberts, Director | No | Yes | Concerned that landfill gas generating capacity should not be ordered to disconnect under any circumstances, due to environmental and health and safety considerations. | System Operators to give further detail on how instructions will be implemented | ü |  | ü
[5 empty] | Concerned that this approach could lead to the disconnection of most cost effective/lowest carbon generation technologies, particularly solar PV at a time when they are at peak output. | System Operators to give further detail on how instructions will be implemented |  | ü |  |  |  | ü |  |  |  | ü
[5 empty] | Clarity needed why other forms of more carbon intensive generation are not being prioritised for temporary disconnection considering the net zero carbon target by 2050. | This is already a last resort when no other options exist | ü
[5 empty] | Concerned by how generators will be selected & compensated if selected for disconnection. | Included in considerations for enduring solution. | ü |  | ü |  | ü
[5 empty] | Concerned legal text provides no assurance to prevent ESO from relying on emergency disconnection as an alternative to reaching a commercial arrangment with generators | This is already a last resort when no other options exist | [6 empty] | ü
[5 empty] | Concerned that ESO consider current flexible generation options before considering embedded generators & that it is mandated to have a commercial resolution with them before opting to instruct DNOs to disconnect any. | This is already a last resort when no other options exist | ü |  | ü |  |  |  | ü
Note on D2: Do you believe GC0143 better facilitates the Grid Code Objectives? Yes / No / - Where '-' means either no answer or mixed view / no clear preference
Note on E2: Do you support the proposed implementation approach? Yes / No / - Where '-' means either no answer or mixed view / no clear preference