## Cover Page
Future Energy Scenarios 2017 - Scenario Framework
This document details the underlying assumptions used to create the 2017 Future Energy Scenarios. It lists:
- The high-level scenarios and they rules they are constrained by ("Scenario World" tab)
- The 68 flexible "Assumptions", and their levels (high, medium or low) in each scenario
- The 12 "Fixed inputs" which do not change across the scenarios.
Please note: The 'high', 'medium', 'low' levels and descriptions applied to each scenario in the "Assumptions" tab are self-contained for each assumption and relative only for that assumption. For example, the 'high' for onshore wind generation is not directly comparable to the 'high' for marine generation.
Uncontrolled once published.

## Scenario world
Rules:
1) Security of supply (electricity): Abide by the security standard as prescribed by the secretary of state (currently three hours/year loss of load expectation)
2) Security of supply (gas): There will be sufficient capacity to ensure that the N-1 test will continue to be satisfied
2017 Scenario Matrix
More
money available
Less
money available
Less focus on green ambition
Prosperity
Green ambition
Political – There is highly effective policy intervention with long-term environmental energy policy certainty.
Economic – Highest growth rate.
Social – Society makes conscious choices, actively engaged with reducing carbon and mitigating climate change.
Technological – Higher R&D in general, with the main focus on low carbon technology and long-term investments, delivering high levels of low carbon energy at a national level.
Environmental – Policies ensure all carbon budgets and 2050 targets met.
Two Degrees
Political – Short-term policies focused on security of supply and affordability. Only low cost environmental initiatives are supported.
Economic – Lowest growth rate.
Social – Society is focused on the here and now and on short-term cost savings.
Technological – Low risk business as usual innovation, focused on maximising short-term value, leading to gas being the preferred choice for generation and heating over low carbon technologies.
Environmental - Reduced low carbon policy support and limited new interventions.
Slow Progression
Political – Focus on cost-efficient long-term environmental energy policies, with effective policy intervention.
Economic – Low growth rate.
Social – Society is engaged in going green but choices are limited by cost.
Technological – Medium levels of innovation, seeking to maximise green value, whilst taking a longer-term view. This leads to a focus on a mixture of renewable and low carbon technologies as well as an increase in distributed generation.
Environmental - Policy interventions are constrained by affordability.
Steady State
More focus on green ambition
The 2017 scenario matrix
Political – Higher localism and reduced UK government intervention. Government policies focus on indigenous supplies and carbon reduction. Developments are mainly market-driven.
Economic – High growth rate.
Social – Consumerism and lifestyle-comfort drive behaviour. This is a “gadget world”.
Technological – High innovation and market-led investment in R&D, driven by focus on financial returns, leading to high levels of distributed generation and a mixture of generation types at a national level.
Environmental – UK carbon and renewable ambition becomes more relaxed.
Consumer Power

## Primary assumptions (hidden)
Political
Economic
Technological
Social
Environmental
Primary assumption 1
Primary assumption 2
Primary assumption 3
Primary assumption 4
Primary assumption 5
Primary assumption 7
Stakeholder Feedback
summary of s/h f/b
Changes 2015 to 2016
summary of changes due to s/h f/b and team views

## Secondary assumptions (hidden)
Primary assumption 1
Primary assumption 2
Primary assumption 4
Primary assumption 6
Secondary assumption 1.1
Secondary assumption 1.2
Secondary assumption 1. 3
Secondary assumption 1.4
Secondary assumption 2.1
Secondary assumption 2.2
Secondary assumption 2.3
Secondary assumption 2.4
Secondary assumption 3.1
Secondary assumption 3.2
Secondary assumption 3.3
Secondary assumption 3.4
Secondary assumption 4.1
Secondary assumption 4.2
Secondary assumption 4.3
Secondary assumption 4.4
Secondary assumption 5.1
Secondary assumption 5.2
Secondary assumption 5.3
Secondary assumption 5.4
Secondary assumption 6.1
Secondary assumption 6.2
Secondary assumption 6.3
Secondary assumption 6.4
Primary assumption 3
Primary assumption 5
Stakeholder Feedback
summary of s/h f/b
Changes 2015 to 2016
summary of changes due to s/h f/b and team views
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team
Contact team

## Assumption Map (hidden)
Themes
Primary
Secondary
Model Levers
Political
Economic
Social
Technological
Environmental
Support and incentives
Targets
Commodity prices
Demographics
Existing technologies
Primary assumption 7
Regulation, legislation and constitutional issues
Secondary assumption 1.1
Secondary assumption 1.2
Secondary assumption 1. 3
Secondary assumption 1.4
Secondary assumption 2.1
Secondary assumption 2.2
Secondary assumption 2.3
Secondary assumption 2.4
Secondary assumption 4.1
Secondary assumption 4.2
Secondary assumption 4.3
Secondary assumption 4.4
Stakeholder Feedback
summary of s/h f/b
Changes 2015 to 2016
summary of changes due to s/h f/b and team views
Model lever 1.1.1
Model lever 1.1.2
Carbon prices
Macro-economics
Domestic behaviour
Industrial and commercial behaviour
Emerging technologies
Disruptive technologies

## Political (hidden)
Political
Support and incentives |  |  |  | Targets |  |  |  | Regulation, legislation and constitutional issues |  |  |  | Global influences
Name | Number | Description | Team owner | Name | Number | Description | Team owner | Name | Number | Description | Team owner | Name | Number | Description | Team owner
Support for renewable generation | 1.1.1 |  | PS | Progress towards 2050 carbon target | 1.2.1 |  | FO | Decentralisation | 1.3.1 |  | ? | Appliance efficiency | 1.4.1 |  | PD
Renewable heat incentive | 1.1.2 |  | GD | Emissions - Industrial emissions directive | 1.2.2 |  | PS | Building regulations | 1.3.2 |  | DT
Carbon tax | 1.1.3 |  | GS | Progress towards 2030 renewable energy target | 1.2.3 |  | FO/PS | EU harmonisation | 1.3.3 |  | BM
Tax regime for UKCS extraction | 1.1.4 | This covers the tax payable on gas extracted from the North Sea but also the write-offs/allowances for costs incurred in decomissioning and exploration and Production. High = More generous regime than today, Medium = about the same as today, Low = Less generous than today | GS | Progress towards 2020 renewable energy target | 1.2.4 |  | FO/PS | Public transport | 1.3.4 |  | ED
Tax regime for Shale gas extraction | 1.1.5 | Similar narrative to UKCS | GS | Carbon budget | 1.2.5 |  | FO | Long term planning bias - rename? | 1.3.5 |  | PS
Incentive regime for biomethane (other 'green gas') production | 1.1.6 | Similar to UKCS and Shale but covers the incentives available but could also include tax write offs for capital costs | GS |  |  |  |  | Shale Gas Extraction Regulations | 1.3.6 |  | GS
Capacity mechanism | 1.1.7 |  | PS
Electric vehicle subsides | 1.1.8 |  | ED
Residential Gas tax | 1.1.9 |  | ED
This would cover the standards around testing for background methane levels in water, acceptable level of siesmic events and the reporting associated with these. Already existing regulations in place but there have been suggestions for more stringent ones or more rigourous reporting, which would add costs/time to shale extraction. High = More stringent than today, Medium = As Stringent as today, Low = Less Stringent than today (don't believe this is credible so no scenarios will be Low)
global gas supply and demand
Note on M18: Chris Thompson: From the descriptions at the joint session the items being considered do not seem to impact gas supply but thought I would provide some background on what we consider from our side..... From a gas supply point of view we are assuming an EU (in fact global) market for gas developing in all scenarios (we are close to this at the moment). We are not proposing to flex any of the market enabling parts of the Energy Packages (gas quality/gas day) or the level of interconnection accross Europe (on gas this is very much an SoS priority).

## Economic (hidden)
Economic
Commodity prices |  |  |  | Carbon prices |  |  |  | Macro-economics
Name | Number | Description | Team owner | Name | Number | Description | Team owner | Name | Number | Description | Team owner
Gas wholesale | 2.1.1 |  | GS | Carbon price support | 2.2.1 |  | PS | Household disposable income | 2.3.3 |  | DT
Gas retail | 2.1.2 |  | PS | EU emissions trading scheme | 2.2.2 |  | PS | Exchange rates | 2.3.4 |  | GS
Biomass | 2.1.3 |  | PS |  |  |  |  | GDP growth rates | 2.3.5 |  | DT
Electricity wholesale | 2.1.4 |  | PS
Electricity retail | 2.1.5 |  | PD
Coal | 2.1.6 |  | GS
Oil | 2.1.7 |  | GS
European electricity | 2.1.8 |  | BM
Uranium | 2.1.9 |  | PS
Thorium | 2.1.10 |  | PS
Other considerations (not assumptions for FES 2016)
Regional growth
Interest rates
Inflation
Hurdle rates
Discount rates

## Social (hidden)
Social
Behavioural domestic |  |  |  | Behavioural I&C |  |  |  | District heat
Name | Number | Description | Team owner | Name | Number | Description | Team owner | Name | Number | Description | Team owner
Household temperature | 3.2.1 |  | GD | Investment criteria, time horizons | 3.3.1 |  | DT | District Heat | 3.4.2 |  | GD
Technological adoption rates | 3.2.2 |  | DT
Consumer knowledge and influence | 3.2.3 |  | DT
Product turnover | 3.2.4 |  | DT
Green engagement | 3.2.5 |  | DT
Other considerations (not assumptions for FES 2016)

## Technological (hidden)
Technological
Existing technologies |  |  |  | Emerging technologies |  |  |  | Disruptive technologies
Name | Number | Description | Team owner | Name | Number | Description | Team owner | Name | Number | Description | Team owner
Hydro generation | 4.1.1 |  | PS | CCS generation | 4.2.1 |  | PS | Inductive charging roads | 4.3.1 |  | PD
Wave/tidal generation | 4.1.2 |  | PS | micro-CHP generation | 4.2.2 |  | PS? | New light technologies (SPLIT) | 4.3.2 |  | PD
Wind generation (onshore) | 4.1.3 |  | PS | Smart meters, roll out | 4.2.3 |  | PD | Internet of things | 4.3.3 |  | PD
Wind generation (offshore) | 4.1.4 |  | PS | Hydrogen vehicles | 4.2.4 |  | GD | New solar | 4.3.4 |  | PS
Solar generation | 4.1.5 |  | PS | Smart energy - TOUTs | 4.2.5 |  | PD | Self-driving cars | 4.3.5 |  | PD
CCGT/OCGTs generation (unabated) | 4.1.6 |  | PS | Compressed air storage | 4.2.6 |  | BM | New battery technologies (SPLIT) | 4.3.6 |  | BM
Coal generation | 4.1.7 |  | PS | Liquid air storage | 4.2.7 |  | BM | Fusion | 4.3.7 |  | PS
Bio-energy generation | 4.1.8 |  | PS | Power to gas | 4.2.8 |  | BM | Small nuclear? | 4.3.8 |  | PS
Pumped storage | 4.1.9 |  | PS | Battery tech (SPLIT) | 4.2.9 |  | BM | Thorium? | 4.3.9 |  | PS
Nuclear generation | 4.1.10 |  | PS | Shale extraction | 4.2.10 | As biomethane and UKCS | GS
Waste generation | 4.1.11 |  | PS | Compressed Natural Gas Vehicles | 4.2.11 |  | GD
Biomass conversion generation | 4.1.12 |  | PS | Liquidified Natural Gas Vehicles | 4.2.12 |  | GD
Biomass dedicated generation | 4.1.13 |  | PS
CHP gas generation | 4.1.14 |  | PS
CHP renewable generation | 4.1.15 |  | PS
Biomethane Production Rate | 4.1.16 | Improvements in technology to produce biomethane and other 'green gas', a product of economy and green ambition - the economy sets how much money is available for investment in improving the tech and green ambition sets what the focus is. High = Highest rate of improvement, Medium = Medium rate of improvement, Low = Lowest rate of improvement (so all scenairos see an improvement) | GS
Boiler population efficiency | 4.1.17 |  | GD
HVDC interconnectors | 4.1.18 |  | BM
Aircon | 4.1.19 |  | PD
Electric vehicles | 4.1.20 |  | PD
Flywheels | 4.1.21 |  | BM
Electric railways | 4.1.22 |  | PD
Offshore Gas Production Rates | 4.1.23 | Improvements in technology to extract UKCS, this covers recovery rates from existing fields, producing from difficult fields (such as HTHP) and also exploring in other areas (ie at depth or stormy conditions). A product of economy and green ambition - the economy sets how much money is available for investment in improving the tech and green ambition sets what the focus is.. High = Highest rate of improvement, Medium = Medium rate of improvement, Low = Lowest rate of improvement (so all scenairos see an improvement) | GS
Loft insulation | 4.1.24 |  | GD
Cavity wall insulation | 4.1.25 |  | GD
Solid wall insulation | 4.1.26 |  | GD
Hybrid Plug in Evs | 4.1.27 |  | GD
HEMS | 4.1.28 |  | GD

## Assumptions
[6 empty] | Level |  |  |  | Why
Theme | Category | Assumption number | Assumption name | Description | Owner | Two Degrees | Slow Progression | Steady State | Consumer Power | Two Degrees description | Slow Progression description | Steady State description | Consumer Power description
Political | Support and incentives | 1.1.1 | Support for renewable generation | The level of support mechanisms available for renewable generation | PS | High | Medium | Low | Low | There is a high level of incentive support to encourage renewable generation required to meet the carbon budgets | Incentives are offered, but limited by low prosperity | Low support as the focus is on reducing short-term costs | Money allows some support, this is focused on established technologies such as offshore wind and solar
Political | Support and incentives | 1.1.2 | Renewable heat incentive (RHI) | The level of which the renewable heat incentive (or a similar program) is used to drive uptake of low carbon heating | GD | High | Medium | Low | Low | There is a high level of incentive support to encourage new, low carbon heating technologies required to meet the carbon budgets | Incentives are offered, but limited by low prosperity | Traditional appliances favoured | There is little focus on low carbon and renewable heating
Political | Support and incentives | 1.1.3 | Tax regime for UKCS extraction | The tax discount on gas extracted from the North Sea and the write-offs/allowances for costs incurred in decommissioning and exploration and production. Scale is relative to the tax regime in 2016. | GS | Medium | Low | Medium | High | Money available to maintain current arrangements and gas still required in energy mix | Money is not available to maintain current arrangements as other budgets prioritised | Although financially constrained, current levels are maintained as gas is seen as a priority in the energy mix | There is a drive to maximise overall gas recovery by providing more support in this area
Political | Support and incentives | 1.1.4 | Tax regime for shale gas extraction | The tax discount on gas extracted from shale and the write-offs/allowances for costs incurred in decommissioning and exploration and production. Scale is relative to the tax regime in 2016. | GS | Low | Low | Medium | High | Government support focused towards other areas, shale support scaled back | Government support focused towards renewable sources of gas | Although financially constrained, current levels are maintained as gas is seen as a priority in the energy mix | There is a drive to maximise overall gas recovery by providing more support in this area
Political | Support and incentives | 1.1.5 | Incentive regime for biomethane (and other 'green gas') production | The tax discount on gas extracted from biomethane or other 'green sources' and the write-offs/allowances for costs incurred in decommissioning, exploration, production and capital costs. Scale is relative to today's tax regime. | GS | High | Medium | Low | Low | Bigger push for renewable gas as required to meet longer term decarbonisation targets | Green ambition supports this but limited budgets see current support maintained but not increased | Support is focused on areas with greater potential volumes (UKCS/shale) | Limited green ambition means that the current level of support is maintained (but not increased)
Political | Support and incentives | 1.1.6 | Electric vehicle (EV) subsides | The level of subsidies offered to incentivise the uptake of electric vehicles | ED | High | Medium | Low | Low | High incentives are offered to encourage uptake of lower emission vehicles to meet carbon budgets | Incentives are offered, but limited by low prosperity | Less drive to replace traditional petrol/diesel vehicles and less money available to spend | Low incentive level due to low green ambition
Political | Support and incentives | 1.1.7 | Residential gas tax | The level of tax levied on residential gas use to incentivise households to use low carbon heating | ED | High | High | Low | Low | Tax used to incentivise consumers to use alternative forms of heating | Taxes are used to incentivise consumers to use alternative forms of heating, but taxes are limited due to low consumer prosperity | Low taxes utilised to minimise cost of living | Low green ambition means gas is not disincentivised, but taxes are used to encourage efficiency
Political | Targets | 1.2.1 | Progress towards 2050 carbon reduction target | Progress towards the target of an 80% reduction in CO2e emissions compared to 1990, as set out in the 2008 Climate Change Act | FO | High | Medium | Low | Medium | Taxes, incentives and legislation are used to encourage progress | Taxes, incentives and legislation are used to encourage progress, but are limited by the low prosperity | Environmental sustainability is a lower priority than minimising short-term costs | Environmental sustainability is a lower priority than minimising costs, but there is some natural progression due to high research and development and product turnover
Political | Targets | 1.2.2 | Progress towards carbon budgets | Progress towards the legally binding 2nd, 3rd and 4th carbon budgets out to 2025: 1st Carbon budget (2008-12) 3,018 MtCO2e 23% 2nd Carbon budget (2013-17) 2,782 MtCO2e 29% 3rd Carbon budget (2018-22) 2,544 MtCO2e 35% by 2020 4th Carbon budget (2023-27) 1,950 MtCO2e 50% by 2025 | FO | High | Medium | Low | Medium | Taxes, incentives and legislation are used to encourage progress | Taxes, incentives and legislation are used to encourage progress, but are limited by the low prosperity | Environmental sustainability is a lower priority than minimising short-term costs | Environmental sustainability is a lower priority than minimising costs, but there is some natural progression due to high research and development and product turnover
Political | Targets | 1.2.3 | Progress towards 2020 renewable energy target | Progress towards the target of 15% of energy produced from renewable sources by 2020 | FO | High | Medium | Low | Low | Taxes, incentives and legislation are used to encourage progress | Taxes, incentives and legislation are used to encourage progress, but are limited by the low prosperity | Environmental sustainability is a lower priority than minimising short-term costs | Environmental sustainability is a lower priority than minimising costs, but there is some natural progression due to high research and development and product turnover
Political | Regulation, legislation and constitutional issues | 1.3.1 | Building regulations | The effect of building regulations on household efficiencies and heat demand | DT | High | Medium | Low | Medium | Legislation is used to encourage progress to carbon budgets | Legislation is less strict that in Two Degrees as society is less prosperous | Minimal environmental legislation change as the focus is on the cost of living | Enough prosperity to make environmental legislation changes palatable to house builders and end consumers
Political | Regulation, legislation and constitutional issues | 1.3.2 | EU harmonisation | The level of energy market integration between the UK and European countries | BM | High | High | Low | Low | Greater drive across all of Europe to meet environmental targets - not cost constrained | Greater drive across all of Europe to meet environmental targets - not cost constrained | The focus is on short-term energy solutions and is targeted in GB to maximise indigenous supplies | Technological innovation delivers flexibility products in CP which mean that EU integration is not required to manage energy systems
Political | Regulation, legislation and constitutional issues | 1.3.3 | Shale gas extraction regulations | Regulations, principally environmental (but not specified) covering shale gas operations | GS | High | Medium | Low | Low | Stricter environmental regulations are in place | Strict environmental regulations are in place | Current requirements are seen as sufficient, hence there is no change in regulation from 2016 | No further regulations as current requirements are seen as sufficient
Political | Regulation, legislation and constitutional issues | 1.3.3 | Public transport | The number of miles travelled on public transport | ED | High | High | Medium | Medium | Society chooses to use public transport to reduce emissions | Society chooses to use public transport to reduce emissions | Society does not significantly change its behaviour and choses to use private cars over public transport | Society does not significantly change its behaviour and uses private cars over public transport
Economic | Commodity prices | 2.1.1 | Gas wholesale price | The National Balancing Point (NBP) Gas Price | GS | Medium | High | Medium | Low | Low gas demand suppresses prices | Higher prices to attract required levels of gas imports | Medium prices drive some shale/UKCS developments as the focus is on indigenous supplies | High indigenous gas production suppresses prices
Economic | Commodity prices | 2.1.2 | Gas retail price | The end consumer gas price | GD | High | High | Medium | Low | High prices used to disincentivise gas use | High prices used to disincentivise gas use | Direct consequence of medium wholesale prices, no additional taxes | Direct consequence of low wholesale prices, with no additional taxes
Economic | Commodity prices | 2.1.3 | Electricity wholesale price | Wholesale market price for electricity | PS | Low | Medium | High | Medium | Low prices are caused by a large deployment of renewables, which have zero short-run marginal cost | Reduced deployment of renewables | Reduced deployment of renewable and low carbon generation | High levels of distributed generation and demand for electricity, low taxes and subsidies
Economic | Commodity prices | 2.1.4 | Electricity retail price | The end consumer electricity price | PD | High | Medium | Low | Medium | High subsidies are required to fund electrification | Medium level of subsidies / level of renewable generation | Low level of subsidies / level of renewable generation | Medium level of subsidies / level of distributed and micro-generation
Economic | Commodity prices | 2.1.5 | European electricity price | Price per MWh for electricity, relative to the UK | BM | High | Medium | Low | Medium | Based on carbon prices, which are higher in GB in the short term, but reduce over time as renewable generation increases | Based on carbon prices, which are the same in both GB and Europe | Based on carbon prices, which are higher in GB than Europe | Based on carbon prices, which are similar in GB and Europe
Economic | Carbon prices | 2.2.1 | Carbon price support | UK element of the total UK carbon price | PS | High | High | Low | Medium | High to drive renewable deployment | High to drive renewable deployment | There is less focus on incentivising renewables | There is less focus on incentivising renewables
Economic | Macroeconomics | 2.3.2 | GDP growth rates | The UK gross domestic product growth | DT | Highest | Low | Lowest | High | Direct consequence of highest prosperity | Direct consequence of low prosperity | Direct consequence of lowest prosperity | Direct consequence of high prosperity
Social | Residential behaviour | 3.1.1 | Winter household temperatures | The level of desired temperature during cold periods | GD | Low | Low | Medium | High | Society chooses to maintain a relatively low temperature in a desire to limit their emissions | Society chooses to maintain a relatively low temperature in a desire to limit their emissions | Society would like to increase household temperatures to improve their standard of living, but are financially constrained | Society chooses to spend their higher disposable incomes on maintaining a higher internal temperature as their main focus is on quality of living
Social | Residential behaviour | 3.1.2 | Summer household temperatures | The level of desired cooling during warm periods |  | Low | Low | Medium | High | Society chooses to maintain a relatively high temperature in a desire to limit their emissions (and more progress against 2D target) so air conditioners not required | Air conditioners not adopted due to change in housing standards and high costs (visible through smart meters) as well as society choosing to maintain a relatively high temperature in a desire to limit their emissions | Air conditioners adopted in highly urbanised areas by wealthier parts of the population | Air conditioners adopted in highly urbanised areas by most of the population
Social | Residential behaviour | 3.1.3 | New heat technological adoption rates | Rate at which new heat technologies are purchased and brought to market | DT | High | Medium | Low | High | High disposable incomes allow consumers to purchase new products | Low disposable income counters high desire from consumers resulting in medium levels of new products purchased | Low disposable incomes prevent consumers from purchasing high numbers of new products | High disposable incomes allow consumers to purchase new products
Social | Residential behaviour | 3.1.4 | Appliance models: number of residential electrical appliances | The rates of replacement of domestic products, such as white goods | DT | High | Medium | Low | High | High disposable incomes allow consumers to purchase new products on a regular basis | Lower disposable incomes prevent consumers from purchasing such high numbers of new products | Low disposable incomes prevent consumers from purchasing high numbers of new products | High disposable incomes allow consumers to purchase new products
Social | Residential behaviour | 3.1.5 | Appliance models: residential electrical energy efficiency | Residential electrical energy efficiency | DT | High | High | Medium | Low | Government, retailers, manufacturers and consumers strive towards the EU 2030 target | Attempts are made to meet the EU target, but it is met around 10 years later due to low prosperity | There is neither the prosperity to allow a high product turnover nor the green ambition to actively choose more efficient products. Energy efficiency improves at todays rates | There is limited green ambition to actively choose more efficient products and products, although appliances become more energy efficient as they modernise. There are more and larger appliances which reduces energy efficiency
Social | I&C behaviour | 3.2.1 | Investment criteria | Industrial and commercial favourability of investment criteria attitudes and requirements | DT | High | High | Low | Medium | Businesses are willing to accept longer pay back periods to achieve environmental benefits | Businesses willing to accept longer pay back periods to achieve environmental benefits | Businesses require short pay back periods to invest as there is low prosperity and low green ambition | Businesses require medium pay back periods to invest as there is high prosperity but low green ambition
Social | Other | 3.2.2 | District heat | The level of district heat schemes deployed to provide heating | GD | High | Medium | Low | Low | Incentivised by government support, and driven by consumer demand | Some incentives and consumer demand, but limited by low prosperity | Low governmental support and low consumer demand, traditional heating systems preferred | Low governmental support and low consumer demand, traditional heating systems preferred
Social | Other | 3.2.3 | Decentralisation of energy | The level of support for local energy production both from individuals and communities, such as biomethane, shale gas, solar, small scale wind and OCGTs. | MO | Medium | Medium | Low | High | There is a focus on local energy projects but still a high level of government intervention | There is a focus on local energy projects but still a high level of government intervention | Traditional, large-scale energy sources are preferred | There is a focus on local energy projects, combined with less government intervention
Social | Other | 3.3.3 | Ireland gas demand | Irish gas demand driven by the Gas Networks Ireland (GNI) scenarios | GD | High | Medium | Low | High | High case to align with GNI's high case (high gas for power demand, high new connections, high CNG and renewable gas) | Medium case to align with GNI's medium case (medium gas for power demand, med new connections, med CNG and renewable gas) | Low case to align with GNI's low case (low gas for power demand, low new connections, no CNG nor renewable gas) | High case to align with GNI's high case (high gas for power demand, high new connections, high CNG and renewable gas)
Technological | Existing | 4.1.1 | Hydro generation | Level of installed capacity of hydro generation | PS | High | Medium | Low | High | Focus on emerging and large scale renewable generation supported by high level of government intervention | Ambition to meet government target by focusing on decentralised projects but reduced prosperity hampering deployment rates | Low support and investment in renewable technologies | Technology also prevalent on a local scale if there is sufficient prosperity
Technological | Existing | 4.1.10 | Small modular nuclear reactors | Level of installed capacity of small modular nuclear reactors | PS | Medium | Low | Low | High | Policy to meet high green ambition centrally leads to larger projects but SMRs have the ability to complement larger scale roll-out | Focus on low carbon generation but limited by low prosperity and also low innovation | Low support and investment in low carbon technologies as well as low innovation | Lack of focus on low carbon agenda dampens deployment rates but high innovation supports new technology
Technological | Existing | 4.1.11 | Waste generation | Level of installed capacity of generation from waste | PS | Medium | Medium | Low | High | Focus is on large scale renewable generation. | Focus on larger scale renewable generation projects due to low prosperity but appropriate in high-DG scenario | Low support and investment in renewable technologies | Emphasis on decentralised generation, support available for small scale generation projects
Technological | Existing | 4.1.12 | Biomass conversion generation | Level of installed capacity from biomass conversions | PS | High | Medium | Low | Medium | High green ambition to meet government target, focus on renewable technologies | Ambition to meet government target, reduced prosperity hampering deployment rates | Low support and investment in renewable technologies | Reduced government ambition and emerging new technologies slightly reduces requirement for biomass conversions
Technological | Existing | 4.1.13 | Biomass dedicated generation | Level of installed capacity from dedicated biomass plants | PS | High | Medium | Low | Medium | High green ambition to meet government target, focus on renewable technologies | Ambition to meet government target, reduced prosperity hampering deployment rates | Low support and investment in renewable technologies | Emphasis on decentralised generation results in fewer large-scale plants damping installed capacity levels
Technological | Existing | 4.1.14 | CHP gas generation | Level of installed capacity from gas Combined Heat and Power (CHP) | PS | Low | Medium | High | Medium | High green ambition to meet government target, focus on renewable technologies | Ambition to meet government target, limited support available but more unabated gas as cheaper than renewable generation | Gas CHP is chosen over renewable CHP due to the lower environmental focus | Emphasis on decentralised generation results in fewer large-scale plants damping installed capacity levels
Technological | Existing | 4.1.15 | CHP renewable generation | Level of installed capacity from renewable CHP | PS | High | Medium | Low | Medium | High green ambition to meet government target, focus on renewable technologies | Focus on renewable generation but limited by low prosperity | Low support and investment in renewable technologies due to the lower environmental focus | Emphasis on decentralised generation results in fewer large-scale plants damping installed capacity levels
Technological | Existing | 4.1.16 | Biomethane Production Rate | Improvements in technology to produce biomethane and other 'green gas' | GS | High | Medium | Low | Medium | As renewable gas is required to meet government target, money is spent to improve production technologies | There is some investment and support for green gas but limited by low prosperity | Investment is prioritised to other areas so limited efficiency gains | Prosperity means some investment is targeted in this area, but it is not the highest priority
Technological | Existing | 4.1.17 | Boiler population efficiency | The rate of change of high efficiency boiler uptake/effect of the average efficiency of the boiler stock | GD | High | Medium | Low | Medium | Consumers are keen to replace boilers to reduce their emissions and gain long-term returns | Consumers are keen to replace boilers and reduce emissions, but they have limited disposable income | Consumers have little desire to replace boilers, and limited disposable incomes | Consumers have some desire to replace boilers with new, efficient models, but less so than in Two Degrees
Technological | Existing | 4.1.18 | HVDC interconnectors | Level of installed capacity, annual flows, peaks and summer minimums | BM | High | Medium | Low | Medium | High investment due to commercial and regulatory support | Investment is driven by commercial and regulatory support, but limited by low prosperity | Limited commercial and regulatory support, and limited money available to invest | There is some regulatory support and high commercial opportunities
Technological | Existing | 4.1.19 | Pure electric Vehicles (PEVs) | Adoption of pure electric vehicles | PD | High | Medium | Low | High | High incentives, high levels of investment and high demand from consumers | Society is keen, and there are some incentives, but both are limited by the low prosperity | Some demand but lack of further incentives and purchases are limited by low disposable incomes | High levels of investment and high demand from consumers for this luxury product
Technological | Existing | 4.1.2 | Marine generation | Level of installed capacity of wave/tidal | PS | High | Medium | Low | Medium | Focus on meeting government target, financial and support available for large scale and emerging renewable technologies | Ambition to meet government target, reduced prosperity hampering deployment rates | Low support and investment in renewable technologies | Money is available for small-scale generation projects, but no large-scale projects
Technological | Existing | 4.1.20 | Electric railways | The extent of electrification of the GB rail network | PD | High | Medium | Low | High | Driven by government to reach decarbonisation target | Driven by government to reach decarbonisation target but slowed by lack of capital | Not seen as a priority area for government to focus on | Government drive legislation to reduce air pollution and noise, and money is available to enable the change
Technological | Existing | 4.1.21 | Offshore gas production rates | Improvements in technology to extract UKCS, this covers recovery rates from existing fields, producing from difficult fields (such as High Temperature - High Pressure / HTHP) and also exploring in other areas (i.e. at depth or stormy conditions). | GS | Medium | Low | Medium | High | Some improvements in production but money focused on green production | Globally investment in the sector will remain high but the tax regime in UK will see specific solutions developed for the North Sea | Limited money available but investment in this area is prioritised due to the focus on indigenous supplies | Investment is targeted to maximise recovery rates
Technological | Existing | 4.1.22 | Home thermal efficiency levels | The rate at which thermal efficiency of residential homes increases. Based on the SAP efficiency rating. | GD | High | Medium | Low | Medium | Government incentives are available and complement high consumer demand | High consumer demand is countered by fewer government incentives | Few Government incentives and low consumer demand results in little progression | Government incentives are available though not high on consumers priorities
Technological | Existing | 4.1.25 | Plug-in hybrid electric vehicles (PHEVs) | The rate of uptake of plug-in hybrid electric vehicles | GD | Medium | Medium | Low | High | Despite early growth of PHEVs, to hit 2050 target it is necessary for all PHEVs to be replaced by PEVs | High incentives, high levels of investment and high demand from consumers | Some demand but lack of further incentives and purchases are limited by low disposable incomes | High levels of investment and high demand from consumers for this luxury product
Technological | Existing | 4.1.26 | Home energy management systems (HEMS) | The level of sales of home energy management systems (HEMS) and the assumed resulting residential gas savings | GD | High | Medium | Low | Medium | Desired by consumers as a green technology, and sufficient prosperity to allow a high uptake | Desired by consumers as a green technology, but lower prosperity limits uptake. Technology used in a green way | Low consumer demand and not used in a green way | High demand as seen as a desirable product. As low green ambition, savings not as fully realised
Technological | Existing | 4.1.3 | Wind generation (onshore) | Level of installed capacity of onshore wind | PS | High | Medium | Low | Medium | High green ambition to meet government targets, focus on renewable technologies | Ambition to meet government targets, reduced prosperity hampering deployment rates | Low support and investment in renewable technologies | There is some focus on wind generation, but to a lesser extent than in Two Degrees
Technological | Existing | 4.1.4 | Wind generation (offshore) | Level of installed capacity of offshore wind | PS | High | Medium | Low | Medium | High green ambition to meet government targets, focus on renewable technologies | Ambition to meet government targets, reduced prosperity hampering deployment rates | Low support and investment in renewable technologies | There is some focus on wind generation, but to a lesser extent than in Two Degrees
Technological | Existing | 4.1.5 | Solar generation | Level of installed capacity of solar | PS | High | Medium | Low | High | High green ambition to meet government targets, focus on renewable technologies | Ambition to meet government targets by focusing on decentralised projects, reduced prosperity hampering deployment rates | Low support and investment in renewable technologies | A result of the emphasis on decentralised generation
Technological | Existing | 4.1.6 | CCGT/OCGTs generation (unabated) | Level of installed capacity of unabated CCGTs and OCGTs | PS | Low | Medium | High | Medium | Focus on renewable generation | Ambition to meet government targets, reduced prosperity and high emphasis on decentralised generation hampering deployment rates for large scale projects | Low support for government target, focus on established technology for maintaining security of supply | Emphasis on decentralised generation, damping requirement for large scale projects coupled with increased interconnector capability
Technological | Existing | 4.1.7 | Coal generation | Level of installed capacity of coal | PS | Low | Low | Medium | Low | No new build due to energy policy, other technologies emerging and connecting to maintain generation levels | No new build due to energy policy, other technologies emerging and connecting to maintain generation levels | No new build due to energy policy. Coal remains on the system in accordance with closure date announcements due to delayed deployment of renewable technologies | No new build due to energy policy, other technologies emerging and connecting to maintain generation levels
Technological | Existing | 4.1.8 | Pumped storage | Level of installed capacity of pumped hydro-electric storage | PS | Low | Medium | Low | Medium | Competition with other forms of storage technologies | Focus on flexible generation but limited by low prosperity | Low support and investment for storage technologies | The focus on decentralised generation, coupled with focus on storage technologies particularly at a local level
Technological | Existing | 4.1.9 | Nuclear generation | Level of installed capacity of nuclear | PS | High | Medium | Low | Medium | High green ambition to meet government targets, focus on low carbon technologies | Focus on low carbon generation but limited by low prosperity | Low support and investment in low carbon technologies | Lack of focus on low carbon agenda damps deployment rates
Technological | Emerging | 4.2.1 | Carbon capture and storage (CCS) generation | Level of installed capacity from carbon capture and storage (CCS) | PS | High | Low | Low | Low | Support and investment is focused on low carbon generation | Limited support and investment for new large scale low carbon technologies | Limited investment money, and no incentives offered for low carbon generation | Reduced government ambition for decarbonisation coupled with emphasis on decentralised generation, limited requirement for large-scale low carbon technologies
Technological | Emerging | 4.2.10 | Domestic batteries | Level of installed capacity of batteries in domestic properties | DT | High | Low | Low | High | High green ambition and high prosperity make this a more attractive product for consumers | Low levels of innovation in this scenario means that this technology does not come forward | Low levels of innovation in this scenario means that this technology does not come forward | High prosperity drives some uptake of new product
Technological | Emerging | 4.2.11 | Shale extraction | Improvements in technology to extract shale gas | GS | Low | Low | Medium | High | Investment reduced in UK shale solutions, as investment focussed on green technologies | Investment reduced in UK shale solutions, as investment focussed on green technologies | Limited money available but investment in this area is prioritised | Investment is targeted to develop GB specific solutions to maximise recovery
Technological | Emerging | 4.2.12 | Compressed natural gas (CNG) vehicles | The rate of uptake of compressed natural gas (CNG) vehicles | GD | High | Medium | Low | High | High consumer demand, mainly for back-to-depot vehicles | Some consumer demand but limited by low prosperity | Low demand; due to both low prosperity and less green ambition | High consumer demand, mainly for back-to-depot vehicles, driven by commercial benefits
Technological | Emerging | 4.2.13 | Liquefied natural gas (LNG) Vehicles | The rate of uptake of liquefied natural gas (LNG) vehicles | GD | High | Medium | Low | High | High consumer demand, mainly for HGVs | Some consumer demand but limited by low prosperity | Low demand; due to both low prosperity and less green ambition | High consumer demand, mainly for HGVs, driven by commercial benefits
Technological | Emerging | 4.2.14 | Demand Side Response - I&C | Industrial and Commercial Demand Side Response |  | High | High | Low | Medium | High green ambition is supported by regulatory framework and capital availability which drives consumer behaviour | Efficient energy use is receiving priority (regulatory framework gives a clear message to all parties involved) but slowed by lack of capital | Low green ambition due to lack of supportive regulatory framework and lack of capital slows consumer behaviour change | Rapid development of new technologies and capital availability drives some DSR uptake
Technological | Emerging | 4.2.2 | Micro-CHP generation | Level of installed capacity from micro- combined heat and power | PS | Medium | Low | Low | High | Support and investment is available but focus remains on low carbon generation | Gas is not favoured technology in this scenario and less money for investment. Focus is instead on energy efficiency | The focus is on cheaper, large-scale generation | High consumer demand due to the low gas price and high disposable incomes
Technological | Emerging | 4.2.3 | Smart meters | Rate of the GB smart meter roll out and completion date | PD | High | Medium | Low | Medium | Rollout happens on time due to higher desire for DSR and energy efficiency, and more push from government | Financial uncertainty limits pace of SMART roll out implementation, while government is still calling for innovation in energy sector | Financial limitations, less consumer interest to changes and less push from government | Some desire as smart meters are new products which enable the installation of other "smart home" technologies
Technological | Emerging | 4.2.4 | Hydrogen vehicles | The rate of uptake of hydrogen vehicles | GD | High | Low | Low | Low | High consumer demand for green technology | Low consumer demand due to lower disposable incomes | Low consumer demand due to lower disposable incomes | Low consumer demand due to low green ambition
Technological | Emerging | 4.2.5 | Smart energy | Residential adoption of time of use tariffs (TOUTs) | PD | High | Medium | Low | Medium | TOUTs and dynamic pricing schemes are developing rapidly with high level of consumer engagement | TOUTs and dynamic pricing are introduced on the market and customers are interested in smart electricity use but delays in smart meter market development hamper participation | Current TOUTs are present on the market without any incentive for further development or adoption | TOUTs are modified and some consumers show interest to join the schemes of smarter pricing and consumption
Technological | Emerging | 4.2.6 | Compressed air storage | Level of installed capacity of compressed air storage. Low = no capacity, medium = a small amount of capacity, high = high level of capacity (relative to the other scenarios) | BM | High | Medium | Low | Low | High levels of low carbon technologies requiring and encouraging storage technologies to emerge for flexibility purposes | Limited support and investment for new and emerging technologies hampers roll-out of this technology | Low levels of innovation in this scenario means that this technology does not come forward | High levels of innovation encourage new storage technologies to emerge but CAES tends to be Tx-connected
Technological | Emerging | 4.2.7 | Liquid air storage | Level of installed capacity of liquid air storage. Low = no capacity, medium = a small amount of capacity, high = high level of capacity (relative to the other scenarios) | BM | High | Medium | Low | Medium | High levels of low carbon technologies requiring and encouraging storage technologies to emerge for flexibility purposes | Limited support and investment for new and emerging technologies hampers roll-out of this technology | Low levels of innovation in this scenario means that this technology does not come forward | High levels of innovation encourage new storage technologies to emerge
Technological | Emerging | 4.2.8 | Transmission connected batteries | Level of installed capacity of transmission-connected batteries | BM | High | Medium | Low | Low | High levels of low carbon technologies requiring and encouraging storage technologies to emerge for flexibility purposes | Limited support and investment for new and emerging technologies resulting in damping the deployment rates | Low levels of innovation in this scenario means that this technology does not come forward | More focus on decentralised storage technologies coupled with less intermittent generation mean less of a focus on larger scale storage projects
Technological | Emerging | 4.2.9 | Distribution connected batteries | Level of installed capacity of distribution-connected batteries | BM | Medium | Medium | Low | High | Focus is on large scale generation projects, damping deployment rates at distributed level. | Limited support and investment for new and emerging technologies damps deployment rates | Low levels of innovation in this scenario means that this technology does not come forward | High prosperity drives and high levels of innovation drives uptake. New solar PV is also paired with distribution-connected batteries to optimise solar output

## Fixed inputs
Other considerations (fixed across the 2017 scenarios)
Input | Description
Global gas supply and demand | All scenarios assume that imports are available when required.
Contracts for difference | All scenarios use the successful round 1 projects.
Renewable Obligation | All scenarios consider this scheme until 2017 (when the scheme closes).
Industrial Emissions Directive | All scenarios are compliant with this legislation.
Capacity Market | All scenarios include the results from auctions completed before, and including, the T-1 Auction held in February 2017.
Exchange rates | A fixed profile is applied across all scenarios for exchange rates with the US dollar (which coal and oil are purchased in) and the euro (which carbon prices are paid in).
Oil price | A single price forecast is applied across all scenarios. See the charts workbook for more information.
Coal price | A fixed profile is applied across all scenarios; the low case of the three shown in the charts workbook.
EU emissions trading scheme | The base prices for the EU ETS are used in all of the scenarios.
Population | A fixed profile is applied across all scenarios - reaching approximately 75 million by 2050. See the charts workbook for more information.
Number of houses | A fixed build profile is applied across all scenarios - reaching approximately 32 million by 2050. See the charts workbook for more information.
Coal policy | All scenarios are in line with the Government's policy to remove all unabated coal from the electricity generation mix by 2025.