## CUSC Prioritisation
CUSC - Prioritisation Stack
Updates from October Panel in the Panel Comments are shown in red text
Mod Number | Panel Comments on Prioritisation as at 30 October 2020 | Proposer Name | Proposer Organisation | Title
High
CMP328 | • Raised on behalf of all DNOs • Needs to be progressed in parallel with completion of Transmission and Distribution interactivity process (expected to be completed ~ April 2021) • Significant volumes of these Tertiary Windows connections already progressing so there is a pressing need for a solution Panel have previously expressed concern on the direction of travel; however October Panel noted recent progress made and will re-assess priority at November Panel. Expectation is that the Workgroup Consultation will be issued shortly after the meeting on 19 November 2020. | Joanna Knight | Scottish and Southern Energy Power Distribution Limited | Connections Triggering Distribution Impact Assessment
CMP344 | • Must be implemented prior to the start of the next price control period from 1st April 2021 • Received stakeholder support for this to be progressed at pace given significant potential costs of any future income adjusting events October Panel were content with progress made and agreed to leave priority unchanged. | Bill Reed | RWE | Clarification of Transmission Licensee revenue recovery and the treatment of revenue adjustments in the Charging Methodology
Medium to High
CMP326 | • Simple change as appears to be a binary choice between 2 options – 2 Workgroups anticipated • Needs to be progressed before volumes become larger and unmanageable – increased interest following Power Available project going live in May • There have been recent developments on Power Available October Panel noted that the Proposer is awaiting the completion of analysis from ESO Control Room to ensure maximum value at the Workgroups. October Pane agreed to leave priority unchanged. However, they will re-assess at November's Panel and expect the 2 workgroups needed ahead of Workgroup Consultation to be diarised ahead. | James Stone | ESO | Introducing a 'Turbine Availability Factor' for use in Frequency Response Capacity Calculation for Power Park Modules (PPMs)
CMP330 | • Simple change and potential for cost savings and faster connections • Clarity needed ahead of Contracts for Difference Auctions in 2021 October Panel were content with progress made and agreed to leave priority unchanged. | Andy Pace | Energy Potential Limited | Allowing new Transmission Connected parties to build Connection Assets greater than 2km in length
Medium
CMP298 | • Will have long term benefits to consumers (by allowing more projects to connect and so provide more competition in the generation market • Complex change • This is a process improvement modification and is seeking to reflect current working practice. However, there is risk of inconsistency in its application by Network Operators so important that Code changes are progressed. October Panel reviewed the request from the Open Networks to re-start Workgroups and noted the increasing risk of divergence in treatment across Network Operators. Therefore, priority was raised from Low to Medium. Code Admin will liaise with Proposer and Open Networks on next steps including timing of next Workgroup. | Grahame Neale | ESO | Updating the Statement of Works process to facilitate aggregated assessment of relevant and collectively relevant embedded generation
CMP304 | • Modification seeks to apply a different timescale to the provision on reactive power – Panel divided though on whether this is a simple change as solution still needs to be clarified • Ofgem cannot make a final decision on CMP305 until CMP304 is completed • Decreased cost to consumers if more competition October Panel agreed to leave priority unchanged. | Garth Graham | SSE | Improving the Enhanced Reactive Power Service by making it fit for purpose
CMP316 | • Although not many co-located sites currently, this complex change needs to be progressed before volumes become large and unmanageable • Clarity needed ahead of Contracts for Difference Auctions in 2021 • April 2022 Implementation October Panel agreed to leave priority unchanged. | Katharina Birkner | ESO | TNUoS Charging Methodology for Co-located Generation
Low to Medium
CMP288 | • Panel recognised a lot of work done on this, but Workgroup Members on the Panel questioned whether or not 2 workgroups are sufficient to complete this • Materiality unclear as proposal seeks to add transparency to the existing arrangements October Panel agreed to leave priority unchanged. | Richard Woodward | NGET | Explicit charging arrangements for customer delays and backfeeds
CMP289 | • Panel recognised a lot of work done on this, but Workgroup Members on the Panel questioned whether or not 2 workgroups are sufficient to complete this • Materiality unclear as proposal seeks to add transparency to the existing arrangements October Panel agreed to leave priority unchanged. | Jon Wisdom | ESO | Consequential change to support the introduction of explicit charging arrangements for customer delays and backfeeds via CMP288
CMP315 | • Panel recognised there is a material impact here; however, argued that need to understand the TCR outcome before progressing further October Panel noted that CMP315 is considering similar subject matter to CMP353 and agreed that CMP315 could be considered, alongside any further Modification Proposals if necessary, as part of an enduring solution to address the potential issues in the current calculation of the Expansion Constant and Expansion Factors. As a decision is expected by 2 December 2020 on CMP353 and this decision may comment on potential enduring solutions, Panel agreed to leave priority for CMP315 unchanged until such decision is made. | Nick Sillito | PeakGen | TNUoS: Review of the expansion constant and the elements of the transmission system charged for
Low
CMP286 | • Panel recognised the work done so far but noted the interactions with TCR and the potential need for a 2nd Request for Information on CMP287. Need to understand the TCR outcome before progressing further October Panel agreed to leave priority unchanged. | Niall Coyle | Npower | Improving TNUoS Predictability Through Increased Notice of the Target Revenue used in the TNUoS Tariff Setting Process
CMP287 | • Panel recognised the work done so far but noted the interactions with TCR and the potential need for a 2nd Request for Information on CMP287. Need to understand the TCR outcome before progressing further October Panel agreed to leave priority unchanged. | Niall Coyle | Npower | Improving TNUoS Predictability Through Increased Notice of Inputs Used in the TNUoS Tariff Setting Process.
CMP291 | • Complex change • Enduring requirement but no compliance date set October Panel agreed to leave priority unchanged. | Garth Graham | SSE | The open, transparent, non discriminatory and timely publication of the harmonised rules for grid connection (in accordance with the RfG, DCC and HVDC) and the harmonised rules on system operation set out within the Bilateral Agreements
CMP307 | • Supported Proposer’s view to wait first for final 2nd BSUoS final Taskforce Recommendation (at end of September) and confirmation of Ofgem’s planned steps thereafter October Panel agreed to leave priority unchanged. | Simon Lord | Engie | Expanding the BSUoS charging base to include embedded generation
CMP308 | • Panel supportive of progressing but agreed to wait first for final 2nd BSUoS final Taskforce Recommendation (at end of November) and confirmation of Ofgem’s planned steps thereafter October Panel agreed to leave priority unchanged.- some Panel members believed it prudent to wait until Ofgem conclusions; whilst some Panel members supported the Proposer's opinion that direction of travel is known and better to get this re-started and get Workgroups in the diary. Panel noted that Ofgem's conclusions are due to be published soon at the end of November 2020 so by majority agreed to delay decision on priority for CMP308 until after such decision. | Simon Vicary | EDF | Removal of BSUoS charges from Generation
CMP311 | • Important in current Covid-19 environment to provide as much clarity for suppliers as possible • Solution already consulted on and even with revised solution anticipate 2 Workgroups to get this to Panel Workgroups were due to commence from November 2020; however, at September Panel, ESO highlighted that the RIIO draft determinations are due to be published in December and the ESO are anticipating that this will resolve the issue that CMP311 addresses. As this won’t be confirmed until the determinations are published, October Panel agreed to de-prioritise and revisit at January 2021 Panel. | James Stone | ESO | Reassessment of CUSC credit requirements for Suppliers, specifically for “User Allowed Credit” as defined in Section 3, Part III section 3.27 of the CUSC
CMP331 | • April 2022 Implementation at earliest • Materiality on the wider charging base not clear October Panel agreed to leave priority unchanged but noted requested implementation date of 1 April 2022. | Andy Pace | Energy Potential Limited | Option to replace generic Annual Load Factors (ALFs) with site specific ALFs
CMP341 | • Complex • Although a CACOP and Ofgem driven initiative, there does not appear to be any current industry appetite to progress October Panel agreed to leave priority unchanged. | Phil Smith | ESO | CUSC Sandbox: enabling derogation from certain obligations to support small-scale trials of innovative propositions