## Slide 1: Modelling Processes
GC0141
July 2020
Presented by
Mark Horley
https://nationalgrid.onbrandcloud.com/login/

## Slide 2: August 9th 2019 Power Disruption - The Actions from Ofgem & BEIS Reports

## Slide 3: Current Situation
RMS Covered in Planning Code
  PC.A.5 requires transfer block diagrams for RMS Models
  ESO allows PF models where transfer block diagrams visible
  Additional Models for specialist models
  Can be required under Planning Code PC.A.7
  Commonly EMT for HVDC
  Increasingly for Large Offshore Wind Farms

## Slide 4: Current Situation
System Operator Transmission Owner Code (STC)
  ESO required to pass User models to the TOs
  ESO pass test results to TOs
  ESO facilitate model development by TOs
  TOs can withhold issue of Operational Notifications if they are not satisfied with models.

## Slide 5: Current Situation Use of RMS Models
  Traditional rotor angle stability (basically assumes 50Hz)
  large network 250 sites 500 generators,
  Interfaces with Energy Management System for system state
  ESO runs 1500 contingencies, rerun every 15 minutes
  Also Energy Management System has PSAT/TSAT model

## Slide 6: Current Situation Use of EMT Models
  ESO
  not use as part of daily system operation
  Special studies in planning timescales mainly relating to HVDC
  TOs
  SSTI
  SSCI
  harmonic / resonance
  Transient Overvoltage / Inrush / Switching Transient

## Slide 7
nationalgrideso.com
  National Grid ESO, Faraday House, Warwick Technology Park, Gallows Hill, Warwick, CV346DA