Code Administrator Meeting Summary

GC0141 - Compliance Processes and Modelling amendments following 9th August Power Disruption

### Date: 25 August 2020

# Contact Details

### Chair: 	Joseph Henry, National Grid ESO 	joseph.henry2@nationalgrideso.com

07970673220

### Proposer: Mark Horley, National Grid ESO	mark.horley@nationalgrideso.com

# Key areas of discussion

The Workgroup discussed the following:

- Ofgem attended the meeting to give an update on their thinking on the requirement for Independent Engineer verification. The workgroup felt that it is difficult to find independent resources. Ofgem suggested that ESO could do with having more in-house resources and can review and suitably challenge the studies. ESO maintain internal or on call resources.  The workgroup will explore this in future workgroups.

- The workgroup reviewed the proposer’s original solutions for GC0138 and GC0141, and provided comment and scrutiny in this meeting. The Code Administrator collated these comments and they will be addressed by the proposer ahead of the next workgroup.

For further information, please contact the Code Administrator.