## TEC Register
TEC Register Report as on 31/10/2020
Customer Name | Project Name | Connection Site | MW Connected | MW Increase / Decrease | MW Total | MW Effective Date | Project Status | HOST TO | Plant Type
A'Chruach Wind Farm Limited | A'Chruach Wind Farm | A'Chruach Wind Farm | 43 | 0 | 43 |  | Built | SHET | Wind Onshore
District Energy Limited | Abedare | Upperboat 132kV | 10 | 0 | 10 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Aberarder Wind Farm Llp | Aberarder Wind Farm | Aberarder Wind Farm 132/33kV Substation | 0 | 49.99 | 49.99 | 29/07/2021 | Consents Approved | SHET | Wind Onshore
Aberdeen Offshore Wind Farm Limited | Aberdeen Offshore Wind Farm | Blackdog 132kV Substation | 95.5 | 0 | 95.5 |  | Built | SHET | Wind Offshore
Abergelli Power Limited | Abergelli Power Limited | Swansea North 400kV | 0 | 299 | 299 | 30/09/2022 | Scoping | NGET | OCGT (Open Cycle Gas Turbine)
Rwe Generation Uk Plc | Aberthaw | Aberthaw 275kV | 50 | 0 | 50 |  | Built | NGET | Coal
Enso Green Holdings Limited | Aberthaw (Tertiary) | Aberthaw 275kV | 0 | 57 | 57 | 31/10/2024 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Afton Wind Farm Limited | Afton Wind Farm | Afton | 50 | 0 | 50 |  | Built | SPT | Wind Onshore
Sse Generation Limited | Aigas (part of the Beauly Cascade) | Aigas | 20 | 0 | 20 |  | Built | SHET | Hydro
Aikengall Iia Community Wind Company Limited | Aikengall IIa Wind Farm | Westerdod 132kV | 76.2 | 0 | 76.2 |  | Built | SPT | Wind Onshore
|  | Westerdod 132kV | 0 | 5 | 81.2 | 02/07/2021 | Under Construction/Commissioning | SPT | Wind Onshore
Aikengall Ii Community Wind Company Limited | Aikengall II Windfarm | Westerdod 132kV | 63.8 | 0 | 63.8 |  | Built | SPT | Wind Onshore
Airies Windfarm Limited | Airies Wind Farm | Newton Stewart 132/33kV | 35 | 0 | 35 |  | Built | SPT | Wind Onshore
Pivoted Power Llp | Alverdiscott | Alverdiscott | 0 | 49.9 | 49.9 | 31/10/2023 | Scoping | NGET | Energy Storage System
Andershaw Wind Power Limited | Andershaw Wind Farm | Linnmill 132/33kV | 35 | 0 | 35 |  | Built | SPT | Wind Onshore
An Suidhe Wind Farm Limited | An Suidhe Wind Farm, Argyll (SRO) | Eredine Forest | 19.3 | 0 | 19.3 |  | Built | SHET | Wind Onshore
Scottishpower Renewables (Uk) Limited | Ardkinglas | Ardkinglas | 19.25 | 0 | 19.25 |  | Built | SHET | Wind Onshore
Scottishpower Renewables (Uk) Limited | Arecleoch | Arecleoch 132kV | 114 | 0 | 114 |  | Built | SPT | Wind Onshore
Scottishpower Renewables (Uk) Limited | Arecleoch Windfarm Extension | Arecleoch 132kV | 0 | 72.8 | 72.8 | 31/10/2025 | Scoping | SPT | Wind Onshore
Brookfield Renewable Uk Limited | Armadale Wind Farm | Armadale Windfarm 132/33kV Substation | 0 | 99 | 99 | 31/08/2025 | Awaiting Consents | SHET | Wind Onshore
Artfield Forest Wind Farm Ltd | Artfield Forest Windfarm | Newton Stewart | 0 | 67.2 | 67.2 | 01/05/2025 | Scoping | SPT | Wind Onshore
Assel Valley Wind Energy Limited | Assel Valley Wind Farm | Maybole 132/33KV | 29.95 | 0 | 29.95 |  | Built | SPT | Wind Onshore
Auchrobert Wind Energy Limited | Auchrobert Wind Farm | Linmill 132/33kV | 36 | 0 | 36 |  | Built | SPT | Wind Onshore
Awel Y Mor Offshore Wind Farm Limited | Awel Y Mor Extension | Gwynt y Mor 132/33kV Offshore Substation | 0 | 580 | 580 | 01/04/2027 | Scoping | OFTO | Wind Offshore
Pivoted Power Llp | Axminster | Axminster | 0 | 49.9 | 49.9 | 31/10/2022 | Scoping | NGET | Energy Storage System
Enso Green Holdings B Limited | Axminster - New Connection | Axminster | 0 | 49.9 | 49.9 | 30/06/2025 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Axminster | 0 | 49.9 | 99.8 | 30/06/2026 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Axminster | 0 | 20.2 | 120 | 30/12/2026 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Hb825Axm Ltd | Axminster Tertiary | Axminster | 0 | 49.9 | 49.9 | 01/10/2022 | Scoping | NGET | Energy Storage System
Rwe Renewables Uk Swindon Limited | Bad a Cheo Wind Farm | Mybster 3 33kV | 26.65 | 0 | 26.65 |  | Built | SHET | Wind Onshore
Baglan Generating Limited | Baglan Bay | Baglan Bay | 552 | 0 | 552 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
|  | Baglan Bay | 0 | 41 | 593 | 31/10/2022 | Under Construction/Commissioning | NGET | CCGT (Combined Cycle Gas Turbine)
Baillie Windfarm Limited | Baillie Wind Farm | Dounreay | 52.5 | 0 | 52.5 |  | Built | SHET | Wind Onshore
Barrow Offshore Wind Limited | Barrow Offshore Wind Farm | Barrow 132/33kV Offshore Substation | 90 | 0 | 90 |  | Built | OFTO | Wind Offshore
Viridis 178 Limited | Barton Hill | Abham GSP | 20.88 | 0 | 20.88 |  | Built | NGET | CHP (Combined Heat and Power)
Beatrice Offshore Windfarm Limited | Beatrice Wind Farm | Beatrice 33/132kV Offshore Substations | 588 | 0 | 588 |  | Built | SHET | Wind Offshore
Peel L&P Wind Farms (Yell) Limited | Beaw Field Wind Farm | Yell | 0 | 72 | 72 | 01/04/2024 | Consents Approved | SHET | Wind Onshore
Citigen (London) Limited | Beech Street/City Road | Beech Street/City Road | 30 | 0 | 30 |  | Built | NGET | CHP (Combined Heat and Power)
Scottishpower Renewables (Uk) Limited | Beinn an Tuirc 2 | Carradale | 43.7 | 0 | 43.7 |  | Built | SHET | Wind Onshore
Scottishpower Renewables (Uk) Limited | Beinn an Tuirc 3 | Carradale 132/33kV Substation | 0 | 25 | 25 | 30/11/2020 | Consents Approved | SHET | Wind Onshore
Beinneun Wind Farm Ltd | Beinneun Wind Farm | Beinneun 132/33kV substation | 109 | 0 | 109 |  | Built | SHET | Wind Onshore
Scottishpower Renewables (Uk) Limited | Beinn Tharsuinn | Alness GSP | 29 | 0 | 29 |  | Built | SHET | Wind Onshore
Scottishpower Renewables (Uk) Limited | Beinn Tharsuinn Extension | Beinn Tharsuinn Extension 132/33kV | 0 | 44.8 | 44.8 | 01/10/2024 | Scoping | SHET | Wind Onshore
|  | Beinn Tharsuinn Extension 132/33kV | 0 | 39.2 | 84 | 01/10/2027 | Scoping | SHET | Wind Onshore
Rwe Renewables Uk Developments Limited | Benbrack Wind Farm | Benbrack 33kV Substation | 0 | 72 | 72 | 30/05/2023 | Awaiting Consents | SPT | Wind Onshore
Enso Green Holdings Limited | Berkswell (Tertiary) | Berkswell | 0 | 49.9 | 49.9 | 31/10/2025 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Berkswell | 0 | 7.1 | 57 | 31/10/2027 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Berry Burn Wind Farm Limited | Berry Burn Wind Farm | Berry Burn 275/33kV Substation | 67 | 0 | 67 |  | Built | SHET | Wind Onshore
Sse Generation Limited | Bhlaraidh Extension Wind Farm | Bhlaraidh 132/33kV Substation | 0 | 100.8 | 100.8 | 31/10/2024 | Scoping | SHET | Wind Onshore
Sse Generation Limited | Bhlaraidh Wind Farm | Bhlaraidh 132/33kV Substation | 108 | 0 | 108 |  | Built | SHET | Wind Onshore
Gea Bilbo Limited | Bilbo Farm | Strichen | 0 | 25 | 25 | 01/05/2021 | Scoping | SHET | PV Array (Photo Voltaic/solar)
Blackcraig Wind Farm (Scotland) Limited | Blackcraig Wind Farm | Black Craig | 52.9 | 0 | 52.9 |  | Built | SPT | Wind Onshore
Scottishpower Renewables (Uk) Limited | Blacklaw | Blacklaw Wind Farm | 118 | 0 | 118 |  | Built | SPT | Wind Onshore
Scottishpower Renewables (Uk) Limited | Blacklaw Extension | Blacklaw Extension | 60 | 0 | 60 |  | Built | SPT | Wind Onshore
Blarghour Wind Farm Limited | Blarghour Wind | Blarghour | 0 | 73.1 | 73.1 | 30/10/2025 | Scoping | SHET | Wind Onshore
Blary Hill Energy Limited | Blary Hill Wind Farm | Carradale | 0 | 35 | 35 | 30/04/2021 | Consents Approved | SHET | Wind Onshore
Bloxwich Energy Storage Limited | Bloxwich | Bustleholm 132kV | 41 | 0 | 41 |  | Built | NGET | Energy Storage System
Pivoted Power Llp | Bolney | Bolney 400kV Substation | 0 | 49.9 | 49.9 | 31/10/2022 | Scoping | NGET | Energy Storage System
Enso Green Holdings Limited | Bolney (tertiary) | Bolney 400kV Substation | 0 | 49.9 | 49.9 | 30/06/2023 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Bolney 400kV Substation | 0 | 7.1 | 57 | 31/10/2023 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Norfolk Boreas Limited | Boreas | Norfolk Boreas Offshore Substation |  | 1200 | 1200 | 01/04/2026 | Awaiting Consents | NGET | Wind Offshore
Bradwell Power Generation Company Limited | Bradwell B | Bradwell 400kV Substation | 0 | 1096 | 1096 | 30/11/2030 | Scoping | NGET | Nuclear
|  | Bradwell 400kV Substation | 0 | 1096 | 2192 | 30/11/2031 | Scoping | NGET | Nuclear
Brookfield Renewable Uk Limited | Braelangwell Wind Farm | Shin 132/33kV GSP Substation | 0 | 68 | 68 | 31/12/2023 | Awaiting Consents | SHET | Wind Onshore
Braes Of Doune Wind Farm (Scotland) Limited | Braes of Doune | Braco West 275/33kV GSP | 74 | 0 | 74 |  | Built | SHET | Wind Onshore
Pivoted Power Llp | Braintree | Braintree 400kV | 0 | 49.9 | 49.9 | 31/10/2024 | Awaiting Consents | NGET | Energy Storage System
Cse22 Limited | Braintree (Tertiary) | Braintree | 0 | 49.9 | 49.9 | 30/07/2025 | Scoping | NGET | PV Array (Photo Voltaic/solar)
Pivoted Power Llp | Bramford (Tertiary) | Bramford 400kV | 0 | 49.9 | 49.9 | 01/11/2023 | Awaiting Consents | NGET | Energy Storage System
Bramford Green Limited | Bramford Tertiary | Bramford 400kV | 0 | 49.9 | 49.9 | 31/10/2023 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Bramford 400kV | 0 | 7.1 | 57 | 31/10/2024 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Enso Green Holdings Limited | Bramley (tertiary) | Bramley 400kV | 0 | 57 | 57 | 31/10/2023 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Pivoted Power Llp | Bredbury | Bredbury 275kV | 0 | 49.9 | 49.9 | 31/10/2022 | Scoping | NGET | Energy Storage System
Brockwell Energy Limited | Breezy Hill Wind Farm | New Cumnock 132kV | 0 | 80 | 80 | 31/10/2027 | Scoping | SPT | Wind Onshore
Bridgwater Green Limited | Bridgwater (tertiary) | Bridgwater 400kV | 0 | 57 | 57 | 31/10/2024 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Enso Green Holdings Limited | Bridgwater 2 (tertiary) - New Conn | Bridgwater 400kV | 0 | 54 | 54 | 01/10/2024 | Scoping | NGET | Energy Storage System
Centrica Brigg Limited | Brigg | Keadby 400kV | 99 | 0 | 99 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Broken Cross Wind Farm Limited | Broken Cross Windfarm | Broken Cross Windfarm | 0 | 48 | 48 | 30/09/2023 | Awaiting Consents | SPT | Wind Onshore
Brownieleys Renewables Llp | Brownieleys | Fiddes 132/33KV GSP | 7.5 | 0 | 7.5 |  | Built | SHET | Wind Onshore
Burbo Extension Ltd | Burbo Bank Extension Offshore Wind Farm | BURBO BANK EXTENSION OFFSHORE | 258 | 0 | 258 |  | Built | NGET | Wind Offshore
Orsted Burbo (Uk) Limited | Burbo Bank Offshore Wind Farm |  | 90 |  | 90 |  | Built | NGET | Energy Storage System
Sse Generation Limited | Burghfield | Bramley | 47 | 0 | 47 |  | Built | NGET | Thermal
Eneco Burn Of Whilk Limited | Burn of Whilk Wind Farm | Mybster 1 | 22.5 | 0 | 22.5 |  | Built | SHET | Wind Onshore
Energy Power Resources Limited | Burwell | Burwell | 38 | 0 | 38 |  | Built | NGET | Biomass
Pivoted Power Llp | Burwell (Tertiary) | Burwell 400kV | 0 | 49.9 | 49.9 | 01/11/2022 | Awaiting Consents | NGET | Energy Storage System
Pivoted Power Llp | Bustleholme | Bustleholm | 0 | 49.9 | 49.9 | 22/10/2021 | Scoping | NGET | Energy Storage System
Renewable Energy Systems Limited | Cairn Duhie Wind Farm | Cairn Duhie 275Kv | 0 | 84 | 84 | 01/08/2026 | Scoping | SHET | Wind Onshore
Renewable Energy Systems Limited | Cairnmore Hill Wind Farm | Thurso South GSP | 0 | 36 | 36 | 31/08/2026 | Awaiting Consents | SHET | Wind Onshore
Upm-Kymmene (Uk) Limited | Caledonian Paper Mill (Meadowhead) | Meadowhead | 20 | 0 | 20 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine)
Enso Green Holdings Limited | Canterbury Tertiary | Canterbury | 0 | 49.9 | 49.9 | 31/10/2025 | Scoping | NGET | PV Array (Photo Voltaic/solar)
|  | Canterbury | 0 | 7.1 | 57 | 30/09/2026 | Scoping | NGET | PV Array (Photo Voltaic/solar)
Enso Green Holdings Limited | Capenhurst (Tertiary) | Capenhurst 275kV | 0 | 49.9 | 49.9 | 31/10/2025 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Capenhurst 275kV | 0 | 7.1 | 57 | 31/10/2027 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Zenobe Energy Limited | Capenhurst 275KV Substation | Capenhurst 275kV | 0 | 49.9 | 49.9 | 28/02/2022 | Scoping | NGET | Energy Storage System
Hd888Cap Limited | Capenhurst Gas | Capenhurst 275kV | 0 | 49.5 | 49.5 | 30/10/2022 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine)
Npower Renewables Ltd | Carnedd Wen Wind Farm | Mid-Wales West | 0 | 150 | 150 | 01/04/2026 | Scoping | NGET | Wind Onshore
Greenpower (Carraig Gheal) Limited | Carraig Gheal Wind Farm | Carraig Gheal 132/33kV Substation | 46 | 0 | 46 |  | Built | SHET | Wind Onshore
Scottishpower Renewables (Uk) Limited | Carrick Wind Farm | Carrick Wind Farm | 0 | 84 | 84 | 31/07/2024 | Scoping | SPT | Wind Onshore
Pivoted Power Llp | Carrington | Carrington 275kV | 0 | 49.9 | 49.9 | 31/10/2022 | Awaiting Consents | NGET | Energy Storage System
Carrington Power Limited | Carrington Power Station | Carrington | 910 | 0 | 910 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Sse Generation Limited | Cashlie (Part of Killin Cascade Hydro Scheme) | Cashlie | 11 | 0 | 11 |  | Built | SHET | Hydro
Uniper Uk Limited | CDCL | Cottam 400kV | 445 | 0 | 445 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Sse Generation Limited | Ceannacroc (part of the Moriston Cascade) | Ceannacroc | 20 | 0 | 20 |  | Built | SHET | Hydro
Rownall Farm Solar Limited | Cellarhead | Cellarhead 400kV | 0 | 57 | 57 | 01/05/2024 | Scoping | NGET | PV Array (Photo Voltaic/solar)
Conrad (Chatterley) Limited | Chatterley | Cellarhead 132kV | 20 | 0 | 20 |  | Built | NGET | Gas Reciprocating
Rwe Generation Uk Plc | Cheshire | Capenhurst 275kV | 90 | 0 | 90 |  | Built | NGET | OCGT (Open Cycle Gas Turbine)
Sse Generation Limited | Chickerell | Chickerell 400kV | 47 | 0 | 47 |  | Built | NGET | Thermal
Chirmorie Wind Farm Limited | Chirmorie Wind Farm | Chirmorie 132/ 33KV | 0 | 80 | 80 | 30/09/2023 | Consents Approved | SPT | Wind Onshore
Edf Energy Renewables Limited | Clash Gour | Clash Gour Wind Farm 132kV | 0 | 210 | 210 | 30/10/2024 | Awaiting Consents | SHET | Wind Onshore
Clashindarroch Wind Farm Limited | Clashindarroch | Clashindarroch | 37 | 0 | 37 |  | Built | SHET | Wind Onshore
Vattenfall Wind Power Ltd | Clashindarroch 2 | Cairnford | 0 | 77 | 77 | 30/04/2024 | Scoping | SHET | Wind Onshore
Christopher Moran Energy Limited | Clashindarroch Extension | Clashindarroch Windfarm Extension 132kV | 0 | 37.5 | 37.5 | 31/10/2023 | Scoping | SHET | Wind Onshore
Scottishpower Renewables (Uk) Limited | Clauchrie Windfarm | Clauchrie 132kV | 0 | 84 | 84 | 31/10/2025 | Scoping | SPT | Wind Onshore
Arl O09 Limited | Clayhill Farm | Greenfield Road | 40 | 0 | 40 |  | Built | NGET | Energy Storage System
Cleve Hill Solar Park Limited | Cleve Hill Solar Park | Cleve Hill 400kV | 0 | 350 | 350 | 30/05/2022 | Consents Approved | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Sse Generation Limited | Cloiche Wind Farm | Cloiche 132kV | 0 | 200 | 200 | 01/07/2025 | Scoping | SHET | Wind Onshore
Sse Generation Limited | Clunie (part of the Clunie Cascade) | Clunie | 61.2 | 0 | 61.2 |  | Built | SHET | Hydro
Clyde Windfarm (Scotland) Limited | Clyde North | Clyde North 275/33kV | 374.5 | 0 | 374.5 |  | Built | SPT | Wind Onshore
Clyde Windfarm (Scotland) Limited | Clyde South | Clyde South 275/33kV | 128.8 | 0 | 128.8 |  | Built | SPT | Wind Onshore
Codling Wind Park Limited | Codling Park Wind Farm | Pentir | 0 | 1000 | 1000 | 31/10/2024 | Scoping | NGET | Wind Offshore
Coire Glas Hydro Pumped Storage Limited | Coire Glas Pumped Storage | Coire Glas | 0 | 612 | 612 | 01/12/2027 | Consents Approved | SHET | Pump Storage
|  | Coire Glas | 0 | 684 | 1296 | 31/10/2029 | Scoping | SHET | Pump Storage
Coire Na Cloiche Windfarm Llp | Coire Na Cloiche | Alness GSP | 30 | 0 | 30 |  | Built | SHET | Wind Onshore
Uniper Uk Limited | Connahs Quay | Connah's Quay 400kV | 1380 | 0 | 1380 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Hd001Kir Ltd | Coopers Lane Kirkby | Kirkby 275kV | 0 | 49.5 | 49.5 | 30/10/2022 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine)
Corby Power Limited | Corby | Corby 132kV | 401 | 0 | 401 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Corriegarth Wind Energy Limited | Corriegarth | Corriegarth 132/33kV substation | 69 | 0 | 69 |  | Built | SHET | Wind Onshore
Corriegarth 2 Wind Farm Limited | Corriegarth 2 Wind Farm | Corriegarth 132/33kV substation | 0 | 96 | 96 | 01/04/2024 | Scoping | SHET | Wind Onshore
Corriemoillie Windfarm Limited | Corriemoillie Wind Farm | Corriemoillie 132/33kV Substation | 47.5 | 0 | 47.5 |  | Built | SHET | Wind Onshore
Coryton Energy Company, Ltd. | Coryton | Coryton South 400kV | 800 | 0 | 800 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Costa Head Wind Farm Limited | Costa Head Wind Farm | Costa Head 132/33kV Substation | 0 | 20.4 | 20.4 | 30/04/2025 | Awaiting Consents | SHET | Wind Onshore
Edf Energy (Thermal Generation) Limited | Cottam | Cottam 400kV | 0 | 0 | 0 |  | Built | NGET | Coal
Coronation Power Limited | Coupar Angus Battery Storage | Coupar Angus | 0 | 40 | 40 | 01/09/2021 | Consents Approved | SHET | Energy Storage System
Cour Wind Farm (Scotland ) Limited | Cour Wind Farm | Crossaig 132kV | 20.5 | 0 | 20.5 |  | Built | SHET | Wind Onshore
Pivoted Power Llp | Coventry | Coventry 275kV | 0 | 49.9 | 49.9 | 31/10/2021 | Awaiting Consents | NGET | Energy Storage System
Rwe Generation Uk Plc | Cowes | Fawley 400kV | 140 | 0 | 140 |  | Built | NGET | OCGT (Open Cycle Gas Turbine)
Pivoted Power Llp | Cowley | Cowley 400kV | 0 | 49.9 | 49.9 | 30/04/2020 | Awaiting Consents | NGET | Energy Storage System
Cowley Baldon Green Limited | Cowley (Tertiary) | Cowley 400kV | 0 | 49.9 | 49.9 | 31/10/2022 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Cowley 400kV | 0 | 7.1 | 57 | 31/10/2023 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Esb Asset Development Uk Limited | CPG Power | Carrington 400kV | 0 | 49.9 | 49.9 | 30/06/2026 | Scoping | NGET | Gas Reciprocating
Craig Wind Farm Limited | Craig II Wind Farm | Chapelcross 132/33kV Substation | 4.7 | 0 | 4.7 |  | Built | SPT | Wind Onshore
Creag Riabhach Wind Farm Ltd | Creag Riabhach Wind Farm | Creag Riabhach 132/33kV Substation | 0 | 92.4 | 92.4 | 05/07/2022 | Consents Approved | SHET | Wind Onshore
Crookedstane Windfarm Limited | Crookedstane Windfarm | Clyde South 275/33kV | 0 | 25.4 | 25.4 | 01/12/2021 | Consents Approved | SPT | Wind Onshore
Crossdykes Wf Limited | Crossdykes | Crossdykes 33kV Substation | 46 | 0 | 46 |  | Built | SPT | Wind Onshore
Muirhall Energy Limited | Crossdykes Extension | Ewe Hill | 0 | 40 | 40 | 30/11/2024 | Scoping | SPT | Wind Onshore
Drax Generation Enterprise Limited | Cruachan | Dalmally | 440 | 0 | 440 |  | Built | SPT | Pump Storage
Cryobattery One Limited | Cryogenic Battery System (Synchronous) |  | 0 | 49.9 | 49.9 | 26/08/2023 | Awaiting Consents | NGET | Energy Storage System
Crystal Rig Iii Limited | Crystal Rig III Wind Farm | Crystal Rig 400/132kV Substation | 13.8 | 0 | 13.8 |  | Built | SPT | Wind Onshore
Crystal Rig Ii Limited | Crystal Rig II Wind Farm | Crystal Rig 400/132kV Substation | 138 | 0 | 138 |  | Built | SPT | Wind Onshore
Crystal Rig Iv Limited | Crystal Rig IV Wind Farm | Crystal Rig 400/132kV Substation | 0 | 48.2 | 48.2 | 01/04/2022 | Under Construction/Commissioning | SPT | Wind Onshore
Sse Generation Limited | Culligran (part of the Beauly Cascade) | Culligran | 19.1 | 0 | 19.1 |  | Built | SHET | Hydro
Cumberhead Wind Energy Limited | Cumberhead | Cumberhead | 0 | 50 | 50 | 31/08/2022 | Awaiting Consents | SPT | Wind Onshore
Cumberhead West Wind Farm Ltd. | Cumberhead West Wind Farm | Cumberhead | 0 | 100 | 100 | 01/11/2024 | Awaiting Consents | SPT | Wind Onshore
Rwe Generation Uk Plc | Cwm Dyli | Trawfynydd | 10 | 0 | 10 |  | Built | NGET | Hydro
Statkraft Energy Ltd. | Cwm Rheidol |  | 50 | 0 | 50 |  | Built | NGET | Hydro
Rwe Renewables Uk Developments Limited | Daer Wind Farm | Daer Wind Farm | 0 | 96 | 96 | 14/07/2027 | Scoping | SPT | Wind Onshore
Dalquhandy Wind Farm Limited | Dalquhandy Wind Farm | Dalquhandy 132/33kV Substation | 0 | 45 | 45 | 29/07/2022 | Consents Approved | SPT | Wind Onshore
Dalswinton Wind Farm (Scotland) Ltd | Dalswinton | Dumfries GSP | 30 | 0 | 30 |  | Built | SPT | Wind Onshore
Drax Generation Enterprise Limited | Damhead Creek | Kingsnorth | 812 |  | 812 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Drax Generation Enterprise Limited | Damhead Creek 2 | Kingsnorth 400kV | 0 | 1800 | 1800 | 30/09/2022 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine)
Sse Generation Limited | Deanie (part of the Beauly Cascade) | Deanie | 38 | 0 | 38 |  | Built | SHET | Hydro
Deeside Power (Uk) Limited | Deeside Power Station | Deeside 400kV Substation | 1 | 0 | 1 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Dell Wind Farm Limited | Dell Wind Farm | Dell 132kv | 0 | 49.8 | 49.8 | 30/04/2026 | Awaiting Consents | SHET | Wind Onshore
Scottishpower Renewables (Uk) Limited | Dersalloch Wind Farm | Dersalloch | 69 | 0 | 69 |  | Built | SPT | Wind Onshore
Derwent Cogeneration Limited | Derwent | Willington 132kV | 0 | 162 | 162 | 30/10/2020 | Built | NGET | CHP (Combined Heat and Power)
Rwe Generation Uk Plc | Didcot A GTs | Didcot 400kV | 99.9 | 0 | 99.9 |  | Built | NGET | OCGT (Open Cycle Gas Turbine)
Rwe Generation Uk Plc | Didcot B | Didcot 400kV | 1450 | 0 | 1450 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
First Hydro Company | Dinorwig | Dinorwig 400kV | 1644 | 0 | 1644 |  | Built | NGET | Pump Storage
Doggerbank Offshore Wind Farm Project 1 Holdco Limited | Dogger Bank Project 1 | Dogger Bank 220kV Offshores | 0 | 1200 | 1200 | 01/04/2023 | Under Construction/Commissioning | NGET | Wind Offshore
Doggerbank Offshore Wind Farm Project 3 Holdco Limited | Dogger Bank Project 2 | Dogger Bank 220kV Offshores | 0 | 1500 | 1500 | 01/04/2024 | Consents Approved | NGET | Wind Offshore
Doggerbank Offshore Wind Farm Project 2 Holdco Limited | Dogger Bank Project 4 | Dogger Bank 220kV Offshores | 0 | 1200 | 1200 | 01/04/2024 | Under Construction/Commissioning | NGET | Wind Offshore
Rwe Generation Uk Plc | Dolgarrog | Pentir | 39 | 0 | 39 |  | Built | NGET | Hydro
Dorenell Windfarm Limited | Dorenell Windfarm | Dorenell 132/33kV | 177 | 0 | 177 |  | Built | SHET | Wind Onshore
Douglas West Wind Farm Ltd | Douglas West | Coalburn 132/33kV | 0 | 45 | 45 | 30/04/2021 | Under Construction/Commissioning | SPT | Wind Onshore
Douglas West Extension Ltd | Douglas West Extension | Douglas West Extension Windfarm | 0 | 60 | 60 | 31/07/2024 | Awaiting Consents | SPT | Wind Onshore
Viridis 178 Limited | Dowlais | Upperboat 132kV | 21 | 0 | 21 |  | Built | NGET | Thermal
Enso Green Holdings Limited | Drakelow | Drakelow 400kV | 0 | 57 | 57 | 31/10/2024 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Drax Power Limited | Drax (Biomass) | Drax | 1905 | 0 | 1905 |  | Built | NGET | Biomass
Drax Power Limited | Drax (CCGT) | Drax | 0 | 1190 | 1190 | 01/04/2023 | Scoping | NGET | CCGT (Combined Cycle Gas Turbine)
Drax Power Limited | Drax (Coal) | Drax | 2001 | -65 | 1936 | 01/04/2023 | Built | NGET | Coal
Enso Green Holdings D Limited | Drax - New Connection | Drax | 0 | 49.9 | 49.9 | 30/06/2025 | Scoping | NGET | Energy Storage System
|  | Drax | 0 | 49.9 | 99.8 | 30/06/2026 | Scoping | NGET | Energy Storage System
|  | Drax | 0 | 20.2 | 120 | 30/12/2026 | Scoping | NGET | Energy Storage System
Druim Leathann Windfarm Limited | Druim Leathann BEGA | Stornoway 132/33kV Substation | 0 | 49.7 | 49.7 | 01/04/2025 | Scoping | SHET | Wind Onshore
Dudgeon Offshore Wind Limited | Dudgeon Offshore Wind Farm | Necton 400kV | 400 | 0 | 400 |  | Built | NGET | Wind Offshore
Edf Energy Nuclear Generation Limited | Dungeness B | Dungeness 275kV | 1120 | 0 | 1120 |  | Built | NGET | Nuclear
Scottishpower Renewables (Uk) Limited | Dunlaw Extension | Dunlaw Extension | 29.75 | 0 | 29.75 |  | Built | SPT | Wind Onshore
Dunmaglass Wind Farm Limited | Dunmaglass Wind Farm | Beauly/Foyers | 94 | 0 | 94 |  | Built | SHET | Wind Onshore
Scottishpower Renewables (Uk) Limited | East Anglia 2 | EA2A and EA2B 275/66kV Offshore Platform | 0 | 860 | 860 | 01/11/2024 | Awaiting Consents | NGET | Wind Offshore
East Anglia Three Limited | East Anglia 3 | EA3A and EA3B 320/66kV Offshore Platform | 0 | 600 | 600 | 01/04/2023 | Consents Approved | NGET | Wind Offshore
|  | EA3A and EA3B 320/66kV Offshore Platform | 0 | 600 | 1200 | 01/04/2023 | Consents Approved | NGET | Wind Offshore
East Anglia One Limited | East Anglia One | Platform EA One 220/66kV Offshore | 680 | 0 | 680 |  | Built | NGET | Wind Offshore
East Anglia One North Limited | East Anglia One North | EA1N 275/66kV Offshore Platform | 0 | 860 | 860 | 01/04/2027 | Awaiting Consents | OFTO | Wind Offshore
Custodian Energy Limited | East Claydon | East Claydon | 0 | 500 | 500 | 30/11/2025 | Awaiting Consents | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Vattenfall Wind Power Ltd | Edinbane Wind, Skye | Edinbane | 41.4 | 0 | 41.4 |  | Built | SHET | Wind Onshore
Eggborough Power Ltd | Eggborough | Eggborough 400kV | 0 | 2450 | 2450 | 01/10/2024 | Awaiting Consents | NGET | CCGT (Combined Cycle Gas Turbine); Energy Storage System; OCGT (Open Cycle Gas Turbine)
Eggborough Power Ltd | Eggborough (Coal) | Eggborough 400kV | 0 | 0 | 0 |  | Built | NGET | Coal
Elchies Wind Limited | Elchies Wind Farm | Elchies 132/33kV Substation | 0 | 99 | 99 | 30/06/2025 | Scoping | SHET | Wind Onshore
Elstree Green Limited | Elstree (tertiary) | Elstree 275kV | 0 | 49.9 | 49.9 | 31/10/2025 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Elstree 275kV | 0 | 7.1 | 57 | 31/10/2027 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Cse20 Limited | Elstree 2 (Tertiary) | Elstree 400kV | 0 | 49.5 | 49.5 | 01/07/2024 | Scoping | NGET | CCGT (Combined Cycle Gas Turbine)
Hb197End Limited | Enderby | Enderby | 0 | 49.9 | 49.9 | 01/09/2023 | Scoping | NGET | Energy Storage System
Energy Isles Shetland Limited | Energy Isles | Energy Isles 132kV | 0 | 120.3 | 120.3 | 01/04/2024 | Awaiting Consents | SHET | Wind Offshore
Uniper Uk Limited | Enfield | Brimsdown 132kV | 442 | 0 | 442 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Rwe Renewables Uk Developments Limited | Enoch Hill | Enoch Hill 132/33kV | 0 | 69 | 69 | 30/05/2023 | Scoping | SPT | Wind Onshore
Equinor New Energy Limited | Equinor | Scira-Dudgeon Extension 220/66kV Offshore Substation | 0 | 719 | 719 | 01/09/2025 | Scoping | NGET | Wind Offshore
Scottishpower Renewables (Uk) Limited | Euchanhead Wind Farm | Euchanhead 132kV | 0 | 112 | 112 | 30/10/2026 | Scoping | SPT | Wind Onshore
Scottishpower Renewables (Uk) Limited | Ewe Hill | Ewe Hill | 39 | 0 | 39 |  | Built | SPT | Wind Onshore
Pivoted Power Llp | Exeter (Tertiary) | Exeter Main 400kV | 0 | 49.9 | 49.9 | 01/11/2025 | Awaiting Consents | NGET | Energy Storage System
Exeter Main Solar Limited | Exeter Main Tertiary | Exeter Main 400kV | 57 |  | 57 | 01/12/2020 | Scoping | NGET | Thermal
Edf Energy Renewables Limited | Fallago Rig 2 | Fallago 400kV Substation | 0 | 41.4 | 41.4 | 31/10/2023 | Awaiting Consents | SPT | Wind Onshore
Fallago Rig Windfarm Limited | Fallago Rig Wind Farm | Fallago 400kV Substation | 144 | 0 | 144 |  | Built | SPT | Wind Onshore
Farr Windfarm Limited | Farr Wind Farm, Tomatin | Beauly | 92 | 0 | 92 |  | Built | SHET | Wind Onshore
Sse Generation Limited | Fasnakyle G1 & G2 | Fasnakyle | 46 | 0 | 46 |  | Built | SHET | Hydro
Sse Generation Limited | Fasnakyle G3 & G4 | Fasnakyle | 30.5 | 0 | 30.5 |  | Built | SHET | Hydro
Scottishpower Renewables (Uk) Limited | Fasque Windfarm | Fasque Wind Farm 132kV | 0 | 90 | 90 | 31/10/2026 | Scoping | SHET | Wind Onshore
Esso Petroleum Company,Limited | Fawley CHP | Fawley 400kV | 158 | 0 | 158 |  | Built | NGET | CHP (Combined Heat and Power)
Community Windpower Limited | Faw Side Community Wind Farm | Faw Side Community Wind Farm | 0 | 250 | 250 | 31/10/2025 | Awaiting Consents | SPT | Wind Onshore
Statkraft Uk Ltd | Feckenham | Feckenham 400kV | 0 | 12 | 12 | 30/06/2022 | Scoping | NGET | Energy Storage System; Reactive Compensation
Keadby Generation Limited | Ferrybridge D | Ferrybridge | 0 | 1820 | 1820 | 01/09/2026 | Scoping | NGET | CCGT (Combined Cycle Gas Turbine)
First Hydro Company | Ffestiniog | Ffestiniog 275kV | 360 | 0 | 360 |  | Built | NGET | Pump Storage
Keadby Generation Limited | Fiddlers Ferry | Fiddlers Ferry | 0 | 0 | 0 |  | Built | NGET | Coal
Sse Generation Limited | Finlarig | Finlarig | 16.5 | 0 | 16.5 |  | Built | SHET | Hydro
Seagreen Wind Energy Limited | Firth of Forth Offshore Wind Farm 2A | Branxton 400kV | 0 | 700 | 700 | 01/04/2023 | Scoping | SPT | Wind Offshore
Seagreen Wind Energy Limited | Firth of Forth Offshore Wind Farm 2B | Branxton 400kV | 0 | 700 | 700 | 01/04/2024 | Scoping | SPT | Wind Offshore
Seagreen Wind Energy Limited | Firth of Forth Phase 1 | Tealing 275/33kV | 0 | 1075 | 1075 | 31/12/2021 | Consents Approved | SHET | Wind Offshore
Rwe Renewables Uk Swindon Limited | Five Estuaries Offshore Wind Farm | Galloper North 132/33kV | 0 | 348 | 348 | 01/04/2029 | Scoping | NGET | Wind Offshore
Cse23 Limited | Fleet (Tertiary) | Fleet 400kV | 0 | 49.9 | 49.9 | 10/01/2025 | Scoping | NGET | PV Array (Photo Voltaic/solar)
Enso Green Holdings Limited |  | Fleet 400kV | 0 | 49.9 | 49.9 | 31/10/2025 | Awaiting Consents | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Fleet 400kV | 0 | 7.1 | 57 | 31/10/2026 | Awaiting Consents | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Fleet Solar Limited | Fleet Tertiary | Fleet 400kV | 0 | 57 | 57 | 01/05/2024 | Scoping | NGET | Thermal
Whitetower Energy Limited | Fort Dunlop | Dunlop 132kV | 99 | 0 | 99 |  | Built | NGET | OCGT (Open Cycle Gas Turbine)
Sse Generation Limited | Foyers | Foyers | 300 | 0 | 300 |  | Built | SHET | Pump Storage
Freasdail Energy Limited | Freasdail | Crossaig 132kV | 22.2 | 0 | 22.2 |  | Built | SHET | Wind Onshore
Galawhistle Wind Farm Limited | Galawhistle Wind Farm | Galawhistle 132/33kV | 55.2 | 0 | 55.2 |  | Built | SPT | Wind Onshore
Galloper Wind Farm Limited | Galloper Wind Farm | Galloper North 132/33kV | 348 | 0 | 348 |  | Built | NGET | Wind Offshore
Gateway Energy Centre Limited | Gateway Energy Centre Power Station | Coryton South 400kV | 0 | 619.99 | 619.99 | 30/09/2023 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine); Energy Storage System; OCGT (Open Cycle Gas Turbine)
|  | Coryton South 400kV | 0 | 380.01 | 1000 | 30/09/2024 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine); Energy Storage System; OCGT (Open Cycle Gas Turbine)
Green Investment Group Limited | GIGL Offshore Wind Farm |  | 0 | 1500 | 1500 | 01/04/2033 | Scoping | NGET | Wind Offshore
Epr Glanford Limited | Glanford | Keadby | 15 | 0 | 15 |  | Built | NGET | Biomass
Renewable Energy Systems Limited | Gleann Eoghainn | Dunvegan 132/33kV | 0 | 25 | 25 | 31/05/2027 | Awaiting Consents | SHET | Wind Onshore
Scottishpower Renewables (Uk) Limited | Glen App Windfarm | Glen App and Loch Ree 132/33kV Substation | 32.2 | 0 | 32.2 |  | Built | SPT | Wind Onshore
Sse Renewables Services (Uk) Limited | Glencassley Wind Farm | Shin 132/33kV GSP Substation | 0 | 65 | 65 | 30/04/2024 | Awaiting Consents | SHET | Wind Onshore
Glenchamber Wind Energy Limited | Glenchamber Wind Farm | Glenluce | 25.3 | 0 | 25.3 |  | Built | SPT | Wind Onshore
|  | Glenluce | 0 | 2.2 | 27.5 | 30/10/2022 | Consents Approved | SPT | Wind Onshore
Sse Generation Limited | Glendoe | Fort Augustus | 99.9 | 0 | 99.9 |  | Built | SHET | Hydro
Glen Kyllachy Wind Farm Limited | Glen Kyllachy Wind Farm | Glen Kyllachy Wind Farm | 0 | 48.5 | 48.5 | 30/04/2021 | Consents Approved | SHET | Wind Onshore
Sse Generation Limited | Glenmoriston (part of the Moriston Cascade) | Glenmoriston | 40 | 0 | 40 |  | Built | SHET | Hydro
Glenmuckloch Pumped Storage Hydro Limited | Glenmuckloch Pumped Storage | Glenmuckloch 132kV Substation | 0 | 210 | 210 | 30/04/2024 | Consents Approved | SPT | Pump Storage
Glenmuckloch Renewable Energy Limited | Glenmuckloch Wind Farm | Glenmuckloch 132kV Substation | 0 | 33.6 | 33.6 | 30/04/2024 | Awaiting Consents | SPT | Wind Onshore
Simec Wind One Ltd | Glenshero | Glenshero | 0 | 168 | 168 | 31/08/2024 | Scoping | SHET | Wind Onshore
Energyfarm Uk Glenshimmeroch Llp | Glenshimmeroch Windfarm | Glenshimmeroch 132kV | 0 | 48 | 48 | 31/10/2023 | Awaiting Consents | SPT | Wind Onshore
Glens Of Foudland Wind Farm Ltd | Glens of Foudland Wind (SRO) | Keith | 26 | 0 | 26 |  | Built | SHET | Wind Onshore
Glen Ullinish Wf 2 Ltd | Glen Ullinish Extension | Glen Ullinish 132/33kV Substation | 0 | 240 | 240 | 31/07/2026 | Scoping | SHET | Wind Onshore
Kilmac Energy (Glen Ullinish) Ltd | Glen Ullinish Wind Farm | Glen Ullinish 132/33kV Substation | 0 | 49.9 | 49.9 | 31/12/2025 | Consents Approved | SHET | Wind Onshore
Rwe Renewables Uk Swindon Limited | Goole Fields Wind farm | DNO - Camblesforth 66kV | 32 | 0 | 32 |  | Built | NGET | Wind Onshore
Sse Generation Limited | Gordonbush Wind Farm | Gordonbush | 70 | 0 | 70 |  | Built | SHET | Wind Onshore
|  | Gordonbush | 0 | 38 | 108 | 01/04/2021 | Awaiting Consents | SHET | Wind Onshore
Gordonstown Hill Wind Farm Limited | Gordonstown Hill Wind Farm | Kintore | 12.5 | 0 | 12.5 |  | Built | SHET | Wind Onshore
Uniper Uk Limited | Grain | Grain 400kV | 1517 | 0 | 1517 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Grangemouth Chp Ltd | Grangemouth CHP | Grangemouth | 120 | 0 | 120 |  | Built | SPT | CHP (Combined Heat and Power)
Greater Gabbard Offshore Winds Ltd | Greater Gabbard Offshore Wind Farm | Gabbard 33/132kV Offshore Substation | 500 | 0 | 500 |  | Built | OFTO | Wind Offshore
Rwe Generation Uk Plc | Great Yarmouth | DNO - Norwich 132kV | 420 | 0 | 420 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Reg Greenburn Limited | Greenburn Mixed Technology | Greenburn Mixed Technology 132kV | 0 | 90 | 90 | 31/10/2027 | Scoping | SPT | Wind Onshore
Viridis 178 Limited | Green Frog @ Alcoa |  | 40 | 0 | 40 |  | Built | NGET | OCGT (Open Cycle Gas Turbine)
Viridis 178 Limited | Green Frog @ Down Barn Farm | Lovedean 400kV | 20 | 0 | 20 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Viridis 178 Limited | Green Frog @ Goose House Lane | DNO - Rochdale 132kV | 21 | 0 | 21 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Viridis 178 Limited | Green Frog @ Letchworth | Wymondley | 15 | 0 | 15 |  | Built | NGET | OCGT (Open Cycle Gas Turbine)
Viridis 178 Limited | Green Frog @ Moorfield Drive | Padiham 132kV | 21 | 0 | 21 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Viridis 178 Limited | Green Frog @ Rake Lane | DNO - Kearsley 132kV | 21 | 0 | 21 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Viridis 178 Limited | Green frog @ The Drove |  | 6 | 0 | 6 |  | Built | NGET | OCGT (Open Cycle Gas Turbine)
Viridis 178 Limited | Green Frog at Lester Way | Cowley | 12 | 0 | 12 |  | Built | NGET | OCGT (Open Cycle Gas Turbine)
Greengairs East Wind Farm Limited | Greengairs East Wind Farm | Cumbernauld | 0 | 42.64 | 42.64 | 25/11/2022 | Awaiting Consents | SPT | Wind Onshore
Greta I Limited | Greta II |  | 0 | 500 | 500 | 01/10/2027 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Griffin Wind Farm Limited | Griffin Wind Farm | Errochty / Burghmuir | 188.6 | 0 | 188.6 |  | Built | SHET | Wind Onshore
Gunfleet Sands Ii Ltd | Gunfleet Sands II Offshore Wind Farm | Gunfleet Sands 33/132kV Offshore | 64 | 0 | 64 |  | Built | OFTO | Wind Offshore
Gunfleet Sands Ltd | Gunfleet Sands Offshore Wind Farm | Gunfleet Sands 33/132kV Offshore | 99.9 | 0 | 99.9 |  | Built | OFTO | Wind Offshore
Gwynt Y Mor Offshore Wind Farm Limited | Gwynt Y Mor Offshore Wind Farm | Gwynt y Mor 132/33kV Offshore Substation | 574 | 0 | 574 |  | Built | OFTO | Wind Offshore
Sse Generation Limited | Hadyard Hill | Maybole 132/33KV | 99.9 | 0 | 99.9 |  | Built | SPT | Wind Onshore
Hagshaw Hill Repowering Ltd | Hagshaw Hill Phase 1 | Coalburn 132/33kV | 0 | 30 | 30 | 30/05/2024 | Scoping | SPT | Wind Onshore
Hagshaw Hill Repowering Ltd | Hagshaw Hill Phase 2 | Coalburn 132/33kV | 0 | 54 | 54 | 30/05/2024 | Scoping | SPT | Wind Onshore
Scottishpower Renewables (Uk) Limited | Halsary Wind Farm | Mybster 132/33kV Substation | 28.5 | 0 | 28.5 |  | Built | SHET | Wind Onshore
Ldv Harburnhead Limited | Harburnhead Wind Farm | Livingston East | 51.7 | 0 | 51.7 |  | Built | SPT | Wind Onshore
Scottishpower Renewables (Uk) Limited | Hare Hill Extension Wind Farm | Coylton | 29.75 | 0 | 29.75 |  | Built | SPT | Wind Onshore
Scottishpower Renewables (Uk) Limited | Harestanes | Harestanes | 125 | 0 | 125 |  | Built | SPT | Wind Onshore
|  | Harestanes | 0 | 38.3 | 163.3 | 01/11/2021 | Under Construction/Commissioning | SPT | Wind Onshore
Pivoted Power Llp | Harker | Harker 400kV | 0 | 49.9 | 49.9 | 31/10/2024 | Consents Approved | NGET | Energy Storage System
Banks Renewables (Harting Rig Wind Farm) Limited | Harting Rig Wind Farm | Harting Rig 132/33kV | 0 | 67.2 | 67.2 | 12/09/2022 | Consents Approved | SPT | Wind Onshore
Edf Energy Nuclear Generation Limited | Hartlepool | Hartlepool 275kV | 1207 | 0 | 1207 |  | Built | NGET | Nuclear
Edf Energy Renewables Limited | Heathland Wind Farm | Heathland Wind Farm 132/33kV Substation | 0 | 84 | 84 | 31/03/2027 | Scoping | SPT | Wind Onshore
Hesta Head Wind Farm Limited | Hesta Head Wind Farm | Hesta Head 132/33kV Substation | 0 | 20.4 | 20.4 | 30/04/2025 | Awaiting Consents | SHET | Wind Onshore
Edf Energy Nuclear Generation Limited | Heysham Power Station | Heysham | 2388 | 0 | 2388 |  | Built | NGET | Nuclear
High Constellation Windfarm Limited | High Constellation Windfarm | Crossaig 132kV | 0 | 50 | 50 | 31/10/2026 | Scoping | SHET | Wind Onshore
Enso Green Holdings Limited | High Marnham (Tertiary) | High Marnham | 0 | 49.9 | 49.9 | 31/10/2024 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | High Marnham | 0 | 7.1 | 57 | 31/10/2026 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Hvs Gridco Ltd | Highview Hunterston East Cryobattery | Highview Hunterston East Cryobattery 400kV Substation | 0 | 99.8 | 99.8 | 30/10/2024 | Scoping | SPT | Energy Storage System; Reactive Compensation
Hill Of Glaschyle Renewables Llp | Hill of Glaschyle | Berry Burn 275/33kV Substation | 27.6 | 0 | 27.6 |  | Built | SHET | Wind Onshore
Hill Of Towie Limited | Hill of Towie/Drummuir | Drummuir Windfarm at Keith 33kV Grid Supply Point | 48.3 | 0 | 48.3 |  | Built | SHET | Wind Onshore
Renewable Energy Systems Limited | Hill of Towie 2 Wind Farm | Keith 2 | 0 | 36 | 36 | 27/06/2025 | Consents Approved | SHET | Wind Onshore
Edf Energy Nuclear Generation Limited | Hinkley Point B | Hinkley Point 400kV | 1061 | 0 | 1061 |  | Built | NGET | Nuclear
Edf Energy Nuclear Generation Limited | Hinkley Point C | Hinkley Point 400kV | 0 | 1670 | 1670 | 06/12/2024 | Consents Approved | NGET | Nuclear
|  | Hinkley Point 400kV | 0 | 1670 | 3340 | 06/12/2025 | Consents Approved | NGET | Nuclear
Hirwaun Power Limited | Hirwaun Power Station | Rhigos | 0 | 299 | 299 | 10/07/2021 | Consents Approved | NGET | OCGT (Open Cycle Gas Turbine)
Harmony Hb Limited | Holes Bay | Holes Bay Battery Storage | 7.5 | 0 | 7.5 |  | Built | NGET | Energy Storage System
Scottishpower Renewables (Uk) Limited | Hollandmey Windfarm | Hollandmey 132kV | 0 | 49.5 | 49.5 | 31/08/2025 | Scoping | SHET | Wind Onshore
Orthios Power (Anglesey) Limited | Holyhead | Penrhos | 0 | 150 | 150 | 31/10/2021 | Consents Approved | NGET | Biomass
|  | Penrhos | 0 | 60 | 210 | 01/04/2023 | Consents Approved | NGET | Biomass
Hopsrig Wind Farm Limited | Hopsrig Wind Farm | Hopsrig Wind Farm 132/33kV Substation | 0 | 48 | 48 | 31/10/2022 | Consents Approved | SPT | Wind Onshore
Hornsea 1 Limited | Hornsea Power Station 1A | Hornsea Platform 1A Offshore | 400 | 0 | 400 |  | Built | NGET | Wind Offshore
Hornsea 1 Limited | Hornsea Power Station 1B | Hornsea Platform 1B Offshore | 400 | 0 | 400 |  | Built | NGET | Wind Offshore
Hornsea 1 Limited | Hornsea Power Station 1C | Hornsea Platform 1C Offshore | 400 | 0 | 400 |  | Built | NGET | Wind Offshore
Breesea Limited | Hornsea Power Station 2A | Hornsea Platform 2A Offshore Substation | 0 | 440 | 440 | 01/10/2020 | Under Construction/Commissioning | NGET | Wind Offshore
Soundmark Wind Limited | Hornsea Power Station 2B | Hornsea Platform 2B Offshore | 0 | 440 | 440 | 01/04/2021 | Under Construction/Commissioning | NGET | Wind Offshore
Sonningmay Wind Limited | Hornsea Power Station 2C | Hornsea Power Station 2C Offshore platform | 0 | 440 | 440 | 01/10/2021 | Under Construction/Commissioning | NGET | Wind Offshore
Orsted Hornsea Project Three (Uk) Limited | Hornsea Power Station 3 | Hornsea Offshore Platform 3 | 0 | 2000 | 2000 | 31/10/2025 | Awaiting Consents | NGET | Wind Offshore
|  | Hornsea Offshore Platform 3 | 0 | 1000 | 3000 | 31/12/2028 | Awaiting Consents | NGET | Wind Offshore
Orsted Hornsea Project Four Limited | Hornsea Power Station 4 | Hornsea Offshore Platform 4 | 0 | 1500 | 1500 | 01/04/2027 | Scoping | NGET | Wind Offshore
|  | Hornsea Offshore Platform 4 | 0 | 1100 | 2600 | 31/10/2028 | Scoping | NGET | Wind Offshore
Rwe Renewables Uk Humber Wind Limited | Humber Gateway Offshore Wind Farm | Humber Gateway 33/132kV Offshore Substation | 220 | 0 | 220 |  | Built | OFTO | Wind Offshore
Edf Energy Nuclear Generation Limited | Hunterston | Hunterston 400kV Substation | 1000 | 0 | 1000 |  | Built | SPT | Nuclear
Flexiblegridpower2 Ltd | Hunterston Battery Storage Facility |  | 0 | 200 | 200 | 12/04/2024 | Scoping | SPT | Energy Storage System; Reactive Compensation
District Energy Limited | Huntworth | Taunton | 10 | 0 | 10 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Pivoted Power Llp | Hutton | Hutton | 0 | 49.9 | 49.9 | 31/10/2023 | Awaiting Consents | NGET | Energy Storage System
Hywind (Scotland) Limited | Hywind Wind Farm | Peterhead Grange | 30 | 0 | 30 |  | Built | SHET | Wind Onshore
Vpi Immingham Llp | Immingham | Humber Refinery 400kV | 1218 | 0 | 1218 |  | Built | NGET | CHP (Combined Heat and Power)
|  | Humber Refinery 400kV | 0 | 50 | 1268 | 01/10/2020 | Under Construction/Commissioning | NGET | CHP (Combined Heat and Power)
Inch Cape Offshore Limited | Inch Cape Offshore Wind Farm Platform 1 | Inch Cape Platform 1 220/66kV Offshore Substation | 0 | 540 | 540 | 01/04/2024 | Consents Approved | SPT | Wind Offshore
Inch Cape Offshore Limited | Inch Cape Offshore Wind Farm Platform 2 | Inch Cape Platform 2 220/66kV Offshore Substation | 0 | 540 | 540 | 01/04/2024 | Consents Approved | SPT | Wind Offshore
Indian Queens Power Limited | Indian Queens | Indian Queens 400kV | 140 | 0 | 140 |  | Built | NGET | OCGT (Open Cycle Gas Turbine)
Iq Energy Centre Limited |  | Indian Queens 400/33kV Substation | 0 | 49.9 | 49.9 | 30/10/2024 | Scoping | NGET | Energy Storage System
Pivoted Power Llp |  | Indian Queens 400kV | 0 | 49.9 | 49.9 | 31/10/2023 | Awaiting Consents | NGET | Energy Storage System
Sse Generation Limited | Invergarry (part of the Garry Cascade) | Invergarry | 20 | 0 | 20 |  | Built | SHET | Hydro
Iron Acton Green Limited | Iron Acton | Iron Acton | 0 | 120 | 120 | 30/11/2021 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Hd000Act Ltd | Iron Acton Tertiary Connection | Iron Acton | 0 | 49.9 | 49.9 | 01/10/2022 | Scoping | NGET | Gas Reciprocating
Enso Green Holdings F Limited | Ironbridge - New Connection | Ironbridge 400kV | 0 | 49.9 | 49.9 | 30/06/2025 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Ironbridge 400kV | 0 | 49.9 | 99.8 | 30/06/2026 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Ironbridge 400kV | 0 | 20.2 | 120 | 30/06/2027 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Pivoted Power Llp | Iver | Iver 275kV | 0 | 49.9 | 49.9 | 31/10/2023 | Scoping | NGET | Energy Storage System
Harmony Jf Limited | Jamesfield Farm Battery Storage | Abernethy | 0 | 30 | 30 | 31/10/2022 | Scoping | SHET | Energy Storage System
Harmony Jf Limited | Jamesfield Farm Phase 2 Battery Storage | Abernethy | 0 | 19 | 19 | 31/10/2022 | Scoping | SHET | Energy Storage System
Jg Pears Grid Connection Limited | J G Pears | High Marnham | 13 | 0 | 13 |  | Built | NGET | CHP (Combined Heat and Power)
|  | High Marnham | 0 | 17 | 30 | 06/09/2019 | Under Construction/Commissioning | NGET | CHP (Combined Heat and Power)
Keadby Generation Limited | Keadby | Keadby | 755 | 0 | 755 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Keadby Generation Limited | Keadby II | Keadby | 0 | 893 | 893 | 30/12/2020 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine)
Pivoted Power Llp | Kearsley | Kearsley 400kV | 0 | 49.9 | 49.9 | 31/10/2022 | Awaiting Consents | NGET | Energy Storage System
Diamond Wind Limited | Keith Hill Wind Farm | Keith Hill 33kV Substation | 4.5 | 0 | 4.5 |  | Built | SPT | Wind Onshore
Grovehurst Energy Limited | Kemsley | Kemsley | 35.8 | 0 | 35.8 |  | Built | NGET | CHP (Combined Heat and Power)
Pivoted Power Llp |  | Kemsley 400/132kV Substation | 0 | 49.9 | 49.9 | 31/10/2020 | Awaiting Consents | NGET | Energy Storage System
Brookfield Renewable Uk Limited | Kennoxhead Wind Farm | Kennoxhead | 0 | 112 | 112 | 27/02/2024 | Consents Approved | SPT | Wind Onshore
Kennoxhead Wind Farm Limited | Kennoxhead Wind Farm Extension | Middle Muir 132/33kV | 0 | 60 | 60 | 31/10/2021 | Awaiting Consents | SPT | Wind Onshore
Kilbraur Wind Energy Ltd | Kilbraur Wind Farm | Kilbraur Wind Farm | 67 | 0 | 67 |  | Built | SHET | Wind Onshore
Scottishpower Renewables (Uk) Limited | Kilgallioch | Kilgallioch 132/33kV Substation | 228 | 0 | 228 |  | Built | SPT | Wind Onshore
|  | Kilgallioch 132/33kV Substation | 0 | 46 | 274 | 31/10/2022 | Consents Approved | SPT | Wind Onshore
Uniper Uk Limited | Killingholme | Killingholme 400kV | 600 | 0 | 600 |  | Built | NGET | OCGT (Open Cycle Gas Turbine)
Sse Generation Limited | Kilmorack (part of the Beauly Cascade) | Kilmorack | 20 | 0 | 20 |  | Built | SHET | Hydro
Spectrumreserve Ltd | Kincardine Battery Storage Facility | Kincardine | 0 | 200 | 200 | 28/06/2024 | Scoping | SPT | Energy Storage System
Kincardine Offshore Windfarm Limited | Kincardine Offshore Wind Farm | Redmoss 132/33kV Grid Supply Point Substation | 2 | 0 | 2 |  | Built | SHET | Wind Offshore
|  | Redmoss 132/33kV Grid Supply Point Substation | 0 | 47.6 | 49.6 | 01/04/2020 | Under Construction/Commissioning | SHET | Wind Offshore
Ep Uk Power Development Ltd | King's Lynn 'B' Power Station | King's Lynn 400kV | 0 | 1700 | 1700 | 01/10/2024 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine)
Rwe Generation Uk Plc | Kings Lynn A | Walpole 132kV | 380 | 0 | 380 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Enso Green Holdings G Limited | Kingsnorth - New connection | Kingsnorth | 0 | 49.9 | 49.9 | 30/06/2025 | Scoping | NGET | Energy Storage System
|  | Kingsnorth | 0 | 49.9 | 99.8 | 30/06/2026 | Scoping | NGET | Energy Storage System
|  | Kingsnorth | 0 | 20.2 | 120 | 30/12/2026 | Scoping | NGET | Energy Storage System
Pivoted Power Llp | Kirkby (Tertiary) | Kirkby 275kV | 0 | 49.9 | 49.9 | 01/11/2022 | Scoping | NGET | Energy Storage System
Kirk Hill Wind Farm Limited | Kirk Hill | Maybole | 0 | 20 | 20 | 31/10/2022 | Under Construction/Commissioning | SPT | Wind Onshore
Reg Knockodhar Limited | Knockodhar Wind Farm | Mark Hill | 0 | 120 | 120 | 30/10/2026 | Scoping | SPT | Wind Onshore
Banks Renewables (Kype Muir Wind Farm) Limited | Kype Muir | Coalburn 132/33kV | 88.4 | 0 | 88.4 |  | Built | SPT | Wind Onshore
Pivoted Power Llp | Laleham | Laleham 275kV | 0 | 49.9 | 49.9 | 31/10/2022 | Scoping | NGET | Energy Storage System
Pivoted Power Llp | Landulph | Landulph 400kV | 0 | 49.9 | 49.9 | 31/10/2022 | Consents Approved | NGET | Energy Storage System
Ep Langage Limited | Langage | Langage 400kV | 905 | 0 | 905 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Laughton Solar Park Limited | Laughton Solar Park | West Burton 400kV | 0 | 480 | 480 | 30/11/2028 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Hd639Leg Ltd | Legacy Gas |  | 0 | 49.9 | 49.9 | 01/09/2023 | Scoping | NGET | Gas Reciprocating
Banks Renewables (Lethans Wind Farm) Limited | Lethans Wind Farm | Lethans 132kV Substation | 0 | 132 | 132 | 26/07/2024 | Scoping | SPT | Wind Onshore
Limekiln Grid Limited | Limekiln | Limekilns 132/33kV substation | 0 | 84 | 84 | 01/10/2022 | Consents Approved | SHET | Wind Onshore
|  | Limekilns 132/33kV substation | 0 | 22 | 106 | 31/10/2027 | Awaiting Consents | SHET | Wind Onshore
Lincs Wind Farm Limited | Lincs Offshore Wind Farm | Lincs 33/132kV Offshore Substation | 256 | 0 | 256 |  | Built | OFTO | Wind Offshore
Lister Battery Ltd | Lister Drive | Lister Drive 275kV | 0 | 49.9 | 49.9 | 31/10/2021 | Scoping | NGET | Energy Storage System
Orsted Ess Mersey Limited |  | DNO - Lister Drive 132kV | 20 | 0 | 20 |  | Built | NGET | Energy Storage System
Shaw-Energi Ltd |  | Lister Drive 275kV | 0 | 50 | 50 | 01/05/2023 | Scoping | NGET | Energy Storage System
Rwe Generation Uk Plc | Little Barford | Eaton Socon 400kV | 740 | 0 | 740 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Daisy No 2 Limited | Little Raith | Glenniston | 0 | 50 | 50 | 30/06/2020 | Consents Approved | SPT | Energy Storage System
Sse Generation Limited | Livishie (part of the Moriston Cascade) | Glenmoriston | 18 | 0 | 18 |  | Built | SHET | Hydro
Greenfields (T) Limited | Llanwern Phase 1 | Whitston 275kV | 0 | 95 | 95 | 01/11/2023 | Consents Approved | NGET | PV Array (Photo Voltaic/solar)
Greenfields (Q) Limited | Llanwern Phase 2 | Whitson 275kV | 0 | 190 | 190 | 30/09/2023 | Awaiting Consents | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Sse Generation Limited | Lochay (Part of Killin Cascade Hydro Scheme) | Lochay | 47 | 0 | 47 |  | Built | SHET | Hydro
Turbine Marketing Spv Limited | Lochgoin Solar Farm | Whitelee Extension | 0 | 89 | 89 | 25/08/2023 | Scoping | SPT | PV Array (Photo Voltaic/solar)
Lzn Limited | Lochluichart | Corriemoillie 132kV Substation | 69 | 0 | 69 |  | Built | SHET | Wind Onshore
Bluebell Wind Farm Limited | Loch Luichart Extension II | Loch Luichart Extension II | 0 | 36 | 36 | 31/10/2024 | Scoping | SHET | Wind Onshore
Loganhead Wf Limited | Loganhead Windfarm | Hopsrig Wind Farm 132/33kV Substation | 0 | 36 | 36 | 31/10/2026 | Awaiting Consents | SPT | Wind Onshore
London Array Ltd | London Array Offshore Wind Farm | London Array 33/150kV Offshore Substations | 630 | 0 | 630 |  | Built | OFTO | Wind Offshore
Rwe Renewables Uk Developments Limited | Lorg Wind Farm | Lorg Wind Farm 132/32kV | 0 | 49.5 | 49.5 | 30/04/2024 | Scoping | SPT | Wind Onshore
Lovedean Green Limited | Lovedean (Tertiary) | Lovedean 400kV | 0 | 49.9 | 49.9 | 30/06/2023 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Lovedean 400kV | 0 | 7.1 | 57 | 31/10/2023 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Sse Generation Limited | Lubreoch Hydro (Part of Killin Cascade Hydro Scheme) | Killin | 4 | 0 | 4 |  | Built | SHET | Hydro
Sse Generation Limited | Luichart (part of the Conon Cascade) | Luichart | 34 | 0 | 34 |  | Built | SHET | Hydro
Lynemouth Power Limited | Lynemouth Power Station | Blyth | 396 | 0 | 396 |  | Built | NGET | Biomass
Rwe Cogen Uk (Hythe) Limited | Lynes Common | Fawley 400kV | 49.9 | 0 | 49.9 |  | Built | NGET | OCGT (Open Cycle Gas Turbine)
Nuclear Decommissioning Authority | Maentwrog | Maentwrog | 30 | 0 | 30 |  | Built | NGET | Hydro
Pivoted Power Llp | Mannington | Mannington | 0 | 49.9 | 49.9 | 30/04/2024 | Awaiting Consents | NGET | Energy Storage System
Mannington Energy Centre Limited | Mannington Tertiary | Mannington 400kV | 0 | 49.9 | 49.9 | 02/04/2024 | Scoping | NGET | Energy Storage System
Marchwood Power Limited | Marchwood | Marchwood 400kV | 920 | 0 | 920 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Scottishpower Renewables (Uk) Limited | Mark Hill Wind Farm | Mark Hill | 53 | 0 | 53 |  | Built | SPT | Wind Onshore
Rwe Markinch Ltd | Markinch (Rothes) Biomass CHP Plant | Glenrothes | 55 | 0 | 55 |  | Built | SPT | Biomass
Medway Power Limited | Medway Power Station | Grain | 735 | 0 | 735 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Brookfield Renewable Uk Limited | Meikle Hill Wind Farm | Elgin 275/132kV Substation | 0 | 23 | 23 | 31/10/2022 | Consents Approved | SHET | Wind Onshore
Jbm Solar Projects 13 Limited | Melksham |  | 0 | 49.99 | 49.99 | 30/10/2024 | Scoping | NGET | Thermal
Melksham Calne Green Limited | Melksham (Tertiary) |  | 0 | 49.9 | 49.9 | 31/10/2022 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  |  | 0 | 7.1 | 57 | 31/10/2023 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Melksham Energy Centre One Ltd | Melksham 1 Tertiary | Melksham 400kV | 0 | 49.9 | 49.9 | 30/04/2024 | Awaiting Consents | NGET | Energy Storage System
Melksham Energy Centre Two Ltd | Melksham 2 Tertiary | Melksham 400kV | 0 | 49.9 | 49.9 | 30/04/2024 | Awaiting Consents | NGET | Energy Storage System
Meygen Plc | MeyGen Tidal | Gills Bay | 0 | 15 | 15 | 31/10/2024 | Consents Approved | SHET | Tidal
|  | Gills Bay | 0 | 56 | 71 | 31/10/2024 | Consents Approved | SHET | Tidal
|  | Gills Bay | 0 | 83 | 154 | 31/10/2025 | Awaiting Consents | SHET | Tidal
|  | Gills Bay | 0 | 83 | 237 | 31/10/2026 | Awaiting Consents | SHET | Tidal
Banks Renewables (Middle Muir Wind Farm) Limited | Middle Muir Wind Farm | Middle Muir 132/33kV | 51 | 0 | 51 |  | Built | SPT | Wind Onshore
Conrad (Middlewich) Limited | Middlewich BEGA | Carrington | 20 | 0 | 20 |  | Built | NGET | Gas Reciprocating
Egnedol Pembroke Eco-Power Limited | Milford Haven | Pembroke 400kV | 0 | 350 | 350 | 31/10/2022 | Awaiting Consents | NGET | Biomass
Millbrook Power Limited | Millbrook Power | Millbrook 400kV | 0 | 299 | 299 | 15/07/2022 | Scoping | NGET | OCGT (Open Cycle Gas Turbine)
Falck Renewables Wind Limited | Millennium South | Millennium South 132/33kV Substation | 0 | 25 | 25 | 31/10/2021 | Consents Approved | SHET | Wind Onshore
Millennium Wind Energy Limited | Millennium Wind | Millennium | 65 | 0 | 65 |  | Built | SHET | Wind Onshore
Jbm Solar Projects 14 Ltd | Minety Tertiary(2) | Minety | 0 | 49.99 | 49.99 | 30/10/2024 | Scoping | NGET | PV Array (Photo Voltaic/solar)
Hb411Min Limited | Minety Tertiary Connection | Minety | 0 | 49.9 | 49.9 | 01/09/2023 | Scoping | NGET | Gas Reciprocating
Minnygap Energy Limited | Minnygap | Moffat GSP | 25 | 0 | 25 |  | Built | SPT | Wind Onshore
Minsca Windfarm (Scotland) Limited | Minsca | Chapelcross | 37.5 | 0 | 37.5 |  | Built | SPT | Wind Onshore
Hd777Fry Ltd | Monk Fryston Tertiary Connection | Monk Fryston | 0 | 49.9 | 49.9 | 01/10/2022 | Scoping | NGET | Gas Reciprocating
Rwe Renewables Uk Developments Limited | Monquhill Wind Farm | Monquhill Wind Farm 33kV | 0 | 10 | 10 | 30/04/2025 | Awaiting Consents | SPT | Wind Onshore
Moray Offshore Windfarm (East) Limited | Moray East Offshore Wind Farm | Moray Firth 220/33kV Platform 1 & 2 Offshore Substation | 0 | 80 | 80 | 01/01/2021 | Consents Approved | SHET | Wind Offshore
|  | Moray Firth 220/33kV Platform 1 & 2 Offshore Substation | 0 | 520 | 600 | 01/04/2021 | Consents Approved | SHET | Wind Offshore
|  | Moray Firth 220/33kV Platform 1 & 2 Offshore Substation | 0 | 300 | 900 | 01/04/2021 | Consents Approved | SHET | Wind Offshore
Moray Offshore Windfarm (West) Limited | Moray West Offshore Windfarm | Moray Firth 220/33kV Platform 1 & 2 Offshore Substation | 0 | 800 | 800 | 01/04/2024 | Consents Approved | SHET | Wind Offshore
|  | Moray Firth 220/33kV Platform 1 & 2 Offshore Substation | 0 | 60 | 860 | 31/10/2026 | Scoping | SHET | Wind Offshore
Menter Mon Cyf | Morlais | Penrhos | 0 | 40 | 40 | 01/04/2028 | Scoping | NGET | Tidal
|  | Penrhos | 0 | 20 | 60 | 01/04/2029 | Scoping | NGET | Tidal
|  | Penrhos | 0 | 40 | 100 | 01/04/2030 | Scoping | NGET | Tidal
|  | Penrhos | 0 | 80 | 180 | 01/04/2032 | Scoping | NGET | Tidal
Sse Generation Limited | Mossford (part of the Conon Cascade) | Mossford | 18.7 | 0 | 18.7 |  | Built | SHET | Hydro
Peel L&P Wind Farms (No. 1) Limited | Mossy Hill Wind Farm | Mossy Hill 132kV | 0 | 49.9 | 49.9 | 01/04/2024 | Consents Approved | SHET | Wind Onshore
Eneco Moy Limited | Moy Wind Farm | Inverness 132/33kV GSP | 60 | 0 | 60 |  | Built | SHET | Wind Onshore
Uisenis Power Limited | Muaitheabhal Wind Farm | Muaitheabhal 132/33kV Substation | 0 | 150 | 150 | 01/04/2025 | Consents Approved | SHET | Wind Onshore
Sse Generation Limited | Nant | Nant | 15 | 0 | 15 |  | Built | SHET | Hydro
Neart Na Gaoithe Offshore Wind Limited | Neart Na Gaoithe Offshore Wind Farm | Neart Na Gaoithe 220/66KV Offshore | 0 | 150 | 150 | 01/10/2021 | Consents Approved | SPT | Wind Offshore
|  | Neart Na Gaoithe 220/66KV Offshore | 0 | 298 | 448 | 01/04/2022 | Consents Approved | SPT | Wind Offshore
Orsted Power (Uk) Limited | New Project One (ONP01) |  | 0 | 1500 | 1500 | 01/04/2033 | Scoping | NGET | Wind Offshore
Orsted Power (Uk) Limited | New Project Two (ONP02) |  | 0 | 1500 | 1500 | 01/05/2032 | Scoping | NGET | Wind Offshore
Sse Renewables Services (Uk) Limited | North Falls Offshore Wind Farm | Greater Gabbard Extension Offshore Platform | 500 |  | 500 | 31/10/2030 | Scoping | OFTO | Wind Offshore
Clearstone Services Limited | North Hyde | North Hyde | 0 | 49.5 | 49.5 | 01/07/2023 | Scoping | NGET | CCGT (Combined Cycle Gas Turbine)
C.Gen Killingholme Limited | North Killingholme Power Project | C.Gen North Killingholme | 0 | 540 | 540 | 01/04/2023 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine)
North Kyle Wind Farm Limited | North Kyle New Cumnock | New Cumnock 132kV | 0 | 212 | 212 | 30/04/2024 | Awaiting Consents | SPT | Wind Onshore
Nlei Ltd | North Lowther Energy Initiative | NLEI | 0 | 151.2 | 151.2 | 31/10/2024 | Scoping | SPT | Wind Onshore
Solar Century Holdings Limited | North Wales Hybrid | North Wales Hybrid | 0 | 53 | 53 | 02/09/2026 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Mordel Limited | North Wales Offshore Wind Farm |  | 0 | 1440 | 1440 | 01/04/2033 | Scoping | NGET | Wind Offshore
Pivoted Power Llp | Norwich | Norwich Main 400kV | 0 | 49.9 | 49.9 | 31/10/2024 | Consents Approved | NGET | Energy Storage System
Yare Power Limited |  | Norwich | 0 | 49.5 | 49.5 | 01/07/2022 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine)
Nursling Energy Two Limited | Nursling Tertiary | Nursling 400kV | 0 | 49.9 | 49.9 | 31/03/2021 | Consents Approved | NGET | Energy Storage System
Baywa R.E. Uk Limited | Oaklands Farm Solar PV | Drakelow 132kV | 0 | 79.6 | 79.6 | 01/10/2023 | Scoping | NGET | PV Array (Photo Voltaic/solar)
Hd143Ock Ltd | Ocker Hill Tertiary Connection | Ocker Hill | 0 | 49.9 | 49.9 | 01/10/2022 | Consents Approved | NGET | Gas Reciprocating
Pivoted Power Llp | Oldbury (Tertiary) | Oldbury 275kV | 0 | 49.9 | 49.9 | 01/11/2025 | Awaiting Consents | NGET | Energy Storage System
Scottishpower Renewables (Uk) Limited | Old Forest of Ae | Old Forest of Ae 33kV | 0 | 56 | 56 | 31/10/2027 | Scoping | SPT | Wind Onshore
Ormonde Energy Limited | Ormonde Offshore Wind Farm | Ormonde 33/132kV Offshore Substation | 150 | 0 | 150 |  | Built | OFTO | Wind Offshore
Sse Generation Limited | Orrin (part of the Conon Cascade) | Orrin | 18 | 0 | 18 |  | Built | SHET | Hydro
Monets Garden Battery Ltd | Osbaldwick | Osbaldwick 400kV | 0 | 49.9 | 49.9 | 30/10/2021 | Consents Approved | NGET | Energy Storage System
Energyfarm Uk Overhill Llp | Overhill Wind Farm | Overhill WF 132kV | 0 | 48 | 48 | 08/09/2023 | Consents Approved | SPT | Wind Onshore
Scottishpower Renewables (Uk) Limited | OWF3 |  | 0 | 1000 | 1000 | 31/10/2031 | Scoping | SHET | Wind Offshore
|  |  | 0 | 2000 | 3000 | 31/10/2033 | Scoping | SHET | Wind Offshore
Offshore Wind Power Limited | OWPL Windfarm | OWPL Windfarm Platform 220/66kV Offshore Substation | 0 | 750 | 750 | 31/10/2029 | Scoping | SHET | Wind Offshore
|  | OWPL Windfarm Platform 220/66kV Offshore Substation | 0 | 1500 | 2250 | 31/10/2031 | Scoping | SHET | Wind Offshore
Peak Gen Power 2 Limited | Peak Gen BEGA |  | 20.5 | 0 | 20.5 |  | Built | NGET | Oil & AGT (Advanced Gas Turbine)
Rwe Generation Uk Plc | Pembroke Power Station | Pembroke 400kV | 2199 | 0 | 2199 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Pencloe Wind Energy Limited | Pencloe Windfarm | Pencloe 132/33kV | 0 | 79.8 | 79.8 | 30/06/2022 | Consents Approved | SPT | Wind Onshore
|  | Pencloe 132/33kV | 0 | 16.2 | 96 | 29/10/2024 | Awaiting Consents | SPT | Wind Onshore
Pen Y Cymoedd Wind Farm Limited | Pen Y Cymoedd Wind Farm | Rhigos 400kV | 228 | 0 | 228 |  | Built | NGET | Wind Onshore
Centrica Pb Ltd | Peterborough | Walpole 132kV | 245 | 0 | 245 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Sse Generation Limited | Peterhead | Peterhead | 1180 | 0 | 1180 |  | Built | SHET | CCGT (Combined Cycle Gas Turbine)
Sse Generation Limited | Pitlochry (part of the Clunie Cascade) | Pitlochry | 15 | 0 | 15 |  | Built | SHET | Hydro
Viridis 178 Limited | Plymouth Main | Landulph | 25.52 | 0 | 25.52 |  | Built | NGET | CHP (Combined Heat and Power)
Viridis 178 Limited | Plymouth Rock | Landulph | 15.08 | 0 | 15.08 |  | Built | NGET | CHP (Combined Heat and Power)
Pogbie Wind Farm (Grid) Limited | Pogbie Wind Farm | Pogbie 33kV Substation | 9.6 | 0 | 9.6 |  | Built | SPT | Wind Onshore
Longfield Solar Energy Farm Limited | Porters Wood | Porters Wood 400kV | 0 | 500 | 500 | 01/04/2025 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Mostyn Seapower Limited | Port of Mostyn | Connah's Quay 400kV | 0 | 210 | 210 | 01/04/2024 | Scoping | NGET | Tidal
Powersite Ltd | Powersite @ Drakelow |  | 0 | 380 | 380 | 01/10/2020 | Under Construction/Commissioning | NGET | CCGT (Combined Cycle Gas Turbine)
Priestgill Wind Farm Limited | Priestgill Wind Farm | Elvanfoot 275/132/33kV | 0 | 41 | 41 | 30/11/2022 | Awaiting Consents | SPT | Wind Onshore
Progress Power Limited | Progress Power Station | Yaxley 400kV | 0 | 299 | 299 | 01/08/2022 | Consents Approved | NGET | OCGT (Open Cycle Gas Turbine)
Bp Alternative Energy Investments Limited | Project Elizabeth | Yellow Offshore Substation | 0 | 1500 | 1500 | 01/04/2033 | Scoping | NGET | Wind Offshore
Vattenfall Wind Power Ltd | Quantans Hill Wind Farm | Quantans Hill 132kV Substantion | 0 | 126 | 126 | 30/04/2027 | Scoping | SPT | Wind Onshore
Sse Generation Limited | Quoich (part of the Garry Cascade) | Quoich | 18 | 0 | 18 |  | Built | SHET | Hydro
Orsted Power (Uk) Limited | Race Bank Extension | Racebank Extension 220/66kV Offshore | 0 | 565 | 565 | 30/04/2030 | Scoping | NGET | Wind Offshore
Race Bank Wind Farm Limited | Race Bank Wind Farm | Race Bank 132kV | 565 | 0 | 565 |  | Built | NGET | Wind Offshore
Rwe Renewables Uk Limited | Rampion Extension Offshore Wind Farm | Rampion Offshore Wind Farm | 0 | 1200 | 1200 | 01/08/2026 | Scoping | NGET | Wind Offshore
Rampion Offshore Wind Limited | Rampion Offshore Wind Farm | Rampion 33/132kV Offshore | 400 | 0 | 400 |  | Built | NGET | Wind Offshore
Uniper Uk Limited | Ratcliffe on Soar | Ratcliffe-On-Soar 400kV | 2021 | 0 | 2021 |  | Built | NGET | Coal
Enso Green Holdings C Limited | Ratcliffe-on-Soar | Ratcliffe-On-Soar 400kV | 0 | 49.9 | 49.9 | 30/06/2025 | Scoping | NGET | Energy Storage System
|  | Ratcliffe-On-Soar 400kV | 0 | 49.9 | 99.8 | 30/06/2026 | Scoping | NGET | Energy Storage System
|  | Ratcliffe-On-Soar 400kV | 0 | 20.2 | 120 | 30/12/2026 | Scoping | NGET | Energy Storage System
Rayleigh Green Limited | Rayleigh 1 Tertiary |  | 0 | 49.9 | 49.9 | 31/10/2023 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  |  | 0 | 7.1 | 57 | 31/10/2025 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Enso Green Holdings Limited | Rayleigh 2 Tertiary | Rayleigh 'Main' | 0 | 49.9 | 49.9 | 31/10/2025 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Rayleigh 'Main' | 0 | 7.1 | 57 | 31/10/2027 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Cinergy Global Power (Uk) Limited | Redditch | Feckenham | 29 | 0 | 29 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Viridis 178 Limited | Redfield Road A | Ratcliffe | 20.88 | 0 | 20.88 |  | Built | NGET | CHP (Combined Heat and Power)
Viridis 178 Limited | Redfield Road B | Ratcliffe | 20.88 | 0 | 20.88 |  | Built | NGET | Thermal
Richborough Energy Park Limited | Richborough 1 | Richborough 400kV | 0 | 50 | 50 | 30/06/2022 | Scoping | NGET | Energy Storage System
Richborough Energy Park Limited | Richborough 2 | Richborough 400kV | 0 | 50 | 50 | 31/10/2022 | Scoping | NGET | Energy Storage System
Rigghill Wind Farm Limited | Rigghill Windfarm | Spango Valley | 0 | 49.9 | 49.9 | 30/04/2024 | Scoping | SPT | Wind Onshore
Rwe Renewables Uk Robin Rigg East Ltd | Robin Rigg East Offshore Wind Farm | Robin Rigg East 132/33kV Offshore Substation | 86 | 0 | 86 |  | Built | OFTO | Wind Offshore
Rwe Renewables Uk Robin Rigg West Limited | Robin Rigg West Offshore Wind Farm | Robin Rigg West Offshore Wind Farm | 92 | 0 | 92 |  | Built | OFTO | Wind Offshore
Pivoted Power Llp | Rochdale | Rochdale 275kV | 0 | 49.9 | 49.9 | 31/10/2023 | Awaiting Consents | NGET | Energy Storage System
Rocksavage Power Company, Ltd. | Rocksavage | Rocksavage 400kV | 810 | 0 | 810 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Centrica Brigg Limited | Roosecote | Roosecote 132kV | 49 | 0 | 49 |  | Built | NGET | Energy Storage System
Drax Generation Enterprise Limited | Rye House | Rye House | 715 | 0 | 715 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Enso Green Holdings Limited | Rye House (Tertiary) | Rye House 400kV | 0 | 49.9 | 49.9 | 31/10/2025 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Rye House 400kV | 0 | 7.1 | 57 | 31/10/2027 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Wkn Sallachy Limited | Sallachy Wind Farm | Sallachy 132kV Substation | 0 | 50 | 50 | 30/04/2024 | Awaiting Consents | SHET | Wind Onshore
Saltend Cogeneration Company Ltd | Saltend | Saltend South 400kV | 1100 | 0 | 1100 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Sandy Knowe Wind Farm Limited | Sandy Knowe Wind Farm | Sandy Knowe Wind Farm 132kV | 0 | 51 | 51 | 25/02/2022 | Consents Approved | SPT | Wind Onshore
|  | Sandy Knowe Wind Farm 132kV | 0 | 39 | 90 | 02/04/2024 | Consents Approved | SPT | Wind Onshore
Sanquhar Ii Community Wind Company Limited | Sanquhar II Wind Farm | Sanquhar 132/33kV | 0 | 250 | 250 | 30/04/2024 | Scoping | SPT | Wind Onshore
Sanquhar Community Wind Company Limited | Sanquhar Wind Farm | Ulzieside 132/33kV | 32.4 | -2.4 | 30 | 30/01/2021 | Built | SPT | Wind Onshore
Community Windpower Limited | Scoop Hill Wind Farm | Scoop Hill Wind Farm 132kV Substation | 0 | 500 | 500 | 28/08/2025 | Scoping | SPT | Wind Onshore
Seabank Power Limited | Seabank | Seabank 400kV | 1234 | 0 | 1234 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Pivoted Power Llp | Seabank (Tertiary) | Seabank 400kV | 0 | 49.9 | 49.9 | 01/11/2023 | Awaiting Consents | NGET | Energy Storage System
Marr Bank Wind Limited | Seagreen Phase 3 | Seagreen Platform 3A & 3B | 0 | 1850 | 1850 | 14/11/2036 | Scoping | SPT | Wind Offshore
Seagreen 1A Limited | Seagreen Project 1+ | Seagreen Platform 1+ 275kV/66kV Offshore Substation | 0 | 360 | 360 | 27/10/2023 | Scoping | SPT | Wind Offshore
Nuclear Decommissioning Authority | Sellafield | DNO - Hutton 132kV | 155 | 0 | 155 |  | Built | NGET | CHP (Combined Heat and Power)
Pivoted Power Llp | Sellindge (Tertiary) | Sellindge 400kV | 0 | 49.9 | 49.9 | 01/11/2024 | Awaiting Consents | NGET | Energy Storage System
Severn Power Ltd | Severn Power | Uskmouth 275kV | 850 | 0 | 850 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
District Energy Limited | Sevington | Sellindge 132kV | 10 | 0 | 10 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Ep Shb Limited | SHBEC | South Humber Bank 400kV | 0 | 83 | 83 | 01/01/2023 | Scoping | NGET | CCGT (Combined Cycle Gas Turbine)
Scottishpower Renewables (Uk) Limited | Sheirdrim Wind Farm | Sheirdrim 132kV | 0 | 84 | 84 | 31/10/2024 | Scoping | SHET | Wind Onshore
Sett Wind Development Limited | Shepherds Rig Wind Farm | Shepherds Rig Wind Farm 132kV | 0 | 84.6 | 84.6 | 30/07/2024 | Scoping | SPT | Wind Onshore
Scira Offshore Energy Ltd | Sheringham Shoal Offshore Wind Farm | Sheringham Shoal 33/132kV Offshore Substations | 315 | 0 | 315 |  | Built | OFTO | Wind Offshore
Drax Generation Enterprise Limited | Shoreham | Bolney | 420 | 0 | 420 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Jbm Solar Projects 12 Ltd | Shrewsbury Solar |  | 0 | 49.99 | 49.99 | 30/10/2024 | Scoping | NGET | PV Array (Photo Voltaic/solar)
Edf Energy Nuclear Generation Limited | Sizewell B | Sizewell 132kV | 1223 | 0 | 1223 |  | Built | NGET | Nuclear
|  | Sizewell 132kV | 0 | 7 | 1230 | 01/01/2021 | Under Construction/Commissioning | NGET | Nuclear
Edf Energy Nuclear Generation Limited | Sizewell C | Sizewell 400kV | 0 | 1670 | 1670 | 31/10/2029 | Awaiting Consents | NGET | Nuclear
|  | Sizewell 400kV | 0 | 1670 | 3340 | 31/10/2030 | Awaiting Consents | NGET | Nuclear
Scottishpower Renewables (Uk) Limited | Skipness & Corranbuie Windfarm | Skipness & Corranbuie Windfarm | 0 | 105 | 105 | 31/10/2026 | Scoping | SHET | Wind Onshore
Sse Generation Limited | Sloy G1 and G4 | Sloy | 72.5 | 0 | 72.5 |  | Built | SHET | Hydro
Sse Generation Limited | Sloy G2 and G3 | Sloy | 80 | 0 | 80 |  | Built | SHET | Hydro
Sneddon Law Community Wind Company Ltd | Sneddon Law Wind | Kilmarnock Town 275/33kV | 0 | 30 | 30 | 31/10/2018 | Under Construction/Commissioning | SPT | Wind Onshore
Sofia Offshore Wind Farm Limited | Sofia Offshore Wind Farm | Dogger Bank 220kV Offshores | 0 | 1320 | 1320 | 01/04/2023 | Consents Approved | NGET | Wind Offshore
District Energy Limited | Solutia | Uskmouth 132kV | 10 | 0 | 10 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Solwaybank Energy Limited | Solwaybank | Chapelcross 132/33kV Substation | 29.9 |  | 29.9 |  | Built | SPT | Wind Onshore
Islay Tidal Power Limited | Sound of Islay Tidal | Port Ann | 0 | 10 | 10 | 30/11/2021 | Consents Approved | SHET | Tidal
Ep Shb Limited | South Humber Bank | South Humber Bank 400kV | 1365 | 0 | 1365 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
South Kyle Wind Farm Limited | South Kyle | New Cumnock 132kV | 0 | 235 | 235 | 01/04/2022 | Consents Approved | SPT | Wind Onshore
|  | New Cumnock 132kV | 0 | -41 | 194 | 30/04/2022 | Consents Approved | SPT | Wind Onshore
|  | New Cumnock 132kV | 0 | -29 | 165 | 30/08/2022 | Consents Approved | SPT | Wind Onshore
|  | New Cumnock 132kV | 0 | 70 | 235 | 30/10/2022 | Consents Approved | SPT | Wind Onshore
Spalding Energy Company, Ltd. | Spalding | Spalding North 400kV | 950 | 0 | 950 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Spalding Energy Expansion Limited | Spalding Energy Expansion | Spalding North 400kV | 299.99 | 0 | 299.99 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine); Energy Storage System; OCGT (Open Cycle Gas Turbine)
|  | Spalding North 400kV | 0 | 550.01 | 850 | 30/09/2021 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine); Energy Storage System; OCGT (Open Cycle Gas Turbine)
Pivoted Power Llp | Spennymoor | Spennymoor 400kV | 0 | 49.9 | 49.9 | 31/10/2023 | Awaiting Consents | NGET | Energy Storage System
Rwe Generation Uk Plc | Staythorpe C | Staythorpe | 1752 | 0 | 1752 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Statera Energy Limited | St Dennis Hendra PV | Indian Queens 400kV | 0 | 49.9 | 49.9 | 30/06/2025 | Scoping | NGET | PV Array (Photo Voltaic/solar)
Stornoway Wind Farm Limited | Stornoway Wind Farm | Stornoway 132/33kV Substation | 0 | 180 | 180 | 01/04/2025 | Consents Approved | SHET | Wind Onshore
Edf Energy Renewables Limited | Stranoch Wind Farm | Stranoch Wind 132/33KV | 0 | 102 | 102 | 30/09/2024 | Consents Approved | SPT | Wind Onshore
Sse Generation Limited | Strathy North and South Wind | Strathy North and Strathy South 132/33kV Substation | 67.65 | 0 | 67.65 |  | Built | SHET | Wind Onshore
|  | Strathy North and Strathy South 132/33kV Substation | 0 | 157.6 | 225.25 | 01/04/2024 | Consents Approved | SHET | Wind Onshore
|  | Strathy North and Strathy South 132/33kV Substation | 0 | 50 | 275.25 | 31/08/2025 | Scoping | SHET | Wind Onshore
Rwe Renewables Uk Developments Limited | Strathy Wood | Strathy Wood | 0 | 54.4 | 54.4 | 01/05/2024 | Awaiting Consents | SHET | Wind Onshore
Stronelairg Wind Farm Limited | Stronelairg | Stronelairg 132/33kV Substation | 227.8 | 0 | 227.8 |  | Built | SHET | Wind Onshore
Viridis 178 Limited | Sudmeadow | DNO - Port Ham 132kV | 41.76 | 0 | 41.76 |  | Built | NGET | Thermal
Cse21 Limited | Sundon | Sundon 400kV | 0 | 49.5 | 49.5 | 01/07/2022 | Scoping | NGET | CCGT (Combined Cycle Gas Turbine)
Enso Green Holdings Limited |  | Sundon | 0 | 39.9 | 39.9 | 31/10/2022 | Scoping | NGET | Energy Storage System
Pivoted Power Llp | Sundon Pivoted Power | Sundon | 0 | 49.9 | 49.9 | 31/10/2022 | Awaiting Consents | NGET | Energy Storage System
Sunnica Limited | Sunnica | Burwell | 0 | 500 | 500 | 01/04/2025 | Awaiting Consents | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Sutton Bridge Power Generation | Sutton Bridge |  | 850 | 0 | 850 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Pivoted Power Llp | Swansea North |  | 0 | 49.9 | 49.9 | 31/10/2026 | Awaiting Consents | NGET | Energy Storage System
Statkraft Uk Ltd |  | Swansea North 400/33kV Substation | 0 | 12 | 12 | 31/10/2027 | Scoping | NGET | Energy Storage System; Reactive Compensation
Sse Renewables Services (Uk) Limited | Tangy III Wind Farm | Carradale | 0 | 39.1 | 39.1 | 01/04/2023 | Consents Approved | SHET | Wind Onshore
Coronation Power Limited | Tarland | Tarland | 0 | 20 | 20 | 04/10/2020 | Consents Approved | SHET | Energy Storage System
Pivoted Power Llp | Taunton | Taunton | 0 | 49.9 | 49.9 | 31/10/2023 | Awaiting Consents | NGET | Energy Storage System
Uniper Uk Limited | Taylors Lane | Willesden | 144 | 0 | 144 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Sembcorp Utilities (Uk) Limited | Tees CCPP | Greystones | 0 | 850 | 850 | 30/09/2024 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine)
|  | Greystones | 0 | 850 | 1700 | 30/09/2026 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine)
Mgt Teesside Limited | Tees Renewable Energy Plant | Lackenby | 285 | 0 | 285 |  | Built | NGET | Biomass
Clearstone Services Limited | Templeborough | Templeborough | 0 | 49.5 | 49.5 | 01/07/2023 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine)
Vattenfall Wind Power Ltd | Thanet Extension Offshore Wind Farm | Richborough 400kV | 0 | 340 | 340 | 30/04/2023 | Awaiting Consents | OFTO | Wind Offshore
Thanet Offshore Wind Ltd | Thanet Offshore Wind Farm | Thanet 33/132kV Offshore Substation | 300 | 0 | 300 |  | Built | OFTO | Wind Offshore
Epr Thetford Limited | Thetford | Bramford 400kV | 41 | 0 | 41 |  | Built | NGET | Biomass
Enso Green Holdings Limited | Thorpe Marsh 1 (Tertiary) | Thorpe Marsh | 0 | 49.9 | 49.9 | 31/10/2024 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Thorpe Marsh | 0 | 7.1 | 57 | 31/10/2026 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Thurrock Power Limited | Thurrock | Tilbury 275kV | 0 | 300 | 300 | 01/10/2023 | Scoping | NGET | Energy Storage System; Gas Reciprocating
|  | Tilbury 275kV | 0 | 450 | 750 | 01/05/2024 | Scoping | NGET | Energy Storage System; Gas Reciprocating
Esb Independent Generation Trading Limited | Tilbury | Tilbury 132kV Substation | 43 | 0 | 43 |  | Built | NGET | Biomass
Sse Toddleburn Ltd | Toddleburn Wind Farm | Toddleburn Wind Farm | 27.6 | 0 | 27.6 |  | Built | SPT | Wind Onshore
Edf Energy Nuclear Generation Limited | Torness | Torness | 1250 | 0 | 1250 |  | Built | SPT | Nuclear
Sse Generation Limited | Torr Achilty (part of the Conon Cascade) | Torr Achilty | 15 | 0 | 15 |  | Built | SHET | Hydro
Pivoted Power Llp | Tottenham | Tottenham 275kV | 0 | 49.9 | 49.9 | 02/01/2023 | Scoping | NGET | Energy Storage System
Viridis 178 Limited | Trafalgar Park |  | 14 | 0 | 14 |  | Built | NGET | Thermal
Wainstones Energy Limited | Trafford Power | Carrington 400kV | 0 | 2050 | 2050 | 15/07/2020 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine)
Tralorg Wind Farm Limited | Tralorg Wind Farm | Tralorg 33KV | 20 | 0 | 20 |  | Built | SPT | Wind Onshore
Triton Knoll Offshore Wind Farm Limited | Triton Knoll Offshore Wind Farm | Triton Knoll Offshore | 360 | 0 | 360 |  | Built | NGET | Wind Offshore
|  | Triton Knoll Offshore | 0 | 540 | 900 | 01/04/2021 | Under Construction/Commissioning | NGET | Wind Offshore
Edf Energy Renewables Limited | Troston Wind Farm | Troston Wind Farm 132kV | 0 | 68 | 68 | 30/10/2025 | Awaiting Consents | SPT | Wind Onshore
Tullo Wind Farm Limited | Tullo Wind Farm | Bridge of Dun | 17 | 0 | 17 |  | Built | SHET | Wind Onshore
Tullymurdoch Limited | Tullymurdoch Wind Farm | Coupar Angus | 17.5 | 0 | 17.5 |  | Built | SHET | Wind Onshore
Twentyshilling Limited | Twentyshilling Wind Farm | Glenglass 132/33kV | 0 | 37.8 | 37.8 | 30/01/2021 | Under Construction/Commissioning | SPT | Wind Onshore
Twinshiels Wind Farm Ltd | Twinshiels (Tullo 2) Wind Farm | Fiddes | 25 | 0 | 25 |  | Built | SHET | Wind Onshore
Enso Green Holdings E Limited | Uksmouth - New Connection | Uskmouth 132kV | 0 | 120 | 120 | 31/10/2026 | Scoping | NGET | Energy Storage System
Burwell 1 Solar Limited | Upware Solar Farm | Burwell 400kV | 0 | 49.99 | 49.99 | 30/08/2021 | Scoping | NGET | PV Array (Photo Voltaic/solar)
Simec Uskmouth Power Limited | Uskmouth | Uskmouth 132kV | 230 | 0 | 230 |  | Built | NGET | Coal
Norfolk Vanguard Limited | Vanguard | Platform EA6A and Platform EA6B and Platform EA6C 220kVs | 0 | 900 | 900 | 01/04/2024 | Consents Approved | NGET | Wind Offshore
|  | Platform EA6A and Platform EA6B and Platform EA6C 220kVs | 0 | 1200 | 2100 | 01/04/2025 | Consents Approved | NGET | Wind Offshore
Viking Energy Wind Farm Llp | Viking Wind Farm | Kergord | 0 | 457 | 457 | 01/04/2024 | Consents Approved | SHET | Wind Onshore
Vpi Immingham B Limited | VPI Immingham B OCGT | Humber Refinery 400kV | 0 | 299 | 299 | 45565 | Scoping | NGET | Gas Reciprocating
Walney Extension Limited | Walney 3 Offshore Wind Farm | Walney 3 Offshore | 330 | 0 | 330 |  | Built | NGET | Wind Offshore
Walney Extension Limited | Walney 4 Offshore Wind Farm | Walney 4 Offshore | 330 | 0 | 330 |  | Built | NGET | Wind Offshore
Walney (Uk) Offshore Windfarms Limited | Walney II Offshore Wind Farm | Walney 2 33/132kV | 182 | 0 | 182 |  | Built | OFTO | Wind Offshore
Walney (Uk) Offshore Windfarms Limited | Walney I Offshore Wind Farm | Walney 1 33/132kV Offshore | 182 | 0 | 182 |  | Built | OFTO | Wind Offshore
Pivoted Power Llp | Walpole | Walpole 400kV | 0 | 49.9 | 49.9 | 31/10/2022 | Awaiting Consents | NGET | Energy Storage System
Walpole Green Limited | Walpole 1 (Tertiary) | Walpole 400kV | 0 | 49.9 | 49.9 | 01/05/2023 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Walpole 400kV | 0 | 7.1 | 57 | 31/10/2023 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Enso Green Holdings Limited | Walpole 2 (tertiary) | Walpole 400kV | 0 | 49.9 | 49.9 | 01/07/2023 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Walpole 400kV | 0 | 7.1 | 57 | 31/10/2023 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Clearstone Services Limited | Warley | Warley 400kV | 0 | 49.5 | 49.5 | 01/07/2023 | Scoping | NGET | CCGT (Combined Cycle Gas Turbine)
Enso Green Holdings Limited | Warley (tertiary) | Warley 275kV | 0 | 49.9 | 49.9 | 31/10/2022 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Warley 275kV | 0 | 7.1 | 57 | 31/10/2023 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Waterbeach Solar Limited | Waterbeach Solar Farm | Burwell 400kV | 0 | 49.99 | 49.99 | 30/06/2022 | Scoping | NGET | PV Array (Photo Voltaic/solar)
Viridis 178 Limited | Water Lane | Exeter | 20.88 | 0 | 20.88 |  | Built | NGET | CHP (Combined Heat and Power)
Enso Green Holdings A Limited | West Burton | West Burton 132kV Substation | 0 | 49.9 | 49.9 | 30/06/2025 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | West Burton 132kV Substation | 0 | 49.9 | 99.8 | 30/06/2026 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | West Burton 132kV Substation | 0 | 20.2 | 120 | 30/12/2026 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Edf Energy (Thermal Generation) Limited | West Burton A | West Burton 400kV | 1975 | 0 | 1975 |  | Built | NGET | Coal
Edf Energy (Thermal Generation) Limited | West Burton B | West Burton 400kV | 1333 | 0 | 1333 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Edf Energy (Tso) Limited | West Burton Energy Storage | West Burton 400kV | 0 | 0 | 0 |  | Under Construction/Commissioning | NGET | Energy Storage System
Westermost Rough Limited | Westermost Rough Offshore Wind Farm | Hedon 275kV | 206.5 | 0 | 206.5 |  | Built | OFTO | Wind Offshore
Hargreaves Services Plc | Westfield | Westfield | 0 | 23 | 23 | 30/06/2022 | Consents Approved | SPT | PV Array (Photo Voltaic/solar); Waste
|  | Westfield | 0 | 32 | 55 | 30/04/2023 | Consents Approved | SPT | PV Array (Photo Voltaic/solar); Waste
Morecambe Wind Limited | West of Duddon Sands Offshore Wind Farm | West of Duddon Sands 34/155kV Offshore | 382 | 0 | 382 |  | Built | OFTO | Wind Offshore
Esb Asset Development Uk Limited | West Torrisdale | Carradale | 0 | 50 | 50 | 31/10/2026 | Scoping | SHET | Wind Onshore
Pivoted Power Llp | West Weybridge | West Weybridge 275kV | 0 | 49.9 | 49.9 | 31/10/2023 | Scoping | NGET | Energy Storage System
Enso Green Holdings Limited | West Weybridge (Tertiary) | West Weybridge 275kV | 0 | 49.9 | 49.9 | 31/10/2025 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | West Weybridge 275kV | 0 | 7.1 | 57 | 31/10/2027 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Hd144Whi Limited | Whitegate Tertiary Connection | Whitegate | 0 | 49.9 | 49.9 | 01/10/2022 | Scoping | NGET | Gas Reciprocating
Whitelaw Brae Windfarm Limited | Whitelaw Brae Windfarm | Whitelaw Brae 'A' and 'B' 33kV Substations | 0 | 57 | 57 | 31/10/2022 | Scoping | SPT | Wind Onshore
Scottishpower Renewables (Uk) Limited | Whitelee | Whitelee | 305 | 0 | 305 |  | Built | SPT | Wind Onshore
Scottishpower Renewables (Uk) Limited | Whitelee Extension | Whitelee Extension | 206 | 0 | 206 |  | Built | SPT | Wind Onshore
Vattenfall Wind Power Ltd | Whiteneuk Wind Farm | Whiteneuk 132/33kV Substation | 0 | 177 | 177 | 30/06/2027 | Scoping | SPT | Wind Onshore
Whiteside Hill Windfarm (Scotland) Limited | Whiteside Hill Wind Farm | Glenglass 132/33kV | 27 | 0 | 27 |  | Built | SPT | Wind Onshore
Pivoted Power Llp | Whitson | Whitson 275kV | 0 | 49.9 | 49.9 | 31/10/2026 | Scoping | NGET | Energy Storage System
Calon Energy Limited | Willington |  | 0 | 317 | 317 | 01/04/2021 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine); OCGT (Open Cycle Gas Turbine)
|  |  | 0 | 828 | 1145 | 01/02/2022 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine); OCGT (Open Cycle Gas Turbine)
|  |  | 0 | 828 | 1973 | 01/04/2022 | Consents Approved | NGET | CCGT (Combined Cycle Gas Turbine); OCGT (Open Cycle Gas Turbine)
Pivoted Power Llp |  | Willington East 400kV | 0 | 49.9 | 49.9 | 31/10/2022 | Scoping | NGET | Energy Storage System
Enso Green Holdings Limited | Willington East 1 (Tertiary) | Willington East 400kV | 0 | 49.9 | 49.9 | 30/06/2025 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Willington East 400kV | 0 | 7.1 | 57 | 30/06/2027 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Enso Green Holdings Limited | Willington East 2 (Tertiary) | Willington East 400kV | 0 | 49.9 | 49.9 | 31/10/2025 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
|  | Willington East 400kV | 0 | 7.1 | 57 | 31/10/2027 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Sembcorp Utilities (Uk) Limited | Wilton | DNO - Wilton 66kV | 141 | 0 | 141 |  | Built | NGET | CCGT (Combined Cycle Gas Turbine)
Windy Rig Wind Farm Limited | Windy Rig Wind Farm | Blackhill 132kV | 0 | 42.8 | 42.8 | 30/09/2020 | Under Construction/Commissioning | SPT | Wind Onshore
Brockloch Rig Windfarm Limited | Windy Standard II (Brockloch Rig) Wind Farm | Dun Hill 132/33kV Substation | 61.5 | 0 | 61.5 |  | Built | SPT | Wind Onshore
|  | Dun Hill 132/33kV Substation | 0 | 13.5 | 75 | 30/04/2022 | Consents Approved | SPT | Wind Onshore
Brockloch Rig Iii Limited | Windy Standard III Wind Farm | Dun Hill 132/33kV Substation | 0 | 43.5 | 43.5 | 28/04/2023 | Awaiting Consents | SPT | Wind Onshore
Cs Uk Holdings Iii Limited | Worset Solar Park | Hartmoor 275kV | 0 | 38 | 38 | 30/09/2021 | Scoping | NGET | PV Array (Photo Voltaic/solar)
Nuclear Decommissioning Authority | Wylfa | Wylfa 400kV | 0 | 0 | 0 |  | Built | NGET | Nuclear
Enso Green Holdings Limited | Wylfa Substation | Wylfa 132kV | 0 | 120 | 120 | 31/10/2024 | Scoping | NGET | Energy Storage System; PV Array (Photo Voltaic/solar)
Pivoted Power Llp | Wymondley | Wymondley 400kV | 0 | 49.9 | 49.9 | 31/10/2022 | Awaiting Consents | NGET | Energy Storage System