## Slide 1
NOA Stability Phase 2 Contract Terms Consultation – Round 2

## Slide 2: Legal disclaimer and copyright
Disclaimer
  This guidance document has been prepared by National Grid Electricity System Operator (NGESO) and is provided voluntarily and without charge. Whilst NGESO has taken all reasonable care in preparing this document, no representation or warranty either expressed or implied is made as to the accuracy or completeness of the information that it contains and parties using information within the document should make their own enquiries as to its accuracy and suitability for the purpose for which they use it. Neither NGESO nor any other companies in the National Grid plc group, nor any directors or employees of any such company shall be liable for any error or misstatement or opinion on which the recipient of this document relies or seeks to rely other than fraudulent misstatement or fraudulent misrepresentation and does not accept any responsibility for any use which is made of the information or the document or (to the extent permitted by law) for any damages or losses incurred.
  Copyright National Grid ESO 2020, all rights reserved.

## Slide 3: Version control
Version | Date published | Page No. | Comments
1.0 | 19/03/2021 |  | 

## Slide 4: Introduction
Sep 20 | Oct 20​ | Nov 20​ | Dec20​ | Jan 21​ | Feb 21​ | Mar 21 | Apr 21 | May 21
​ | ​ | ​ | ​ | ​ | ​ | ​ |  | 
Feedback on draft contract terms
Develop draft contract terms
Feedback
Publish Heads of Terms
Launch draft terms V1 for consultation
Launch draft terms V2 for consultation
Publish final contract terms
Contract Terms Webinar
Commercial Provider
NGESO
Contract Terms Webinar
Update contract terms
This consultation document invites market participants to comment on the updated draft contract terms for NOA Stability Pathfinder Phase 2 by completing the feedback spreadsheet.
This follows on from the first round of consultation that was held towards the end of 2020 from which we received response from 14 providers. We would like to thank all those who participated in providing their feedback and for your patience as we have worked to update the draft terms.
The webinar from the first round of consultation can be viewed here.
These have been reviewed and have been considered in the updated draft terms.
The contract terms will apply to commercial service providers should they be successful in the commercial tender later this year.

## Slide 5: Summary of responses and changes
Initial contract terms | Summary of provider responses (no. of responses in brackets) | Changes in second draft
Providers would be liable for liquidated damages (LDs) to cover for any delays to service delivery. LDs would also apply for delays that are outside of the providers immediate control e.g. TO connection, Equipment delivery, Land rights etc | Liquidated damages (LDs) are too penal which increases financing risk and could wipe out significant amount of revenues (6/14) | The rate of LDs has been reduced to 1. The terms have been clarified that LDs will be liable where the contract is terminated prior to delivery, though at a reduced rate of 0.75.
Availability rebate would apply where service availability is lower than required. 90% for SCL and per provider for Inertia. | No challenge over principal of availability rebate or reduction in fee for reduced capability | The term ‘APd’ has been included in the availability payment calculator to cover for any units that do not tender in any inertia capability, thereby only considering the delivery of SCL
Changes to availability price to cover for reductions in post tender capability | No challenge over principal of availability rebate or reduction in fee for reduced capability | No change
No availability payment where service is unavailable due to TO outages/constraints – though no rebate is applied | Withholding of availability payments due to TO constraints is unreasonable if unit still has capability (10/14) | There is a cap of 14 days on how long providers would not be paid for. The intent is to provide a degree of certainty to providers as well as to encourage generator and TO outages to be aligned where possible.
Termination right for ESO for 30 days continuous unavailability | Certain outages may be longer than 30 days which would trigger termination right (7/14). Proposed that this is extended or dropped completely. | This has been extended to 90 days to account for lengthy outages.
Requirement for performance monitoring system to allow ESO to access relevant data. Allows ESO to ensure service capability is as declared and access to data in the case of a system event e.g. 9th of August. | Clarification over monitoring equipment (7/14). Who installs, pays, maintains etc. | The terms outline that monitoring equipment as required under Grid Code ECC 6.6 will need to be installed. This would be covered as part of the connection process and has been reiterated in the commercial terms.

## Slide 6: Summary of responses and changes
Initial contract terms | Summary of provider responses (no. of responses in brackets) | Changes in second draft
A review 6 months prior to go-live of Post Tender Milestones will take place to ensure service delivery is on track. ESO has right to grant extension (up to 2 months) or terminate if believe they will not be met in time. | 6 month prior to service delivery may not be enough time to review milestones - bring this date forward. Also allow greater period of extension (3/14) | The review of Milestones, will be in 2 parts, 12 and 6 months prior to the Scheduled Operation date. Providers will also be required to submit monthly reports on the progress of their projects.
Indexation of price will start from 4th year of service delivery as service cost not linked to indexation | Indexation should start earlier in service delivery as opposed to year 4 (6/14) | This has been changed to apply from the second year of delivery.
ESO have right to request proving tests to be carried out during the contract term | Concerns over test profile, lead time and costs (8/14) | The proving test outline, is being developed and will be published prior to the tender commencing.
Force majeure extended to include any future measures to tackle Covid that were unknown at the point of tender | No comments on this approach | No changes
Allow service stacking as long as it does not impede service delivery | Allow flexibility to include any future services that may be introduced | The definition of ‘Permitted Service’ has been amended to account for any future services that may be developed.
Other | Termination rights are too favourable for ESO. Consider referring to expert determination/allowing cure period (9/14) Avoid using faxes. Instead consider new WA API (10/14) | Termination clauses allow for expert detemination on the process ESO has carried out in reaching a decision. For Phase 1, we are assessing the use of electronic means (E.g. EDL/WA API) to communicate with synch comps. This will be built on for Phase 2

## Slide 7: Feedback to this consultation
The updated draft contract terms and feedback spreadsheet are published alongside this document on our website under ‘Contract Documents’.
In the spreadsheet, we have a set of questions covering a range of topics, with an opportunity for any further comments.
Feedback may be submitted at any time prior to the submission deadline, though any late responses will not be considered.
As well as submitting feedback, providers are able to include proposed new wording in column H to support any comments they may have. This will support in any amendments that are required to the contract terms as they are finalised.
Following this, we will finalise the contract terms prior to the tender as indicated in the timeline on the earlier slide.
Once the contract terms are finalised, we will not consider any material changes to ensure consistency across all successful providers and avoid any delays in the process.
We will be hosting a webinar on 29 March 13:00 – 14:00 to provide an overview of the draft terms and you can register for this here.
Questions can be submitted via sli.do using the code SP2CT.
The deadline for submission is 17:00 on 9th April 2021. Please send your feedback form, and marked changes to the draft terms via email including your company name in the subject line.