## Instructions
STOR Provider Data Template
Please use this template to register new or amend existing STOR Units and to register and allocate Eligible assets to STOR Units for the STOR Day Ahead service.
A unit will not be registered until NGESO have all the necessary, full and accurate asset details. Any submissions must be in line with the information provided in the STOR Service Terms and STOR Participation Guidance Document.
Please submit to commercial.operation@nationalgrideso.com with a file name of 'STOR Data Template-Agent/ApplicantName-xx.xx.xx' eg. 'STOR Data Template-QWERTY Limited-19.05.21'. Any missing data will result in a rejected submission in line with the Registration Procedure set out in the STOR Participation Guidance Document.
Key Points
Ensure all fields are completed before submitting and information accuracy is the responsibility of the provider. NGESO have added support comments in the column headings.
All columns headings in red MUST be completed.
All information should be included in every submission. The latest submission will be treated as the new default data set.
Any submissions/changes will be applied in line with the timescales outlined in the Registration Procedure and documented in the STOR Participation Guidance Document.
If a STOR Unit does not have a 'Related Entity' (is not aggregated) please enter N/A.
For *Non Aggregated STOR Units , please fill in the following two sheets:- 1. Address & Contact 2. STOR Unit (Asset Details )
For **Aggregated STOR Units , please fill in the following three sheets:- 1. Address & Contact 2. STOR Unit (Asset Details) 3. Eligible Assets (Aggregated)
Please do not amend/change any of the formatting within this document. Do not include formulas in any submission fields. If there are any issues please speak to the ESO.
NOTE:
*Non Aggregated STOR Units - STOR Units comprised of a single STOR Unit
**Aggregated STOR Units - STOR Units comprised of one or more Eligible Assets
Eastern England
East Midlands
London
Merseyside and Northern Wales
West Midlands
North Eastern England
North Western England
Southern England
South Eastern England
Southern Wales
South Western England
Yorkshire
Southern Scotland
Northern Scotland

## Data Guide
Information Entity | Information Field | Description/Guidance to fill in the data forms | Data Type | Unit of Measurement/Picklist Value | Example
Address & Contact | Address & Contact | Details of the Lead Party (and Agent if applicable) applying to provide STOR services and participate in STOR day ahead auctioning
Address & Contact | Registered Service Provider | Please insert the Company Name of the Registered Service Provider (this should be the party who entered the Framework Agreement and has registered the Units to provide the STOR service). Your Registered Service Provider Name MUST match Companies House exactly | String | NA | WERTY Limited
|  | Please insert the Registered Service Provider Company Registration Number | Number | NA | 7501615
Address & Contact | Agent Name | Please insert the Registered Service Provider's Agent Name if an agent is appointed. Your Agent Name MUST match Companies House exactly | String | NA | Generation Power Limited
|  | Please insert the Agent Company Registration Number | Number | NA | 8341221
Address & Contact | Operational Contact Name | Please insert the Contact's First Name | String | NA | Tim
|  | Please insert the Contact's Surname | String | NA | Smith
|  | Please insert the Contact's Email Address | String | NA | t.smith@email.com
Address & Contact | Operational Contact Email | Please insert the Contact's Telephone Number | Number | NA | 01234 567890
Address & Contact | Operational Contact Telephone Number | Portal User - The contact has access to the Portal, can submit bids against the units and will receive all the notifications. (Please note the following differentiation has not yet been implemented and may be subject to change) Auction - The contact will receive only the Auction Opening Notification emails Contract Award - The contact will receive only the Contract Award Notification emails Auction/Contract Award - The contact will receive both the Auction Opening and Contract Award Notification emails Operational - The contact will be used for operational purposes in the event that the ESO needs to contact the Service Provider | Picklist | Portal User, Auction, Contract Award, Auction/Contract Award, Operational | Portal User
STOR Unit (Asset Details) | STOR Unit (Asset Details) | Details of the Units being registered by the Registered Service Provider. A STOR Unit can comprise of either a single Unit (non-aggregated) or a collection of Eligible Assets (aggregated)
STOR Unit (Asset Details) | STOR Unit ID | Please insert the Unit ID to be registered for the Short Term Operating Reserve service. National Grid ESO will provide this ID for new units | String | NA | ABCD-1
STOR Unit (Asset Details) | Registered Service Provider | Please insert the Registered Service Provider. This must match with the value given in the Address & Contact sheet | String | NA | WERTY Limited
STOR Unit (Asset Details) | BM/Non-BM | Please select if the unit is BM or Non-BM. NOTE: Please ensure you select one - this cannot be left blank | String | NA | Non-BM
STOR Unit (Asset Details) | Aggregated | Please select if the Unit is aggregated YES/NO. If the Unit is aggregated please fill in the Eligible Assets (Aggregated) sheet | YES/NO | YES, NO | YES
STOR Unit (Asset Details) | Unit Type | Please select if the Unit is Generation or Demand | Picklist | Generation, Demand | Generation
STOR Unit (Asset Details) | Fuel Type | Please select the fuel type of the Unit from the list. If the unit is Aggregated then please select Other/Mixed. (Biomass/Batteries/Coal/CCGT/Diesel/Gas Reciprocating Engines/Load Response/Non-Pump Storage Hydro/Nuclear/OCGT/Pump Storage/Solar/Wind/'Other/Mixed') | Picklist | Biomass, Batteries, Coal, CCGT, Diesel, Gas Reciprocating Engines, Load Response, Non-Pump Storage Hydro, Nuclear, OCGT, Pump Storage, Solar, Wind, Other/Mixed | Other/Mixed
STOR Unit (Asset Details) | Generation Capacity | This is the Maximum Registered STOR Capacity and applicable only if the Unit type = Generation. Please insert the Unit's Generation Capacity in MW of Reserve being offered for STOR (This must be equal to or greater than 3MW) | Number, up to 2 decimal places | MW | 5
STOR Unit (Asset Details) | Demand Capacity | This is the Maximum Registered STOR Capacity and applicable only if the Unit type = Demand. Please insert the Unit's Demand Capacity in MW of Reserve being offered for STOR (This must be equal to or greater than 3MW) | Number, up to 2 decimal places | MW
STOR Unit (Asset Details) | Unit/Asset Postcode | Please provide the Postcode of the location where the Unit/Asset is located | String | NA | ZY12 3XW
STOR Unit (Asset Details) | Unit/Asset Latitude | Please provide the Latitude of the location where the Unit/Asset is located in the nn.nnnnnn format. If you are unsure of what it is, please use Google Maps | Number | NA | 52.8634
STOR Unit (Asset Details) | Unit/Asset Longitude | Please provide the Longitude of the location where the Unit/Asset is located in the nn.nnnnnn format. If you are unsure of what it is, please use Google Maps | Number | NA | -1.2544
STOR Unit (Asset Details) | Nearest Node | Please enter the Network node name nearest to the Unit/Asset location. If not known, National Grid will provide the Nearest Node | String | NA | SWAN21
STOR Unit (Asset Details) | Connected to DNO | Please select if the Unit is connected to a DNO - YES/NO | YES/NO | YES, NO | YES
STOR Unit (Asset Details) | DNO Name | Please provide the Name of the Distribution Network Operator or Independent Distribution Network Operator Name (if the previous field is YES) | String | NA | London Power Networks
STOR Unit (Asset Details) | GSP Group Id | Please select the Grid Supply Point Group - one of the 14 groups below _A - Eastern England _B - East Midlands _C - London _D - Merseyside and Northern Wales _E - West Midlands _F - North Eastern England _G - North Western England _H - Southern England _J - South Eastern England _K - Southern Wales _L - South Western England _M - Yorkshire _N - Southern Scotland _P - Northern Scotland Note: See more info here: https://en.wikipedia.org/wiki/Meter_Point_Administration_Number | Picklist | Eastern England, East Midlands, London, Merseyside and Northern Wales, West Midlands, North Eastern England, North Western England, Southern England, South Eastern England, Southern Wales, South Western England, Yorkshire, Southern Scotland, Northern Scotland | London
STOR Unit (Asset Details) | GSP | Please insert the Grid Supply Point ID applicable to the Unit | String | NA | CARE-1
STOR Unit (Asset Details) | Connection Point Voltage | Please insert the point of Connection Voltage in kV - 400, 275, 132, 33, 11, 6.6, 3.3, Other | Picklist | 400, 275, 132, 33, 11, 6.6, 3.3, Other | 33
STOR Unit (Asset Details) | Response Time | Please insert the maximum amount of time (rounded up to the next whole minute) it would take from the time of receipt of a STOR Instruction to deliver the Contracted MW in full. (This must be less than or equal to 20 minutes). For a non-BM Unit, the Response Time should correlate with Run Up Rate and should be equal to or greater than the Contracted MW divided by Run Up Rate but in any event not to exceed 20 minutes | Number | Minutes | 20
STOR Unit (Asset Details) | Cease Time | Please insert the maximum time in whole minutes that it takes for the Unit to return to zero MW (or its original level of demand) following an Instruction to do so. For a BM Unit this should be greater than or equal to the NTO plus the Contracted MW divided by the Run Down Rate applicable to that BM Unit. For a non-BM Unit, the cease time should correlate with Run Down Rate and should be greater than or equal to Contracted MW divided by Run Down Rate | Number | Minutes | 7
STOR Unit (Asset Details) | Run-Up Rate | Applicable only for Non-BMU Please insert the rate in MW/min at which the Unit will change load in response to an Instruction to start providing STOR. (RUR=Contracted MW/Response Time) Please round up the figure to two decimals. If no value is specified, National Grid will assume the rate to be infinite | Number | MW/Minute | 3.22
STOR Unit (Asset Details) | Run-Down Rate | Applicable only for Non-BMU Please enter insert the rate in MW/min at which the Unit or Site will change load in response to an Instruction to cease providing STOR. (RDR=Contracted MW/Cease Time) Please round up the figure to two decimals. If no value is specified, National Grid will assume the rate to be infinite | Number | MW/Minute | 2.11
STOR Unit (Asset Details) | Maximum Utilisation Period | Please provide the maximum time in hours for which you will allow National Grid to utilise Short Term Operating Reserve in any single continuous utilisation comprising one or a series of contiguous STOR Instructions (This must be a minimum of two hours). Where no restrictions apply, insert 9999 | Number | Hours | 9999
STOR Unit (Asset Details) | Minimum Utilisation Period | Please insert the Minimum time in whole minutes for which you will allow National Grid to utilise Short Term Operating Reserve in a single utilisation (MNZT for BM Units). This value takes into account the whole period where the unit’s output is greater than zero or for a demand reduction site the output is less than the contracted MW (The lower the time the more attractive the service is to National Grid. If no time has been specified, National Grid will assume that the value is 0 minutes) | Number | Minutes | 10
STOR Unit (Asset Details) | Recovery Period | Please enter the maximum time in whole minutes the Unit takes to make Short Term Operating Reserve available again after it has been utilised (This must be less than or equal to 1200 minutes) | Number | Minutes | 30
STOR Unit (Asset Details) | Primary Despatch Phone | Please enter the Primary Despatch Telephone Number(s) for the Unit/Asset. Please note this field cannot be more than 40 characters | Number | NA | 01273 123456
STOR Unit (Asset Details) | Secondary Despatch Phone | Please enter the Secondary Despatch Telephone Number(s) for the Unit/Asset. Please note this field cannot be more than 40 characters | Number | NA | 01273 123455
STOR Unit (Asset Details) | Despatch Fax Number | Please enter the Despatch Fax Number(s) for the unit/asset. Please note this field cannot be more than 40 characters | Number | NA | 01273 123477
STOR Unit (Asset Details) | Connection Type | Please select a Connection Type of Firm or Flexible (your connection is subject to a DNO constraint) | Picklist | Firm , Flexible | Firm
STOR Unit (Asset Details) | MPAN Number Import | This field is not applicable for aggregated Units as the Eligible Assets will have the MPAN Numbers. It is also not applicable for BM Units. Please enter the applicable MPAN Number for Import. There can be more than one MPAN Number where the Unit has more than one import meter. If there are more than one Import MPAN Numbers for this Unit, please enter the numbers separated by commas | Number | NA
STOR Unit (Asset Details) | MPAN Number Export | This field is not applicable for aggregated Units as the Eligible Assets will have the MPAN Numbers. It is also not applicable for BM Units. Please enter the applicable MPAN Number for Export. There can be more than one MPAN Number where the Unit has more than one export meter. If there are more than one Export MPAN Numbers for this Unit, please enter the numbers separated by commas | Number | NA
Eligible Assets (Aggregated) | Eligible Assets (Aggregated) | Details of the Eligible Assets if the STOR Unit is aggregated
Eligible Assets (Aggregated) | Eligible Asset Name | Please enter the Name of the Eligible Asset | String | NA | Werty Battery
Eligible Assets (Aggregated) | Unit Type | Please select if the Eligible Asset is Generation or Demand | Picklist | Generation, Demand | Generation
Eligible Assets (Aggregated) | Fuel Type | Please select the fuel type of the Unit from the list (Biomass/Batteries/Coal/CCGT/Diesel/Gas Reciprocating Engines/Load Response/Non-Pump Storage Hydro/Nuclear/OCGT/Pump Storage/Solar/Wind/Other) | Picklist | Biomass, Batteries, Coal, CCGT, Diesel, Gas Reciprocating Engines, Load Response, Non-Pump Storage Hydro, Nuclear, OCGT, Pump Storage, Solar, Wind, Other/Mixed | Batteries
Eligible Assets (Aggregated) | STOR Unit ID | Please enter the Unit ID of the parent/aggregated STOR Unit (aggregated Unit ID ) | String | NA | ABCD-1
Eligible Assets (Aggregated) | Generation Capacity | Applicable only if the Eligible Asset Unit type = Generation. Please insert the Eligible Asset Generation Capacity in MW of Reserve being offered for STOR. Please note that the sum of the Maximum Registered STOR Capacity of all Eligible Assets for an Aggregated STOR Unit must not exceed the Maximum Registered STOR Capacity of the Aggregated STOR Unit | Number, up to 2 decimal places | MW | 2
Eligible Assets (Aggregated) | Demand Capacity | Applicable only if the Eligible Asset Unit type = Demand. Please insert the Eligible Asset Demand Capacity in MW of Reserve being offered for STOR. Please note that the sum of the Maximum Registered STOR Capacity of all Eligible Assets for an Aggregated STOR Unit must not exceed the Maximum Registered STOR Capacity of the Aggregated STOR Unit | Number, up to 2 decimal places | MW
Eligible Assets (Aggregated) | Eligible Asset Post Code | Please provide the Eligible Asset Postcode | String | NA | SO9X 4GZ
Eligible Assets (Aggregated) | Eligible Asset Latitude | Please provide the Latitude of the location where the Eligible Asset is located in the nn.nnnnnn format. If you are unsure of what it is, please use Google Maps | Number | NA | 52.8634
Eligible Assets (Aggregated) | Eligible Asset Longitude | Please provide the Longitude of the location where the Eligible Asset is located in the nn.nnnnnn format. If you are unsure of what it is, please use Google Maps | Number | NA | -1.2544
Eligible Assets (Aggregated) | DNO Name | Please provide the Name of the Distribution Network Operator or Independent Distribution Network Operator Name | String | NA | London Power Networks
Eligible Assets (Aggregated) | Nearest Node | Please enter the Network node name nearest to the Eligible Asset location. If not known, National Grid will provide the Nearest Node | String | NA | BEDD11
Eligible Assets (Aggregated) | GSP Group Id | Please select the Grid Supply Point Group - one of the 14 groups below _A - Eastern England _B - East Midlands _C - London _D - Merseyside and Northern Wales _E - West Midlands _F - North Eastern England _G - North Western England _H - Southern England _J - South Eastern England _K - Southern Wales _L - South Western England _M - Yorkshire _N - Southern Scotland _P - Northern Scotland Note: See more info here: https://en.wikipedia.org/wiki/Meter_Point_Administration_Number | Picklist | Eastern England, East Midlands, London, Merseyside and Northern Wales, West Midlands, North Eastern England, North Western England, Southern England, South Eastern England, Southern Wales, South Western England, Yorkshire, Southern Scotland, Northern Scotland | South Eastern England
Eligible Assets (Aggregated) | GSP | Please insert the Grid Supply Point applicable to the Eligible Asset | String | NA | WILL-1
Eligible Assets (Aggregated) | Connection Point Voltage | Please insert the point of Connection Voltage in kV - 400, 275, 132, 33, 11, 6.6, 3.3, Other | Picklist | 400, 275, 132, 33, 11, 6.6, 3.3, Other | 6.6
Eligible Assets (Aggregated) | Connection Type | Please select a Connection Type of Firm or Flexible (your connection is subject to a DNO constraint) | Picklist | Firm , Flexible | Firm
Eligible Assets (Aggregated) | MPAN Number Import | Please enter the applicable MPAN Number for Import There can be more than one MPAN Number where the Eligible Asset has more than one import meters. If there are more than one Import MPAN Numbers for this Eligible Asset, please enter the numbers separated by a comma | Number | NA | 9988334455231
Eligible Assets (Aggregated) | MPAN Number Export | Please enter the applicable MPAN Number for Export There can be more than one MPAN Number where the Eligible Asset has more than one export meters. If there are more than one Export MPAN Numbers for this Eligible Asset, please enter the numbers separated by a comma | Number | NA | 8822331199443
Note on E1: NA = Not Applicable

## Address & Contact
Registered Service Provider (Company Name) | Registered Service Provider Company Registration Number | Agent Name | Agent Company Registration Number | Contact First Name | Contact Surname | Contact Email | Contact Telephone Number | Type of Contact
Note on A1: Please insert the Company Name of the Registered Service Provider (this should be the party who entered the Framework Agreement and has registered the Units to provide the STOR service). Your Registered Service Provider Name MUST match Companies House exactly
Note on B1: Please insert the Registered Service Provider Company Registration Number
Note on C1: Please insert the Registered Service Provider's Agent Name if an agent is appointed. Your Agent Name MUST match Companies House exactly
Note on D1: Please insert the Agent Company Registration Number
Note on E1: Please insert the Contact's First Name
Note on F1: Please insert the Contact's Surname
Note on G1: Please insert the Contact's Email Address
Note on H1: Please insert the Contact's Telephone Number
Note on I1: Portal User - The contact has access to the Portal, can submit bids against the units and will receive all the notifications (Please note the following differentiation has not yet been implemented and may be subject to change) Auction - The contact will receive only the Auction Opening Notification emails Contract Award - The contact will receive only the Contract Award Notification emails Auction/Contract Award - The contact will receive both the Auction Opening and Contract Award Notification emails Operational - The contact will be used for operational purposes in the event that the ESO needs to contact

## STOR Unit (Asset Details)
STOR Unit ID | Registered Service Provider | BM/Non-BM | Aggregated | Unit Type | Fuel Type | Generation Capacity if Unit Type is Generation | Demand Capacity if Unit Type is Demand | Unit/Asset Postcode | Unit/Asset Latitude | Unit/Asset Longitude | Nearest Node (if known) | Connected to DNO | DNO Name | GSP Group ID | GSP (if known) | Connection Point Voltage | Response Time | Cease Time | Run-Up Rate (non-BMU) | Run-Down Rate (non-BMU) | Maximum Utilisation Period | Minimum Utilisation Period | Recovery Period | Primary Despatch Phone | Secondary Despatch Phone | Despatch Fax Number | Connection Type | Active Network Management (ANM) | MPAN Number Import | MPAN Number Export
Please copy and paste the row above to add more STOR Units
Note on A1: Please insert the Unit ID to be registered for the Short Term Operating Reserve service. National Grid ESO will provide this ID for new units
Note on B1: Please insert the Registered Service Provider. This must match with the value given in the Address & Contact sheet
Note on C1: Please select if the unit is BM or Non-BM. NOTE: Please ensure you select one - this cannot be left blank
Note on D1: Please select if the Unit is aggregated YES/NO. If the Unit is aggregated please fill in the Eligible Assets (Aggregated) sheet
Note on E1: Please select if the Unit is Generation or Demand
Note on F1: Please select the fuel type of the Unit from the list. If the unit is Aggregated then please select Other/Mixed. (Biomass/Batteries/Coal/CCGT/Diesel/Gas Reciprocating Engines/Load Response/Non-Pump Storage Hydro/Nuclear/OCGT/Pump Storage/Solar/Wind/'Other/Mixed')
Note on G1: This is the Maximum Registered STOR Capacity and applicable only if the Unit type = Generation. Please insert the Unit's Generation Capacity in MW of Reserve being offered for STOR (This must be equal to or greater than 3MW)
Note on H1: This is the Maximum Registered STOR Capacity and applicable only if the Unit type = Demand. Please insert the Unit's Demand Capacity in MW of Reserve being offered for STOR (This must be equal to or greater than 3MW)
Note on I1: Please provide the Postcode of the location where the Unit/Asset is located
Note on J1: Please provide the Latitude of the location where the Unit/Asset is located in the nn.nnnnnn format. If you are unsure of what it is, please use Google Maps
Note on K1: Please provide the Longitude of the location where the Unit/Asset is located in the nn.nnnnnn format. If you are unsure of what it is, please use Google Maps
Note on L1: Please enter the Network node name nearest to the Unit/Asset location. If not known, National Grid will provide the Nearest Node
Note on M1: Please select if the Unit is connected to a DNO - YES/NO
Note on N1: Please provide the Name of the Distribution Network Operator or Independent Distribution Network Operator Name (if the previous field is YES)
Note on O1: Please select the Grid Supply Point Group - one of the 14 groups below _A - Eastern England _B - East Midlands _C - London _D - Merseyside and Northern Wales _E - West Midlands _F - North Eastern England _G - North Western England _H - Southern England _J - South Eastern England _K - Southern Wales _L - South Western England _M - Yorkshire _N - Southern Scotland _P - Northern Scotland Note: See more info here: https://en.wikipedia.org/wiki/Meter_Point_Administration_Number
Note on P1: Please insert the Grid Supply Point ID applicable to the Unit
Note on Q1: Please insert the point of Connection Voltage in kV - 400, 275, 132, 33, 11, 6.6, 3.3, Other
Note on R1: Please insert the maximum amount of time (rounded up to the next whole minute) it would take from the time of receipt of a STOR Instruction to deliver the Contracted MW in full. (This must be less than or equal to 20 minutes). For a non-BM Unit, the Response Time should correlate with Run Up Rate and should be equal to or greater than the Contracted MW divided by Run Up Rate but in any event not to exceed 20 minutes
Note on S1: Please insert the maximum time in whole minutes that it takes for the Unit to return to zero MW (or its original level of demand) following an Instruction to do so. For a BM Unit this should be greater than or equal to the NTO plus the Contracted MW divided by the Run Down Rate applicable to that BM Unit. For a non-BM Unit, the cease time should correlate with Run Down Rate and should be greater than or equal to Contracted MW divided by Run Down Rate
Note on T1: Applicable only for Non-BMU Please insert the rate in MW/min at which the Unit will change load in response to an Instruction to start providing STOR. (RUR=Contracted MW/Response Time) Please round up the figure for two decimals. If no value is specified, National Grid will assume the rate to be infinite
Note on U1: Applicable only for Non-BMU Please enter insert the rate in MW/min at which the Unit or Site will change load in response to an Instruction to cease providing STOR. (RDR=Contracted MW/Cease Time) Please round up the figure for two decimals. If no value is specified, National Grid will assume the rate to be infinite
Note on V1: Please provide the maximum time in hours for which you will allow National Grid to utilise Short Term Operating Reserve in any single continuous utilisation comprising one or a series of contiguous STOR Instructions (This must be a minimum of two hours). Where no restrictions apply, insert 9999
Note on W1: Please insert the Minimum time in whole minutes for which you will allow National Grid to utilise Short Term Operating Reserve in a single utilisation (MNZT for BM Units). This value takes into account the whole period where the unit’s output is greater than zero or for a demand reduction site the output is less than the contracted MW (The lower the time the more attractive the service is to National Grid. If no time has been specified, National Grid will assume that the value is 0 minutes)
Note on X1: Please enter the maximum time in whole minutes the Unit takes to make Short Term Operating Reserve available again after it has been utilised (This must be less than or equal to 1200 minutes)
Note on Y1: Please enter the Primary Despatch Telephone Number(s) for the Unit/Asset. Please note this field cannot be more than 40 characters
Note on Z1: Please enter the Secondary Despatch Telephone Number(s) for the Unit/Asset. Please note this field cannot be more than 40 characters
Note on AA1: Please enter the Despatch Fax Number(s) for the Unit/Asset. Please note this field cannot be more than 40 characters
Note on AB1: Please select a Connection Type of Firm or Flexible (your connection is subject to a DNO constraint).
Note on AC1: Is the STOR Unit subject to an ANM - YES/NO
Note on AD1: This field is not applicable for aggregated Units as the Eligible Assets will have the MPAN Numbers. It is also not applicable for BM Units. Please enter the applicable MPAN Number for Import. There can be more than one MPAN Number where the Unit has more than one import meter. If there are more than one Import MPAN Numbers for this Unit, please enter the numbers separated by commas
Note on AE1: This field is not applicable for aggregated Units as the Eligible Assets will have the MPAN Numbers. It is also not applicable for BM Units. Please enter the applicable MPAN Number for Export. There can be more than one MPAN Number where the Unit has more than one export meter. If there are more than one Export MPAN Numbers for this Unit, please enter the numbers separated by commas

## Eligible Assets (Aggregated)
Eligible Asset Name | Unit Type | Fuel Type | STOR Unit ID | Generation Capacity if Unit Type is Generation | Demand Capacity if Unit Type is Demand | Eligible Asset Post Code | Eligible Asset Latitude | Eligible Asset Longitude | DNO Name | Nearest Node | GSP Group ID | GSP | Connection Point Voltage | Connection Type | MPAN Number Import | MPAN Number Export
Please copy and paste the row above to add more Eligible Assets
Note on A1: Please enter the Name of the Eligible Asset
Note on B1: Please select if the Eligible Asset is Generation or Demand
Note on C1: Please select the fuel type of the Eligible Asset from the list. (Biomass/Batteries/Coal/CCGT/Diesel/Gas Reciprocating Engines/Load Response/Non-pump Storage Hydro/Nuclear/OCGT/Pump Storage/Solar/Wind/Other)
Note on D1: Please enter the Unit ID of the parent/aggregated STOR Unit (aggregated Unit ID)
Note on E1: Applicable only if the Eligible Asset Unit type = Generation. Please insert the Eligible Asset Generation Capacity in MW of Reserve being offered for STOR. Please note that the sum of the Maximum Registered STOR Capacity of all Eligible Assets for an Aggregated STOR Unit must not exceed the Maximum Registered STOR Capacity of the Aggregated STOR Unit
Note on F1: Applicable only if the Eligible Asset Unit type = Demand. Please insert the Eligible Asset Demand Capacity in MW of Reserve being offered for STOR. Please note that the sum of the Maximum Registered STOR Capacity of all Eligible Assets for an Aggregated STOR Unit must not exceed the Maximum Registered STOR Capacity of the Aggregated STOR Unit
Note on G1: Please provide the Eligible Asset Postcode
Note on H1: Please provide the Latitude of the location where the Eligible Asset is located in the nn.nnnnnn format. If you are unsure of what it is, please use Google Maps
Note on I1: Please provide the Longitude of the location where the Eligbile Asset is located in the nn.nnnnnn format. If you are unsure of what it is, please use Google Maps
Note on J1: Please provide the Name of the Distribution Network Operator or Independent Distribution Network Operator Name
Note on K1: Please enter the Network node name nearest to the Eligible Asset location. If not known, National Grid will provide the Nearest Node
Note on L1: Please select Grid Supply Point Group - One of the 14 groups _A - Eastern England _B - East Midlands _C - London _D - Merseyside and Northern Wales _E - West Midlands _F - North Eastern England _G - North Western England _H - Southern England _J - South Eastern England _K - Southern Wales _L - South Western England _M - Yorkshire _N - Southern Scotland _P - Northern Scotland Note: See more info here: https://en.wikipedia.org/wiki/Meter_Point_Administration_Number
Note on M1: Please insert the Grid Supply Point applicable to the Eligible Asset if known
Note on N1: Please insert the point of Connection Voltage in kV - 400, 275, 132, 33, 11, 6.6, 3.3, Other
Note on O1: Please select a Connection Type of Firm or Flexible (your connection is subject to a DNO constraint)
Note on P1: Please enter the applicable MPAN Number for Import There can be more than one MPAN Number where the Eligible Asset has more than one import meters. If there are more than one Import MPAN Numbers for this Eligible Asset, please enter the numbers separated by a comma
Note on Q1: Please enter the applicable MPAN Number for Export There can be more than one MPAN Number where the Eligible Asset has more than one export meters. If there are more than one Export MPAN Numbers for this Eligible Asset, please enter the numbers separated by a comma