## Slide 1
Sites with Final and Non-Final Demand (CMP363/4)
Workgroup 2

## Slide 2: Current Declaration Process
Currently have a Declaration process implemented for BSUoS under CMP281, guidance note available here - https://www.nationalgrideso.com/document/184631/download
  Other BSUoS changes (e.g. CMP308) will use this too.
This process was the base used for CMP334, which was approved by Ofgem.
Legal text for this Declaration is captured under the definition of Declaration in CUSC Section 11.
  Link to CUSC Section 11 legal text - https://www.nationalgrideso.com/document/91396/download

## Slide 3: Proposed Changes
Do not believe the current definition/legal text for the Declaration needs to change, however the guidance note will need major updates.
Looking to harmonise (if possible) the BSUoS and TNUoS requirements in to a single declaration document.
  Minor difference in scope between TNUoS and BSUoS for embedded CVA sites.
For complicated sites, need to capture the logic of how to isolate Non-Final Demand volumes from the rest of the site.
  As this will be site specific, need to capture is for each site in a simple way.
Other potential changes for the workgroup to feedback on;
  Should the declaration be time-limited or NGESO have audit rights to monitor the declaration?

## Slide 4
Transmission Network
1. Single Site with combination of Final and non-Final Demand in parallel
Single Site
Final Demand
Final Demand
‘Mixed’ Demand
Non-Final Demand
X
A
B
C
D
Demand figure used in the methodology will be any of the following based on meter configuration;
A + B + C
X – D
X – (A + B + C)
i.e. separately isolating point D from the rest of the site.
User Assets and/or Unlicensed Network

## Slide 5
Transmission Network
2. Single Site with combination of Final and non-Final Demand (in parallel) and multiple connection points
Single Site
Final Demand
Final Demand
‘Mixed’ Demand
Non-Final Demand
X
A
B
C
D
Demand figure used in the methodology will be any of the following based on meter configuration;
A + B + C
(X + Y) – D
(X + Y) – (A + B + C)
i.e. separately isolating point D from the rest of the site.
Y
User Assets and/or Unlicensed Network

## Slide 6
Transmission Network
3. Single Sites interconnected independently of a licenced network
Single Site 1
X
Demand figures used in the methodology will be;
Single Site 1 = X
Single Site 2 = Y*
Notes
* as only Non-Final Demand is present in this example, no change will be applied
This arrangement isn’t permitted under Bilateral Connection Agreements (Appendix F5) on safety grounds as it parallels the transmission system.
Transmission Network
Single Site 2
Transmission Network
User Assets
Unlicensed Network
Y
Final Demand
Non-Final Demand

## Slide 7
Transmission Network
4. Unlicenced networks
‘Single Site 1’
X
No special treatment proposed;
a) Direct connection
Treated as one Transmission connected ‘Single Site’
X – B
X – (A + C + D)
b) Licenced network
4 embedded ‘single sites’
Unlicensed network would need to follow same requirements as licensed networks
‘Single Site 2’
User Assets
Unlicensed Network
Non-Final Demand
Final Demand
Final Demand
Mixed Demand
D
C
B
A
‘Single Site 3’
‘Single Site 4’
‘Single Site X’

## Slide 8
5. Multi-network connection
TNUoS charge as per scenario 1, i.e.
A + C
X – B
X – (A + C)
DUoS charge as per the DCUSA methodology as depends on number of distribution connection agreements. i.e. to the DNO, is this 1, 2 or 3 sites?
Transmission Network
Single Site
Final Demand
‘Mixed’ Demand
Non-Final Demand
X
A
B
C
Distribution Network
User Assets and/or Private Network

## Slide 9
6. Single Site with combination of Final and non-Final Demand in series
Transmission Network
Single Site
Final Demand
‘Mixed’ Demand
Non-Final Demand
X
A
B
C
Assuming the ‘boxed’ Final Demand is only metered at point ‘X’
Demand figure used in the methodology will be any of the following based on meter configuration;
X – C
i.e. separately isolating point C from the rest of the site.
Final Demand
User Assets and/or Private Network

## Slide 10
7. Single Site with combination of Final and non-Final Demand in series
Transmission Network
Single Site
Final Demand
‘Mixed’ Demand
Non-Final Demand
X
A
B
C
Assuming the ‘boxed’ Non Final Demand is only metered at point ‘X’
Demand figure used in the methodology will be any of the following based on meter configuration;
A + B
i.e. separately isolating point C from the rest of the site.
Non Final Demand
User Assets and/or Private Network

## Slide 11
8. ‘Flow through’ site
Transmission Network
Single Site
X
Demand figure used in the methodology will be any of the following based on meter configuration;
A
|X – Y|
i.e. separately isolating point A from the rest of the site.
Transmission Network
Transmission Network
Final Demand
A
Y
User Assets and/or Private Network