## DC Procurement
Publication date | Question source | Question number | Question | Answer
2021-08-05 | .box query | 1 | How do the numbers in this table relate to the NG ESO buy curve? Is NGESO willing to procure up to 'max MW' providing the price cap isn't breached? | The numbers in the table capture the variation in the peak DC-LF requirements across EFA blocks in a given month. The DC-LF buy order volume would go up to the peak requirement in a given EFA block day-ahead. The price the ESO would be willing to pay (e.g. the price cap) would depend on the cost of alternative actions that are offset by DC-LF. For example, when the EPEX solution is launched and the ESO shape the DC -LF buy order, for a given EFA block day-ahead the first 100MW of DC-LF may have a price cap of £x/MWh, with the next 100MW at a price cap of £y/MWh etc, it will be stepped. The aim of the auction is to enable the ESO to manage frequency as effectively and as efficiently as possible. The actions include DC, other response services and trades/BOA's. The DC auction will clear a volume of DC that is most efficient against alternative actions which may be the full DC requirement for a given EFA block, or may be a combination of DC, other reponse and trades/BOA's.
2021-08-04 | Questions from Operational Transparency Forum (OTF) | 2 | Do large battery have to provide MFR? does that prevent to participate in DC? | Provision of MFR is dependant on a number of factor mainly size and type of connection agreement. MFR doesn’t impact the assets ability to deliver DC, when the asset is contracted to deliver frequency services this is flagged in the ESOI control room under a different Mode
2021-08-04 | Questions from Operational Transparency Forum (OTF) | 3 | It seems NG has changed significantly its view of minimum DC-LF procurement need. For September, NG had indicated last month a min of 1100 MW and max of 1400 MW. The new requirement communicated is a max of 1100 MW. This is a significant change on short notice. | At present, DC is procured through a daily tender and is procured on top of other frequency response that secures a 1260MW loss to 49.2Hz. This means the total frequency response the ESO holds allows larger losses (including consequential RoCoF losses) to be managed. The August MIR requirements are based on peak DC requirements across a given month based on daily procurement of DC. The launch of the EPEX plaform enables the ESO to procure DC at EFA block granularity. This combined with a reduction in the generation at risk of tripping on RoCoF protection means that the requirements are presently lower as (1) total losses are generally lower and (2) the ESO can shape the volume requirements to the system conditions at EFA block granularity as opposed to daily procurement. We are currently transitioning to a world where frequency will be managed with the new response products (pre-fault will use Dynamic Regulation, Moderation and post-fault will use Dynamic Containment) and there is therefore a need to grow these markets as we transition away from other response services. We aim to make this transition as efficient as possible and this includes managing our conventional response, our DC response, the changes being made through the ALoMCP and the largest losses on the system. Ultimately, DC will be the post-fault frequency service and there will always be a requirement for it and the price the ESO is willing to pay for it will be defined in the buy order.
2021-08-04 | Questions from Operational Transparency Forum (OTF) | 4 | Will you provide a more detailed forecast on DC-LF needs closer to the day-ahead procurement? As well as more information on the methodology underpinning that demand forecast? | This is the subject of ongoing work. The DC volume requirement day-ahead will be based on a view of the largest losses (infeed for DC-LF, and outfeed for DC-HF) on the system, the inertia, demand and volume of other frequency response products. The price the ESO is willing to pay will be based on the reduction in alternative actions and costs for a given volume of DC procurement. In due course we will communicate our plans on what we will share before the auction. it should also be noted that the ESO will have the opportunity to learn everyday from each auction and this will guide our thinking on procurement strategy and allow us to modify our auction comms over time.
2021-08-04 | Questions from Operational Transparency Forum (OTF) | 5 | Why is DC requirement lower at night in Sep? Surely lower inertia drives a greater need...? | The DC-LF requirement is higher during the day due to increased volumes of embedded generation that are set on RoCoF LoM protection. This means that the total loss (BMU+RoCoF) is generally higher when compared to overnight. Having more lower inertia periods overnight means that there are more periods where a BMU loss can cause a consequential RoCoF loss but the total loss will be lower overnight due to the absence of embedded solar generation set on RoCoF LoM protection.
2021-08-17 | DC webinar - 17th Aug | 6 | "Aren't the provider data templates the same as the current ones? Or do we need to submit different ones? | The provider data template has been changed slightly so providers will need to submit the new version for DCL procurement. This new format will be available to view when we post the webinar recording and FAQ document. We need this back from providers by 31st August
2021-08-17 | DC webinar - 17th Aug | 7 | When will we see technical specifications released for DC high, Dynamic moderation, and Dynamic Regulation | We recently consulted on all the changes required to contractual documents to account for DC High. The consultation can be found here: https://www.nationalgrideso.com/industry-information/codes/european-network-codes-old/meetings/consultation-open-ebgl-article-18-2. Clean versions of all these documents will be posted once the EBGL Cosnultaiton has concluded.
2021-08-17 | DC webinar - 17th Aug | 8 | Can you go into the detail of how you would control a large plant trip of you are not holding any DC volumes? | This is dependent on the system conditions, and this could include taking bids and offers on generation in the Balancing Mechanism or via trades to reduce the loss risk size, increasing inertia, or holding additional response
2021-08-17 | DC webinar - 17th Aug | 9 | So the September MIR data means that there is at least 1 EFA 3/4/5 block where NG ESO will not procure any DC? " | Yes, that is correct. Noting we have reverted back to August MIR DC volumes for September where there are no 0MW requirements.
2021-08-17 | DC webinar - 17th Aug | 10 | Any idea when you would be looking to vary the auction time? | DCH is planned to be introduced in October, auction timings will change once DCH goes live. The auctions for Dyanmic Containment will take place at 14.30pm.
2021-08-17 | DC webinar - 17th Aug | 11 | Will you consider lowering the 1MW size threshold for entry? Smaller assets are currently at a significant disadvantage | We have no plans currently but continue to consider chages such as this in the future.
2021-08-17 | DC webinar - 17th Aug | 12 | Is the results file from mock auction definitely going to be the same as the real one in format/content? | Yes, the results file format used during the mock auction will be the same following the first auction taking place on 15th September
2021-08-17 | DC webinar - 17th Aug | 13 | Will the swap over from EFA blocks to EFA days be a hard cutover or a phase of both? If hard - when is the date? | The change in MR requirmements is currently planned to be a clean switch from EFA days to EFA blocks. The date will be announced once we have fully considered the feedback we have received.
2021-08-17 | DC webinar - 17th Aug | 14 | The EFA block volumes from September report are for 2021, what are the volumes for 2022, 2023 and 2025? | This is subject to ongoing work and we will communicate these as soon as possible.
2021-08-17 | DC webinar - 17th Aug | 15 | Will the previous submission process continue for the week of the 7th - 13th Sept? | Yes, that’s correct. The auctions prior to the 15th September will continue to use the current submission methods
2021-08-17 | DC webinar - 17th Aug | 16 | Are you able to give an indication of expected timelines for DC High service please? | DCH is planned to be introduced at the beginning of October.
2021-08-17 | DC webinar - 17th Aug | 17 | Will National Grid be able to share the full requirements (or best estimation) for each EFA ahead of moving to EFA procurement to allow providers to adjust their risk exposure and move back to monthly auctions if required? | See Question 4 answer
2021-08-17 | DC webinar - 17th Aug | 18 | Any update on DC High timeline? Will it adjust in line with delay? | DCH is planned to be introduced at the beginning of October.
2021-08-17 | DC webinar - 17th Aug | 19 | Is it likely for DC on the same part of the network to be used? How are impacts of coincident responses from DC participants accounted for? | There is a cap in place to ensure all the DC response isn't located in one area.
2021-08-17 | DC webinar - 17th Aug | 20 | Has the ENCC been consulted on the proposed move to block procurement of DC and what it will mean for BM stacking and how providers signal the correct availability to the control room? | Our ENCC colleagues are vital part of the project team as we further develop services. The document 'Unlocking stacking of BOAs in Dyanmic Containtment' has been updated to account for the addition of DC High. https://www.nationalgrideso.com/document/184466/download
2021-08-17 | DC webinar - 17th Aug | 21 | The PDT has an ABSVD column (yes/no). For BMU's my understanding is that the absvd needs to be yes. Can NG add validation to ensure that No is not ticked for a BMU? | Yes your understanding is correct, the way the PDT is setup doesn’t allow that change as yet. We will work on this in the background but I would ask you hard type in 'yes' for BMU units and 'no' for non-BMU. We transfer all provider data information into a master file which is not the same the PDT therefore data can get mixed around if we have validations on one and not the other
2021-08-17 | DC webinar - 17th Aug | 22 | Are you not rushing these volume changes considering DM and DR are not launching till January? | We are looking to make the best use of the increased flexiility that EFA block procurement offers
2021-08-17 | DC webinar - 17th Aug | 23 | Will the results file be the same for DC High- i.e. tendering separately for DC Low/High, with one single results file for DC Low + High? | The results file will be the same for DCH, this will added to the auction and results file once it is launched
2021-08-17 | DC webinar - 17th Aug | 24 | Can you explain how you will continue weekly auctions (assume as they are at present for daily delivery), with new daily EFA block procurement, and for how long will this continue? | Weekly auctions will continue in the same way as today, although its delivered daily the providers currently submit bids a week ahead, the new daily procurement allows providers to bid up until the auction takes place at 10am on any given day (post 15th Sept). The weekly auctions will run until the end November 2021, with the final weekly auction taking place on 26th November
2021-08-17 | DC webinar - 17th Aug | 25 | Presumably the big winner from reducing DC volumes will be mandatory response providers which is a very opaque market, can you do anything to make this service more transparent as it's currently a black box product | Lower DC volumes in certain EFA blocks is due to the system conditions on specific days. This does not mean procuring more conventional response from FFR or MFR markets. As stated in Question 3 above, DC is procured on top of other frequency response products. As we transition to a DC buy order we will aim to meet our frequency obligations with the most efficient mix of actions which will include DC, other response products and trades/BOA's on loss risks, It is our ambition to move away from MFR in to open, competitive, transparent markers with our new suite of frequency response services
2021-08-17 | DC webinar - 17th Aug | 26 | What are the volumes for DM and DR? | This is subject to ongoing work and we will communicate these as soon as possible.
2021-08-17 | DC webinar - 17th Aug | 27 | I may have misunderstood this but can you please confirm there will be no EFAs in September where DC requirements will be zero? And you look to move to an EFA level requirement in the near future? | This is correct. There will not be any 0MW requirements in September. We aim to produce our buy order in the near future which will include the DC volume requirements and the price the ESO is willing to pay for the service. This alongside the providers offers will enable the DC auction to clear at an appropriate volume and price
2021-08-17 | DC webinar - 17th Aug | 28 | Can you confirm you will continue to publish the auction results on the ESO data portal during the weekend once this goes live? | Yes that’s correct, they will be published on the ESO portal in a machine readable format
2021-08-17 | DC webinar - 17th Aug | 29 | Clusters of Electricity Storage connected on distribution networks could present network issues if they deploy coincidently. Are there any consideration of how such potential impacts could be mitigated for each EFA block? | We are not currently planning to limit our procurement at specific locations
2021-08-17 | DC webinar - 17th Aug | 30 | When and how will you publish daily requirement? | See Question 3 & 4 answer.
2021-08-17 | DC webinar - 17th Aug | 31 | Is DC HF symmetrical? what is the volume of DC HF? | DC-HF requirements are currently based on the view of the largest outfeed loss risks the ESO actively secures. These are typically interconnectors on export. We will balance the need to grow this market against the volume of existing HF products that we procure. As we transition, it is likely that DC-HF volumes will be lower than DC-LF due to the fact that there are more LF risks on the system compared to HF risks. As we shape the DC-HF buy order and as we transition from conventional HF products the DC-HF requirements will grow. This also depends on the inertia and on our interconnector exports. We will publish our DC-HF requirements when they are ready.
2021-08-17 | DC webinar - 17th Aug | 32 | When will Tech Documentation for DCH be published? Market participants will need time to develop their systems for asset scheduling in DCH. | We recently consulted on all the changes required to contractual documents to account for DC High. The consultation can be found here: https://www.nationalgrideso.com/industry-information/codes/european-network-codes-old/meetings/consultation-open-ebgl-article-18-2 Clean versions of all these documents will be posted once the EBGL Cosnultaiton has concluded.
2021-08-17 | DC webinar - 17th Aug | 33 | Will the auction results shared in the same format as per the mock auction results file? Do you expect any changes to that? | Yes, the auction results file format will be the same as that produced for the mock auction results
2021-08-17 | DC webinar - 17th Aug | 34 | Hi, thanks for an interesting webinar. On a recent ENCC OTF webinar I think it was mentioned that more MFR is being used at the moment, as DC procurement was lower than target level during this transition. Does this mean that MFR will continue to be more used? Is it cheaper than DC? Thanks. | See Question 3 & 4 answer. The DC volumes are procured on top of the exisiting response products that manage a 1260MW loss to 49.2Hz. The next step involves the combination of these services to meet our frequency obligations as opposed to stacking them on top of each other. As we shape the DC buy order we will aim to manage the frequency in the most secure and efficient way. During this transition, this will include all actions at our disposal including DC, other response products and trades and actions in the BM. Noting that the end state is pre-fault frequency managed by Dynamic Regulation & Moderation, with post-fault frequency managed by Dynamic Containment.
2021-08-17 | DC webinar - 17th Aug | 35 | Why is there such a delay between the auction and the publishing of the results? | We will endevour to publish the results as quickly as possible. The results will be available to participating providers straight after the auction is cleared on EPEX platform and it takes some time to convert results for them to be ready to be published on DataPortal.
2021-08-17 | DC webinar - 17th Aug | 36 | Why does the ESO need until 4.30pm to publish results on the Data Portal via API? Given this is after the EPEX Half Hourly auction providers will need to scrape results manually | We will endevour to publish the results as quickly as possible and before the deadline of 14:30. The results will be available to participating providers straight after the auction is cleared on EPEX platform and it takes some time to convert results for them to be ready to be published on DataPortal.
2021-08-17 | DC webinar - 17th Aug | 37 | When NG will decommission FFR (dynamic and static) and the other frequency products? | The weekly auction trial is due to end in Novemeber and we anticipate that FFR will be phased out following the implimentation of DM & DR.
2021-08-17 | DC webinar - 17th Aug | 38 | How will daily volume requirements be communicated after go live, and will this be prior to each DCL auction? | See Question 3 & 4 answer.
2021-08-17 | DC webinar - 17th Aug | 39 | I believe the auction results at a weekend we not published until the following Monday? Could you confirm this? | This was originally the plan as the EPEX platform results will now dictate a contract for the provider. Following review and feedback from providers we have agreed to publish the full market results every day of the week, this will be done each day no later than 14:30
2021-08-17 | DC webinar - 17th Aug | 40 | Why will DCH change the auction timings? | Interconnectors form an important part of the frequency loss risks in the GB system due to their relatively high capacity. Dynamic Containment mitigates these loss risks by replacing the energy lost if an interconnector trips and helps manage the frequency to within 49.2Hz for low frequency and 50.5Hz for high frequency events. As a result, reduced uncertainty in the interconnector positions day-ahead enables more efficient procurement of DC. Interconnector nominations are only known after 1330 day ahead, therefore we have recommended the DC auction be run at 1430 to allow interconnector flows to be included in the DC requirements.
2021-08-17 | DC webinar - 17th Aug | 41 | Can you explain how the August MIR min-max values translate to EFA block requirements? Maybe a long form data table of every EFA block across the month would be useful? | See Question 3 & 4 answer. They don't translate as they are based on (1) different views of the total losses in the system and (2) different granularity of procurement. However, both sets of requirements are derived from the same underlying methodology that depends on the inertia, demand, loss sizes and volume of embedded generation at risk of tripping on RoCoF protection.
2021-08-17 | DC webinar - 17th Aug | 42 | Is there a timing difference between the publication of individual results in the EPEX platform and the publication on the NGESO data portal? | Yes there will be as the ESO is adding additional transparency information such as Generation Type and location going forward
2021-08-17 | DC webinar - 17th Aug | 43 | Are we moving to EFA block procurement from 2300 15/09/21? | Yes, that is correct.
2021-08-17 | DC webinar - 17th Aug | 44 | If we encounter IT issues with the auction platform, who should we contact for assistance? CTS? Is there a phone number and if so can you please share the hours. | All contact details for EPEX are in the CTS++ Trader user guide which is published on the website along with the webinar recording and FAQ document.
2021-08-17 | DC webinar - 17th Aug | 45 | Just to clarify, the switch to EFA block DC LF will happen on 15th Sept? | Yes, that is correct.
2021-08-17 | DC webinar - 17th Aug | 46 | Will the auction for the 7th - 13th Sept be carried our using the previous submission method? | Yes, that’s correct. The auctions prior to the 15th September will continue to use the current submission methods
2021-08-17 | DC webinar - 17th Aug | 47 | Will your DC volumes be released before the week ahead product auction | See Question 3 & 4 answer.
2021-08-17 | DC webinar - 17th Aug | 48 | Are you intending to rely on mandatory to moderate frequency, is that not a market failure as it's not a market solution | This wil be the role of Dynamic Regulation and Moderation products.
2021-08-17 | DC webinar - 17th Aug | 49 | Considering that HF will go live in October, When the volumes for DC HF will be released? | This is ongoing work and we will communicate this in due course.
2021-08-17 | DC webinar - 17th Aug | 50 | Planning to procure 0MW DC is putting a lot of confidence on your forecasting, is there an error tolerance? | See Question 3 & 4 answer and how we buy DC on top of other frequency response products.
2021-08-17 | DC webinar - 17th Aug | 51 | thanks for response - but is the 0 MW requirement going to occur 1 day in the month of 30 days in the month? This is hugely important and isn't reflected in a simple min-max range. | See Question 3 & 4 answer. This shows that there is at least one EFA block in the given month that has a 0MW requirement across the entire EFA block. Note that we hace reverted to the August MIR DC requirements where there are no 0MW requirement periods.
2021-08-17 | DC webinar - 17th Aug | 52 | To confirm dates, you plan to move to the platform from 15th September, however will be continuing to procure DC LF per EFA day, procuring within the range in the August MIR. At present, you do not have a date for the shift to per EFA block procurement through the platform, and are asking for feedback from the market on when and how to make the shift to per EFA block procurement? | Correct, we will communicate when we will start varyinging our requirments by EFA blocks shortly once we have fully considered the feedback we have received.
2021-08-17 | DC webinar - 17th Aug | 53 | If volumes will not be varying in September will prices be varying by EFA? | We will continue to procure DC-LF in September as we have done since soft launch. See Question 1, once we finalise our DC buy order methodology, the price steps and volumes will begin to vary across EFA blocks
2021-08-17 | DC webinar - 17th Aug | 54 | Please could you share some information about the market clearing algorithm? | NGESO would refer you to the Market Clearing Rules section in the Auction Rules v3 (the one published in the consultation), the updated clean version will be published as soon as we have Ofgem's approval and a complementary guidance doc will be published in the due course.
2021-08-17 | DC webinar - 17th Aug | 55 | Do units which have already been registered in the weeklies have to re-register or will the details used for the weeklies still stand? | There is no need to re-register assets currently in the DLH and LFS weekly auctions. It is only for new DC assets or to update an existing DLH or LFS unit with DC MW capability that it has been DC tested
2021-08-17 | DC webinar - 17th Aug | 56 | Will each EFA block be a distinct contract so your min energy holding resets every 4 hours regardless of if grids frequency requirements run your state of energy down before the changeover point? | If an asset is fully depleted but has been following the State of Energy rules then there is no penalty or performance measurement applied to the unit because it has always sought to recover energy at the first opportunity.
2021-08-17 | DC webinar - 17th Aug | 57 | If you don't analyse trading DC against other products how do you calculate the cost of holding something other than DC? | The ESO will have a view day-ahead of the alternative costs to DC and the reduction in those costs for a given level of DC procured. This will allow us to value the DC service against the reduction in alternative actions all the way up to the peak DC requirement for a given EFA block. This is not to say the auction will always clear the maximum DC requirement as this will depend on the ESO's value of DC (the buy order), the cost of alternative actions (the buy order) and the providers submissions (the sell order).
2021-08-17 | DC webinar - 17th Aug | 58 | How will EPEX/NGESO allocate volumes where different providers with different capacities may breach the total volume need threshold? Equivalent to net welfare algorithm in CM? | In case those orders are not equivalent in terms of market welfare, the set of orders maximising market welfare will be selected (in simple cases without any order spanning across multiple EFA periods and fully curtailable orders, the order with the lowest price will be exceuted). If orders are strictly equivalent and only 1 can be accepted, it will be psuedo-random (meaning it will be random but reproducible
2021-08-17 | DC webinar - 17th Aug | 59 | NG published a 13GW requirement of storage to accelerate the transition to net zero and hit the goals. However, with the announcement of reducing the DC requirement and the new services the message to investors is that there s high level of uncertainty. NG didn't reply in full any questions about volumes or future requirements, How do NG plan to address the uncertainty to investors that this type of announcements are causing? | We are currently in a transition from the current suite of response products to the new response products. We are therefore using both the current and the new response products. In this situation, there are periods where there are lower requirements for DC. However, following the launch of the new response products and the growing of these markets next year, we will be transition away from the current services . In the future, we would not ancipate there being any periods with a 0MW requirement for DC.