## Slide 1
Transmission Network
Single Site
Final Demand
+110 MWh
Generator (Export)
-120MWh
Notes
Example Band Boundaries
Positive values are Import/Demand
Negative values are Export/Generation
User Assets and/or Unlicensed Network
Band | Threshold
1 | <100
2 | =>100
If there is no other metering than X, visible to the ESO is
‘gross consumption’ = 0MWh
‘gross export’ = 10MWh
Band 1 as 0 MWh consumption, but is still Final Demand Site
If there is internal metering, becomes as previously discussed scenarios
X
BTM generation
Example 1: BTM netting
110MWh
10MWh
Power flows

## Slide 2
Transmission Network
Single Site
Final Demand
+110 MWh
Generator (Export)
-120MWh
Notes
Example Band Boundaries
Positive values are Import/Demand
Negative values are Export/Generation
User Assets and/or Unlicensed Network
Band | Threshold
1 | <100
2 | =>100
If there is no other metering than X, visible to the ESO is
‘gross consumption’ = 110MWh
‘gross export’ = 120MWh
Band 2 as 110 MWh consumption.
If there is internal metering, becomes as previously discussed scenarios
X
BTM generation
Example 2: no BTM netting
110MWh
120MWh
Power flows