## Slide 1: Emergency and Restoration Code – Phase II Workgroup 6 – GC0148 20 December 2021

## Slide 2: Agenda
Review of Actions from the previous Meeting and general update
System Defence, System Restoration and Test Plans
  Comments received from workgroup and Next Steps
Notification Letter
Control Telephony Standard
Distributed Re-Start
  Update
Behaviour of Storage Plant during low System Frequencies
Low Frequency Demand Disconnection - Update
Consultation and Draft Workgroup Report
  Timelines
AOB

## Slide 3: Actions
See Actions and Minutes following last meeting held on 5th November
  Garth Graham to provide text to the Code Administrator for inclusion in the Workgroup Report relating to the Term and Conditions and “Approval by GEMA”
  Additional comments sought by the Workgroup on the System Defence Plan, System Restoration Plan, Test Plan and Control Telephony Standard (Previous comments from Mike and Alan circulated to Workgroup) – Only two additional sets of comments have been received – Alastair Frew and Graham Vincent
  Next Iteration of the System Defence Plan, System Restoration Plan and Test Plan to include GC0148 updates.
  Updated Notification Letter – Circulated with this presentation
  Control Telephony Standard – Comments received – further discussion on approach / Virtual Control Point – see later Control Telephony slides – Control Telephony Standard placed on hold until issue is more widely discussed.
  Distributed Re-Start Legal Text – Circulated prior to the last workgroup Meeting held on 5th November– Comments sought from Workgroup by 15th December
  Storage Legal Text – Circulated prior to last workgroup Meeting held on 5th November – Comments sought from Workgroup by 15th December
  Low Frequency Demand Disconnection – Meeting held with DNO’s on 16th December to identify gaps between the requirements of E&R and DNO work – Update to be provided at meeting

## Slide 4: System Defence Plan (Issue 4) – New Issues
Additional Comments received from Workgroup
  Graeme Vincent
  Alastair Frew
High level comments – over and above those presented at the Workgroup Meeting in November
  Section 3.1 – How do User’s know the System Defence Plan has been activated without undue delay and interaction with GC0133 (Timely Informing of the GB NETS System State Condition) and are all items covered
  Clarification on the treatment of Storage Units / retrospectivity comments.
  Treatment of Total System Demand in Section 4.2.3
  Additional commentary provided to Alan Creighton’s comments – eg treatment of Limited Frequency Sensitive Mode of Operation
  Clarifications around Emergency Disconnection of Embedded Generation
  Operational Intertripping
  System Warnings eg Embedded Generation Control
  DNO’s are not SGU’s
  Formatting/minor wording corrections

## Slide 5: System Defence Plan (Issue 4) – Presented at Workgroup Meeting on 5th November
Comments received from Workgroup
  Mike Kay – P2Analysis
  Alan Creighton – Northern Power Grid
  Garth Graham – Comment noted at previous meeting on Formatting
High level comments
  Improve Formatting / consistency / clarification
  Correction of known errors
  Include GC0148 changes in addition to changes since 2019 (eg Non-CUSC Parties caught under E&R, treatment of Storage and Embedded Generation who are not CUSC)
  Consider consideration of Critical Tools and Facilities as an obligation in the Grid Code as part of the GC0148 solution.
  Suggest reference to Statutory Instruments is further explained and are any obligations not retained in GB law.
  Include references to the notification process
  Low Frequency Demand Disconnection – should this be updated to cover Total System Demand rather than the split between England / Wales and Scotland
  Clarification to be added to confirm the volume of demand relieve available that can be achieved through voltage reductions
  Checks to ensure if any changes need to be made in the System Defence Plan with regards to Grid Code Modification GC0109 regarding System Warnings as introduced under OC7
  Include references to OC6B – Implementation of Grid Code Modification GC0147
  Ensure any code changes are implemented into the industry codes as necessary and that the SDP does not impose new obligations on parties outside of the Codes.
  Review change / version control process
  Referencing and structure
  Definitions
  Treatment of IDNO’s
  Ensure document is future proof
  Typographical errors / grammar

## Slide 6: System Restoration Plan (Issue 4) – New Issues
Additional Comments received from Workgroup
  Graeme Vincent
  Alastair Frew
High level comments – over and above those presented at the Workgroup Meeting in November
  Section 4.1.6 – To be updated to reflect correct operation of LJRP
  Section 4.3.4 – Updates to Target Frequency Instructions
  Interaction with Electricity Restoration Standard
  Reference to Ofgem approval of SGU’s and High Priority SGU’s
  Section 8.6 – How are consultations on future changes to the System Restoration Plan undertaken with Stakeholders
  Glossary – How are Non-CUSC parties captured
  Formatting/minor wording corrections

## Slide 7: System Restoration Plan (Issue 4) – Presented at Workgroup Meeting on 5th November
Comments received from Workgroup
  Mike Kay – P2Analysis
  Alan Creighton – Northern Power Grid
  Garth Graham – Comment noted at previous meeting on Formatting
High level comments
  Improve Formatting / consistency / clarification
  Deletion of historical references where these are not necessary
  Suggest reference to Statutory Instruments is further explained and are any obligations not retained in GB law.
  Update System Restoration Plan to include Distributed Energy Resources and Distributed Re-Start arrangements
  Clarification of the Frequency Leader role in a Distributed Re-Start situation
  Review and update Re-energisation procedure to include Distributed Re-Start and Distributed Energy Resources
  Consider consideration of Critical Tools and Facilities as an obligation in the Grid Code as part of the GC0148 solution.
  Ensure any code changes are implemented into the industry codes as necessary and that the SDP does not impose new obligations on parties outside of the Codes.
  Consideration of critical substations for Restoration and the impact on DNO’s. A view was expressed that these together with the Restoration Plan in Appendix C should be visible to ensure the DNO’s have the same interpretation as the ESO
  Reference should be made to GB documents not EU documents (eg SOGL)
  Change / version control
  Typographical errors / grammar

## Slide 8: Test Plan (Issue 2) – New Issues
Additional Comments received from Workgroup
  Graeme Vincent
  Alastair Frew
High level comments – over and above those presented at the Workgroup Meeting in November
  Section 2 – How are the test requirements for Non-CUSC Parties documented
  Section 3.3 – Reference to everything now being in National Law
  Section 3.4 – Change Transmission System to System
  Table 1 – Remove Grid Code modification numbers where appropriate to do so
  Section 4.1.9 – Joint responsibilities between the User and Network Licensees
  Section 4.1.21 – Clarifications required to DSO Tools and Facilities
  Section 8.0 – Do the ESO have a Licence Condition to establish an Assurance Framework
  Formatting/minor wording corrections

## Slide 9: Test Plan (Issue 2) - – Presented at Workgroup Meeting on 5th November
Comments received from Workgroup
  Mike Kay – P2Analysis
  Alan Creighton – Northern Power Grid
  Garth Graham – Comment noted at previous meeting on Formatting
High level comments
  Improve Formatting / consistency / clarification
  Further clarification sought around testing and the obligations they have to meet. In particular any obligations should be explicitly defined in the Grid Code / Industry Codes rather than the Test Plan and the level of detail required.
  Suggest reference to Statutory Instruments is further explained and are any obligations not retained in GB law.
  Update Test Plan to include Distributed Re-Start
  Clarification to the term TSO and how this should be interpreted in GB
  Clarification to terms used and frequency of testing
  Monitoring of low frequency demand disconnection and ensuring the obligations under the Grid Code are sufficient to meet the requirements of E&R
  Adequate testing for Critical Tools and facilities
  Sight of the risk matrix associated with plant, tools, equipment that need testing & how often
  Treatment of Non-CUSC Parties and how obligations would be placed on them (eg Distribution Code?)
  Clarity required around the Assurance framework
  Change / version control
  Typographical errors / grammar

## Slide 10: Notification Letter
Two comments have been received from the Workgroup
  Mike Kay - P2Analysis
  Alan Creighton – Northern Power Grid
Re-write and restructure to remove historical context which is not necessary
Simplify letter
Remove historic references
Do we require two letters – one for Defence Service Providers and one for Restoration Service Providers
Time frames – Pre GC0148 requirements and post GC0148 requirements – These would need to be separate letters – for discussion at workgroup
Letter updated and circulated with this presentation

## Slide 11: Control Telephony
Numerous comments received
Some wider issues exist around Virtual Control Points and communications robustness
These issues will be discussed in the next few slides as they have an impact on the Control Telephony Standard

## Slide 12: Telephony for Virtual Control Points Mark Bingham BEng CEng FIET National Grid IT November 2021

## Slide 13: Overview
An increasing number of BM Participants are adopting modern technology for voice communications with ESO
This often involves establishing a virtual Control Point using geographically dispersed personnel
Traditional Control Telephony solutions are not suitable for this way of working
The following slides show the options available for Telephony between ESO and various Control Point locations

## Slide 14: Control Telephony: Control Point local to Substation
Connectivity
via OpTel fibre network

## Slide 15: Control Telephony: Remote Control Point
Connectivity via Leased MPLS service

## Slide 16: Control Telephony: Remote Control Point
Connectivity via Leased MPLS service to Participant Data Centre

## Slide 17: Remote Control Point
Public Telephony via SIP Trunks to Participant Data Centre

## Slide 18: Virtual Control Point
Data Centres and Control Points may be in different continents
Public Telephony via SIP Trunks to Participant Data Centres

## Slide 19: Virtual Control Point
Data Centres and Control Points may be in different continents
Leased MPLS
& private SIP Trunks to Participant Data Centres

## Slide 20: Distributed Re-Start - Update
The Grid Code, Distribution Code and G99 drafting for Distributed Re-Start was been circulated to the Workgroup in November 2021
Comments on the drafting sought by the Workgroup by 15 December 2021
A detailed report on Distributed Re-Start is due to be issued later in the year which will be issued by the Distributed Re-Start Project team
  This will also include the high level approaches used in the development of the drafting
Drafting on the System Operator Transmission Owner Code (STC) is well advanced and this will be presented to the STC Panel we anticipate in January time.

## Slide 21: GC0148 – Treatment of Storage Art 15(3)
Draft Legal Text circulated to the last Workgroup in November
Comments requested from the Workgroup by 15th December
Compliance aspects under consideration in addition to updates to the Data Registration Code

## Slide 22: GC0148 – Treatment of Low Frequency Demand Disconnection – Art 15(5) – 15(8)
Meeting scheduled with the DNO’s for Thursday 16th December
Aims to define the work of the DNO’s under E3C following the 9th August incident and requirements under E&R Phase II
With this information available, code developments can then be initiated based on the gaps identified
Update to be provided at the meeting on 20th December

## Slide 23: GC0148 – Timeline and Next Steps
Aim to develop Workgroup Consultation in late January / early February 2022 which will comprise:-
  The Workgroup Report
  Updated System Defence Plan
  Updated System Restoration Plan
  Updated Test Plan
  Control Telephony Standard
  Mapping Table
  Appropriate Legal Text (where necessary) to cover the following
    Low Frequency Demand Disconnection
    Control Telephony and Critical Tools and Facilities (as appropriate- this could be via appropriate standards)
    Treatment of Storage under low Frequency Conditions
    Distributed Re-Start