## Show & Listen Q&A
Version: Updated 08.06.2022
Q No. | Question / Comment | Answer Provided
1 | Standardisation of product length into chunks (e.g. 5/15/30 mins) should be considered to allow standardisation of products. Similar to Replacement Reserve? | We have aimed to standardise key service parameters while allowing flexibility to accomodate different provider and technology types, and also factoring in compatibility with the Balancing Mechanism. We will continue to review service design to maximise operability and consumer value through effective competition.
2 | Pricing should be pay as clear for both availability and utilisation - reserve and response are not locational products, they should be homogenous | Dispatching Reserve is interlinked with the Balancing Mechanism which is GB's largest balancing market and is founded upon Pay-As-Bid. For the new Reserve products, we propose to mirror this on day one but will consider a transition to Pay-As-Clear in future if this remains the most economic procurement method and systems / market mechanisms can be updated.
3 | What guarantees NGESO will always activate according to merit order if pay-as-bid? | We always seek to balance the system in the most economic and efficient manner, while ensuring safe and secure operation. This is not affected by the choice of how to set the clearing price.
4 | Pay as bid could be used for utilisation in the early days, with a view to moving to a clearing price once the product is up and running | Whilst we maintain our approach for utilisation pricing being Pay-as-Bid in the short term, we will continue to explore the most economic procurement mechanisms looking further ahead.
5 | Activation times state a minimum of 30 minutes. Will this be the case for all slow reserve actions or could calls be shorter ? | The Minimum Activation Time is an optional parameter which is specified by providers. This must be no more than 30 minutes but could be as short as 1 minute if deemed acceptable by each participating unit.
6 | Will limits be placed on the amount of reserve procured in the BM? | We don't propose that there will be any differentiation between BM and non-BM providers when procuring Reserve volume.
7 | What is the reason for 1Hz? Feedback I got internally is that this is a barrier and very unusual for an energy product. | We are proposing 1Hz metering for performance purposes to monitor compliant practice during the ramping envelope. 1-minute granularity data, as per STOR, is insufficient for this. For operational metering, we are looking to enhance our visbility of assets on the network, especially those participating in balancing services markets. 1Hz granularity is common for many assets participating in the Balancing Mechanism and enhances our capability for more granular demand forecasting and frequnecy modelling. We understand that 1Hz metering for single-site >1MW assets is broadly acheivable but recognise that our standards need to be implemented proportionately for aggregated units. We are convening an inaugural Power Responsive working group to establish how these new standards should be enforced.
8 | 1 Hz is a major barrier to entry when considering staking of multiple small assets | Thanks for your feedback. As above, we are convening a Power Responsive working group to understand how aggregated assets should provide operational metering to NGESO in a way that provides visibility but does not create disproportionate data costs.
9 | New operational metering standards should be applied for both BM and non-BM users with aggregated assets | Thanks for your feedback.
10 | The 1hz metering is a big ask for older and aggregated assets that typically deliver STOR, although deliverable it will cost us to setup, and maybe block some capacity, is it really necessary for units taking 15 mins to ramp? | We are proposing 1Hz metering for performance purposes to monitor compliant practice during the ramping envelope. Given the potential for asychronous assets tripping off creating undesirable impacts on frequency, this is more important than for STOR. 1-minute granularity data, as per STOR, is insufficient.
11 | Can you please clarify whether positive reserve needs to start with a PN of 0MW. | No, units delivering either Positive or Negative Slow Reserve can start with a non-zero Physical Notification.
12 | Are you envisaging alternative baseline based on irradiance sensors (like done by other EU TSOs) for solar plants ? | We are currently exploring a data-derived baselining method which uses virtual metering to distinguish balancing services load from external site consumption. We would welcome more insight into the irradiance sensor method you reference.
13 | For non-BM assets, do you only provide baseline for firm/optional service windows for which you have been accepted day-ahead? I.e., no day-ahead commitment, no need to provide baseline (presumably BM assets PN as normal). | That's correct. Non-BM assets will be expected to provide a baseline for both: a) windows where they are contracted for the firm service; b) windows where they have declared available for the optional service. A baseline should also be provided for the relevant period(s) when required to manage window crossovers - more detail to follow.
14 | Is aggregation of BM and non-BM units allowed ? | Aggregation of BM and non-BM units within the same unit is not permitted. We would need to manage dispatch instructions via both BM and non-BM systems simultaneously which is not possible.
15 | Can assets smaller than 1MW participate if they are aggregated? For BM / non-BM does this need to be at GSP Group? | Assets <1MW can be aggregated within a GSP Group to meet the 1MW minimum participation threshold. Any units which do not meet the 1MW threshold will be unable to participate.
16 | Aggregation at GSP Group is very important, not just GSP | Thanks for your feedback.
17 | Is there a way that assets can see what GSP they are on, other than just eyeballing maps? | Please use the 20220314 region definitions https://data.nationalgrideso.com/system/gis-boundaries-for-gb-grid-supply-points
18 | Support comment asking for visibility of where GSP boundaries are, so you can know which GSP your assets are in. | As above.
19 | Will onboarding be completed through SMP? Is it the same for BM and non-BM assets? | Yes, pre-qualification for the new Reserve services will be completed via the Single Markets Platform (SMP). As a minimum, this will include provider and asset registration and we are working to deliver additional features such as contract management and integration with the Enduring Auction Capability project.
20 | Will there be requirements for ITE testing to qualify for Slow Reserve? | We are currently working through our ITE testing requirements for Slow Reserve, however we expect any testing to be light-touch if at all required. Providers will be expected to complete usual testing for ASDP and BM dispatch systems as part of onboarding.
21 | Auction Timing (DA and ID) and what will be the Volume tendered? | The volume depends on the expected system conditions and on the expected peak demand/generation loss. We can make better estimates closer to real time.
22 | How will this interact with the local constraint market (LCM)? E.g. timings? | The Local Constraint Market is designed to mitigate constraints whereas Slow Reserve is an energy replacement product. Therefore, the system needs are distinctly separate. LCM will be assessed in two discrete instruction windows and providers will recieve payment for utilisation only. Day-ahead Reserve auctions to procure firm capacity will not consider actions considered for the LCM service.
23 | When will slow reserve go live? | We are currently working on our delivery plans in order to ensure we launch products in the most cost effective order. We will communicate when we have a more concrete idea of dates.
24 | Do you have a deadline for responses to the various proposals? At this stage I only have strong feedback on 3d. The rest either looks ok or we need to consider points in a bit more detail. | There is no specific deadline, however we would encourage parties to provide feedback as soon as they can to allow us to incorporate it into our work on Quick and Slow Reserve designs.
25 | Would be helpful to have the ramp rate examples in the product document | Thank you, we will look to update the existing version.
26 | For sufficiently small asset (< X MW), why not allowing instantaneous ramping to 100% ? That would help building pool from scratch | Whilst this would not cause operational problems for a single site, in aggregate this could result in large volumes of instantaneous ramping which would cause system issues. Therefore we need to implement tolerances for all providers.
27 | The additional monitoring required could be a challenge for DSR. | Thanks for your feedback. We are trying to adapt our service designs to address significant pain points, such as metering and ramp rates.
28 | Can the ramp rate be delivered by combining multiple on-off assets in a pool? | We will check that ramping tolerances have not been breached at the master unit level, therefore it is at the providers' discretion how ramping is managed at the sub-asset level within an aggregated portfolio.
29 | Will the under-delivery / over-delivery performance check be enforced per second ? What about rare outliers ? | We will enforce performance checks per second during the ramping periods to ensure compliant ramping. For the main body of the instruction, we expect providers to deliver the contracted capacity within the tolerances specified for under and over-delivery and will validate this using performance data supplied.
30 | How would it work for solar plants that have a flat PN over 30min but are ramping because of irradiance ? | Units are able to break down Physical Notifications into 1-minute increments if desired, so changes within a 30-minute time horizon are acceptable.
31 | Are the restrictions on utilisation payments in line with BM STOR? I thought non-delivery rules applied to those | Utilisation payments for Slow Reserve will be capped at 100% for both BM and non-BM units. Non-BM payments will be issued by NGESO in accordance with the service terms; payments for BMUs will be issued by Elexon, as per STOR. Where a BMU under or over-delivers on an instruction, imbalance will be applied for any under or over-delivered volumes.
32 | How often will performance be calculated and communicated? (can we avoid a large delay like what we had with Dynamic Containment?) | We are currently designing and building a new Settlements system which will determine the timescales for providing performance reporting to providers.
33 | If you expect units to run past the end of a window will you still hold them as compliant if doing so starts to break other contractual committments, if entering a frequency product for example? It would seem you are potentially extending the sr window by upto 2 hours without paying us the availability fee. | We are reviewing our options for a service extending beyond the procured service window - more to follow at the next Show & Listen event. No availability payments will be made outside the contracted availability window.
34 | Under options B and C, will participants continue to get availability payments for delivery falling into the next service window even if they haven't secured it day-ahead? | No availability payments will be made outside of the availability window. If a provider is required to deliver beyond the end of a service window, they will be paid either the utilisation price submitted for the relevant window, or by default the utilisation price submitted for the window in which a unit was instructed.
35 | Extension into the following window would surely only be allowed if the following window were contracted as well? | We have shared some initial proposals for managing service window crossovers, some of which may require participants to deliver for a specified period outside the contracted window if instructed. More information to be provided at Show & Listen 2.
36 | Extension beyond the delivery window limits participants ability to 'revenue jump' | Thanks for your feedback.
37 | Why would you not align the procurement blocks with other services (i.e. EFA blocks)? | We have taken on board feedback that certain technology types (e.g. PV, wind and DSR) benefit from smaller service windows as they are able to better optimise offered MW with variable output forecasts. In addition, EFA blocks do not align particularly well with the GB demand day so with more flexible windows we can procure our requirements more accurately and efficiently. It also may be that other services move to a more granular service window than EFA blocks in the future.
38 | If auctions are running through SMP, can there be an easy way to upload multiple assets/prices - like EPEX is run for response? Salesforce for STOR is very manual and can be onerous if submitting for multiple STOR groups. | The aim for SMP and the integration with the Enduring Auction Capability platform is to introduce APIs for bulk block-order upload. This will be delivered via future releases.
39 | Will auctions be run on Salesforce or EPEX? | Reserve auctions are going to run on the Enduring Auction Platform which will be delivered in 2023.
40 | For Auction 1, I strongly advise that the auction closes no earlier than 11am to allow parties to account for day ahead power auction results. Earlier auction close would probably result in the application of significant risk premia to prices | Based on feedback received at the last Show & Listen event, we are reviewing our options for when to carry out the Reserve Auction. This is to ensure a compromise between providers and the ESO's requirements.
41 | If the full activation time is 15 min, how does it matches with the min ramp rate of 30 min? | We do not fully understand this question so would appreciate more information. To clarify, Full Activation Time of 15 minutes is the maximum time in which providers must respond to an instruction in full. Minimum Activation Time is an optional parameter (up to 30-minutes) which represents the minimum dispatch duration for an asset at full output. Maximum Activation Time is the period in which a provider can sustain full output - in the case of Slow Reserve this is a minimum of 120 minutes. Any minimum or maximum activation times do not include ramping time. As an example, if you have a 15-minute ramp-to time + 30-minute Minimum Activation Time (delivery at contracted capacity) + 10-minute ramp-away time, your total non-zero time would be 55 minutes.
42 | For non-BM assets, do you only provide baseline for firm/optional service windows for which you have been accepted day-ahead? I.e., no day-ahead commitment, no need to provide baseline (presumably BM assets PN as normal). | That's correct. Non-BM assets will be expected to provide a baseline for both: a) windows where they are contracted for the firm service; b) windows where they have declared available for the optional service. A baseline should also be provided for the relevant period(s) when required to manage window crossovers.
43 | Auction Timing (DA and ID) and what will be the Volume tendered? | The proposed timing of Slow Reserve auctions is 14:30. The target procurement volume depends on the anticipated system conditions for a given day - namely, the expected peak demand/generation loss size. Requirements will be communicated to the market via a Market Information Report.
44 | Surely it's simpler for everyone to have consistent, regular service windows -- e.g. hourly? If transaction costs are a serious issue, it suggests you're not planning sufficient automation. (There was a comment in the consultation about the number of service windows being a compromise, with too many windows being potentially expensive to administer.) | The 2-hour service window represents a compromise between the reduction in overholding and better use of asset's flexibility provided by shorter windows and their overlapping with other products outside of the window. We have designed the service so that service windows can be changed to match our requirements and the most efficient procurement mechanisms, hence we have the opportunity to review this in future.
45 | How will the "crossover" period impact the next window and the contracted service? In your example it said reserve would run over by 15 mins, and then this would eat into the response contract by 15 mins. Current grace periods in response are 0.5s which is already hard to manage. Penalties are also strict so providers could lose a full EFA block of response contract for 15 mins of additional reserve crossover. | Market participants should consider the period in which an instruction could extend beyond the end of a delivery window by at least 15 minutes when tendering for other services or markets and manage any overlap accordingly. Participants must be able to deliver their contracted capacity for all contracted services at all times during the relevant service window otherwise penalties will apply. If there is a better way of managing the window crossover period, please share with us.
46 | I get why you wouldn't want to, but assuming that a provider successfully delivers energy beyond the contract window, it seems fair that it should be paid the availability fee | Instructions beyond the end of a service window would only endure for a maximum of 15 mins unless specified by the providers via the minimum activation time. Paying market providers to be available during the service window includes any window crossover periods. Furthermore, paying availability during this period would be challenging in ESO systems and settlement processes. All providers will be on a level playing field so we recommend that any costs incurred during these periods should be included in availability bids for the relevant service window.
47 | Are there any penalties for failing to deliver energy outside the contracted window? Being penalised for a failure when no availability fees are in play seems quite egregious | If we don’t penalise availability payments, there is a risk that providers would forego utilisation payments in the 15-minute window crossover period, leaving ESO exposed to risk. We are paying for availability across the whole service window for assets to be available to be instructed - this includes any periods which elapse across window boundaries.
48 | Wouldn't minimum run time be fairer rather than 15 mins? | We propose that the unit must deliver for its minimum run time or at least 15 minutes.
49 | Isn't it easier to maintain consistency in line with the Response services and procuring in EFA blocks? | Longer windows often increase overholding as requirements cannot be tailored as accurately across the operational day. Shorter windows also offer the opportunity for providers to more accurately forecast available MW, for example to align with renewables forecasts and other market opportunities. Where possible, we will look to align service windows with start and end times for EFA blocks to minimise sterilised assets when providers are looking to tender into multiple services on a given day.
50 | Re the comment to the left on EFA blocks: more granular is better, because it allows providers to better match their actual availability. | Thanks for your feedback.
51 | Is this not just adding undue complexity, especially given ongoing automation concerns, that data for ad hoc 15 minute windows are going to need to be manually input rather than a simple one hour structure? | We recognise the complexity of the window crossover period but it is our best view at present of how we can manage the transition from one service window to the next without losing Reserve capacity across the boundary. This problem would also exist and in fact be exacerbated by 1-hour windows as there would be 24 window crossovers each day. In addition, the service window would be shorter than the maximum activation time of the service which would cause significant complexity for providers and ESO.
52 | Paying availability in the overlap doesn't solve the fundamental problem for providers: the risk of being instructed to do something over the window boundary means that you have to sit out of the markets for an interval when changing between services. So it's wasting the potential flexibility. | Thanks for your feedback, we recognise the risk of sterilising flexibility but we do not foresee a better way of managing window crossovers on day one.
53 | Surely if a provider is required to deliver during a window into which they weren't originally contracted, they should receive the availability fee? They would be sterilised out of other markets for that hour so they'll just have to price it in anyway, so you'll be paying for it anyway? | Paying market providers to be available during the service window will include any window crossover periods which extend beyond the end of the window. All providers will be on a level playing field so we recommend that any costs incurred during these periods should be included in availability bids for the relevant service window. Assets may only be sterilised for a maximum of 15 minutes which appears to be the best outcome whilst managing risk of non-delivery across the window boundary. In practice, paying availability during a 15-minute period following the end of the window would also be challenging in ESO systems and settlement processes.
54 | Timing is better i.e. 2:30pm. Would be good if offers for response and reserve on the same day could be made mutually exclusive | Thanks for your feedback.
55 | Makes sense for the auctions to be simultaneous if they're co-optimised. Questionable otherwise. | Thanks for your feedback.
56 | The use of operational metering for forecasting purposes seems entirely independent of service provision. So you could procure this "visibility service" from any customers, independent of whether they're providing response or reserve. Why bundle them? | The primary purpose of operational metering is to provide close to real-time visibility to ESO control room engineers of generation / demand, by asset, geographical area and nationally. This is used to inform real-time decision making and validation that units are responding to instructions accordingly. The use of operational metering data for forecasting is a secondary use case. In the first instance, we want to have visibility of assets which are being actively instructed by NG ESO for balancing the network. However, in the future we need visibility beyond just these units, especially as more assets connect to the distribution network. We have recently released a position paper on enabling greater DER visibility which sets out some of our considerations in the short, medium and long term - https://www.nationalgrideso.com/document/250251/download
57 | The use of operational metering for forecasting and modelling doesn't require low latency. So considerably higher latency (much cheaper for providers) should be tolerable. | As above, the primary purpose for operational metering is to provide close to real-time visibility to the control room. It is important that ESO receive low latency data so control room engineers have the most up to date information to make decisions in real-time. The use of operational metering data for forecasting is a secondary use case and we value more granular data provided via operational metering.
58 | Do you really expect to make crucial split-second decisions on the basis of what you see from operational metering from slow reserve providers? Such that (say) a 30 second delay would lead to disaster? If so, please describe a plausible scenario. If not, then the latency requirements can be quite relaxed. | These services will form part of our overall supply mix, and we use the total output of this combined with frequency as a proxy for real time demand. Having low latency metering allows us to correlate changes in balancing services with a change in frequency. This allows the potential for instance to distinguish between a trip or a sharp demand change. How we respond to such situations might differ - such as using quick reserve assets for a demand change which may be short-lived, and slow reserve for a trip where the imbalance is more likely to persist.
59 | If the performance metering granularity is driven by the need to enforce the "don't switch more than 50% within any 30 seconds", then (a) you could still work with slower than 1s data, and (b) you could consider changing the requirement to reduce costs. | We need granular performance metering to validate that full output has been reached within 15 minutes and that ramping tolerances have not been breached. Any tolerance outside of 15 minutes would breach our standards. For example, 30-second granularity metering would not provide us with the appropriate visibility of ramping within an envelope. We do not see the introduction of 1Hz metering as a significant uplift versus the existing approach for STOR, which was supported by the majority of participants at our last Show & Listen event. As a side, the 1Hz standards for operational and performance metering would be aligned and could be satisfied using the same hardware which should keep costs low for market participants. In addition, we are currently designing other Reserve products and we expect that these standards for operational and performance metering will be common across those also - please provide more information if this remains a problem.
60 | Given the trouble already procuring max volumes on new response services, surely it’s counter intuitive to then bring in metering standards for reserve that are more restrictive than those for the outgoing suite of products, how will the needed volumes get on the system | We are trying to develop new products which are fit for purpose for future system operation and do not require subsequent hardware retrofitting. In a lower inertia environment where frequency can fluctuate more quickly, it is important that ESO have good visibility of assets and can validate instructions close to real-time.
61 | On Power responsive - the WG timelines do not cohere to Day 1 reserve timelines hence metering will remain a barrier until the conclusion of that work | The Power Responsive Workgroup will look at operational metering standards for aggregated units looking to enter the Balancing Mechanism in the first instance. We expect these learnings will be applied to Slow Reserve once a proof of concept has been established.
62 | Please try to get objective, data-driven baselines available from Day 1 - or make sure Day 2 isn't too long after! | Thanks for your feedback, we recognise the challenges with certain baselining methods but also the complexity involved with designing a new approach.
63 | Can you provide examples of assets that might have more variable baselines? | We will provide a more detailed example via an updated version of the Show & Listen slides.
64 | Can you be clear on whether Is it possible to pass through Zero MW from a baseline? eg- 10MW baseline 50MW 'instruction' +40MW resultant. | Yes, providing that dynamic parameters are appropriate (e.g. Minimum Zero Time).
65 | Are baselines only required for the period immediately before a call is issued? Sorry if I missed this on the slides. | Assets will be expected to provide a baseline for both: a) windows where they are contracted for the firm service, and b) windows where they have declared available for the optional service. A baseline should also be provided for the relevant period(s) when required to manage window crossovers.
66 | The scenarios are so basic. More variable FPN and deviate from that baseline would improve this. | We will provide a more detailed example via an updated version of the Show & Listen slides.
67 | concerning that the Day 1 MVPs are slated to employ nomination baselines without any definitive transition to alternative being in place, especially given op metering timelines | Thanks for your feedback, we recognise the challenges with certain baselining methods but also the complexity involved and time required to design a new approach.
68 | Are PNs required for both BM and non-BM units? How would a provider submit a PN for a non-BM unit? | Yes baselines will be required for both BM and non-BM units. We are working on a solution for non-BM providers to submit baselines which will be shared at the earliest opportunity.
69 | do these parameters accommodate resources which can start a dispatch as directed, but can’t necessarily end exactly when you want? <-- This situation occurs with a lot of demand-side resources, where processes can be shut down in a predictable manner, but re-starting has various safety-critical steps with human interaction. | It is important for us to know how units are ramping when they are ending a dispatch - for example in the use case where an activation spans two service windows. If there is a significant changeover of volume then it is important to match units ramping on with units ramping off to avoid a significant imbalance leading to a frequency deviation. We have aimed to give providers flexibility in setting the parameters for how they ramp down subject to our overall limitations.
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100