## Sheet1
No | Respondent | Topic | Question | NGESO answer
1 | Intergen | Service Terms | Clause 14.4 could be clarified to better state that under 14.4 (2) the Service Provider will only be penalised by non-payment of the BR Contract when unavailable to deliver the service (e.g. MEL drop or technical issue). The ability under 14.4 (1) for National Grid ESO to seek reimbursement for up to £250,000 per settlement period for costs incurred due to a BR provider not delivering should only apply for a Physical Notification movement by the Service Provider that means the reserve becomes unavailable (i.e.. a PN move without a drop in MEL). | We have added clarification that paragraph 14.1.1 is only intended to capture planned deviations in output (as opposed to trips or other unplanned outages). As already drafted, paragraph 14.1.2 only applies where there is service inability for reasons described in 14.1, and paragraph 14.3 as already drafted goes on to say that the obligation to reimburse costs (which are capped by paragraph 14.4) applies to “such inability” i.e. as previously described in paragraph 14.2 We have added wording in paragraph 14.3 to make this even clearer. As for the level of the cap in paragraph 14.4., this formulation (including the minimum £250k amount) is taken from other balancing services service terms, and we see an advantage in preserving consistency of approach across services.
2 | Drax | Service Terms | 5.11.3 This clause refers to clause 5.4.3.1 in the Procurement Rules for further detail in relation to what constitutes a “persistent or repetitive” basis, however, clause 5.4.3.1 of the Procurement Rules does not clarify this. Please see further comments below on clause 5.4.3.1 in the Procurement Rules. | Clause 5.11 refers to the Procurement Rules (not specifically 5.4.3.1). We do not feel it necessary to define what would constitute persistent or repetitive with a specific threshold, and indeed we think this would be unhelpful as all circumstances are likely to be different and we need to be able to exercise a discretion.
3 | Drax | Service Terms | 14.1.1. We understand the intention of this clause is to disincentivise providers from effectively destroying the procured Balancing Reserve for commercial gain. We agree with this intention, but we believe the clause as currently drafted fails to differentiate between the loss of reserve caused by a commercial decision rather than a technical issue. We do not believe that providers should be subjected to the associated penalties detailed in clause 14.4 for a unit trip for example. Therefore, we suggest that clause 14.1.1 is amended to carve out any technical issues. | We have added clarification that paragraph 14.1.1 is only intended to captured planned deviations in output (as opposed to trips or other unplanned outages). As already drafted, paragraph 14.1.2 only applies where there is service inability for reasons described in 14.1, and paragraph 14.3 as already drafted goes on to say that the obligation to reimburse costs (which are capped by paragraph 14.4) applies to “such inability” i.e. as previously described in paragraph 14.2 We have added wording in paragraph 14.3 to make this even clearer.
4 | Drax | Service Terms | 14.3 We would ask that this clause is amended to clarify that the conditions of clause 14.2 need to be satisfied prior to this clause being triggered. | We have added clarification that paragraph 14.1.1 is only intended to captured planned deviations in output (as opposed to trips or other unplanned outages). As already drafted, paragraph 14.1.2 only applies where there is service inability for reasons described in 14.1, and paragraph 14.3 as already drafted goes on to say that the obligation to reimburse costs (which are capped by paragraph 14.4) applies to “such inability” i.e. as previously described in paragraph 14.2 We have added wording in paragraph 14.3 to make this even clearer.
5 | Drax | Procurement Rules | 5.4.3.1. This clause effectively states that if providers ‘persistently’ or ‘repetitively’ withdraw or fail to submit availability declarations this represents grounds for being barred from auction participation. We believe that the terms ‘persistent’ and ‘repetitive’ are a little vague and we would ask if ‘persistent’ or ‘repetitive’ can be defined to establish a clear threshold (e.g. by reference to such occurrences over a specified period). Note this same point also applies to clause 5.11.3 in the Service Terms. For the avoidance of doubt though, if the provider meets this threshold, we appreciate that prohibition from auction participation should continue to be at the discretion of the ESO. | We do not feel it necessary to define what would constitute persistent or repetitive with a specific threshold, and indeed we think this would be unhelpful as all circumstances are likely to be different and we need to be able to exercise a discretion.
6 | Drax | Procurement Rules | 7.4 We understand that Positive and Negative Balancing Reserve can be stacked simultaneously on the same BR Unit. For the avoidance of doubt, please can this be acknowledged in the terms? | This is now explicit in paragraph 7.3, and we have also added some text to make this clear in the Service Terms at paragraph 14.6.
7 | Drax | Procurement Rules | 7.6. As we understand it this clause means that all volumes offered by providers can be curtailed and this is the ESO’s intent. We disagree with making curtailment mandatory. It is not consistent with other auction rules e.g. STOR. | Your understanding is correct. BR providers are able to utilise any capacity that is not contracted in the BR service, as the service only requires that sufficient headroom is reserved between the FPN and MEL/MIL etc, which is not historically the case for some other Balancing Services. It is therefore felt that a mandatory curtailment rule does not impact capacity in the same way as with services where curtailment is optional. Note that for STOR bids cannot be linked - we procure for one window per day, whereas BR is 48 windows per day. We need the bids to be curtailable because we expect the offer size to be large and this needs to be considered relative to the ESO requirement, and we expect providers to generally offer linked (multi-period) bids. By not mandating curtailable bids this will result in inefficient clearing, leading to many paradoxically rejected bids, higher clearing prices, large quantities of unfilled ESO requirements, and higher procurement costs. The market would clear most efficiently with fully-curtailable offers and without linking. So by allowing providers to link if they choose to, we are settling on a compromise market design that is fair to both providers and consumers. It should be noted that at most 1 order can be curtailed per settlement period.
8 | Drax | Procurement Rules | 8.1.2 We would suggest that this clause should be amended to acknowledge that it is subject to clause 7.14, which permits details being divulged to those with a legitimate need to know. | We have included in paragraph 8.1.2 a cross reference to paragraph 7.14.
9 | Drax | Common Flexibility Service Terms | The legal documentation makes many references to the Common Flexibility Service Terms and Conditions (CFST&C). The CFST&C appears to be very heavily aimed at Distributed Energy Resources (DER). Given that (at least from day one) DER will not be able to participate in Balancing Reserve, we think there may be merit in removing references to the CFST&C to simplify the legal requirements/administration. | The definition of DER in our glossary is neutral on whether the asset is transmission, or distribution connected, and clause 11.1 of the GTCs refers to “DER connected to the Transmission System” which shows that the terms anticipate that (despite the name) DER can be transmission connected. That means that the reference to “DER” in the GTCs can cover CCGT and large scale Hydro units that are transmission connected BMUs.
10 | Scottish Power Renewables | General | In practice we are sceptical of its actual success. We can see value for storage systems in this mechanism. However, the question will be why any BMU would provide balancing reserve flexibility services when they could also participate in the balancing mechanism, other balancing services markets as well as within day and day ahead trading markets. | We believe that there is value to participants having a firm contract rather than the uncertainty of whether they will be used in the Balancing Mechanism. As we only require capacity at day ahead, we do not need to pay running costs and therefore expect Balancing Reserve to offer a higher return than the wholesale markets to participants, while still being significantly lower cost to ESO than using the Balancing Mechanism.
11 | Scottish Power Renewables | General | We would advocate for more incentives for participation in this market such as potentially over a separate flexibility market and provision for consideration of hybrid co-located assets. For example, in the case of Wind and Storage, or Wind and Hydrogen Electrolyser, the mechanism could allow for flexible operation within the co-located assets thus providing better flexibility services to the grid through provision of positive and negative flexibility services. | We have designed the service with both a positive and negative option although at this stage we see the main consumer benefit coming from the positive service. We would welcome further engagement around co-located assets, our current assumption is that co-located assets enable intermittent generation the confidence in delivery to enter services such as Balancing Reserve.
12 | Field Energy | 50 MW | Field is disappointed that NGESO has developed a service that appears unduly discriminatory, in that it only pays service providers who are >50MW. NGESO should be putting its efforts into creating systems that facilitate their participation in the market. They would add to competition and benefit customers. Unless NGESO starts focussing on this soon it will find it is persistently buying “special” services to keep the lights on from large, high-carbon assets, despite their being GW of perfectly good assets available. | We asked LCP to model the impact of the introduction of Balancing Reserve on the wholesale market and BM. They forecast the reduction in end consumer costs over the next 3 years to be between ~£100m and ~£1500m, with a central case of ~£900m. To enable the significant consumer savings that LCP are forecasting, we have designed the service to facilitate early implementation so that consumer savings are maximised. Going forward, there are developments we can make to BR that will improve the product and widen participation by lowering unit size. However if we delayed implementation until 2024 when the multi dispatch tool will be ready, we will miss out on a substantial amount of consumer benefit. Therefore bringing it forward saves >£200m of consumer value, but means that we have needed to make compromises in unit size so we can progress BR as fast as possible to maximise consumer benefits. Moving forward, we recognise the benefits of widening participation in the service by lowering unit size and we are working hard to achieve this.
13 | Field Energy | 50 MW | Field feels that the service described looks like it will put NGESO in breach of its licence conditions to promote competition and develop a net zero carbon energy system. In the webinar on this new service, NGESO also talked about this promoting competition, but it cannot be competitive to exclude providers from any part of the market. When we are talking about minimum capacity provision by now we should be talking circa 1MW, not 50MW. Field believes that the Balancing Reserve product design will not deliver the volume of this service that NGESO desires, nor will it do so at the least cost, and will unduly discriminate against a significant part of the market. | As there is significant volume of zero carbon generation able to bid 50MW (including batteries of smaller size able to provide Balancing Reserve through 0MW), and significant volumes of carbon emitting generation below the 50MW threshold, we do not see this as setting a barrier for facilitating zero carbon operation. At present there is no incentive for plant running in the wholesale market to provide it's capacity to the system operator. This leaves only marginal units in the Balancing Mechanism. Balancing Reserve opens up an incentive for all participants meeting the specification to provide firm capacity, as such we expect the market to have sufficient liquidity to be competitive. By moving procurement to Day Ahead, we are also increasing market transparency of our requirements and overall providing better price signalling.
14 | Field Energy | 50 MW | Referring to the risks to the BM systems of including smaller plant by saying it can only deliver this new service sets a worrying tone for investors. | We recognise the benefits of widening participation in the service by lowering unit size, and this is why we have outlined our plan to adjust it as enhanced dispatch capability becomes available.
15 | Field Energy | 50 MW | It also goes go against BEIS’ stated aims of wanting all plant in the BM (in fact NGESO has also proposed this in the past) given the volume of balancing action that NGESO will need in future. Further we believe that the product design is against the principles set out in NGESO’s licence around competition and fair treatment of all parties. | The requirements for Balancing Reserve are to be a Balancing Mechanism Unit, as this service will be in the Balancing Mechanism
16 | Field Energy | OBP | We are also concerned NGESO is now also not going to be able to cope with the volume of storage coming forward (for which BM systems must be upgraded to maximise storage’s value – for example by considering in real-time all storage provider’s State of Charge and active positioning of storage capacity in advance of forecast system constraints). NGESO must improve its BM systems upgrades as a priority over all other capital investments to add to competition and ensure the ESO can access and despatch ALL plant in an efficient manner. | Balancing Transformation is working on improving the BM systems, by developing a Multi Dispatch Instructor, that will be able to manage large volumes of units and State of Charge
17 | The ADE | General | We fully concur with Ofgem’s CfI on Responding to High Balancing Costs that this is not a desirable option but would perhaps take the argument a step further in the non-immediate risks, including non-monetary, such a service would incur. | The introduction of Balancing Reserve complements the other options being discussed within Ofgem's CfI such as a potential licence modification. The potential licence condition prevents excessive benefit following PN changes whereas Balancing Reserve reduces costs by securing the requirement in longer timescales. Therefore both changes work together to reduce total end consumer costs. This has been confirmed by the LCP analysis which included a sensitivity that modelled the interaction between a potential licence change and the introduction of Balancing Reserve. The LCP results were clear and showed that Balancing Reserve and a potential licence change were complementary.
18 | The ADE | Cost-benefit | Further, whilst we understand that it is the ESO’s position that any action by Ofgem in this regard would be complementary, not a substitute for, the new Balancing Reserve service, we do not consider that this case has been shown conclusively. The ESO has not released any assessments publicly that include the measures outlined here and that shows that the Balancing Reserve service is required and saves significant costs. Given that the service design directly undermines the ESO’s and Ofgem’s strategic objectives for RIIO-2, we do not think an unsubstantiated view that it is in the consumer interest is sufficient to progress with such a service. | We believe that securing reserve capacity at day ahead stage has the potential to protect the GB consumer from short-term periods of high scarcity prices in Balancing Mechanism. We developed Balancing Reserve at pace as we see considerable end consumer benefit in its introduction. LCP forecast the reduction in end consumer costs over the next 3 years to be between ~£100m and ~£1500m, with a central case of ~£900m. LCP did include a sensitivity that covered the interaction between Balancing Reserve and a potential licence change to prevent units from earning excessive returns after submitting a 0MW PN. It showed that the two changes are complementary and that the potential licence condition does not significantly erode the benefit derived by Balancing Reserve. We are determined to meet our objectives set out in RIIO-2 to transform participation in smart and sustainable markets by enabling all market participants 1MW and above to participate directly in our balancing services market. We are constantly working to remove barriers to entry to all market participants and improve our IT services to enable this transition. We have outlined our plans and timelines how we will enable the transformation of BR market once our dispatch capability is updated.
19 | The ADE | Net zero | We agree with Ofgem that there is uncertainty regarding the volume of capacity that the service may attract. However, it is both the signal it sends to the consumer and wider industry that poses a greater risk since the service adds further technology specific signals in the BM rather than removing them. It, therefore, starkly and directly contradicts ESO’s own RIIO-2 objectives for removing barriers to market entry for smaller flexible assets and Ofgem’s Forward Work Programme priorities for Full Chain Flexibility. This can affect investment decisions in the short, medium, and long term and therefore have an implicit unintended impact on reaching net zero. | We agree that flexibility is a key part of this service and have outlined that we are working on enhanced capabilities to lower the minimum bid size in the future.
20 | The ADE | Discrimination | Early conversations around this service have also highlighted the lack of clarity on how a prima facie discriminatory product may be judged to be a proportionate measure by Ofgem and the ESO. Given this, we are concerned that the ESO felt confident in Ofgem’s likely supportive decision to develop it at the pace at which it has. | Any decision on technical requirements must be done "taking account of the different technical needs of the electricity system and the different technical capabilities of generation sources, energy storage and demand response" as per the Clean Energy Package as moved into UK law. We have outlined the system need for Balancing Reserve, including how it is dispatched to ensure that the design of the product results in meeting the system need. EBR Art 18 sets out the requirements that that the terms and conditions of balancing services must meet. The terms and conditions are subject to consultation with industry for at least one calendar month. OFGEM will then review and make their decision based on whether the consultation process and the terms and conditions meet the requirements of Art 18. We have chosen to develop Balancing Reserve at pace due to the significant potential value to consumers. In accordance with Article 18 of Commission Regulation (EU) 2017/2195 (as applicable and as amended in Great Britain), we are proposing terms and conditions related to a new balancing service. We have consulted with industry (16 November 2022 to the 16 December 2022). We are now submitting our proposal to Ofgem covering the terms of this new service, for review and decision.
21 | The ADE | Reserve reform | The ESO have indicated in various, if not always consistent, ways that the progression of this service will, and undoubtedly already has, delayed the remaining ancillary service reform products, namely quick and slow reserve. These services have already been repeatedly delayed which contributes to a level of uncertainty within industry, especially with regard to what products and assets to launch at what time, given the lack of clarity on phase out timelines of retiring products with different technical requirements. Since ancillary service reform is a key tenet of both the Smart Systems and Flexibility Plan and ESO’s RIIO-2 license conditions it does not appear prudent to delay the progress of market- wide products in favour of an uncertain and unjustified service. | We are continually assessing our priority activities and deliverables to ensure that the GB network remains safe and secure, whilst delivering the greatest benefit to the end-consumer. We developed Balancing Reserve at pace as we see considerable end consumer benefit in its introduction. LCP forecast the reduction in end consumer costs over the next 3 years to be between ~£100m and ~£1500m, with a central case of ~£900m. As a result, whilst we endeavour to deliver on published road maps and timelines, it is also prudent to remain flexible in our approach. Reprioritisation of the new Quick and Slow Reserve services has taken place due to realignment of required IT system upgrades and looking holistically at the roll-out of all reserve products to identify reduced development costs, as well as the need to focus resources throughout 2022 on measures to address previously unforeseen winter requirements. We have recently published our revised timelines for the delivery of Slow and Quick Reserve and intend for both services to be live by November 2023. Throughout 2023 we will be engaging with industry extensively on the delivery of the Quick and Slow Reserve initially commencing with the introduction to our February EBGL consultation launch.
22 | The ADE | OBP | At a broader level, this service has confirmed what many in industry have been flagging for a long time, that ESO control room have difficulty efficiently dispatching small MW assets. The technical requirements for the service, mandating a minimum 50MW threshold, are explained by the ESO as necessary “to ensure that the full quantity of the service can be instructed in a reasonable time within current control systems” since it “will require multiple BOAs to be sent manually”. Therefore, ESO are acknowledging that manually dispatching sub-50MW assets in tight timeframes, as is the norm in the balancing mechanism, is too difficult under their current systems. While we know ESO have such IT upgrades within their BP-2 business plan to be completed by 2025, we also know that delays to these upgrades were the primary reason for Ofgem imposing a £0.8m penalty on ESO at their mid scheme review. Were this service allowed to proceed it would afford ESO even less incentive to address these delays. | We asked LCP to model the impact of the introduction of Balancing Reserve on the wholesale market and BM. They forecast the reduction in end consumer costs over the next 3 years to be between ~£100m and ~£1500m, with a central case of ~£900m. To enable the significant consumer savings that LCP are forecasting, we have designed the service to facilitate early implementation so that consumer savings are maximised. Going forward, there are developments we can make to BR that will improve the product and widen participation by lowering unit size. However if we delayed implementation until 2024 when the multi dispatch tool will be ready, we will miss out on a substantial amount of consumer benefit. Therefore bringing it forward saves >£200m of consumer value, but means that we have needed to make compromises in unit size so we can progress BR as fast as possible to maximise consumer benefits. Moving forward, we recognise the benefits of widening participation in the service by lowering unit size and we are working hard to achieve this.
23 | The ADE | Skip rate | With respect to Ofgem’s consideration of the Balancing Reserve service, this service’s parameters clearly contradict statements by the ESO to industry, including through its Dispatch Transparency Tool, that the vast majority (often up to 99%) are efficient. Following from the Skip Rates/Dispatch Transparency event that took place in Wokingham last week, we have serious reservations about how the ESO are classifying “true” skips, or non-merit order actions. In particular, at that event it was explained that when control room engineers are under time sensitive conditions non-merit order decisions are not accounted for as “true” skips in the Dispatch Transparency Tool but instead the control room looks to what made the conditions busy (e.g. frequency, constraint etc.) and it is entered into the Transparency Tool as an “Operational” issue. This is but one example from that event that demonstrates the dispatch limitations of the control room that directly disadvantage smaller volume assets. Balancing Reserve, as a proposition, merely instantiates this discrimination. | The ESO accepts a skip occurs when a BOA (Bid Offer Acceptance) instruction sent by the ESO Control Room to increase or decrease the output of a generator is at a higher price than an alternative option. That is the ESO “skipped” an option that appears to be more economic. There are a small number of genuine skips where alternative instructions could have been sent for a lower cost. However most actions that appear to be skips in data analysis are taken for operational reasons and are not preventable. The ESO strives for zero preventable skips. The ESO has a licence condition to operate efficiently and economically and a target to reduce the balancing cost. There is no obligation to operate in strict merit-order, particularly when this would result in inefficient dispatch or increase the cost of actions required to maintain a secure & stable energy system. For example, the control engineers may choose assets based on their technical parameters (fast ramp rates) when responding to a frequency deviation, something which is recognised through the Continuous Acceptance Duration Limit as part of the Imbalance Pricing calculation. In Balancing Reserve this has been recognised by requiring a minimum ramp rate. The general information about the Strategic Capability Review is published on our website - https://www.nationalgrideso.com/industry-information/balancing-services/balancing-programme/strategic-capability-review Along with our Roadmap - https://www.nationalgrideso.com/document/263586/download The most recent progress report - https://www.nationalgrideso.com/document/265341/download
24 | The ADE | Day 2 timeline | Finally, owing to this confirmation by ESO, any proposals to amend the service to remove discriminatory barriers or set forth a plan to incorporate smaller assets in the future (e.g., Day 2 improvements) should be rejected outright. The reason for the design has been made explicit and simply removing it from service terms will not change the fundamental underlying problem; it would only advance a guise of equality. Likewise, a plan to phase out barriers should be treated with the utmost scepticism given the ESO’s track record with implementing Day 2 improvements and IT upgrades in a timely way to date. | We asked LCP to model the impact of the introduction of Balancing Reserve on the wholesale market and BM. They forecast the reduction in end consumer costs over the next 3 years to be between ~£100m and ~£1500m, with a central case of ~£900m. To enable the significant consumer savings that LCP are forecasting, we have designed the service to facilitate early implementation so that consumer savings are maximised. Going forward, there are developments we can make to BR that will improve the product and widen participation by lowering unit size. However if we delayed implementation until 2024 when the multi dispatch tool will be ready, we will miss out on a substantial amount of consumer benefit. Therefore bringing it forward saves >£200m of consumer value, but means that we have needed to make compromises in unit size so we can progress BR as fast as possible to maximise consumer benefits. Moving forward, we recognise the benefits of widening participation in the service by lowering unit size and we are working hard to achieve this.
25 | Flexitricity | 50 MW | We recognise and agree with the principles that the Balancing Reserve service is seeking to achieve, but the mechanism for doing so is entirely inappropriate. The service is limited to large, transmission connected assets, without appropriate justification for doing so. In workshops ESO have claimed this is because they do not have systems in place to manage dispatch of smaller units in the control room. This is a long standing issue which also limits the ability for smaller assets to compete in the Balancing Mechanism (BM). An unlevel playing field in one market does not justify creating one in another. Not allowing smaller and aggregated capacity to participate in this service is regressive, discriminatory and distortionary. It goes against the direction of travel of balancing services in the last decade, and European legislation. It also counteracts the work developed as part of the Smart Systems and Flexibility Plan initiative from BEIS and Ofgem. | We asked LCP to model the impact of the introduction of Balancing Reserve on the wholesale market and BM. They forecast the reduction in end consumer costs over the next 3 years to be between ~£100m and ~£1500m, with a central case of ~£900m. To enable the significant consumer savings that LCP are forecasting, we have designed the service to facilitate early implementation so that consumer savings are maximised. Going forward, there are developments we can make to BR that will improve the product and widen participation by lowering unit size. However if we delayed implementation until 2024 when the multi dispatch tool will be ready, we will miss out on a substantial amount of consumer benefit. Therefore bringing it forward saves >£200m of consumer value, but means that we have needed to make compromises in unit size so we can progress BR as fast as possible to maximise consumer benefits. Moving forward, we recognise the benefits of widening participation in the service by lowering unit size and we are working hard to achieve this.
26 | Flexitricity | 50 MW | ESO’s justification for this appears to be a amount of capacity that could not participate, however by its own estimate 5GW+ would be excluded, which is a significant proportion of generators and is enough to impact prices in competitive auctions. Facilitating access for this smaller and aggregated assets is an important component of promoting competition, which will have a downward impact on prices. Having effective markets also supports trust and investor confidence in the market. Deviating from this principle risks setting a harmful precedent. | The justification for the 50MW limit is based on the system need for activation within a reasonable timeframe. Our market analysis shows that we expect the market to have approximately 15GW available in excess of our requirement, evidencing that the excluded volume would not result in an undersupplied market.
27 | Flexitricity | Day 2 timeline | A better alternative would be a Balancing Reserve service that is open to all capacity types. Where this is not possible because of IT systems conditions, implementation should be delayed until the systems can support proper delivery of the service. Where all capacity types cannot be included because of the service design, alternative service designs – such as a new mechanism to procure frequency response at the intraday stage – should be considered. | This is the approach that we have taken with Quick and Slow reserve, however the potential consumer benefits associated with Balancing Reserve drove our decision to implement at pace, in order to realise the majority of these benefits as soon as possible. We developed Balancing Reserve at pace as we see considerable end consumer benefit in its introduction. LCP forecast the reduction in end consumer costs over the next 3 years to be between ~£100m and ~£1500m, with a central case of ~£900m.
28 | SSE | Service Terms | 5.11.3 Withdrawal of Mandatory Availability Declaration What constitutes persistent and repetitive? | We would see the suspension of auction participation as very much a last resort and temporary action that would follow joint discussions between the provider and NGESO and only where we are not satisfied that the appropriate justification and/or corrective actions have been taken to address any persistent or repetitive failures to deliver the contracted service. We do not feel it necessary to define what would constitute persistent or repetitive with a specific threshold, and indeed we think this would be unhelpful as all circumstances are likely to be different and we need to be able to exercise a discretion.
29 | SSE | Service Terms | 6.2 BOA issued prior to a BR Service Window ESO may issue a BOA either prior to or during a BR Service Window. Can ESO please confirm whether any penalties for under delivery will only apply from the start of a BR Service Window but not before. | Yes, that's correct. The performance monitoring will only apply in a awarded BR Service Windows, not before or after the duration of the contracted window or consequential windows.
30 | SSE | Service Terms | 14.4 Reimbursement The amount or amounts for which the Service Provider may be liable to reimburse NGESO pursuant to paragraph 14.3 in respect of any single BR Contract shall not exceed in aggregate the greater of (1) two hundred and fifty thousand pounds sterling (£250,000), and (2) an amount equal to the aggregate BR Availability Payments payable in respect of that BR Contract for the relevant BR Service Window (ignoring any periods of unavailability and whether or not declared by the Service Provider). 13.1 states that a BR Contract shall relate to a single BR Unit and shall apply only to a single BR Service Window. It is not clear what aggregate refers to here | Q30 and Q31 are a single question. The reference to ‘Aggregate’ at (2) for BR Availability Payments is not needed as we are referring to a single BR Contract. We have removed the word ‘Aggregate’.
32 | SSE | Auction timing | Auction Closing Time: The timing of the auction is not ideal since it is proposed to be held before the main day ahead hourly power auctions. | As a result of industry feedback the auction gate closure will move to 08:15. We are aiming for results publication by 08:45 and by 09:00 at the latest, with the potential to publish the results earlier as the process develops.
33 | SSE | Costs/Auction timing | These auctions don’t necessarily clear at ‘expected prices’ and can make a marginal plant either more or less in merit than anticipated. A CCGT that is deeply in merit won’t want to run part loaded and an out of merit CCGT will need to consider any BM opportunity cost etc, so will likely price up higher. | If the BR auction resolves after the DA market run, BR providers will have less opportunity to rebalance their energy positions (they will not be able to access the DA market and will have to rely on the intra-day market or bilateral agreements). This could potentially favour some participants over others. In addition, running the BR auction before the DA wholesale market runs will allow true scarcity signals (GB Demand + ESO reserve requirements) to be better reflected in wholesale market decisions. We believe that this will enable more efficient clearing of DA wholesale markets and allow the market to resolve scarcity in more efficient ways than the ESO can in real time. As a result of industry feedback that our original proposal will deliver BR results in conflict with decision points for the DA wholesale auctions, the auction gate closure will move to 08:15. We are aiming for results to be published by 08:45 and by 09:00 at the latest, with the potential to publish the results earlier as the process develops.
34 | SSE | Costs/ Auction Timing | In order to ensure a plant accepted in this new service is scheduled at day ahead stage, it would have to be discounted in the auction. This means, a premium would have to be added to the day ahead Balancing Reserve auction price making it unlikely for ESO to get the service cheaper. | If the BR auction resolves after the DA market run, BR providers will have less opportunity to rebalance their energy positions (they will not be able to access the DA market and will have to rely on the intra-day market or bilateral agreements). This could potentially favour some participants over others. In addition, running the BR auction before the DA wholesale market runs will allow true scarcity signals (GB Demand + ESO reserve requirements) to be better reflected in wholesale market decisions. We believe that this will enable more efficient clearing of DA wholesale markets and allow the market to resolve scarcity in more efficient ways than the ESO can in real time. As a result of industry feedback that our original proposal will deliver BR results in conflict with decision points for the DA wholesale auctions, the auction gate closure will move to 08:15. We are aiming for results to be published by 08:45 and by 09:00 at the latest, with the potential to publish the results earlier as the process develops.
35 | SSE | Auction timing | If the Balancing Reserve auction closing time were after the main day ahead auction, it would be possible to re-position the CCGT in subsequent auctions with a better idea of how much it would cost, so potentially able to provide the service at a cheaper price to ESO. The preferred closing time for the auction is 11.00. | If the BR auction resolves after the DA market run, BR providers will have less opportunity to rebalance their energy positions (they will not be able to access the DA market and will have to rely on the intra-day market or bilateral agreements). This could potentially favour some participants over others. In addition, running the BR auction before the DA wholesale market runs will allow true scarcity signals (GB Demand + ESO reserve requirements) to be better reflected in wholesale market decisions. We believe that this will enable more efficient clearing of DA wholesale markets and allow the market to resolve scarcity in more efficient ways than the ESO can in real time. As a result of industry feedback that our original proposal will deliver BR results in conflict with decision points for the DA wholesale auctions, the auction gate closure will move to 08:15. We are aiming for results to be published by 08:45 and by 09:00 at the latest, with the potential to publish the results earlier as the process develops.
36 | SSE | Procurement Rules | 7.5.3 Linking of Sell Orders All Sell Orders which are linked shall be each be for either Positive Balancing Reserve or Negative Balancing Reserve. | Correct, units can offer and deliver both positive and negative Balancing Reserve on the same unit, but the two services cannot be linked in the auction. Each service can only be linked across consecutive time periods for the same service.
37 | SSE | Procurement Rules | Can you please confirm whether separate Sell Orders can be placed for the same BR unit for the same BR service window (so both positive and negative reserve can be provided), but that these Sell Orders can’t be linked. | This is correct, linking between Sell Orders is permitted for a single direction of the Balancing Reserve (BR) service e.g. linking together two Sell Orders one for 09:00 to 09:30 and one for 09:30 to 10:00 for Positive Balancing Reserve. It is not permissible to link Sell Orders across the two directions whether in the same service window e.g. two Sell Orders one for Positive BR 09:00 to 09:30 and one for Negative BR 09:00 to 09:30 or in consecutive service windows e.g. two Sell Orders one for Positive BR 09:00 to 09:30 and one for Negative BR 09:30 to 10:00. It is however possible to submit non linked Sell Orders for one for Positive BR and one for Negative BR for the same service window and for both to be accepted, these Sell Orders cannot be linked. This design decision has been made so that there is independence between the solutions for each direction of the product thus simplifying the optimisation problem and increasing the speed with which a solution can be found. Market participants are responsible for ensuring that should both their Sell Orders be accepted that they are able of operating their plant in such a way as to be able to deliver the contracted MW of Positive and Negative BR at the same time.
38 | SSE | General T's and C's | Exclusive reference to DER in GTCs: The GTCs seem to refer to DER exclusively when the service is targeting BMUs with a minimum contracted capacity of 50MW, many of which will be T-connected. See paragraphs 4,6,9,11 in the GTCs. | The definition of DER in our glossary is neutral on whether the asset is transmission, or distribution connected, and clause 11.1 of the GTCs refers to “DER connected to the Transmission System” which shows that the terms anticipate that (despite the name) DER can be transmission connected. That means that the reference to “DER” in the GTCs can cover CCGT and large scale Hydro units that are transmission connected BMUs.
39 | SSE | Glossary | The Glossary has the following definition: “Distribution Energy Resources” or “DER” shall mean the electricity generators, electricity storage or electrical loads, and other Site equipment, machinery, apparatus, materials and other items used for the provision of the relevant Balancing Service; Does the definition of DER cover all relevant plant eligible to provide the service? | The definition of DER in our glossary is neutral on whether the asset is transmission, or distribution connected, and clause 11.1 of the GTCs refers to “DER connected to the Transmission System” which shows that the terms anticipate that (despite the name) DER can be transmission connected. That means that the reference to “DER” in the GTCs can cover CCGT and large scale Hydro units that are transmission connected BMUs.
40 | SSE | CM Rules | Capacity Market Rules - Will Balancing Reserve be included as Relevant Service under the Capacity Market Rules? | Yes - we are proposing to add Balancing Reserve to the list of Relevant Balancing Services within the CM Rules alongside the annual C16 update. This will allow contracted BR providers to continue to deliver BR during a System Stress Event without incurring CM penalties. It may be the case the control room ceases to hold the unit with headroom or footroom (as the case may be) during such an event preferring to access more output on the contracted unit. Due to the consultation process for updating the list of Relevant Balancing Services we anticipate that there could be an up to 4 week period where the Balancing Reserve service will be live before the list is updated to reflected Balancing Reserve as a Relevant Balancing Service. This is based on a provisional go-live date for Balancing Reserve of 17th March 2023 and a latest time for the RBS list to be updated by/before 13th April 2023. Further RBS consultation timeline details will be communicated to industry shortly. Based on historical data the likelihood of a System Stress Event occurring in this window is very low and we expect market participants will be able to consider this in their pricing strategies.
41 | Arenko | 50 MW | Do not agree. In short, we are extremely disappointed the see the discriminatory nature of the service design against smaller assets and question whether this is in line with EGBL and National Grid ESO’s own licence conditions to enable effective competition and act in a non-discriminatory manner. We therefore ask ESO to remove the following requirements: 1. Minimum Contract Size of 50MW. 2. MFR. 3. Control telephony | We asked LCP to model the impact of the introduction of Balancing Reserve on the wholesale market and BM. They forecast the reduction in end consumer costs over the next 3 years to be between ~£100m and ~£1500m, with a central case of ~£900m. To enable the significant consumer savings that LCP are forecasting, we have designed the service to facilitate early implementation so that consumer savings are maximised. Going forward, there are developments we can make to BR that will improve the product and widen participation by lowering unit size. However if we delayed implementation until 2024 when the multi dispatch tool will be ready, we will miss out on a substantial amount of consumer benefit. Therefore bringing it forward saves >£200m of consumer value, but means that we have needed to make compromises in unit size so we can progress BR as fast as possible to maximise consumer benefits. Moving forward, we recognise the benefits of widening participation in the service by lowering unit size and we are working hard to achieve this. We have outlined our requirement for setting a 50MW threshold, and aim to reduce that as new balancing capability is delivered. As many smaller assets currently have participated in FFR, we do not see MFR as impacting the size of units able to take part. We note that in many cases, smaller asset operators operate many assets from a single control point and therefore would not require separate Control Telephony for each asset.
42 | Arenko | 50 MW | The rationale for the 50MW minimum contract size provided by ESO during the Balancing Reserve Webinar on the 22/11/22 is that it would take too long for National Grid’s Control Room to instruct a larger number of smaller assets, despite the fact it may be cheaper to do so. This highlights that the dispatch process is not fit for purpose and suggests that the ESO Control Room is no longer able to meet their Licence Condition and dispatch units in merit order. It effectively excludes smaller, more flexible providers from participating due to ESO’s systems and process issues. | The ESO accepts a skip occurs when a BOA (Bid Offer Acceptance) instruction sent by the ESO Control Room to increase or decrease the output of a generator is at a higher price than an alternative option. That is the ESO “skipped” an option that appears to be more economic. There are a small number of genuine skips where alternative instructions could have been sent for a lower cost. However most actions that appear to be skips in data analysis are taken for operational reasons and are not preventable. The ESO strives for zero preventable skips. The ESO has a licence condition to operate efficiently and economically and a target to reduce the balancing cost. There is no obligation to operate in strict merit-order, particularly when this would result in inefficient dispatch or increase the cost of actions required to maintain a secure & stable energy system. For example, the control engineers may choose assets based on their technical parameters (fast ramp rates) when responding to a frequency deviation, something which is recognised through the Continuous Acceptance Duration Limit as part of the Imbalance Pricing calculation. In Balancing Reserve this has been recognised by requiring a minimum ramp rate.
43 |  | Skip rate | Related to the above point, increasing levels of variable renewable generation has led to an expanded role for the Balancing Mechanism (BM) in recent years. Whilst increasing competition in the BM should result in driving down prices, in fact, the opposite has occurred, and balancing costs have soared. Part of the reason for these rising balancing costs is due to very outdated control room systems, which result in actions being taken to skip over small, flexible, and cheaper assets in favour of large inflexible power plants. In addition, often these smaller, more flexible assets are lower carbon than the larger alternatives. This issue is exacerbated by opaque ESO Control Room decision-making around dispatch which inhibits efficient market behaviour. | The ESO has a licence condition to operate efficiently and economically and a target to reduce the balancing cost. There is no obligation to operate in strict merit-order, particularly when this would result in inefficient dispatch or increase the cost of actions required to maintain a secure & stable energy system. For example, the control engineers may choose assets based on their technical parameters (fast ramp rates) when responding to a frequency deviation, something which is recognised through the Continuous Acceptance Duration Limit as part of the Imbalance Pricing calculation. In Balancing Reserve this has been recognised by requiring a minimum ramp rate. We agree there are an increasing number of BM participants using a variety of technologies, and also an increase in the number of BM actions required to manage the system. However, "having higher requirements for BM actions" is very different from "there's more competition". In fact, it is the opposite. Currently there may be less competition where the supply of balancing services has not matched the increase in demand for BM actions. Also, since cost = quantity x price the BM costs will be driven by: · the significant increases in wholesale energy prices in the last couple of years · the quantity needed to be purchased in the BM We continue to work with industry to explain our operations as part of the Dispatch Transparency work. The ESO accepts a skip occurs when a BOA (Bid Offer Acceptance) instruction sent by the ESO Control Room to increase or decrease the output of a generator is at a higher price than an alternative option. That is the ESO “skipped” an option that appears to be more economic. There are a small number of genuine skips where alternative instructions could have been sent for a lower cost. However most actions that appear to be skips in data analysis are taken for operational reasons and are not preventable. The ESO strives for zero preventable skips.
44 | Arenko | MFR | Mandatory Frequency Response (MFR) Requirement- disagree with requirement We would welcome more details of the rationale for deciding to include this requirement along with an assessment of alternative options. Suggest developing the Balancing Reserve product with the removal of the MFR requirement developed in time for next Winter. | There are often periods where we need to increase response levels above our base requirements due to increased uncertainty during real time. For example during unexpected wind cut-out, or increased uncertainty in demand. We currently fulfil this requirement from regulating reserve (which Balancing Reserve will contract at day ahead). This allows us to minimise the capacity needed to cover these risks.
45 | Arenko | Control telephony / API despatch | 3. Control Telephony Requirements Question whether this is still fit for purpose given that many flexible assets are dispatched remotely over the internet, as opposed to having a control room onsite to manually dispatch. Suggest the removal of the control telephony requirement and the implementation of solutions such as Data Concentrators and ASDP to communicate availability status and provide an automated ‘heartbeat signal' if necessary, as with the dynamic services. The data concentrator and the Ancillary Service Dispatch Platform (ASDP) are already in place for the dynamic services (DC,DM and DR) and we believe they should suffice as methods of communication with the ESO for the reserve products also. We note that ESO have significant IT upgrades for the BMU and Non-BMUs on their roadmap and consolidating and automating these requirements, in a redundant way should be front and centre of the design of those systems. | At present, telephony is a back-up method for issuing BOAs, which is the method of utilising Balancing Reserve, and so resilient communications are important to ensure this is possible for a firm contracted service. It is a wider discussion for industry, the ESO, BEIS and Ofgem to determine the appropriate risk level for the system (for example should it be resilient to internet failure). Should telephone BOAs be replaced in the future, we would expect this requirement to be removed from Balancing Reserve.
46 | Centrica | Net zero | Does the ESO believe that the Balancing Reserve is promoting the operation of a zero-carbon electricity system? Can the ESO reasonably exclude the risk that the Balancing Reserve will be dominated by high carbon units? | We do not see Balancing Reserve restricting the facilitation of a transition to net zero. The market will provide assets based on the current fleet and economics, which will change over time.
47 | Centrica | Net zero | To which extent is the prioritization of the Balancing Reserve over delivering Quick/Slow Reserve help the ESO removing the identified barriers to entry for low and zero carbon providers? | We developed Balancing Reserve at pace as we see considerable end consumer benefit in its introduction. We asked LCP to model the impact of the introduction of Balancing Reserve on the wholesale market and BM. They forecast the reduction in end consumer costs over the next 3 years to be between ~£100m and ~£1500m, with a central case of ~£900m. To enable the significant consumer savings that LCP are forecasting, we have designed the service to facilitate early implementation so that consumer savings are maximised. Going forward, there are developments we can make to BR that will improve the product and widen participation by lowering unit size. However if we delayed implementation until 2024 when the multi dispatch tool will be ready, we will miss out on a substantial amount of consumer benefit. Therefore bringing it forward saves >£200m of consumer value, but means that we have needed to make compromises in unit size so we can progress BR as fast as possible to maximise consumer benefits. Moving forward, we recognise the benefits of widening participation in the service by lowering unit size and we are working hard to achieve this.
48 | Centrica | Implementation timescale | Can the ESO explain how the new Balancing Reserve service and DFS can be rolled out in less than 6 months, while the Reserve Reform products, announced as early as December 2019, has been stalled? | DFS and Balancing Reserve have a number of design choices aimed at simplifying the services and speeding implementation. This has resulted in DFS being an enhanced action, not a commercial service. Balancing Reserve is proposed to be implemented before upgrading dispatch capability and as such has a minimum size threshold. Both of these services were prioritised due to the current world situation and the resulting impact on the GB market, with the key SMEs therefore working on these services instead.
49 | Centrica | Slow and Quick Reserve | When can the new Quick/Slow reserve products realistically be expected to be rolled out? A planned update to industry at the Operational Transparency Forum was postponed again into the new year which we were hoping would provide a clearer road map than the targets in RIIO-BP2. | The expected timelines for delivery of Quick and Slow product have been shared in the December Future of Balancing Services newsletter. The expected go-live dates for Quick Reserve is October 2023 and for Slow Reserve is November 2023. More details and further information will continue to be shared via Future of Balancing Services newsletters.
50 | Centrica | General | Our asks: Slow & Quick Reserve Roadmap (needs to be visible & published) | The expected timelines for delivery of Quick and Slow product have been shared in the December Future of Balancing Services newsletter. The expected go-live dates for Quick Reserve is October 2023 and for Slow Reserve is November 2023. More details and further information will continue to be shared via Future of Balancing Services newsletters.
51 | Centrica | OBP | There also needs to be better visibility for stakeholders of the wider project to update the ESO Control Room systems, including a clear roadmap with dates at which improvements will be made to enable greater participation of Distributed Energy Resources in balancing services (including the BM). | The general information about the Strategic Capability Review is published on our website - https://www.nationalgrideso.com/industry-information/balancing-services/balancing-programme/strategic-capability-review Along with our Roadmap - https://www.nationalgrideso.com/document/263586/download The most recent progress report - https://www.nationalgrideso.com/document/265341/download
52 | Centrica | Markets Roadmap | A 2023 update to the Markets Roadmap to provide a holistic view of the ESO’s next steps on market reform. | An update to the Markets Roadmap is planned for March 2023
53 | Uniper | Auction timing | The short time between might result in market participants struggling to take part in different mechanisms in an efficient and coordinated manner, which could result in less optimum outcomes across product markets. | As a result of industry feedback the auction gate closure will move to 08:15. We are aiming for results publication by 08:45 and by 09:00 at the latest, with the potential to publish the results earlier as the process develops.
54 | Energy UK | Auction timing | The proposed timing of the Balancing Reserve Auction is too close to the day-ahead Energy Auction. Where market participants have assets which can operate in multiple markets but not in the same service window, and the auctions are in a short timeframe, time-constrained decision making may lead to less efficient outcomes. | As a result of industry feedback the auction gate closure will move to 08:15. We are aiming for results publication by 08:45 and by 09:00 at the latest, with the potential to publish the results earlier as the process develops.
55 | Energy UK | Connection process (BEGA’s) | There are other approaches that NGESO could use to increase competition and drive down costs in the BM in the short term. For example, in many cases, assets have to wait many months to be allowed to participate in the BM, due to delays in receiving Bilateral Embedded Generation Agreements, or the periodic BM Unit uploading process. If these assets could be brought in more quickly, this could reduce balancing costs through greater competition. | Thank you for your feedback. We will pass this comment to relevant teams to consider this idea in the future.
56 | Energy UK | Participation volume | Energy UK would welcome evidence from the ESO on how they reached the figures shown in the webinars on the service, particularly the 17.5GW of capacity that is capable of taking part. | The chart referred to in this consultation response was produced by taking all eligible BM Units and calculating a reasonable maximum headroom that would be available from the unit. Dynamic data from August 2022 was gathered and unit headroom calculated for each day by taking the largest Maximum Export Limit (MEL) - Stable Export Limit (SEL) differential across the day. For any unit which submitted a negative FPN or had import capability, possible headroom was calculated by taking Maximum Export Limit (MEL) - Minimum Import Limit (MIL), if the unit had a non-zero Stable Import Limit (SIL) the unit was considered not to be able to swing through 0 after an ESO instruction and therefore if importing headroom was calculated by taking SIL - MIL. For the 17.4GW referenced in the chart a maximum value across the daily pairs for the month was taken to show a high case value for market liquidity. For units that were not generating at all in August representative capacity from other months was assessed. The same maximum approach was applied to the smaller BM, non-MFR capable and non-BM capacity shown in the chart as well. The ESO recognises that not all units will choose to participate in the BR service and that plant unavailability will also play a factor in unit decisions. This plant unavailability can be seen across the month analysed where "available capacity" fluctuates between 8 - 11GW depending on plant availability and changeable MELs, SELs etc. The choice to analyse a summer month of data allowed assessment of a potential lower availability month as many large units take outages over the summer. However, ESO reserve requirements are also typically lower in summer which is not reflected in this chart. Further detail in terms of the charts is available in the Pricing Proposal pro forma. The purpose of the chart was to show the capacity that would eligible for the service vs that which was excluded by the eligibility criteria, not an expected participating volume on a daily basis. However the ESO is confident that the BR market has the potential to be liquid and meet our volume requirements with the current stated eligibility criteria.
57 | Energy UK | Timescale | Energy UK believes that if NGESO had engaged with industry earlier in the process of developing this product, it is likely that the issues identified could have been resolved, and the frustrations with the service avoided. | This product has been developed at pace, due to rapid changes in the world situation, as such the first industry webinar was the earliest point that we could highlight the service need and proposed solution. We developed Balancing Reserve at pace as we see considerable end consumer benefit in its introduction. LCP forecast the reduction in end consumer costs over the next 3 years to be between ~£100m and ~£1500m, with a central case of ~£900m.
58 | RWE | Cost-benefit | For Positive EBR, it is suggested that in-the-money generators would create headroom by withholding (>50MW) out of the day-ahead power auction and offer it in EBR, however this serves to create an incentive to factor in additional unknown risk, and as a result, the availability clearing price is likely to reflect the lost opportunity of selling the volume. This is a clear inefficiency that is more likely to amass additional balancing costs rather than reduce existing costs. | Our analysis indicates that there is a significant net benefit to GB PLC through delivering Balancing Reserve, even accounting for any impacts on wholesale prices. LCP forecast the reduction in end consumer costs over the next 3 years to be between ~£100m and ~£1500m, with a central case of ~£900m. We would expect providers of BR to submit bids reflective of the lost opportunity in the wholesale market. However as this service is only buying capacity and not energy, the costs to fulfil the capacity contract will be significantly less than the costs to fulfil the wholesale energy contract. As such, even with some risk pricing, we believe that clearing prices for BR can clear substantially below the DA wholesale price, while still offering more return for participants. If the BR auction resolves after the DA market run, BR providers will have less opportunity to rebalance their energy positions (they will not be able to access the DA market and will have to rely on the intra-day market or bilateral agreements). This could potentially favour some participants over others. In addition, running the BR auction before the DA wholesale market runs will allow true scarcity signals (GB Demand + ESO reserve requirements) to be better reflected in wholesale market decisions. We believe that this will enable more efficient clearing of DA wholesale markets and allow the market to resolve scarcity in more efficient ways than the ESO can in real time.
59 | RWE | Footroom | Negative EBR is likely to be available to the ESO as a matter of course and therefore the option to instruct in the BM has very little expected intrinsic value. Where Negative EBR is not available as a matter of course, i.e. during periods of high wind, out-of-the-money plant will certainly not be sold out in order to create the foot-room to then offer into EBR. | We expect the majority of financial benefit to be delivered by positive Balancing Reserve initially, but with increased volumes of inflexible interconnection, negative Balancing Reserve will become less readily available and as such it is prudent to design for such situations.
60 | RWE | Cost-benefit | We do not believe therefore that this service, in its current draft form, will achieve the desired goals of reducing costs and volume scarcity. | Our analysis indicates that there is a significant net benefit for end consumers through delivering Balancing Reserve, even accounting for impacts on wholesale prices. We have engaged LCP to model the impact on the wholesale market and the BM of introducing Balancing Reserve. LCP is forecasting a consumer benefit over the next 3 years of between ~£100m and ~£1500m with a central case of ~£900m. We believe that securing reserve capacity at day ahead stage has the potential to protect the GB consumer from short-term periods of high scarcity prices in Balancing Mechanism. When buying reserve capacity (headroom or foot room) it is expected that prices will be lower than intraday or Balancing Mechanism Bid and Offer prices. The difference between likely lower Day Ahead Clearing Price and Bid and Offer spread could help reducing the Balancing Costs and BSUoS charges for GB customers.
61 | RWE | Auction timing | No provider would wish to be committed to providing a balancing product without knowing what the PN of their unit is going to be. It would therefore seem sensible to delay the EBR auction until after the day-ahead power auctions have taken place. | If the BR auction resolves after the DA market run, BR providers will have less opportunity to rebalance their energy positions (they will not be able to access the DA market and will have to rely on the intra-day market or bilateral agreements). This could potentially favour some participants over others. In addition, running the BR auction before the DA wholesale market runs will allow true scarcity signals (GB Demand + ESO reserve requirements) to be better reflected in wholesale market decisions. We believe that this will enable more efficient clearing of DA wholesale markets and allow the market to resolve scarcity in more efficient ways than the ESO can in real time.
62 | RWE | Schedule 7a | It may make sense to coincide, or even combine, the EBR auction activity with the day-ahead Schedule 7a trading activity in the evening. For example, the Schedule 7a trade could cover the cost of getting the unit on and to SEL, enabling then, Positive EBR to be offered across the same period. | ESO could trade with individual BMUs for margin reasons and we are actively considering GB BMUs when trading with reference to their expected BM offer prices. We can stipulate through the trade that the unit operates to a profile which means that we could secure headroom in a firm capacity which is important to us. When it comes to making trades at Day Ahead or within day pre gate closure, to achieve our license conditions for economic and efficient procurement, we would need to be contacting all capable providers to seek prices from them to determine which units can make the best offers. This is logistically difficult and potentially not very transparent when compared with an auction which creates a marketplace for all those that want to, to provide prices and compete to meet our requirements. ESO would be buying a slightly different product through a trade compared to the Balancing Reserve service. For the trade we would buy energy (£/MWh) and therefore would be paying to cover fuel/carbon costs @ SEL + profit. For Positive BR we are buying the capability to turn the unit up through an availability payment but would expect the contracted unit to go out to the power exchanges or strike a bilateral agreement and sell the energy required to deliver that capability for upward flexibility (e.g. to operate at SEL) there. We would expect this on the whole to be cheaper as we are paying for the service we truly require (the capacity for upwards flexibility) and the end user is paying the unit for the energy that is delivered rather than both components being covered by the ESO. There may be a risk element we need to cover in that capacity payment as the unit needs to go out and sell their energy for a not yet determined price on the exchange.
63 | RWE | Costs | Incentivising the market to offer MW head-room and foot-room, out of cost, in an effort to reduce scarcity has the potential for creating the unintended consequence of artificially inflating power prices at the day-ahead stage. This has the ultimate impact of distorting market signals. | The ESO requires Balancing Capacity for a number of ancillary services across Reserve and Response, and we are aiming to procure that at a time which minimises costs to consumers. As with any market, if the Day Ahead market sees increased prices, then it will serve as an investment signal and the market will find an equilibrium. As the wholesale market has more volume than the BM, it is better placed for any scarcity signals to drive investment. We asked LCP to model the impact of the introduction of Balancing Reserve on the wholesale market and BM. They forecast the reduction in end consumer costs over the next 3 years to be between ~£100m and ~£1500m, with a central case of ~£900m.
64 | Engie | 30 min service window | Service windows which are of 30 minute duration is reasonable but seems likely to produce challenges managing the service delivery as service windows overlap. This parameter may need to be reviewed after the service has been in operation for a short period | Thank you for your feedback. We are anticipating that we will keep reviewing and constantly improve our products and if we find out that 30 minutes services windows are challenging to the BR providers - we will consider making changes. Should any changes be identified these would follow the EBR Article 18 consultation process.
65 | Engie | Requirement | The procurement volumes must be carefully considered. The website refers to a requirement of ~ 1GW; it should not be necessary to procure all of this volume at the day ahead stage | The volume of BR that the ESO plans to procure will be published on the Data Portal. The requirement will be continually reviewed, which will help us to understand the effectiveness of the product and to consolidate our internal process.
66 | Engie | Review and reporting | The product should be reviewed after a short period of operation. The objective has been clearly stated (reduce the costs of trading on the interconnectors) and as this is a new product performance metrics should be stated before the start of the service and performance should be reported | The product will be reviewed following launch. Pricing and volume will be set dynamically allowing us to adapt procurement as the market develops.
67 | Shell | Service Terms | 14.4 it references the penalty cap. Please can NGESO provide the rationale for the reimbursement level of £250k plus the availability payment per single BR contract. | The £250k amount is taken from other balancing services service terms, and we see an advantage in preserving consistency of approach across services.
68 | Shell | Service Terms | In Schedule 1 it would be useful to include the units in the calculation. | We don’t think this is necessary, as the formulae is explicitly stated to apply for each unit and service window – we have however expanded that wording to clarify that it also applies for each of positive BR and negative BR.
69 | Welsh Power | API despatch | Over 500MW of flexible generation that can be instructed in a reasonable time within current control systems” to meet the dispatch requirements of the service with our sites able to generate full load within 10 minutes from either telephone, BM BOA or any other type of API instruction | Thank you for providing this information about your fleet. We expect that future updates to the service will widen the participation pool of potential BR providers and look forward to engaging further with operators of smaller BM assets to understand their participation challenges at this point.
70 | Welsh Power | STOR | Un-intended consequences to the service such as a reduction of capacity available in STOR and also taking out a large portion of the generation planning to enter the DA auction leading to the unintended consequence of higher DA pricing | Our analysis indicates that there is a significant net benefit to GB PLC through delivering Balancing Reserve, even accounting for any impacts on wholesale prices. We asked LCP to model the impact of the introduction of Balancing Reserve on the wholesale market and BM. They forecast the reduction in end consumer costs over the next 3 years to be between ~£100m and ~£1500m, with a central case of ~£900m. To enable the significant consumer savings that LCP are forecasting, we have designed the service to facilitate early implementation so that consumer savings are maximised. Going forward, there are developments we can make to BR that will improve the product and widen participation by lowering unit size. However if we delayed implementation until 2024 when the multi dispatch tool will be ready, we will miss out on a substantial amount of consumer benefit. Therefore bringing it forward saves >£200m of consumer value, but means that we have needed to make compromises in unit size so we can progress BR as fast as possible to maximise consumer benefits. Moving forward, we recognise the benefits of widening participation in the service by lowering unit size and we are working hard to achieve this.
71 | Peak Gen | 50 MW | Does not include some of the lowest cost reserve providers on this system. This will distort the market, lead to higher costs to customers and increase carbon emissions associated with the service provision; | We asked LCP to model the impact of the introduction of Balancing Reserve on the wholesale market and BM. They forecast the reduction in end consumer costs over the next 3 years to be between ~£100m and ~£1500m, with a central case of ~£900m. To enable the significant consumer savings that LCP are forecasting, we have designed the service to facilitate early implementation so that consumer savings are maximised. Going forward, there are developments we can make to BR that will improve the product and widen participation by lowering unit size. However if we delayed implementation until 2024 when the multi dispatch tool will be ready, we will miss out on a substantial amount of consumer benefit. Therefore bringing it forward saves >£200m of consumer value, but means that we have needed to make compromises in unit size so we can progress BR as fast as possible to maximise consumer benefits. Moving forward, we recognise the benefits of widening participation in the service by lowering unit size and we are working hard to achieve this.
72 | Peak Gen | Net zero | Holding reserve on large part loaded plant results in additional emissions compared to small plant that can deliver reserve quickly from a shut down position. | Thank you for this feedback. We recognise that there could be a role for carbon intensive generation who can deliver quickly from shut down in our suite of frequency services. However, the Balancing Reserve service has been designed to manage pre-fault as well as support post-fault energy imbalances. This means that a proportion of BR needs to be held on synchronised units to give confidence that additional MW can be delivered quickly on instruction. The BR service is expected to be dispatched frequently which may conflict with running hour limits on some carbon intensive smaller plant.
73 | Peak Gen | Auction timing | A day ahead market does not meet the design objective of ensuring enough plant is available - it just rearranges the deck chairs by moving plant between generation and reserve | At present there is no incentive for plant running in the wholesale market to provide its capacity to the system operator. This leaves only marginal units in the Balancing Mechanism. Balancing Reserve opens up an incentive for all participants meeting the specification to provide firm capacity. This leaves the challenge of meeting expected demand + the ESO reserve holding to the wholesale markets to resolve. There are at least as many options available to wholesale market participants as there are for the ESO (and we expect there to be more in the form of load shifting and non-BM participating assets) and more time to resolve any resulting demand/supply mismatches. If in real time the demand and supply imbalance has not been resolved ESO can dispatch reserve holding to ensure that the system can be operated and demand can be met. We expect that procurement of Balancing Reserve will change interconnector flows, increasing availability in GB, but the capacity market exists to meet the absolute capacity requirement.
74 | Peak Gen | Imbalance | We are concerned that the impact on imbalance prices may have unintended consequences. The costs of holding via this method do not feed into the reserve scarcity prices (in contrast to STOR). This may distort the incentives for parties to balance their positions which will impact costs | The Reserve Scarcity Prices were introduced to reflect costs of energy from legacy, long-term STOR contracts, where the utilisation prices were set in the past. Since, the providers will be able to submit utilisation prices within day before the gate closure, we believe the prices submitted in the BM will be reflective of the energy costs and impact on imbalance prices should be minimised.
75 | Peak Gen | OBP | We suggest that resource could be better deployed in improving BM systems such that they can effectively despatch smaller plant and ensure that there is a robust backup in place (other than telephone despatch). In a market where Suppliers are offering huge volumes of domestic customers to NGESO under the new DFS scheme, it is shocking that NGESO cannot handle far more smaller generators in its daily, business as usual, operations. | NGESO is working towards reducing the barriers to entry for smaller plants to provide Balancing Reserve. Discussions with Ofgem are underway on how and when this can be done and will be shared with industry. The 50MW threshold can be removed after the balancing programme delivers our enhanced multi-dispatch capability. This will allow the efficient dispatch of smaller units and mean that they meet the operational need. We are working hard to remove this limitation.
76 | FGG | 50MW | NGESO has designed a service that is unduly discriminatory, in that it only pays service providers who are >50MW Over-procurement, reduced competition | We asked LCP to model the impact of the introduction of Balancing Reserve on the wholesale market and BM. They forecast the reduction in end consumer costs over the next 3 years to be between ~£100m and ~£1500m, with a central case of ~£900m. To enable the significant consumer savings that LCP are forecasting, we have designed the service to facilitate early implementation so that consumer savings are maximised. Going forward, there are developments we can make to BR that will improve the product and widen participation by lowering unit size. However if we delayed implementation until 2024 when the multi dispatch tool will be ready, we will miss out on a substantial amount of consumer benefit. Therefore bringing it forward saves >£200m of consumer value, but means that we have needed to make compromises in unit size so we can progress BR as fast as possible to maximise consumer benefits. Moving forward, we recognise the benefits of widening participation in the service by lowering unit size and we are working hard to achieve this.
77 | FGG | STOR | The current STOR prices also feed into the cash-out via the reserve scarcity pricing function. FGG would assume that Ofgem would want the new reserve services to treated in a similar way, but this is not currently proposed. | The Reserve Scarcity Prices were introduced to reflect costs of energy from legacy, long-term STOR contracts, where the utilisation prices were set in the past. Since, the providers will be able to submit utilisation prices within day before the gate closure, we believe the prices submitted in the BM will be reflective of the energy costs and impact on imbalance prices should be minimised.
78 | FGG | OBP | Improving BM systems should be a priority over all other investments to add to competition and ensure the ESO can access and despatch ALL plant in an efficient manner | NGESO is working towards reducing the barriers to entry for smaller plants to provide Balancing Reserve. Discussions with Ofgem are underway on how and when this can be done and will be shared with industry. The 50MW threshold can be removed after the balancing programme delivers our enhanced multi-dispatch capability. This will allow the efficient dispatch of smaller units and mean that they meet the operational need. We are working hard to remove this limitation.
79 | EPUKI | Auction timing | We believe that the Balancing Reserve auction should take place after the day ahead energy auctions rather than before. The current proposed timing of the Balancing Reserve auction results (0900) is too close to the day ahead energy auction and will force participants to make time-constrained and potentially sub-optimal hedging decisions. We believe that holding the Balancing Reserve auction after the energy auction would allow participants to optimise their positions more effectively. This should result in significant cost benefits for the ESO and consumers by enabling optimal dispatch and efficient competition on prices. | Thank you for your response. As a result of industry feedback the auction gate closure will move to 08:15. We are aiming for results publication by 08:45 and by 09:00 at the latest, with the potential to publish the results earlier as the process develops. We believe that it is the right choice to procure Balancing Reserve ahead of the day ahead market for several reasons. Procuring our BR requirement ahead of the DA auctions has the greatest likelihood of impacting interconnector flows, procuring at a later point may result in higher prices and lower liquidity due to interconnector auctions. We also believe that running the BR auction before the DA wholesale auction would benefit smaller parties that have less within day trading functionalities. We would expect providers of BR to submit bids reflective of their lost opportunity in the wholesale market, including the price risk required to make the unit “in the money” for the energy sold in the DA auction
80 | EPUKI | MFR | We understand that units being held for Balancing Reserve could also be used for Mandatory Frequency Response and would welcome clarity on whether they will be paid MFR separately. We would also welcome clarity on whether there would be any pricing restriction on BM bids/offers or MFR while providing this service | We have outlined our requirement for setting a 50MW threshold, and aim to reduce that as new balancing capability is delivered. As many smaller assets currently have participated in FFR, we do not see MFR as impacting the size of units able to take part. We note that in many cases, smaller asset operators operate many assets from a single control point and therefore would not require separate Control Telephony for each asset. We can confirm that there will be a separate payment for the held volumes of MFR (as per the deload calculation in CUSC) for units instructed to provide MFR. This payment will be on top of the BR availability payment and paid against the response capability in the units' MSA. There is intended to be no pricing restriction on MFR other than any limits on number of characters in the submitted holding payment which may exist today. Units will not be instructed for MFR if it is uneconomic to do so and contracting for Balancing Reserve does not guarantee an MFR instruction. We would expect MFR providers to compete as normal to offer the service and the control room will, as today, weigh up any repositioning costs alongside the holding payment and volume of response they need when instructing units for MFR. There will also be no restrictions on BM bid/offer prices introduced as part of the BR service design. The only restrictions are those which exist today.