## Slide 1: Electricity System Restoration Standard STC Panel Presentation March 2023

## Slide 2
    Special Condition 2.2 of National Grid’s Electricity System Operator’s Transmission Licence, the Electricity System Restoration Standard (ESRS) was introduced in October 2021 and requires
    a. 60% of electricity demand being restored within 24 hours in all regions;
    and
    b. 100% of electricity demand being restored within 5 days nationally.
    The purpose of this direction is to require that the ESO
    a) Ensures and maintains an electricity restoration capability; and
    b) Ensures and maintains the restoration timeframe.
    c) Replace the definition of “Black Start” with “System Restoration”
    The aim is to restore the system and supplies as quickly as possible in the most economic manner
Facilitation of the Electricity System Restoration Standard (ESRS)

## Slide 3
The STC changes are as a result of Grid Code changes due to ESRS
  Glossary and Definitions
  Planning Code
  Connection Conditions
  European Connection Conditions
  Operating Code 1
  Operating Code 2
  Operating Code 5
  Operating Code 9
  Balancing Code 2
  Balancing Code 4
  Data Registration Code
  General Conditions
Grid Code documents reviewed

## Slide 4
System Defence Plan
System Restoration Plan
Test Plan
Control Telephony Standard
Communications Standard
Distribution Restoration Zone Control System
Supplementary Grid Code related documents reviewed

## Slide 5: Proposed STC Changes
Slide
5
STC sections | Changes
Section C (Transmission Services and Operations) | Changes to Part 1,2 and 3 of Section C
Section D (Planning Co-ordination) | Changes required to Section D Part I Section 2.2.6 and related elements Changes to include Critical Tools and Facilities and Assurance
Section J (Interpretation and Definitions) | Changes to definitions in particular changing ‘Black Start’ to ‘System Restoration’
Section K (Technical, Design and Operational Planning Criteria and Performance Requirements for Offshore Transmission Systems) | Changes to include Critical Tools and Facilities and Assurance in respect of OFTOs Changes to ensure consistency with GC0156
Schedule 2 (List of Code Procedures) | Consequential changes to list as changes will be made to STCPs
Schedule 3 (Information and Data Exchange Specification) | Data to be exchanged due to ESRS

## Slide 6: Summary of potential changes to STC – From Future Networks & Assurance Activities Reports
Resilience of core systems - CC/ECC.7.10.1 and CC/ECC.7.11.1/2
Sufficient switching speeds within the first 24 hours - ECC.7.11.3, OC9.4.7.10, OC9.2.1 and OC9.1.1
Energising of auxiliaries to enable power transfer at Connection points and GSP - CC/ECC.7.10.4
Ability to alter protection setting and protect discriminately during Fault ride through- CC/ECC.6.2.3.7.2
Provision of reactive compensation to support Users (Reactive Power capability requirements at the Offshore Grid Entry Point) - CC/ECC.6.3.2.5.3
Incorporate ESRS in network design - OC9.2.1
Support during Assurance testing - OC5.7
Resilience of Comm Systems, control systems (critical tools and facilities)- CC/ECC.6.4.6.3c
Management (synchronisations) of power islands - OC9.4.7.9, OC9.4.7.10
Replicating requirements for onshore TOs for OFTOs - OC9.2.5
Slide
6