## FOR PUBLISHING
Question | Answer
"Stability" is already managed by the BM (i.e. CCGTs scheduled for Inertia or Voltage not Energy) - why is a Stability Market needed? Can the BM not do this? | That's correct that stability is already managed in the BM, typically by synchronising additional synchronous units during periods where we have a shortfall of stability close to real time. Stability markets are being designed to allow ESO to value stability as an explicit service, rather than a bundled service (e.g., with energy) in the BM. We also believe a blend of stability markets are required to provide a distinct investment signals for new technologies and connectees to install the required equipment to provide system stability, and be rewarded for doing so. For clarity, stability markets will be introduced as an opportunity to procure capability cheaper than the current counterfactual (the BM), but the BM will remain a route for ESO to meet our stability needs.
Has any thought been given to the role of codes in this market? In Europe projects are being mandated to have the capability to deliver grid forming with the market contracting the service. This is not only consistent with the concept of MFR, but indeed response can inherently be nested with this capability too. The sooner you start, the greater the liquidity within the short term market? | Yes, we are considering the role of codes in future developments of stability markets, in particular as you suggest, in the context of a short term market. We are closely monitoring the work ongoing in Europe and are considering our own internal positions on this topic. We've focused largely today on the mid term market as this is the first market we are launching. Existing grid forming capability could participate in this market. In future, mandating the capability of grid forming projects (and utilising through a market) is a potential option, and will feed into future market design decisions.
Existing inverters used by renewable power systems use Grid Following Inverters that produce Fast Fault Current that is included in SCL calculations. But they do not produce Active Phase Jump Power for power transients at rated Grid voltage which means that the SCL method gives false data for the system stability. The Enstore Effective Transient Impedance value "ETIV" gives the correct stability data at rated grid voltage | This is an issue to be addressed as part of the second phase of the GC0137 Grid Code Grid Forming work.
spot market signals- one issue with Grid forming is that it is by its very nature constantly exchanging with the system. This means that the market needs to recognise the sustained nature of the support within a settlement period across normal frequency and voltage behaviour vs a number of successive events. the specification will give the capability to do these things, the market needs to avoid in its performance incentives incentivising the wrong things out of the market. | Thank you for your comment, we will take on board the feedback when designing any performance monitoring methodology.
The short term stability market needs to supply the required level of Active Inertia Power but it also needs to supply the required level of Active Phase Jump Power. When will both values be included and defined in future Stability data. | Under the GC0137 Grid Forming specification as currently published in the Grid Code, the requirement requires plants with a Grid Forming capability to supply Phase Jump Power, Inertia Power and Damping Power but does not stipulate minimum vales which is for the developer to confirm. This issue however is wider than this initial starting point and a piece of work needs to be undertaken to define the minimum requirement against the system requirement which again is an issue that needs to be taken forward via an Industry Code (Grid Code / SQSS) change.
To fully define the stability of future systems needs include the Allowed Value of the AC Grid's Phase Jump Angle. This is needed to correctly rate Grid Forming inverters. When will this data be included in stability requirements | Please see the response to question above in row 6
What does it mean to provide stability at 0MW? | This means to decouple the provision of stability from energy, therefore to have the capability to provide stability without exporting MW's (other than that required for active inertia power) if required. We intend to allow revenue stacking to ensure providers can layer stability services with other active power services if capable of doing so, without compromising their commitment to deliver stability services.
Is this regional or national level? Wonder how many synchronous generators are still connected in Scotland providing any stability? Also what is the definition of stability here. | Generally speaking inertia is a national requirement and SCL and dynamic voltage are locational, however in this webinar we are simply covering the design of the stability market rather than exact requirements for any tenders. Within each timescale, any procurement process would define any locational requirements for each tender round. With regards to the definition of stability and this webinar, inertia, short circuit level and dynamic voltage have been considered when proposing the design model for the stability market. Any procurement process within each timescale would define the exact requirement (e.g. inertia only, inertia and short circuit level, etc).
Are new build synchronous generators going to be excluded for LT market access? e.g. pumped hydro | The eligibility criteria for these stability markets have been designed to procure services from providers with the ability to provide stability at 0MW export. This does not mean that new build synchronous generators are excluded from stability markets, but instead they can participate if they have the ability to provide stability at zero MW export - e.g., a pumped hydro plant which can spin in air.
Inertia is a national requirement but SCL is locational created by wind displacing synchronous generation with inertia and reappearing in different parts of GB hence why its a balance procured across the Country via "stability services". Hope this helps but ESO can possibly explain it better. | Thank you for this contribution to the discussion during the webinar. We will articulate any locational elements of our requirements in each tender round as required.
The enhanced capability, LT 3 years,applies to projects that will end their pathfinder 10yrs contracts? | It is expected that Pathfinders coming to the end of their contracts would participate in the Mid-term (Y-1) market for a 1-year contract, unless they were planning to make an investment to enhance capability to participate in future Y-4 procurement events.
Would inertia and SCL pricing for the MT / ST market be separate pricing or one combined pricing that covers both asepct (similar to PF contracts)? | How this will be applied to the elements of stability needs to be finalised and will be confirmed as part of the launch of the markets. The minded to position is to adopt a similar approach to Pathfinders where one price was submitted to cover payment for both inertia and SCL, however this needs to be finalised. At this stage this is an indicative position only and subject to change/confirmation.
Who pays for a plant's losses (import MWh) while they're providing (or available to provide) stability services? | This is intended to be covered by the plant's Delivery Payment which is paid for each settlement period where a contracted unit is dispatched to deliver the stability service. We do not propose this is paid on metered quantity. On a separate note, there is an ongoing consultation by Ofgem about TO lite licensing for TO assets, in which case any energy consumption might become a regulatory pass-through: this eventuality would need to be covered in the contract as a change of law term.
A related point to the point on location. Future HND solutions offer options as to where offshore wind provide grid forming support onshore. but, without additional infrastructure, that GFm cannot be delivered at all onshore points at the same time. So stability markets do need to be mindful of this (otherwise they assume more GFm is available than is in practice in these cases), and the market also does need to be able to allocate/ incentivise GFm in the right place at the right time. | Thank you for your comment. It would be interesting to understand what you mean by "additional infrastructure" specifcially, so we can ensure we're aware of this if offshore GFM units participate. To explore this further please get in touch with us through box.stability@nationalgrideso.com.
Locking carbon into the system is the key flaw in the Capacity Market, which is very similar to your LT market. Can you insist on zero carbon technologies in the LT market? They do exist. | It is not currently within ESO's remit to procure services based on zero carbon criteria. The enforcement of the 0MW export stability criteria should allow us to procure stability as a discrete product in the cheapest way and then allow the wholesale markets and other energy markets to determine the cheapest mix of resources. In the bigger picture of the net zero transition and other supporting decarbonisation signals (e.g., carbon pricing / low carbon support), this technology mix should be zero carbon.
To validate that a system is operating correctly needs to accurately record the RoCoF rate after a power transient. The existing frequency recording systems do not do this and the the Grid Code in ECC.6.6.1.9 . When and how will a new recording system be developed. | As part of the phase jump power work, this is an issue that needs to be considered as part of the wider Industry Code work
PF 2 / 3 projects do not seem to get any compensation for their energy cost (no concept of delivery payment). Would this change retrospectively given it seems that the new LT / MT contracts would? | Existing pathfinder contracts will not be amended based on the design concepts of any of the stability market timescales. Stability Pathfinder Phases 2 and 3 had a single payment design which was intended to incorporate both availability and delivery costs. The principles covered in this webinar will be considered and implemented for future stability market procurement only.
Let's say that I will biuld new storage asset based on syn. gen. dedicated to provide stability in long term which avaliability is assumed to be 90%. What would be payment model and time block for this? Whould that be GBP for avaliable MW*s for 90%*24h (baseload*avaliability) + additional delivery payment? | Great question. You can bid how you wish but ESO might expect a bid for the availability payment which covers your fixed investment and capital cost plus the fixed operations and maintenance costs for the 10+ years (with appropriate indexation) spread over the 90% availability. The delivery payment should cover the cost of running the asset (marginal energy costs, opportunity costs and additional maintenance).
Could you please clarify whether you are talking about inertia market or SCL / reactive power as well for these payments and procurement activities? Paying SCL based on delivery payment would be almost impossible | The first part of the webinar focused on the stability market design as a whole and was therefore speaking more generally. Each stability tender event that is run would confirm the exact requirement (e.g. inertia only, inertia and SCL). How the payment structure will be applied to the elements of stability (inertia, SCL, dynamic voltage) where there would be a bundled procurement, needs to be finalised and will be confirmed as part of the launch of each of the three markets. We propose that the delivery payment is not paid based on metered quantity but instead paid on a per settlement period basis as an arming-style payment when placed in the relevant mode to deliver stability services. We encourage you to provide your thoughts on this through the mid-term RFI so that we can account for them in the design of the market. For more information please visit https://www.nationalgrideso.com/industry-information/balancing-services/stability-market/mid-term-y-1-stability-market.
Will these services be stackable with the wider balancing services? | The intention is that stability services can be stacked in principle, similar to pathfinders, providing there are no physical conflicts between delivery of the services. Any procurement process would define the exact stacking rules.
I beg to differ that energy costs on a year ahead basis are predictable and hence should be supplier's risk to carry… But you won't know how often your machines will actually be called - you only know the price but not quantity of usage ... The delivery payment ocncept helps to address this aspect (unlike with Pathfinder 3.....) - but the assumed pricing faced for the MWh of import does not lend itself to a fixed price across the full delivery year | Thank you for your feedback, we will certainly be considering our approach to indexation for the delivery payment in the mid-term (Y-1) stability market. If you are able to provide further insight into the challenges or solutions on this via the RFI it would be greatly appreciated. To take part in the RFI please visit https://www.nationalgrideso.com/industry-information/balancing-services/stability-market/mid-term-y-1-stability-market
Grid Forming functionality with storage will increase the CAPEX costs of projects. These projects will be deemed expensive in CfD as compared to grid following. How is NGESO promoting grid forming through CfD? | We note that the alignment of long-term ancillary services contracts (such as Stability) with other support mechanisms (such as Capacity Market and CfD) is crucial for projects seeking new investment. We intend to structure the LT Y-4 Stability Market so that it can run in harmony with low-carbon support mechanisms (such as CfD) to allow developers the optionality to build in additional capability ahead of Financial Investment Decision, if desirable.
should we not be getting comfortable with a market definition of MVA.s rather than MW.s, given the range of MW-less products we have been discussing? would perhaps be clearer to all parties involved. If it is inertia service, then the payment is for stored energy £/MWs is correct unit. That's why H (for a synchronous machine) is in MWs / MVA not in s. true. but Grid forming is more than just the inertia dimension. its holding a voltage angle via an EMF behind an impedance in relation to the network- MW over time if the event is purely frequency related, Mvar if voltage only, and a mix if something in between. the capability directly in relation to the MVA. | Thank you for the feedback on this. We note the occasional confusion between MVA.s and MW.s but to clarify, any requirements mentioned are 1:1 (so 1MVA.s = 1MW.s). Our preference is to use MW.s for active inertia power, as per the Grid Code, but would welcome any further feedback.
This will give the TOs an unfair advantage as they will be able to assume a residual market certainty that commercial providers cannot. | Thank you for your feedback. We assume that you are referring to our design of the TO counterfactual in the LT market. As TO costs would be recovered through the regulated framework, we do not envisage that TO's would be able to assume any residual value in their bids. To mitigate any issues associated with residual value, we intend where possible to extend the length of contracts beyond 10 years in the LT market.
All your examples are based on £/MW.s/h - i.e for inertia and not for SCL (MVA) or Voltage/reactive (MVAr) capability. Is the initial market for inertia only? | In the near-term, the mid-term market is looking to procure inertia only as the primary product, based on ESO's technical requirements analysis. However, in future years as our stability requirements develop, there may be a need to also procure SCL and/or reactive power (Mvar). As usual, each procurement event that is launched would confirm the exact requirements.
I think the biggest flaw with this approach is stability types are not distinguished, dynamic voltage stability, frequency stability, thermal stability, transient stability (grid stiffness), protection and oscillations stability are all different requirements. SCL and inertia are only two products, voltage stability and stability against control interactions are completely different requirements. This distinction is really important to make to procure the right services and products. | We will be clear on the service that we are procurring for future stability markets, all solutions will have to meet the relevant Grid Code specifications. We are currently exploring alternative system strength metrics as part of our Strength to Connect project. The project outcome will help us define our future stability strategy. (https://smarter.energynetworks.org/projects/nia2_ngeso020/)
What's the consultation process for the introduction of these services? | The immediate next step is to launch the mid-term market. Before this we are running a Request for Information which is officially being launched today as part of this webinar. We would like to invite everyone in this webinar to respond to this mid-term RFI. In parallel, we will continue our internal work on finalising the design elements of the short term and long term markets before conducting any further market engagement. The process for this is still to be defined, but please continue to monitor our webpages for future updates.
How could Grid Forming Capability from non-sync be procured through the BM? Is it a fair counterfactual? | At present, the BM doesn't explicitly value stability which can be provided without exporting MW. We would expect grid forming capability to be procured through one of these LT, MT, ST stability markets and for solutions in the BM to be used as an alternative action if it is cheaper.
re the definition of existing vs new capability, will these be defined in the same way as used in the current Pathfinder, i.e. linked to the TEC register? or will there be a different definition, maybe based on operational go-live dates etc | We are considering how Pathfinders defined existing and new capability and whether this definition is still suitable for each of the three timescales in these new markets. This will be finalised for each timescale as they launch
Given the increase in system issues and disturbances due to the rapid decrease in inertia from decreasing synchronous plant why aren't you progressing with the LT T-4 mkt also at the same time? The ESO needs plant to commit and build Long-term, or is your plan to keep using T-1 as top up each year out to 2030? ... but these 3 mkts are joined at the hip and depend on each other to be successful? | As is stands and based on our latest system studies of when we see a need for inertia, we believe the mid term market is the most efficient way of meeting our near term requirement. We agree that a Y-4 market will help to ensure that adequate capacity exists on the system in future. Therefore, we don't necessarily plan to use the Y-1 as a 'top up' but instead a cheaper mechanism to access capability which currently exists. The Y-4 market will be launched in line with system requirements. As the Centralised Strategic Network Plan is delivered, we intend for the Y-4 stability market to follow in sequence so that we can provide a regular view of our requirements alongside a regular route to market.
As inertia could be delivered by BESS with GFM converter what does it mean that it should be provided at 0 MW export? Is there any delivery time for this kind of technology as it is not syn. con. that can be online 24/7? | The 0MW export requirement is most relevant for synchronous technologies rather than non-synchronous. For GFM based converter BESS we would expect the asset to reserve the amount/capability to provide contracted inertia irrespective of its MW output. Delivery time and other technical requirements are subject to technical specifications which will be similar to stability pathfinders and Grid Code (GC0137). For example; active inertia power (including active phase jump power, damping power, fast fault current injection etc.) need to be delivered within 5ms.
Can you explain why you need 132kV+ connections for what is initially an inertia-only service? | It is our intention for this to become a yearly market, with future delivery years having the potential to procure others aspects of stability in addition to inertia. From our experience and studies we have found that anyone connected below 132kV is not effective at providing SCL at the transmission network. To keep the delivery years' eligibility criteria aligned, we are looking to only procure solutions at and above 132kV or transmission connected. Further to this, connections at 132kV and above have more onerous Fault Ride Through obligations in the Grid Code which is important for the stability of these assets.
sounds like you only want to pay for new assets with your "selective eligibility" rule but how do you intend on keeping existing plant with inertia on the system, especially when this might be the cheapest solution for consumers...? | There are other markets for providing longer-term signals for plants to remain open: e.g. capacity market. A conventional plant which is at the point of closure is unlikely to be a significant provider of stability services, with 90% availability for annual contracts, especially if the requirements may typically dictate plant to synchronise during low demand periods.
How do you expect TOs to bid and deliver if succesful for LT tender given all the available bays are taken up by developers? | Thanks for this question. This appears to be more related to the existing infrastructure and the connections landscape rather than the design of the stability market itself. As such it is something that will change and develop over time as new infrastructure is developed to accomodate the ever-changing size and scale of the electricity connections landscape. At this time we are only launching the mid-term market, however as and when the long-term market is launched considerations will be given to how connections play a role in enabling the delivery of solutions regardless of who is taking part.
How will you prevent "vapour wear" projects which are not built, and are not built on time, wining contracts and pushing real projects (which are built) out of the market? | Our intention is that there would be criteria in place to be successful that would sufficiently assure the ESO the projects are, or will be, built and able to provide their services on the timelines they commit themselves to. We haven't shared any criteria today and this criteria would be tailored to each timescale but as with any procurement process it will be appropriate and relevant to the requirement at hand.
Can you please elaborate on Availability Payment and Delivery Payment for the services such as Inertia - how it will work? | The availability payment would be paid when the provider is available to provide the stability service required in a given tender - similar to the availability payments in the Pathfinder contracts. The delivery payment is being paid for periods where ESO instruction has instructed the unit to synchronise / arm grid-forming circuits, and deliver the service. It's expected this would be paid for the utilisation period from the start of an instruction to the end, or similar, rather than based on metered quantity.
listening to the discussion of nested products i'm a bit worried there is an assumption of either inertia or primary & secondary response; whereas the last thing you'd want for a GFm would be the removal of the inertial support during the frequency event as that would just exagerate the frequency event itself and increase the response required, in ways potentially very hard to predict. | Where the tenderer is entering multiple markets they must guarantee they can deliver their contracted inertia service. There are assessment processeses for feasibility test results and compliance witness.
also there is nothing preventing SCL support, followed by post fault clearance inertia support and dynamic voltage support all being provided from the same GFm. or synchronous machine. inherently that's how they behave during an event. the only difference is that other than inertia these are all locational factors. | Please refer to the response above on line 38.
If a 500MW CCGT module could credibly drop Stable Export Limit (minimum generation) to something proportionally small compared to it's inertia contribution, - EG. 20MW - is that not still really valuable, and worth accepting a small active power contribution? a fair mid step for exisiting assets, rather than requiring full clutch 0MW requirement? | That was the approach taken in Ireland for their DS3 suite of products, specifically Synchronous Inertial Response. DS3 was basically about adapting the capabilities of thermal generation to the future needs. By contrast, our market design allows non-synchronous generation to participate in stability services. Stability markets will provide a competitive alternative to the BM and therefore, there is potential that conventional generation will continue to be used for stability. With regards to the example you suggest, we are aware of an option which allows a low (c20%) SEL but in a very inflexible mode, but not by reducing SEL to the levels you suggest. Markets should be suitable for technologies which are available, so we would invite you to provide more information and would welcome a discussion with you on this.
Why is there no provision for spot energy prices/adjustments in MT - short term volatility in power markets is greater than long term and then people can account for opportunity cost - ST is understandable | Our indicative position for the mid term market is that the prices wouldn't be indexed due to the short contract duration; however, this is a topic which can be fed back on in more detail through the RFI. We welcome your feedback through this process for us to consider in the design of the mid-term market.
Today about 10-30% of all inertia in UK are delivered from synchronous machines (industry). Why do those reources are not paid for the inertia service they are providing? Question was related to synchronous machines connected to lower voltages as part of an industry (metal, paper, oil & gas). | Initial analysis from Phase 1 of this project suggested that customers would pay more (several hundred million £ per annum) for no behavioural change under a universal payment model. Therefore, introducing windfall gains for existing synchronous machines who provide stability as a by-product of energy was not deemed to be in the interests of consumers in the short run. More detailed modelling was not within the scope of the innovation project. We are also currently working to further define the contribution of demand side inertia/stability services to our overall system requirement. At present we do not have immediate intentions to provide a demand side market, but as we continue to refine our modelling of demand contibution, this may be considered in future market design work.
Building on the point above, if synchronous generators are not receiving payments for the valuable inertia they provide when they do operate, surely asynchronous should have a larger Use of System charge (or other payment) as a penalty for the system management costs they directly incur - while we have an energy and balancing market for energy products, not every MWh is generated equal! | Thank you for your comments, your feedback has been noted.
It's important for our clean energy conversation to appropriately attribute the real cost of our energy transition to the technologies we are bringing forward. If we really moved to an all asynchronous system that inertia requirement will not be huge, it is more required for an AC system mostly designed with synchronous gens. It is not a req for asynchronous gens and more for the system itself. If we designed a system purely for asynchronous system this will not be a problem, e,g, future DC Grids.
I think the need is right now. I am surprised ESO thinks we can wait for stability services given the current challenges we have on the grid right now, such as system oscillations, phase jumps and transient stability. | Thank you for your feedback. We currently use a combination of the Balancing Mechanism, Pathfinders and spinning reserves to manage stability, as well as the natural stability provided by synchronous machines when self-scheduling. Stability markets are intended to provide a cheaper alternative to these existing mechanisms, but also an opportunity to procure additional capacity should we need it in the future. We are constantly improving our modelling and forecasting to pinpoint when we think that each of these needs emerge to provide greatest foresight to industry.
This market design focuses on the supply side and not the demand side. Are there intentions to provide a demand side market in the future? Much like the demand flexibility offering recently developed. | We are currently working to further define the contribution of demand side inertia/stability services to our overall system requirement. At present we do not have immediate intentions to provide a demand side market, but as we continue to refine our modelling of demand contibution, this may be considered in future market design work.