## Cover Sheet
Stability Mid-term Y-1 Market
RFI Query Summary Document
On 17 July 2023 ESO published a Request for Information to seek industry perspective on a variety of topics to help ESO design and launch a Stability Mid-Term Market.
Both during the RFI window and as part of a number of RFI responses, ESO received a number of queries from interested parties. A variety of these questions are deemed to be generic and applicable to anyone who has an interested in the Stability Mid-Term Market.
This document collates these queries to make the ESO's responses to them publically available ahead of our next steps.
Please note in some cases the original queries have been redacted to maintain confidentiality of participants whilst making the core content of the query and it's response available.
The RFI submission deadline was 18 August 2023 and the ESO are currently reviewing the feedback received. This feedback will be used to help finalise next steps and our timeline for the Stability Mid-Term Market.
If you have any follow up questions please contact box.stability@nationalgrideso.com
Please note: The Request for Information (RFI) and this associated document is not part of a formal tender process. ESO will use the information received through the RFI information to refine ESO’s understanding of the stability market and to support the design of the tender process for a mid-term (Y-1) market. All information provided in this document is indicative and subject to change prior to any formal tender process.
Legal Disclaimer and Copyright
This document has been prepared by National Grid Electricity System Operator (ESO) and is provided
voluntarily and without charge. Whilst ESO has taken all reasonable care in preparing this document, no
representation or warranty either expressed or implied is made as to the accuracy or completeness of the
information that it contains and parties using information within the document should make their own enquiries
as to its accuracy and suitability for the purpose for which they use it. Neither ESO nor any other companies in
the National Grid plc group, nor any directors or employees of any such company shall be liable for any error
or misstatement or opinion on which the recipient of this document relies or seeks to rely other than fraudulent
misstatement or fraudulent misrepresentation and does not accept any responsibility for any use which is made
of the information or the document or (to the extent permitted by law) for any damages or losses incurred.
Copyright National Grid ESO 2023, all rights reserved.

## Generic RFI Query Log
NATIONAL GRID ESO Stability Mid-Term Market RFI Query Log
Date |  | 2023-09-27
Version Number |  | V1
| TQ Date (dd/mm/yy) | Technical/ Commercial Query | Query | ESO Query Response | Date published to ESO Website
1 | 2023-07-28 | Technical | • Why is the specification set to provide inertia with the requirement to provide 0 MW power injection? Is there any scope to change this to the ability to provide 0MW power injection rather than a requirement? • The initial Y-1 auction only is procuring inertia. Is it likely to be expanded to include SCL? • The initial Y-1 auction is set to procure 7GVA.s. What do you anticipate the long-term T-4 auction requirement being? Will it be similar to the Pathfinder volumes? • Do you foresee this service being location-based in the future or continuing to be procured nationally? [Redacted] | - Bullet 1: The requirement to deliver stability services at 0MW export applies specifically to synchronous generators only. This is to decouple the provision of stability from energy and allow ESO to value stability as a discrete service, allowing energy to be traded in wholesale and balancing markets. If your technology is convertor-based (non-synchronous), we anticipate you will be able to provide stability services independently from energy and therefore meet the 0MW export criteria, if desired. Note: This criteria permits the temporary injection/absorption of Active Power to enable the provision of Active Inertia Power during system changes. - Bullet 2: In our RFI documents we have stated that in future years the scope might be expanded to include short circuit level (SCL) based on system studies and identified requirements. This could be through a combination of a Y-1 market or Y-4 market. However at this time our studies only indicate a requirement for inertia. - Bullet 3: The requirement for any long-term (Y-4) procurement event will be based on system studies and identified requirements at the time. At this time we are focusing on launching the mid-term market and have only published requirements for this mid-term market, we have not published any long term Y-4 requirements at this stage. However we conduct these studies on an annual basis so requirements can evolve over time. Please continue to monitor our webpages and regular requirements modelling in the future for more information on the long-term Y-4 market. - Bullet 4: Inertia is currently specified as a national requirement and therefore this will shape the basis of the procurement for the initial mid-term tender. However, we are considering whether to spread our procurement of inertia services across the country to prevent locational oscillations or single-circuit risks. Therefore, we may reserve the right to introduce some sort of locational element in our assessment criteria; this is to be determined, but would not be designed to disincentivise participation. If the scope of the requirements is expanded to include short circuit level in the future, then this may change to a more locational based mid-term market. Whether procurement events are national or locational specific will be specified with each procurement event that is conducted depending on system studies and identified requirements. | 2023-09-27
2 | 2023-08-03 | Commercial | Questions for ESO on Inertia T-1 What non-availability terms are the ESO considering? How will elements like reactive power provision be compensated? How will locations of assets be considered in the assessment process to ensure that the ESO and customer gets best value for money? [Redacted] | 1) We are still working through exactly what this looks like in terms of a) whether we will allow assets to start later than day 1 of a delivery year, and how the tender assessment process accounts for this e.g. do we apply a late start cost like pathfinders did, and b) what non-delivery damages will be included in the contract if assets are not available on their contracted start date. The intention is this level of detail would be published later in the tender process rather than as part of this RFI. 2) Similar to Q1 we are still deciding what is valued in the mid-term Y-1 assessment processes and so cannot definitely confirm whether or how reactive power would be considered at this stage. The intention is this level of detail would be published later in the tender process rather than as part of this RFI. 3) Similar to Q2 we are still working on what is valued in the mid-term assessment process e.g. locational benefits. As such we cannot confirm how locational benefits would be assessed at this stage. The intention is this level of detail would be published later as part of the tender rather than as part of this RFI. | 2023-09-27
3 | 2023-08-10 | Technical | Can you please explain the reason for the 132kV connection requirement? [Redacted] | Our current position in the RFI is that all solutions must either be directly connected to the transmission system or if embedded have a User System Entry Point of 132kV. This allows two entry routes for solutions: 1. Solutions connected to a TO network can partake in the market, this would include Tertiary connections, but for this requirement solutions must be categorised as "Directly Connected" as per the TEC Register 2. Solutions connected at 132kV to DNO networks can also partake in the market There are two primary reasons we have this requirement: A. Solutions connecting at 110kV or above have more stringent technical requirements in the Grid Code. These requirements include enhanced fault ride through requirements, which are an important technical performance requirement for this tender. B. Prior Pathfinders have shown that users connected at lower voltages are less effective at providing the stability services we are looking to procure. Our intention is to finalise this position based on feedback received through the RFI. | 2023-09-27
4 | 2023-08-11 | Mix | Could you clarify some points please 1) Connections Are all connections to be at 132kV? What is the deadline for obtaining and naming the connections? 2)Prices We note the plan is to pay a delivery fee and an availability fee. Is the availability fee going to be for an agreed number of years? 3) Modelling. Since the service is only inertia, is modelling required or not? [Redacted] | 1) Part of the proposed eligibility criteria included in the RFI documentation is that: a) all solutions must either be directly connected to the transmission system or if Embedded have a User System Entry Point of 132kV and b) solutions must have a signed connection agreement by the tender submission deadline (whether already connected or due to connect in time for contract start). The intention is this will be a requirement for each annual tender run under the mid-term market. 2) The intention is the mid-term market will award 12-month delivery period contracts based on yearly tenders, so prices would be set for each 12-month contract year only. 3) As this is only an RFI we have not published any tender requirements such as modelling. The intention is this level of detail would be published later as part of the tender rather than as part of this RFI. | 2023-09-27
5 | 2023-08-15 | Technical | Will assets connecting using the new non-firm connection offer developed by NGET and NGESO be eligible for this stability market? [Redacted] | The eligibility criteria proposed is for bidders to have a connection agreement (whether the asset is already connected or due to connect in time for contract start) rather than a connection offer. This means the agreement should be fully executed rather than in offer stage. With regards to non-firm agreements: at this stage we have not made any explicit distinction between whether the agreement must be firm as opposed to non-firm. The intention is to clarify the requirement on this later in the tender process. Please note beyond this bidders will also have to satisfy the other tender criteria that are set in the tender process. | 2023-09-27
6 | 2023-08-10 | Technical | Can you clarify the “Must provide service at 0MW export” requirement | Solutions must be able to provide the inertia service at 0MW export if they are GBGF-S. For GBGF-I technology, the asset must be able to provide contracted inertia irrespective of its MW output. Note: This criteria permits the temporary injection/absorption of Active Power to enable the provision of Active Inertia Power during system changes. | 2023-09-27
7 | 2023-08-18 | Commercial | How are NGESO proposing to measure inertia provision? Would providers be expected to provide GW.s/hr utilisation figures? [Redacted] | Currently the indicative approach is that generators will be paid for the GVA.s/hr of inertia they could theoretically provide when the inertia service is dispatched, based on the tendered inertia capability. However, as this is only an RFI the intention is that these details would be confirmed later in the tender proces. | 2023-09-27
8 | 2023-08-18 | Commercial | It is unclear how the cost of power imports will be covered and this is critical to define e.g. is the cost of these power imports fully covered by NGESO? [Redacted] | In the RFI we set out that the intention for the stability mid-term market is that no indexation formulas would be adopted in the contract. This statement also covers the cost of power to run assets, e.g. the utilisation fee would not be indexed to the spot price of energy and energy costs would not be 'passed through' to the ESO. Our intention is to finalise this position based on feedback received through the RFI. | 2023-09-27
9 | 2023-08-18 | Commercial | Can you clarify the interaction in timing with the Capacity Market (CM)? In the webinar materials it says that you wish for the timings to be aligned, but the timeline for the stability mid-term markets are not aligned with CM timelines. | We propose that each stability mid-term market delivery year starts from 1st October to align with the start of each Capacity Market delivery year in attempt to allow market providers to stack revenues if desired. We think this will help accelerate investment decisions and aid with closure decisions for existing sites. It is a fair reflection that the timings of the Y-1 market launch and contract award do not align entirely with the Capacity Market; however, we believe that by awarding stability contracts 12 months before the start of the delivery year, this is a true Y-1 market and provides greater notice for market participants to make any necessary changes and planning. | 2023-09-27
10 | 2023-08-18 | Technica | What is the criteria to calculate availbility for BESS considering their SOC management ? | The proposed solution must be able to meet minimum 90% inertia availability, therefore, in order to be eligible to the tender, the BESS solutions will need to manage their SOC so that their tendered inertia capability could be achieved 90% of the time regardless of SOC and other stacking services they are providing during this period. | 2023-09-27
11 | 2023-08-18 | Technical | Is there any minimum inertia or SCL capability requirement? [redacted] | As this is only the RFI stage we have not set or communicated any explicit requirement thus far for the minimum inertia that a solution must provide. The intention is any requirements like this would be published later in the tender process. Please note as this first year of the mid-term market is only aiming to procure inertia the intention is there would be no additional requirement for SCL provision above the Grid Code requirements for this first year. However, as this is only an RFI position this could be subject to change. | 2023-09-27
12 | 2023-08-18 | Technical | Will there be a location specific Intertia requirements for this tender? | This level of detail is something that will be confirmed later in the tender process for the Mid-Term Market. Please can we ask you to review this once it is published and then revert back to ESO for any clarifications at that time. | 2023-09-27
13 | 2023-08-18 | Commercial | Will there be economic support from National Grid to allow potential suppliers to further research or implement modifications to existing technology? | As indicated in the RFI the indicative payment structure for this market is based on a two-price pay-as-bid design, where bidders will propose an availability fee and a utilisation fee for their solution. This is the only payment ESO will be making through this market, with no additional payments for research or modifications of technological solutions. Therefore, solutions will need to be developed and able to meet the eligibility criteria and requested start dates in order to participate in the market. | 2023-09-27
14 | 2023-08-18 | Commercial | Please clarify the possibilities for stackability and the associated balancing services. | As we are only at RFI stage we have not yet published this information. The intention is to publish this level of detail for the Mid-Term Market later in the tender process. We encourage you to review this information once it is is published and then revert back to ESO for any clarifications at that time. | 2023-09-27
15 | 2023-08-18 | Technical | ESO has indicated a 7GW.s requirement for the first delivery year - given that ESO is targeting existing assets to provide this (lead times not sufficient for new-build) is it the ESO's expectation for 7GW.s to effectively exit the energy market in favour of the stability market (assuming a strict 0MW rule)? | This choice would be an individual commercial decision for each solution, of which there could be many asset types and site configurations. We expect the service to be delivered by solutions that are able to provide their stability services independent of their MW output, hence the 0MW export rule. This does not prevent generators from holding a stability market (Y-1) contract in parallel to participating in energy markets, but arrangements will be put in place to ensure payment incentives are appropriate. It is worth noting that whilst we are targetting existing assets, the market is also open to any provider wishing to retrofit existing assets that meet the eligibility criteria (which may require less lead time than new build). We will be publishing further information on stacking of services in due course which we would encourage you to review once published. | 2023-09-27
16 | 2023-08-18 | Commercial | How will reactive power payments apply alongside, when the delivery element of the two part payment is being made? Will it be per the existing reactive power payment mechanisms (ORPS)? | This level of detail is something that will be confirmed later in the tender process for the Mid-Term Market. Please can we ask you to review this once it is published and then revert back to ESO for any clarifications at that time. | 2023-09-27
17 | 2023-08-18 | Technical | The AFRY slides describe the mid-term as being for existing units / rolling off Pathfinders…… however the ESO slides suggest the mid term is open to new solutions/assets? Which is it? [Redacted] | When considering the holistic design of the long-term, mid-term and short-term markets, we view the mid-term market as being best suited for existing units or those coming out of Pathfinder contracts who are able to provide stability services. It may also be a solution for providers who wish to retrofit existing assets to meet the eligibility critera. We acknolwedge that it is unlikley that the mid-term market will attract new build assets, but these would not be explicitly excluded from the market. For clarity on the point about ESO slides, the ESO slides in the webinar from July are focused on the launch of the RFI, which was open to all of industry to respond to. We had no restrictions on who could respond to the RFI given that the RFI is not part of a formal tender process. Instead, ESO will use any information received in the RFI to support the design of the tender process for a mid-term (Y-1) market. This will include the tender assessment criteria for this mid-term market to allow providers to assess whether the market is attractive for their solutions in question. There may be an opportunity to tender new build assets/ solutions in the long-term (Y-4) stability market in future. However, this is not the immediate focus of the stability market implementation plan. The decision to run a Y-4 market in future will be made according to the system needs and market liquidity. | 2023-09-27
18 | 2023-08-18 | Commercial | How will NGESO consider overlapping of contract delivery periods - e.g. if a supplier proposes to significantly modify an asset in order tender in to the long term 10 year contracts – does that mean they need to drop out for a full year of mid term? Will the LT decision timelines suit any decision to either partake (or not) in the mid term? [Redacted] | As we are only at RFI stage we have not published information about how the mid-term market can be stacked with other services for example the long-term Y-4 stability market. The intention is to publish this level of detail for the Mid-Term Market later in the tender process. We encourage you to review this information once it is is published and then revert back to ESO for any clarifications at that time. | 2023-09-27
19 | 2023-08-18 | Commercial | Long Term – 3yr (enhanced capability) vs 10yr (new build). This distinction is VERY IMPORTANT. Can an asset perform a significant new build, incorporating aspects of existing asset, and qualify for 10yr contracts? | We note this question is about the long-term market. It will be addressed separately outside of the mid-term market work, however ESO are very keen to work with industry to confirm the detailed definition of assets which would be eligible to secure 10+-year contracts in the long-term market. | 2023-09-27
20 | 2023-08-18 | Connections | An existing connection agreement is different to that connection agreement being deemed suitable for the provision of these services. How will the modapp process be handled? | Thanks for this question - we appreciate the nuance being identified with this question. For the mid-term market one of the eligibility criteria is solutions must have an existing connection agreement (whether already connected or due to connect in time for contract start). This agreement must enable the provision of the service being proposed. This means any required modapps need to be in hand and fully executed by a point which will be specified in the tender documents. | 2023-09-27
21 | 2023-08-18 | Commercial | With utilisation fees dependent on hours per annum, can NGESO provide a range of expected hours/annum that this service would be utilised? [Redacted] | As we are only at RFI stage we have not published this information. The intention is to publish this level of detail for the Mid-Term Market later in the tender process. A point to note is that the pricing design includes both an availability fee (which providers could use to cover their fixed costs) and a utilisation fee (which providers could use to cover their variable costs). We encourage you to review the detailed information once it is is published and then revert back to ESO for any clarifications at that time. | 2023-09-27
22 | 2023-08-18 | Technical | How is availability proposed to be monitored and notified? Is existing EDL/EDT data acceptable rather than creating a new signal? | As we are only at RFI stage we have not published this information. The intention is to publish this level of detail for the Mid-Term Market later in the tender process. We encourage you to review this information once it is is published and then revert back to ESO for any clarifications at that time. | 2023-09-27
23 | 2023-08-18 | Technical | How will the technical feasibility assessment work? Would a model similar to DC/DM/DR qualification be suitable? | As we are only at RFI stage we have not published any information on the the tender assessment criteria. The intention is to publish this level of detail later in the tender process. We encourage you to review this information once it is is published and then revert back to ESO for any clarifications at that time. | 2023-09-27
24 | 2023-08-18 | Technical | Can existing commissioning test data be used to pass the technical assessment? This could be planned into the commissioning programme for new assets if so. | As we are only at RFI stage we have not published any information on the the tender assessment criteria. The intention is to publish this level of detail later in the tender process. We encourage you to review this information once it is is published and then revert back to ESO for any clarifications at that time. | 2023-09-27
25 | 2023-08-18 | Technical | Do we have an idea of required response time and how this will affect the assessment? | As we are only at RFI stage we have not published any information on the the tender assessment criteria. The intention is to publish this level of detail later in the tender process. We encourage you to review this information once it is is published and then revert back to ESO for any clarifications at that time. | 2023-09-27
26 | 2023-08-18 | Technical | Will dispatch of the inertia service be notified through EDL/EDT? | As we are only at RFI stage we have not published this information. The intention is to publish this level of detail for the Mid-Term Market later in the tender process. We encourage you to review this information once it is is published and then revert back to ESO for any clarifications at that time. | 2023-09-27
27 | 2023-08-18 | Technical | Is there a need for a regional cap on the inertia volume ? E.g. what would happen if all 7GWs were in one region? | This level of detail is something that will be confirmed later in the tender process for the Mid-Term Market. Please can we ask you to review this once it is published and then revert back to ESO for any clarifications at that time. | 2023-09-27
28 | 2023-08-18 | Commercial | What does per solution vs per company mean with regards to RFI Q17? [Redacted] | What this means is that if a company bid in multiple solutions, and they were successful with more than 1 of those solutions in the tender process, they would receive an individual contract for each solution. This is similar to the approach taken in Pathfinders. | 2023-09-27
29 | 2023-08-22 | Commercial | What is the indicative timeline of when the results of the RFI/market design might be finalised for the Mid-Term (y-1) market? [Redacted] | At this stage we haven't published any detailed timelines for next steps after the RFI deadline beyond the high-level plan that can be found in the RFI document as we intend to use the information we have received in the RFI to finalise our timescales. Once we have worked our way through the responses and finalised our market plans we will publish updates through the usual channels (such as the ESO webpage dedicated to the Stability Market, newsletters, etc). | 2023-09-27
30
31
32
33
34
35
36
37
38
39
40

## ProcInspection (hidden)
Procurement Excel Wookbook Inspection
Date: | 2023-09-27 13:03
UserName: | alexandra.millar
Workbook Secure: | TRUE
HyperLinks List
| Worksheet Name | No of Embedded Documents | Is Worksheet Hidden | HyperLinks | Protected | External Excel Links | Worksheet Name | Cell Reference | HyperLink
| Cover Sheet | 0 | No | 0 | Yes
| Generic RFI Query Log | 0 | No | 0 | Yes