## Intro
Mid-Term (Y-1) Stability Market
Delivery Year 2025-2026
This document is purely for illustrative purposes, provided by ESO in good faith.
Introduction
This spreadsheet has been created to provide an illustration of how availability and utilisation payments will be calculated the procured stability service based on the formulae in the draft contract terms.
For ease of use, it calculates the formulae across each month, though in practice, this will be done per settlement period.
User guide
Cells highlighted in blue can be amended to create different scenarios. NOTE: The values currently entered are purely illustrative and should not be taken as a guide on what to submit in the tender.
For scenarios where only inertia will be tendered, ensure cells that reference SCL are set to 0.
All other cells contain formula that can be viewed to understand the payment calculation.
For each tab in this document, the terms in Column A are taken from the contract terms with a brief description in column B.
It is advised this document is used in conjunction with the draft contract to ensure full understanding.
Calculation methodology
Availabilty payment is calculated based on the number of settlement periods each component is made available and comparing the declared capability to the tendered values.
The unavailability charge applies where the contracted service is made available in fewer settlement periods than is required.
Each month, the unavailaiblity charge is netted off from the availability payment, but this is capped to the amount of the availability payment
Any unavailability charge that has not been netted off, is carried forward to future months
At the end of each contract year, if there is any unrecovered unavailability charge, this will be compared to the cashflow upto that point and may be payable by the provider where this is less than the cashflow.
Across a contract year, providers will never pay back more than they are owed, but could have a net cashflow position of £0.

## Availability
Constants | Note | Value
Tendered Inertia Capability | Capability Value submitted in Tender | 500
Tendered SCL Capability | Capability Value submitted in Tender | 0
Required Inertia Availability % | Fixed value for all | 90%
Required SCL Availability % | Fixed value for all | 0%
Contract Rate | £/SP | 300
BM Counterfactual | £ total | 3000000
UCm cap | £/day | 70000
|  | Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | Days | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
Term | Description | SP (∑jm) | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440
|  | 90% | 1296 | 1296 | 1296 | 1296 | 1296 | 1296 | 1296 | 1296 | 1296 | 1296 | 1296 | 1296
Actual Inertia Capability | The lower of the Contracted Inertia Capability and any value in a redeclaration |  | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
ACij | Actual Inertia Capability / Tendered Inertia Capability |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
ASCij | count of SPs where inertia is declared available |  | 500 | 1400 | 200 | 900 | 900 | 900 | 1000 | 1400 | 0 | 900 | 900 | 900
TAi | a factor of 0.7 if the value of ACij is less than 0.9, otherwise, equal to 1 | bar: 1 to 12
Actual SCL Capability | The lower of the Contracted SCL Capability and any value in a redeclaration |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACsj | Actual SCL Capability / Tendered SCL Capability |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ASCsj | count of SPs where SCL is declared available |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAs | a factor of 0.7 if the value of ACij is less than 0.9, otherwise, equal to 1 |  | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7
APd | a factor of 2 if Tendered Inertia Capability is >0, else 1 | bar: 1 to 12
CR | Contract Rate |  | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
| Inertia Availability Component |  | 1000 | 2800 | 400 | 1800 | 1800 | 1800 | 2000 | 2800 | 0 | 1800 | 1800 | 1800
| SCL Availability Component |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Contract Rate |  | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
APm | Availability Payment (Schedule D) |  | 300000 | 840000 | 120000 | 540000 | 540000 | 540000 | 600000 | 840000 | 0 | 540000 | 540000 | 540000
AAim | Actual Inertia Availability % |  | 0.34722 | 0.97222 | 0.13889 | 0.625 | 0.625 | 0.625 | 0.69444 | 0.97222 | 0 | 0.625 | 0.625 | 0.625
TAim | Target Inertia Availability % |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
| Inertia Availability Shortfall |  | -55.28% | 0% | -76.11% | -27.5% | -27.5% | -27.5% | -20.56% | 0% | -90% | -27.5% | -27.5% | -27.5%
| Inertia Unavailability Charge |  | -1658333.3333 | 0 | -2283333.3333 | -825000 | -825000 | -825000 | -616666.6667 | 0 | -2700000 | -825000 | -825000 | -825000
AAsm | Actual SCL Availability % |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAsm | Target SCL Availability % |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCL Availability Shortfall | bar: 1 to 12
| SCL Unavailability Charge |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Intial Unavailability Charge |  | -1658333.3333 | 0 | -2283333.3333 | -825000 | -825000 | -825000 | -616666.6667 | 0 | -2700000 | -825000 | -825000 | -825000
| UCm cap |  | -1160833.3333 | 0 | -1598333.3333 | -577500 | -577500 | -577500 | -431666.6667 | 0 | -1890000 | -577500 | -577500 | -577500
UCm | Total Unavailability Charge |  | -1160833.3333 | 0 | -1598333.3333 | -577500 | -577500 | -577500 | -431666.6667 | 0 | -1890000 | -577500 | -577500 | -577500
ULm | Unrecovered Availability Rebate (Sched D - A.2.3) |  | 0 | -1840833.3333 | -1000833.3333 | -2479166.6667 | -2516666.6667 | -2554166.6667 | -2591666.6667 | -2423333.3333 | -1583333.3333 | -3473333.3333 | -3510833.3333 | -3548333.3333
LADu | LAD for late start against contracted Start Date |  | -980000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ARm | Availability Rebate (Sched D - A.2.1) |  | -300000 | -840000 | -120000 | -540000 | -540000 | -540000 | -600000 | -840000 | 0 | -540000 | -540000 | -540000
Net Cashflow | Sum of monthly settlement payments prior to ARLfinal |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Reconciliation Payment
APy | sum of Availability Payment ESO owes each month |  | 1: 5940000
ARy | sum of Availability Rebate for each month |  | 1: -5940000
UCy | Sum of Unavailability Charge that providers owe each month |  | 1: -8545833.3333
LADy | LAD due during Contract year |  | 1: -980000
ARLfinal |  |  | 1: 0
Final Cashflow position | Net Cash Flow after deducting any ARLfinal amount |  | 1: 0

## LAD
Constants | Note | Value
Tendered Inertia Capability | Capability Value submitted in Tender | 1000
Required Inertia Availability % | Fixed value for all | 90%
Tendered SCL Capability | Capability Value submitted in Tender | 0
Required SCL Availability % | Fixed value for all | 0%
Contract Rate | £/SP | 400
BM Counterfactual | £ total | 3000000
LADu cap | £/day | 70000
|  | Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | Days | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
Term | Description | SP | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440
Days late | No of days late compared to service start |  | 14 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
BMa | Alternative BM cost for being late |  | 1400000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LADu cap | Cap of £70,000 per day |  | 980000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LADu charge | Realised late start fee |  | 980000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
`

## Utilisation
Constants | Note | Value
Utilisation Price | £/Hr | 200
Tendered Inertia Capability | Capability Value submitted in Tender | 1000
Tendered SCL Capability | Capability Value submitted in Tender | 0
|  | Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Term | Description | SP (∑Hm ) | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440 | 1440
ADi | represent that the Facility provided the instructed inertia service during each Hour H |  | 720 | 700 | 700 | 700 | 700 | 700 | 720 | 720 | 720 | 720 | 720 | 720
| Actual Inertia Capability |  | 900 | 800 | 800 | 1000 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
| Tendered Inertia Capability |  | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
AUi | Actual Inertia Capability of the Facility divided by the Tendered Inertia Capability |  | 0.9 | 0.8 | 0.8 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
ADs | represent that the Facility provided the instructed SCL service during each Hour H |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Actual SCL Capability |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Tendered SCL Capability |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AUs | Actual SCL Capability of the Facility divided by the Tendered SCL Capability |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
UR | Utilisation Fee |  | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
APd | 2 where both SCL and inertia are being contracted and procured, otherwise 1 | bar: 1 to 12
UPm | Utilisation Payment |  | 64800 | 56000 | 56000 | 70000 | 35000 | 35000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000

## ProcInspection (hidden)
Procurement Excel Wookbook Inspection
Date: | 2023-10-02 09:56
UserName: | alexandra.millar
Workbook Secure: | TRUE
HyperLinks List
| Worksheet Name | No of Embedded Documents | Is Worksheet Hidden | HyperLinks | Protected | External Excel Links | Worksheet Name | Cell Reference | HyperLink
| Intro | 0 | No | 0 | Yes
| Availability | 0 | No | 0 | Yes
| LAD | 0 | No | 0 | Yes
| Utilisation | 0 | No | 0 | Yes