## Notes
June 2020 indicative
Data is based on indicative banding as at June 2020
| • | Banding determined in line with the DCP358 legal text submitted to the Authority for decision
| • | NHH annual consumption using the May data from the NHHDAs, supplemented with data from earlier information
| • | Excluded ‘related’ Metering System (off-peak) consumption if not combined with the primary Metering System
| • | HH annual consumption based on metered 2018/19 and 2019/20 data, provided by ElectraLink
| • | MIC based on that billed by distributors in April 2020
| • | EHV excludes Final Demand Sites that are included in charge setting assumptions but have not yet connected
| • | For LV and HV, all Single Sites have been assumed to be a Final Demand Site other than those identified as an Eligible Electricity Storage Facility consistent with DCP341/342
| • | For EHV distributors have used reasonable endeavours to exclude expected Non-Final Demand Sites
Charges are based on 2021/22 published DUoS data, and estimated TNUoS data
All is subject to change

## Ofgem IA
Ofgem Impact Assessment
Voltage and band |  |  |  | ENWL | NPgN | NPgY | SPMW | SPD | SSES | SSEH | EPN | LPN | SPN | EMID | WMID | SWALES | SWEST | TNUoS
|  |  |  | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | Transmission
LV | Domestic |  |  | 18.9358 | 33.3465 | 31.3829 | 40.2835 | 36.9813 | 18.148 | 51.1003 | 3.9925 | -9.0175 | 14.4607 | 30.8835 | 36.5335 | 43.2612 | 49.1602 | 34.0439
| LV no MIC (kWh) | 0 | 5403 | 10.094 | 19.4396 | 18.9692 | 24.393 | 23.9431 | 9.0589 | 23.3614 | 2.1056 | -4.437 | 6.8084 | 18.18 | 19.4021 | 24.5286 | 23.1637 | 18.1325
|  | 5403 | 17538 | 49.6044 | 95.5311 | 93.2194 | 119.8733 | 117.6622 | 44.5176 | 114.8038 | 10.3476 | -21.8047 | 33.4581 | 89.3412 | 95.3466 | 120.5395 | 113.8322 | 89.1074
|  | 17538 | 33559 | 115.4391 | 222.3192 | 216.9395 | 278.9684 | 273.8226 | 103.6011 | 267.1706 | 24.0808 | -50.7437 | 77.8634 | 207.9141 | 221.8899 | 280.5186 | 264.9094 | 207.3702
|  | 33559 | ∞ | 327.8293 | 631.3526 | 616.075 | 792.2276 | 777.6144 | 294.2114 | 758.7235 | 68.3857 | -144.1044 | 221.1202 | 590.4443 | 630.1332 | 796.63 | 752.3022 | 588.8997
| LV MIC (kVA) | 0 | 80 | 543.9855 | 904.9533 | 911.3254 | 1442.3058 | 1366.3738 | 504.9558 | 1350.1334 | 160.4881 | -409.4672 | 565.5343 | 878.8535 | 1009.5514 | 1325.6332 | 1270.2292 | 1087.7072
|  | 80 | 150 | 1061.8688 | 2096.5809 | 1782.2845 | 2817.3377 | 2442.9489 | 952.1034 | 2569.9618 | 233.913 | -604.3138 | 953.5786 | 1568.2097 | 1874.0493 | 2787.5463 | 2590.0915 | 1953.3027
|  | 150 | 225 | 1744.2634 | 3142.1774 | 2783.518 | 4316.274 | 4015.6535 | 1462.3062 | 4180.4146 | 377.3753 | -1058.5574 | 1503.1248 | 2481.701 | 2843.6788 | 4218.5996 | 4106.8695 | 3125.4183
|  | 225 | ∞ | 3889.2674 | 8221.6668 | 5784.9058 | 10074.1557 | 8733.8042 | 3798.6999 | 9668.5209 | 714.4613 | -2804.3565 | 3254.1692 | 5000.6653 | 4801.696 | 10650.151 | 8452.8913 | 7214.6728
HV | HV (kVA) | 0 | 400 | 2317.7827 | 5033.6364 | 4606.9117 | 5804.5087 | 4429.0777 | 2279.8388 | 2425.1741 | 761.2512 | -2860.0995 | 2729.8431 | 3652.409 | 4183.311 | 3634.6218 | 8427.3192 | 4455.5245
|  | 400 | 900 | 8192.1796 | 16507.993 | 15849.001 | 20176.5187 | 20959.1573 | 7364.6435 | 18663.9875 | 2023.1312 | -5715.9439 | 7396.3537 | 12755.2381 | 13695.7043 | 20580.9951 | 33679.5982 | 16164.0807
|  | 900 | 1600 | 15229.2009 | 29222.4047 | 27743.0162 | 43406.2044 | 36141.138 | 12626.0254 | 31947.8069 | 3420.3516 | -8620.8137 | 11185.115 | 24360.0599 | 27465.3557 | 40833.6597 | 69652.0514 | 29492.2366
|  | 1600 | ∞ | 41988.9846 | 80764.5294 | 77521.4048 | 89141.1384 | 111610.9743 | 36058.5791 | 87417.4282 | 9768.057 | -25658.3939 | 33530.5152 | 74782.9652 | 93257.701 | 102557.8047 | 191321.8201 | 85090.958
EHV | EHV (kVA) | 0 | 2200 | 6982.262 | 3572.0331 | 2508.0421 | 19705.5513 | 2249.9505 | 290.2193 | 2650.3992 | 6137.8168 | 1484.7754 | 1846.1552 | 2429.0035 | 3075.9865 | 1943.2265 | 728.8705 | 12291.5648
|  | 2200 | 10000 | 47502.2348 | 17105.5707 | 27856.8055 | 70451.2504 | 29252.4471 | 10244.2509 | 31108.6411 | 20317.068 | 6713.2774 | 25654.2405 | 39864.2802 | 19986.0491 | 52243.6273 | 39955.012 | 127330.7694
|  | 10000 | 19090 | 142616.3263 | 35838.4411 | 100315.0831 | 171431.0623 | 101215.5289 | 25800.7354 | 13501.7567 | 69639.5891 | 17628.5414 | 59940.0784 | 88786.9119 | 63747.968 | 169287.5401 | 63453.6094 | 342164.8413
|  | 19090 | ∞ | 446184.6494 | 170934.4732 | 238848.2727 | 414734.3475 | 91783.3966 | 61690.2571 | 79036.1434 | 132138.1952 | 81804.4846 | 104539.4802 | 244299.154 | 309518.4261 | 544564.1841 | 79786.2619 | 894403.7216
Transmission-connected |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 549122.7487

## Jun-20
Jun-20 indicative
Voltage and band |  |  |  | ENWL | NPgN | NPgY | SPMW | SPD | SSES | SSEH | EPN | LPN | SPN | EMID | WMID | SWALES | SWEST | TNUoS
|  |  |  | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | NPgN | Transmission
LV | Domestic |  |  | 15.4239 | 35.2938 | 32.4412 | 43.1195 | 36.0152 | 16.6724 | 56.1075 | 6.3893 | -8.9421 | 20.0583 | 29.8385 | 37.6012 | 38.1422 | 48.0322 | 27.0396
| LV no MIC (kWh) | 0 | 4248 | 7.9899 | 19.8324 | 17.9268 | 23.5732 | 19.3549 | 6.4353 | 18.1392 | 2.4323 | -3.5365 | 8.1056 | 14.4972 | 17.5535 | 20.1589 | 20.4248 | 12.0352
|  | 4248 | 14178 | 38.3904 | 98.7544 | 85.0151 | 109.7056 | 91.9263 | 34.6591 | 97.8392 | 14.4221 | -24.1176 | 50.9416 | 69.7028 | 87.7345 | 99.0727 | 107.918 | 64.9553
|  | 14178 | 28836 | 90.9752 | 238.2182 | 205.3887 | 267.6888 | 222.0922 | 84.7215 | 233.2632 | 34.3658 | -55.8891 | 123.2373 | 171.8903 | 210.4545 | 240.7675 | 259.504 | 155.8528
|  | 28836 | ∞ | 272.6628 | 704.0785 | 617.7966 | 891.2718 | 719.5202 | 273.1858 | 756.1438 | 111.5394 | -182.529 | 381.0363 | 523.2945 | 640.2947 | 723.0509 | 804.4215 | 488.4781
| LV MIC (kVA) | 0 | 82 | 473.4204 | 1019.9365 | 921.5107 | 1509.9327 | 1348.732 | 434.9113 | 1227.0575 | 242.4895 | -376.6343 | 729.0559 | 898.1581 | 1107.6948 | 1160.3519 | 1330.2862 | 847.7899
|  | 82 | 150 | 846.5459 | 2326.5823 | 1902.1143 | 3016.096 | 2448.385 | 815.4668 | 2358.5772 | 353.2983 | -556.1595 | 1228.8067 | 1574.1303 | 2057.1035 | 2392.1796 | 2609.1258 | 1543.9377
|  | 150 | 230 | 1388.4675 | 3591.9262 | 2991.0336 | 4654.0631 | 4162.3873 | 1276.3469 | 3912.5325 | 576.566 | -979.1067 | 1929.8426 | 2526.9812 | 3180.3395 | 3773.1835 | 4094.3543 | 2476.0612
|  | 230 | ∞ | 3050.1122 | 9142.4591 | 6084.9831 | 10825.1425 | 8851.4774 | 3348.4028 | 9101.2524 | 1083.9272 | -2589.8755 | 4237.4696 | 5069.7114 | 5372.1592 | 9003.6501 | 8710.0341 | 5634.8465
HV | HV (kVA) | 0 | 425 | 2253.1523 | 5792.3838 | 5159.5251 | 6853.2658 | 4694.8632 | 1922.4948 | 2373.0665 | 1219.6985 | -2453.0726 | 3905.2885 | 3802.5586 | 4698.2752 | 3691.9107 | 5623.3094 | 3657.8875
|  | 425 | 1000 | 7496.7513 | 19282.6794 | 17075.5421 | 23955.5803 | 20335.4546 | 6337.1016 | 17647.7026 | 3119.9772 | -5061.4482 | 10355.1229 | 13390.3366 | 15969.4363 | 20396.7782 | 20562.1778 | 12779.8651
|  | 1000 | 1800 | 15282.4191 | 37862.3168 | 35172.9515 | 54582.0238 | 39770.6284 | 12279.0136 | 38512.5295 | 6464.2369 | -8377.954 | 17310.2509 | 30187.2971 | 35277.4582 | 39971.6814 | 43551.3581 | 26066.994
|  | 1800 | ∞ | 39922.3299 | 94577.3302 | 87344.1147 | 101457.8721 | 105425.1237 | 40082.1408 | 78418.8302 | 15650.5919 | -23028.0315 | 47432.5146 | 78888.7779 | 107181.6085 | 91668.631 | 111147.1123 | 68296.877
EHV | EHV (kVA) | 0 | 4000 | 12543.6306 | 8023.7388 | 8781.3981 | 31741.9587 | 11092.8371 | 6169.7322 | 3955.0246 | 8272.8144 | 1564.9961 | 1383.2291 | 25139.9743 | 11763.2324 | 14998.1481 | 13958.8486 | 30397.8156
|  | 4000 | 12000 | 83004.0344 | 39579.0599 | 59587.1853 | 106813.6305 | 44077.2645 | 47771.4773 | 58984.5517 | 29585.9614 | 15397.2413 | 21348.2415 | 71116.5409 | 55022.5855 | 51584.1778 | 49956.4021 | 156057.1195
|  | 12000 | 20000 | 156777.5033 | 78767.2189 | 133911.8157 | 267425.3541 | 104583.2334 | 80275.8433 | 60403.1961 | 57742.6636 | 27593.9192 | 53859.8074 | 87905.4033 | 102219.7724 | 127492.5108 | 47360.8159 | 328651.4719
|  | 20000 | ∞ | 219852.5522 | 241027.6564 | 273077.5939 | 574625.5327 | 107471.7422 | 325929.8203 | 60403.1961 | 114184.6705 | 95259.9403 | 92114.3407 | 244079.3562 | 643838.8652 | 394231.8731 | 67245.5556 | 817126.3752
Transmission-connected |  |  |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 675605.1087

## ENWL
ENWL
Voltage and band |  |  |  | Jun-20 indicative |  |  | Ofgem Impact Assessment |  |  | Variance (£) |  |  | Variance (%)
|  |  |  | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total
LV | Domestic |  |  | 15.4239 | 27.0396 | 42.4636 | 18.9358 | 34.0439 | 52.9797 | -3.5118 | -7.0043 | -10.5161 | -18.55% | -20.57% | -19.85%
| LV no MIC (kWh) | 0 | 4248 | 7.9899 | 12.0352 | 20.0251 | 10.094 | 18.1325 | 28.2265 | -2.1041 | -6.0972 | -8.2013 | -20.85% | -33.63% | -29.06%
|  | 4248 | 14178 | 38.3904 | 64.9553 | 103.3458 | 49.6044 | 89.1074 | 138.7119 | -11.214 | -24.1521 | -35.3661 | -22.61% | -27.1% | -25.5%
|  | 14178 | 28836 | 90.9752 | 155.8528 | 246.828 | 115.4391 | 207.3702 | 322.8093 | -24.4639 | -51.5174 | -75.9813 | -21.19% | -24.84% | -23.54%
|  | 28836 | ∞ | 272.6628 | 488.4781 | 761.1409 | 327.8293 | 588.8997 | 916.729 | -55.1665 | -100.4216 | -155.5881 | -16.83% | -17.05% | -16.97%
| LV MIC (kVA) | 0 | 82 | 473.4204 | 847.7899 | 1321.2104 | 543.9855 | 1087.7072 | 1631.6927 | -70.5651 | -239.9173 | -310.4824 | -12.97% | -22.06% | -19.03%
|  | 82 | 150 | 846.5459 | 1543.9377 | 2390.4836 | 1061.8688 | 1953.3027 | 3015.1715 | -215.3229 | -409.3649 | -624.6878 | -20.28% | -20.96% | -20.72%
|  | 150 | 230 | 1388.4675 | 2476.0612 | 3864.5287 | 1744.2634 | 3125.4183 | 4869.6816 | -355.7959 | -649.3571 | -1005.1529 | -20.4% | -20.78% | -20.64%
|  | 230 | ∞ | 3050.1122 | 5634.8465 | 8684.9587 | 3889.2674 | 7214.6728 | 11103.9401 | -839.1552 | -1579.8263 | -2418.9814 | -21.58% | -21.9% | -21.78%
HV | HV (kVA) | 0 | 425 | 2253.1523 | 3657.8875 | 5911.0398 | 2317.7827 | 4455.5245 | 6773.3072 | -64.6304 | -797.637 | -862.2674 | -2.788% | -17.9% | -12.73%
|  | 425 | 1000 | 7496.7513 | 12779.8651 | 20276.6165 | 8192.1796 | 16164.0807 | 24356.2603 | -695.4283 | -3384.2156 | -4079.6439 | -8.489% | -20.94% | -16.75%
|  | 1000 | 1800 | 15282.4191 | 26066.994 | 41349.4131 | 15229.2009 | 29492.2366 | 44721.4375 | 53.2182 | -3425.2426 | -3372.0244 | 0.3494% | -11.61% | -7.54%
|  | 1800 | ∞ | 39922.3299 | 68296.877 | 108219.2069 | 41988.9846 | 85090.958 | 127079.9426 | -2066.6547 | -16794.081 | -18860.7357 | -4.922% | -19.74% | -14.84%
EHV | EHV (kVA) | 0 | 4000 | 12543.6306 | 30397.8156 | 42941.4462 | 6982.262 | 12291.5648 | 19273.8268 | 5561.3686 | 18106.2508 | 23667.6193 | 79.65% | 147.3% | 122.8%
|  | 4000 | 12000 | 83004.0344 | 156057.1195 | 239061.1539 | 47502.2348 | 127330.7694 | 174833.0042 | 35501.7996 | 28726.3501 | 64228.1497 | 74.74% | 22.56% | 36.74%
|  | 12000 | 20000 | 156777.5033 | 328651.4719 | 485428.9752 | 142616.3263 | 342164.8413 | 484781.1675 | 14161.1771 | -13513.3694 | 647.8077 | 9.93% | -3.949% | 0.1336%
|  | 20000 | ∞ | 219852.5522 | 817126.3752 | 1036978.9275 | 446184.6494 | 894403.7216 | 1340588.371 | -226332.0972 | -77277.3463 | -303609.4435 | -50.73% | -8.64% | -22.65%
Transmission-connected |  |  |  | 0 | 675605.1087 | 675605.1087 | 0 | 549122.7487 | 549122.7487 | 0 | 126482.36 | 126482.36 | 0% | 23.03% | 23.03%

## NPgN
NPgN
Voltage and band |  |  |  | Jun-20 indicative |  |  | Ofgem Impact Assessment |  |  | Variance (£) |  |  | Variance (%)
|  |  |  | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total
LV | Domestic |  |  | 35.2938 | 27.0396 | 62.3334 | 33.3465 | 34.0439 | 67.3905 | 1.9473 | -7.0043 | -5.057 | 5.839% | -20.57% | -7.504%
| LV no MIC (kWh) | 0 | 4248 | 19.8324 | 12.0352 | 31.8676 | 19.4396 | 18.1325 | 37.5721 | 0.39274 | -6.0972 | -5.7045 | 2.02% | -33.63% | -15.18%
|  | 4248 | 14178 | 98.7544 | 64.9553 | 163.7097 | 95.5311 | 89.1074 | 184.6385 | 3.2233 | -24.1521 | -20.9288 | 3.374% | -27.1% | -11.33%
|  | 14178 | 28836 | 238.2182 | 155.8528 | 394.071 | 222.3192 | 207.3702 | 429.6894 | 15.899 | -51.5174 | -35.6185 | 7.151% | -24.84% | -8.289%
|  | 28836 | ∞ | 704.0785 | 488.4781 | 1192.5566 | 631.3526 | 588.8997 | 1220.2523 | 72.726 | -100.4216 | -27.6956 | 11.52% | -17.05% | -2.27%
| LV MIC (kVA) | 0 | 82 | 1019.9365 | 847.7899 | 1867.7265 | 904.9533 | 1087.7072 | 1992.6605 | 114.9832 | -239.9173 | -124.934 | 12.71% | -22.06% | -6.27%
|  | 82 | 150 | 2326.5823 | 1543.9377 | 3870.52 | 2096.5809 | 1953.3027 | 4049.8836 | 230.0014 | -409.3649 | -179.3635 | 10.97% | -20.96% | -4.429%
|  | 150 | 230 | 3591.9262 | 2476.0612 | 6067.9874 | 3142.1774 | 3125.4183 | 6267.5956 | 449.7488 | -649.3571 | -199.6083 | 14.31% | -20.78% | -3.185%
|  | 230 | ∞ | 9142.4591 | 5634.8465 | 14777.3056 | 8221.6668 | 7214.6728 | 15436.3395 | 920.7923 | -1579.8263 | -659.034 | 11.2% | -21.9% | -4.269%
HV | HV (kVA) | 0 | 425 | 5792.3838 | 3657.8875 | 9450.2713 | 5033.6364 | 4455.5245 | 9489.161 | 758.7474 | -797.637 | -38.8897 | 15.07% | -17.9% | -0.4098%
|  | 425 | 1000 | 19282.6794 | 12779.8651 | 32062.5445 | 16507.993 | 16164.0807 | 32672.0738 | 2774.6864 | -3384.2156 | -609.5292 | 16.81% | -20.94% | -1.866%
|  | 1000 | 1800 | 37862.3168 | 26066.994 | 63929.3108 | 29222.4047 | 29492.2366 | 58714.6413 | 8639.9121 | -3425.2426 | 5214.6696 | 29.57% | -11.61% | 8.881%
|  | 1800 | ∞ | 94577.3302 | 68296.877 | 162874.2073 | 80764.5294 | 85090.958 | 165855.4874 | 13812.8008 | -16794.081 | -2981.2802 | 17.1% | -19.74% | -1.798%
EHV | EHV (kVA) | 0 | 4000 | 8023.7388 | 30397.8156 | 38421.5544 | 3572.0331 | 12291.5648 | 15863.5979 | 4451.7058 | 18106.2508 | 22557.9565 | 124.6% | 147.3% | 142.2%
|  | 4000 | 12000 | 39579.0599 | 156057.1195 | 195636.1793 | 17105.5707 | 127330.7694 | 144436.34 | 22473.4892 | 28726.3501 | 51199.8393 | 131.4% | 22.56% | 35.45%
|  | 12000 | 20000 | 78767.2189 | 328651.4719 | 407418.6908 | 35838.4411 | 342164.8413 | 378003.2824 | 42928.7778 | -13513.3694 | 29415.4084 | 119.8% | -3.949% | 7.782%
|  | 20000 | ∞ | 241027.6564 | 817126.3752 | 1058154.0317 | 170934.4732 | 894403.7216 | 1065338.1948 | 70093.1832 | -77277.3463 | -7184.1631 | 41.01% | -8.64% | -0.6744%
Transmission-connected |  |  |  | 0 | 675605.1087 | 675605.1087 | 0 | 549122.7487 | 549122.7487 | 0 | 126482.36 | 126482.36 | 0% | 23.03% | 23.03%

## NPgY
NPgY
Voltage and band |  |  |  | Jun-20 indicative |  |  | Ofgem Impact Assessment |  |  | Variance (£) |  |  | Variance (%)
|  |  |  | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total
LV | Domestic |  |  | 32.4412 | 27.0396 | 59.4809 | 31.3829 | 34.0439 | 65.4269 | 1.0583 | -7.0043 | -5.946 | 3.372% | -20.57% | -9.088%
| LV no MIC (kWh) | 0 | 4248 | 17.9268 | 12.0352 | 29.9621 | 18.9692 | 18.1325 | 37.1017 | -1.0424 | -6.0972 | -7.1396 | -5.495% | -33.63% | -19.24%
|  | 4248 | 14178 | 85.0151 | 64.9553 | 149.9704 | 93.2194 | 89.1074 | 182.3268 | -8.2043 | -24.1521 | -32.3564 | -8.801% | -27.1% | -17.75%
|  | 14178 | 28836 | 205.3887 | 155.8528 | 361.2415 | 216.9395 | 207.3702 | 424.3097 | -11.5508 | -51.5174 | -63.0682 | -5.324% | -24.84% | -14.86%
|  | 28836 | ∞ | 617.7966 | 488.4781 | 1106.2747 | 616.075 | 588.8997 | 1204.9747 | 1.7216 | -100.4216 | -98.7 | 0.2794% | -17.05% | -8.191%
| LV MIC (kVA) | 0 | 82 | 921.5107 | 847.7899 | 1769.3007 | 911.3254 | 1087.7072 | 1999.0326 | 10.1853 | -239.9173 | -229.732 | 1.118% | -22.06% | -11.49%
|  | 82 | 150 | 1902.1143 | 1543.9377 | 3446.052 | 1782.2845 | 1953.3027 | 3735.5871 | 119.8298 | -409.3649 | -289.5351 | 6.723% | -20.96% | -7.751%
|  | 150 | 230 | 2991.0336 | 2476.0612 | 5467.0948 | 2783.518 | 3125.4183 | 5908.9363 | 207.5156 | -649.3571 | -441.8414 | 7.455% | -20.78% | -7.478%
|  | 230 | ∞ | 6084.9831 | 5634.8465 | 11719.8296 | 5784.9058 | 7214.6728 | 12999.5786 | 300.0772 | -1579.8263 | -1279.749 | 5.187% | -21.9% | -9.845%
HV | HV (kVA) | 0 | 425 | 5159.5251 | 3657.8875 | 8817.4126 | 4606.9117 | 4455.5245 | 9062.4363 | 552.6133 | -797.637 | -245.0237 | 12% | -17.9% | -2.704%
|  | 425 | 1000 | 17075.5421 | 12779.8651 | 29855.4073 | 15849.001 | 16164.0807 | 32013.0817 | 1226.5411 | -3384.2156 | -2157.6745 | 7.739% | -20.94% | -6.74%
|  | 1000 | 1800 | 35172.9515 | 26066.994 | 61239.9455 | 27743.0162 | 29492.2366 | 57235.2528 | 7429.9353 | -3425.2426 | 4004.6927 | 26.78% | -11.61% | 6.997%
|  | 1800 | ∞ | 87344.1147 | 68296.877 | 155640.9918 | 77521.4048 | 85090.958 | 162612.3628 | 9822.7099 | -16794.081 | -6971.3711 | 12.67% | -19.74% | -4.287%
EHV | EHV (kVA) | 0 | 4000 | 8781.3981 | 30397.8156 | 39179.2137 | 2508.0421 | 12291.5648 | 14799.6069 | 6273.3561 | 18106.2508 | 24379.6068 | 250.1% | 147.3% | 164.7%
|  | 4000 | 12000 | 59587.1853 | 156057.1195 | 215644.3048 | 27856.8055 | 127330.7694 | 155187.5749 | 31730.3798 | 28726.3501 | 60456.7299 | 113.9% | 22.56% | 38.96%
|  | 12000 | 20000 | 133911.8157 | 328651.4719 | 462563.2876 | 100315.0831 | 342164.8413 | 442479.9243 | 33596.7326 | -13513.3694 | 20083.3632 | 33.49% | -3.949% | 4.539%
|  | 20000 | ∞ | 273077.5939 | 817126.3752 | 1090203.9691 | 238848.2727 | 894403.7216 | 1133251.9942 | 34229.3212 | -77277.3463 | -43048.0251 | 14.33% | -8.64% | -3.799%
Transmission-connected |  |  |  | 0 | 675605.1087 | 675605.1087 | 0 | 549122.7487 | 549122.7487 | 0 | 126482.36 | 126482.36 | 0% | 23.03% | 23.03%

## SPMW
SPMW
Voltage and band |  |  |  | Jun-20 indicative |  |  | Ofgem Impact Assessment |  |  | Variance (£) |  |  | Variance (%)
|  |  |  | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total
LV | Domestic |  |  | 43.1195 | 27.0396 | 70.1591 | 40.2835 | 34.0439 | 74.3274 | 2.836 | -7.0043 | -4.1683 | 7.04% | -20.57% | -5.608%
| LV no MIC (kWh) | 0 | 4248 | 23.5732 | 12.0352 | 35.6084 | 24.393 | 18.1325 | 42.5255 | -0.81987 | -6.0972 | -6.9171 | -3.361% | -33.63% | -16.27%
|  | 4248 | 14178 | 109.7056 | 64.9553 | 174.661 | 119.8733 | 89.1074 | 208.9808 | -10.1677 | -24.1521 | -34.3198 | -8.482% | -27.1% | -16.42%
|  | 14178 | 28836 | 267.6888 | 155.8528 | 423.5416 | 278.9684 | 207.3702 | 486.3386 | -11.2796 | -51.5174 | -62.797 | -4.043% | -24.84% | -12.91%
|  | 28836 | ∞ | 891.2718 | 488.4781 | 1379.7499 | 792.2276 | 588.8997 | 1381.1272 | 99.0443 | -100.4216 | -1.3773 | 12.5% | -17.05% | -0.09972%
| LV MIC (kVA) | 0 | 82 | 1509.9327 | 847.7899 | 2357.7226 | 1442.3058 | 1087.7072 | 2530.013 | 67.6269 | -239.9173 | -172.2903 | 4.689% | -22.06% | -6.81%
|  | 82 | 150 | 3016.096 | 1543.9377 | 4560.0338 | 2817.3377 | 1953.3027 | 4770.6404 | 198.7583 | -409.3649 | -210.6067 | 7.055% | -20.96% | -4.415%
|  | 150 | 230 | 4654.0631 | 2476.0612 | 7130.1243 | 4316.274 | 3125.4183 | 7441.6923 | 337.7891 | -649.3571 | -311.568 | 7.826% | -20.78% | -4.187%
|  | 230 | ∞ | 10825.1425 | 5634.8465 | 16459.989 | 10074.1557 | 7214.6728 | 17288.8285 | 750.9868 | -1579.8263 | -828.8395 | 7.455% | -21.9% | -4.794%
HV | HV (kVA) | 0 | 425 | 6853.2658 | 3657.8875 | 10511.1533 | 5804.5087 | 4455.5245 | 10260.0333 | 1048.757 | -797.637 | 251.12 | 18.07% | -17.9% | 2.448%
|  | 425 | 1000 | 23955.5803 | 12779.8651 | 36735.4454 | 20176.5187 | 16164.0807 | 36340.5994 | 3779.0616 | -3384.2156 | 394.846 | 18.73% | -20.94% | 1.087%
|  | 1000 | 1800 | 54582.0238 | 26066.994 | 80649.0179 | 43406.2044 | 29492.2366 | 72898.441 | 11175.8194 | -3425.2426 | 7750.5769 | 25.75% | -11.61% | 10.63%
|  | 1800 | ∞ | 101457.8721 | 68296.877 | 169754.7492 | 89141.1384 | 85090.958 | 174232.0965 | 12316.7337 | -16794.081 | -4477.3473 | 13.82% | -19.74% | -2.57%
EHV | EHV (kVA) | 0 | 4000 | 31741.9587 | 30397.8156 | 62139.7743 | 19705.5513 | 12291.5648 | 31997.1161 | 12036.4074 | 18106.2508 | 30142.6582 | 61.08% | 147.3% | 94.2%
|  | 4000 | 12000 | 106813.6305 | 156057.1195 | 262870.75 | 70451.2504 | 127330.7694 | 197782.0197 | 36362.3801 | 28726.3501 | 65088.7302 | 51.61% | 22.56% | 32.91%
|  | 12000 | 20000 | 267425.3541 | 328651.4719 | 596076.826 | 171431.0623 | 342164.8413 | 513595.9036 | 95994.2918 | -13513.3694 | 82480.9224 | 56% | -3.949% | 16.06%
|  | 20000 | ∞ | 574625.5327 | 817126.3752 | 1391751.9079 | 414734.3475 | 894403.7216 | 1309138.0691 | 159891.1852 | -77277.3463 | 82613.8388 | 38.55% | -8.64% | 6.311%
Transmission-connected |  |  |  | 0 | 675605.1087 | 675605.1087 | 0 | 549122.7487 | 549122.7487 | 0 | 126482.36 | 126482.36 | 0% | 23.03% | 23.03%

## SPD
SPD
Voltage and band |  |  |  | Jun-20 indicative |  |  | Ofgem Impact Assessment |  |  | Variance (£) |  |  | Variance (%)
|  |  |  | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total
LV | Domestic |  |  | 36.0152 | 27.0396 | 63.0548 | 36.9813 | 34.0439 | 71.0253 | -0.96612 | -7.0043 | -7.9704 | -2.612% | -20.57% | -11.22%
| LV no MIC (kWh) | 0 | 4248 | 19.3549 | 12.0352 | 31.3901 | 23.9431 | 18.1325 | 42.0756 | -4.5882 | -6.0972 | -10.6854 | -19.16% | -33.63% | -25.4%
|  | 4248 | 14178 | 91.9263 | 64.9553 | 156.8817 | 117.6622 | 89.1074 | 206.7696 | -25.7359 | -24.1521 | -49.888 | -21.87% | -27.1% | -24.13%
|  | 14178 | 28836 | 222.0922 | 155.8528 | 377.945 | 273.8226 | 207.3702 | 481.1928 | -51.7304 | -51.5174 | -103.2478 | -18.89% | -24.84% | -21.46%
|  | 28836 | ∞ | 719.5202 | 488.4781 | 1207.9983 | 777.6144 | 588.8997 | 1366.514 | -58.0941 | -100.4216 | -158.5157 | -7.471% | -17.05% | -11.6%
| LV MIC (kVA) | 0 | 82 | 1348.732 | 847.7899 | 2196.5219 | 1366.3738 | 1087.7072 | 2454.0811 | -17.6419 | -239.9173 | -257.5592 | -1.291% | -22.06% | -10.5%
|  | 82 | 150 | 2448.385 | 1543.9377 | 3992.3228 | 2442.9489 | 1953.3027 | 4396.2516 | 5.4361 | -409.3649 | -403.9288 | 0.2225% | -20.96% | -9.188%
|  | 150 | 230 | 4162.3873 | 2476.0612 | 6638.4485 | 4015.6535 | 3125.4183 | 7141.0717 | 146.7338 | -649.3571 | -502.6232 | 3.654% | -20.78% | -7.038%
|  | 230 | ∞ | 8851.4774 | 5634.8465 | 14486.3239 | 8733.8042 | 7214.6728 | 15948.477 | 117.6732 | -1579.8263 | -1462.1531 | 1.347% | -21.9% | -9.168%
HV | HV (kVA) | 0 | 425 | 4694.8632 | 3657.8875 | 8352.7507 | 4429.0777 | 4455.5245 | 8884.6023 | 265.7855 | -797.637 | -531.8516 | 6.001% | -17.9% | -5.986%
|  | 425 | 1000 | 20335.4546 | 12779.8651 | 33115.3197 | 20959.1573 | 16164.0807 | 37123.2381 | -623.7027 | -3384.2156 | -4007.9184 | -2.976% | -20.94% | -10.8%
|  | 1000 | 1800 | 39770.6284 | 26066.994 | 65837.6225 | 36141.138 | 29492.2366 | 65633.3746 | 3629.4904 | -3425.2426 | 204.2479 | 10.04% | -11.61% | 0.3112%
|  | 1800 | ∞ | 105425.1237 | 68296.877 | 173722.0008 | 111610.9743 | 85090.958 | 196701.9323 | -6185.8505 | -16794.081 | -22979.9315 | -5.542% | -19.74% | -11.68%
EHV | EHV (kVA) | 0 | 4000 | 11092.8371 | 30397.8156 | 41490.6527 | 2249.9505 | 12291.5648 | 14541.5153 | 8842.8866 | 18106.2508 | 26949.1373 | 393% | 147.3% | 185.3%
|  | 4000 | 12000 | 44077.2645 | 156057.1195 | 200134.3839 | 29252.4471 | 127330.7694 | 156583.2165 | 14824.8174 | 28726.3501 | 43551.1675 | 50.68% | 22.56% | 27.81%
|  | 12000 | 20000 | 104583.2334 | 328651.4719 | 433234.7052 | 101215.5289 | 342164.8413 | 443380.3702 | 3367.7045 | -13513.3694 | -10145.665 | 3.327% | -3.949% | -2.288%
|  | 20000 | ∞ | 107471.7422 | 817126.3752 | 924598.1174 | 91783.3966 | 894403.7216 | 986187.1181 | 15688.3456 | -77277.3463 | -61589.0007 | 17.09% | -8.64% | -6.245%
Transmission-connected |  |  |  | 0 | 675605.1087 | 675605.1087 | 0 | 549122.7487 | 549122.7487 | 0 | 126482.36 | 126482.36 | 0% | 23.03% | 23.03%

## SSES
SSES
Voltage and band |  |  |  | Jun-20 indicative |  |  | Ofgem Impact Assessment |  |  | Variance (£) |  |  | Variance (%)
|  |  |  | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total
LV | Domestic |  |  | 16.6724 | 27.0396 | 43.712 | 18.148 | 34.0439 | 52.1919 | -1.4756 | -7.0043 | -8.4799 | -8.131% | -20.57% | -16.25%
| LV no MIC (kWh) | 0 | 4248 | 6.4353 | 12.0352 | 18.4705 | 9.0589 | 18.1325 | 27.1914 | -2.6236 | -6.0972 | -8.7208 | -28.96% | -33.63% | -32.07%
|  | 4248 | 14178 | 34.6591 | 64.9553 | 99.6145 | 44.5176 | 89.1074 | 133.6251 | -9.8585 | -24.1521 | -34.0106 | -22.15% | -27.1% | -25.45%
|  | 14178 | 28836 | 84.7215 | 155.8528 | 240.5743 | 103.6011 | 207.3702 | 310.9714 | -18.8796 | -51.5174 | -70.3971 | -18.22% | -24.84% | -22.64%
|  | 28836 | ∞ | 273.1858 | 488.4781 | 761.6639 | 294.2114 | 588.8997 | 883.111 | -21.0256 | -100.4216 | -121.4471 | -7.146% | -17.05% | -13.75%
| LV MIC (kVA) | 0 | 82 | 434.9113 | 847.7899 | 1282.7013 | 504.9558 | 1087.7072 | 1592.6631 | -70.0445 | -239.9173 | -309.9618 | -13.87% | -22.06% | -19.46%
|  | 82 | 150 | 815.4668 | 1543.9377 | 2359.4045 | 952.1034 | 1953.3027 | 2905.4061 | -136.6366 | -409.3649 | -546.0015 | -14.35% | -20.96% | -18.79%
|  | 150 | 230 | 1276.3469 | 2476.0612 | 3752.4081 | 1462.3062 | 3125.4183 | 4587.7245 | -185.9594 | -649.3571 | -835.3164 | -12.72% | -20.78% | -18.21%
|  | 230 | ∞ | 3348.4028 | 5634.8465 | 8983.2493 | 3798.6999 | 7214.6728 | 11013.3727 | -450.2971 | -1579.8263 | -2030.1234 | -11.85% | -21.9% | -18.43%
HV | HV (kVA) | 0 | 425 | 1922.4948 | 3657.8875 | 5580.3823 | 2279.8388 | 4455.5245 | 6735.3634 | -357.3441 | -797.637 | -1154.9811 | -15.67% | -17.9% | -17.15%
|  | 425 | 1000 | 6337.1016 | 12779.8651 | 19116.9668 | 7364.6435 | 16164.0807 | 23528.7242 | -1027.5418 | -3384.2156 | -4411.7575 | -13.95% | -20.94% | -18.75%
|  | 1000 | 1800 | 12279.0136 | 26066.994 | 38346.0076 | 12626.0254 | 29492.2366 | 42118.262 | -347.0118 | -3425.2426 | -3772.2544 | -2.748% | -11.61% | -8.956%
|  | 1800 | ∞ | 40082.1408 | 68296.877 | 108379.0179 | 36058.5791 | 85090.958 | 121149.5371 | 4023.5617 | -16794.081 | -12770.5192 | 11.16% | -19.74% | -10.54%
EHV | EHV (kVA) | 0 | 4000 | 6169.7322 | 30397.8156 | 36567.5478 | 290.2193 | 12291.5648 | 12581.7842 | 5879.5129 | 18106.2508 | 23985.7636 | 2026% | 147.3% | 190.6%
|  | 4000 | 12000 | 47771.4773 | 156057.1195 | 203828.5968 | 10244.2509 | 127330.7694 | 137575.0202 | 37527.2265 | 28726.3501 | 66253.5766 | 366.3% | 22.56% | 48.16%
|  | 12000 | 20000 | 80275.8433 | 328651.4719 | 408927.3152 | 25800.7354 | 342164.8413 | 367965.5766 | 54475.1079 | -13513.3694 | 40961.7385 | 211.1% | -3.949% | 11.13%
|  | 20000 | ∞ | 325929.8203 | 817126.3752 | 1143056.1955 | 61690.2571 | 894403.7216 | 956093.9786 | 264239.5632 | -77277.3463 | 186962.2169 | 428.3% | -8.64% | 19.55%
Transmission-connected |  |  |  | 0 | 675605.1087 | 675605.1087 | 0 | 549122.7487 | 549122.7487 | 0 | 126482.36 | 126482.36 | 0% | 23.03% | 23.03%

## SSEH
SSEH
Voltage and band |  |  |  | Jun-20 indicative |  |  | Ofgem Impact Assessment |  |  | Variance (£) |  |  | Variance (%)
|  |  |  | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total
LV | Domestic |  |  | 56.1075 | 27.0396 | 83.1471 | 51.1003 | 34.0439 | 85.1442 | 5.0072 | -7.0043 | -1.9971 | 9.799% | -20.57% | -2.346%
| LV no MIC (kWh) | 0 | 4248 | 18.1392 | 12.0352 | 30.1745 | 23.3614 | 18.1325 | 41.4939 | -5.2222 | -6.0972 | -11.3194 | -22.35% | -33.63% | -27.28%
|  | 4248 | 14178 | 97.8392 | 64.9553 | 162.7945 | 114.8038 | 89.1074 | 203.9112 | -16.9646 | -24.1521 | -41.1167 | -14.78% | -27.1% | -20.16%
|  | 14178 | 28836 | 233.2632 | 155.8528 | 389.116 | 267.1706 | 207.3702 | 474.5408 | -33.9074 | -51.5174 | -85.4248 | -12.69% | -24.84% | -18%
|  | 28836 | ∞ | 756.1438 | 488.4781 | 1244.6219 | 758.7235 | 588.8997 | 1347.6232 | -2.5798 | -100.4216 | -103.0013 | -0.34% | -17.05% | -7.643%
| LV MIC (kVA) | 0 | 82 | 1227.0575 | 847.7899 | 2074.8475 | 1350.1334 | 1087.7072 | 2437.8406 | -123.0759 | -239.9173 | -362.9932 | -9.116% | -22.06% | -14.89%
|  | 82 | 150 | 2358.5772 | 1543.9377 | 3902.515 | 2569.9618 | 1953.3027 | 4523.2644 | -211.3845 | -409.3649 | -620.7495 | -8.225% | -20.96% | -13.72%
|  | 150 | 230 | 3912.5325 | 2476.0612 | 6388.5937 | 4180.4146 | 3125.4183 | 7305.8328 | -267.882 | -649.3571 | -917.2391 | -6.408% | -20.78% | -12.55%
|  | 230 | ∞ | 9101.2524 | 5634.8465 | 14736.0989 | 9668.5209 | 7214.6728 | 16883.1936 | -567.2685 | -1579.8263 | -2147.0948 | -5.867% | -21.9% | -12.72%
HV | HV (kVA) | 0 | 425 | 2373.0665 | 3657.8875 | 6030.954 | 2425.1741 | 4455.5245 | 6880.6986 | -52.1075 | -797.637 | -849.7446 | -2.149% | -17.9% | -12.35%
|  | 425 | 1000 | 17647.7026 | 12779.8651 | 30427.5678 | 18663.9875 | 16164.0807 | 34828.0682 | -1016.2848 | -3384.2156 | -4400.5004 | -5.445% | -20.94% | -12.63%
|  | 1000 | 1800 | 38512.5295 | 26066.994 | 64579.5235 | 31947.8069 | 29492.2366 | 61440.0435 | 6564.7226 | -3425.2426 | 3139.48 | 20.55% | -11.61% | 5.11%
|  | 1800 | ∞ | 78418.8302 | 68296.877 | 146715.7073 | 87417.4282 | 85090.958 | 172508.3862 | -8998.5979 | -16794.081 | -25792.6789 | -10.29% | -19.74% | -14.95%
EHV | EHV (kVA) | 0 | 4000 | 3955.0246 | 30397.8156 | 34352.8402 | 2650.3992 | 12291.5648 | 14941.964 | 1304.6254 | 18106.2508 | 19410.8762 | 49.22% | 147.3% | 129.9%
|  | 4000 | 12000 | 58984.5517 | 156057.1195 | 215041.6711 | 31108.6411 | 127330.7694 | 158439.4105 | 27875.9106 | 28726.3501 | 56602.2607 | 89.61% | 22.56% | 35.72%
|  | 12000 | 20000 | 60403.1961 | 328651.4719 | 389054.6679 | 13501.7567 | 342164.8413 | 355666.598 | 46901.4394 | -13513.3694 | 33388.07 | 347.4% | -3.949% | 9.387%
|  | 20000 | ∞ | 60403.1961 | 817126.3752 | 877529.5713 | 79036.1434 | 894403.7216 | 973439.8649 | -18632.9473 | -77277.3463 | -95910.2936 | -23.58% | -8.64% | -9.853%
Transmission-connected |  |  |  | 0 | 675605.1087 | 675605.1087 | 0 | 549122.7487 | 549122.7487 | 0 | 126482.36 | 126482.36 | 0% | 23.03% | 23.03%

## EPN
EPN
Voltage and band |  |  |  | Jun-20 indicative |  |  | Ofgem Impact Assessment |  |  | Variance (£) |  |  | Variance (%)
|  |  |  | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total
LV | Domestic |  |  | 6.3893 | 27.0396 | 33.4289 | 3.9925 | 34.0439 | 38.0364 | 2.3968 | -7.0043 | -4.6075 | 60.03% | -20.57% | -12.11%
| LV no MIC (kWh) | 0 | 4248 | 2.4323 | 12.0352 | 14.4675 | 2.1056 | 18.1325 | 20.2381 | 0.32668 | -6.0972 | -5.7706 | 15.51% | -33.63% | -28.51%
|  | 4248 | 14178 | 14.4221 | 64.9553 | 79.3774 | 10.3476 | 89.1074 | 99.455 | 4.0745 | -24.1521 | -20.0776 | 39.38% | -27.1% | -20.19%
|  | 14178 | 28836 | 34.3658 | 155.8528 | 190.2186 | 24.0808 | 207.3702 | 231.451 | 10.285 | -51.5174 | -41.2324 | 42.71% | -24.84% | -17.81%
|  | 28836 | ∞ | 111.5394 | 488.4781 | 600.0175 | 68.3857 | 588.8997 | 657.2853 | 43.1537 | -100.4216 | -57.2679 | 63.1% | -17.05% | -8.713%
| LV MIC (kVA) | 0 | 82 | 242.4895 | 847.7899 | 1090.2795 | 160.4881 | 1087.7072 | 1248.1953 | 82.0015 | -239.9173 | -157.9158 | 51.1% | -22.06% | -12.65%
|  | 82 | 150 | 353.2983 | 1543.9377 | 1897.236 | 233.913 | 1953.3027 | 2187.2157 | 119.3852 | -409.3649 | -289.9797 | 51.04% | -20.96% | -13.26%
|  | 150 | 230 | 576.566 | 2476.0612 | 3052.6272 | 377.3753 | 3125.4183 | 3502.7936 | 199.1906 | -649.3571 | -450.1664 | 52.78% | -20.78% | -12.85%
|  | 230 | ∞ | 1083.9272 | 5634.8465 | 6718.7737 | 714.4613 | 7214.6728 | 7929.134 | 369.466 | -1579.8263 | -1210.3603 | 51.71% | -21.9% | -15.26%
HV | HV (kVA) | 0 | 425 | 1219.6985 | 3657.8875 | 4877.586 | 761.2512 | 4455.5245 | 5216.7757 | 458.4473 | -797.637 | -339.1897 | 60.22% | -17.9% | -6.502%
|  | 425 | 1000 | 3119.9772 | 12779.8651 | 15899.8423 | 2023.1312 | 16164.0807 | 18187.2119 | 1096.846 | -3384.2156 | -2287.3696 | 54.22% | -20.94% | -12.58%
|  | 1000 | 1800 | 6464.2369 | 26066.994 | 32531.2309 | 3420.3516 | 29492.2366 | 32912.5882 | 3043.8852 | -3425.2426 | -381.3573 | 88.99% | -11.61% | -1.159%
|  | 1800 | ∞ | 15650.5919 | 68296.877 | 83947.4689 | 9768.057 | 85090.958 | 94859.015 | 5882.5349 | -16794.081 | -10911.5461 | 60.22% | -19.74% | -11.5%
EHV | EHV (kVA) | 0 | 4000 | 8272.8144 | 30397.8156 | 38670.6299 | 6137.8168 | 12291.5648 | 18429.3817 | 2134.9975 | 18106.2508 | 20241.2483 | 34.78% | 147.3% | 109.8%
|  | 4000 | 12000 | 29585.9614 | 156057.1195 | 185643.0809 | 20317.068 | 127330.7694 | 147647.8374 | 9268.8934 | 28726.3501 | 37995.2435 | 45.62% | 22.56% | 25.73%
|  | 12000 | 20000 | 57742.6636 | 328651.4719 | 386394.1355 | 69639.5891 | 342164.8413 | 411804.4304 | -11896.9255 | -13513.3694 | -25410.2949 | -17.08% | -3.949% | -6.17%
|  | 20000 | ∞ | 114184.6705 | 817126.3752 | 931311.0458 | 132138.1952 | 894403.7216 | 1026541.9167 | -17953.5246 | -77277.3463 | -95230.871 | -13.59% | -8.64% | -9.277%
Transmission-connected |  |  |  | 0 | 675605.1087 | 675605.1087 | 0 | 549122.7487 | 549122.7487 | 0 | 126482.36 | 126482.36 | 0% | 23.03% | 23.03%

## LPN
LPN
Voltage and band |  |  |  | Jun-20 indicative |  |  | Ofgem Impact Assessment |  |  | Variance (£) |  |  | Variance (%)
|  |  |  | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total
LV | Domestic |  |  | -8.9421 | 27.0396 | 18.0976 | -9.0175 | 34.0439 | 25.0265 | 0.075398 | -7.0043 | -6.9289 | -0.8361% | -20.57% | -27.69%
| LV no MIC (kWh) | 0 | 4248 | -3.5365 | 12.0352 | 8.4988 | -4.437 | 18.1325 | 13.6954 | 0.90056 | -6.0972 | -5.1967 | -20.3% | -33.63% | -37.94%
|  | 4248 | 14178 | -24.1176 | 64.9553 | 40.8378 | -21.8047 | 89.1074 | 67.3027 | -2.3129 | -24.1521 | -26.465 | 10.61% | -27.1% | -39.32%
|  | 14178 | 28836 | -55.8891 | 155.8528 | 99.9637 | -50.7437 | 207.3702 | 156.6265 | -5.1454 | -51.5174 | -56.6629 | 10.14% | -24.84% | -36.18%
|  | 28836 | ∞ | -182.529 | 488.4781 | 305.9491 | -144.1044 | 588.8997 | 444.7953 | -38.4246 | -100.4216 | -138.8462 | 26.66% | -17.05% | -31.22%
| LV MIC (kVA) | 0 | 82 | -376.6343 | 847.7899 | 471.1557 | -409.4672 | 1087.7072 | 678.24 | 32.8329 | -239.9173 | -207.0844 | -8.018% | -22.06% | -30.53%
|  | 82 | 150 | -556.1595 | 1543.9377 | 987.7783 | -604.3138 | 1953.3027 | 1348.9889 | 48.1543 | -409.3649 | -361.2106 | -7.968% | -20.96% | -26.78%
|  | 150 | 230 | -979.1067 | 2476.0612 | 1496.9545 | -1058.5574 | 3125.4183 | 2066.8609 | 79.4507 | -649.3571 | -569.9064 | -7.506% | -20.78% | -27.57%
|  | 230 | ∞ | -2589.8755 | 5634.8465 | 3044.971 | -2804.3565 | 7214.6728 | 4410.3162 | 214.481 | -1579.8263 | -1365.3453 | -7.648% | -21.9% | -30.96%
HV | HV (kVA) | 0 | 425 | -2453.0726 | 3657.8875 | 1204.8149 | -2860.0995 | 4455.5245 | 1595.4251 | 407.0269 | -797.637 | -390.6102 | -14.23% | -17.9% | -24.48%
|  | 425 | 1000 | -5061.4482 | 12779.8651 | 7718.4169 | -5715.9439 | 16164.0807 | 10448.1368 | 654.4958 | -3384.2156 | -2729.7198 | -11.45% | -20.94% | -26.13%
|  | 1000 | 1800 | -8377.954 | 26066.994 | 17689.04 | -8620.8137 | 29492.2366 | 20871.4229 | 242.8597 | -3425.2426 | -3182.3829 | -2.817% | -11.61% | -15.25%
|  | 1800 | ∞ | -23028.0315 | 68296.877 | 45268.8456 | -25658.3939 | 85090.958 | 59432.5641 | 2630.3625 | -16794.081 | -14163.7185 | -10.25% | -19.74% | -23.83%
EHV | EHV (kVA) | 0 | 4000 | 1564.9961 | 30397.8156 | 31962.8117 | 1484.7754 | 12291.5648 | 13776.3402 | 80.2207 | 18106.2508 | 18186.4715 | 5.403% | 147.3% | 132%
|  | 4000 | 12000 | 15397.2413 | 156057.1195 | 171454.3607 | 6713.2774 | 127330.7694 | 134044.0467 | 8683.9639 | 28726.3501 | 37410.314 | 129.4% | 22.56% | 27.91%
|  | 12000 | 20000 | 27593.9192 | 328651.4719 | 356245.391 | 17628.5414 | 342164.8413 | 359793.3827 | 9965.3777 | -13513.3694 | -3547.9917 | 56.53% | -3.949% | -0.9861%
|  | 20000 | ∞ | 95259.9403 | 817126.3752 | 912386.3155 | 81804.4846 | 894403.7216 | 976208.2061 | 13455.4557 | -77277.3463 | -63821.8906 | 16.45% | -8.64% | -6.538%
Transmission-connected |  |  |  | 0 | 675605.1087 | 675605.1087 | 0 | 549122.7487 | 549122.7487 | 0 | 126482.36 | 126482.36 | 0% | 23.03% | 23.03%

## SPN
SPN
Voltage and band |  |  |  | Jun-20 indicative |  |  | Ofgem Impact Assessment |  |  | Variance (£) |  |  | Variance (%)
|  |  |  | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total
LV | Domestic |  |  | 20.0583 | 27.0396 | 47.0979 | 14.4607 | 34.0439 | 48.5046 | 5.5976 | -7.0043 | -1.4067 | 38.71% | -20.57% | -2.9%
| LV no MIC (kWh) | 0 | 4248 | 8.1056 | 12.0352 | 20.1409 | 6.8084 | 18.1325 | 24.9409 | 1.2973 | -6.0972 | -4.8 | 19.05% | -33.63% | -19.25%
|  | 4248 | 14178 | 50.9416 | 64.9553 | 115.8969 | 33.4581 | 89.1074 | 122.5655 | 17.4835 | -24.1521 | -6.6686 | 52.25% | -27.1% | -5.441%
|  | 14178 | 28836 | 123.2373 | 155.8528 | 279.0901 | 77.8634 | 207.3702 | 285.2336 | 45.3739 | -51.5174 | -6.1436 | 58.27% | -24.84% | -2.154%
|  | 28836 | ∞ | 381.0363 | 488.4781 | 869.5144 | 221.1202 | 588.8997 | 810.0199 | 159.9161 | -100.4216 | 59.4945 | 72.32% | -17.05% | 7.345%
| LV MIC (kVA) | 0 | 82 | 729.0559 | 847.7899 | 1576.8458 | 565.5343 | 1087.7072 | 1653.2416 | 163.5216 | -239.9173 | -76.3957 | 28.91% | -22.06% | -4.621%
|  | 82 | 150 | 1228.8067 | 1543.9377 | 2772.7444 | 953.5786 | 1953.3027 | 2906.8813 | 275.2281 | -409.3649 | -134.1369 | 28.86% | -20.96% | -4.614%
|  | 150 | 230 | 1929.8426 | 2476.0612 | 4405.9038 | 1503.1248 | 3125.4183 | 4628.5431 | 426.7178 | -649.3571 | -222.6393 | 28.39% | -20.78% | -4.81%
|  | 230 | ∞ | 4237.4696 | 5634.8465 | 9872.3161 | 3254.1692 | 7214.6728 | 10468.842 | 983.3004 | -1579.8263 | -596.5259 | 30.22% | -21.9% | -5.698%
HV | HV (kVA) | 0 | 425 | 3905.2885 | 3657.8875 | 7563.176 | 2729.8431 | 4455.5245 | 7185.3676 | 1175.4454 | -797.637 | 377.8084 | 43.06% | -17.9% | 5.258%
|  | 425 | 1000 | 10355.1229 | 12779.8651 | 23134.988 | 7396.3537 | 16164.0807 | 23560.4345 | 2958.7692 | -3384.2156 | -425.4464 | 40% | -20.94% | -1.806%
|  | 1000 | 1800 | 17310.2509 | 26066.994 | 43377.2449 | 11185.115 | 29492.2366 | 40677.3516 | 6125.1359 | -3425.2426 | 2699.8934 | 54.76% | -11.61% | 6.637%
|  | 1800 | ∞ | 47432.5146 | 68296.877 | 115729.3917 | 33530.5152 | 85090.958 | 118621.4732 | 13901.9994 | -16794.081 | -2892.0816 | 41.46% | -19.74% | -2.438%
EHV | EHV (kVA) | 0 | 4000 | 1383.2291 | 30397.8156 | 31781.0447 | 1846.1552 | 12291.5648 | 14137.7201 | -462.9261 | 18106.2508 | 17643.3246 | -25.08% | 147.3% | 124.8%
|  | 4000 | 12000 | 21348.2415 | 156057.1195 | 177405.3609 | 25654.2405 | 127330.7694 | 152985.0099 | -4305.999 | 28726.3501 | 24420.3511 | -16.78% | 22.56% | 15.96%
|  | 12000 | 20000 | 53859.8074 | 328651.4719 | 382511.2793 | 59940.0784 | 342164.8413 | 402104.9197 | -6080.271 | -13513.3694 | -19593.6404 | -10.14% | -3.949% | -4.873%
|  | 20000 | ∞ | 92114.3407 | 817126.3752 | 909240.7159 | 104539.4802 | 894403.7216 | 998943.2017 | -12425.1395 | -77277.3463 | -89702.4858 | -11.89% | -8.64% | -8.98%
Transmission-connected |  |  |  | 0 | 675605.1087 | 675605.1087 | 0 | 549122.7487 | 549122.7487 | 0 | 126482.36 | 126482.36 | 0% | 23.03% | 23.03%

## EMID
EMID
Voltage and band |  |  |  | Jun-20 indicative |  |  | Ofgem Impact Assessment |  |  | Variance (£) |  |  | Variance (%)
|  |  |  | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total
LV | Domestic |  |  | 29.8385 | 27.0396 | 56.8782 | 30.8835 | 34.0439 | 64.9274 | -1.0449 | -7.0043 | -8.0492 | -3.383% | -20.57% | -12.4%
| LV no MIC (kWh) | 0 | 4248 | 14.4972 | 12.0352 | 26.5324 | 18.18 | 18.1325 | 36.3125 | -3.6829 | -6.0972 | -9.7801 | -20.26% | -33.63% | -26.93%
|  | 4248 | 14178 | 69.7028 | 64.9553 | 134.6582 | 89.3412 | 89.1074 | 178.4486 | -19.6383 | -24.1521 | -43.7904 | -21.98% | -27.1% | -24.54%
|  | 14178 | 28836 | 171.8903 | 155.8528 | 327.7431 | 207.9141 | 207.3702 | 415.2844 | -36.0238 | -51.5174 | -87.5413 | -17.33% | -24.84% | -21.08%
|  | 28836 | ∞ | 523.2945 | 488.4781 | 1011.7726 | 590.4443 | 588.8997 | 1179.344 | -67.1498 | -100.4216 | -167.5714 | -11.37% | -17.05% | -14.21%
| LV MIC (kVA) | 0 | 82 | 898.1581 | 847.7899 | 1745.9481 | 878.8535 | 1087.7072 | 1966.5607 | 19.3047 | -239.9173 | -220.6126 | 2.197% | -22.06% | -11.22%
|  | 82 | 150 | 1574.1303 | 1543.9377 | 3118.068 | 1568.2097 | 1953.3027 | 3521.5124 | 5.9206 | -409.3649 | -403.4443 | 0.3775% | -20.96% | -11.46%
|  | 150 | 230 | 2526.9812 | 2476.0612 | 5003.0424 | 2481.701 | 3125.4183 | 5607.1193 | 45.2802 | -649.3571 | -604.0768 | 1.825% | -20.78% | -10.77%
|  | 230 | ∞ | 5069.7114 | 5634.8465 | 10704.5579 | 5000.6653 | 7214.6728 | 12215.3381 | 69.0461 | -1579.8263 | -1510.7801 | 1.381% | -21.9% | -12.37%
HV | HV (kVA) | 0 | 425 | 3802.5586 | 3657.8875 | 7460.4461 | 3652.409 | 4455.5245 | 8107.9335 | 150.1496 | -797.637 | -647.4875 | 4.111% | -17.9% | -7.986%
|  | 425 | 1000 | 13390.3366 | 12779.8651 | 26170.2017 | 12755.2381 | 16164.0807 | 28919.3188 | 635.0985 | -3384.2156 | -2749.1171 | 4.979% | -20.94% | -9.506%
|  | 1000 | 1800 | 30187.2971 | 26066.994 | 56254.2911 | 24360.0599 | 29492.2366 | 53852.2965 | 5827.2372 | -3425.2426 | 2401.9946 | 23.92% | -11.61% | 4.46%
|  | 1800 | ∞ | 78888.7779 | 68296.877 | 147185.6549 | 74782.9652 | 85090.958 | 159873.9232 | 4105.8127 | -16794.081 | -12688.2682 | 5.49% | -19.74% | -7.936%
EHV | EHV (kVA) | 0 | 4000 | 25139.9743 | 30397.8156 | 55537.7898 | 2429.0035 | 12291.5648 | 14720.5684 | 22710.9707 | 18106.2508 | 40817.2215 | 935% | 147.3% | 277.3%
|  | 4000 | 12000 | 71116.5409 | 156057.1195 | 227173.6604 | 39864.2802 | 127330.7694 | 167195.0496 | 31252.2607 | 28726.3501 | 59978.6108 | 78.4% | 22.56% | 35.87%
|  | 12000 | 20000 | 87905.4033 | 328651.4719 | 416556.8752 | 88786.9119 | 342164.8413 | 430951.7531 | -881.5086 | -13513.3694 | -14394.878 | -0.9928% | -3.949% | -3.34%
|  | 20000 | ∞ | 244079.3562 | 817126.3752 | 1061205.7314 | 244299.154 | 894403.7216 | 1138702.8755 | -219.7978 | -77277.3463 | -77497.1441 | -0.08997% | -8.64% | -6.806%
Transmission-connected |  |  |  | 0 | 675605.1087 | 675605.1087 | 0 | 549122.7487 | 549122.7487 | 0 | 126482.36 | 126482.36 | 0% | 23.03% | 23.03%

## WMID
WMID
Voltage and band |  |  |  | Jun-20 indicative |  |  | Ofgem Impact Assessment |  |  | Variance (£) |  |  | Variance (%)
|  |  |  | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total
LV | Domestic |  |  | 37.6012 | 27.0396 | 64.6408 | 36.5335 | 34.0439 | 70.5774 | 1.0677 | -7.0043 | -5.9366 | 2.923% | -20.57% | -8.411%
| LV no MIC (kWh) | 0 | 4248 | 17.5535 | 12.0352 | 29.5887 | 19.4021 | 18.1325 | 37.5345 | -1.8486 | -6.0972 | -7.9458 | -9.528% | -33.63% | -21.17%
|  | 4248 | 14178 | 87.7345 | 64.9553 | 152.6898 | 95.3466 | 89.1074 | 184.454 | -7.6121 | -24.1521 | -31.7642 | -7.984% | -27.1% | -17.22%
|  | 14178 | 28836 | 210.4545 | 155.8528 | 366.3072 | 221.8899 | 207.3702 | 429.2601 | -11.4354 | -51.5174 | -62.9528 | -5.154% | -24.84% | -14.67%
|  | 28836 | ∞ | 640.2947 | 488.4781 | 1128.7728 | 630.1332 | 588.8997 | 1219.0329 | 10.1615 | -100.4216 | -90.2601 | 1.613% | -17.05% | -7.404%
| LV MIC (kVA) | 0 | 82 | 1107.6948 | 847.7899 | 1955.4847 | 1009.5514 | 1087.7072 | 2097.2586 | 98.1434 | -239.9173 | -141.7739 | 9.721% | -22.06% | -6.76%
|  | 82 | 150 | 2057.1035 | 1543.9377 | 3601.0413 | 1874.0493 | 1953.3027 | 3827.3519 | 183.0543 | -409.3649 | -226.3107 | 9.768% | -20.96% | -5.913%
|  | 150 | 230 | 3180.3395 | 2476.0612 | 5656.4007 | 2843.6788 | 3125.4183 | 5969.0971 | 336.6607 | -649.3571 | -312.6964 | 11.84% | -20.78% | -5.239%
|  | 230 | ∞ | 5372.1592 | 5634.8465 | 11007.0057 | 4801.696 | 7214.6728 | 12016.3687 | 570.4633 | -1579.8263 | -1009.363 | 11.88% | -21.9% | -8.4%
HV | HV (kVA) | 0 | 425 | 4698.2752 | 3657.8875 | 8356.1627 | 4183.311 | 4455.5245 | 8638.8355 | 514.9642 | -797.637 | -282.6728 | 12.31% | -17.9% | -3.272%
|  | 425 | 1000 | 15969.4363 | 12779.8651 | 28749.3015 | 13695.7043 | 16164.0807 | 29859.785 | 2273.7321 | -3384.2156 | -1110.4836 | 16.6% | -20.94% | -3.719%
|  | 1000 | 1800 | 35277.4582 | 26066.994 | 61344.4522 | 27465.3557 | 29492.2366 | 56957.5923 | 7812.1025 | -3425.2426 | 4386.86 | 28.44% | -11.61% | 7.702%
|  | 1800 | ∞ | 107181.6085 | 68296.877 | 175478.4856 | 93257.701 | 85090.958 | 178348.659 | 13923.9075 | -16794.081 | -2870.1734 | 14.93% | -19.74% | -1.609%
EHV | EHV (kVA) | 0 | 4000 | 11763.2324 | 30397.8156 | 42161.048 | 3075.9865 | 12291.5648 | 15367.5513 | 8687.246 | 18106.2508 | 26793.4967 | 282.4% | 147.3% | 174.4%
|  | 4000 | 12000 | 55022.5855 | 156057.1195 | 211079.705 | 19986.0491 | 127330.7694 | 147316.8184 | 35036.5365 | 28726.3501 | 63762.8866 | 175.3% | 22.56% | 43.28%
|  | 12000 | 20000 | 102219.7724 | 328651.4719 | 430871.2443 | 63747.968 | 342164.8413 | 405912.8092 | 38471.8045 | -13513.3694 | 24958.4351 | 60.35% | -3.949% | 6.149%
|  | 20000 | ∞ | 643838.8652 | 817126.3752 | 1460965.2404 | 309518.4261 | 894403.7216 | 1203922.1477 | 334320.439 | -77277.3463 | 257043.0927 | 108% | -8.64% | 21.35%
Transmission-connected |  |  |  | 0 | 675605.1087 | 675605.1087 | 0 | 549122.7487 | 549122.7487 | 0 | 126482.36 | 126482.36 | 0% | 23.03% | 23.03%

## SWALES
SWALES
Voltage and band |  |  |  | Jun-20 indicative |  |  | Ofgem Impact Assessment |  |  | Variance (£) |  |  | Variance (%)
|  |  |  | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total
LV | Domestic |  |  | 38.1422 | 27.0396 | 65.1819 | 43.2612 | 34.0439 | 77.3051 | -5.1189 | -7.0043 | -12.1232 | -11.83% | -20.57% | -15.68%
| LV no MIC (kWh) | 0 | 4248 | 20.1589 | 12.0352 | 32.1941 | 24.5286 | 18.1325 | 42.6611 | -4.3697 | -6.0972 | -10.4669 | -17.81% | -33.63% | -24.54%
|  | 4248 | 14178 | 99.0727 | 64.9553 | 164.028 | 120.5395 | 89.1074 | 209.6469 | -21.4668 | -24.1521 | -45.6188 | -17.81% | -27.1% | -21.76%
|  | 14178 | 28836 | 240.7675 | 155.8528 | 396.6203 | 280.5186 | 207.3702 | 487.8888 | -39.7511 | -51.5174 | -91.2686 | -14.17% | -24.84% | -18.71%
|  | 28836 | ∞ | 723.0509 | 488.4781 | 1211.529 | 796.63 | 588.8997 | 1385.5297 | -73.5791 | -100.4216 | -174.0006 | -9.236% | -17.05% | -12.56%
| LV MIC (kVA) | 0 | 82 | 1160.3519 | 847.7899 | 2008.1418 | 1325.6332 | 1087.7072 | 2413.3405 | -165.2814 | -239.9173 | -405.1987 | -12.47% | -22.06% | -16.79%
|  | 82 | 150 | 2392.1796 | 1543.9377 | 3936.1173 | 2787.5463 | 1953.3027 | 4740.849 | -395.3667 | -409.3649 | -804.7317 | -14.18% | -20.96% | -16.97%
|  | 150 | 230 | 3773.1835 | 2476.0612 | 6249.2447 | 4218.5996 | 3125.4183 | 7344.0178 | -445.416 | -649.3571 | -1094.7731 | -10.56% | -20.78% | -14.91%
|  | 230 | ∞ | 9003.6501 | 5634.8465 | 14638.4966 | 10650.151 | 7214.6728 | 17864.8238 | -1646.5009 | -1579.8263 | -3226.3272 | -15.46% | -21.9% | -18.06%
HV | HV (kVA) | 0 | 425 | 3691.9107 | 3657.8875 | 7349.7982 | 3634.6218 | 4455.5245 | 8090.1463 | 57.2889 | -797.637 | -740.3481 | 1.576% | -17.9% | -9.151%
|  | 425 | 1000 | 20396.7782 | 12779.8651 | 33176.6433 | 20580.9951 | 16164.0807 | 36745.0758 | -184.2169 | -3384.2156 | -3568.4325 | -0.8951% | -20.94% | -9.711%
|  | 1000 | 1800 | 39971.6814 | 26066.994 | 66038.6755 | 40833.6597 | 29492.2366 | 70325.8963 | -861.9783 | -3425.2426 | -4287.2208 | -2.111% | -11.61% | -6.096%
|  | 1800 | ∞ | 91668.631 | 68296.877 | 159965.5081 | 102557.8047 | 85090.958 | 187648.7627 | -10889.1737 | -16794.081 | -27683.2546 | -10.62% | -19.74% | -14.75%
EHV | EHV (kVA) | 0 | 4000 | 14998.1481 | 30397.8156 | 45395.9637 | 1943.2265 | 12291.5648 | 14234.7913 | 13054.9217 | 18106.2508 | 31161.1724 | 671.8% | 147.3% | 218.9%
|  | 4000 | 12000 | 51584.1778 | 156057.1195 | 207641.2973 | 52243.6273 | 127330.7694 | 179574.3967 | -659.4495 | 28726.3501 | 28066.9006 | -1.262% | 22.56% | 15.63%
|  | 12000 | 20000 | 127492.5108 | 328651.4719 | 456143.9826 | 169287.5401 | 342164.8413 | 511452.3813 | -41795.0293 | -13513.3694 | -55308.3987 | -24.69% | -3.949% | -10.81%
|  | 20000 | ∞ | 394231.8731 | 817126.3752 | 1211358.2483 | 544564.1841 | 894403.7216 | 1438967.9057 | -150332.311 | -77277.3463 | -227609.6574 | -27.61% | -8.64% | -15.82%
Transmission-connected |  |  |  | 0 | 675605.1087 | 675605.1087 | 0 | 549122.7487 | 549122.7487 | 0 | 126482.36 | 126482.36 | 0% | 23.03% | 23.03%

## SWEST
SWEST
Voltage and band |  |  |  | Jun-20 indicative |  |  | Ofgem Impact Assessment |  |  | Variance (£) |  |  | Variance (%)
|  |  |  | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total | DUoS | TNUoS | Total
LV | Domestic |  |  | 48.0322 | 27.0396 | 75.0718 | 49.1602 | 34.0439 | 83.2041 | -1.128 | -7.0043 | -8.1323 | -2.295% | -20.57% | -9.774%
| LV no MIC (kWh) | 0 | 4248 | 20.4248 | 12.0352 | 32.4601 | 23.1637 | 18.1325 | 41.2962 | -2.7389 | -6.0972 | -8.8361 | -11.82% | -33.63% | -21.4%
|  | 4248 | 14178 | 107.918 | 64.9553 | 172.8734 | 113.8322 | 89.1074 | 202.9396 | -5.9141 | -24.1521 | -30.0662 | -5.195% | -27.1% | -14.82%
|  | 14178 | 28836 | 259.504 | 155.8528 | 415.3568 | 264.9094 | 207.3702 | 472.2796 | -5.4054 | -51.5174 | -56.9228 | -2.04% | -24.84% | -12.05%
|  | 28836 | ∞ | 804.4215 | 488.4781 | 1292.8996 | 752.3022 | 588.8997 | 1341.2019 | 52.1193 | -100.4216 | -48.3022 | 6.928% | -17.05% | -3.601%
| LV MIC (kVA) | 0 | 82 | 1330.2862 | 847.7899 | 2178.0761 | 1270.2292 | 1087.7072 | 2357.9364 | 60.057 | -239.9173 | -179.8603 | 4.728% | -22.06% | -7.628%
|  | 82 | 150 | 2609.1258 | 1543.9377 | 4153.0636 | 2590.0915 | 1953.3027 | 4543.3942 | 19.0343 | -409.3649 | -390.3306 | 0.7349% | -20.96% | -8.591%
|  | 150 | 230 | 4094.3543 | 2476.0612 | 6570.4155 | 4106.8695 | 3125.4183 | 7232.2878 | -12.5152 | -649.3571 | -661.8723 | -0.3047% | -20.78% | -9.152%
|  | 230 | ∞ | 8710.0341 | 5634.8465 | 14344.8806 | 8452.8913 | 7214.6728 | 15667.5641 | 257.1428 | -1579.8263 | -1322.6835 | 3.042% | -21.9% | -8.442%
HV | HV (kVA) | 0 | 425 | 5623.3094 | 3657.8875 | 9281.1969 | 8427.3192 | 4455.5245 | 12882.8438 | -2804.0098 | -797.637 | -3601.6468 | -33.27% | -17.9% | -27.96%
|  | 425 | 1000 | 20562.1778 | 12779.8651 | 33342.0429 | 33679.5982 | 16164.0807 | 49843.6789 | -13117.4204 | -3384.2156 | -16501.636 | -38.95% | -20.94% | -33.11%
|  | 1000 | 1800 | 43551.3581 | 26066.994 | 69618.3521 | 69652.0514 | 29492.2366 | 99144.288 | -26100.6933 | -3425.2426 | -29525.9358 | -37.47% | -11.61% | -29.78%
|  | 1800 | ∞ | 111147.1123 | 68296.877 | 179443.9894 | 191321.8201 | 85090.958 | 276412.7781 | -80174.7077 | -16794.081 | -96968.7887 | -41.91% | -19.74% | -35.08%
EHV | EHV (kVA) | 0 | 4000 | 13958.8486 | 30397.8156 | 44356.6642 | 728.8705 | 12291.5648 | 13020.4354 | 13229.9781 | 18106.2508 | 31336.2289 | 1815% | 147.3% | 240.7%
|  | 4000 | 12000 | 49956.4021 | 156057.1195 | 206013.5215 | 39955.012 | 127330.7694 | 167285.7813 | 10001.3901 | 28726.3501 | 38727.7402 | 25.03% | 22.56% | 23.15%
|  | 12000 | 20000 | 47360.8159 | 328651.4719 | 376012.2877 | 63453.6094 | 342164.8413 | 405618.4506 | -16092.7935 | -13513.3694 | -29606.1629 | -25.36% | -3.949% | -7.299%
|  | 20000 | ∞ | 67245.5556 | 817126.3752 | 884371.9308 | 79786.2619 | 894403.7216 | 974189.9835 | -12540.7063 | -77277.3463 | -89818.0526 | -15.72% | -8.64% | -9.22%
Transmission-connected |  |  |  | 0 | 675605.1087 | 675605.1087 | 0 | 549122.7487 | 549122.7487 | 0 | 126482.36 | 126482.36 | 0% | 23.03% | 23.03%