## Options_Assessment
To be assessed |  |  | Score | Summary | Effective Competition: 2 - Optimise Capacity Allocation |  |  | Effective Competition: 4 - Provide a level playing field for all network users |  |  | Effective Competition: 5 - Provide effective network user price signals, i.e. price signals which can be reasonably anticipated by a user with sufficient confidence to allow them to take action |  |  | Effective Competition: 6 - Appropriately allocate risk between individual network users and the wider body of users |  |  | Cost Reflectivity: 3 - Ensure that price signals reflect the incremental future network costs and benefits that can be allocated to and influenced by the actions of network users |  |  | Developments in Network Businesses: 1 - Efficiently meet the essential service requirements of network users |  |  | Developments in Network Businesses: 7 - Support efficient network development |  |  | Efficiency of Implementation: 8 - Be Practical |  |  | Efficiency of Implementation: 9 - Be Proportionate |  |  | Criteria and Scoring Entered | [8 empty] | Conversion to values where within expected range | [8 empty] | % Score
[5 empty] | Advantages | Disadvantages | Score and summary | Advantages | Disadvantages | Score and summary | Advantages | Disadvantages | Score and summary | Advantages | Disadvantages | Score and summary | Advantages | Disadvantages | Score and summary | Advantages | Disadvantages | Score and summary | Advantages | Disadvantages | Score and summary | Advantages | Disadvantages | Score and summary | Advantages | Disadvantages | Score and summary | Effective Competition: 2 - Optimise Capacity Allocation | Effective Competition: 4 - Provide a level playing field for all network users | Effective Competition: 5 - Provide effective network user price signals, i.e. price signals which can be reasonably anticipated by a user with sufficient confidence to allow them to take action | Effective Competition: 6 - Appropriately allocate risk between individual network users and the wider body of users | Cost Reflectivity: 3 - Ensure that price signals reflect the incremental future network costs and benefits that can be allocated to and influenced by the actions of network users | Developments in Network Businesses: 1 - Efficiently meet the essential service requirements of network users | Developments in Network Businesses: 7 - Support efficient network development | Efficiency of Implementation: 8 - Be Practical | Efficiency of Implementation: 9 - Be Proportionate | 2 | 4 | 5 | 6 | 3 | 1 | 7 | 8 | 9
Cost Base - Charging Model | Relates to Action FTF25 | Transport Model - cost of importing or exporting energy through an existing network | Scores not all entered |  |  | Gives no indication of capacity simply allocates costs of maintaining the status quo Does not include cost based on absolute cost impact |  |  | Lack of locational signals results in all user actions being given the same cost signal regardless of the actual cost and/or benefit derived |  | Likely to result in stable prices | Lack of pointed locational signal |  |  | Lack of cost-reflective charges means that risk will not be appropriately allocated. Requires locational and constraint costs to be reflected though other means e.g. deeper connection boundary |  | Likely to result in stable prices Price changes are predictable | Lack of pointed locational signal Does not provide cost-reflective signals or charges Depends how granular/nodal this is worked out at. At a granular level, this can become a disadvantage: backwards-looking tariffs reflect lumpy investment as steep volatility, potentially driven by other user's new connections! |  |  | Price signal for flexible generators muted Lack of cost-reflective charges means that users do not face appropriate incentives and hence overall network likely to be very inefficient. |  |  | Gives no signal as to how a network develops and so no information to the network operator or user for better use of the network |  | Likely slightly more complex than existing LV and HV but simpler than existing EHV and TNUoS | Whilst a simpler approach, not practical to use a model which has such disadvantages |  | Unable to judge proportionality at this stage | [11 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
|  | Expansion Model - levelised cost of future network based on a weighted average of the existing network | Scores not all entered |  | Signals areas of low and/or high capacity relatively predictable, magnitude of changes low during CM timescales | Does not recognise specific reinforcement costs of addressing capacity constraints Only provides relative locational signals, not absolute cost signals which is likely to distort the market and impact competition |  | Symmetric treatment of demand and generation | Symmetric treatment ignores engineering factors related to fault-level reinforcement etc. Only provides relative locational signals, not absolute cost signals which is likely to distort the market and hence not create a level-playing field |  | Should be possible for an expansion model to result in reasonably stable prices. Use of up front assumptions (expansion constant and fixed asset costs) reduces the need for network operator to make internal assumptions and so increases transparency. Avoids attributing specific network investments to specific network users. | Can provide stable price signals but to the detriment of cost-reflectivity and hence this will not be effective |  | Avoids attributing specific network investments to specific network users. | Lack of cost-reflective charges means that risk will not be appropriately allocated. Requires locational and constraint costs to be reflected though other means e.g. deeper connection boundary |  | Should be possible for an expansion model to result in reasonably stable prices. Use of up front assumptions (expansion constant and fixed price per km) reduces the need for network operator to make internal assumptions and so increases transparency. | Average costs do not reflect the actual cost of reinforcement at any given location - but this could be a somewhat localised signal by design Does not provide cost-reflective signals or charges |  |  | Lack of cost-reflective charges means that users do not face appropriate incentives and hence overall network likely to be very inefficient. |  | Symmetric treatment of demand and generation | Symmetric treatment of demand and generation ignores engineering factors related to fault-level reinforcement etc. |  | More complex than existing LV and HV, simpler than existing EHV, complexity as per status quo for TNUoS | Whilst a simpler approach, not practical to use a model which has such disadvantages |  | Unable to judge proportionality at this stage | [11 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
|  | Remaining Headroom - cost of addressing the next constraints in accordance with today’s design standards | Scores not all entered |  | Signals areas of low and/or high remaining capacity and scale of increasing capacity. Increased recognition of reinforcement cost More closely linked to actual network and required costs/savings due to users actions and hence less distortion to competition | Predictability of signal reduced, parties cannot effectively make investment decisions |  | Demand treatment highly reflective of security of supply standards Likely to provide a better FLC for demand | Generation not subjected to a locational signal (due to no underlying security of supply standard) |  | Site specific (but rule based) reinforcement costing Most cost-reflective approach | Subject to saw-tooth price increases or year to year volatility, with a user's charges often influenced by the actions of other users in the same location Sacrifices predictability |  | Most cost-reflective approach means risk likely to be best allocated | Attributes specific network investments to specific network users which may over-expose individual users to the risk that reinforcement is required |  | Highly cost-reflective by exposing users to the cost and/or benefit of network reinforcements which their behaviour has the potential to drive and/or avoid | low predictability, reduces ability of participant to properly account for costs in long-medium term. Can lead to inefficient investment decisions which increases costs in short-term constraint management. if set nodally or zonally, then existing user's tariff driven by OTHER users' behaviour - wholly un-reflective - and ultimately all users will just see this as a source of volatility, unless individual tariffs can be locked-in |  | Most cost-reflective approach likely to be most efficient | Penalising tariffs in constrained areas - will discourage new providers of flexibility (only contracted to relieve the worst excess, thereby taking the network to just full, hence likely to incur a high tariff related to zero remaining headroom) |  | Demand treatment highly reflective of security of supply standards. Taking account of spare capacity on the network can lead to more efficient locational decisions. | Generation not subjected to a locational cost signal (due to no underlying security of supply standard) |  | Status quo for EHV distribution charging Should be practical to use across all voltages | Significantly more complex than existing LV and HV, and more complex for TNUoS |  | Unable to judge proportionality at this stage | [11 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
Location Signals |  | 500MW Model/Probabilistic Model - 'cost allocation' model | Scores not all entered |  | Generalised model reflective of current engineering practice | No locational element to charges so not specific to any site |  |  | Lack of locational signals results in all user actions being given the same cost signal regardless of the actual cost and/or benefit derived No locational signal means charges are not cost-reflective and hence likely to be distorted which does not create a level-playing field |  | Likely to result in stable prices Price changes are predictable | Lack of pointed locational signal Stable prices but no cost-reflectivity |  |  | Lack of cost-reflective charges means that risk will not be appropriately allocated. |  | Recognises the cumulative effect of multiple customers connecting to the network Price changes are predictable | Limited locational signal. Likely to require assumptions from the network operators when operating the model. Does not provide locational cost-reflective signals or charges |  |  | Price signal for flexible generators muted Lack of cost-reflective charges means that users do not face appropriate incentives and hence overall network likely to be very inefficient. |  | Results in stable prices which are likely to result in predictable user responses | Limited location signal Lack of cost-reflective charges means that users do not face appropriate incentives and hence overall network likely to be very inefficient. |  | Relatively easy to implement - status quo at HV and LV, simplification for EHV and TNUoS Over-simplification means this is relatively easy to implement | Draws on propriety data/engineering approaches |  | Unable to judge proportionality at this stage | [11 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
|  | DC Load Flow Investment Cost Related/Long Run Incremental Cost - incremental model | Scores not all entered |  | Signals areas of low and/or high capacity against approximation of planning standards | Use of DC Load Flow is a tool to simplify the study of a network - reflective for an interconnected system but less reflective of physical power flows on certain types of networks too far removed from dynamic operational model - flexibility providers operationally supporting the network may be modelled here as causing issues in the limited snapshot model, producing a disproportionally high tariff Only provides relative locational signals, not absolute cost signals which is likely to distort the market and impact competition. |  | Symmetric treatment of demand and generation (in TNUoS) | Symmetric treatment ignores engineering factors related to fault-level reinforcement etc. Can it account for different operational profiles? Lack of absolute cost signal means distortion likely which does not create a level playing field |  | Use of up front assumptions (expansion constant and fixed asset costs) reduces the need for network operator to make internal assumptions and so increases transparency. Avoids attributing specific network investments to specific network users. | Potential to result in volatile prices (particularly with LRIC approach), with a user's charges often influenced by the actions of other users in the same location Relatively short term predictability but still limited in the longer term and is still not fully cost-reflective |  |  | Lack of cost-reflective charges means that risk will not be appropriately allocated. |  | More price reflective than transport model or 500MW model Relatively predictable changes based on changes in use of network, allows parties to change behaviour | Average costs do not reflect the actual cost of reinforcement at any given location. Use of DC Load Flow is a tool to simplify the study of a network - reflective for an interconnected system but less reflective of physical power flows on certain types of networks. Unreflective of differing operational profiles |  |  | Lack of cost-reflective charges means that users do not face appropriate incentives and hence overall network likely to be very inefficient. |  | Symmetric treatment of demand and generation | Symmetric treatment ignores engineering factors related to fault-level reinforcement etc. Lack of cost-reflective charges means that users do not face appropriate incentives and hence overall network likely to be very inefficient. |  | Status quo for (some) EHV distribution charging and TNUoS | Significantly more complex than existing LV and HV |  | Unable to judge proportionality at this stage | [11 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
|  | Forward Cost Pricing - Contingency model | Scores not all entered |  | Signals areas of low and/or high remaining capacity and scale of increasing capacity | Allocates prices to network groups rather than nodes - so can optimise allocation between groups but not inter-group More closely linked to actual network and required costs/savings due to users actions and hence less distortion to competition |  | Demand treatment highly reflective of security of supply standards Whilst likely to provide volatile signals, this does give the most cost-reflective approach | Generation not subjected to a locational signal (due to no underlying security of supply standard) More cost-reflective signal for demand is better, but approach needs to be adapted to provide similar for generation. |  | Site specific (but rule based) reinforcement costing Whilst likely to provide volatile signals, this does give the most cost-reflective approach | Subject to saw-tooth price increases or year to year volatility, with a user's charges often influenced by the actions of other users in the same location |  | Most cost-reflective approach means risk likely to be best allocated |  |  | Highly cost-reflective by exposing users to the cost and/or benefit of network reinforcements which their behaviour has the potential to drive and/or avoid. | High volatility and low predictability in approach reduces the ability of network users to respond to signals Tariffs could be driven by other users |  | Most cost-reflective approach likely to be most efficient | Volatility unwelcome to most users |  | Demand treatment highly reflective of security of supply standards | Generation not subjected to a locational signal (due to no underlying security of supply standard) |  | Status quo for (some) EHV distribution charging | Significantly more complex than existing LV and HV, and more complex for TNUoS |  | Unable to judge proportionality at this stage | [11 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
Number of Models |  | Single model across all voltage levels | Scores not all entered |  | Avoids distortionary investment incentives which may be simply an artefact of different charge calculation models | May not reflect different planning standards or engineering practice etc. Whilst theoretically this would provide a harmonised approach, it may lead to too much complexity in the mode |  | Avoids distortionary investment incentives which may be simply an artefact of different charge calculation models | May not reflect different planning standards or engineering practice etc. |  | Allows users to make comparable decision between T&D investments |  |  | Comparable costs allows more efficiently allocate agreements to generation, reducing cost to consumers and reducing risk of stranded assets |  |  | Avoids distortionary investment incentives which may be simply an artefact of different charge calculation models | May not reflect different planning standards or engineering practice etc. |  |  |  |  | Avoids distortionary investment incentives which may be simply an artefact of different charge calculation models | May not reflect different planning standards or engineering practice etc. |  |  | Requires significant work to achieve development of a common model which appropriately reflects the attributes of all transmission and distribution networks which have different planning and construction standards |  |  | Benefits may be achievable without the need for a common model | [10 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
|  | T&D charging model different but with common assumptions | Scores not all entered |  | Aligns models Aligned models are less likely to create distortions between networks | Some discontinuities will remain |  | Aligns models | Some discontinuities will remain |  | More likely to allow appropriate comparison between connection and use of network at different voltages |  |  |  | Different allocation of risk in Scotland compared to England, not justified by the underlying engineering/physics |  | Aligns models | Some discontinuities will remain |  |  |  |  | Aligns models | Some discontinuities will remain |  | May be possible to agree common assumptions more easily than it would be possible to achieve a common model | Alignment of assumptions could be challenging given the different engineering standards which apply |  | Potential to deliver benefits of commonality without the need for full alignment of charging assumptions which relate to different engineering standards | Results in some distortion | [10 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
|  | Different charging models across T&D | Scores not all entered |  | Models can more closely reflect different planning standards or engineering practice etc. | Potential for distortionary investment incentives which may be simply an artefact of different charge calculation models |  | Models can more closely reflect different planning standards or engineering practice etc. | Potential for distortionary investment incentives which may be simply an artefact of different charge calculation models | [5 empty] | Different allocation of risk in Scotland compared to England, not justified by the underlying engineering/physics |  | Models can more closely reflect different planning standards or engineering practice etc. | Potential for distortionary investment incentives which may be simply an artefact of different charge calculation models |  |  |  |  | Models can more closely reflect different planning standards or engineering practice etc. | Potential for distortionary investment incentives which may be simply an artefact of different charge calculation models |  | Avoids the need for complex work to align charging assumptions which relate to different engineering standards | Modelling differences would require enduring fix and not just interim methods |  |  | Resulting distortion | [10 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
Tariff Elements | Relates to Action FTF26 | Fixed Charges (£/year) – charges which are applied on a per user basis as long as the user remains connected | Scores not all entered |  | Depends on extent to which costs are driven per-head depends on ability to limit volatility | Does not incentive the right behaviour and low usage customers pay for high usage. Risk of [inefficient] user disconnection Limited cost-reflectivity so not appropriate for a FLC |  | Simple Depends on extent to which costs are driven per-head depends on ability to limit volatility | Limited cost-reflectivity so will not create a level playing field |  | Fixed charges are completely predictable for the end user | A user cannot take action (other than disconnection) to avoid fixed charges, so arguably does not meet the 'to allow them to take action' element Question if these are predictable year on year Very predictable charge but not effective as not cost-reflective |  | Charges not affect by usage, so parties can't avoid them, recovering costs over wider base Depends on extent to which costs are driven per-head depends on ability to limit volatility | No competition Could encourage consumers to disconnect, reducing charging base Lack of cost-reflectivity means inappropriate risk allocation |  | May be used to give a forward looking cost signal for costs which will be avoided if the user disconnects. May be appropriate for particular groups who's response would not improved if the cost was more locationally cost reflective, or if the fixed charge reflects a particular element of cost which is the same for a given type of user or a given location. | Risk of over-valuing 'off-grid' or behind the meter solutions if fixed charges are too high. A generalised fixed charge is less likely to be cost reflective. Not cost-reflective for FLC UoS charges |  | Vulnerable users know the cost | Vulnerable users may be overcharged |  |  |  |  | Easily applied to all users | Does not contain incentive |  | Simple to implement | [11 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
|  | Unit Rates (£/kWh) – standard unit charges, applicable to energy usage with a number of sub-options for unit rates which vary by time of use. | Scores not all entered |  | Depends on extent to which costs are driven per-kWh depends on ability to limit volatility Potentially able to be used to provide an appropriate FLC |  |  | Depends on extent to which costs are driven per-kWh depends on ability to limit volatility Could provide a level playing field |  |  | A unit rate is relatively easy for some users to avoid by taking action. A time bounded unit rate could signal the contribution to peak demand across a diverse network, and averaging over a period of time (such as the Annual Load Factor in transmission) would avoid conflicts between investment and dispatch signals. Predictable charge | If the unit rate is designed to incentivise investment decisions, then it may incentivise inefficient dispatch behaviour. |  | More cost-reflective and hence better at allocating risk Depends on extent to which costs are driven per-kWh depends on ability to limit volatility |  |  | A unit rate is relatively easy for some users to avoid by taking action - to the extent that this results in lower network costs, this is cost-reflective. Potentially cost-reflective for some elements of the charge | Risk of over-valuing reduced usage if not targeted locationally or temporally |  | At LV reflects cumulative contribution to network reinforcement requirement, protecting disproportionate allocation of costs to an individual user. |  |  | Right price signal for right behaviour if time of use Depends on the extent users can respond and appropriate flexibility can be purchased |  |  | Unrestricted unit rates easily applied to all users. Time bounded units rates easily applied to HH metered users. Sends a price signal | Time bounded unit rates cannot be accurately applied to NHH metered users as network company has no visibility of the time of use | [13 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
|  | Agreed Capacity Charges (£/agreed kVA) – charges levied in respect of a user’s agreed capacity with the network operator. Agreed capacities are generally specified in bilateral connection agreements, and as such are only in place for larger users. | Scores not all entered |  | Depends on extent to which costs are driven per-kW, and any modifiers for operational flexibility provided depends on ability to limit volatility | Limited cost-reflectivity so not appropriate for a FLC |  | Depends on extent to which costs are driven per-kW, and any modifiers for operational flexibility provided depends on ability to limit volatility | Limited cost-reflectivity so will not create a level playing field |  | Particularly well suited as an option for incentivising user investment decisions. If relatively predictable years in advance and viewed as stable, which this might not be | Does not provide any operational dispatch price signal; therefore agreed capacity charges would need to be combined with some other mechanism (e.g. Balancing Mechanism) to provide operational dispatch incentives. Not effective as not cost-reflective |  | Depends on extent to which costs are driven per-kW, and any modifiers for operational flexibility provided depends on ability to limit volatility | Lack of cost-reflectivity means inappropriate risk allocation |  | If incremental future network investment is driven by user capacity, then this could provide an effective cost reflective price signal. It may be appropriate to reflect that different types of user (of the same agreed capacity) may cause different incremental future costs to the network. | Not fully cost-reflective and hence less efficient |  | Users can obtain certainty by contracting in advance for the capacity (or 'access') they require Values availability of the network. |  |  | Incentivises users to agree appropriate capacities, so the network business obtain information regarding the future investment decisions of users. |  |  | Easily applied to larger users with bilateral connection agreements Could be used with generators and load users grouped together. | Difficult to apply to smaller users who do not have bilateral connection agreements (unless operating as a group) |  | Provides means of paying for 'availability' of the network even where generation is "behind the meter." | [11 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
|  | Peak Demand Charges/Excess Capacity Charges (£/peak kW or £/peak kVA) – charges for peak usage, i.e. for half hourly metered users the usage in the peak half hour. | Scores not all entered |  | Likely to give a good FLC | Depends on the specific definition of "peak", whether this results in stable, predictable (useful) tariffs |  | Likely to be more cost-reflective and hence provide a level-playing field | Depends on the specific definition of "peak", whether this results in stable, predictable (useful) tariffs |  | More cost-reflective | Likely to be difficult (particularly for small users) to respond to as requires a high level of visibility of usage at all times in order to identify and reduce peak usage Can be harder to predict |  | More cost-reflective and hence better at allocating risk | Depends on the specific definition of "peak", whether this results in stable, predictable (useful) tariffs |  | Can be cost reflective if costs are driven by user’s peak demands at certain times More cost-reflective and hence appropriate for an FLC | Network costs are driven by network peaks rather than individual user's peaks |  | Encourages the right behaviour and cost reflective of need. Requires sufficiently predictable windows of charge |  |  | Encourages right amount of capacity to be bought Depends on extent users can respond and appropriate flexibility can be purchased |  |  | Easily applied to users with HH metering | Cannot be applied to users with NHH metering | [13 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
|  | Reactive Power Charges (£/kVArh) – charges for usage of reactive power, reflecting the difference between actual power (in kW) and apparent power (in kVA), and where the two diverge due to poor power factor which drives the need for increased network capacity. | Scores not all entered |  | Depends on extent to which costs are driven per-kVA or per-kVAr, and any modifiers for operational kVAr flexibility provided (to T or D!) |  |  | Depends on extent to which costs are driven per-kVA or per-kVAr, and any modifiers for operational kVAr flexibility provided (to T or D!) |  |  | Can be predictable for larger users with sophisticated understanding, and action can be taken through up front investment in power factor correction equipment | Smaller user unlikely to be aware of reactive power or be able to make changes to respond |  | Depends on extent to which costs are driven per-kVA or per-kVAr, and any modifiers for operational kVAr flexibility provided (to T or D!) |  |  | Can be cost reflective if proportional to the extent to which network costs and/or benefits are driven by reactive power usage beyond the need for greater capacity | (Must add a modification or exemption for users which are providing a Reactive Power service) |  | Supports market for reactive power service providers |  |  | Depends on extent users can respond and appropriate flexibility can be purchased |  |  | Easily applied to users with four quadrant metering (measuring real import/export and reactive import/export - generally larger users) | Impossible to apply for users without four quadrant metering | [13 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
Time of Use Options |  | Unrestricted Unit Rates - a charge which applies to every unit used (or capacity taken) in any time period. | Scores not all entered |  |  | Limited cost-reflectivity so not appropriate for a FLC |  |  | Limited cost-reflectivity so will not create a level playing field |  | Simple for users to understand | Only action which can be taken is to reduce overall usage - moving usage to other times has no impact on charges faced |  |  | Lack of cost-reflectivity means inappropriate risk allocation |  |  | Risks over-valuing lower overall usage and under-valuing reduced usage at peak Not cost-reflective for FLC UoS charges | [7 empty] | Easily applied to all users | [14 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
|  | Static Time of Day Unit Rates – charges which vary by time of day with time bands fixed throughout the year (akin to the existing red, amber and green unit rates for HH settled distribution connected users at LV and HV). | Scores not all entered |  | Depends upon the bands used, but is a versatile option to allow cost-reflective FLC |  |  | Depends upon the bands used, but is a versatile option to create level-playing field |  |  | Prices and time periods are known in advance, so users can respond to them |  |  | More cost-reflective and hence better at allocating risk |  |  | May be useful to signal low cost network periods to demand users, such as low/zero locational network charges overnight. To the extent that usage of the network in fixed time periods drives network costs and/or benefits, static time of use charges can be cost-reflective | May incentivise inefficient operational dispatch decisions relating to periods of constraint - this is because periods of system stress are a function of outturn factors such as weather, demand, market events. If network investment is driven by user capacity, then a price signal which aims to affect user operational dispatch at times of peak demand may fail to be cost reflective of incremental future network investment. If set globally, may encourage ‘wrong’ behaviours i.e. increased generation in generation dominated areas etc. | [5 empty] | In this situation, the network operator would be a price setter and volume taker which may make it difficult to manage the operation of the network because they cannot control how much capacity will respond to the price signal, or at what location. |  | Easily applied to users with HH metering | Cannot be applied to users with NHH metering | [13 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
|  | Critical Peak Pricing (CPP) – charges which vary by time of day with a narrow peak band in which the cost per unit is significantly higher (akin to the existing ‘super-red’ period for distribution connected users at EHV which applies only to a relatively small number of time periods in the year, and at the extreme HH TNUoS triad charges which have a very narrow ‘critical peak’ period). | Scores not all entered |  | Depends upon the bands used, but is a versatile option to allow cost-reflective FLC |  |  | Depends upon the bands used, but is a versatile option to create level-playing field |  |  | Assuming the critical peak period and price are known in advance, users can respond easily | May clash and distort response to other price signals which are also designed to provide price signals which may be associated with periods of network stress |  |  |  |  | To the extent which network usage in the critical peak period drives network costs and/or benefits, critical peak prices can be cost-reflective | Peak demand charging on its own would fail to provide an effective price signal for generation dominated zones where network investment is required to mitigate constraints caused by generation. If network investment is driven by user capacity, then a price signal which aims to affect user operational dispatch at times of peak demand may fail to be cost reflective of incremental future network investment. | [5 empty] | In this situation, the network operator would be a price setter and volume taker which may make it difficult to manage the operation of the network because they cannot control how much capacity will respond to the price signal, or at what location. |  | Easily applied to users with HH metering | Cannot be applied to users with NHH metering | [13 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
|  | Variable Time of Day – charges which vary (potentially up to real time) by time period depending on the level of demand at the time (TNUoS triad charges have some features of this, in that the time periods to which the £/kW unit rate will apply are variable based on the times of peak demand, albeit the rates themselves are fixed at the start of each year). | Scores not all entered |  | Potentially can be very cost-reflective |  |  |  | Favours users with smart technology which can respond to short-term price signals automatically Potentially a good option but complexity may create barriers |  | Potential for very effective response for users with smart technology | May be difficult for some users to respond to, particularly smaller demand users. May clash and distort response to other price signals which are also designed to provide price signals which may be associated with periods of network stress Increased cost-reflectivity may make this less predictable |  | More cost-reflective and hence better at allocating risk |  |  | May tend to provide a more cost reflective operational dispatch price signals than static TOU tariffs More cost-reflective and hence appropriate for an FLC | If network investment is driven by user capacity, then a price signal which aims to affect user operational dispatch at times of peak demand may fail to be cost reflective of incremental future network investment. | [5 empty] | In this situation, the network operator would be a price setter and volume taker which may make it difficult to manage the operation of the network because they cannot control how much capacity will respond to the price signal, or at what location. |  |  | May be challenging to calculate real time dynamic tariffs Likely to be more difficult to implement |  |  | As a method of providing an operational dispatch incentive, it may be disproportionate and detrimental to expose all users to dynamic TOU tariffs, even if many of those users cannot respond to them. Also disproportionate in comparison to alternative options for providing high resolution real time dispatch signals, such as a Balancing Mechanism approach which can provide a price signals for those users who choose to participate in the BM and therefore can respond to them. | [10 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered
|  | Inclining Block Rates – under this option a lower unit rate would be applied to usage below a certain threshold, and a higher unit rate to usage above this threshold (note – more than two ‘blocks’ could be used). | Scores not all entered | [8 empty] | Smaller users may find it difficult to monitor when their usage is remaining within the 'lower' block in order to take action to avoid going over the threshold into the 'higher' block. May clash and distort response to other price signals which are also designed to provide price signals which may be associated with periods of network stress | [5 empty] | Not cost reflective - an increment of usage does not impose fundamentally different costs if driven by a high usage user than by a low usage user |  | Meets service requirements of low usage users at low cost, whilst exposing higher usage users (e.g. EV owners) to higher costs | Dependent on the level of the rising blocks - risk of penalising large households compared to smaller households for the same type of 'essential' usage |  |  |  |  | Easily applied to users with HH metering | Cannot be applied to users with NHH metering | [13 empty] | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Not Entered | Scores not all entered

## Criteria
Assesment Criteria |  | Primary Related Objective | Secondary Related Objectives
1 | Efficiently meet the essential service requirements of network users | Developments in Network Businesses | Licence Compliance
2 | Optimise capacity allocation | Effective Competition
3 | Ensure that price signals reflect the incremental future network costs and benefits that can be allocated to and influenced by the actions of network users | Cost Reflectivity | Effective Competition
4 | Provide a level playing field for all network users | Effective Competition
5 | Provide effective network user price signals, i.e. price signals which can be reasonably anticipated by a user with sufficient confidence to allow them to take action | Effective Competition | Cost Reflectivity
6 | Appropriately allocate risk between individual network users and the wider body of users | Effective Competition
7 | Support efficient network development | Developments in Network Businesses
8 | Be practical | Effeciency of Implementation | Compliance with European Regulation
9 | Be proportionate | Effeciency of Implementation

## Code Objectives
High Level Objective | Relevant Connection and Use of System Code (CUSC) Charging Objective (Applicable to Transmission) |  | Relevant Distribution Connection and Use of System Agreement (DCUSA) Charging Objective (Applicable to Distribution)
Licence Compliance | n/a |  | 1 | That compliance by each DNO Party with the Charging Methodologies facilitates the discharge by the DNO Party of the obligations imposed on it under the Act and by its Distribution Licence
Effective Competition | (a) | That compliance with the use of system charging methodology facilitates effective competition in the generation and supply of electricity and (so far as is consistent therewith) facilitates competition in the sale, distribution and purchase of electricity | 2 | That compliance by each DNO Party with the Charging Methodologies facilitates competition in the generation and supply of electricity and will not restrict, distort, or prevent competition in the transmission or distribution of electricity or in participation in the operation of an Interconnector (as defined in the Distribution Licences)
Cost Reflectivity | (b) | That compliance with the use of system charging methodology results in charges which reflect, as far as is reasonably practicable, the costs (excluding any payments between transmission licensees which are made under and in accordance with the STC) incurred by transmission licensees in their transmission businesses and which are compatible with standard condition C26 (Requirements of a connect and manage connection) | 3 | That compliance by each DNO Party with the Charging Methodologies results in charges which, so far as is reasonably practicable after taking account of implementation costs, reflect the costs incurred, or reasonably expected to be incurred, by the DNO Party in its Distribution Business
Developments in Network Businesses | (c) | That, so far as is consistent with sub-paragraphs (a) and (b), the use of system charging methodology, as far as is reasonably practicable, properly takes account of the developments in transmission licensees' transmission businesses; | 4 | That, so far as is consistent with Clauses 3.2.1 to 3.2.3, the Charging Methodologies, so far as is reasonably practicable, properly take account of developments in each DNO Party’s Distribution Business
Compliance with European Regulation | (d) | Compliance with the Electricity Regulation and any relevant legally binding decisions of the European Commission and/or the Agency | 5 | That compliance by each DNO Party with the Charging Methodologies facilitates compliance with the Regulation on Cross-Border Exchanges in Electricity and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators
Effeciency of Implementation | (e) | Promoting efficiency in the implementation and administration of the system charging methodology | 6 | That compliance with the Charging Methodologies promotes efficiency in its own implementation and administration