## Market Participation assessment
| Scope of document: | This Excel file aims to: - Identify all relevant energy markets - both current and future - Identify the compatability between each of these markets and each access choice - eg any barriers to users with specific access choices operating in any of these markets - Where any barriers are identified, what are the options to remove this barrier; both in terms of changes to access and wider market arrangements - eg how balancing services conditions could be intergrated
| Consider: | What users want/can do and what DNOs want/can do
| Sources: | Base analysis on published documents and activites out for tender
|  | Markets that users could sell services to | Description | Detailed services that users can sell | Description
|  | Wholesale Markets | Wholsesale markets are where electricity is bought or sold by several different types of participant, including; i) companies that produce or import energy, such as electricity generators and sell their energy in the the wholesale markets, or ii) companies that consumer energy or have customers that consume energy, buy energy in the wholesale markets.
|  | Capacity Market | The overall objective of the capacity market (CM) is to achieve long-term security of supply. It is a mechanism introduced by government to ensure electricity supply continues to meet demand as more volatile and unpredictable renewable energy generation comes online. The CM market provides a regular payment to reliable forms of energy capacity in return for such capacity being available when the system is tight. The CM runs alongside the electricity market. Currently eligible participants include; new and existing generators, CHP, DSR, electricity storage and interconnectors. Those not currently eligible include; capacity recieveing support through RO, contracts for difference and small feed-in-tariffs, interconnected non-GB capacity and interconnectors themselves. Ofgem has just published a consultation on a five year review of the Capacity Market Rules.
|  | Contracts for difference (CFD) | The Contracts for Difference (CfD) scheme is the government’s main mechanism for supporting low-carbon electricity generation. A Contract for Difference is a contract between a low carbon electricity generator and the Low Carbon Contracts Company (LCCC). CfDs require Generators to sell energy into the market as usual but, to reduce this exposure to electricity prices, CfDs provide a variable top-up from the market price to a pre-agreed 'strike price'. At times of high market prices, these payments reverse and the Generator is required to pay back the difference between the market price and the strike price, thus protecting consumers from overpayment. T It gives greater certainty and stability of revenues to electricity generators by reducing their exposure to volatile wholesale prices, whilst protecting consumers from paying for higher support costs when electricity prices are high. The Contracts for Difference (Allocation) Regulations 2014 (as amended) and the round specific Allocation Framework outline the qualification criteria.
|  | Balancing Services | Balancing services are procured by the ESO to balance demand and supply and to ensure the security of electricity supply across the transmission system. | Frequency response services | National Grid ESO are licenced to control system frequency at 50Hz ± 1%. To fufill this obligation the ESO ensure there is sufficient generation and demand held in readiness to manage all credible circumstances that might result in frequency variations. There are two categories of frequency response. - Dynamic frequency response is a continuously provided service used to manage the normal second by second changes on the system - Non-dynamic response is usually a discrete service triggered at a defined frequency deviation.
|  |  |  | Reactive power services | Reactive power services are used to ensure the voltage levels on the system remain within a given range, above or below nominal voltage levels. The ESO instructs generators or other asset owners to absorb or generate reactive power, deceasing and increasing voltage respectively. The services used to manage voltage levels and users can engage in are; Obligatory reactive power service (ORPS) or Enhanced reactive power service (ERPS).
|  |  |  | Reserve services | Reserve services are required to enable the ESO to manage greater than forecast electricity demand on the transmission system. The ESO need access to additional power sources that are either increased generation or demand reduction. The differing sources of reserve services deliver the required services on different timescales. Thereby, reserve services at categorised by their reaction timescales. These are (from shortest to longest); Fast reserve, Short term operating reserve, Demand turn-up, Super Stable Export Limit (SEL), Balancing Mechanism (BM) start up, Replacement Reserve.
|  |  |  | System security services | To help maintain the security and quality of electricity supply across the transmission system, the ESO employ a number of techniques and services. Techniques include; buying or selling electricity in the balancing mechanism, buying or selling electricity through trading, and entering into contracts for balancing services. The relevant services used are; Intertrips, System Operator to System Operator (SO to SO), Black Start, Transmission contrainst management and Maximum generation.
|  | Provisision of services to networks | Flexibility services can be provided to the SO, TOs and DNOs. Additionally, suppliers and generators may also employ flexibility services. The services are used to manage imbalances (suppliers/generators), manage issues on networks (DNOs/TOs), avoid or defer investments, or support cheaper and more timely connections (DNOs/TOs). Additionally, the SO uses flexibility services by the provision of balancing services. There are differing types of providers; Energy Storage Providers, DG, Industrial & Commerical (I&C), and Domestic customers. | DNO flexibility market | Service providers can participate in local DNO flexibility markets, providing services.
|  |  |  | TO markets | The TO makes decisions on managing issues on networks, avoiding or deferring investment to support faster and cheaper connections, in conjunction with the SO.
|  | Access options | Description | Detailed design choices of access options | Description
|  | Firmness | The ongoing certainty of network capacity being available for a particular connection arrangment. This also includes the user's eligibility to compensation if access to the network is restricted. | Non-firm - physical drivers | Network access is, to some extent, defined by the physical assets that connect them to the wider system and the design of the network at the point they are connected. Users level of firmness could be defined this way, for example single vs dual circuit.
|  |  |  | Non-firm - consumer outcomes | Firmness defined by measuring the customer's experiences of curtailment (their continuity of access). Variables that could be measured include; number of curtailments, aggregate time curtailed, time window curtailment, energy lost by curtailment or a combination.
|  |  |  | Firm | A firm access option would involve financial reminbursement for users when their access to the system is curtailed.
|  | Time-profiled | A time-profiled access option provides access to the network that is not continuous, year-round, but instead within certain time periods. For example, off-peak access, or peak access. | Static time-profiled | A static time-profiled access option would involve access to the network varying over time. Examples include; half-hourly, day, week, monthly, seasonal.
|  |  |  | Dynamic time-profiled | With a dynamic time-profiled access option, a user's access to the network would vary over time depending on specific conditions. For example, access could change with windspeed - ie above 30mph access is enabled.
|  | Time-limited | This access option would involve network users opting for time-limited access arrangements - ie short-term access arrangements. | Short term | A short-term time-limited access arrangement (eg one year) could be suitable where long-term access is not immediately available or where the user does not want to make a long-term commitment.
|  |  |  | Long term | These access rights would be of a fixed duration of multiple years. For example, a user may choose a 15 year access right, providing more clarity to system and network operators about long-term network demand, supporting more efficient long-term network planning. This access option is considered a low priority design choice.
|  | Shared | Multiple users across multiple sites in the same broad area obtain access to the network, up to a jointly agreed level, with the ability to coordinate between themselves how they share the access. | Local constraint | This access option would entail multiple users behind a constraint and within the same specific location share access.
|  |  |  | Wide area constraint | Multiple users behind a constraint and within a broader location would share access.
|  | Access conditions | Use-It-or-Sell-It principles could be introduced as a condition of access arrangements which would likely involve underutilised capacity becoming automatically available for resale, with remuneration being returned to the original user. | UIOSI | This access condition would require the user to state at a given time if they are going to use the capacity. If not, then the rights revert back to the system, and are sold. This would require a market for the capacity to be resold. The original user may be indeminifed by the amount obtained by the resale. This access condition is considered a low priority to the SCR work on access arrangements.
|  |  | Use-It-or-It-or-Lose-It principles could be introduced as a condition of access arrangements which would likely involve underutilised capacity rights being returned to the system and the original user forfeiting the amount paid. | UIOLI | This access condition would require the user to state at a given time if they are going to use the capacity. If not, then the rights revert back to the system, and are sold. The original user would not receive remuneration for the resale of the rights. This access condition is considered a low priority to the SCR work on access arrangements.
DSO Markets
Are users with alternative access choices able to operate in other markets? |  | Wholesale market | Capacity Market | CfD | Balancing Services |  |  |  | Current markets | Planned future markets |  | Potential future markets |  |  | TO markets
[5 empty] | Frequency response services | Reactive power services | Reserve services | System security services | Flex for reinforcement | Flex for planned outage | Flex for unplanned outages | Reactive power | Curtailment market | Ancillary services to ESO
Firmness | Non-firm - physical drivers | Once a user has access rights to export onto the energy system, they are eligible to operate in the wholesale market. This access options may place limitations on when a user can access this market. | Parties with non firm access choices are not excluded from the Capacity Market. We have just consulted on how parties with non-firm access rights should be taken into account as part of CM Rules (consultation just closed). | Users are required to provide information on their connection agreement (eg a signed connection agreement or connection offer). No barriers identified that would exclude users with non-firm access from participating in CfD. | Must be able to provide response at required time, i.e. firm, for FFR tender. Auction trial will allow closer to realtime procurement which will mitigate this to some extent. | Mainly transmission only connected service to date (CLASS can provide). Power Potential project looking how embedded generation could provide reactive power services. Need to be able to provide service when needed. Depends also on technology type - thermal plant generally cannot produce MVARs without a few MWs and therefore would require access to provide reactive power. Generators with power electronics e.g. batteries and interconnectors probably can provide without MWs and therefore without access. | Users own risk that they will be available when instructed. NGESO has processes in place to monitor availability. | Currently only firm, 24/7 access can provide black start. NIC project is currently looking at whether black start can be provided by embedded generation. Under grid code BC2.9 an emergency instruction can override anything so if black start was required, the market would be suspended and a black start providers access could be overriden? Is this double counting? What would happen if a connection for example wanted to never have normal system access, only to provide black start on the rare occasion it was needed? | Non-firm customers are already subject to curtailment so would not be called on through a market mechanism. This may change depending on future arrangements for non-firm access. | Non-firm customers are already subject to curtailment so would not be called on through a market mechanism. This may change depending on future arrangements for non-firm access. | Non-firm customers are already subject to curtailment so would not be called on through a market mechanism. This may change depending on future arrangements for non-firm access. | Assuming customer's equipment can flex reactive power. If the reactive power requirement is not in conflict with the constraint being managed by the user's access arrangements, participation would be possible. | Firm, non-firm and time-profiled users could all potentially participate in these markets to either trade away their curtailment obligations or offer to fulfil another's obligation. | Dependent on ESO requirements, see columns to the left. However, synergies with DSO constraints and the higher diversity from being involved in a larger DSO led scheme may be able to increase participation in some markets. | TO coordinates with SO and make use of SO System Security services to mange constraints and connections efficiently as possible.
| Non-firm - consumer outcomes | Once a user has access rights to export onto the energy system, they are eligible to operate in the wholesale market. This access options may place limitations on when a user can access this market. | Parties with non firm access choices are not excluded from the Capacity Market. We have just consulted on how parties with non-firm access rights should be taken into account as part of CM Rules (consultation just closed). | Users are required to provide information on their connection agreement (eg a signed connection agreement or connection offer). No barriers identified that would exclude users with non-firm access from participating in CfD. | Must be able to provide response at required time, i.e. firm, for FFR tender. Auction trial will allow closer to realtime procurement which will mitigate this to some extent. | Mainly transmission only connected service to date (CLASS can provide). Power Potential project looking how embedded generation could provide reactive power services. Need to be able to provide service when needed. Depends also on technology type - thermal plant generally cannot produce MVARs without a few MWs and therefore would require access to provide reactive power. Generators with power electronics e.g. batteries and interconnectors probably can provide without MWs and therefore without access. |  |  | Users could be contracted to flex beyond their defined curtailment obligations to help further address a constraint. However, this will depend on the requirements of the procured flexibility, it may be that further curtailment is required in capacity terms rather than for a longer time window. | Users could be contracted to flex beyond their defined curtailment obligations to help further address a constraint. However, this will depend on the requirements of the procured flexibility, it may be that further curtailment is required in capacity terms rather than for a longer time window. | Users could be contracted to flex beyond their defined curtailment obligations to help further address a constraint. However, this will depend on the requirements of the procured flexibility, it may be that further curtailment is required in capacity terms rather than for a longer time window.
| Firm | Once a user has access rights to export onto the energy system, they are eligible to operate in the wholesale market. | Parties with non firm access choices are not excluded from the Capacity Market. We have just consulted on how parties with non-firm access rights should be taken into account as part of CM Rules (consultation just closed). | Users are required to provide information on their connection agreement (eg a signed connection agreement or connection offer). No barriers identified that would exclude users with non-firm access from participating in CfD. | Firm access allows user to provide response at required time for FFR tender. | Mainly transmission only connected service to date (CLASS can provide). Power Potential project looking how embedded generation could provide reactive power services. Need to be able to provide service when needed. | Firm access allows user to provide required response. |  | Users can participate in this market in an unconstrained fashion | Users can participate in this market in an unconstrained fashion | Users can participate in this market in an unconstrained fashion | No constraints on participation assuming customer's equipment has ability to flex reactive power.
Time-profiled | Static time profiled | Once a user has access rights to export onto the energy system, they are eligible to operate in the wholesale market. This access options may place limitations on when a user can access this market. | Parties with non firm access choices are not excluded from the Capacity Market. We have just consulted on how parties with non-firm access rights should be taken into account as part of CM Rules (consultation just closed). | Users are required to provide information on their connection agreement (eg a signed connection agreement or connection offer). No barriers identified that would exclude users with time-profiled access from participating in CfD. | Currently bid in 4 hour blocks (EFA blocks). If time profiled access is in blocks less than 4 hours, then users wouldn’t be able to tender for frequency services under current rules unless they were aggregated | Mainly transmission only connected service to date (CLASS can provide). Power Potential project looking how embedded generation could provide reactive power services. Need to be able to provide service when needed. Depends also on technology type - thermal plant generally cannot produce MVARs without a few MWs and therefore would require access to provide reactive power. Generators with power electronics e.g. batteries and interconnectors probably can provide without MWs and therefore without access. | Fast reserve must be minimum bid size of 25MW and be able to bid in EFA blocks (4 hours). This would be red for CVA registered generators if their access was for less than the 4 hour period as they cannot aggregate. STOR has two windows a day so users must be able to participate for the whole window |  | Access to this market will depend on which constraint is driving the time-profile. These users could potentially solve an unassociated constraint but would need pre-qualification. | Participation in this marklet would be dependent on an assessment of whether the time-profile is compatible with the requirements for the outage. | Given that the power will be out in this scenario, any available export capacity is likely to be suitable for restoration purposes. Arrangements for this service are yet to be determined. | Assuming customer's equipment can flex reactive power. If the reactive power requirement is not in conflict with the constraint being managed by the user's access arrangements, participation would be possible.
| Dynamic time-profiled | Once a user has access rights to export onto the energy system, they are eligible to operate in the wholesale market. This access options may place limitations on when a user can access this market. | Parties with non firm access choices are not excluded from the Capacity Market. We have just consulted on how parties with non-firm access rights should be taken into account as part of CM Rules (consultation just closed). | Users are required to provide information on their connection agreement (eg a signed connection agreement or connection offer). No barriers identified that would exclude users with time-profiled access from participating in CfD. |  | Mainly transmission only connected service to date (CLASS can provide). Power Potential project looking how embedded generation could provide reactive power services. Need to be able to provide service when needed. Depends also on technology type - thermal plant generally cannot produce MVARs without a few MWs and therefore would require access to provide reactive power. Generators with power electronics e.g. batteries and interconnectors probably can provide without MWs and therefore without access.
Time-limited | Short term | Once a user has access rights to export onto the energy system, they are eligible to operate in the wholesale market. This access options may place limitations on when a user can access this market. | Current Capacity Agreements are between 1 and 15 years. This is incompatable with a short term access right (ie of less than a year). | CfD contract lengths are 15 years. This is incompatable with a short term access right (ie of less than a year). | Must be able to provide response at required time, they can just tender for the periods when they know they will have access e.g. one year, but not the following | The provider has a choice of term for Enhanced Reactive Power Services, from a minimum period of 12 months and thereafter in 6 month increments (12, 18, 24, 30, 36 months, etc.). If the period aligns with a users access right then they could tender. | Users own risk that they will be available when instructed. NGESO has processes in place to monitor availability. |  | Users would likely be able to access these markets assuming their time limit is not incompatible with fklexibility contract requirements. This limitation is more likely to affect short-term users. Also assumes underlying access is firm, if not, they will be subject to restrictions as detailed above/below. | Assuming the user has access at the time of the planned outage, they could participate in this market. This will be dependent on the contractual arrangements e.g. a single planned outage or a longer term contract for multiple outages. | Assuming the user has access at the time of the planned outage, they could participate in this market. This will be dependent on contract length requirements |  | Participation for these users would depend on the contract length required for participation in the marklet to give other participants the certainty they require.
| Long term | Once a user has access rights to export onto the energy system, they are eligible to operate in the wholesale market. This access options may place limitations on when a user can access this market. | Current Capacity Agreements are between 1 and 15 years. This may be incompatable with long term, fixed duration access rights (depending on the length of the access right). | CfD contract lengths are 15 years, this may be incompatable with long term, fixed duration access rights (depending on the length of the access right). | Must be able to provide response at required time, they can just tender for the periods when they know they will have access e.g. one year, but not the following | The provider has a choice of term for Enhanced Reactive Power Services, from a minimum period of 12 months and thereafter in 6 month increments (12, 18, 24, 30, 36 months, etc.). If the period aligns with a users access right then they could tender. | Users own risk that they will be available when instructed. NGESO has processes in place to monitor availability.
Shared | Local constraint | Once a user has access rights to export onto the energy system, they are eligible to operate in the wholesale market. This access options may place limitations on when a user can access this market. | At the moment contracts are signed with individual parties. Unsure how parties with a shared access right would be able to engage with this market (eg it may require the development of a multple party contract). If two parties sharing access both have a capacity market contract, they both physically cannot deliver if required, however nothing in the rules stopping them both having one. | At the moment contracts are signed with individual parties. Unsure how parties with a shared access right would be able to engage with this market (eg it may require the development of a multple party contract) | Must be able to provide response at required time, i.e. firm, for FFR tender. Auction trial will allow closer to realtime procurement which will mitigate this to some extent. | Mainly transmission only connected service to date (CLASS can provide). Power Potential project looking how embedded generation could provide reactive power services. Need to be able to provide service when needed. Depends also on technology type - thermal plant generally cannot produce MVARs without a few MWs and therefore would require access to provide reactive power. Generators with power electronics e.g. batteries and interconnectors probably can provide without MWs and therefore without access. | Users' own risk that they will be available when instructed. NGESO has processes in place to monitor availability |  | Access to this market would be possible if a material change can be achieved by all the users under the shared access. I.e. if one user responds but another user within the shared access agreement takes the opposite action, the net effect to the network is zero. | Access to this market would be possible if a material change can be achieved by all the users under the shared access. I.e. if one user responds but another user within the shared access agreement takes the opposite action, the net effect to the network is zero. | Access to this market would be possible if a material change can be achieved by all the users under the shared access. I.e. if one user responds but another user within the shared access agreement takes the opposite action, the net effect to the network is zero. |  | Access to this market would be possible if a material change can be achieved by all the users under the shared access. I.e. if one user responds but another user within the shared access agreement takes the opposite action, the net effect to the network is zero.
| Wide area constraint | Once a user has access rights to export onto the energy system, they are eligible to operate in the wholesale market. This access options may place limitations on when a user can access this market. | At the moment contracts are signed with individual parties. Unsure how parties with a shared access right would be able to engage with this market (eg it may require the development of a multple party contract). If two parties sharing access both have a capacity market contract, they both physically cannot deliver if required, however nothing in the rules stopping them both having one. | At the moment contracts are signed with individual parties. Unsure how parties with a shared access right would be able to engage with this market (eg it may require the development of a multple party contract) | Must be able to provide response at required time, i.e. firm, for FFR tender. Auction trial will allow closer to realtime procurement which will mitigate this to some extent. | Mainly transmission only connected service to date (CLASS can provide). Power Potential project looking how embedded generation could provide reactive power services. Need to be able to provide service when needed. Depends also on technology type - thermal plant generally cannot produce MVARs without a few MWs and therefore would require access to provide reactive power. Generators with power electronics e.g. batteries and interconnectors probably can provide without MWs and therefore without access. | Users' own risk that they will be available when instructed. NGESO has processes in place to monitor availability
Access conditions | UIOSI | Once a user has access rights to export onto the energy system, they are eligible to operate in the wholesale market. This access options may place limitations on when a user can access this market. | No barriers identified that would exclude users with these access conditions from participating in CM. | Users are required to provide information on their connection agreement (eg a signed connection agreement or connection offer). No barriers identified that would exclude users with these access conditions from participating in CfD. | Must be able to provide response at required time, if know in advance the access is going to be lost / sold, then users could not tender for these periods | The provider has a choice of term for Enhanced Reactive Power Services, from a minimum period of 12 months and thereafter in 6 month increments (12, 18, 24, 30, 36 months, etc.). If the period aligns with a users access right then they could tender. | Users' own risk that they will be available when instructed. NGESO has processes in place to monitor availability |  | If the access required to respond to constraints is lost or sold, this would limit the users' ability to participate in this market. | If the access required to respond to constraints is lost or sold, this would limit the users' ability to participate in this market. | If the access required to respond to constraints is lost or sold, this would limit the users' ability to participate in this market. |  | If the access required to respond to constraints is lost or sold, this would limit the users' ability to participate in this market.
| UIOLI | Once a user has access rights to export onto the energy system, they are eligible to operate in the wholesale market. This access options may place limitations on when a user can access this market. | No barriers identified that would exclude users with these access conditions from participating in CM | Users are required to provide information on their connection agreement (eg a signed connection agreement or connection offer). No barriers identified that would exclude users with these access conditions from participating in CfD. | Must be able to provide response at required time, if know in advance theit access is going to be lost / sold, then users could not tender for these periods | The provider has a choice of term for Enhanced Reactive Power Services, from a minimum period of 12 months and thereafter in 6 month increments (12, 18, 24, 30, 36 months, etc.). If the period aligns with a users access right then they could tender. | Users' own risk that they will be available when instructed. NGESO has processes in place to monitor availability
| Key | Description
| Green | No compatability concerns - user eligible to operate in current markets. No further narrative required.
| Amber | Compatability concerns - unclear whether access choice is compatible with market / current rules
| Red | Not compatible - user not eligible to operate in market - explain.
Further information
| Which market, service or access choice does this relate to? Or not at all | Notes