## Firmness (hidden)
|  | Feasibility category | Description
|  | Customer information | The information that the network/system operator needs from the customer to allow them to offer the access rights.
|  | Metering | This can include the requirement to install new/replacement metering
|  | Data Collection | This can include additional meter reads, the collection/aggregation of additional data or new data (capacity for instance) or the requirement to hold the data in a different format (centrally for instance).
|  | Data processing | This can include the aggregation of new data or the requirement for the data to be passed through in a different format (individual half-hourly data for instance).
|  | Charge calculation | The requirement for parties who calculate the charges (distribution network operators/Electricity System Operator) to update their charging methodology or models.
|  | Billing and calculation systems | This can include changes to the billing systems of the distribution network operators/Electricity System Operator, but is extended to where we thought changes might have to occur for other key stakeholders involved in the charge process (Elexon/Suppliers).
|  | Settlement | Where a charging option requires reconciliation, we had to understand the extent to which this might affect the categories above.
|  | Planning or engineering standards | Would this access option require changes to planning or engineering standards. What is the scale of the change and how long would this take to implement.
|  | Alignment with wider markets | Is a user able to operate in wider markets if it accepts this access option.
|  | Operational systems and interventions | Changes to how the system is operated that are required to offer this access choice.
|  | Control equipment | Any control equipment (either customer or DNO owned) that would be required to offer this access choice.
|  | Customer engagement and commercial agreements | Any changes to commercial agreements or customer engagement processes (eg management of customers) that would be required to offer this access choice.
|  | Legislative change | Does it require legislative change to implement this option? [Ofgem to consider]
|  | Access options | Description | Detailed services that users can sell | Description
|  | Firmness | This is the extent to which a user’s access to the network can be restricted and their eligibility for compensation if it is restricted. | Non-firm - physical drivers | Network access is, to some extent, defined by the physical assets that connect them to the wider system and the design of the network at the point they are connected (eg single vs dual circuit, or type of constraint).
|  |  |  | Non-firm - consumer outcomes | Firmness could be defined measuring the customer’s experiences of curtailment (eg number of curtailments, aggregate time curtailed, time window curtailment, energy lost by curtailment, combination).
|  |  |  | Firm | Users are financially reimbursed when their access to the system is curtailed. There are different ways that financial firmness could be calculated (eg value of avoided network costs, value of lost energy or value of market value).
|  | Time-profiled | This would provide choices other than continuous, year-round access rights (eg ‘peak’ or ‘off-peak’ access). | Static time profiled | Access varies over agreed time periods (eg HH, day, week, monthly, seasonal).
|  |  |  | Dynamic time-profiled | Access varies over time based on specific conditions (eg wholesale market price, wind speed, how sunny it is).
|  | Time-limited | This could provide a choice for limited duration access where long term access is not immediately available or where the user does not want to make a long term commitment | Short term | Fixed duration, short term access to the network (eg less than one year).
|  |  |  | Long term | Fixed duration, long term access to the network (eg more than one year).
|  | Shared | Users across multiple sites in the same broad area obtain access to the whole network, up to a jointly agreed level. | Local constraint | Multiple users, behind a constraint but within the same specific location, share access.
|  |  |  | Wide area constraint | Multiple users, behind a constraint and within a broader location, share access.
|  | Access conditions | This could involve introducing conditions on access, for example ‘use-it-or-lose-it’ or ‘use-it-or-sell-it’. | UIOSI | Introduce conditions of access that users must "use-it-or-lose it".
|  |  |  | UIOLI | Introduce conditions of access that users must "use-it-or-sell it".
How feasible is it to offer any of these access choices? |  | Are system/network operators already offering this access choice? | Feasibility considerations - Outline if there is a potential feasibility. Where a feasibility issue is identified - try to quantify the scale of the issue (eg the time to address this issue, the cost to address this issue)
|  |  | Customer information | Metering | Data Collection | Data processing | Charge calculation | Billing and calculation systems | Settlement | Planning or engineering standards | Alignment with wider markets | Operational systems and interventions | Control equipment | Customer engagement and commercial agreements | Legislative change | Would it be infeasible to offer this access choice to small users?
Firmness | Non-firm - physical drivers | Yes, DNOs and ESO offer non-firm access arrangements to the distribution and transmission network connected users respectively, although it may not be described as an access choice. | 1. Maximum Power Requirements ie MIC and/or MEC, 2. Acceptable level of network availability/unavailability (ie curtailment) for whole or part of the MPR values, 3. Acceptable arrangements for signalling/delivering network unavailability. | Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). If a flexible non-firm access arrangement has been agreed with the customer then monitoring and control may be fitted at the customer's interface point or linked to the customer's internal systems. | Normal data collection methods for collection data for settlements will be used as per the BSC. If a flexible non-firm access arrangement has been agreed with the customer then data will be retrieved from the local monitoring equipment, with frequency, resilience etc dependent upon the requirements of the DNO's control system (whether NMS or ANM or equivalent). | Normal data processing methods for settlements will be used as per the BSC. The data processing requirements for monitoring/controlling the customer are dependent upon the type and size of the customer, their voltage of connection and the requirements of the DNO's control system. | Ofgem to consider | Ofgem to consider | Ofgem to consider | All connections with be compliant with the EREC P2 and the company's own polices and standards, driven by the type and size of the customer. Any new access arrangements/ products would need to be assessed against the currently arrangements and changes made where appropriate. | Being considered as part of separate workstream | If a non-firm access arrangement has been agreed with the customer then dependent upon the solution offered by the DNO and agreed with the customer a DNO may deploy on operational system (whether NMS or ANM or equivalent) to manage the conditions agreed for the non-firm arrangements which may involve intervention actions. | If a non-firm access arrangement has been agreed with the customer then dependent upon the solution offered by the DNO and agreed with the customer a DNO may deploy control equipment onsite to manage intervention actions. The solution would be contingent upon the type and size of the customer. | If a non-firm access arrangement has been agreed with the customer then these arrangements will be formalised in the commercial agreement (ie connection agreement) between the DNO and the customer. | Ofgem to consider | No, it could be a standard approach; but there would be difficulty in setting and maintaining individual capacity limits, where appropriate.
| Non-firm - consumer outcomes | I'm not aware that DNOs or the ESO follows a consumer outcomes process to develop a non-firm access arrangement for a new connection to the distribution or transmission network. | 1. Maximum Power Requirements ie MIC and/or MEC, 2. Acceptable level of network availability/unavailability (ie curtailment) for whole or part of the MPR values, 3. Acceptable arrangements for signalling/delivering network unavailability. | Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). If a flexible non-firm access arrangement has been agreed with the customer then monitoring and control may be fitted at the customer's interface point or linked to the customer's internal systems. | Normal data collection methods for collection data for settlements will be used as per the BSC. If a flexible non-firm access arrangement has been agreed with the customer then data will be retrieved from the local monitoring equipment, with frequency, resilience etc dependent upon the requirements of the DNO's control system (whether NMS or ANM or equivalent). | Normal data processing methods for settlements will be used as per the BSC. The data processing requirements for monitoring/controlling the customer are dependent upon the type and size of the customer, their voltage of connection and the requirements of the DNO's control system. | Ofgem to consider | Ofgem to consider | Ofgem to consider | All connections with be compliant with the EREC P2 and the company's own polices and standards, driven by the type and size of the customer. Any new access arrangements/ products would need to be assessed against the currently arrangements and changes made where appropriate. | Being considered as part of separate workstream | If a non-firm access arrangement has been agreed with the customer then dependent upon the solution offered by the DNO and agreed with the customer a DNO may deploy on operational system (whether NMS or ANM or equivalent) to manage the conditions agreed for the non-firm arrangements which may involve intervention actions. | If a non-firm access arrangement has been agreed with the customer then dependent upon the solution offered by the DNO and agreed with the customer a DNO may deploy control equipment onsite to manage intervention actions. The solution would be contingent upon the type and size of the customer. | If a non-firm access arrangement has been agreed with the customer then these arrangements will be formalised in the commercial agreement (ie connection agreement) between the DNO and the customer. | Ofgem to consider | No, it could be a standard approach; but there would be difficulty in setting and maintaining individual capacity limits, where appropriate.
| Firm | Yes, DNOs and ESO offer firm access arrangements to the distribution and transmission network connected users respectively, although it may not be described as an access choice. Note, not every customer would be offered a firm connection eg a domestic customer. | 1. Maximum Power Requirements ie MIC and/or MEC. | Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). Note, if a DG user an RTU should be fitted at the customer's interface point for all DG above x kW so that the NMS/ANM systems has near real-time information on the operation of the DG. | Normal data collection methods for collection data for settlements will be used as per the BSC. If a firm DG access arrangement has been agreed with the customer then data will be retrieved from the local monitoring equipment, with frequency, resilience etc dependent upon the requirements of the DNO's control system (whether NMS or ANM or equivalent). | Normal data processing methods for settlements will be used as per the BSC. The data processing requirements for monitoring/controlling the customer are dependent upon the type and size of the customer, their voltage of connection and the requirements of the DNO's control system. | Ofgem to consider | Ofgem to consider | Ofgem to consider | All connections with be compliant with the EREC P2 and the company's own polices and standards, driven by the type and size of the customer. Any new access arrangements/ products would need to be assessed against the currently arrangements and changes made where appropriate. | Being considered as part of separate workstream | If a firm access arrangement has been agreed with the customer then dependent upon the solution offered by the DNO and agreed with the customer a DNO may deploy on operational system (whether NMS or ANM or equivalent) to manage the conditions agreed for the non-frim arrangements. | If a firm access arrangement has been agreed with the customer then dependent upon the solution offered by the DNO and agreed with the customer a DNO may not deploy control equipment onsite, other than the standard protective equipment. | If a non-firm access arrangement has been agreed with the customer then these arrangements will be formalised in the commercial agreement (ie connection agreement) between the DNO and the customer. | Ofgem to consider | Yes.
Time-profiled | Static time profiled | Yes, both formally and informally. To date, these arrangements rely on contractual terms to achieve compliance form customers. However some customers do have equipment behind th emeter to ensure demand is managed within the appropriate window(s). | 1. Overall MIC/MEC for unconstrained periods, 2. Timing and allowed level of access for the windows in which access is limited | This would require metering to at least the resolution required to monitor compliance with the set windows in which access is limited | No special data collection requirements beyond the metering data and initial customer requirements gathering | Metering data may need to be monitored to determine if customer has remained compliant. If actively controlled by DNO, the incoming data and control signals would need proiducing from an ANM system. | Ofgem to consider | Ofgem to consider | Ofgem to consider | This may require an update to planning standards to account for changes such as a erosion of diversity. | Being considered as part of separate workstream | If the time profiled connection is to be actively enforced by the DNO, this will require an ANM system | If the time profiled connection is to be actively enforced by the DNO, this will require an ANM system | Time profiles that suit customers must be determined by engaging the relevant customers. Connection agreements need to reflect the time profile | Ofgem to consider | No, however the systems and processes to manage this could be significant
| Dynamic time-profiled | No | 1. Overall MIC/MEC for unconstrained periods, 2. Parameters for the dynamic time profiled access 3. Arrangements for updating time profiles | This would require metering to at least the resolution required to monitor compliance with the set windows in which access is limited | No special data collection requirements beyond the metering data and initial customer requirements gathering | Network data will need to be monitored and processed to produce dynamic time profiles. Metering data will need to be processed to ensure compliance by the customer if ANM not used. | Ofgem to consider | Ofgem to consider | Ofgem to consider | Planning standards will need updating to take account of erosion of diversity etc. with the added complication of taking account of how things will change over time. | Being considered as part of separate workstream | If the dynamic time profiled connection is to be actively enforced by the DNO, this will require an ANM system | If the dynamic time profiled connection is to be actively enforced by the DNO, this will require an ANM system | Time profiles that suit customers must be determined by engaging the relevant customers. The arrangements for communicating time profiules with customers will also have to be engaged on. Connection agreements need to reflect the time profile | Ofgem to consider | No, however the systems and processes to manage this could be significant
Time-limited | Short term | Yes, through arrangements such as Temporary Building Supplies etc. | 1. Maximum Power Requirements 2. Time limit on connection (potentially in stages) | Nothing beyond standard metering | Collection of customer requirements upfront and metering data ongoing | Nothing beyond normal metering for billing purposes. Potential requiremnt to check for compliance with staged levels of access. | Ofgem to consider | Ofgem to consider | Ofgem to consider | Planning standards will need updating to reflect the shorter timeframe of the capacity being unavailable to other users | Being considered as part of separate workstream | None, unless needed ofr other aspects of access or to enforce staged access arrangements | None, unless needed ofr other aspects of access or to enforce staged access arrangements | Engagement with customers to determine what timeframe they require access and potentially wider customers where there is interaction. Connection agreements will have to reflect time limits | Ofgem to consider | No, however records of time limits would have to be kept and may increase other operational work such as monitoring/disconnections
| Long term | Yes, on a bespoke basis bilaterally between customers | 1. Maximum Power Requirements 2. Time limit on connection (potentially in stages) | Nothing beyond standard metering | Collection of customer requirements upfront and metering data ongoing | Nothing beyond normal metering for billing purposes. Potential requiremnt to check for compliance with staged levels of access. | Ofgem to consider | Ofgem to consider | Ofgem to consider | Planning standards will need updating to reflect the shorter timeframe of the capacity being unavailable to other users | Being considered as part of separate workstream | None, unless needed ofr other aspects of access or to enforce staged access arrangements | None, unless needed ofr other aspects of access or to enforce staged access arrangements | Engagement with customers to determine what timeframe they require access and potentially wider customers where there is interaction. Connection agreements will have to reflect time limits | Ofgem to consider | No, however records of time limits would have to be kept and may increase other operational work such as monitoring/disconnections
Shared | Local constraint | Yes, arrangements exist where DNO(s) have connected plant behind a constraint allowing the sharing of a defined capacity (between 2 connected parties). Example identified allows one party normal access with the other's access limited to the headroom available during any given time period. | 1. Maximum Power Requirements for 'capacity sharing' parties 2. Acceptable level of network availability/unavailability (ie curtailment) for whole or part of the MPR values, 3. Acceptable arrangements for signalling/delivering network unavailability. | BSC compliant HH metering to at least the resolution required to monitor compliance with the set windows in which access is limited. | Normal data collection methods for collection data for settlements will be used as per the BSC. The constrained customer is responsible for controlling and monitoring both its own import of electricity and that of the other party to the sharing agreement to ensure the aggregate capacity is not breached. | Normal data processing methods for settlements will be used as per the BSC. | Ofgem to consider | Ofgem to consider | Ofgem to consider | All connections with be compliant with the EREC P2 and the company's own polices and standards, driven by the type and size of the customer. Any new access arrangements/ products would need to be assessed against the currently arrangements and changes made where appropriate. | Being considered as part of separate workstream | Loadings monitored by the DNO's network management system. | Loadings monitored by the DNO's network management system. Protection equipment in place which will be self-resetting or electrical reset, locally or by the NMS facility. Customer has primary responsibility to monitor local loadings to ensure aggregate capacity is not breached. | Shared access arrangement formalised in the respective connection agreements between the DNO and the 'capacity sharing' parties. In addition, a bilateral supplemental agreement is entered into between the 'capacity sharing' parties. | Ofgem to consider | No, although detailed requirements would require to be developed including communications, metering and protection requirements to develop solution that was not cost prohibitive.
| Wide area constraint | Yes, arrangements exist where DNOs have connected plant behind a wider constraint (potentially transmission). Wide area ANM schemes are an example of this where parties are generally connected on a LIFO basis. In addition, arrangements exist where plant is constrained due to wider constraints and a local scheme implemented to allow plant to operate when local load can absorb generation export. | 1. Maximum Power Requirements for 'capacity sharing' parties 2. Acceptable level of network availability/unavailability (ie curtailment) for whole or part of the MPR values, 3. Acceptable arrangements for signalling/delivering network unavailability. | BSC compliant HH metering to at least the resolution required to monitor compliance with the set windows in which access is limited. | Normal data collection methods for collection data for settlements will be used as per the BSC. Local monitoring equipment will collate such data as is required for operation of DNO ANM system (or equivalent). | Normal data processing methods for settlements will be used as per the BSC. | Ofgem to consider | Ofgem to consider | Ofgem to consider | All connections with be compliant with the EREC P2 and the company's own polices and standards, driven by the type and size of the customer. Any new access arrangements/ products would need to be assessed against the currently arrangements and changes made where appropriate. | Being considered as part of separate workstream | Loadings monitored by the DNO's ANM system (or equivalent). | DNO ANM system (or equivalent) used to monitor and control (issue instructions). | Shared access arrangement formalised in connection agreement between the DNO and the 'capacity sharing' party(ies). | Ofgem to consider | No, although detailed requirements would require to be developed including communications, metering and protection requirements to develop solution that was not cost prohibitive.
Access conditions | UIOSI | I am not aware if any DNO/ESO offer this access condition | 1. Maximum Power Requirements i.e. MIC and/or MEC. 2. Time limit or set date (minimum timescale/ maximum timescale) where the customer confirms if they do not use the available capacity they may "lose" that. | For CT metering arrangements - Normal metering arrangements apply. DNO reviews data on a monthly basis. | Normal data collection methods for collection data for settlements will be used as per the BSC. | Current system and arrangements are able to provide the necessary information. | Ofgem to consider | Ofgem to consider | Ofgem to consider | Restrictions on POC locations must be considered. | Being considered as part of separate workstream | Modification in the National Terms of Connection may need to be made. (after a period of time customer must sell the unused capacity) | Current arrangements allow DNOs to measure capacity used in the event of over/under usage | 1. Connection agreement has to specify conditions of which the customers can sell the capacity and after a specific time period. When they are able do so needs to be formalised. 2. These need to be formalised in the commercial agreement (i.e. connection agreement) between the DNO and the customer. 3. National Terms of Connection needs to be modified. 4.Methodology for managing queue arrangements may need to be modified. | Ofgem to consider | It would be infeasible
| UIOLI | Yes, 1. According to the National Terms of Connection DNOs can request unused capacities, via mutual agreement, and this capacity can be made available to other customers. 2. DNO may offer capacity ramping arrangements (CCMS 5.51 - 5.55) for customers where the customer may lose their unused capacity. | 1. Maximum Power Requirements i.e. MIC and/or MEC. 2. Time limit or set date (minimum timescale/ maximum timescale) where the customer confirms if they do not use the available capacity they may "lose" that. | For CT metering arrangements - Normal metering arrangements apply. DNO reviews data on a monthly basis. | Normal data collection methods for collection data for settlements will be used as per the BSC. | Current system and arrangements are able to provide the necessary information. | Ofgem to consider | Ofgem to consider | Ofgem to consider | not aplicable | Being considered as part of separate workstream | According to the National Terms of Connection (NCT) the capacity usage can be reviewed by the DNO. If under usage identified, DNOs can request variation of the connection agreement. | Current arrangements allow DNOs to measure capacity used in the event of over/under usage. | 1. Connection agreement has to specify conditions of which the customers may lose the unused capacity after a certain time limit. 2. These need to be formalised in the commercial agreement (i.e. connection agreement) between the DNO and the customer. 3. National Terms of Connection needs to be modified. | Ofgem to consider | It would be infeasible
Standardised/bespoke | Standardised options
Bespoke options

## Firmness - revised
|  | Feasibility category | Description
|  | Customer information | The information that the network/system operator needs from the customer to allow them to offer the access rights.
|  | Metering | This can include the requirement to install new/replacement metering
|  | Data Collection | This can include additional meter reads, the collection/aggregation of additional data or new data (capacity for instance) or the requirement to hold the data in a different format (centrally for instance).
|  | Data processing | This can include the aggregation of new data or the requirement for the data to be passed through in a different format (individual half-hourly data for instance).
|  | Charge calculation | The requirement for parties who calculate the charges (distribution network operators/Electricity System Operator) to update their charging methodology or models.
|  | Billing and calculation systems | This can include changes to the billing systems of the distribution network operators/Electricity System Operator, but is extended to where we thought changes might have to occur for other key stakeholders involved in the charge process (Elexon/Suppliers).
|  | Settlement | Where a charging option requires reconciliation, we had to understand the extent to which this might affect the categories above.
|  | Planning or engineering standards | Would this access option require changes to planning or engineering standards. What is the scale of the change and how long would this take to implement.
|  | Alignment with wider markets | Is a user able to operate in wider markets if it accepts this access option.
|  | Operational systems and interventions | Changes to how the system is operated that are required to offer this access choice.
|  | Control equipment | Any control equipment (either customer or DNO owned) that would be required to offer this access choice.
|  | Customer engagement and commercial agreements | Any changes to commercial agreements or customer engagement processes (eg management of customers) that would be required to offer this access choice.
|  | Legislative change | Does it require legislative change to implement this option? [Ofgem to consider]
|  | Access options | Description | Detailed services that users can sell | Description
|  | Firmness | This is the extent to which a user’s access to the network can be restricted and their eligibility for compensation if it is restricted. | Non-firm - physical drivers | Network access is, to some extent, defined by the physical assets that connect them to the wider system and the design of the network at the point they are connected (eg single vs dual circuit, or type of constraint).
|  |  |  | Non-firm - consumer outcomes | Firmness could be defined measuring the customer’s experiences of curtailment (eg number of curtailments, aggregate time curtailed, time window curtailment, energy lost by curtailment, combination).
|  |  |  | Firm | Users are financially reimbursed when their access to the system is curtailed. There are different ways that financial firmness could be calculated (eg value of avoided network costs, value of lost energy or value of market value).
|  | Time-profiled | This would provide choices other than continuous, year-round access rights (eg ‘peak’ or ‘off-peak’ access). | Static time profiled | Access varies over agreed time periods (eg HH, day, week, monthly, seasonal).
|  |  |  | Dynamic time-profiled | Access varies over time based on specific conditions (eg wholesale market price, wind speed, how sunny it is).
|  | Time-limited | This could provide a choice for limited duration access where long term access is not immediately available or where the user does not want to make a long term commitment | Short term | Fixed duration, short term access to the network (eg less than one year).
|  |  |  | Long term | Fixed duration, long term access to the network (eg more than one year).
|  | Shared | Users across multiple sites in the same broad area obtain access to the whole network, up to a jointly agreed level. | Local constraint | Multiple users, behind a constraint but within the same specific location, share access.
|  |  |  | Wide area constraint | Multiple users, behind a constraint and within a broader location, share access.
|  | Access conditions | This could involve introducing conditions on access, for example ‘use-it-or-lose-it’ or ‘use-it-or-sell-it’. | UIOSI | Introduce conditions of access that users must "use-it-or-lose it".
|  |  |  | UIOLI | Introduce conditions of access that users must "use-it-or-sell it".
How feasible is it to offer any of these access choices? |  | Are system/network operators already offering this access choice? | Feasibility considerations - Outline if there is a potential feasibility. Where a feasibility issue is identified - try to quantify the scale of the issue (eg the time to address this issue, the cost to address this issue)
|  |  | Customer information | Metering | Data Collection | Data processing | Planning or engineering standards | Operational systems and interventions | Control equipment | Customer engagement and commercial agreements | Would it be infeasible to offer this access choice to small users?
Firmness | Non-firm - physical drivers | Yes, DNOs and ESO offer non-firm access arrangements to the distribution and transmission network connected users respectively, although it may not be described as an access choice. | 1. Maximum Power Requirements ie MIC and/or MEC, 2. Acceptable level of network availability/unavailability (ie curtailment) for whole or part of the MPR values, 3. Acceptable arrangements for signalling/delivering network unavailability. | Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). If a flexible non-firm access arrangement has been agreed with the customer then monitoring and control may be fitted at the customer's interface point or linked to the customer's internal control systems. | Normal data collection methods for settlements will be used as per the BSC. If a flexible non-firm access arrangement has been agreed with the customer then data will be retrieved from the local monitoring equipment, with frequency, resilience etc dependent upon the requirements of the DNO's control system (whether NMS or ANM or equivalent). | Normal data processing methods for settlements will be used as per the BSC. The data processing requirements for monitoring/controlling the customer are dependent upon the type and size of the customer, their voltage of connection and the requirements of the DNO's control system. | All connections to the distribution network will be compliant with the company's own polices and standards and collectively be compliant with the EREC P2, driven by the type and size of the customer. Any new access arrangements/ products would need to be assessed against the currently arrangements and changes made where appropriate. | If a non-firm access arrangement has been agreed with the customer then dependent upon the solution offered by the DNO and agreed with the customer a DNO may deploy an operational system (whether NMS or ANM or equivalent) to manage the conditions agreed for the non-firm arrangements which may involve intervention actions. | If a non-firm access arrangement has been agreed with the customer then dependent upon the solution offered by the DNO and agreed with the customer a DNO may deploy control equipment onsite to manage intervention actions. The solution would be contingent upon the type and size of the customer. | If a non-firm access arrangement has been agreed with the customer then these arrangements will be formalised in the commercial agreement (ie connection agreement) between the DNO and the customer. | No, it could be a standard approach; but there would be difficulty in setting and maintaining individual capacity limits, where appropriate.
| Non-firm - consumer outcomes | D: DNOs offer flexible connections to new network users that involves the customers being curtailed. Most DNOs offer this type of connection within an ANM zone and customer is provided with an estimate of the amount of likely curtailment. No financial penalty is awarded to the customer when curtailed. T: If a new user connects under non-firm arrangements this excludes them from receiving a financial value when curtailed. | 1. Maximum Power Requirements ie MIC and/or MEC, 2. Acceptable level of network availability/unavailability (ie curtailment) for whole or part of the MPR values, 3. Acceptable arrangements for signalling/delivering network unavailability. | Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). If a flexible non-firm access arrangement has been agreed with the customer then monitoring and control may be fitted at the customer's interface point or linked to the customer's internal control systems. | Normal data collection methods for collection data for settlements will be used as per the BSC. If a flexible non-firm access arrangement has been agreed with the customer then data will be retrieved from the local monitoring equipment ie frequency, resilience, curtailment dates and time, lost energy etc dependent upon the requirements of the DNO's control system (whether NMS or ANM or equivalent) and for the application of any agreed commercial arrangements. | Normal data processing methods for settlements will be used as per the BSC. The data processing requirements for monitoring/controlling the customer are dependent upon the type and size of the customer, their voltage of connection and the requirements of the DNO's control system and agreed commercial arrangements. | All connections to the distribution network will be compliant with the company's own polices and standards and collectively be compliant with the EREC P2, driven by the type and size of the customer. Any new access arrangements/ products would need to be assessed against the currently arrangements and changes made where appropriate. | If a non-firm access arrangement has been agreed with the customer then dependent upon the solution offered by the DNO and agreed with the customer a DNO may deploy an operational system (whether NMS or ANM or equivalent) to manage the conditions agreed for the non-firm arrangements which may involve intervention actions. | If a non-firm access arrangement has been agreed with the customer then dependent upon the solution offered by the DNO and agreed with the customer a DNO may deploy control equipment onsite to manage intervention actions. The solution would be contingent upon the type and size of the customer. | If a non-firm access arrangement has been agreed with the customer then these arrangements will be formalised in the commercial agreement (ie connection agreement) between the DNO and the customer. | No, it could be a standard approach; but there would be difficulty in setting and maintaining individual capacity limits, where appropriate.
| Firm | Yes, DNOs and ESO offer firm access arrangements to the distribution and transmission network connected users respectively, although it may not be described as an access choice. Note, not every customer would be offered a firm connection eg a domestic customer as it is uneconomic. T: When a generator is curtailed it receives a financial payment equal to system marginal price. D: When a distributed generator is curtailed it receives no financial payment, other than a payment under the Electricity (Standards of Performance) Regulations 2015 if without supply for a period of greater than 12 hours or a Network Unavailability Payment as per the Common Connection Charging Methodology, where applicable. | 1. Maximum Power Requirements ie MIC and/or MEC. 2. Understanding of the customers' requirements for financial compensation for network unavailability. | Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). Note, if a DG user an RTU should be fitted at the customer's interface point for all DG above x kW so that the NMS/ANM systems has near real-time information on the operation of the DG. | Normal data collection methods for collection data for settlements will be used as per the BSC. If a firm DG access arrangement has been agreed with the customer then data will be retrieved from the local monitoring equipment ie frequency, resilience, lost energy etc dependent upon the requirements of the DNO's control system (whether NMS or ANM or equivalent) and for the application of any agreed commercial arrangements around financial firmness. | Normal data processing methods for settlements will be used as per the BSC. The data processing requirements for monitoring/controlling the customer are dependent upon the type and size of the customer, their voltage of connection and the requirements of the DNO's control system and agreed commercial arrangements. | All connections to the distribution network will be compliant with the company's own polices and standards and collectively be compliant with the EREC P2, driven by the type and size of the customer. EREC P2 is written to provide resilience networks for groups of demand customers only i.e. there is no resilience design standard for distributed generation and it doesn’t apply to single customers. If it is appropriate for all (or some types of) network users to receive financial firmness then a review of the design and planning standards is required to determine the costs and benefits of greater network resilience for all (or some types of) network users. | If a firm access arrangement has been agreed with the customer then dependent upon the solution offered by the DNO and agreed with the customer a DNO may deploy an operational system (whether NMS or ANM or equivalent) to manage the conditions agreed for the firm arrangements. | If a firm access arrangement has been agreed with the customer then dependent upon the solution offered by the DNO and agreed with the customer a DNO may not deploy control equipment onsite, other than the standard protective equipment. | If a firm access arrangement has been agreed with the customer then these arrangements will be formalised in the commercial agreement (ie connection agreement) between the DNO and the customer. If it is appropriate for all (or some types of) network users to receive financial firmness then a methodology would need to be devised that provides clear and justifiable logic why and how the network unavailability payment is to be calculated; plus the associated rules for the application of network unavailability payments. The network unavailability payment will need to be designed in such a way that ensures customers who benefit from financial firmness are subject to the efficient cost of providing it. | Yes.
Time-profiled | Static time profiled | Yes, both formally and informally. To date, these arrangements rely on contractual terms to achieve compliance form customers. However some customers do have equipment behind the emeter to ensure demand is managed within the appropriate window(s). | 1. Overall MIC/MEC for unconstrained periods, 2. Timing and allowed level of access for the windows in which access is limited | This would require metering to at least the resolution required to monitor compliance with the set windows in which access is limited | No special data collection requirements beyond the metering data and initial customer requirements gathering | Metering data may need to be monitored to determine if customer has remained compliant. If actively controlled by DNO, the incoming data and control signals would need producing from an ANM system. | This may require an update to planning standards to account for changes such as a erosion of diversity. | If the time profiled connection is to be actively enforced by the DNO, this will require an ANM system | If the time profiled connection is to be actively enforced by the DNO, this will require an ANM system | Time profiles that suit customers must be determined by engaging the relevant customers. Connection agreements need to reflect the time profile | No, however the systems and processes to manage this could be significant
| Dynamic time-profiled | No | 1. Overall MIC/MEC for unconstrained periods, 2. Parameters for the dynamic time profiled access 3. Arrangements for updating time profiles | This would require metering to at least the resolution required to monitor compliance with the set windows in which access is limited | No special data collection requirements beyond the metering data and initial customer requirements gathering | Network data will need to be monitored and processed to produce dynamic time profiles. Metering data will need to be processed to ensure compliance by the customer if ANM not used. | Planning standards will need updating to take account of erosion of diversity etc. with the added complication of taking account of how things will change over time. | If the dynamic time profiled connection is to be actively enforced by the DNO, this will require an ANM system | If the dynamic time profiled connection is to be actively enforced by the DNO, this will require an ANM system | Time profiles that suit customers must be determined by engaging the relevant customers. The arrangements for communicating time profiles with customers will also have to be engaged on. Connection agreements need to reflect the time profile | No, however the systems and processes to manage this could be significant
Time-limited | Short term | Yes, through arrangements such as Temporary Building Supplies etc. | 1. Maximum Power Requirements 2. Time limit on connection (potentially in stages) | Nothing beyond standard metering | Collection of customer requirements upfront and metering data ongoing | Nothing beyond normal metering for billing purposes. Potential requirement to check for compliance with staged levels of access. | Planning standards will need updating to reflect the shorter timeframe of the capacity being unavailable to other users | None, unless needed for other aspects of access or to enforce staged access arrangements | None, unless needed for other aspects of access or to enforce staged access arrangements | Engagement with customers to determine what timeframe they require access and potentially wider customers where there is interaction. Connection agreements will have to reflect time limits | No, however records of time limits would have to be kept and may increase other operational work such as monitoring/disconnections
| Long term | Yes, on a bespoke basis bilaterally between customers | 1. Maximum Power Requirements 2. Time limit on connection (potentially in stages) | Nothing beyond standard metering | Collection of customer requirements upfront and metering data ongoing | Nothing beyond normal metering for billing purposes. Potential requirement to check for compliance with staged levels of access. | Planning standards will need updating to reflect the shorter timeframe of the capacity being unavailable to other users | None, unless needed for other aspects of access or to enforce staged access arrangements | None, unless needed for other aspects of access or to enforce staged access arrangements | Engagement with customers to determine what timeframe they require access and potentially wider customers where there is interaction. Connection agreements will have to reflect time limits | No, however records of time limits would have to be kept and may increase other operational work such as monitoring/disconnections
Shared | Local constraint | Yes, arrangements exist where DNO(s) have connected plant behind a constraint allowing the sharing of a defined capacity (between 2 connected parties). Example identified allows one party normal access with the other's access limited to the headroom available during any given time period. | 1. Maximum Power Requirements for 'capacity sharing' parties 2. Acceptable level of network availability/unavailability (ie curtailment) for whole or part of the MPR values, 3. Acceptable arrangements for signalling/delivering network unavailability. | BSC compliant HH metering to at least the resolution required to monitor compliance with the set windows in which access is limited. | Normal data collection methods for collection data for settlements will be used as per the BSC. The constrained customer is responsible for controlling and monitoring both its own import of electricity and that of the other party to the sharing agreement to ensure the aggregate capacity is not breached. | Normal data processing methods for settlements will be used as per the BSC. | All connections with be compliant with the EREC P2 and the company's own polices and standards, driven by the type and size of the customer. Any new access arrangements/ products would need to be assessed against the currently arrangements and changes made where appropriate. | Loadings monitored by the DNO's network management system. | Loadings monitored by the DNO's network management system. Protection equipment in place which will be self-resetting or electrical reset, locally or by the NMS facility. Customer has primary responsibility to monitor local loadings to ensure aggregate capacity is not breached. | Shared access arrangement formalised in the respective connection agreements between the DNO and the 'capacity sharing' parties. In addition, a bilateral supplemental agreement is entered into between the 'capacity sharing' parties. | No, although detailed requirements would require to be developed including communications, metering and protection requirements to develop solution that was not cost prohibitive.
| Wide area constraint | Yes, arrangements exist where DNOs have connected plant behind a wider constraint (potentially transmission). Wide area ANM schemes are an example of this where parties are generally connected on a LIFO basis. In addition, arrangements exist where plant is constrained due to wider constraints and a local scheme implemented to allow plant to operate when local load can absorb generation export. | 1. Maximum Power Requirements for 'capacity sharing' parties 2. Acceptable level of network availability/unavailability (ie curtailment) for whole or part of the MPR values, 3. Acceptable arrangements for signalling/delivering network unavailability. | BSC compliant HH metering to at least the resolution required to monitor compliance with the set windows in which access is limited. | Normal data collection methods for collection data for settlements will be used as per the BSC. Local monitoring equipment will collate such data as is required for operation of DNO ANM system (or equivalent). | Normal data processing methods for settlements will be used as per the BSC. | All connections with be compliant with the EREC P2 and the company's own polices and standards, driven by the type and size of the customer. Any new access arrangements/ products would need to be assessed against the currently arrangements and changes made where appropriate. | Loadings monitored by the DNO's ANM system (or equivalent). | DNO ANM system (or equivalent) used to monitor and control (issue instructions). | Shared access arrangement formalised in connection agreement between the DNO and the 'capacity sharing' party(ies). | No, although detailed requirements would require to be developed including communications, metering and protection requirements to develop solution that was not cost prohibitive.
Access conditions | UIOSI | I am not aware if any DNO/ESO offer this access condition | 1. Maximum Power Requirements i.e. MIC and/or MEC. 2. Time limit or set date (minimum timescale/ maximum timescale) where the customer confirms if they do not use the available capacity they may "lose" that. | For CT metering arrangements - Normal metering arrangements apply. DNO reviews data on a monthly basis. | Normal data collection methods for collection data for settlements will be used as per the BSC. | Current system and arrangements are able to provide the necessary information. | Restrictions on POC locations must be considered. | Modification in the National Terms of Connection may need to be made. (after a period of time customer must sell the unused capacity) | Current arrangements allow DNOs to measure capacity used in the event of over/under usage | 1. Connection agreement has to specify conditions of which the customers can sell the capacity and after a specific time period. When they are able do so needs to be formalised. 2. These need to be formalised in the commercial agreement (i.e. connection agreement) between the DNO and the customer. 3. National Terms of Connection needs to be modified. 4.Methodology for managing queue arrangements may need to be modified. | It would be infeasible
| UIOLI | Yes, 1. According to the National Terms of Connection DNOs can request unused capacities, via mutual agreement, and this capacity can be made available to other customers. 2. DNO may offer capacity ramping arrangements (CCMS 5.51 - 5.55) for customers where the customer may lose their unused capacity. | 1. Maximum Power Requirements i.e. MIC and/or MEC. 2. Time limit or set date (minimum timescale/ maximum timescale) where the customer confirms if they do not use the available capacity they may "lose" that. | For CT metering arrangements - Normal metering arrangements apply. DNO reviews data on a monthly basis. | Normal data collection methods for collection data for settlements will be used as per the BSC. | Current system and arrangements are able to provide the necessary information. | not applicable | According to the National Terms of Connection (NCT) the capacity usage can be reviewed by the DNO. If under usage identified, DNOs can request variation of the connection agreement. | Current arrangements allow DNOs to measure capacity used in the event of over/under usage. | 1. Connection agreement has to specify conditions of which the customers may lose the unused capacity after a certain time limit. 2. These need to be formalised in the commercial agreement (i.e. connection agreement) between the DNO and the customer. 3. National Terms of Connection needs to be modified. | It would be infeasible
Standardised/bespoke | Standardised options
Bespoke options

## TO - TEC (hidden)
TRANSMISSION EXPORT/ENTRY ACCESS (i.e. GENERATION AND INTERCONNECTOR AND OFFSHORE ENTRY)
How feasible is it to offer any of these access choices? |  | Are system/network operators already offering this access choice? | Feasibility considerations - Outline if there is a potential feasibility. Where a feasibility issue is identified - try to quantify the scale of the issue (eg the time to address this issue, the cost to address this issue)
|  |  | Customer information | Metering | Data Collection | Data processing | Charge calculation | Billing and calculation systems | Settlement | Planning or engineering standards | Alignment with wider markets | Operational systems and interventions | Control equipment | Customer engagement and commercial agreements | Legislative change | Would it be infeasible to offer this access choice to small users? | Standardisation
Firmness | Non-firm - physical drivers | Yes 1. Transmission generator connections can be offered non-firm access arrangements. 2. This is backed off by ESO through TO's Transmission Owner Construction Agreement (TOCA). | 1. TEC required 2. TO TOCA and ESO BCA with customer to codify basis of constraint. 3. Acceptable level of network availability/unavailability (i.e. curtailment) for whole or part of the TEC values. 4. Acceptable arrangements for signalling/delivering network unavailability and action on signalling required. | 1. Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). 2. If a flexible non-firm access arrangement has been agreed with the customer then monitoring and control may be fitted at the customer's interface point or linked to the customer's internal systems as well as requiring intermediate control and monitoring systems at key places in the transmission system away from the customer's connection. | 1. Normal data collection methods for collection data for settlements will be used as per the BSC. 2. If a flexible non-firm access arrangement has been agreed with the customer then data will be retrieved from the local or remote monitoring equipment, with frequency, resilience etc dependent upon the requirements of the SO/TO control systems. | 1. Normal data processing methods for settlements will be used as per the BSC. 2. The data processing requirements for monitoring/controlling the customer are dependent nature, and type of SO/TO control systems. | Ofgem to consider | Ofgem to consider | Ofgem to consider | 1. All connections will be compliant with the SQSS and the company's own polices and standards, driven by the type and size of the customer, when the customer does not wish to agree a non-standard connection arrangement. 2. Any new access arrangements/ products would need to be assessed against the current arrangements and changes made where appropriate. 3. SQSS provides for customer(s) agreeing to a higher or lesser standard than SQSS standard design, so curtailability is provided for and therefore support for a lower level of access than firm access, or high level of security is already provided for. Requires working level recognition of this and the appropriate codification in TO TOCA and in ESO BCA. | Being considered as part of separate workstream | 1. If a non-firm access arrangement has been agreed with the customer then dependent upon the solution offered by the SO/TO and agreed with the customer a TO may deploy operational system(s) to manage the conditions agreed for the non-firm arrangements which may involve intervention actions upon the customer or by the customer. 2. This is subject to the cost and practicality of new and innovative control mechanisms, ensuring these are operable, reliable and supportable by both TO and SO. | 1. If a non-firm access arrangement has been agreed with the customer then dependent upon the solution offered by the SO/TO and agreed with the customer a TO may deploy operational system(s) to manage the conditions agreed for the non-firm arrangements which may involve intervention actions upon the customer or by the customer. 2. This is subject to the cost and practicality of new and innovative control mechanisms, ensuring these are operable, reliable and supportable by both TO and SO. | 1. Granularity of Export/Entry Access required in smaller increments, for example down to half hour to support more flexible access products. 2. If a non-firm access arrangement has been agreed with the customer then these arrangements will be formalised in the ESO BCA 3. This will be preceded by a TO TOCA between the TO and SO | Ofgem to consider | 1. In transmission system context, Yes, as all customers are essentially large and control and monitoring equipment make up a lesser portion of connection costs and is not as material a barrier as for DNO small user. | standardisation of aspects such as design, measurement and tariffs would be required to for a feasible method of enabling a range of access products. For larger connections where volumes are more feasibly managed these products could employee a range of parameters to enable an element of bespoke agreements. Without some standardisation of aspects such as control equipment and commercial frameworks, customer may have difficulty in understanding how to implement these arrangements or how they would/would not benefit them. New design standards or amends to EREC P2 could standardise non-firm options and provide clarity for DNO and customer of what is possible whilst enabling bespoke arrangements on an opt-out basis.
| Non-firm - consumer outcomes | No. 1. I'm not aware that ESO/TO follows a consumer outcomes process to develop a non-firm access arrangement for a new generator connection to the transmission network. | 1. TEC required 2. TO TOCA and ESO BCA with customer to codify basis of constraint. 3. Acceptable level of network availability/unavailability (i.e. curtailment) for whole or part of the TEC values. 4. Acceptable arrangements for signalling/delivering network unavailability and action on signalling required. | [13 empty] | For specific network constraints and low volume large scale connections, bespoke commercial arrangements would be feasible. For higher volumes and wider network requirements, standardisation of aspects such as measurement and tariffs would be required to enable a range of access products. These products could employee a range of parameters to enable an element of bespoke agreements for larger connections where volumes are more feasibly managed.
| Firm | Yes 1. ESO offers firm access arrangements to the transmission network connected generators as standard SQSS design arrangement. | 1. TEC required 2. TO TOCA and ESO BCA with customer to codify basis of firmness (nothing is 100% secure) | [13 empty] | standardisation of aspects such as design, measurement and tariffs would be required to enable a range of access products. These products could employee a range of parameters to enable an element of bespoke agreements for larger connections where volumes are more feasibly managed. standardisation around how the financial reimbursement is calculated, and paid would assist all parties in providing transparency and consistency, however the values for reimbursement would still differ based on DNO, network location, size of customer etc.
Time-profiled | Static time profiled | PARTLY. 1. Transmission has time limited LDTEC and STTEC access, but does not currently have a full provision of time profiled TEC, in the broadest sense. 2. Usage data and related Access would be required to be managed on intra-day basis, i.e. half hourly, rather than "from date : to date" to facilitate time profiled access. | 1. TEC required. 2. TO TOCA / ESO BCA with customer to codify basis of constraint. 3. Acceptable arrangements for signalling/measuring use in operational timeframe and control of time profiling cannot wait for restrospective fiscal metering data. | 1. Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). 2. Real-time control systems need to be fitted in addition to normal fiscal metering so that the SO/TO control systems have near real-time information on the operation of the GeneratIon to confirm compliance with time profile. | [12 empty] | a standard range of time profiles would make customers' selection easier. Standardisation across DNOs for aspects such as design, charging methodology and tariffs would help customers operating across multiple regions. Bespoke arrangements could be feasible for large scale customers or specific local constraints. standardisation of timeswitch-style control equipment requirements would improve feasibility, however behaviour-based time-profiles would be more feasible than equipment-based (depending on the criticality of the constraint period being avoided and the requirement for compliance)
| Dynamic time-profiled | We do not believe that any transmission access is managed on dynamic basis. Closest to this is intertripping, whereby monitored events lead to reduction in access, typically to zero, sometimes to a reduced non-zero value. | 1. TEC required 2. TO TOCA / ESO BCA with customer to codify basis of constraint. 3. Any dynamic customer measurements required as inputs to control systems. 4. Any network or enviromental measures required as inputs to control systems. | 1. Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). 2. Monitoring / metering data needed from network operator non-metering devices for dynamic inputs that determine the extent of constraint required. This is in addition to normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC) so that the control systems have near real-time information on the operation of the Generation. | [12 empty] | Standardisation across DNOs for aspects such as design, charging methodology and tariffs would help customers operating across multiple regions. Bespoke arrangements could be feasible for large scale customers or specific local constraints. standardisation of timeswitch-style control equipment requirements would improve feasibility. Behaviour-based time-profiles not be feasible due to the need to communicate network conditions with customer/customer's interface and the criticality of the constraint period being avoided and the requirement for compliance. standardisation of level of constraint which would be experienced by this access product (i.e. min capacity maintained, max constraint defined), would help customers understand the choice vs. other solutions and make this option more a more feasible choice. this would also help DNOs make consistent decisions on where other solutions to the constraint are more appropriate.
Time-limited | Short term | Transmission has time limited LDTEC and STTEC but does not have time profiled TEC currently. Usage data and related Access would be required to be managed on intra-day basis, i.e. half hourly, rather than "from date : to date" to facilitate time profiled access. | 1. TEC (LDTEC / STTEC) 2. TO TOCA / ESO BCA with customer to codify basis of constraint. | 1. Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). 2. Monitoring / metering data needed from network operator non-metering devices for dynamic inputs that determine the extent of constraint required. This may be required in order to provide real-time information, something fiscal metering cannot provide. 2. Usage data and related Access may be required to be managed on intra-day basis, i.e. half hourly, rather than "from date : to date" to facilitate time profiled access if this was long term but variable within the term. | [12 empty] | bespoke arrangements are likely to be more feasible for low volumes of customers requiring this form of access arrangements. However some standardisation around design and charging would be required to proved consistency and transparency.
| Long term | PARTLY. 1. Transmission has time limited LDTEC and STTEC access, but does not current have a full provision of time profiled TEC currently. | [14 empty] | bespoke arrangements are likely to be more feasible for low volumes of customers requiring this form of access arrangements. However some standardisation around design and charging would be required to proved consistency and transparency.
Shared | Local constraint | No. There is currently no sharing of TEC across a group of customers. Nearest equivalence is trading of TEC from one party to another for a limited period. | 1. Would require customer grouping defined in market data. 2. Would require control systems acting across a group of users, potentially in real-time. | 1. Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). 2. Real-time control systems need to be fitted in addition to normal fiscal metering so that the SO/TO control systems have near real-time information on the operation of the Generator and this may need to groupable to assess the group of customer usage. | [9 empty] | 1. Would require grouping and linking of multiple SO customer contracts in respect of impact of sharing finite capacity. 2. May required related TO/SO TOCAs to be cross referenced but this may be unecessary. |  |  | depending on volume of connections involved, bespoke arrangements are likely to be more feasible to enable 'best-fit' of customers to network constraint. Standardisation of contractual arrangements (e.g. connection agreements) and charging / tariffs would improve transparency and ability to make decision on these arrangements for customers.
| Wide area constraint | [15 empty] | depending on volume of connections involved, bespoke arrangements are likely to be more feasible to enable 'best-fit' of customers to network constraint. Standardisation of contractual arrangements (e.g. connection agreements) and charging / tariffs would improve transparency and ability to make decision on these arrangements for customers.
Access conditions | UIOSI | No. There is no current basis of forcing a customer to relinquish their TEC through forced selling if is going to be unused for a future period. However differentiating between CEC and period rebidding for TEC or forcing loss of unused TEC may offer a means to motivate selling or not continuing to buy access. So users have CEC that they may be unable to use it if requisite level of TEC is not secured. | 1. If forced selling was lawful, then customer usage information such as from fiscal metering to evidence lack of use breaching a threshold to cause the forced selling of TEC. | 1. Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). | 1. Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). | 1. Normal data processing methods for settlements will be used as per the BSC. | [10 empty] | due to the customer sensitivity around the potential to lose something which they may have paid to be installed, a substantial level of standardisation would be required to make this feasible. Without clear standardisation through legislation, codes and NTCs, each incidence could create disputes between customer and DNO. clear and consistent arrangements would ensure the customer has transparency of 'the rules' and could be certain that they are treated fairly and consistently as the next customer in another DNO region.
| UIOLI | No. There is no current basis of forcing a customer to relinquish their TEC by forced reduction of their access if is not being used. This would be legally amending their access right on a mandatory basis not necessarily with the customer's permission. Lawful basis for this to occur is unclear. However differentiating between CEC and TEC, a commercial forcing of loss of unused TEC may offer a means to motivate selling or not continuing to buy access. So users have CEC that they may be unable to use it if requisite level of TEC is not secured. | 1. If forced relinquishment was lawful, then customer usage information such as from fiscal metering to evidence lack of use breaching a threshold to cause the forced removal of TEC or ineligibility for continuing to bid for same level of TEC if a bidding model were adopted. | 1. Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). | 1. Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). | 1. Normal data processing methods for settlements will be used as per the BSC. | [10 empty] | due to the customer sensitivity around the potential to be compelled to sell something which they may have paid to be installed, a substantial level of standardisation would be required to make this feasible. Without clear standardisation through legislation, codes and NTCs, each incidence could create disputes between customer and DNO. clear and consistent arrangements would ensure the customer has transparency of 'the rules' and could be certain that they are treated fairly and consistently as the next customer in another DNO region. standardisation of the calculation of the value of capacity could aide the implementation and operation of this arrangement.
Standardised/bespoke | Standardised options | All of the above if relatively pre-defined types of products.
| Bespoke options | No. Basis of divergence from standard products presents challenges in charging and code governance and in discrimination obligations that limit site specific differentiation of product.

## TO - Future TIC and DTIC (hidden)
TRANSMISSION IMPORT / EXIT ACCESS (i.e. DEMAND AND DNO AND IMPORT USE BY GENERATION AND INTERCONNECTOR AND OFFSHORE ENTRY)
How feasible is it to offer any of these access choices? |  | Are system / network operators already offering this access choice? | Feasibility considerations - Outline if there is a potential feasibility. Where a feasibility issue is identified - try to quantify the scale of the issue (eg the time to address this issue, the cost to address this issue)
|  |  | Customer information | Metering | Data Collection | Data processing | Charge calculation | Billing and calculation systems | Settlement | Planning or engineering standards | Alignment with wider markets | Operational systems and interventions | Control equipment | Customer engagement and commercial agreements | Legislative change | Would it be infeasible to offer this access choice to small users?
Firmness | Non-firm - physical drivers | NO 1. Transmission demand and DNO connections do not have an explicit TIC or DTIC access product. Relies on Grid Code Week 24 Demand Forecast Data submissions, which is something short of an express legally binding access right. 2. There is no explicit TIC access product for import / exit by connected users i.e. just TNUoS charges for supplier / generator triad demand use. | 1. Requires establishment of TIC / DTIC access rights 2. TO TOCA / ESO BCA with customer to codify basis of constraint. 3. Acceptable level of network availability / unavailability (i.e. curtailment) for whole or part of the TIC / DTIC values, 4. Acceptable arrangements for signalling / delivering network unavailability and acting on unavailability to reduce Access. | 1. Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). 2. Additional CUSC non-BSC metering for DNO interfaces. 3. If a flexible non-firm access arrangement has been agreed with the customer then monitoring and control may be fitted at the customer's interface point or linked to the customer's internal systems. | 1. Normal data collection methods for collection data for settlements will be used as per the BSC. 2. Normal data collection for non-BSC metering for DNO interfaces. 3. If a flexible non-firm access arrangement has been agreed with the customer then data will be required to be retrieved from the local monitoring equipment, with frequency, resilience etc dependent upon the requirements of the SO / TO control systems. | 1. Normal data processing methods for settlements will be used as per the BSC. 2. Normal data processing of non-BSC metering for DNO interfaces. 3. The data processing requirements for monitoring / controlling the customer are dependent nature, and type of local SO / TO control systems. | Ofgem to consider | Ofgem to consider | Ofgem to consider | 1. All connections will be compliant with the SQSS and the company's own polices and standards, driven by the type and size of the customer, when the customer does not wish to agree a non-standard connection arrangement. 2. Any new access arrangements / products would need to be assessed against the current arrangements and changes made where appropriate. 3. SQSS provides for customer(s) agreeing to a higher or lesser standard than SQSS standard design, so curtailability is provided for and therefore support for a lower level of access than firm access, or high level of security is already provided for. Requires working level recognition of this and the appropriate codification in SO / TO TOCA and in ESO BCA with customer. | Being considered as part of separate workstream | 1. If a non-firm access arrangement has been agreed with the customer then dependent upon the solution offered by the SO / TO and agreed with the customer a TO may deploy on operational system(s) to manage the conditions agreed for the non-firm arrangements which may involve intervention actions. 2. This is subject to the cost and practicality of new and innovative control mechanisms, ensuring these are operable, reliable and supportable by both TO and SO. | 1. If a non-firm access arrangement has been agreed with the customer then dependent upon the solution offered by the SO / TO and agreed with the customer a TO may deploy control equipment onsite to manage intervention actions. 2. This is subject to the cost and practicality of new and innovative control mechanisms, ensuring these are operable, reliable and supportable by both TO and SO. | 1. Granularity of Import / Exit Access required in smaller increments, for example down to half hour. 2. If a non-firm access arrangement has been agreed with the customer then these arrangements will be formalised in the commercial agreement (i.e. connection agreement) 3. This will be preceded by a TO Construction Agreement (TOCA) between the TO and SO 4. CUSC extension of access rights for Import / Exit require establishing, moving away from vague Week 24 Grid Code Demand Forecast Data required. | Ofgem to consider | 1. In transmission system context, Yes, as all customers are essentially large and control and monitoring equipment make up a lesser portion of connection costs and is not as material a barrier as for DNO small user.
| Non-firm - consumer outcomes |  | 1. Requires establishment of TIC / DTIC access rights 2. TO TOCA / ESO BCA with customer to codify basis of extent or limits of constraint. 3. Acceptable level of network availability / unavailability (i.e. curtailment) for whole or part of the TIC / DTIC values, 4. Acceptable arrangements for signalling / delivering network unavailability.
| Firm |  | 1. Requires establishment of TIC / DTIC access rights 2. TO TOCA / ESO BCA with customer to codify firmness of access. | [12 empty] | Yes.
Time-profiled | Static time profiled |  | 1. Requires establishment of TIC / DTIC access rights 2. TO TOCA / ESO BCA with customer to codify basis of constraint. 3. Acceptable arrangements for signalling / measuring use in operational timeframe and control of time profiling cannot wait for restrospective fiscal metering data. | 1. Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). 2. Additional CUSC non-BSC metering for DNO interfaces. 3. Real-time control systems need to be fitted in addition to normal fiscal metering so that the SO / TO control systems have near real-time information on the operation of the Generator. | 1. Normal data collection methods for collection data for settlements will be used as per the BSC. 2. Additional data collection from network monitoring / condition / event monitoring non-metering devices. 3. Data will be retrieved from the local monitoring equipment, with frequency, resilience etc dependent upon the requirements of the SO / TO's control system. | [10 empty] | 1. In transmission system context, Yes, as all customers are essentially large and control and monitoring equipment make up a lesser portion of connection costs and is not as material a barrier as for DNO small user.
| Dynamic time-profiled |  | 1. Requires establishment of TIC / DTIC access rights 2. TO TOCA / ESO BCA with customer to codify basis of constraint. 3. Any dynamic customer measurements required as inputs to control systems. 4. Any network or enviromental measures required as inputs to control systems. | 1. Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). 2. Additional CUSC non-BSC metering for DNO interfaces. 3. Monitoring / metering data needed from network operator non-fiscal metering devices for dynamic inputs that determine the extent of constraint required. This is in addition to normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC) so that the control systems have near real-time information on the operation of the Demand / DNO User.
Time-limited | Short term |  | 1. Would need access types, not necessarily all of these. TIC / DTIC (LDTIC / LDDTIC / STTIC / STDTIC) 2. TO TOCA / ESO BCA with customer to codify basis of constraint. | 1. Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). 2. Monitoring / metering data needed from network operator non-metering devices for dynamic inputs that determine the extent of constraint required.
Long term
Shared | Local constraint |  | 1. Would require customer grouping defined in market data. 2. Would require control systems acting across a group of users, potentially in real-time. | 1. Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). 2. Additional CUSC non-BSC metering for DNO interfaces. 3. Real-time control systems need to be fitted in addition to normal fiscal metering so that the SO / TO control systems have near real-time information on the operation of the Demand / DNO User and this may need to groupable to assess the group of customer usage. | [9 empty] | 1. May require granularity of Import / Exit Access required in smaller increments, for example down to half hour. 2. Would require grouping and linking of multiple SO customer contracts in respect of impact of sharing finite capacity. 3. May required related TO / SO TOCAs to be cross referenced but this may be unecessary. 4. CUSC extension of access rights for Import / Exit require establishing, moving away from vague Week 24 Grid Code Demand Forecast Data required.
Wide area constraint
Access conditions | UIOSI |  | 1. If forced selling was lawful, then customer usage information such as from fiscal metering to evidence lack of use breaching a threshold to cause the forced selling of TIC / DTIC. | 1. Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). 2. Additional CUSC non-BSC metering for DNO interfaces.
| UIOLI |  | 1. If forced relinquishment was lawful, then customer usage information such as from fiscal metering to evidence lack of use breaching a threshold to cause the forced removal of TIC / DTIC or ineligibility for continuing to bid for same level of TIC / DTIC if a bidding model were adopted. | 1. Normal fiscal metering will be fitted as per the requirements of the Balancing & Settlements Code (BSC). 2. Additional CUSC non-BSC metering for DNO interfaces.
Standardised / bespoke | Standardised options |  | NO Transmission demand connections do not have an explicit TIC or DTIC access product. If products were developed, then all of the above are feasible for relatively pre-defined types of products.
| Bespoke options |  | NO Transmission demand connections do not have an explicit TIC or DTIC access product. If products were available for Import / Exit Capacity then basis of divergence from standard products presents challenges in charging and code governance and in discrimination obligations that limit site specific differentiation of product.

## Scope of works
a) How feasible is it to offer any of these new access choices (excluding legislative changes)?
- What barriers do companies face when trying to offer any these additional access choices?
- What information/certainty would network/system operators need from customers to define and offer different access options? How feasible is this?
- What technical enablers would be needed – at the customer’s site and centrally / elsewhere on the network, including monitoring? How feasible is this?
- Would any of these access choices require changes to planning standards or other network company processes to maximise value?
- Is the ESO, DNOs and IDNOs offering any of these access choices already? Is there anything that would stop parties from being able to offer these access choices?
- Would it be infeasible to offer these access choices for any specific users (eg small users). (This has links with the small users workstream)

## Sheet1 (hidden)
Feasibility category | Description
Customer information | The information that the network/system operator needs from the customer to allow them to offer the access rights.
Metering | This can include the requirement to install new/replacement metering
Data Collection | This can include additional meter reads, the collection/aggregation of additional data or new data (capacity for instance) or the requirement to hold the data in a different format (centrally for instance).
Data processing | This can include the aggregation of new data or the requirement for the data to be passed through in a different format (individual half-hourly data for instance).
Charge calculation | The requirement for parties who calculate the charges (distribution network operators/Electricity System Operator) to update their charging methodology or models.
Billing and calculation systems | This can include changes to the billing systems of the distribution network operators/Electricity System Operator, but is extended to where we thought changes might have to occur for other key stakeholders involved in the charge process (Elexon/Suppliers).
Settlement | Where a charging option requires reconciliation, we had to understand the extent to which this might affect the categories above.
Planning or engineering standards | Would this access option require changes to planning or engineering standards. What is the scale of the change and how long would this take to implement.
Alignment with wider markets | Is a user able to operate in wider markets if it accepts this access option.
Operational systems and interventions | Changes to how the system is operated that are required to offer this access choice.
Control equipment | Any control equipment (either customer or DNO owned) that would be required to offer this access choice.
Customer engagement and commercial agreements | Any changes to commercial agreements or customer engagement processes (eg management of customers) that would be required to offer this access choice.
Legislative change | Does it require legislative change to implement this option? [Ofgem to consider]