|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Raised by** | **S/M boundary** | **M/L boundary** | **Retrospective?** | **Commentary** |
| **Baseline** |  |  |  |  | As per current Grid Code drafting. |
| **Original** | Proposer  Garth Graham – SSE | 10MW | 10MW | No | Going forward the definition of Medium Power Station is removed and a Large Power Station is one with a Registered Capacity of 10MW or more and a Small Power Station is one with a Registered Capacity of less than 10MW. |
| **WAGCM1 (Alternative 1)** | Alan Creighton – Northern Powergrid | 50MW | 100MW | No | Going forward this would apply the current definitions of Large, Medium and Small Power Stations in England and Wales into Scotland. |
| **Alternative 2** | Richard Wilson – UKPN | 100MW | 100MW | No | Going forward the definition of Medium Power Station is removed, and a Large Power Station is one with a Registered Capacity of 100MW or more and a Small Power Station is one with a Registered Capacity of less than 100MW. |
| **Alternative 3** | Tony Johnson – ESO | 10MW | 100MW | No | Going forward a Large Power Station is retained with a Registered Capacity of 100MW or above, A Medium Power Station is one with a Registered Capacity of less than 100MW but 10MW or greater. Owners and operators of Medium Power Stations can either apply for Transmission Entry Capacity and have a Bilateral Embedded Generation Agreement (BEGA) or apply for Licence Exemption (LEEMPS Plus) where they would be treated as a Licence Exempt Embedded Medium Power Station but would be required to be in the BM. |
| **Alternative 4** | Tony Johnson – ESO | 50MW | 100MW | No | Regional Development Programme (RDP). Going forward the same thresholds are adopted as per WAGCM1 but any Embedded Plant with a Registered Capacity of less than 100MW but greater than 0.5 – 1MW (typically 1MW) would be required to sign up to an RDP. |
| **Alternative 5** | Tony Johnson – ESO | 50MW | 100MW | No | Hybrid approach – Going forward, Medium Power Stations (50 – 100MW) would meet the requirements of Alternative 3 and Small Power Stations with a Registered Capacity of less than 50MW and greater than 1MW would have to sign up to an RDP. |