## Consultation Responses
Number | Topic | Question | NGESO answer
1 | Balancing costs | As noted in our previous Balancing Reserve (BR) consultation response, we are supportive of the introduction of the BR product. We recommended a similar product as part of the Balancing Mechanism (BM) review to ensure that assets are available to provide support for Security of Supply. We are supportive of opening this product up to all smaller assets, which has been aided by the reduction to a minimum size of 1 MW and the relaxing of other product parameters. We expect balancing costs to fall with the introduction of the BR product but note that further enhancements are required to increased competition on the BM including delivery of the system enhancements scheduled under the Open Balancing Platform. | Thank you for your comments
2 | Auction Timing | We believe that the window proposed for the auction is too long, and as a result there is insufficient time for the market to place its Bids/Offers in the day ahead EPEX spot power auction at 9.20am. Instead, the time for the auction should be reduced to 8.30-8.45am, with the Auction Results time therefore moved to 8.45am to provide enough time for traders to place their Bids/Offers ahead of the 9.20am auction. When the day ahead markets recouple, timings may need to change again to ensure there is 35-40 minutes between the BR auction results and the deadline for the day ahead power auction. | Thank you for your feedback. As we are now moving the BR auction to our EAC (Enduring Auction Capability) platform, we will be checking how long the auction algorithm takes to resolve and produce output. We are aiming to release the results as soon as the auction complete, which could be as early as 8:45am. When we run the Mock Auction, we will be able to give more details on auction timing and how long it will take to produce the results.
3 | BR | We are pleased with the development of this product as it increases participation, specifically the eligibility and accessibility by different technology types like BESS. | Thank you for your comments
4 | Performance Monitoring | Section 7 – Service Delivery. It is clear that delivery of less than 95% results in loss of availability payment for that contracted service window. I assume that any shortfall of energy delivery will be liable to the non delivery of offers and bid as per Section 4.8 of the BSC? | Yes, as ESO we will be performance monitoring three aspects of BR: time to full delivery, availability and utilisation. For utilisation performance monitoring will be checking if the unit has delivered at least 95% of the issued Bid or Offer, where the unit delivers below 95% then the availability payment will be withheld for that service window. Additionally, when our Control Room dispatches the BR unit, a provider could be still liable to non-delivery of offers and bids in case of any shortfall of delivery as per BSC as mentioned in Section T.
5 | Reimbursement Clause | Furthermore section 15 of the Service Terms is entitled “Provision of Other Services” but section 15.2 implies that if a service provider is unable to provide Balancing Reserve (To any extent in all or part of an Contracted Service Window) then NGESO has the right to request Incremental Volume Cost Amount to paid to NGESO. So for clarity, if at any point during a contracted window the BR Capacity available is less than the contracted capacity then NGESO can request Incremental Volume Costs? These charges don’t seem to dovetail well. For example consider a BR participant with BR capacity available, at delivery, of 99% of the contracted capacity. NGESO utilise their available capacity fully, and thus they deliver 99% of contracted volume. The BR unit would receive their availability payment and remuneration for the volume delivered as per BM regulations. They would not face a non delivery charge since NGESO wouldn’t have been able to instruct the final 1% via the BM since the capacity wasn’t available. i.e. they delivered all the volume they were instructed to deliver. However NGESO still have the right to charge Incremental costs on 100% of the contracted capacity/volume? | Thank you for raising this point. As we highlighted in our BR webinar, the reimbursement mechanism in para 15.3 of the service terms applies only in very specific situations, and is ultimately at the discretion of ESO. It is designed to protect consumers from high costs of warming and synchronising additional generation where the contracted BR capacity is unavailable due to a provider choosing to pursue other commercial opportunities. As stated in para 15.2, the mechanism applies only where a provider is unable to provide some or all of its day ahead contracted BR capacity in a service window for the reasons described in para 15.1. Those reasons are where the availability and delivery of BR is impaired whether because of a planned change in output which erodes contracted headroom or because the service provider’s delivery of an alternative service to a third party. Unplanned outages are excluded here, and so will not trigger the reimbursement mechanism. Furthermore, ESO will only exercise its discretion and require reimbursement following the opportunity for the service provider to provide an explanation. To clarify further, the reimbursement will not be triggered where a contracted unit delivers less than 100% of the instructed volume via a BOA – this will be subject to ESO performance monitoring as explained above.
6 | Service Terms | Section 15.6 speaks about the Capacity Market Rules and how BR is still active even during Capacity Market events. However NGESO doesn’t always follow their own balancing principles statement (i.e. NGESO don’t exhaust all bids and offers before taking further actions like warming contingency units or potentially Demand Control). This would mean some BR units might remain unutilised and subject to CM non delivery penalties. The CM rules allow for balancing services utilisation but in this case the unit might be left unutilised and subject to penalty. Can NGESO please provide clarity around this? | Our intention with clause 15.6 is to reassure Balancing Reserve providers that they can participate in the BR service whilst also holding active Capacity Market agreements. We will be adding Balancing Reserve to the list of Relevant Balancing Services within the CM Rules which means that providers which are engaged in providing Balancing Reserve will not be penalised for continuing to hold headroom to deliver on their BR contract should a System Stress Event occur. Our interpretation of the RBS list is that it enables contracted units for any of the services in the list to continue their operations to deliver that service despite a potential conflict with the requirements of their CM contract. For example Short Term Operating Reserve (STOR) is one of the services on the list and requires contracted units to be at 0MW output unless dispatched - this would contravene their CM agreement if the service wasn't included in the RBS list. However, we are aware of CM contracted units participating in STOR because they know that they won't need to be utilised to avoid a CM penalty.
7 | Procurement Rules | I would like to see some worked examples of parent and child orders in the auction platform as I see the concepts but would like to understand them in action and how NGESO envisage participants using them. | We have produced some in depth information about parent and child bids for the launch of EAC. Link to EAC market explainer https://www.nationalgrideso.com/document/277671/download Please refer back to the document linked for information on any of the mentioned concepts (such as acceptance ratio) . The main difference for BR is that we expect conventional thermal providers to participate. The parent and child bidding families give these units options to express their available volume to the auction algorithm. Consider an example of a CCGT with a Maximum Export Limit (MEL) of 400MW and a Stable Export Limit (SEL) of 100MW. The unit could offer either 300MW of positive BR and position itself at SEL or it could offer 300MW of negative BR and position itself at MEL or some combination of Positive and Negative BR positioning itself somewhere between MEL and SEL. This unit could submit a "family" of bids as follows: a parent bid which represents the cost of a unit coming onto SEL to deliver the service, this bid must either be accepted [acceptance ratio = 1] or rejected [acceptance ratio = 0]; two (or more) substitutable child bids, these volumes must have a total acceptance ratio of not more than 1 and therefore a proportion of each volume can be executed. This allows the auction algorithm to position the unit to offer the optimal quantity of turn up and turn down flexibility without forcing the market participant to submit mutually exclusive baskets one for turn up and one for turn down volumes. The market participant is using this bidding structure to demonstrate a willingness to provide different volumes of turn up and turn down capacity through its substitutable child bids. The substitutable nature of these bids is important because the conventional unit in this example cannot submit two bids for 300MW without making them mutually exclusive.
8 | CBA | The modelling done by LCP costs the procurement of reserve. Does it include the cost of utilising reserve in either the status quo or BR case? E.g. turning up a CCGT that has been offered on to SEL to cover a shortfall in delivered wind generation vs forecast? If the costs of utilising reserve are included do they assume prices and volumes are the same in both scenarios? | Thank you for your question. In LCP modelling, we do not include utilisation reserve in both cases: status quo or BR case. As the purpose of balancing reserve is to procure capacity (headroom or foot room) to be reserved for ESO to be utilised in real-time as reserve, therefore, it was appropriate to focus only on creating reserve capacity in BM (in status quo) and BR procurement costs at day ahead (BR case).
9 | Barriers to entry | We would like to thank National Grid ESO for the opportunity to respond to this consultation. Arenko are eager to support ESO by delivering the highest quality service in the markets that we participate in. We are also always striving to pioneer new service opportunities to improve grid management, contribute towards our Net Zero ambitions and create a more affordable energy system for customers. Arenko supports efforts being taken to reduce balancing costs and is keen to work with ESO to support the development of a high-quality Balancing Reserve product to help achieve this. However, we did not agree with the original proposal as set out by ESO in December 2022, as it contained too many barriers to entry for smaller, flexible assets. We therefore agreed with Ofgem’s decision to reject the service. We welcome the changes made since the first consultation and thank ESO for listening to our concerns around barriers to entry for smaller assets, including reduction in minimum size to 1MW and the removal of the obligation to be a mandatory frequency response provider. We strongly believe that widening out service participation opportunities to a range of different technology types will increase competition and prove better value for customers. We would welcome reassurance from National Grid ESO that this service will be open to a range of technology types. Where barriers are identified we would like ESO to work with industry participants to remove them. | Thank you for your comments we are committed to working with Industry partners to ensure as wide range of technology as possible.
10 | System and Control Telephony | System and Control Telephony Clause 5.1 of the draft Service Terms states: ‘to be eligible for pre-qualification as a BR unit…must at all relevant times:- 5.1.2 be capable of dispatch via Control Telephony and/ or System Telephony’. Due to the need to be capable of manually dispatching the asset, it will mean that smaller participants that do not have a 24-hour shift desk can only participate during office hours. This is discriminatory against smaller assets and we would like ESO to work with industry to move towards a more inclusive solution, for example, looking at satellite phone. In addition to this, ESO should consider the practicality of System/ Control Telephony as a ‘back-up means of dispatch’. The assets we operate (grid scale batteries) are distributed around the UK, where most of the time there is no-one on site to manually dispatch the battery. At Arenko we dispatch and control the assets remotely through our software platform over the internet (this will be the case with the majority of optimisers). This means that if a power and/or internet outage did occur, and we were contacted through system/ control telephony to dispatch our assets, we would not be able to do so. We would like ESO to take this opportunity to assess the practicality of Control Telephony as a solution and take steps to ensure a backup method of dispatch is future proof. | Smaller BMUs are sometimes exempt from system/control telephony requirements outside of the 08:00 - 18:00 window defined in the Grid Code. For Balancing Reserve however, which will serve as our key tool for energy balancing in real time, it is essential that we have capability to dispatch reserve providers at all times. This includes periods of EDL/EDT outage that limit our ability to send Bid Offer Acceptances (BOAs) via our usual electronic mechanisms. We have some planned BM system outages every year as well as some unplanned events and therefore must have the ability to continue to balance the system during these periods. In these BM outage scenarios there is not a GB wide power or internet outage, merely an interruption of the electronic system used to send BOAs. In a system restoration scenario we recognise that providers whose assets are distributed over a large area and not manually controlled may be completely unable to respond to an instruction from the ESO despite having system telephony in place. We see this as appropriate for the service requirements as it is a technical reason, required for system security - if potential service providers wish to participate in Balancing Reserve overnight then they are able to adjust their staffed hours accordingly. If they do not wish to do this then they will be able to participate during the 08:00 - 18:00 window when they are required to have system telephony available as per ECC7.9 (b).
11 | Transfer of Capacity | We note that whilst the draft Service Terms allow for the transfer of an obligation to another registered participant, there are no provisions that allow for the transfer of capacity between the units under the same Registered participant. We would like to ask ESO to amend the Service Terms to allow for this as it will ensure a secure and efficient contingency both for the ESO and the contracted party. | This is dealt with at clause 23.14 which allows a transfer to an alternative BR Unit owned by the same registered participant, provided the unit is also registered with NGESO under the BR Procurement Rules.
12 | Procurement Volume | We welcome the plan to introduce Balancing Reserve on the new EAC platform in line with the Dynamic Response Services. We would like to request information from ESO around how the expected procurement volume will be calculated and communicated to industry. | Thank you for your feedback, we are planning a dedicated requirements webinar which is currently planned for the end of January 2024. We have also shared our indicative total requirements for Balancing Reserve which vary between 500MW and 2.5GW, this is a broad range and we will not necessarily seek to buy our full requirement in the DA market depending on our procurement strategy. We will share more information about our plans for the procurement volume for go live at our requirements webinar at the end of January.
13 | Dispatch | We would also like ESO to be transparent around the expected utilisation profile and rationale for doing so, i.e., will the ESO be dispatching most economic units first up to their maximum capacity or spreading the requirement across a larger number of contracted units? | The ESO will always seek to use the most economic option while maintaining system safety and security. As this is a reserve service, responding to unplanned imbalances, there may be a need to dispatch multiple units concurrently to increase overall ramp rate for example, and utilisation as with other BOAs will be subject to relevant constraints on the day for example: unit location and network constraints. Please note that in real-time, the BR units will be compared with other generation providing optional BR to enable the ESO to take the most economic option.
14 | Timelines | We note the planned ‘go-live date’ for this service is February/ March 2024. We urge ESO to inform industry of any potential delays to the service go live with plenty of notice for market participants to prepare. To reiterate, we would like ESO to work closely with industry around any potential barriers to small flexible technologies to ensure this service is available to a wide range of technologies. We strongly believe that in doing this, it will contribute to lowering costs to consumers as well as our Net Zero ambitions. | The ESO is confident in the delivery timelines published for the Balancing Reserve service including any dependent IT releases. We will of course communicate to all stakeholders should there be any unforseen circumstances that affect those delivery timelines. Creating a clean, fair and affordable energy future is at the centre of our vision for the ESO, we are committed to working with all stakeholders in a transparent manner to deliver this vision and welcome feedback as to how improvements can be made. We thank you for welcoming the changes made to the design of this service and are committed to ongoing evaluation and evolution of our services.
15 | BR | Broadly supportive of principles but consider there are details that still need to be addressed. | Thank you for your comments
16 | Time to ful delivery & Stacking | Appreciate the difficulties in setting parameters that strike the right balance between providing fair access to different users whilst ensuring the service provided meets system need. However, we are concerned that the introduction of a 10min time to full load requirement will reduce the amount of thermal capacity by 4.3GW and by extension will reduce the overall competitiveness of the service. Storage providers are unable to stack this service with other frequency products so will be less likely to make up the difference. | Thank you so much for your feedback. After Ofgem rejection, we not only updated the provider eligibility (by removing minimum bid size of 50MW) but also we reviewed all the other service design parameters to make sure we are not leaving any other barriers to participation in this market. Our initial ramp rate requirement of 10MW/min was recognised as a barrier for smaller providers to require them to be faster in delivery than Quick Reserve or some Response services. Therefore, we moved away from this approach and we introduced a new parameter: Time to Full delivery. This new parameter will give the Control Room confidence of dispatch within 2 minutes to start ramping and achieve full capacity within 10 minutes, which is designed to respond fast enough to any unplanned imbalance such as rapid wind changes or interconnectors ramping every hourly gate, and so aligns the service with the system need. Although it is not preventing any provider from joining this market or stacking this contract with the wholesale market, BM and Mandatory Frequency Response (which should ensure full unit capacity has revenue), we understand that some assets may not be able to ramp their full flexible volume in this period. We believe that the opportunity to offer both positive and negative Balancing reserve at the same time will limit the volume impact on the total market, and also that by paying for flexibility we offer a market route for providers to benefit from any technical changes that they can make in order to offer enhanced capability.
17 | OBP launch | Yes. We believe the amended service better aligns with the ESO’s RIIO-2 ambitions to open markets to a wider variety of assets and technology types. However, owing to the stated reasons for the original 50MW minimum threshold we are resolute that the service should not be launched until the necessary OBP releases are firmly in place and being used as standard by control room. Given the original design of Balancing Reserve it will be heavily scrutinised from launch to identify any remaining implicit discriminatory aspects. | The ESO is confident in the delivery timelines published for the Balancing Reserve service along with the OBP release 1 including bulk dispatch for December 2023. Further details of future releases and capabilities can be found on our Markets Roadmap https://www.nationalgrideso.com/research-and-publications/markets-roadmap We will of course communicate to all stakeholders should there be any unforeseen circumstances that affect those delivery timelines.
18 | BR | We applaud ESO for taking into account the responses of the Call for Input and adapting the design proactively on issues such as MFR and penalties. | Thank you for your comments
19 | Time to full delivery | Time to full delivery of 10 min: The prescribed time to full delivery imposes an implicit cap on the maximum capacity that can be achieved by providers dependent upon their ramp rate. This rule therefore prevents certain larger providers from achieving their maximum output. While we understand that the rules have been amended to accommodate all sizes and types of providers, we believe that dispatching several stable providers up to their max capacity is a more cost-efficient solution than dispatching many units at (or just above) their SEL. We would also expect that bidders will be submitting Utilisation pricing from the contracted level up to their MEL or SEL for non-storage assets, and up to MIL and SIL for storage assets, and this pricing will be based on the BOA process rather than day ahead pricing. As such, we would like to see an indicative expected dispatch profile and methodology from the ESO and the rationale for this requirement. Transparency around how the ESO is planning to utilise and instruct plants in this service will be vital to understanding whether the service is designed in the most efficient way and how it can be optimised further. | Thank you so much for your feedback. After Ofgem rejection, we not only updated the provider eligibility (by removing minimum bid size of 50MW) but also we reviewed all the other service design parameters to make sure we are not leaving any other barriers to participation in this market. Our initial ramp rate requirement of 10MW/min was recognised as a barrier for smaller providers to require them to be faster in delivery than Quick Reserve or some Response services. Therefore, we moved away from this approach and we introduced a new parameter: Time to Full delivery. This new parameter will give the Control Room confidence of dispatch within 2 minutes to start ramping and achieve full capacity within 10 minutes, which is designed to respond fast enough to any unplanned imbalance such as rapid wind changes or interconnectors ramping every hourly gate, and so aligns the service with the system need. Although it is not preventing any provider from joining this market or stacking this contract with the wholesale market, BM and Mandatory Frequency Response (which should ensure full unit capacity has revenue), we understand that some assets may not be able to ramp their full flexible volume in this period. We believe that the opportunity to offer both positive and negative Balancing reserve at the same time will limit the volume impact on the total market, and also that by paying for flexibility we offer a market route for providers to benefit from any technical changes that they can make in order to offer enhanced capability. Regarding expected utilisation, we are not planning to have the expected profile of dispatches or expected number of dispatches per day or Settlement Period. The use of reserve strongly depends on the day, hour, season, wind forecast and outturn, solar PV demand offset or even interconnector changes, and whether we have been able to economically meet our Balancing Reserve requirements in the day ahead market. This is extremely difficult to predict in advance. However, the ESO will always seek to use the most economic options while maintaining system security and safety. The utilisation payment is Bid and Offer payments as per Balancing Mechanism operation and prices submitted on the day.
20 | Dispatch | Rule 8.1 Dispatch Flexibility Rules: In our view, Rule 8.1 needs to be clearer in its application to assets that have a fast time to full delivery but will need to reach their SEL first in order to meet the requirements of this rule. Specifically, the wording of subparagraph 8.1.1 implies that a contracted unit must be able to deliver the service from zero (0) MW output. This should be rephrased to clarify that this only applies when the SEL of an asset is 0MW. Overall, we do not agree with this restriction. We acknowledge that the ESO should not have to dispatch and pay units to get to their SEL (and some units will have very high SEL). However, we note that the SEL value might be the required adjustment and it would be discriminatory to restrict these assets on that basis. Assets such as PSH and other large storage providers can be crucial to the efficiency of this service. They have very efficient ramp rates, large capacity, and flexible operating profiles. However, they are often used in spin mode (i.e. 0MW output), which means that Rule 8.1.1 in combination with Rule 8.1.2, which requires assets to dispatch in one or multiple consecutive increments of one (1) MW, prevents these large storage units from being utilised when operating at 0MW. This leads to sub-optimal utilisation of these assets and may impact the overall cost-effectiveness of the service. We would encourage the ESO to consider how the rule can be amended to accommodate assets that can have 0MW output as their standard or common mode throughout the operational day. | Thank you for the feedback. To clarify our interpretation of para 8.1.1 of the service terms, we are proposing to amend the clause as follows: “8.1.1 either from zero (0) MW Output of Demand or from any prevailing Stable Export Limit or Stable Import Limit or any other (higher) level of Output or Demand; and” We think this covers the intended requirement which is that BR should be capable of being dispatched from its SEL or SIL (which could be zero) or from any higher level of output/demand. More generally, we do appreciate the feedback around the dispatch flexibility rules and how it impacts your asset bid strategy or utilisation. Here are the reasons why ESO made decision to put those rules in place for Balancing Reserve. In the future, we will be closely monitoring the service as it goes live and we may review these rules in the future. 1. Not being required to instruct a minimum volume: The rules gives the ESO access to precise volumes of MW to dispatch in order to carefully match generation and demand in real-time while keeping frequency within operational limits. Without this rule, the units at 0MW baseline could be only dispatched to SEL (no less) and therefore, there is a significant risk of over-correcting the frequency if only a fixed and large volume of MW is available to the Control Room. This also increases the difficulty of dispatch transparency, as higher priced units with a lower volume may prove the most economic way to meet the requirement. There is also the added risk of not being able to dispatch to specific price bands, as units are able to set price bands to MW precision regardless of dynamic parameters. The dispatch flexibility rules give uniform access to all MW across all the providers. 2. Not being required to instruct for a minimum time: The rules allow the ESO to efficiently regulate generation changes and demand changes by dispatching reserve units for the exact time required. It gives the flexibility of ceasing instructions after an imbalance has been addressed The Control Room should not be obligated to dispatch a machine for its Minimum Run Time, which could be as long as 6-8 hours if the unit only needs to dispatched for reserve for 15 minutes (example only). It is not cost-efficient dispatch for imbalance management for GB customers & the dispatch flexibility rules of minimum time interval of 1 minute is a better reflection of the system needs as we transition to net-zero operation, and aligns with the resolution of BOAs. Assets that are flexible are still able to participate by providing reserve from SEL (or above) and we expect that to be economic where the costs of running at SEL can be wholly or partially recovered through the wholesale market. These rules should also serve as an incentive to maximise flexibility, and provide a market route to benefit from changes which increase the flexible range of operation of a unit.
21 | Transfer of Capacity | Transfer of contracted capacity: The rules, as currently drafted, allow the transfer of contracted capacity from one registered participant to another. However, the rules do not allow transfer of capacity between the units of the same registered participant. We believe that, allowing the transfer of an obligation between units of the same participant (particularly where those units have the same technical characteristics - fuel, ramp rates, etc.) is an efficient and reliable way to ensure there is contingency capacity available to the ESO. We would ask the ESO to reconsider the current rules around capacity transfer in order to explicitly allow contracted capacity to be transferred between units of the same registered participant (subject to meeting all other eligibility and technical criteria). | This is dealt with at clause 23.14 which allows a transfer to an alternative BR Unit owned by the same registered participant, provided the unit is also registered with NGESO under the BR Procurement Rules.
22 | Dispatch | As mentioned above, we would like to see more transparency around the ESO’s decision making and methodology for dispatch and use of contracted assets under this service. | The ESO will always seek to use the most economic option while maintaining system safety and security. As this is a reserve service, responding to unplanned imbalances, there may be a need to dispatch multiple units concurrently to increase overall ramp rate for example, and utilisation as with other BOAs will be subject to relevant constraints on the day for example: unit location and network constraints. Please note that in real-time, the BR units will be compared with other generation providing optional BR to enable the ESO to take the most economic option.
23 | Barriers to entry | While we support this service, we encourage the ESO to consider whether and how the rules and service terms, as currently drafted, create barriers for participation and optimisation of large storage assets. These assets will play an essential role in providing necessary reserve as well as overall system support services in key locations. It is important that there are no commercial or technical barriers to utilising these assets in the most optimal way. | Thank you for your comments, we agree that it is important there are no barriers to participation. We are keen to ensure our service designs remove barriers to entry as well as meet system needs and enable the optimal economic design.
24 | MFR | The balancing reserve service has the potential to encourage greater participation in the BR/BM, depending on what happens at the DA auction stage – however this will still not overcome the uncertainty of dispatch length, especially for storage assets. A further point to consider is whether the tranche of BR set aside for contingent MFR delivery will auction at different prices to the rest of the requirement. Instinctively it feels like it should, as it’s delivering more. Do you anticipate a 2 tier market? | All contracted units in the DA auction in the same service window for the same product will receive the market clearing price for their reserve capacity. We have removed the requirement for units to have MFR capability to participate in the market in order to widen access to smaller BMUs. Utilisation decisions will be influenced by utilisation prices (submitted bid/offer prices) and the system conditions at the time - this could include the MFR capability of the unit.
25 | Ser vice Terms | 1) 5.3.2 would seem to allow wind/solar in. Your Power Available is 10 MW, you FPN zero, leaving you 10 MW of response? Is this a correct interpretation? | If you are referring to 10MW of Positive Balancing Reserve capacity, then you are correct. Our intention is to measure headroom available on Power Park Modules (wind and solar) as Power Available (PA) - Final Physical Notification (FPN).
26 | Service Terms | 2) 5.9 Leaves Grid open to opportunistic defaults on the contracted capacity unless ‘changes in technical capability’ is strictly monitored. | Thank you for this feedback, we will be closely monitoring the reasoning given by contracted BR providers who need to declare their unavailability for technical reasons.
27 | Service Terms | 3) 7.3 is problematic. It seems if you win a BR contract DA, for a block, you need to be able to offer /bid for all SPs in the block. i.e. if you have a 24MW battery you have to set aside 3MW for each HH in the block, meaning you can't offer 24 in the SP you see as most valuable and then have nothing for the other 7 HHs. But if you do offer (and sell) all 24 MW in one SP it seems that you forsake ALL of the capacity payment? We think it should be proportional i.e. in this example, 7/8 of the capacity payments. See also 15.2. Consequently 9.2 will end up being a significant disincentive for storage participation. | We will be procuring Balancing Reserve in 30 minute service windows. We believe that all grid scale storage has a storage capacity of at least 30 minute export duration or 30 minute import duration at rated capacity. Therefore, we do not believe there is a barrier to storage units meeting the service delivery requirements in section 7 for a single service window. For energy limited units that win contracts for multiple BR service windows e.g. 8 consecutive service windows or the length of an EFA block, there may be state of charge implications. We expect BR market participants to manage these implications as they have the best view of their storage assets and can bid accordingly or use non-zero PNs to avoid unavailability.
28 | Service Terms | 4) 10.2(b) seems contradictory, on the one hand saying the energy utilisation payments will be made to the secondary reserve provider, but then saying there are no payment obligations on the ESO. Who, then, is making the payments? | The payment related to utilisation of a Balancing Reserve unit is via bids and offers in the Balancing Mechanism. These payments are made by ELEXON and not by the ESO itself. In a situation where the BR availability contract has been transferred from a primary provider to a secondary provider, the secondary provider will be the one dispatched and therefore the bid /offer payment will be made by ELEXON to the secondary service provider directly as with any other bid or offer. The BR availability payment is still made to the Primary Service Provider in accordance with 9.3 (b). Any side payments between the primary and secondary service provider are not governed by these contracts or known to the ESO.
29 | Service Terms | 5) 15.4 says BR will trump any other service the BR unit has contracted for. Surely it should be a necessity for the BR unit NOT to ‘double-book’ itself in this way, rather than needing this clause to establish precedence? | To allow for the possibility of overlapping service periods across multiple balancing services, we believe it is appropriate that para 15.4 of the service terms is drafted the way it is, to provide for precedence across those services. However, as we have done with other services, we propose to introduce some flexibility for stacking, which for BR we propose to do by prohibiting simultaneous service provision unless NGESO determines (acting reasonably) that simultaneous provision of the other balancing service(s) is not in conflict with BR. We are also happy to confirm in the drafting that, as with reactive power services, the prohibition will not apply insofar as a contracted BR Unit is operating in a frequency sensitive mode upon ESO instruction (eg as is the case for mandatory frequency response). On this last point, we will update para 7.3(a) of the service terms so that when assessing service delivery pursuant to a BOA we will adjust volume delivered to reflect any frequency sensitive operation.
30 | Service Terms | 6) the penalty clause 15.3 should recognise the circumstances depicted in 16.4 where, if EDL/EDT is down and sufficient comms are unable to be established by telephony, the BR unit should not be penalised. | In the situation, when EDL/EDT is not available, Control Room will try to utilise telephone dispatch to maintain frequency within operational limit. As it is a requirement to have System Telephony during the service window, if the unit was not able to be contacted by telephone during an EDL/EDT outage, the unit will be deemed as unavailable and the availability payment would not be awarded.
31 | Service Terms | 7) 17.2 is superfluous, duplicating as it does 8.2.3 in the General Terms & Conditions | Para 17.2 of the service terms allows for ESO to terminate a BR contract with immediate effect for certain material breaches by the provider of warranties and declarations (eg contained in the procurement rules and inherent in the registration and prequal process). This is different to para 8.2.3 of the ENA flexibility general terms and conditions, which deals with material breaches of the BR contract itself, formed under the procurement rules and the terms of which are contained in the service terms.
32 | Service Terms | 8) 23.8 What is the format for notifying successful transfer of an obligation? | We propose to amend para 23.8 of the service terms so that valid transfer notices are automatically accepted unless ESO notifies under para 23.9 that there is an operational security issue. We will provide a template transfer notice on the BR page of our website.
33 | Service Terms | 9) Although ‘BR Capacity’ in the Service terms discusses Positive Reserve from an intermittent source, there seems no chance that this will ever happen, given the need to offer capacity Day ahead – the uncertainty is too great a risk for renewables, given the penalties discussed earlier. Renewables should be asked only to offer capacity on the day, and not across an EFA block. | We will be procuring Balancing Reserve in 30 minute service windows. We appreciate that output from intermittent renewables is uncertain although we expect the ability to offer turn down capacity via the Negative Balancing Reserve service could be an option for these generators. Our change to the minimum bid size (to 1MW) should also allow renewable generators more flexibility to bid the portion of their capacity at day ahead of which they have high certainty. For example, if a wind unit had a SEL of 10MW, and 99% confidence that the output the following day would be between 20-100MW, then 10MW could be bid into Balancing Reserve with only a 1% chance of non-delivery.
34 | Service Terms | 10) In clause 9b on Schedule 2, the payment calculation and self-billing is done by Grid. If Grid then find they have overpaid, they should only be entitled to interest from the moment they have made the service provider aware of such overpayment (and not from the date of payment as this clause says) | Schedule 2 of the service terms is our standard payment clause, which appears in all of our service terms, and clearly there is a lot of merit in consistency across services. We do not propose to change para 9b – if we overpay you, you have received a windfall and it is logical that interest follows from the date you received that overpayment.
35 | Procurement Rules | What does ‘maximising market welfare’ (9.1.1) mean? Maximising the order surpluses if we look at the definition – but that doesn’t make sense – you’d surely want to MINIMISE them? Is maximising market welfare the same as ‘minimising the total auction procurement cost’ (9.4)? | The first objective is to maximise market surpluses also referred to as Market Welfare, this includes both the producer surplus (economic rents received by the service provider equal or beyond their willingness to accept) and consumer surplus (the difference between the market clearing price and the buy order prices which represent ESO's willingness to pay for the service). This determines the optimal cohort and acceptance ratios of sell orders and buy orders that should be accepted. There can be many sets of clearing prices that would be consistent with maximum market welfare. From these, the algorithm seeks to minimise the total procurement cost as the second objective while respecting the welfare constraints of the accepted or partially-accepted sell orders.
36 | Procurement Rules | Is there an error in the definition of ‘Buy order’? It says ‘submitted by NGESO’ rather than the participant | ESO will submit a buy order to express the volumes and willingness to pay, a market participant or service provider will submit a sell order.
37 | Procurement Rules | There seems to be nothing about the baseline against which increased/decreased output is referenced? Same comment re demand. Is it the FPN? | Yes, in Balancing Reserve the baseline is the Final Physical Notification (FPN).
38 | Procurement Rules | Have searched relevant document and the Glossary for definition ‘service window’. Is it synonymous with ‘settlement period’? If so, why don’t we say ‘settlement period? | Our service windows are currently 30 minutes blocks which aligns with Settlement Period, however, our service day runs from 23:00 D-1 to 23:00 D-0. This means that our first service window #1 is 23:00 till 23:30 (D-1) and service window #1 does not align with SP1. We also would not necessarily want our service windows to change if sepearately there was a change to Settlement Period lengths, and want to retain the ability to have a different length service window if our requirements change in the future.
39 | Procurement Rules | If you are registered for BM as a BMU do you also need to register your units as BR units and also register as a BR participant? If so this seems unnecessarily bureaucratic, at a time when you are trying to encourage participation | To participate in any balancing service, participants must register their corporate entity onto our systems (so we can perform validation checks but also set you up for payment etc), and then select the service you wish to provide by acceding to the service terms and other related documentation. At the same time, assets must be submitted for prequal and registration (and in some cases testing). This is quite separate to the Elexon processes for registration of assets as BM Units. We see our processes as quite necessary and not overly bureaucratic.
40 | Settlement Periods | The requirement to provide BR bids/offers throughout a block and have sufficient state of charge to back this up alongside the compensation requirement of 15.3 create a significant disincentive to providing this service which COULD be avoided if the DA capacity was procured in smaller units i.e. hours or Settlement Periods. Grid will note that most batteries at present are designed as 2 hour systems at max power e.g. 10MW/20MWh. This is because this tends to be the optimal period for finding low prices for charging, and high enough prices for discharging. The requirement to provide bids and offers for 4 hours, which bids & offers must be supported by sufficient energy, will be a disincentive for storage to participate – and I refer you to the recent Grid event on 16th Oct which was all about enhancing battery storage in the BM – this won’t. | Thank you for this feedback, we will be procuring Balancing Reserve in 30 minute service windows - see the definition of BR Service Window within the Procurement Rules.
41 | Time to full delivery | We welcome most changes made to the latest Balancing Reserve proposal, however, we have concerns about the introduction of the 10 minute time to full delivery as it does not allow CCGTs to offer their full headroom into the auction. This is in stark contrast to the original design which was targeted at larger units. While this is not a barrier to entry for CCGTs, it will restrict the volume that can be offered, and subsequently impact potential revenue received. | Thank you so much for your feedback. After Ofgem rejection, we not only updated the provider eligibility (by removing minimum bid size of 50MW) but also we reviewed all the other service design parameters to make sure we are not leaving any other barriers to participation in this market. Our initial ramp rate requirement of 10MW/min was recognised as a barrier for smaller providers to require them to be faster in delivery than Quick Reserve or some Response services. Therefore, we moved away from this approach and we introduced a new parameter: Time to Full delivery. This new parameter will give the Control Room confidence of dispatch within 2 minutes to start ramping and achieve full capacity within 10 minutes, which is designed to respond fast enough to any unplanned imbalance such as rapid wind changes or interconnectors ramping every hourly gate, and so aligns the service with the system need. Although it is not preventing any provider from joining this market or stacking this contract with the wholesale market, BM and Mandatory Frequency Response (which should ensure full unit capacity has revenue), we understand that some assets may not be able to ramp their full flexible volume in this period. We believe that the opportunity to offer both positive and negative Balancing reserve at the same time will limit the volume impact on the total market, and also that by paying for flexibility we offer a market route for providers to benefit from any technical changes that they can make in order to offer enhanced capability.
42 | Service Terms | Due to the Dispatch Flexibility Rules, CCGTs need to ensure they are on load to provide the service. Since the BR auction takes place before the power auction, a premium is likely to be added to the day ahead BR auction price to address the risk of forced out of merit running should power auction prices be lower than expected. | Thank you, we understand providers may wish to price this risk into their bid submissions. Equally when we reviewed auction timings, running after the power auction may have resulted in repositioning costs for providers. The aim of Balancing Reserve is to avoid buying capacity through energy payments in real time, and that means that providers need to be able to provide the reserve from their FPN position.
43 | Service Terms | 7.1 & BR Service Parameters – we noted in our response to the Call for Input in May-23 that the service design should allow enough time for large assets to reach full capacity and not disadvantage larger units in order to accommodate smaller units. The introduction of the time to full delivery of 10 minutes will do just that as it does not allow CCGTs to offer their full headroom in the auction. | Thank you so much for your feedback. After Ofgem rejection, we not only updated the provider eligibility (by removing minimum bid size of 50MW) but also we reviewed all the other service design parameters to make sure we are not leaving any other barriers to participation in this market. Our initial ramp rate requirement of 10MW/min was recognised as a barrier for smaller providers to require them to be faster in delivery than Quick Reserve or some Response services. Therefore, we moved away from this approach and we introduced a new parameter: Time to Full delivery. This new parameter will give the Control Room confidence of dispatch within 2 minutes to start ramping and achieve full capacity within 10 minutes, which is designed to respond fast enough to any unplanned imbalance such as rapid wind changes or interconnectors ramping every hourly gate, and so aligns the service with the system need. Although it is not preventing any provider from joining this market or stacking this contract with the wholesale market, BM and Mandatory Frequency Response (which should ensure full unit capacity has revenue), we understand that some assets may not be able to ramp their full flexible volume in this period. We believe that the opportunity to offer both positive and negative Balancing reserve at the same time will limit the volume impact on the total market, and also that by paying for flexibility we offer a market route for providers to benefit from any technical changes that they can make in order to offer enhanced capability.
44 | Sell Orders | Linking positive and negative Sell Orders over the same service window – we understand that the design decision has been made so that there is independence between the solutions for each direction of the product thus simplifying the optimisation problem and increasing the speed with which a solution can be found. However, the ability to link positive and negative Sell Orders over the same service window could reduce the availability prices offered into the auction as the cost of providing the service would be spread over two products. Is this something ESO will consider for future revisions? | We will be allowing the linking of positive and negative balancing reserve sell orders within the same service window.
45 | General | Centrica welcomes the proposed changes to the design of National Grid Electricity System Operator’s (NGESO’s) Balancing Reserve (BR) product. The changes should better enable the participation of smaller assets in BR by reducing the minimum capacity threshold to 1MW, allowing the aggregation of small assets within a Grid Supply Point (GSP) Group to achieve this threshold, and the removal of Mandatory Frequency Response (MFR) as a mandatory requirement for participation | Thank you for your comments
46 | Service Terms | Broadly, we consider the amended proposed Balancing Reserve Service Terms to accurately reflect the proposed service design and implementation. However, we think NGESO should consider allowing the provision of Balancing Reserve with any other Balancing Service, such as response or reserve services, simultaneously for a given unit to improv the efficiency of market participant’s bidding decisions compared to the current wording of Section 15.4. For example, Balancing Reserve could be combined with High Frequency Response or others | Thank you for your time taken to review the proposed Balancing Reserve service terms and we're pleased that you believe they broadly reflect the proposed service design. We have drafted 15.4 to enable us to take a cautious approach to service stacking (provision of another balancing service on the same unit at the same time as provision of BR). We are making amendments to this clause to reflect our intention for BR service providers to be able to be instructed for reactive power (e.g. the Obligatory Reactive Power Service, ORPS) and into Frequency Sensitive Mode (e.g. for provision of Mandatory Frequency Response or Commercial Frequency Response). Alongside this we are making amendments to the wording to align with the service terms for other balancing services. As we have done with other services, we propose to introduce some flexibility for stacking, which for BR we propose to do by prohibiting simultaneous service provision unless NGESO determines (acting reasonably) that simultaneous provision of the other balancing service(s) is not in conflict with BR. We have reviewed your feedback about stacking Positive Balancing Reserve with a High Frequency Response service like DCH for example. This seems reasonable and would allow battery storage providers in particular to optimise their assets whilst not risking reducing the capability of the BR provider to be manually dispatched by the control room. There are some adjustments we need to make to our performance monitoring logic for utilisation of Balancing Reserve to make sure that units stacking in this manner would not be unduly penalised. We hope to make stacking of Positive BR and DCH/DRH/DMH as well as stacking of Negative BR and DCL/DRL/DML available from or shortly after go live. We will not be permitting splitting asset capacity in the same direction across for example Positive BR and DC-Low for Day 1.
47 | Service Terms | We consider the Balancing Reserve Service Procurement Rules to accurately reflect the proposed service design and implementation | Thank you for your comments
48 | OBP launch | We note that the market enablers needed to support the lower capacity threshold, most notably the Open Balancing Platform (OBP), are not yet in full use by the NGESO control room. Due to the dependency between the ability for NGESO to dispatch smaller units using the OBP and their participation in BR, it is unclear when the BR will become available to them. We ask that NGESO provides an update on the expected go-live date of the OBP and its application to smaller units participating in BR. We would also like to highlight that current NGESO operational metering requirements present a barrier to smaller, aggregated assets participating in Balancing Services. We encourage NGESO to progress the work being done under its Power Responsive programme to remove this barrier as soon as possible | The ESO is confident in the delivery timelines published for the Balancing Reserve service along with the OBP release 1 including bulk dispatch for December 2023. Further details of future releases and capabilities can be found on our Markets Roadmap https://www.nationalgrideso.com/research-and-publications/markets-roadmap We will of course communicate to all stakeholders should there be any unforeseen circumstances that affect those delivery timelines.
49 | Service Terms | The “Incremental Volume Cost” given in ‘Schedule 1 – Defined Terms’ is not correct. The Contracted Capacity is a MW value and needs to be converted into a volume in order to calculate a volume cost for a settlement period. | Thank you for spotting this issue. We propose to resolve by updating the definition of “Incremental Volume Cost” in the service terms as follows: (1) higher of (A multiplied by B multiplied by 0.5) minus C
50 | Service Windows | Service windows which are of 30 minute duration is reasonable but seems likely to produce challenges managing the service delivery as service windows overlap. This parameter may need to be reviewed after the service has been in operation for a short period. | Thank you for the feedback, we believe there are mitigations to this risk in that providers may choose to link bids over longer periods, and the visibility and control that the Balancing Mechanism offers will allow us to see and manage where there are occasions that reserve providers need to change across Service Windows. We aim to keep all of our services under review, and will update this parameter if we see a requirement to do so.
51 | Procurement Volume | The procurement volumes must be carefully considered. It should not be necessary to procure all of the reserve volume at the day ahead stage. The product should be reviewed after a short period of operation. The objective has been clearly stated and, as this is a new product, performance metrics should be stated before the start of the service and performance should be reported. Generally, this a further shift away from utilising the balancing mechanism as the main method to manage the system. This is a retrograde step that rewards inflexibility. | We agree that the amount we buy in the day ahead market should be carefully considered, and we will adjust that volume through our willingness to pay, submitted through Buy Orders. We will continue to review Balancing Reserve to ensure that the service design and procurement is meeting our system needs in an economic way, and update the design if required. We see this service design as ensuring that the capacity is available for the ESO to use in the Balancing Mechnism in real-time, allowing the actual instructions to better reflect the imbalance seen, rather than being used to create reserve in real time. Energy instructions for this service will be entirely through the BM.
52 | Battery | We generally agree with the proposal for Balancing Reserve and are optimistic about its potential for a positive impact on system operations and the market. Procuring balancing capability ahead of time unlocks additional certainty for both system security and the market participants. As battery operators, this service is a step in right direction for more active participation in the balancing of system. | Thank you for your comments
53 | Service Delivery | Service delivery: 7.3: We believe the 95% threshold is too strict for judging service non-delivery. We propose there should be a more ramped approach: for example, linear penalty from 100% to 75% delivery, and no payment below the 75% delivery threshold. | Thank you for your feedback and suggestion. The 95% is taken over the service window, which allows providers to respond to any unexpected underdelivery to recover the performance by the end of the window. Performance monitoring is important to ensure that we are ensuring value for consumers when buying the service, and to ensure that system security is met. As BOAs are also incentivised through imbalance, and from our experience of BOA delivery, we believe this is an acceptable threshold, which appropriately penalises non-delivery.
54 | Transfer of Contracts | Transfer of contracts: 23: We think providers should be able to transfer obligations post event. This enables providers to manage risk of unplanned unavailability of the BR Unit by providing extra availability elsewhere. This aligns the principles of agreement transfers under BR with CM transfers and the MVRN process which provide mechanisms for post event transfer. In any case, we believe the ‘90minute ahead of services window start’ deadline should be moved to ‘60 minutes to align with BM gate closure. | We don't believe providers should be able to transfer obligations after the contracted window 'post event'. We are paying in advance to secure capacity from the contracted unit, whereas the capacity of the unit receiving the transfer would have already been available in the BM, which would mean paying for capacity that was available anyway. We agree the deadline for transfers, currently drafted as 90 mins ahead of the BR contract window, should be amended to 60 minutes - aligning to gate closure and other response balancing services.
55 | Monthly Statements | Schedule 3: 3: We firmly believe 10 business days is a very short notice for disputing the monthly statements. We think the timeline should be pushed to 20 business days to be more consistent with other services | Schedule 3 of the service terms is our standard payment schedule, which appears in all of our service terms, and clearly there is a lot of merit in consistency across services. We do not propose to change the 10 business days requirement for disputes. Please note however that there is additional time allowed (12 months from submission of monthly statement) for corrections to be flagged where resulting from settlement runs or ESO monitoring activity. (And please also note the formatting correction to the numbering in the latest version of this payment schedule).
56 | Prequalification | Prequalification: 5.1.1: We would appreciate more clarification or assurance in service terms of whether the VLP BMUs are eligible for pre-qualification. | VLP BMUs are eligible for pre-qualification. 5.1.1 covers Secondary BMUs registered by VLPs and covers all Primary BMUs except Supplier Base BMUs, so would include for eg Supplier Additional BMUs as well as interconnector BMUs.
57 | Prequalification | 5.5.2: We suggest there be more guidelines on when the location of a BR unit would compromise Auction participation. This would give the market more clarity on what constitutes ‘operational security’ risk | Thank you for this feedback. This wording within the contracts provides some scope for us to request a unit temporarily ceases participation in BR due to its location - this could be because of an outage in a specific region of the network or due to other localised system issues. We do not plan to use the provisions in this clause to regularly restrict units from participating in the BR service. Our procurement of BR will be national and whilst we manage transmission constraints on most days we do not intend to use these provisions to manage the risk of contracting BR providers behind a constraint. Utilisation, as with all BM instructions will be subject to constraints in real time.
58 | Buy Orders | 7.5: We think this should be removed; changing the buy orders after auction close compromises auction integrity. If this needs to be kept, the conditions around ‘exceptional circumstances’ need to be laid out more explicitly. | We intend to run the auctions as double blind (where ESO cannot see the sell orders before we lock in the buy order and market participants cannot see the ESO buy order before they lock in their sell orders). Whilst we have no intentions to change buy orders after auction closing time, this clause is needed to give ESO flexibility to do so but only where ESO has the reasonable opinion that there is a need to protect the auctions. It is not the case therefore that adjusting a Buy Order in this way would compromise auction integrity – it can only be exercised if ESO forms the reasonable view that the action is needed in order to protect the auctions. It should also be noted that the clause envisages that this will only apply in exceptional circumstances, and should be read alongside paragraph 14.1 which gives ESO a wide discretion to manage exceptional situations.
59 | Market Clearing | 8.2.7 The Minimum and Maximum Market Price are mentioned to be potentially change and be communicated from time to time by the ESO. We suggest the exact mechanism for this communication be laid out explicitly as it is important for the participants to not miss any changes. We would also appreciate some guidelines on how often these will be changed and what are the potential triggers. | The minimum and maximum market prices are technical parameters for the auction - they are required as part of the set up with our auction partner. The technical minimum market price will be set at £0/MW/hour, this is not expected to change. The technical maximum market price will be set at £10,000/MW/hour. We also don't expect this to change in the near future. The potential triggers for changing the technical maximum market price would be if the alternative cost of securing BR capacity was expected to exceed £10,000/MWh and therefore we wanted the ability to set our willingness to pay via the buy order higher than £10,000. In response to your points, we think it is important to preserve flexibility by not hardwiring the prices into the service terms, notwithstanding that as explained above we do not envisage the prices changing in the near term if at all. We are however happy to commit to publishing those prices (on product launch, and then whenever changing) by way of notice on the BR pages of our website.
60 | Market Clearing | Market clearing rules: 9.1.1 and 9.4: The objective of auction clearing is different in the two sections. 9.1.1 mentions maximising market welfare and 9.4 mentions minimizing total procurement cost as the objective. More explanation on how/if these are consistent objectives would be useful. | The first objective is to maximise market surpluses also referred to as Market Welfare, this includes both the producer surplus (economic rents received by the service provider equal or beyond their willingness to accept) and consumer surplus (the difference between the market clearing price and the buy order prices which represent ESO's willingness to pay for the service). This determines the optimal cohort and acceptance ratios of sell orders and buy orders that should be accepted. There can be many sets of clearing prices that would be consistent with maximum market welfare. From these, the algorithm seeks to minimise the total procurement cost as the second objective while respecting the welfare constraints of the accepted or partially-accepted sell orders.
61 | Market Clearing | 11.1: It's mentioned the Daily Auction Report can subsequently be revised after publication. Does this indicate the Market Clearing Price or Contracted Capacity could not be final when published? We would also appreciate more details on the timing of publication of the results. | We have reserved the right to revise the Daily Auction Report in order to accommodate situations where something has gone wrong in the presentation of the report (as an example, if some data in the report have been corrupted) or if we have identified a need to clarify or add certain information about the market. The key point to note is that the content of the daily auction report is not definitive in the sense that auction outcomes will be derived from (and are defined by reference to) the Market Clearing Rules. Regarding the timing of publication of the results, we expect to be publishing the BR auction results around 08:45
62 | OBP launch | Yes. Flexitricity believes the amended service better supports ESO’s journey to net zero by levelling the playing field between different assets and technology types, for example by allowing aggregation by GSP group. The changes made by ESO to ensure BR is accessible to a wider suite of technologies is dependent upon the multi-dispatch tool being delivered to time in the BM, which we understand is still on track for December 2023. Flexitricity is actively preparing for BR Go Live in Q1 2024. Regardless, we would emphasise that it is imperative that the BR service should not be launched until the necessary OBP releases are in place and being used as standard by control room. | Thank you for your feedback. As you have mentioned, in our plan we fully expect the multi-dispatch tool will have been operational before Balancing Reserve goes live.
63 | General Comment | We appreciate ESO working so constructively with industry to improve the proposed BR service, particularly regarding minimum thresholds, penalties and MFR. | Thank you for your comments
64 | Benefits | KrakenFlex overall agrees with the updated proposal of BR as it now allows for smaller assets to compete after amending the ramp rate specification and removal of mandatory MFR. We also agree that it can allow for cost savings and better system stability through procuring reserve volume at the DA stage. | Thank you for your comments
65 | Benefits | We would note however, from the LCP analysis, the savings do tail off dramatically by 2027 after high savings in 2024. We would be interested to understand how these savings play out till 2030 and beyond. We were happy to hear that the ESO was looking at procuring reserve and response closer to real-time but would push for more immediacy on looking at this aspect and try to understand if this fits in with REMA discussions. | We have commissioned a CBA for BR until the end of 2027 which will cover just under 3 years of the service. Beyond this date it is difficult to forecast with any certainty BM prices and therefore we haven't considered this period. Once we have launched the market we will have evidence of the market bidding behaviour and expected BR clearing prices which will enable us to monitor the service to keep improving our procurement strategy across the DA market and the real time BM in order to maximise value to consumers. We have the existing opportunity to procure reserve and response close to real time via the BM today and are exploring opportunities for closer to real time procurement as well. We will be closely watching the outcomes of REMA and incorporating conclusions where relevant - we expect that the recommendations from REMA will not be implemented before the late 2020s and therefore will continue to develop our services where there is opportunity to add consumer value before this period.
66 | Auction Timing | We would like to understand the ESOs decision to procure response and reserve at different timelines currently (morning vs afternoon), other than the points around reserve being procured through manual dispatch. | We want to procure BR before the DA wholesale market runs to give successful BR providers the chance to adjust their energy positions. The response markets run in a co-optmised auction in the afternoon when we have better information about the expected interconnector positions after the European DA power market has completed. This timing is important as it allows us to size our largest loss, which in turn sets our response requirements. In the future we could consider aligning the auction timings if we identify that co-optimisation benefits outweigh the possibly sub-optimal auction timings.
67 | BESS | We understand that BR falls within the realms of other changes within the BM but would be interested to hear from the ESO if it thinks the introduction of BR will help with enhancing BESS dispatch within the BM, or if BESS will still hit the existing barriers. For example, will BESS be more likely to not be selected in the DA auction than other techs. | The Day Ahead auction for Balancing Reserve is technology agnostic and bids are assessed purely based on submitted prices. Utilisation of the service will be via the BM and bid offer acceptances, there is currently work ongoing within the ESO to enhance the capability of the control room to dispatch smaller units and to receive greater visibility of battery state of energy to further support these decisions.
68 | Launch | KrakenFlex is disappointed with the time taken for BR to go-live. We appreciate that this is mostly due to the Ofgem rejection, however, this could have been avoided with more industry engagement prior to the initial proposal sent to Ofgem | We understand the frustration caused to stakeholders, and hope the changes made to the service design address many of the concerns raised in the previous service submission. Our intention with our previous submission was to realise some benefits for consumers while developing the IT capability to deliver the full service and put risk mitigations in place of which the minimum bid size was deemed non-compliant. Therefore timelines for delivery of this full service are similar to what was stated under our previous submission. We are committed to seeking and responding to feedback from all parties and appreciate the time taken to respond to this consultation.
69 | Cap on reimbursement | On the whole, KrakenFlex is happy with the service terms, especially with the ramp rate changes and removal of MFR being mandatory, allowing for smaller assets to partake. However, we have ongoing concerns around how partial outages will be communicated to the ESO to allow the unit to still provide some of its contracted capacity and not be deemed unavailable for the full capacity. We understand the changes to the reimbursement and agree they will be more reflective of what is happening in the market. We do note, however, that interconnector prices are not capped by the VoLL and we have seen prices spike to high levels that could make reimbursement harsh during certain SPs. We also note some concerns about how different providers could be penalised disproportionately to others based on when assets look to participate (i.e., penalties during peak periods will be higher, which BESS will likely be targeting more often than other technologies). We’d be interested to know if the ESO has considered a potential cap? Potentially something which follows the daily average BOA or energy trade price | Thank you for your feedback and concerns. To your first question about partial outages, the partial technical outages will not subject to reimbursement process and should be communicated to Control Room by using MEL/MIL (e.g. reducing MEL value) via EDL/EDT. To your further question, the reimbursement has an aim to protect GB customer against high costs of reserve replacement when a unit with BR contract choses to pursue other commercial opportunities instead being available to ESO. As such, no provider is at risk to these penalties if they fulfill their contracted obligations. The incremental volume costs has a cap of the highest price of offer/trade in a relevant service windows on how much ESO can recover due to replacing missing capacity in real-time. At any situation, ESO will not try to set reimbursement volume at higher than costs of taking alternative actions, but will seek to recover the additional costs taken. We have updated this parameter based on Ofgem feedback in their decision letter from our first Balancing Reserve submission, with the aim of ensuring it is not commercially attractive to switch out of the Balancing Reserve market after being contracted
70 | EAC | Could the ESO clarify that the BR availability auction will be cleared using the same algorithm from N-Side as is being used for response services in the EAC? Are the ESO aware of any implications of this? Has test auctions run well using this? We would appreciate some example auction result files as soon as possible, and would recommend the result files can be provided in the same formats/locations as will be provided for response services within EAC. Doing this will make life easier for receiving the results and using them to dispatch assets accordingly. | The BR auction will use the same auction algorithm as the EAC co-optimised response auction which is provided by our auction partner NSIDE. The EAC ran the first auction on 02 November and the first week of results have been hugely positive. The features of the new platform have all been demonstrated successfully and we have seen a reduction in procurement costs driven by increased competition and the release of negative price functionality. Thank you for the feedback requesting that the results files are in the same format and location - we will aim to replicate the EAC structure as much as possible and provide some example files before go live.
71 | Buy Orders | Could the ESO confirm if both positive and negative BR will go-live together, or if just positive first? If just positive, when will negative come? | We are currently finalising the procurement strategy, our intention is for both positive and negative Balancing Reserve to go live together.
72 | Requirements | We would be interested to understand when the daily holding requirements will be published for the upcoming auction? | Forecasted indicative requirements will be published 5 days ahead, it is not anticipated the exact requirements will be published until after the auction
73 | Dispatch | Our primary concern with the current design of the product is 8.1.2 of the service terms, the requirement to offer granular dispatch to individual MW levels. It is not in keeping with our current operational capability and we believe is a barrier to entry for smaller plant and especially small flexible providers who from our review of the current market, largely have a SEL that is equal to or very close to their MEL as a result of their commercial and technical requirements. This is typically a requirement that during the dispatch of these assets either a large proportion or the entirety of generation or demand reduction is achieved simultaneously with limited ability to respond to a lower setpoint. We are of the view this rule will prevent the participation of a large amount of this flexible capacity and therefore lead to higher procurement costs to the ESO as well as a less functional market. It therefore could be viewed as being discriminatory against smaller providers and technology types other than CCGTs, batteries and other traditional large generators. We would also highlight that this requirement will incentivise part loaded CCGTs at the expense of other flexible energy sources. This could have a higher carbon footprint than otherwise due to the need to keep a CCGT operating at SEL, potentially unnecessarily and outside of market merit. We believe removing this rule would not negatively impact the product as parties would still be held to provide the service within the same ramp and technical requirements. The MWs procured (where MEL=SEL) from such assets would be small due to the size of those assets. | We do appreciate the feedback around the dispatch flexibility rules and how it impacts your asset bid strategy or utilisation. Here are the reasons why ESO made decision to put those rules in place for Balancing Reserve. In the future, we will be closely monitoring the service as it goes live and we may review these rules in the future. 1. Not being required to instruct a minimum volume: The rules gives the ESO access to precise volumes of MW to dispatch in order to carefully match generation and demand in real-time while keeping frequency within operational limits. Without this rule, the units at 0MW baseline could be only dispatched to SEL (no less) and therefore, there is a significant risk of over-correcting the frequency if only a fixed and large volume of MW is available to the Control Room. This also increases the difficulty of dispatch transparency, as higher priced units with a lower volume may prove the most economic way to meet the requirement. There is also the added risk of not being able to dispatch to specific price bands, as units are able to set price bands to MW precision regardless of dynamic parameters. The dispatch flexibility rules give uniform access to all MW across all the providers. 2. Not being required to instruct for a minimum time: The rules allow the ESO to efficiently regulate generation changes and demand changes by dispatching reserve units for the exact time required. It gives the flexibility of ceasing instructions after an imbalance has been addressed The Control Room should not be obligated to dispatch a machine for its Minimum Run Time, which could be as long as 6-8 hours if the unit only needs to dispatched for reserve for 15 minutes (example only). It is not cost-efficient dispatch for imbalance management for GB customers & the dispatch flexibility rules of minimum time interval of 1 minute is a better reflection of the system needs as we transition to net-zero operation, and aligns with the resolution of BOAs. Assets that are flexible are still able to participate by providing reserve from SEL (or above) and we expect that to be economic where the costs of running at SEL can be wholly or partially recovered through the wholesale market (e.g. when units were already planning to run). During times that there is sufficient renewable generation, we expect wind units to be capable of the flexibility required. These rules should also serve as an incentive to maximise flexibility, and provide a market route to benefit from changes which increase the flexible range of operation of a unit, if there are commercial arrangements preventing this.
74 | Auction timing | We would also raise that the proposed time of auction at 08:15 with results following at 09:00 overlaps too heavily with the day ahead auction timings. There will be very little time for providers from one market to take part in the other efficiently. We would ask that Balancing Reserve be brought forward to match current STOR timings of 05:00 to allow parties to enter Balancing Reserve and then participate in the Day Ahead auctions, with time to perform analysis. We would ask that as a minimum the auction is timed so that full results are published to the market by 07:00 to allow time to assess and enter the Day Ahead markets. | Thank you for your feedback. We were carefully reviewing the BR auction timing to make sure we are taking all the other auctions in the consideration while making decision that BR auction should take place before Day Ahead Wholesale auction. We have also received a feedback from our previous engagement that some providers do not have 24h trading and optimisation desk to participate in the auction before 8:00am. In the future, we will review the auction timing as part of BR annual service review. As we are now moving BR auction to EAC platform, we will be checking how long the auction algorithm takes to solve and produce output. We are aiming to release the results as soon as the auction is solved, which could as early as 8:45am. Once we run the Mock Auction, we will be able to give more details on auction timing and how long it will take to produce the results.
75 | BM only | We are not supportive of products that are ‘BM only’ and believe the ESO should act to support both the BM and nBM parts of the market. There are already existing systems in place for the dispatch of nBM plant in a similar fashion to what is required by Balancing Reserve and so we feel the market should not be restricted unnecessarily. | Thank you for your feedback. We have carefully consider providers eligibility throughout the service development. As this service will be one of the key components in addressing system energy imbalance, we believe it is important to not dilute the signal of the system imbalance price as a market mechanism for incentivising providers to be in balance by having multiple markets. The BM also gives operational visibility of BM units in real-time as well as forward data on the unit (which could be outside service windows) such as physical notification, dynamic parameters and location. This visibility is beneficial not only to the Control Room dispatch engineers but also to industry where we share our dispatch data. All units meeting technical requirements are welcome to join BR market via BM route, and we have worked to increase accessibility to the BM through our Wider Access initiative.
76 | Support | Energy UK would like to thank ESO for the opportunity to respond to this consultation. Energy UK is supportive of reducing balancing costs, and we believe that a Balancing Reserve (BR) product would be an effective of way of delivering this therefore we welcome this proposal. Energy UK’s responses to ESO’s previous Article 18 Consultation (Dec 2022) and following Call for Input (May 2023) on BR highlighted industry concerns with barriers to entry for small flexible providers and those not able to provide Mandatory Frequency Response. We noted that the original design for BR was discriminatory and expressed concerns with the inefficient way in which it has been developed. Energy UK welcomes this update to BR, which addresses stakeholder concerns with the original service design. We welcome the additional clarifications in the pricing proposal document and the updated cost-benefit analysis from LCP Delta. We also welcome the indication that the service is likely to run until 2027 to maximise the value for consumers. There are however, members flagged a number of issues that we believe the ESO should consider further. | Thank you for your comments
77 | Auction Timing | Firstly, Energy UK has concerns about the timing of the auction and the tight with the first Day Ahead auction. We note members flagged this in the past but has not been addressed by ESO in redesigning BR. Energy UK would recommend that ESO should shorten the time to assess the entries into the product to allow for contingencies. However, we welcome the fact that ESO is looking at procuring reserve and response closer to real-time. | Thank you for your feedback. As we are now moving BR auction to EAC platform, we will be checking how long the auction algorithm takes to re-solve and produce output. We are aiming to release the results as soon as auction will be solved, which could as early as 8:45am. Once we have run the Mock Auction, we will be able to give more details on auction timing and how long it will take to produce the results.
78 | Dispatch | Secondly, Energy UK would like the ESO to provide an indicative dispatch profile and methodology for selecting and instructing plants under this service. Overall, we would like to see some transparency around the expected utilisation profile, e.g. will the ESO be dispatching most economic units first up to their full capacity or spreading that requirement across a larger number of contracted units. We would welcome clarification on this points. | The ESO will always seek to use the most economic option while maintaining system safety and security. As this is a reserve service, responding to unplanned imbalances, there may be a need to dispatch multiple units concurrently to increase overall ramp rate for example, and utilisation as with other BOAs will be subject to relevant constraints on the day for example: unit location and network constraints. Please note that in real-time, the BR units will be compared with other generation providing optional BR to enable the ESO to take the most economic option. Regarding expected utilisation, we are not planning to have the expected profile of dispatches or expected number of dispatches per day or Settlement Period. The use of reserve strongly depends on the day, hour, season, wind forecast and outturn, solar PV demand offset or even interconnector changes, and whether we have been able to economically meet our Balancing Reserve requirements in the day ahead market. This is extremely difficult to predict in advance. However, the ESO will always seek to use the most economic options while maintaining system security and safety. The utilisation payment is Bid and Offer payments as per Balancing Mechanism operation and prices submitted on the day.
79 | Dispatch | Thirdly, Energy UK believes that rule 8.1 should be amended to clarify that units cannot deliver from 0MW unless their SEL is 0MW. As currently drafted, this rule can be interpreted differently and may be misleading. Overall, this rule restricts units from delivering the service when they operate in a 0MW mode. We understand that some units will have a very high SEL and ESO should not be required to pay them to get to their SEL so that they can deliver the service. However, where SEL is lower, the rules could be more targeted to allow the units to deliver from a 0MW output. | Thank you for the feedback. To clarify our interpretation of para 8.1.1 of the service terms, we are proposing to amend the clause as follows: “8.1.1 either from zero (0) MW Output of Demand or from any prevailing Stable Export Limit or Stable Import Limit or any other (higher) level of Output or Demand; and” We think this covers the intended requirement which is that BR should be capable of being dispatched from its SEL or SIL (which could be zero) or from any higher level of output/demand. More generally, we do appreciate the feedback around the dispatch flexibility rules and how it impacts your asset bid strategy or utilisation. Here are the reasons why ESO made decision to put those rules in place for Balancing Reserve. In the future, we will be closely monitoring the service as it goes live and we may review these rules in the future. 1. Not being required to instruct a minimum volume: The rules gives the ESO access to precise volumes of MW to dispatch in order to carefully match generation and demand in real-time while keeping frequency within operational limits. Without this rule, the units at 0MW baseline could be only dispatched to SEL (no less) and therefore, there is a significant risk of over-correcting the frequency if only a fixed and large volume of MW is available to the Control Room. This also increases the difficulty of dispatch transparency, as higher priced units with a lower volume may prove the most economic way to meet the requirement. There is also the added risk of not being able to dispatch to specific price bands, as units are able to set price bands to MW precision regardless of dynamic parameters. The dispatch flexibility rules give uniform access to all MW across all the providers. 2. Not being required to instruct for a minimum time: The rules allow the ESO to efficiently regulate generation changes and demand changes by dispatching reserve units for the exact time required. It gives the flexibility of ceasing instructions after an imbalance has been addressed The Control Room should not be obligated to dispatch a machine for its Minimum Run Time, which could be as long as 6-8 hours if the unit only needs to dispatched for reserve for 15 minutes (example only). It is not cost-efficient dispatch for imbalance management for GB customers & the dispatch flexibility rules of minimum time interval of 1 minute is a better reflection of the system needs as we transition to net-zero operation, and aligns with the resolution of BOAs. Assets that are flexible are still able to participate by providing reserve from SEL (or above) and we expect that to be economic where the costs of running at SEL can be wholly or partially recovered through the wholesale market. These rules should also serve as an incentive to maximise flexibility, and provide a market route to benefit from changes which increase the flexible range of operation of a unit.
80 | Transfer | Fourthly, the rules, as currently drafted, only allow transfer of the obligation to another registered participant and do not have provisions for the transfer of contracted capacity between the units of the same Registered participant. Energy UK members have flagged that there are no technical or commercial reasons for why that transfer between units should not be allowed. Therefore, we believe the rules should be amended to explicitly allow that transfer between the units of the same registered participant as this would provide a secure and efficient contingency both for the ESO and for the contracted party. | This is dealt with at clause 23.14 which allows a transfer to an alternative BR Unit owned by the same registered participant, provided the unit is also registered with NGESO under the BR Procurement Rules.
81 | Outage | Furthermore, members have raised concerns over how partial outages are communicated to the ESO to allow the unit to still provide some of its contracted capacity and not be deemed unavailable for the full capacity. | Thanks for raising this question. If the unit has a technical outage (for example unplanned fault resulting in losing some capacity), we expect the unit to re-submit its MEL to reflect it is new capacity. The unit will not be awarded an availability payment against the original contracted capacity but the unit will not be also a subject to reimbursement clause 15.3. if this is for a technical fault. The unit may still be dispatched in the BM as Balancing Reserve and be paid Bid or Offer price as a utilisation payment as per standard BM payments.
82 | Data | Finally, Energy UK would ask the ESO to make the results formatting and publishing for BR similar to the response products in the EAC to make scrapping the results more simple and replicable between services. | The BR auction will use the same auction algorithm as the EAC co-optimised response auction which is provided by our auction partner NSIDE. The EAC ran the first auction on 02 November and the first week of results have been hugely positive. The features of the new platform have all been demonstrated successfully and we have seen a reduction in procurement costs driven by increased competition and the release of negative price functionality. Thank you for the feedback requesting that the results files are in the same format and location - we will aim to replicate the EAC structure as much as possible and provide some example files before go live.
83 | Delivery | While Energy UK welcomes the introduction of this product, we are also disappointed with the prolonged timelines for BR, which potentially could have been avoided if the initial proposal sent to Ofgem had been reflected in line with industry feedback. We recommend that in future development of ESO products and services industry is consulted more widely from the start and that its feedback is taken on board to ensure efficient roll out. | We understand the frustration caused to stakeholders, and hope the changes made to the service design address many of the concerns raised in the previous service submission. Our intention with our previous submission was to realise some benefits for consumers while developing the IT capability to deliver the full service, and put risk mitigations in place of which the minimum bid size was deemed non-compliant. Therefore timelines for delivery of this full service are similar to what was stated under our previous submission. We were open that the industry collaboration was not as extensive as we would have liked previously, as we were working at pace to deliver before the end of the winter period, and hope that this has improved for this submission. We are committed to seeking and responding to feedback from all parties and appreciate the time taken to respond to this consultation.
84 | Delivery | Energy UK notes that the indicative go live date in the pricing proposal is 1 March 2024, which would miss most of the 2023/24 winter period. We understand that the changes to the BR design require some additional IT capabilities which are still in development, but urge ESO to prioritise implementation of the service and ensure that go live is not delayed any further so that the expected consumer benefit can be realised. | Thank you for your response, we are working hard to ensure we meet the timelines that we have shared to realise the benefits that Balancing Reserve will provide.