## Q&A Webinar 19 December 2023
Question text | Answer
OBP Question - Are you saying at some point over the next year we will have no back-up system? | Our existing BM systems will remain the primary balancing system until resilience is in place for OBP, with OBP being used to enhance our dispatching capability during this time. OBP is resilient on one site (so a failure in one room will fall over to another room). But, full resilience needs two geographically separated sites. Once resilience is established, we will be moving towards OBP as the primary system.
Do the go-live dates for the different phases all include both positive and negative versions of the particular service or capability? | Yes they do.
Since QR is replacing FR, why is time to full delivery shortened to 1 minute from 2 minutes? | We undertook analysis during our initial show and listen events last year which showed that reducing the time to full delivery would result in a significant reduction in the duration of frequency deviations, and so believe that is the correct operability parameter to reduce risk in what is becoming an increasingly volatile system.
What is the thinking behind holding the QR auction after the Day Ahead power auctions (implied by the results only being available at 14:30 D-1)? | Our current proposal allows quick reserve to be co-optimised with the response auction which happens at that time. This is held after the interconnector day ahead declarations as that drives some of our response requirements. We would welcome feedback to help us determine the benefit of running before the day ahead auction vs. the benefit of co-optimising with response services. This can inform our Phase 2 enduring auction timing.
Why part pay as bid and part pay as clear? | Utilisation Pay as Bid Availability via EAC auction pay as Clear. As the capacity to provide this service is homogenous, pay-as-clear is an appropriate mechanism to drive long -term value in the market. However, dispatch will be subject to real-time operation conditions, such as network constraints – in this way the service dispatch will not meet the criteria for pay-as-clear, and so we are proposing that pay-as-bid is a more appropriate mechanism, in line with the Balancing Mechanism.
If implementation of Slow Reserve is not until Summer 2024, does that mean there will be another season of STOR? When does the ESO expect STOR to retire as a service? | Yes, there will be a STOR season 18 for 2024/25. STOR will be ramped down in 2025 during transition to slow reserve and in line with ASDP decommissioning. Season 18 details will be published in the next few weeks for 1 April 2024 to 1 April 2025 – we are not planning to change any of the current window times/duration
How much volume do you plan to procure in Quick/Slow reserve at the end of Phase 1? | Our methodology for quick reserve volumes is still being worked upon, but we would expect in the range of 300MW positive and negative. Slow reserve will not be procured in Phase 1, so we will continue to procure Short Term Operating Reserve at the current levels.
What about assets that can deliver fast response and reserve for 2 hours? Could fast and Slow be stacked in order to provide the full value of the asset to the control room? Currently this (along with many other service and system designs) suggests BESS will only ever be considered as 15 minute assets by the ESO. | We are currently working on enabling stacking with response which will require detailed performance metering of 1Hz This will be consider as part of Phase 2. To clarify, under Quick Reserve we expect unit to be available for full length of the service window of 30 minutes, which will change considering BESS as only 15 minutes in the future. Quick and slow reserve will not be able to stack together, as units can only submit one set of dispatch parameters (such as ramp rates) and due to the different use cases we would not want to use up slow reserve capacity responding to pre-fault events.
Doesn't quick and slow reserve also need storage duration parameters to be declared to be really effective, same issue as call off for bids and offers in the BM? | In the Phase 2 we are working on new parameter. ESTHiO have started a Grid Code process for this (GC0166). Until then we can use the 15 minute rule.
What is the advantage of slow reserve over BM? the assets in slow reserve would be available in BM if slow reserve did not exist. | Slow reserve is there to procure the capacity to be dispatched, so that units have headroom. There is no guarantee that assets will not be running in the BM if we do not procure this service.
Can quick reserve and DC/DM/DR be stacked? | We are working towards enabling splitting of response with Balancing reserve. As quick reserve is a quicker acting service we want to avoid the complexities of response and reserve delivery both being performance monitored while developing reliable, automated 1 Hz performance monitoring for quick reserve. This is so we can have more confidence in delivery of the service.
Will BOAs still be in price merit or will an asset's reserve service status impact whether or not it is accepted over another asset? i.e. if a site is contracted for reserve could it be skipped so that the reserve remains in place or could it be taken out of merit as its deemed already contracted to be taken first. Want to avoid distortion of BM prices. | We will dispatch the most cost efficient units for what we need in real time. If this is responding to fast frequency events, then quick reserve assets will be instructed in preference to slower assets. With slow reserve, we need to ensure that we keep that post fault capability available, and so if other available units are slower, then we would need to keep the slow reserve units available to meet the 15 minutes delivery time.
The STOR service terms define STOR as being “from non-synchronized generating plant or demand sites”. Will QR and SR services similarly be defined in terms of delivery from non-sync’ed plant? | Yes, we are planning to allow delivery from baselines which are non-zero, to allow the example you have given. However, we are aware that the parameters for activation times are only aligned with BM parameters for units at zero, and so we will need to ensure these are captured to enable this dispatch.