## Slide 1: 13 March 2024 Online Meeting via Teams
GC0155 Clarification of Fault Ride Through Technical Requirements

## Slide 2
WELCOME

## Slide 3: Expectations of a Workgroup Member
Contribute to the discussion
Be prepared - Review Papers and Reports ahead of meetings
Be respectful of each other’s opinions
Your Roles
Complete actions in a timely manner
Bring forward alternatives as early as possible
Vote on whether or not to proceed with requests for Alternatives
Keep to agreed scope
Help refine/develop the solution(s)
Vote on whether the solution(s) better facilitate the Code Objectives
Do not share commercially sensitive information
Language and Conduct to be consistent with the values of equality and diversity

## Slide 4: Members / Alternates & Observers
Role | Name | Representing
Chair | Milly Lewis | Code Administrator (ESO)
Technical Secretary | Teri Puddefoot | Code Administrator (ESO)
Proposer | Terry Baldwin | NGESO
Workgroup Member | Alan Mason | Oceanwinds
Workgroup Member | Alan Creighton | Northern Powergrid
Workgroup Member | Alastair Frew | Drax Power Station
Workgroup Member | Andrew Vaudin | EDF
Workgroup Member | Bieshoy Awad | NGESO
Observer | David Griffiths | RWE Generation UK, RWE Renewables
Observer | Fiona Williams | NGESO
Workgroup Member | Afshin Pashaei | NGET
Workgroup Member | Owen Curran | Siemens
Workgroup Member | Fraser Norris | SSE
Workgroup Member | Garth Graham | SSE Generation
Workgroup Member | Isaac Gutierrez | Scottish Power
Workgroup Member | John Fradley | ESO
Observer | Mike Kay | Independent
Workgroup Member | Nicola Barberis Negra | Orsted
Observer | Owen Curran | Siemens
Workgroup Member | Priyanka Mohapatra | Scottish Power
Workgroup Member | Ryan Tumilty | SSE
Workgroup Member | Sean Gauton | Uniper Energy
Workgroup Member | Tim Ellingham | RWE Generation UK, RWE Renewables
Workgroup Member (Alternate) | Julie Richmond | Scottish Power
Workgroup Member (Alternate) | Martin Aten | Uniper
Workgroup Member (Alternate) | Sridhar Sahukari | Orsted
Workgroup Member (Alternate) | Frank Martin | Siemens
Authority Representative | Shilen Shah | Ofgem

## Slide 5
Actions Log and Timeline
Milly Lewis –ESO Code Administrator

## Slide 6
Actions
Action number | Workgroup Raised | Owner | Action | Due by | Status
​​39​ | ​​WG8​ | ​​BA​ | Discuss CC.6.1.11 with TOs and manufactures and feedback to WG with strawman | WG9 | Open
45 | WG10 | Ofgem | Check with Legal if CRM should be put in place if applying retrospectively | WG11 | Open
47 | WG11 | SS | Come back with feedback on action 43 | ASAP | Open
49 | WG12 | All | Consider TOV graph, what palatable limits might be | WG13 | Open
51 | WG12 | BA | Share the results of the effects with a lower voltage | WG13 | Open
53 | WG14 | Chair | Timeline to be re-drafted, shared with Workgroup for comment and submitted to Grid Code Panel | WG15 | Proposed to close approved at January GCRP
54 | WG14 | JF (ESO) | Summary of how HVDC conventionally works to be shared with the Workgroup | WG 15 | Proposed to close as shared with Workgroup 14 outputs
55 | WG14 | BA | Baseline legal text quoted in the document to be checked (correct text and references included) | WG 15 | Propose to close (see Workgroup Consultation)
56 | WG14 | BA | Proposer to trace discussions on issues with fault ride through requirements from GC0111 and GC0137 | WG 15 | Open
57 | WG14 | BA | Proposer to review wording re: fault current injection to reflect wind farms, voltage detection and proportionality (and speak with relevant Workgroup members to agree any points of contention). | WG 15 | Propose to close (see Workgroup Consultation)
58 | WG14 | BA | Review section for performing during overvoltages, checking for any missing baseline legal text in these sections, conferring with Workgroup members and reviewing the clause reference at the base of page 11. | WG 15 | Propose to close (see Workgroup Consultation)
59 | WG14 | Chair | Collaborative working options to be explored for working on the draft consultation document. | WG 15 | Propose to close as link shared on 20 December 2023

## Slide 7: GC0155 Timeline
Workgroups | Dates | Activity
Workgroup 1 | 10/02/2022 | Understand / discuss proposal and solution, note the scope and identify any possible alternative solutions, agree timeline and review terms of reference, agree next steps.
Workgroup 2 | 07/06/2022 | Refresher: review and agree timeline and Terms of Reference, Review/Develop solution(s) and legal text, identify/assess possible alternatives.
Workgroup 3 | 05/07/2022 | Develop Solution(s), review of legal text and alternatives
Workgroup 4 | 25/07/2022 | ESO to present plan and next steps re Definition of Overvoltage Requirements following a Fault, agree on the proposed plan
Workgroup 5 | 23/08/2022 | Review / assess on-going work on Overvoltage requirements
Workgroup 6 | 07/09/2022 | Review / assess ongoing work on Overvoltage requirements; consider HVRT findings
Workgroup 7 | 19/01/2023 | Review / assess ongoing work on Overvoltage requirements; consider HVRT findings
Workgroup 8 | 05/04/2023 | Review of ESO findings, look through of draft legal text, consideration of alternatives
Workgroup 9 | 04/05/2023 | Review draft legal text and any ESO updates,
Workgroup 10 | 08/06/2023 | Complete review of draft legal text and any ESO updates, consideration of alternatives
Workgroup 11 | 25/07/2023 | Finalise draft legal text for WAGCM1, draft consultation overview
Workgroup 12 | 19/09/2023 | Review actions and complete alternate vote
Workgroup 13 | 18/10/2023 | Review Draft legal text for all solutions
Workgroup 14 | 13/12/2023 | Review of draft Workgroup Consultation
Workgroup 15 | 13/03/2024 | Review of draft Workgroup Consultation
Workgroup 16 | 10/04/2024 | Full review of draft Workgroup Consultation
Workgroup Consultation | 16/04/2024 - 16/05/2024 | 
Workgroup 17 | 04/07/2024 | Review Consultation responses
Workgroup 18 | 06/08/2024 | Review draft Workgroup Report and legal text
Workgroup 19 | 12/09/2024 | Review draft Workgroup Report and legal text
Workgroup 20 | 09/10/2024 | Finalise solution(s) and legal text, agree that Terms of Reference have been met, Review Workgroup Report and hold Workgroup Vote
Workgroup Report to Panel | 20/11/2024 | 
Post Workgroups |  | 
Code Administrator Consultation | 03/12/2024 - 10/01/2025 | 
Draft Final Modification Report to Panel | 19/02/2025 | 
DFMR Vote at Panel | 27/02/2025 | 
Final Modification to Ofgem | 12/03/2025 | 

## Slide 8
Workgroup Consultation and Legal Text Review
Milly Lewis

## Slide 9
Milly Lewis –ESO Code Administrator
Any Other Business

## Slide 10
Milly Lewis –ESO Code Administrator
Next Steps