## Slide 1
Constraints Collaboration Project –
Q&A on initial assessment
7 August 2024

## Slide 2
Contents | Time
Welcome | 0930 – 0935
Executive Summary | 0935 – 0945
Q&A Session | 0945 – 1100
Agenda

## Slide 3: Welcome Cian McLeavey-Reville Head of Market Development

## Slide 4
  To share the conclusions of the assessment of the six constraint management options
Objectives of this session
  To outline next steps for detailed scoping of the options and indicative timeline for the work
1
2
  To provide industry the opportunities to ask questions
3
Not in scope of the CCP report
  Full CBA, technical and operability assessments of the different constraint management measures
Welcome
Executive Summary
Q&A
Objectives

## Slide 5: Executive Summary

## Slide 6
Overview
Welcome
Executive Summary
Q&A
  Many ideas were submitted and the consolidated options fell into two broad categories: constraint management markets and technical solutions to increase the flow over boundaries.
  This initial assessment used the ESO’s market design framework. If no MDF principles were assessed as red, it was then assessed in terms of its net consumer benefit by an external consultant. The full net consumer benefit analysis was published separately.
  In January, we kicked of a collaboration project with industry to identify potential measures to manage thermal constraints, which can be introduced in the short-term before more transformational market reforms and additional network is built.
  The results of this initial assessment indicated that all options needed further investigation before we can implement it. Currently, we cannot commit to implementing any of the options.

## Slide 7
  1. Constraints Management Markets (CMM)
  2. Increasing how much can flow over boundaries
  1A. Demand for Constraints
  1C. Short-term Constraints Management Markets
  1B. Long-term Constraints Management Markets
  Long-term
  constraint management contracts (incentivising new demand)
  ‘COOLER HEATING’ – commercial heat loads
  as responsive assets
  Weekly generation
  turn down market
  Flexibility for Active Network
  Management (ANM) zones and
  Generation Export Management (GEMS)
  Incentivising new discretionary demand (H2 production and electricity storage)
  Long-term auction of excess wind
  Battery for constraints:
  Reducing the line rating from 10 to 3 mins
  Discounted demand turn up
  Demand signal product
  Competitively
  allocated season ahead constraint management
  availability contracts
  Paired storage systems across
  key boundaries
  Enhance utilisation of the
  transmission network
  Competitively
  allocated
  short-term constraint management contracts (D-7)
  Flex PtX to produce green H2 and related derivatives
  Long-term contract
  to manage a portion of the forecast constraint volumes
  Pre gate closure
  constraint management product
  using scheme 7 trade
  Intertrip scheme utilisation
  2B. Grid Booster: Post-fault
  2A. Extended intertrip scheme
  Increasing demand
  for power in
  constrained areas for electrification of heat
  Constraints management markets (CMMs)
  Extended intertrip scheme
  Grid booster
  The ‘Big Friendly Battery’ for ~8 hours duration
Key
Demand for Constraints
CMM – Long term
CMM – Short term
Increasing how much can flow over boundaries
Key
Demand for Constraints
CMM – Long term
CMM – Short term
Increasing how much can flow over boundaries
Industry ideas have been consolidated to determine six options for assessment
  2C. Transfer Booster: Pre-fault
  Transfer booster
Welcome
Executive Summary
Q&A

## Slide 8
Summary of Market Design Framework Assessments
Policy Options |  | 1A. Demand for Constraints | 1B. Long-term Constraints Management Markets | 1C. Short-term Constraints Management Markets | 2A. Extended intertrip scheme | 2B. Grid Booster: Post Fault | 2C. Transfer Booster: Pre Fault
I. Efficient Dispatch | Competition (Short Run) | N/A |  |  |  |  | 
 | Locational Signals in Dispatch |  |  |  |  |  | 
II. Efficient Dispatch and Investment | Coherency* |  |  |  |  |  | 
 | Transparency |  |  |  |  |  | 
 | Whole System Flexibility |  |  |  |  |  | 
II. Efficient Investment | Competition (Long Run)* |  |  |  |  |  | 
 | Locational Signals in Investment* |  |  |  |  |  | 
 | Investor Confidence* |  |  |  |  |  | 
III. Value for Money | Value for Money* |  |  |  | N/A# | N/A# | N/A#
 | Deliverability* |  |  |  |  |  | 
 | Adaptability |  |  |  |  |  | 
Next steps |  | Further design and CBA | Further design and CBA | Further design and CBA | Technical assessment needed | Technical assessment needed | Technical assessment needed
#Due to being discounted due to Coherency and Practicality/Deliverability, no Net Consumer Benefit analysis could be completed
Level of Alignment to MDF principles:
Negative
Neutral – more investigation needed
Positive
Prioritised criteria
*
Welcome
Executive Summary
Q&A

## Slide 9
Option | Next steps
Demand for Constraints (DfC) | Take forward for further design development, considering interactions with existing ESO services as well as the BM, hydrogen business model and existing policies. Conduct an in-depth Cost Benefit Analysis (CBA) of final design, if required.
Constraints Management Markets (CMM) | Take forward for further design development. Work through more detailed service design, which builds on learnings from our Local Constraints Market. The detailed service design will further consider other boundaries, interconnectors and interactions with existing ESO services and the BM. Conduct an in-depth Cost Benefit Analysis (CBA) of final design, if required.
Intertrip Scheme / Grid booster | Undertake further technical studies of the system with regards to the existing intertrip and other constraints such as stability and voltage.
Transfer Booster | Undertake more analysis, and possibly an innovation project, before being able to design a commercial service
  For all options, the next stage of assessment will start immediately and we will continue to have regular engagement with industry.
  Any key decisions as we work through the assessment will be communicated.
  Ongoing support and input from industry will be needed make this a continued success.
Looking forward
Welcome
Executive Summary
Q&A

## Slide 10: Q&A

## Slide 11
Respondent | Question
Simon Gill - The Energy Landscape | How was the Value for Money analysis carried out? Can you walk through the analysis for one or more options to give us an idea of what factors were considered and how they were modelled?
Simon Gill - The Energy Landscape | Will Demand For Constraints be developed to make sure it can be activated straight away in other boundaries other than B6? Given the anticipated constraints in the coming decade in other boundaries such East Anglia export and the two-year lead time required for development.
Simon Gill - The Energy Landscape | Long term Constraints Managements Markets is described as offering 1-year contracts only and procuring them Y-1 and Y-4. Firstly, procuring Y-4 for a 1-year contract seems excessive – how do you see the procurements and contract length working together? What type of technologies and project do you think would engage with and benefit from this model?
Simon Gill - The Energy Landscape | Long term Constraints Managements Market would be open to a range of providers providing turn up and turn down and potentially could operate both in front and behind a constraint. By contrast Demand for Constraints, which you propose could have a 10-year contract length, is only available for demand turn up behind a constraint. Does this imply that you feel that contracts longer than 1 year are only valuable for this specific set of provides (new demand behind a constraint)?
Simon Gill - The Energy Landscape | Do you envisage all three Constraint management market options being used together? In the next stage of analysis will you be considered alternative arrangements e.g. only implementing one or two of the sub-options, or combining them?
Harry Parsons - SSE | As part of the technical study for the grid booster solution proposals will the ESO be looking into international markets that have introduced grid boosters e.g. Germany and how associated response and reserve market requirements evolved?
Jasmeet Rowley - E.ON | We think describing this report as ‘final’ could be misinterpreted on the basis that ESO haven’t made a decision on which solutions would be implemented. Can the project team clarify if there will be a further webinar/report to discuss the decisions ESO will make on the solutions shortlisted (after further detailed work, technical assessments and quantification work has been completed)?
Advance questions
Welcome
Executive Summary
Q&A