## Front Sheet
Mid-Term (Y-1) Stability Market Year One Tender Results
Further information on the Mid-Term (Y-1) Stability Market can be found here
If you have any queries about the tender results please submit them to: box.stability@nationalenergyso.com

## Main Table
Submission ID | Company Name | Technology Type | Grid Entry Point | Inertia MVA.s | Start Date | Stage 1 Mandatory Questions | Stage 2 Section A – Technical Questions Assessment | Stage 2 Section B-Feasibility Report Assessment | Stage 3 Project Delivery Assessment | Stage 4 Eligibility Criteria Assessment | Stage 5 Financial Health Assessment | Overall Outcome Following Stage 6 Economic Assessment
ConradEnergy-Sol1 | Conrad Energy (Developments) II Limited | GBGF-I | Greenfields 132kV | 670.86 | 2025-10-01 | Pass | Fail | Fail | Fail | Fail | Pass | Option not considered due to failure in previous stages.
ConradEnergy-Sol2 | Conrad Energy (Developments) II Limited | GBGF-I | Greenfields 132kV | 271.874 | 30/11/2025 | Pass | Fail | Fail | Fail | Fail | Pass | Option not considered due to failure in previous stages.
ConradEnergy-Sol3 | Conrad Energy (Developments) II Limited | GBGF-I | Greenfields 132kV | 138.417 | 30/11/2025 | Pass | Fail | Fail | Fail | Fail | Pass | Option not considered due to failure in previous stages.
DEEP 1A | Deeside Power (UK) Ltd | GBGF-S | Connahs Quay 400kV | 1531.423 | 2026-04-01 | Pass | Pass | Pass | Pass | Pass | Pass | Option Not Selected
DEEP 1A + DEEP 1B | Deeside Power (UK) Ltd | GBGF-S | Connahs Quay 400kV | 3052.325 | 2026-04-01 | Pass | Pass | Pass | Pass | Pass | Pass | Option Selected
Drax-CR4 | Drax Pumped Storage Ltd | GBGF-S | Dalmaly 275kV | 483.323 | 2025-10-01 | Pass | Pass | Pass | Pass | Pass | Pass | Option Selected
Pivoted Power LLP-Sol1 | EDF Energy Renewables Limited | GBGF-I | Bredbury 275kV | 15.22 | 2025-10-01 | Pass | Fail | Fail | Pass | Fail | Pass | Option not considered due to failure in previous stages.
Pivoted Power LLP-Sol2 | EDF Energy Renewables Limited | GBGF-I | Bredbury 275kV | 15.22 | 2025-10-01 | Pass | Fail | Fail | Pass | Fail | Pass | Option not considered due to failure in previous stages.
Pivoted Power LLP-Sol3 | EDF Energy Renewables Limited | GBGF-I | Bredbury 275kV | 15.22 | 2025-10-01 | Pass | Fail | Fail | Pass | Fail | Pass | Option not considered due to failure in previous stages.
Pivoted Power LLP-Sol4 | EDF Energy Renewables Limited | GBGF-I | Sundon 400/33kV | 330.08 | 2025-10-01 | Pass | Fail | Fail | Pass | Fail | Pass | Option not considered due to failure in previous stages.
Pivoted Power LLP-Sol5 | EDF Energy Renewables Limited | GBGF-I | Sundon 400/33kV | 330.08 | 2025-10-01 | Pass | Fail | Fail | Pass | Fail | Pass | Option not considered due to failure in previous stages.
Pivoted Power LLP-Sol6 | EDF Energy Renewables Limited | GBGF-I | Sundon 400/33kV | 330.08 | 2025-10-01 | Pass | Fail | Fail | Pass | Fail | Pass | Option not considered due to failure in previous stages.
Pivoted Power LLP-Sol7 | EDF Energy Renewables Limited | GBGF-I | Bramford 400/33kV | 363.8 | 2025-10-01 | Pass | Fail | Fail | Pass | Fail | Pass | Option not considered due to failure in previous stages.
Pivoted Power LLP-Sol8 | EDF Energy Renewables Limited | GBGF-I | Bramford 400/33kV | 363.8 | 2025-10-01 | Pass | Fail | Fail | Pass | Fail | Pass | Option not considered due to failure in previous stages.
Pivoted Power LLP-Sol9 | EDF Energy Renewables Limited | GBGF-I | Bramford 400/33kV | 363.8 | 2025-10-01 | Pass | Fail | Fail | Pass | Fail | Pass | Option not considered due to failure in previous stages.
Drax-EE11 | Hirwaun Power Ltd | GBGF-S | Rhigos 400kV | 495.593 | 2025-10-01 | Pass | Pass | Pass | Pass | Pass | Pass | Option Selected
Drax-MB11 | Millbrook Power Ltd | GBGF-S | Marston Vale 400kV | 495.998 | 2025-10-01 | Pass | Pass | Pass | Pass | Pass | Pass | Option Selected
Drax-SWa1 | Progress Power Ltd | GBGF-S | Yaxley 400kV | 495.794 | 2025-10-01 | Pass | Pass | Pass | Pass | Pass | Pass | Option Selected
TagEnergy UK Ltd - Sol1 | Tagenergy UK Limited | GBGF-I | Drax 132kV | 1096.75 | 2025-10-01 | Pass | Fail | Fail | Pass | Fail | Pass | Option not considered due to failure in previous stages.
TagEnergy UK Ltd - Sol2 | Tagenergy UK Limited | GBGF-I | Drax 132kV | 2461.75 | 2025-10-01 | Pass | Fail | Fail | Pass | Fail | Pass | Option not considered due to failure in previous stages.