## Main
2020-02-01 | 2020-02-01
2020-02-29
`
Step 3.
Click here to import data
Select AS MBSS file.
Step 4.
Click here to copy imported data to chart tables
Step 1.
Update ROP with latest AS data.
Step 2.
Update reporting month in cell E1

## Overall cost
Report Month | 2020-02-01 | 2020-02-29 | 2020-02-01 | Balancing Cost | Balancing Cost Feb 2020
Balancing Mechanism | Trades | Ancillary Services | SO-to-SO | Other | Total
108.7115 | 13.6407 | 32.3779 | -0.06038 | -2.6711 | 151.9987

## Total categories
Cost £m | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
Energy Imbalance | -0.7993 | -0.00041649 | 2.1617 | -0.36122 | 2.3645 | 2.5248 | 7.408 | 5.9691 | 8.7619 | 8.8337 | 10.6766
Operating Reserve | 4.6821 | 4.8448 | 4.6363 | 4.3923 | 6.3 | 7.3733 | 7.6022 | 9.6564 | 12.2065 | 8.492 | 7.4431
STOR | 3.7688 | 3.9716 | 4.6527 | 4.3993 | 4.365 | 3.7596 | 6.2854 | 3.8874 | 3.8948 | 4.1254 | 3.2755
Constraints | 43.4561 | 23.5713 | 45.8609 | 31.209 | 57.0125 | 57.3225 | 75.4195 | 34.6997 | 75.406 | 94.2023 | 99.5769
Negative Reserve | 0.2677 | 0.14709 | 0.71415 | 0.10347 | 1.4207 | 2.0307 | 0.3046 | 0.081643 | 0.17009 | 0.42911 | 0.27579
Fast Reserve | 8.642 | 7.3633 | 7.6196 | 7.6252 | 6.9039 | 8.2274 | 8.4183 | 8.0641 | 7.6821 | 7.3153 | 8.4376
Response | 9.6893 | 10.9897 | 10.2924 | 10.143 | 13.5611 | 15.9358 | 15.1258 | 14.6038 | 13.8567 | 13.833 | 12.4709
Other Reserve | 1.4557 | 1.5145 | 1.4395 | 1.2385 | 2.1345 | 1.4979 | 1.4032 | 1.3382 | 1.1194 | 1.2065 | 1.7142
Reactive | 5.9065 | 6.7027 | 6.0826 | 5.6555 | 5.6799 | 5.8442 | 5.5409 | 4.8606 | 5.3654 | 4.8686 | 3.8077
Black Start | 3.9183 | 3.6188 | 4.536 | 4.1241 | 3.8567 | 4.4045 | 3.7008 | 3.4908 | 3.6544 | 3.7425 | 3.3872
Minor Components | 3.0285 | 1.6554 | 2.3078 | 2.8117 | 5.4829 | 2.8813 | 2.8272 | 3.3312 | 1.5159 | 1.5096 | 0.81875
Total | 84.0157 | 64.3787 | 90.3036 | 71.3408 | 109.0816 | 111.802 | 134.036 | 89.9831 | 133.6332 | 148.5581 | 151.8843 | 0
Volume MW | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
Energy Imbalance | -92773.347 | -125100.103 | -52763.553 | -105125.057 | -89546.116 | -91685.372 | 23417.45 | 28526.31 | 39937.613 | 61765.729 | 136875.346 | 0
Operating Reserve | 558031.743 | 364497.218 | 416800.743 | 397667.947 | 589177.501 | 542831.8 | 748492.42 | 564576.768 | 960323.085 | 1250126.157 | 1295014.141 | 0
STOR (BM only) | 9886.926 | 6738.437 | 9459.365 | 6415.807 | 13009.852 | 11255.977 | 34060.583 | 2702.093 | 3390.986 | 3706.726 | 6350.708 | 0
Constraints | 739273.998 | 591725.608 | 1078048.266 | 848639.718 | 1378125.647 | 1210186.122 | 1437643.049 | 768710.014 | 1241671.653 | 1446016.181 | 1537775.445 | 0
Constraint Margin Replacement | 866229.752 | 543575.35 | 813914.091 | 620064.47 | 1216981.307 | 1209494.284 | 1522231.251 | 827038.344 | 1439577.949 | 1815061.359 | 1690928.341 | 0
Negative Reserve | -38648.422 | -37867.929 | -81145.609 | -36579.815 | -196815.18 | -170290.339 | -75877.996 | -8297.722 | -13447.065 | -17081.305 | -20479.124 | 0
Fast Reserve (BM only) | 19453.809 | 13208.974 | 17709.616 | 20433.369 | 14194.2 | 18468.362 | 20931.769 | 14309.127 | 18829.279 | 24168.573 | 31677.356 | 0
Response (Absolute- BM only) | 203635.558 | 230511.67 | 213526.459 | 233741.954 | 251135.985 | 259242.998 | 250031.839 | 239710.665 | 189083.138 | 131960.578 | 107248.319 | 0
Minor Components | -106132.337 | -136428.967 | -116806.991 | -165892.021 | -206719.295 | -217202.652 | -296610.754 | -339495.091 | -280264.935 | -197071.335 | -164423.011 | 0
Reporting Month
Energy Imbalance | 2019-04-30: 10.6766
Operating Reserve | 2019-04-30: 7.4431
STOR | 2019-04-30: 3.2755
Constraints | 2019-04-30: 99.5769
Negative Reserve | 2019-04-30: 0.27579
Fast Reserve | 2019-04-30: 8.4376
Response | 2019-04-30: 12.4709
Other Reserve | 2019-04-30: 1.7142
Reactive | 2019-04-30: 3.8077
Black Start | 2019-04-30: 3.3872
Minor Components | 2019-04-30: 0.81875

## Additional Total categories
Cost £m | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
Energy Imbalance | -0.7993 | -0.00041649 | 2.1617 | -0.36122 | 2.3645 | 2.5248 | 7.408 | 5.9691 | 8.7619 | 8.8337 | 10.6766
Operating Reserve | 4.6821 | 4.8448 | 4.6363 | 4.3923 | 6.3 | 7.3733 | 7.6022 | 9.6564 | 12.2065 | 8.492 | 7.4431
STOR | 3.7688 | 3.9716 | 4.6527 | 4.3993 | 4.365 | 3.7596 | 6.2854 | 3.8874 | 3.8948 | 4.1254 | 3.2755
Constraints - E&W | 4.5382 | 1.6129 | 14.4319 | 7.1484 | 12.8828 | 9.1596 | 13.9721 | 3.8596 | 10.7914 | 5.881 | -3.3692
Constraints - Cheviot | 14.2379 | 0.18755 | 0.09903 | 1.1853 | 1.3097 | 8.8341 | 14.7102 | 3.5519 | 7.9305 | 19.0427 | 14.8407
Constraints - Scotland | 3.2895 | 3.0069 | 0.93555 | 2.2008 | 7.5738 | 5.5414 | 6.6508 | 4.0051 | 14.4281 | 29.3629 | 50.2467
Constraints - Ancillary | 5.2286 | 2.416 | 1.3511 | 2.4453 | 1.9341 | 2.911 | 1.2219 | 2.3463 | 2.3161 | 2.1145 | 2.108
ROCOF | 9.2363 | 10.5022 | 20.4179 | 11.6842 | 18.017 | 17.4531 | 18.4517 | 11.513 | 21.1181 | 18.0728 | 19.5213
Constraints Sterilised HR | 6.9256 | 5.8458 | 8.6254 | 6.545 | 15.2952 | 13.4233 | 20.4127 | 9.4239 | 18.8217 | 19.7284 | 16.2294
Negative Reserve | 0.2677 | 0.14709 | 0.71415 | 0.10347 | 1.4207 | 2.0307 | 0.3046 | 0.081643 | 0.17009 | 0.42911 | 0.27579
Fast Reserve | 8.642 | 7.3633 | 7.6196 | 7.6252 | 6.9039 | 8.2274 | 8.4183 | 8.0641 | 7.6821 | 7.3153 | 8.4376
Response | 9.6893 | 10.9897 | 10.2924 | 10.143 | 13.5611 | 15.9358 | 15.1258 | 14.6038 | 13.8567 | 13.833 | 12.4709
Other Reserve | 1.4557 | 1.5145 | 1.4395 | 1.2385 | 2.1345 | 1.4979 | 1.4032 | 1.3382 | 1.1194 | 1.2065 | 1.7142
Reactive | 5.9065 | 6.7027 | 6.0826 | 5.6555 | 5.6799 | 5.8442 | 5.5409 | 4.8606 | 5.3654 | 4.8686 | 3.8077
Black Start | 3.9183 | 3.6188 | 4.536 | 4.1241 | 3.8567 | 4.4045 | 3.7008 | 3.4908 | 3.6544 | 3.7425 | 3.3872
Minor Components | 3.0285 | 1.6554 | 2.3078 | 2.8117 | 5.4829 | 2.8813 | 2.8272 | 3.3312 | 1.5159 | 1.5096 | 0.81875
Total | 84.0157 | 64.3787 | 90.3036 | 71.3408 | 109.0816 | 111.802 | 134.036 | 89.9831 | 133.6332 | 148.5581 | 151.8843 | 0

## BM total
| 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
Cost £m | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Energy balancing | -0.79053 | -0.00041649 | 2.1617 | -0.45144 | 2.3732 | 2.5389 | 7.2256 | 5.8979 | 8.7998 | 8.9632 | 10.6467
BM - Operating Reserve | 2.5731 | 3.3081 | 2.2916 | 2.3653 | 2.8077 | 4.1929 | 4.2313 | 7.1878 | 7.8743 | 4.2289 | 3.7314
BM - STOR | 0.44493 | 0.34014 | 0.49239 | 0.31618 | 0.41485 | 0.45488 | 2.7853 | 0.17559 | 0.2053 | 0.17623 | 0.32631
BM - Constrained Margin | 1.8833 | 1.1372 | 1.8111 | 1.3713 | 2.3438 | 2.0736 | 2.7069 | 1.8316 | 3.8345 | 4.1812 | 3.7036
BM - Constraints E&W | 8.5789 | 6.5703 | 22.3913 | 9.3631 | 18.5158 | 16.9266 | 32.3794 | 11.2451 | 29.3808 | 22.066 | 9.3592
BM - Constraints Cheviot | 17.334 | 0.36802 | 0.11569 | 1.5443 | 1.759 | 10.2183 | 18.2606 | 5.8837 | 10.4004 | 22.3843 | 17.8585
BM - Constraints Scotland | 3.9941 | 4.828 | 1.0503 | 3.0833 | 10.5709 | 8.1087 | 8.1571 | 5.8791 | 18.4872 | 35.9365 | 56.807
BM - Negative Reserve | 0.073049 | 0.01852 | 0.043405 | 0.050299 | 0.26841 | 0.053624 | 0.093433 | 0.081323 | 0.16425 | 0.41154 | 0.12764
BM - Fast Reserve | 0.57531 | 0.42665 | 0.54445 | 0.62988 | 0.51559 | 0.82074 | 0.80629 | 0.8463 | 0.84786 | 0.73163 | 0.96254
BM - Response | 2.4943 | 3.2955 | 3.2048 | 3.0166 | 5.4759 | 5.3056 | 5.6949 | 4.9806 | 4.0248 | 2.9838 | 2.2454
BM - Minor Components | 1.2913 | 1.0926 | 1.7922 | 1.5125 | 4.9345 | 3.0277 | 3.1044 | 3.4934 | 3.4987 | 3.2984 | 2.9432
Volume MW | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Energy balancing | -91992.42 | -125100.103 | -52763.553 | -106878.119 | -89343.293 | -91187.775 | 19354.302 | 28299.202 | 39439.895 | 64459.758 | 135523.554 | 0
BM - Operating Reserve | 109832.376 | 119459.2 | 113010.206 | 108676.163 | 110874.845 | 139939.41 | 154373.9 | 249056.562 | 313104.829 | 228362.861 | 332758.192 | 0
BM - STOR | 9886.926 | 6738.437 | 9459.365 | 6415.807 | 13009.852 | 11255.977 | 34060.583 | 2702.093 | 3390.986 | 3706.726 | 6350.708 | 0
BM - Constrained Margin | 430114.367 | 218287.018 | 281298.537 | 252331.784 | 443918.656 | 352414.504 | 512610.33 | 276910.706 | 607169.256 | 991130.982 | 939497.617 | 0
BM - Constraints E&W | 469251.879 | 522758.721 | 1064770.918 | 784900.015 | 1220047.523 | 1007847.245 | 1182719.695 | 646674.177 | 973592.168 | 819620.872 | 765819.571 | 0
BM - Constraints Cheviot | 200601.133 | 5268.749 | 1602.641 | 12367.01 | 16720.414 | 96619.332 | 174556.419 | 45629.542 | 77677.941 | 202001.069 | 169240.158 | 0
BM - Constraints Scotland | 69420.986 | 63698.138 | 11627.207 | 43570.693 | 141357.71 | 105409.545 | 80366.935 | 76406.295 | 190401.544 | 424394.24 | 602065.716 | 0
BM - Negative Reserve | -5366.69 | -2126.929 | -5034.609 | -4260.311 | -24440.68 | -3870.629 | -7944.996 | -4947.722 | -7589.065 | -8820.529 | -6284.611 | 0
BM - Fast Reserve | 19453.809 | 13208.974 | 17709.616 | 20433.369 | 14194.2 | 18468.362 | 20931.769 | 14309.127 | 18829.279 | 24168.573 | 31677.356 | 0
BM - Response | 203635.558 | 230511.67 | 213526.459 | 233741.954 | 251135.985 | 259242.998 | 250031.839 | 239710.665 | 189083.138 | 131960.578 | 107248.319 | 0
BM - Minor Components | -106892.642 | -136428.967 | -116806.991 | -167219.227 | -206516.472 | -217087.879 | -300218.712 | -339722.199 | -280762.653 | -194127.768 | -164981.984 | 0

## AS Total
Cost £m | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
AS - Response | 7.195 | 7.6942 | 7.0877 | 7.1019 | 8.0852 | 10.6307 | 9.4103 | 9.6233 | 9.8318 | 10.8492 | 10.2254
AS - Fast Reserves | 8.0667 | 6.9366 | 7.0751 | 6.9954 | 6.3883 | 7.4067 | 7.612 | 7.2178 | 6.8343 | 6.5837 | 7.4751
AS - STOR | 3.3239 | 3.6314 | 4.1603 | 4.0831 | 3.9502 | 3.3047 | 3.5682 | 3.7118 | 3.6895 | 3.9492 | 2.9492
AS - Other Reserves | 1.4557 | 1.5145 | 1.4395 | 1.2385 | 2.1345 | 1.4979 | 1.4032 | 1.3382 | 1.1194 | 1.2065 | 1.7142
AS - Black Start | 3.6274 | 3.5936 | 3.238 | 3.8461 | 3.4211 | 3.5878 | 3.6213 | 3.4908 | 3.6544 | 3.7425 | 3.3872
AS - Reactive | 5.9065 | 6.7027 | 6.0826 | 5.6555 | 5.6799 | 5.8442 | 5.5409 | 4.8606 | 5.3654 | 4.8686 | 3.8077
AS - Constraints | 5.2286 | 2.416 | 1.3511 | 2.4453 | 1.9341 | 2.911 | 1.2219 | 2.3463 | 2.3161 | 2.1145 | 2.108
AS - SO-SO Costs | 1.6721 | 1.1697 | 1.853 | 1.4989 | 2.3716 | 1.3391 | 1.2328 | 0.77096 | 0.61631 | 0.70979 | 0.49357
AS - Other Ancillary Cost | 0.0020653 | 0.00043845 | 0.001538 | 0.00046841 | 0.0011044 | 0.0005784 | -6.265e-05 | 0.00095441 | 0.00083337 | 0 | 0
AS - Outstanding Liabilities | 0.13555 | 0.14006 | 0.13555 | 0.14006 | 0.14006 | 0.13555 | 0.14006 | 0.13555 | 0.14006 | 0.14006 | 0.13103
Cost £m | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
AS Mandatory Service | 7.7779 | 8.8158 | 7.9687 | 7.7216 | 8.1482 | 8.2837 | 8.1893 | 7.0232 | 7.5409 | 6.7941 | 5.5458
AS Commercial Service | 20.4574 | 16.6165 | 15.1139 | 15.7476 | 17.6432 | 20.4425 | 17.5675 | 16.3307 | 16.2408 | 16.5858 | 17.9679
AS Tendered Service | 8.1816 | 8.2265 | 9.305 | 9.536 | 8.1573 | 7.7453 | 8.0655 | 9.8733 | 9.0824 | 10.0109 | 8.6728
AS Miscellaneous Costs | 0.13761 | 0.1405 | 0.13708 | 0.14053 | 0.14117 | 0.13612 | 0.14 | 0.1365 | 0.1409 | 0.14006 | 0.13103
Graph Title
Ancillary Services Cost - Feb 2020
Note on B25: Cristian Ebau: Check the formatting for this diagram

## Trades
Volume MWh | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01 | Reporting Month
Buy Volume | 55039.5 | 100286 | 236399 | 256050 | 344357 | 291932.5 | 377436.5 | 242878.5 | 151996 | 118354 | 102847 |  | 464181.6
Sell Volume | 241488 | 279075.1 | 489034.5 | 373192.2 | 667292.4 | 504225.5 | 326646.3 | 140222.8 | 297427.2 | 271131.1 | 361334.6
Abs value | 296527.5 | 379361.1 | 725433.5 | 629242.2 | 1011649.4 | 796158 | 704082.8 | 383101.3 | 449423.2 | 389485.1 | 464181.6 | 0
Cost £ million | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
Buy Cost | 0.82543 | 1.5211 | 4.2197 | 4.2357 | 7.1988 | 6.1394 | 2.8752 | 3.3454 | 1.2722 | 0.64257 | 0.57273
Sell Cost | 7.8835 | 8.4221 | 18.3752 | 11.5384 | 19.1286 | 16.1457 | 13.3839 | 6.639 | 14.0529 | 11.1602 | 13.068

## DSR
Cost £m | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
NBM - Frequency Response | 3.9169 | 4.0599 | 3.811 | 3.7103 | 3.4295 | 3.0969 | 3.2989 | 2.8944 | 3.316 | 3.7076 | 2.6616 |  | 0
NBM - Short-term operating reserve (STOR) | 2.6737 | 2.6562 | 3.1495 | 2.9411 | 2.8185 | 2.212 | 2.3485 | 2.2726 | 2.2424 | 2.4836 | 1.5695
NBM - Fast Reserve | 1.6141 | 1.1318 | 1.7377 | 1.8558 | 1.1677 | 1.1982 | 1.1322 | 1.5527 | 1.4374 | 2.0432 | 2.377
Cost £m | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
AS - Non BM providers | 8.2048 | 7.8479 | 8.6982 | 8.5071 | 7.4157 | 6.5071 | 6.7795 | 6.7198 | 6.9958 | 8.2343 | 6.6081
AS - BM providers | 26.5807 | 24.5664 | 21.736 | 22.756 | 23.9272 | 28.6313 | 25.3331 | 25.5562 | 25.8151 | 25.0499 | 25.0306
AS - SO-SO providers | 1.6721 | 1.1697 | 1.853 | 1.4989 | 2.3716 | 1.3391 | 1.2328 | 0.77096 | 0.61631 | 0.70979 | 0.49357
AS - Miscellaneous | 0.0020653 | 0.00043845 | 0.001538 | 0.00046841 | 0.0011044 | 0.0005784 | -6.265e-05 | 0.00095441 | 0.00083337 | 0 | 0
Graph Title
AS Costs By Provider Type - Feb 2020

## SO2SO
| 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
Cost £m | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
SO-SO Energy Trades | -0.0087697 | 0 | 0 | 0.090218 | -0.0086969 | -0.014114 | 0.18247 | 0.071171 | -0.037819 | -0.12946 | 0.029941
SO-SO Margin | 0 | 0 | 0 | 0 | 0 | 0 | 0.016525 | 0 | 0 | 0 | -0.012431
SO-SO Constrained Margin | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00067816 | 0
SO-SO Footroom | 3.76e-07 | 0 | 0 | 0.00051332 | 0 | 0 | 0 | 0 | 0 | -0.0029022 | 0
SO-SO Ramping | 0 | 0 | 0 | 0.12002 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO Invoked by External Parties | -0.064242 | 0 | 0 | -0.0044999 | -0.014031 | -0.036827 | -0.013647 | -0.18836 | -0.26514 | -0.49885 | -0.077891
SO-SO Constraints | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - SO-SO Interconnector Capability (Commercial) | 1.6721 | 1.1697 | 1.853 | 1.4989 | 2.3716 | 1.3391 | 1.2328 | 0.77096 | 0.61631 | 0.70979 | 0.49357
| 1.5991 | 1.1697 | 1.853 | 1.7052 | 2.3488 | 1.2881 | 1.4181 | 0.65378 | 0.31335 | 0.079258 | 0.43319 | 0
Reporting Month
0.43319

## Energy Imbalance
Cost | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
Energy Imbalance | -0.7993 | -0.00041649 | 2.1617 | -0.36122 | 2.3645 | 2.5248 | 7.408 | 5.9691 | 8.7619 | 8.8337 | 10.6766
Volume MWh | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
Energy Imbalance | -92773.347 | -125100.103 | -52763.553 | -105125.057 | -89546.116 | -91685.372 | 23417.45 | 28526.31 | 39937.613 | 61765.729 | 136875.346 | 0

## Operating Reserve
Cost | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Operating Reserve | 2.5731 | 3.3081 | 2.2916 | 2.3653 | 2.8077 | 4.1929 | 4.2313 | 7.1878 | 7.8743 | 4.2289 | 3.7314
BM - Constrained Operating Reserve | 1.8833 | 1.1372 | 1.8111 | 1.3713 | 2.3438 | 2.0736 | 2.7069 | 1.8316 | 3.8345 | 4.1812 | 3.7036
Trade - Operating Reserve | 0.17121 | 0.26125 | 0.27079 | 0.46492 | 0.79016 | 0.84908 | 0.42449 | 0.45828 | 0.19837 | 0.05275 | -0.081339
Trade - UTEV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Constrained Operating Reserve | 0.054539 | 0.13816 | 0.26276 | 0.19082 | 0.35823 | 0.25769 | 0.22296 | 0.17871 | 0.29933 | 0.028472 | 0.10185
SO-SO - Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0.016525 | 0 | 0 | 0 | -0.012431
SO-SO - Constrained Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00067816 | 0
Volume | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Operating Reserve | 109832.376 | 119459.2 | 113010.206 | 108676.163 | 110874.845 | 139939.41 | 154373.9 | 249056.562 | 313104.829 | 228362.861 | 332758.192 | 0
BM - Constrained Operating Reserve | 430114.367 | 218287.018 | 281298.537 | 252331.784 | 443918.656 | 352414.504 | 512610.33 | 276910.706 | 607169.256 | 991130.982 | 939497.617 | 0
Trade - Operating Reserve | 5938 | 17696.5 | 9787.5 | 23894 | 14822 | 17914 | 36242.5 | 18912.5 | 18644 | 10603.5 | 9852 | 0
Trade - UTEV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Constrained Operating Reserve | 12147 | 9054.5 | 12704.5 | 12766 | 19562 | 32562 | 44810.5 | 19697 | 21405 | 19567.5 | 12025 | 0
SO-SO - Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 455.19 | 0 | 0 | 0 | 881.332 | 0
SO-SO - Constrained Operating Reserve | 0 | 0 | 0 | 0 | 0 | 1.886 | 0 | 0 | 0 | 461.314 | 0 | 0

## STOR
| Costs | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
| BM - STOR | 0.44493 | 0.34014 | 0.49239 | 0.31618 | 0.41485 | 0.45488 | 2.7853 | 0.17559 | 0.2053 | 0.17623 | 0.32631
| AS - BM STOR (Tendered) | 0.65017 | 0.97519 | 1.0108 | 1.142 | 1.1317 | 1.0927 | 1.1517 | 1.4392 | 1.4471 | 1.4656 | 1.3797
| AS - NBM STOR availability (Tendered) | 1.8851 | 2.2814 | 2.3463 | 2.4455 | 2.3204 | 2.0397 | 2.0659 | 2.1054 | 2.0983 | 2.2091 | 1.339
| AS - NBM STOR utilisation (Tendered) | 0.78866 | 0.38904 | 0.80319 | 0.49561 | 0.49815 | 0.17228 | 0.28258 | 0.1672 | 0.1441 | 0.27453 | 0.23051
| AS - BM Season/Term Reconciliation (Tendered) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| AS - NBM Season/Term Reconciliation (Tendered) | 0 | -0.014175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 3.7688 | 3.9716 | 4.6527 | 4.3993 | 4.365 | 3.7596 | 6.2854 | 3.8874 | 3.8948 | 4.1254 | 3.2755 | 0
|  | 1.0951 | 1.3153 | 1.5031 | 1.4582 | 1.5465 | 1.5476 | 3.9369 | 1.6148 | 1.6524 | 1.6418 | 1.706 | 0
|  | 2.6737 | 2.6562 | 3.1495 | 2.9411 | 2.8185 | 2.212 | 2.3485 | 2.2726 | 2.2424 | 2.4836 | 1.5695 | 0
| MWh | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
| AS - NBM STOR utilisation (Tendered) | 26301.52 | 17062.61 | 30646.74 | 20377.92 | 20653.68 | 7164.796 | 10852.247 | 8031.465 | 4392.501 | 9236.99 | 7902.679
| AS - BM STOR utilisation (Tendered) | 1057.801 | 1412.366 | 1918.442 | 2509.991 | 1300.5 | 3782.375 | 3146.35 | 653.75 | 2211.369 | 2410.66 | 3315.952
|  | 27359.321 | 18474.976 | 32565.182 | 22887.911 | 21954.18 | 10947.171 | 13998.597 | 8685.215 | 6603.87 | 11647.65 | 11218.631 | 0
Reporting Month
Total | 3.2755
BM | 1.706
Non-BM | 1.5695
Total Vol | 11218.631
|  | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01
| BM STOR (July MBSS) | 2019-04-01: 1523.353
| BM STOR | 2019-04-01: 4612.492
| AS BM STOR | 2019-04-01: 4468.876
Note on A13: Cristian Ebau: These data come from the MBSS AS Volumes tab at the begging of this spreadsheet

## Constraints
Costs | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
AS - BM Intertrip capability (Mandatory - CAP76) | 0.11472 | 0.11855 | 0.11472 | 0.11855 | 0.11855 | 0.11472 | 0.11855 | 0.11472 | 0.11855 | 0.11855 | 0.1109
AS - BM Intertrip capability (Commercial) | 0.016434 | 0.016982 | 0.016434 | 0.016982 | 0.016982 | 0.016434 | 0.016982 | 0.016434 | 0.016982 | 0.016982 | 0.015887
AS - BM Intertrip Arming (Commercial) | 0.076397 | 0.038836 | 0.054568 | 0.02304 | 0.02094 | 0.0093982 | 0.050806 | 0.01395 | 0.085463 | 0.11087 | 0
AS - Interconnector Intertrip Arming (Commercial) | 0.0183 | 0.0748 | 0 | 0.12715 | 0.25028 | 0.044129 | 0.21779 | 0.31283 | 0 | 0.029992 | 0.028152
AS - BM Intertrip - trip (Mandatory and Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - BM Constraints | 1.6181 | 1.9278 | 0.98297 | 2.0956 | 0.81798 | 1.6791 | 0.19828 | 0.094061 | 0.097196 | 0.097196 | 0.090925
Costs (£m) | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
BM - Transmission | 27.4679 | 7.8167 | 16.1513 | 10.2414 | 19.2823 | 25.4078 | 49.1897 | 14.8042 | 47.9234 | 71.5635 | 75.1399
Trades - Transmission | 0.13575 | 0.11218 | 1.0285 | 1.7535 | 4.2274 | 1.0694 | 2.0434 | 1.6139 | 0.73185 | 1.0324 | 1.0107
BM - Voltage | 1.1003 | 1.6899 | 5.1496 | 2.1621 | 7.8622 | 6.2878 | 3.6649 | 3.1442 | 2.8551 | 1.1487 | 1.3899
Trades - Voltage | 0.57402 | 1.0595 | 2.7377 | 3.0596 | 5.4529 | 4.8734 | 0.85867 | 1.2781 | 0.46415 | 0.2704 | 0.50499
BM - ROCOF | 1.6296 | 2.2597 | 2.9503 | 1.6886 | 3.8327 | 4.238 | 5.9922 | 5.0595 | 7.4898 | 7.6745 | 7.4949
Trades - ROCOF | 7.6108 | 8.2425 | 17.568 | 9.9956 | 14.6285 | 13.2151 | 12.4984 | 6.4535 | 13.6256 | 10.3983 | 11.9285
SO-SO - Constraints | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS Costs | 5.2286 | 2.416 | 1.3511 | 2.4453 | 1.9341 | 2.911 | 1.2219 | 2.3463 | 2.3161 | 2.1145 | 2.108
Absolute Volume MWh | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
BM - Transmission | 347675.4 | 89625.262 | 150690.821 | 126908.53 | 211863.198 | 254726.411 | 484125.121 | 163798.962 | 463412.823 | 761478.016 | 785161.006
Trades - Transmission | 2587.5 | 913.1 | 30168 | 92604.7 | 143916.4 | 26790.5 | 198097.8 | 106011.3 | 37538.2 | 22545.6 | 9873.1
BM - Voltage | 91238.46 | 84034.442 | 226326.474 | 114590.049 | 272711.187 | 277379.332 | 295836.417 | 159477.749 | 232337.272 | 162083.42 | 164924.623
Trades - Voltage | 35114.5 | 67420 | 175935 | 171603 | 246072 | 213512.5 | 105647.5 | 97235 | 59014 | 39363 | 63277
BM - ROCOF | 53658.138 | 101371.304 | 74192.971 | 46829.439 | 88510.362 | 98433.379 | 102584.711 | 104391.503 | 142405.358 | 171189.645 | 159491.216
Trades - ROCOF | 209000 | 248361.5 | 420687.5 | 288302 | 415052.5 | 339034 | 251351.5 | 137795.5 | 306964 | 289356.5 | 354398.5
Reporting Month
AS Costs
Graph Title
Constraints - Feb 2020

## Negative Reserves
Costs | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Negative reserve | 0.073049 | 0.01852 | 0.043405 | 0.050299 | 0.26841 | 0.053624 | 0.093433 | 0.081323 | 0.16425 | 0.41154 | 0.12764
Trade - Negative reserve | 0.19465 | 0.12857 | 0.67074 | 0.052658 | 1.1523 | 1.9771 | 0.21116 | 0.00032009 | 0.005834 | 0.020473 | 0.14815
SO-SO - Negative reserve | 3.76e-07 | 0 | 0 | 0.00051332 | 0 | 0 | 0 | 0 | 0 | -0.0029022 | 0
Volumes | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Negative Reserve | -5366.69 | -2126.929 | -5034.609 | -4260.311 | -24440.68 | -3870.629 | -7944.996 | -4947.722 | -7589.065 | -8820.529 | -6284.611 | 0
Trade - Negative Reserve | -31740.5 | -35741 | -76111 | -32270.5 | -172374.5 | -166035 | -67933 | -3350 | -5858 | -8049 | -14106 | 0
SO-SO - Negative Reserve | -1541.232 | 0 | 0 | -49.004 | 0 | -384.71 | 0 | 0 | 0 | -211.776 | -88.513 | 0
| -38648.422 | -37867.929 | -81145.609 | -36579.815 | -196815.18 | -170290.339 | -75877.996 | -8297.722 | -13447.065 | -17081.305 | -20479.124 | 0
Reporting Month
Volume | 2019-04-30: -20479.124

## Fast Reserve
Costs | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Fast Reserves | 0.57531 | 0.42665 | 0.54445 | 0.62988 | 0.51559 | 0.82074 | 0.80629 | 0.8463 | 0.84786 | 0.73163 | 0.96254
Hydro Spin Gen No LF (Commercial) | 5.9475 | 5.2975 | 4.8512 | 4.6185 | 4.7478 | 5.706 | 5.958 | 5.1279 | 4.7995 | 4.3296 | 4.8872
BM Optional Fast Reserve (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Optional Fast Reserve Availability (Commercial) | 0.057477 | 0.063072 | 0.13965 | 0.1344 | 0.13834 | 0.078442 | 0.022957 | 0.33019 | 0.43734 | 0.33043 | 1.0435
NBM Optional Fast Reserve Utilisation (Commercial) | 0.75819 | 0.61318 | 1.1017 | 1.1779 | 0.76482 | 0.82176 | 0.26951 | 1.0562 | 0.75932 | 1.048 | 1.3335
BM Firm Fast Reserve (Tendered) | 0.50501 | 0.50728 | 0.48619 | 0.52109 | 0.47283 | 0.50251 | 0.52184 | 0.53723 | 0.59738 | 0.21088 | 0.21088
NBM Firm Fast Reserve Avail + Nom (Tendered) | 0.34176 | 0.2661 | 0.24898 | 0.22988 | 0.1491 | 0.16776 | 0.19146 | 0.057444 | 0.096603 | 0.46451 | 0
NBM Firm Fast Reserve Utilisation (Tendered) | 0.45671 | 0.18944 | 0.24737 | 0.31356 | 0.11545 | 0.13024 | 0.64827 | 0.10891 | 0.14411 | 0.20019 | 0
Total BM | 7.0278 | 6.2315 | 5.8819 | 5.7695 | 5.7362 | 7.0292 | 7.2861 | 6.5114 | 6.2447 | 5.2721 | 6.0606 | 0
Total Non-BM | 1.6141 | 1.1318 | 1.7377 | 1.8558 | 1.1677 | 1.1982 | 1.1322 | 1.5527 | 1.4374 | 2.0432 | 2.377 | 0
Volume | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
AS - NBM Firm Fast Reserve availability + nomination (Tendered) | 44160 | 107632 | 74400 | 101184 | 93744 | 71760 | 70432 | 66216 | 66216 | 228160 | 0
AS - BM Firm Fast Reserve availability (Tendered) | 85320 | 93780 | 90990 | 94140 | 93960 | 90990 | 94140 | 89280 | 89280 | 44640 | 41760
AS - BM Hydro Spin Gen No LF (Commercial) | 229810.81 | 208924.51 | 184416.55 | 179317.44 | 182443.96 | 220263.32 | 223558.29 | 200825.1 | 167967.77 | 200825.1 | 189059.51
Reporting Month
BM | 2019-04-01: 6.0606
Non-BM | 2019-04-01: 2.377

## Response
Costs | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Response | 2.4943 | 3.2955 | 3.2048 | 3.0166 | 5.4759 | 5.3056 | 5.6949 | 4.9806 | 4.0248 | 2.9838 | 2.2454
BM Generator Response (Mandatory) | 1.8891 | 2.1046 | 1.8744 | 2.0703 | 2.4808 | 2.3889 | 2.5434 | 1.9492 | 2.0918 | 1.8703 | 1.698
BM Generator Response (Commercial) | 0.022435 | 0.026306 | 0.084343 | 0.035252 | 0.054448 | 0.013158 | 0.012542 | 0.042519 | 0.023024 | 0.00156 | 0.055203
BM Generator Response Energy (Mandatory) | 0.074543 | 0.10547 | 0.10398 | 0.091157 | 0.087224 | 0.14257 | 0.19457 | 0.25272 | 0.17893 | 0.15051 | 0.12925
BM Generator Response Energy (Commercial) | 0.011069 | 0.0072356 | 0.054078 | 0.012843 | 0.035358 | 0.0090856 | 0.021569 | 0.020489 | 0.0010667 | 0.0020469 | 0.03055
Hydro Spin Gen with LF | 0.0029055 | 0.020709 | 0.0045445 | 0.024414 | 0.69917 | 3.2456 | 1.5366 | 1.2134 | 1.8828 | 2.4708 | 2.7221
Hydro Pump deload | 0.013078 | 0.0086608 | 0.00027777 | 0 | 0.1128 | 0.28424 | 0.33828 | 0.30543 | 0.35235 | 0.32029 | 0.33688
BM Enhanced Frequency Response (Commercial) | 1.0179 | 0.9653 | 0.92672 | 0.95577 | 1.0401 | 0.97304 | 1.0506 | 0.99412 | 1.0457 | 1.0559 | 0.97509
Interconnector Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Enhanced Frequency Response (Commercial) | 0.72576 | 0.7662 | 0.76424 | 0.79554 | 0.80036 | 0.77146 | 0.805 | 0.72659 | 0.73175 | 0.67959 | 0.67822
NBM Demand Side Response (Commerical) | 0.63715 | 0.67505 | 0.30539 | 0.010184 | 0.011992 | 0.00668 | 0.031088 | 0 | 0.007168 | 0 | 0
BM Other Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Other Response (Commercial) | 0.062515 | 0.058647 | 0.048902 | 0.055001 | 0.19645 | 0.056147 | 0.053934 | 0.047381 | 0.15905 | 0.49044 | 0.46428
BM FFR (Tendered) | 0.22401 | 0.35234 | 0.20903 | 0.19902 | 0.12224 | 0.42101 | 0.38582 | 1.7976 | 0.86413 | 1.1536 | 1.4436
BM FFR Response Energy (Tendered) | 0.023011 | 0.043707 | 0.019297 | 0.027453 | 0.023647 | 0.055627 | 0.048602 | 0.15345 | 0.076 | 0.1166 | 0.17311
NBM FFR (Tendered) | 2.4915 | 2.56 | 2.6925 | 2.8495 | 2.4207 | 2.2626 | 2.4089 | 2.1205 | 2.418 | 2.5375 | 1.5191
| 2019-04-30: 2019-04-01; 2019-07-31: 2019-05-01; 2019-10-31: 2019-06-01; 2020-01-31: 2019-07-01 | 2019-08-01 |  |  | 2019-09-01 |  |  | 2019-10-01 |  |  | 2019-11-01 |  |  | 2019-12-01 |  |  | 2020-01-01 |  |  | 2020-02-01 |  |  | 2020-03-01
Holding volumes (MWh) | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H
BM Generator Response (Mandatory) | 237384.393 | 146979.766 | 350836.02 | 249983.793 | 156969.586 | 373954.69 | 226401.474 | 137565.597 | 351524.584 | 236482.574 | 152238.828 | 388958.086 | 281421.407 | 182038.238 | 422042.41 | 305273.582 | 200067.757 | 407901.061 | 326004.397 | 212988.605 | 423597.115 | 252200.39 | 160289.52 | 312446.88 | 257471.001 | 165572.718 | 318342.656 | 230109.906 | 147406.641 | 308204.289 | 232159.875 | 150429.264 | 296715.709
Hydro Spin Gen with LF | 0 | 108.41 | 0 | 0 | 760.85 | 0 | 0 | 167.01 | 0 | 0 | 936.83 | 0 | 0 | 44082.13 | 0 | 0 | 127630.8 | 0 | 0 | 60414.49 | 0 | 0 | 46105.84 | 0 | 0 | 73445.07 | 0 | 0 | 46405.84 | 0 | 0 | 105487.91 | 0
Hydro Pump deload | 1509.9 | 1869.4 |  | 1087.8 | 1346.8 |  | 35.7 | 44.2 |  | 0 | 0 |  | 13765.5 | 17043 |  | 35817.6 | 44345.6 |  | 40233.9 | 49813.4 |  | 37347.06 | 46303.4 |  | 43140.75 | 53470.3 |  | 37347.06 | 46303.4 |  | 41647.2 | 51563.2 |  |  |  |  | 0 | 108.41 | 0
BM Enhanced Frequency Response (Commercial)
Interconnector Response (Commercial) | [36 empty] | 107712.6801 | 0 | 992
NBM Enhanced Frequency Response (Commercial) | [36 empty] | 150724.48 | 298577.98 | 110899.98
NBM Demand Side Response (Commerical) | 107712.6801 | 0 | 992 | 113273.07 | 0 | 1200 | 51507.01 | 0 | 432 | 1395 | 0 | 128 | 1784 | 0 | 0 | 872 | 0 | 256 | 912 | 0 | 6176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Other Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 1509.9 | 1869.4
BM FFR (Tendered) | 36789.5 | 36789.5 | 36789.5 | 28091.5 | 28091.5 | 28091.5 | 34749.5 | 34749.5 | 34749.5 | 30869.5 | 30869.5 | 30869.5 | 20658.5 | 20658.5 | 20658.5 | 83812.08 | 84633.07 | 85312.08 | 61757.65 | 59521.65 | 62152.65 | 116503.5 | 131155.5 | 96103.5 | 77543.03 | 74590.03 | 77534.03 | 86606.72 | 83630.72 | 76686.72 | 95093 | 92340 | 75373
NBM FFR (Tendered) | 150724.48 | 298577.98 | 110899.98 | 150214.17 | 292627.17 | 107676.17 | 138081.75 | 263793.75 | 82087.5 | 155735.5 | 298953.83 | 109783.67 | 184860.27 | 293115.27 | 110824.27 | 139183.22 | 236717.55 | 123968.8 | 168204.03 | 272229.53 | 166374.53 | 180621.1 | 196364.43 | 174827.1 | 181498.03 | 197578.08 | 179762.08 | 206279.5 | 217509.5 | 203134.5 | 169199.45 | 177234.45 | 166825.45
| 534120.9531 | 484325.056 | 499517.5 | 542650.333 | 479795.906 | 510922.36 | 450775.434 | 436320.057 | 468793.584 | 424482.574 | 482998.988 | 529739.256 | 502489.677 | 556937.138 | 553525.18 | 564958.482 | 693394.777 | 617437.941 | 597111.977 | 654967.675 | 658300.295 | 586672.05 | 580218.69 | 583377.48 | 559652.811 | 564656.198 | 575638.766 | 560343.186 | 541256.101 | 588025.509 | 538099.525 | 577054.824 | 538914.159 | 0 | 0 | 0
| 2019-04-30: 2019-04-01; 2019-07-31: 2019-05-01; 2019-10-31: 2019-06-01; 2020-01-31: 2019-07-01 | 2019-08-01 |  |  | 2019-09-01 |  |  | 2019-10-01 |  |  | 2019-11-01 |  |  | 2019-12-01 |  |  | 2020-01-01 |  |  | 2020-02-01 |  |  | 2020-03-01
Holding volumes (GWh) | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H
BM Generator Response (Mandatory) | 237.3844 | 146.9798 | 350.836 | 249.9838 | 156.9696 | 373.9547 | 226.4015 | 137.5656 | 351.5246 | 236.4826 | 152.2388 | 388.9581 | 281.4214 | 182.0382 | 422.0424 | 305.2736 | 200.0678 | 407.9011 | 326.0044 | 212.9886 | 423.5971 | 252.2004 | 160.2895 | 312.4469 | 257.471 | 165.5727 | 318.3427 | 230.1099 | 147.4066 | 308.2043 | 232.1599 | 150.4293 | 296.7157 | 0 | 0 | 0
Hydro Spin Gen with LF | 0 | 0.10841 | 0 | 0 | 0.76085 | 0 | 0 | 0.16701 | 0 | 0 | 0.93683 | 0 | 0 | 44.0821 | 0 | 0 | 127.6308 | 0 | 0 | 60.4145 | 0 | 0 | 46.1058 | 0 | 0 | 73.4451 | 0 | 0 | 46.4058 | 0 | 0 | 105.4879 | 0 | 0 | 0 | 0
Hydro Pump deload | 1.5099 | 1.8694 | 0 | 1.0878 | 1.3468 | 0 | 0.0357 | 0.0442 | 0 | 0 | 0 | 0 | 13.7655 | 17.043 | 0 | 35.8176 | 44.3456 | 0 | 40.2339 | 49.8134 | 0 | 37.3471 | 46.3034 | 0 | 43.1407 | 53.4703 | 0 | 37.3471 | 46.3034 | 0 | 41.6472 | 51.5632 | 0 | 0 | 0 | 0
BM Enhanced Frequency Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interconnector Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Enhanced Frequency Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Demand Side Response (Commerical) | 107.7127 | 0 | 0.992 | 113.2731 | 0 | 1.2 | 51.507 | 0 | 0.432 | 1.395 | 0 | 0.128 | 1.784 | 0 | 0 | 0.872 | 0 | 0.256 | 0.912 | 0 | 6.176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Other Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM FFR (Tendered) | 36.7895 | 36.7895 | 36.7895 | 28.0915 | 28.0915 | 28.0915 | 34.7495 | 34.7495 | 34.7495 | 30.8695 | 30.8695 | 30.8695 | 20.6585 | 20.6585 | 20.6585 | 83.8121 | 84.6331 | 85.3121 | 61.7576 | 59.5217 | 62.1527 | 116.5035 | 131.1555 | 96.1035 | 77.543 | 74.59 | 77.534 | 86.6067 | 83.6307 | 76.6867 | 95.093 | 92.34 | 75.373 | 0 | 0 | 0
NBM FFR (Tendered) | 150.7245 | 298.578 | 110.9 | 150.2142 | 292.6272 | 107.6762 | 138.0817 | 263.7937 | 82.0875 | 155.7355 | 298.9538 | 109.7837 | 184.8603 | 293.1153 | 110.8243 | 139.1832 | 236.7175 | 123.9688 | 168.204 | 272.2295 | 166.3745 | 180.6211 | 196.3644 | 174.8271 | 181.498 | 197.5781 | 179.7621 | 206.2795 | 217.5095 | 203.1345 | 169.1995 | 177.2345 | 166.8255 | 0 | 0 | 0
| 107661.718 | 66922.086 | 185466.537 | 150171.685 | 91998.91 | 233097.589 | 104561.591 | 57607.064 | 144299.335 | 151506.822 | 97958.865 | 257625.087

## Reactive
Costs | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
AS-BM Default Utilisation (Mandatory - CVA) | 5.807 | 6.6025 | 5.9865 | 5.5563 | 5.5753 | 5.7467 | 5.455 | 4.8158 | 5.2472 | 4.7506 | 3.6976
AS-BM Utilisation (Mandatory - SVA) | 0.0072084 | 0.00322 | 0.0037863 | 0.0038934 | 0.0049164 | 0.0054811 | 0.0046442 | 0.0055441 | 0.02289 | 0.022715 | 0.020949
AS-BM Reactive Utilisation (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS-BM Syncronous Compensation ( Commercial) | 0.092273 | 0.097048 | 0.092273 | 0.095348 | 0.099637 | 0.092016 | 0.081283 | 0.039344 | 0.095348 | 0.095348 | 0.089197
Power Potential ( Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
BM Default Utilisation (Mandatory - CVA) | 1908439.23 | 2329652.25 | 2203196.35 | 2110242.68 | 2070713.07 | 2111188.65 | 2023164.32 | 1805583.3 | 1905288.24 | 1790461.1 | 1444857.35
BM Reactive Utilisation (Commercial) | 2320.5035 | 1112.27 | 1327.93 | 1406.92 | 1789.84 | 1937.38 | 1596.91 | 1883.89 | 1221.99 | 7506.28 | 1762.4248
BM Utilisation (Mandatory - SVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Potential (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1910759.7335 | 2330764.52 | 2204524.28 | 2111649.6 | 2072502.91 | 2113126.03 | 2024761.23 | 1807467.19 | 1906510.23 | 1797967.38 | 1446619.7748 | 0
Reporting Month
1446619.7748
6.04

## Black Start
Costs | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
BM Black Start Availability (Commercial) | 3.0473 | 3.2061 | 2.8633 | 3.481 | 3.0912 | 3.314 | 3.5252 | 3.4298 | 3.6029 | 3.691 | 3.3408
Interconnector Black Start Availability (Commercial) | 0.048385 | 0.0515 | 0.049838 | 0.0515 | 0.049908 | 0.049838 | 0.051292 | 0.049838 | 0.0515 | 0.0515 | 0.046377
BM Black Start Test (Commerical) | 0.17323 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Black Start Capital Contributions (Commerical) | 0.033683 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Black Start Feasibility (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Black Start Warming (Commercial) | 0.3248 | 0.336 | 0.3248 | 0.3136 | 0.28 | 0.224 | 0.0448 | 0.0112 | 0 | 0 | 0
BM Black Start Other (Commerical) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Other Reserves
| Costs | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
| BM Warming (Commercial) | 0.2768 | 0.048703 | 0.12621 | 0.20375 | 0.159 | 0.11375 | 0.094917 | 0.3749 | 0.183 | 0.15775 | 0.12562
| BM Demand Turn Up (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BM Power Potential (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NBM Demand Turn Up (Commerical) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BM GT Fast Start Availability (Commerial) | 0.35348 | 0.36429 | 0.34696 | 0.38629 | 0.32198 | 0.33892 | 0.27945 | 0.27279 | 0.30747 | 0.33524 | 0.35158
| Hydro Rapid Start And GT Fast Start Utilisation (Commercial) | 0 | 0.20615 | 0.11177 | 0.03792 | 0.61282 | 0 | 0 | 0 | 0 | 0 | 0.48578
| Hydro Optional Spin Pump (Commercial) | 0.82545 | 0.89537 | 0.85453 | 0.61053 | 1.0407 | 1.0452 | 1.0288 | 0.6905 | 0.62894 | 0.7135 | 0.75124
|  | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
availability | Hydro Optional Spin Pump availability (MWh) | 51237.3 | 56503.1 | 53596.35 | 40687.95 | 66818.65 | 64592.7 | 66980.4 | 44896.25 | 41557.05 | 44896.25 | 48250.85
| Hydro Rapid Start And GT Fast Start utilisation (MWh) | 0 | 126.045 | 75.606 | 0 | 280.077 | 0 | 0 | 0 | 0 | 0 | 477.315
sites | BM GT Fast Start Availability number of sites | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 19 | 20 | 20
| NBM Demand Turn Up utilisation (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BM Power Potential utilisation (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Demand Turn Up utilisation (MWh)
instructions | BM Warming instructions | 8 | 3 | 9 | 8 | 5 | 4 | 3 | 22 | 8 | 4 | 7

## Minor components
Costs | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Minor Components | 1.2913 | 1.0926 | 1.7922 | 1.5125 | 4.9345 | 3.0277 | 3.1044 | 3.4934 | 3.4987 | 3.2984 | 2.9432
SO-SO - Minor Components | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - Minor Components | 0.0020653 | 0.00043845 | 0.001538 | 0.00046841 | 0.0011044 | 0.0005784 | -6.265e-05 | 0.00095441 | 0.00083337 | 0 | 0
Non-Delivery & Reconciliation | -0.0082512 | -0.74735 | -1.4745 | -0.45579 | -1.9503 | -1.5848 | -1.6363 | -0.88132 | -2.4748 | -2.1398 | -2.6711
Non Delivery | -0.53842 | -0.37121 | -0.51142 | -0.43818 | -1.0706 | -0.80602 | -0.90435 | -0.6322 | -0.9654 | -0.89898 | -1.3156
Reconcilliation | 0.53017 | -0.37614 | -0.9631 | -0.017614 | -0.8797 | -0.77881 | -0.73193 | -0.24911 | -1.5094 | -1.2408 | -1.3555
\