## Main
2020-03-01 | 2020-03-01
2020-03-31
`
Step 3.
Click here to import data
Select AS MBSS file.
Step 4.
Click here to copy imported data to chart tables
Step 1.
Update ROP with latest AS data.
Step 2.
Update reporting month in cell E1

## Overall cost
Report Month | 2020-03-01 | 2020-03-31 | 2020-03-01 | Balancing Cost | Balancing Cost Mar 2020
Balancing Mechanism | Trades | Ancillary Services | SO-to-SO | Other | Total
72.0785 | 22.6331 | 38.2689 | 0.0083406 | -1.2356 | 131.7532

## Additional Total categories
Cost £m | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
Energy Imbalance | -0.7993 | -0.00041649 | 2.1617 | -0.36122 | 2.3645 | 2.5248 | 7.408 | 5.9691 | 8.7619 | 8.8337 | 10.6766 | 4.3855
Operating Reserve | 4.6821 | 4.8448 | 4.6363 | 4.3923 | 6.3 | 7.3733 | 7.6022 | 9.6564 | 12.2065 | 8.492 | 7.4431 | 5.2614
STOR | 3.7688 | 3.9716 | 4.6527 | 4.3993 | 4.365 | 3.7596 | 6.2854 | 3.8874 | 3.8948 | 4.1254 | 3.3298 | 6.0476
Constraints - E&W | 4.5382 | 1.6129 | 14.4319 | 7.1484 | 12.8828 | 9.1596 | 13.9721 | 3.8596 | 10.7914 | 5.881 | -2.9474 | -11.0571
Constraints - Cheviot | 14.2379 | 0.18755 | 0.09903 | 1.1853 | 1.3097 | 8.8341 | 14.7102 | 3.5519 | 7.9305 | 19.0427 | 14.8407 | 17.3891
Constraints - Scotland | 3.2895 | 3.0069 | 0.93555 | 2.2008 | 7.5738 | 5.5414 | 6.6508 | 4.0051 | 14.4281 | 29.3629 | 50.2467 | 12.9794
Constraints - Ancillary | 5.2286 | 2.416 | 1.3511 | 2.4453 | 1.9341 | 2.911 | 1.2219 | 2.3463 | 2.3161 | 2.1145 | 2.108 | 0.29442
ROCOF | 9.2363 | 10.5022 | 20.4179 | 11.6842 | 18.017 | 17.4531 | 18.4517 | 11.513 | 21.1181 | 18.0728 | 19.4234 | 33.9976
Constraints Sterilised HR | 6.9256 | 5.8458 | 8.6254 | 6.545 | 15.2952 | 13.4233 | 20.4127 | 9.4239 | 18.8217 | 19.7284 | 15.9056 | 23.9222
Negative Reserve | 0.2677 | 0.14709 | 0.71415 | 0.10347 | 1.4207 | 2.0307 | 0.3046 | 0.081643 | 0.17009 | 0.42911 | 0.27579 | 0.36911
Fast Reserve | 8.642 | 7.3633 | 7.6196 | 7.6252 | 6.9039 | 8.2274 | 8.4183 | 8.0641 | 7.6821 | 7.3153 | 8.4947 | 8.87
Response | 9.6893 | 10.9897 | 10.2924 | 10.143 | 13.5611 | 15.9358 | 15.1258 | 14.6038 | 13.8567 | 13.833 | 12.6242 | 11.2038
Other Reserve | 1.4557 | 1.5145 | 1.4395 | 1.2385 | 2.1345 | 1.4979 | 1.4032 | 1.3382 | 1.1194 | 1.2065 | 1.8211 | 1.3592
Reactive | 5.9065 | 6.7027 | 6.0826 | 5.6555 | 5.6799 | 5.8442 | 5.5409 | 4.8606 | 5.3654 | 4.8686 | 3.8071 | 4.5255
Black Start | 3.9183 | 3.6188 | 4.536 | 4.1241 | 3.8567 | 4.4045 | 3.7008 | 3.4908 | 3.6544 | 3.7425 | 3.3724 | 9.8391
Minor Components | 3.0285 | 1.6554 | 2.3078 | 2.8117 | 5.4829 | 2.8813 | 2.8272 | 3.3312 | 1.5159 | 1.5096 | 1.2148 | 2.4926
Total | 84.0157 | 64.3787 | 90.3036 | 71.3408 | 109.0816 | 111.802 | 134.036 | 89.9831 | 133.6332 | 148.5581 | 152.6365 | 131.8796

## Total categories
Cost £m | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
Energy Imbalance | -0.7993 | -0.00041649 | 2.142 | -0.36122 | 2.3645 | 2.5248 | 7.408 | 5.9691 | 8.7619 | 8.8337 | 10.6766 | 4.12
Operating Reserve | 4.6821 | 4.8448 | 4.3078 | 4.3923 | 6.3 | 7.3733 | 7.6022 | 9.6564 | 12.2065 | 8.492 | 7.4431 | 5.1434
STOR | 3.7688 | 3.9716 | 4.6578 | 4.3993 | 4.365 | 3.7947 | 6.3418 | 3.8986 | 3.8948 | 4.1295 | 3.3298 | 5.9175
Constraints | 43.4561 | 23.5713 | 45.6256 | 31.209 | 57.0125 | 57.3225 | 75.4195 | 34.6997 | 75.406 | 94.2023 | 99.5769 | 76.6487
Negative Reserve | 0.2677 | 0.14709 | 0.7304 | 0.10347 | 1.4207 | 2.0307 | 0.3046 | 0.081643 | 0.17009 | 0.42911 | 0.27579 | 0.36794
Fast Reserve | 8.642 | 7.3633 | 7.6184 | 7.6252 | 6.9039 | 8.2274 | 8.4183 | 8.0871 | 7.6958 | 7.3518 | 8.4947 | 8.6183
Response | 9.6893 | 10.9897 | 10.4684 | 10.143 | 13.5629 | 15.9382 | 15.1265 | 14.6038 | 13.9062 | 13.8922 | 12.6242 | 10.8275
Other Reserve | 1.4557 | 1.5145 | 1.4395 | 1.2385 | 2.1835 | 1.4979 | 1.4032 | 1.3382 | 1.1194 | 1.2065 | 1.8211 | 1.342
Reactive | 5.9065 | 6.7027 | 6.0826 | 5.6555 | 5.6799 | 5.8442 | 5.5409 | 4.8606 | 5.3654 | 4.8686 | 3.8071 | 4.3325
Black Start | 3.7114 | 3.792 | 4.5697 | 4.1241 | 3.8567 | 4.4045 | 3.801 | 3.6024 | 4.7036 | 5.3126 | 3.3724 | 9.5199
Minor Components | 3.023 | 1.6497 | 2.6939 | 2.806 | 5.4852 | 2.9268 | 2.8263 | 3.3257 | 1.5868 | 1.5327 | 1.2148 | 2.4261
Total | 83.8033 | 64.5462 | 90.336 | 71.3351 | 109.1347 | 111.8851 | 134.1924 | 90.1233 | 134.8165 | 150.251 | 152.6365 | 129.2639
Volume MW | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
Energy Imbalance | -92773.347 | -125100.103 | -52763.553 | -105125.057 | -89546.116 | -91685.372 | 23417.45 | 28526.31 | 39937.613 | 61765.729 | 136875.346 | -83361.897
Operating Reserve | 558031.743 | 364497.218 | 416800.743 | 397667.947 | 589177.501 | 542831.8 | 748492.42 | 564576.768 | 960323.085 | 1250126.157 | 1295014.141 | 964835.505
STOR (BM only) | 9886.926 | 6738.437 | 9459.365 | 6415.807 | 13009.852 | 11255.977 | 34060.583 | 2702.093 | 3390.986 | 3706.726 | 6350.708 | 19998.836
Constraints | 739273.998 | 591725.608 | 1078048.266 | 848639.718 | 1378125.647 | 1210186.122 | 1437643.049 | 768710.014 | 1241671.653 | 1446016.181 | 1537775.445 | 1616356.169
Constraint Margin Replacement | 866229.752 | 543575.35 | 813914.091 | 620064.47 | 1216981.307 | 1209494.284 | 1522231.251 | 827038.344 | 1439577.949 | 1815061.359 | 1690928.341 | 1872526.208
Negative Reserve | -38648.422 | -37867.929 | -81145.609 | -36579.815 | -196815.18 | -170290.339 | -75877.996 | -8297.722 | -13447.065 | -17081.305 | -20479.124 | -62441.802
Fast Reserve (BM only) | 19453.809 | 13208.974 | 17709.616 | 20433.369 | 14194.2 | 18468.362 | 20931.769 | 14309.127 | 18829.279 | 24168.573 | 31677.356 | 24226.373
Response (Absolute- BM only) | 203635.558 | 230511.67 | 213526.459 | 233741.954 | 251135.985 | 259242.998 | 250031.839 | 239710.665 | 189083.138 | 131960.578 | 107248.319 | 96407.406
Minor Components | -106132.337 | -136428.967 | -116806.991 | -165892.021 | -206719.295 | -217202.652 | -296610.754 | -339495.091 | -280264.935 | -197071.335 | -164423.011 | -145475.99
Reporting Month
Energy Imbalance | 2019-04-30: 4.12
Operating Reserve | 2019-04-30: 5.1434
STOR | 2019-04-30: 5.9175
Constraints | 2019-04-30: 76.6487
Negative Reserve | 2019-04-30: 0.36794
Fast Reserve | 2019-04-30: 8.6183
Response | 2019-04-30: 10.8275
Other Reserve | 2019-04-30: 1.342
Reactive | 2019-04-30: 4.3325
Black Start | 2019-04-30: 9.5199
Minor Components | 2019-04-30: 2.4261

## BM total
| 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
Cost £m | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Energy balancing | -0.79053 | -0.00041649 | 2.142 | -0.45144 | 2.3732 | 2.5389 | 7.2256 | 5.8979 | 8.7998 | 8.9632 | 10.6467 | 4.1057
BM - Operating Reserve | 2.5731 | 3.3081 | 2.1694 | 2.3653 | 2.8077 | 4.1929 | 4.2313 | 7.1878 | 7.8743 | 4.2289 | 3.7314 | 2.2062
BM - STOR | 0.44493 | 0.34014 | 0.49422 | 0.31618 | 0.41485 | 0.45488 | 2.7853 | 0.17559 | 0.2053 | 0.17623 | 0.32631 | 2.1451
BM - Constrained Margin | 1.8833 | 1.1372 | 1.7266 | 1.3713 | 2.3438 | 2.0736 | 2.7069 | 1.8316 | 3.8345 | 4.1812 | 3.7036 | 2.8058
BM - Constraints E&W | 8.5789 | 6.5703 | 22.6855 | 9.3631 | 18.5158 | 16.9266 | 32.3794 | 11.2451 | 29.3808 | 22.066 | 9.3592 | 15.6584
BM - Constraints Cheviot | 17.334 | 0.36802 | 0.11343 | 1.5443 | 1.759 | 10.2183 | 18.2606 | 5.8837 | 10.4004 | 22.3843 | 17.8585 | 22.0048
BM - Constraints Scotland | 3.9941 | 4.828 | 1.043 | 3.0833 | 10.5709 | 8.1087 | 8.1571 | 5.8791 | 18.4872 | 35.9365 | 56.807 | 16.7332
BM - Negative Reserve | 0.073049 | 0.01852 | 0.045928 | 0.050299 | 0.26841 | 0.053624 | 0.093433 | 0.081323 | 0.16425 | 0.41154 | 0.12764 | 0.20379
BM - Fast Reserve | 0.57531 | 0.42665 | 0.54322 | 0.62988 | 0.51559 | 0.82074 | 0.80629 | 0.8463 | 0.84786 | 0.73163 | 0.96254 | 0.77709
BM - Response | 2.4943 | 3.2955 | 3.3807 | 3.0166 | 5.4759 | 5.3056 | 5.6949 | 4.9806 | 4.0248 | 2.9838 | 2.2454 | 1.5698
BM - Minor Components | 1.2913 | 1.0926 | 2.1838 | 1.5125 | 4.9345 | 3.0277 | 3.1044 | 3.4934 | 3.4987 | 3.2984 | 2.9432 | 2.8278
Volume MW | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Energy balancing | -91992.42 | -125100.103 | -52763.553 | -106878.119 | -89343.293 | -91187.775 | 19354.302 | 28299.202 | 39439.895 | 64459.758 | 135523.554 | -83902.896
BM - Operating Reserve | 109832.376 | 119459.2 | 113010.206 | 108676.163 | 110874.845 | 139939.41 | 154373.9 | 249056.562 | 313104.829 | 228362.861 | 332758.192 | 104588.404
BM - STOR | 9886.926 | 6738.437 | 9459.365 | 6415.807 | 13009.852 | 11255.977 | 34060.583 | 2702.093 | 3390.986 | 3706.726 | 6350.708 | 19998.836
BM - Constrained Margin | 430114.367 | 218287.018 | 281298.537 | 252331.784 | 443918.656 | 352414.504 | 512610.33 | 276910.706 | 607169.256 | 991130.982 | 939497.617 | 847939.101
BM - Constraints E&W | 469251.879 | 522758.721 | 1064770.918 | 784900.015 | 1220047.523 | 1007847.245 | 1182719.695 | 646674.177 | 973592.168 | 819620.872 | 765819.571 | 1159716.071
BM - Constraints Cheviot | 200601.133 | 5268.749 | 1602.641 | 12367.01 | 16720.414 | 96619.332 | 174556.419 | 45629.542 | 77677.941 | 202001.069 | 169240.158 | 230362.065
BM - Constraints Scotland | 69420.986 | 63698.138 | 11627.207 | 43570.693 | 141357.71 | 105409.545 | 80366.935 | 76406.295 | 190401.544 | 424394.24 | 602065.716 | 225098.033
BM - Negative Reserve | -5366.69 | -2126.929 | -5034.609 | -4260.311 | -24440.68 | -3870.629 | -7944.996 | -4947.722 | -7589.065 | -8820.529 | -6284.611 | -6941.802
BM - Fast Reserve | 19453.809 | 13208.974 | 17709.616 | 20433.369 | 14194.2 | 18468.362 | 20931.769 | 14309.127 | 18829.279 | 24168.573 | 31677.356 | 24226.373
BM - Response | 203635.558 | 230511.67 | 213526.459 | 233741.954 | 251135.985 | 259242.998 | 250031.839 | 239710.665 | 189083.138 | 131960.578 | 107248.319 | 96407.406
BM - Minor Components | -106892.642 | -136428.967 | -116806.991 | -167219.227 | -206516.472 | -217087.879 | -300218.712 | -339722.199 | -280762.653 | -194127.768 | -164981.984 | -146016.989

## AS Total
Cost £m | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
AS - Response | 7.195 | 7.6942 | 7.0877 | 7.1019 | 8.087 | 10.6332 | 9.4111 | 9.6233 | 9.8813 | 10.9084 | 10.3787 | 9.5802
AS - Fast Reserves | 8.0667 | 6.9366 | 7.0751 | 6.9954 | 6.3883 | 7.4067 | 7.612 | 7.2408 | 6.8479 | 6.6202 | 7.5321 | 8.0746
AS - STOR | 3.3239 | 3.6314 | 4.1636 | 4.0831 | 3.9502 | 3.3399 | 3.6293 | 3.723 | 3.6895 | 3.9533 | 3.0035 | 3.9025
AS - Other Reserves | 1.4557 | 1.5145 | 1.4395 | 1.2385 | 2.1835 | 1.4979 | 1.4032 | 1.3382 | 1.1194 | 1.2065 | 1.8211 | 1.3592
AS - Black Start | 3.4205 | 3.7668 | 3.2717 | 3.8461 | 3.4211 | 3.5878 | 3.7215 | 3.6024 | 4.7036 | 5.3126 | 3.3724 | 9.8391
AS - Reactive | 5.9065 | 6.7027 | 6.0826 | 5.6555 | 5.6799 | 5.8442 | 5.5409 | 4.8606 | 5.3654 | 4.8686 | 3.8071 | 4.5255
AS - Constraints | 5.2286 | 2.416 | 1.3511 | 2.4453 | 1.9341 | 2.911 | 1.2219 | 2.3463 | 2.3161 | 2.1145 | 2.108 | 0.29442
AS - SO-SO Costs | 1.6721 | 1.1697 | 1.853 | 1.4989 | 2.3716 | 1.3391 | 1.2328 | 0.77096 | 0.61631 | 0.70979 | 0.49357 | 0.7144
AS - Other Ancillary Cost | 0.0020653 | 0.00043845 | 0.0015539 | 0.00046843 | 0.0012834 | 0.0006884 | 6.817e-05 | 0.00099077 | 0.0008974 | 0 | 0 | 0
AS - Outstanding Liabilities | 0.13001 | 0.13435 | 0.13001 | 0.13435 | 0.13435 | 0.13001 | 0.13435 | 0.13001 | 0.13435 | 0.13435 | 0.12568 | 0.13435
Cost £m | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
AS Mandatory Service | 7.7779 | 8.8158 | 7.9687 | 7.7216 | 8.1482 | 8.2837 | 8.1893 | 7.0232 | 7.5409 | 6.7941 | 5.5451 | 6.1806
AS Commercial Service | 20.2505 | 16.7897 | 15.1476 | 15.7476 | 17.6922 | 20.4425 | 17.6678 | 16.4423 | 17.29 | 18.1559 | 18.06 | 23.1579
AS Tendered Service | 8.1816 | 8.2265 | 9.3083 | 9.536 | 8.1591 | 7.7829 | 8.1274 | 9.9075 | 9.1456 | 10.1107 | 8.9375 | 8.8044
AS Miscellaneous Costs | 0.13208 | 0.13479 | 0.13157 | 0.13482 | 0.13563 | 0.1307 | 0.13442 | 0.131 | 0.13525 | 0.13435 | 0.12568 | 0.13435
Graph Title
Ancillary Services Cost - Mar 2020
Note on B25: Cristian Ebau: Check the formatting for this diagram

## Trades
Volume MWh | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01 | Reporting Month
Buy Volume | 55039.5 | 100286 | 236399 | 256050 | 344357 | 291932.5 | 377436.5 | 242878.5 | 151996 | 118354 | 102847 | 68297.5 | 658338
Sell Volume | 241488 | 279075.1 | 489034.5 | 373192.2 | 667292.4 | 504225.5 | 326646.3 | 140222.8 | 297427.2 | 271131.1 | 361334.6 | 590040.5
Abs value | 296527.5 | 379361.1 | 725433.5 | 629242.2 | 1011649.4 | 796158 | 704082.8 | 383101.3 | 449423.2 | 389485.1 | 464181.6 | 658338
Cost £ million | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
Buy Cost | 0.82543 | 1.5211 | 4.2197 | 4.2357 | 7.1988 | 6.1394 | 2.8752 | 3.3454 | 1.2722 | 0.64257 | 0.57273 | 0.53287
Sell Cost | 7.8835 | 8.4221 | 18.3752 | 11.5384 | 19.1286 | 16.1457 | 13.3839 | 6.639 | 14.0529 | 11.1602 | 13.068 | 22.1002

## DSR
Cost £m | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
NBM - Frequency Response | 3.9169 | 4.0599 | 3.811 | 3.7103 | 3.4313 | 3.0994 | 3.2996 | 2.8944 | 3.316 | 3.7079 | 2.7341 | 2.8652 | 0
NBM - Short-term operating reserve (STOR) | 2.6737 | 2.6562 | 3.1498 | 2.9411 | 2.8185 | 2.212 | 2.3485 | 2.2838 | 2.2424 | 2.4877 | 1.5695 | 2.5131
NBM - Fast Reserve | 1.6141 | 1.1318 | 1.7377 | 1.8558 | 1.1677 | 1.1982 | 1.1322 | 1.5757 | 1.4501 | 2.0796 | 2.4341 | 2.446
Cost £m | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
AS - Non BM providers | 8.2048 | 7.8479 | 8.6985 | 8.5071 | 7.4175 | 6.5096 | 6.7803 | 6.754 | 7.0085 | 8.2753 | 6.7376 | 7.8243
AS - BM providers | 26.3738 | 24.7396 | 21.7727 | 22.756 | 23.9762 | 28.6664 | 25.4897 | 25.6678 | 26.9148 | 26.6788 | 25.2572 | 29.7513
AS - SO-SO providers | 1.6721 | 1.1697 | 1.853 | 1.4989 | 2.3716 | 1.3391 | 1.2328 | 0.77096 | 0.61631 | 0.70979 | 0.49357 | 0.7144
AS - Miscellaneous | 0.0020653 | 0.00043845 | 0.0015539 | 0.00046843 | 0.0012834 | 0.0006884 | 6.817e-05 | 0.00099077 | 0.0008974 | 0 | 0 | 0
Graph Title
AS Costs By Provider Type - Mar 2020

## SO2SO
| 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
Cost £m | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
SO-SO Energy Trades | -0.0087697 | 0 | 0 | 0.090218 | -0.0086969 | -0.014114 | 0.18247 | 0.071171 | -0.037819 | -0.12946 | 0.029941 | 0.014268
SO-SO Margin | 0 | 0 | 0 | 0 | 0 | 0 | 0.016525 | 0 | 0 | 0 | -0.012431 | 0
SO-SO Constrained Margin | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00067816 | 0 | 0
SO-SO Footroom | 3.76e-07 | 0 | 0 | 0.00051332 | 0 | 0 | 0 | 0 | 0 | -0.0029022 | 0 | 0
SO-SO Ramping | 0 | 0 | 0 | 0.12002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO Invoked by External Parties | -0.064242 | 0 | 0 | -0.0044999 | -0.014031 | -0.036827 | -0.013647 | -0.18836 | -0.26514 | -0.49885 | -0.077891 | -0.0059276
SO-SO Constraints | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - SO-SO Interconnector Capability (Commercial) | 1.6721 | 1.1697 | 1.853 | 1.4989 | 2.3716 | 1.3391 | 1.2328 | 0.77096 | 0.61631 | 0.70979 | 0.49357 | 0.7144
| 1.5991 | 1.1697 | 1.853 | 1.7052 | 2.3488 | 1.2881 | 1.4181 | 0.65378 | 0.31335 | 0.079258 | 0.43319 | 0.72274
Reporting Month
0.72274

## Energy Imbalance
Cost | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
Energy Imbalance | -0.7993 | -0.00041649 | 2.142 | -0.36122 | 2.3645 | 2.5248 | 7.408 | 5.9691 | 8.7619 | 8.8337 | 10.6766 | 4.12
Volume MWh | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
Energy Imbalance | -92773.347 | -125100.103 | -52763.553 | -105125.057 | -89546.116 | -91685.372 | 23417.45 | 28526.31 | 39937.613 | 61765.729 | 136875.346 | -83361.897

## Operating Reserve
Cost | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Operating Reserve | 2.5731 | 3.3081 | 2.1694 | 2.3653 | 2.8077 | 4.1929 | 4.2313 | 7.1878 | 7.8743 | 4.2289 | 3.7314 | 2.2062
BM - Constrained Operating Reserve | 1.8833 | 1.1372 | 1.7266 | 1.3713 | 2.3438 | 2.0736 | 2.7069 | 1.8316 | 3.8345 | 4.1812 | 3.7036 | 2.8058
Trade - Operating Reserve | 0.17121 | 0.26125 | 0.22382 | 0.46492 | 0.79016 | 0.84908 | 0.42449 | 0.45828 | 0.19837 | 0.05275 | -0.081339 | 0.093564
Trade - UTEV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Constrained Operating Reserve | 0.054539 | 0.13816 | 0.18792 | 0.19082 | 0.35823 | 0.25769 | 0.22296 | 0.17871 | 0.29933 | 0.028472 | 0.10185 | 0.037912
SO-SO - Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0.016525 | 0 | 0 | 0 | -0.012431 | 0
SO-SO - Constrained Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00067816 | 0 | 0
Volume | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Operating Reserve | 109832.376 | 119459.2 | 113010.206 | 108676.163 | 110874.845 | 139939.41 | 154373.9 | 249056.562 | 313104.829 | 228362.861 | 332758.192 | 104588.404
BM - Constrained Operating Reserve | 430114.367 | 218287.018 | 281298.537 | 252331.784 | 443918.656 | 352414.504 | 512610.33 | 276910.706 | 607169.256 | 991130.982 | 939497.617 | 847939.101
Trade - Operating Reserve | 5938 | 17696.5 | 9787.5 | 23894 | 14822 | 17914 | 36242.5 | 18912.5 | 18644 | 10603.5 | 9852 | 4367
Trade - UTEV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Constrained Operating Reserve | 12147 | 9054.5 | 12704.5 | 12766 | 19562 | 32562 | 44810.5 | 19697 | 21405 | 19567.5 | 12025 | 7941
SO-SO - Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 455.19 | 0 | 0 | 0 | 881.332 | 0
SO-SO - Constrained Operating Reserve | 0 | 0 | 0 | 0 | 0 | 1.886 | 0 | 0 | 0 | 461.314 | 0 | 0

## STOR
| Costs | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
| BM - STOR | 0.44493 | 0.34014 | 0.49422 | 0.31618 | 0.41485 | 0.45488 | 2.7853 | 0.17559 | 0.2053 | 0.17623 | 0.32631 | 2.1451
| AS - BM STOR (Tendered) | 0.65017 | 0.97519 | 1.0137 | 1.142 | 1.1317 | 1.1279 | 1.2081 | 1.4392 | 1.4471 | 1.4656 | 1.434 | 1.4566
| AS - NBM STOR availability (Tendered) | 1.8851 | 2.2814 | 2.3466 | 2.4455 | 2.3204 | 2.0397 | 2.0659 | 2.1054 | 2.0983 | 2.2132 | 1.339 | 2.255
| AS - NBM STOR utilisation (Tendered) | 0.78866 | 0.38904 | 0.80319 | 0.49561 | 0.49815 | 0.17228 | 0.28258 | 0.1672 | 0.1441 | 0.27453 | 0.23051 | 0.25815
| AS - BM Season/Term Reconciliation (Tendered) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.0672
| AS - NBM Season/Term Reconciliation (Tendered) | 0 | -0.014175 | 0 | 0 | 0 | 0 | 0 | 0.0112 | 0 | 0 | 0 | 0
|  | 3.7688 | 3.9716 | 4.6578 | 4.3993 | 4.365 | 3.7947 | 6.3418 | 3.8986 | 3.8948 | 4.1295 | 3.3298 | 6.0476
|  | 1.0951 | 1.3153 | 1.508 | 1.4582 | 1.5465 | 1.5827 | 3.9933 | 1.6148 | 1.6524 | 1.6418 | 1.7603 | 3.5345
|  | 2.6737 | 2.6562 | 3.1498 | 2.9411 | 2.8185 | 2.212 | 2.3485 | 2.2838 | 2.2424 | 2.4877 | 1.5695 | 2.5131
| MWh | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
| AS - NBM STOR utilisation (Tendered) | 26301.52 | 17062.61 | 30646.74 | 20377.92 | 20653.68 | 7164.796 | 10852.247 | 8031.465 | 4392.501 | 9236.99 | 7902.679 | 12667.814
| AS - BM STOR utilisation (Tendered) | 1057.801 | 1412.366 | 1918.442 | 2509.991 | 1300.5 | 3782.375 | 3146.35 | 653.75 | 2211.369 | 2410.66 | 3315.952 | 5228.007
|  | 27359.321 | 18474.976 | 32565.182 | 22887.911 | 21954.18 | 10947.171 | 13998.597 | 8685.215 | 6603.87 | 11647.65 | 11218.631 | 17895.821
Reporting Month
Total | 6.0476
BM | 3.5345
Non-BM | 2.5131
Total Vol | 17895.821
|  | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01
| BM STOR (July MBSS) | 2019-04-01: 1523.353
| BM STOR | 2019-04-01: 4612.492
| AS BM STOR | 2019-04-01: 4468.876

## Constraints
Costs | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
AS - BM Intertrip capability (Mandatory - CAP76) | 0.11472 | 0.11855 | 0.11472 | 0.11855 | 0.11855 | 0.11472 | 0.11855 | 0.11472 | 0.11855 | 0.11855 | 0.1109 | 0.11855
AS - BM Intertrip capability (Commercial) | 0.016434 | 0.016982 | 0.016434 | 0.016982 | 0.016982 | 0.016434 | 0.016982 | 0.016434 | 0.016982 | 0.016982 | 0.015887 | 0.016982
AS - BM Intertrip Arming (Commercial) | 0.076397 | 0.038836 | 0.054568 | 0.02304 | 0.02094 | 0.0093982 | 0.050806 | 0.01395 | 0.085463 | 0.11087 | 0 | 0
AS - Interconnector Intertrip Arming (Commercial) | 0.0183 | 0.0748 | 0 | 0.12715 | 0.25028 | 0.044129 | 0.21779 | 0.31283 | 0 | 0.029992 | 0.028152 | 0
AS - BM Intertrip - trip (Mandatory and Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - BM Constraints | 1.6181 | 1.9278 | 0.98297 | 2.0956 | 0.81798 | 1.6791 | 0.19828 | 0.094061 | 0.097196 | 0.097196 | 0.090925 | 0.097196
Costs (£m) | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
BM - Transmission | 27.4679 | 7.8167 | 16.1534 | 10.2414 | 19.2823 | 25.4078 | 49.1897 | 14.8042 | 47.9234 | 71.5635 | 75.1399 | 40.3205
Trades - Transmission | 0.13575 | 0.11218 | 0.41865 | 1.7535 | 4.2274 | 1.0694 | 2.0434 | 1.6139 | 0.73185 | 1.0324 | 1.0107 | 0.17127
BM - Voltage | 1.1003 | 1.6899 | 5.1303 | 2.1621 | 7.8622 | 6.2878 | 3.6649 | 3.1442 | 2.8551 | 1.1487 | 1.3899 | 2.3697
Trades - Voltage | 0.57402 | 1.0595 | 2.7221 | 3.0596 | 5.4529 | 4.8734 | 0.85867 | 1.2814 | 0.46415 | 0.2704 | 0.50499 | 0.37213
BM - ROCOF | 1.6296 | 2.2597 | 3.2521 | 1.6886 | 3.8327 | 4.238 | 5.9922 | 5.0595 | 7.4898 | 7.6745 | 7.4949 | 12.2327
Trades - ROCOF | 7.6108 | 8.2425 | 17.6736 | 9.9956 | 14.6285 | 13.2151 | 12.4984 | 6.4502 | 13.6256 | 10.3983 | 11.9285 | 21.7649
SO-SO - Constraints | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS Costs | 5.2286 | 2.416 | 1.3511 | 2.4453 | 1.9341 | 2.911 | 1.2219 | 2.3463 | 2.3161 | 2.1145 | 2.108 | 0.29442
Absolute Volume MWh | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
BM - Transmission | 347675.4 | 89625.262 | 150690.821 | 126908.53 | 211863.198 | 254726.411 | 484125.121 | 163798.962 | 463412.823 | 761478.016 | 785161.006 | 467889.11
Trades - Transmission | 2587.5 | 913.1 | 12958 | 92604.7 | 143916.4 | 26790.5 | 198097.8 | 106011.3 | 37538.2 | 22545.6 | 9873.1 | 1526.5
BM - Voltage | 91238.46 | 84034.442 | 226326.474 | 114590.049 | 272711.187 | 277379.332 | 295836.417 | 159477.749 | 232337.272 | 162083.42 | 164924.623 | 239115.871
Trades - Voltage | 35114.5 | 67420 | 175935 | 171603 | 246072 | 213512.5 | 105647.5 | 100835 | 59014 | 39363 | 63277 | 54624.5
BM - ROCOF | 53658.138 | 101371.304 | 74192.971 | 46829.439 | 88510.362 | 98433.379 | 102584.711 | 104391.503 | 142405.358 | 171189.645 | 159491.216 | 318821.188
Trades - ROCOF | 209000 | 248361.5 | 420687.5 | 288302 | 415052.5 | 339034 | 251351.5 | 134195.5 | 306964 | 289356.5 | 354398.5 | 533199
Reporting Month
AS Costs
Graph Title
Constraints - Mar 2020

## Negative Reserves
Costs | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Negative reserve | 0.073049 | 0.01852 | 0.045928 | 0.050299 | 0.26841 | 0.053624 | 0.093433 | 0.081323 | 0.16425 | 0.41154 | 0.12764 | 0.20379
Trade - Negative reserve | 0.19465 | 0.12857 | 0.68448 | 0.052658 | 1.1523 | 1.9771 | 0.21116 | 0.00032009 | 0.005834 | 0.020473 | 0.14815 | 0.16415
SO-SO - Negative reserve | 3.76e-07 | 0 | 0 | 0.00051332 | 0 | 0 | 0 | 0 | 0 | -0.0029022 | 0 | 0
Volumes | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Negative Reserve | -5366.69 | -2126.929 | -5034.609 | -4260.311 | -24440.68 | -3870.629 | -7944.996 | -4947.722 | -7589.065 | -8820.529 | -6284.611 | -6941.802
Trade - Negative Reserve | -31740.5 | -35741 | -76111 | -32270.5 | -172374.5 | -166035 | -67933 | -3350 | -5858 | -8049 | -14106 | -55500
SO-SO - Negative Reserve | -1541.232 | 0 | 0 | -49.004 | 0 | -384.71 | 0 | 0 | 0 | -211.776 | -88.513 | 0
| -38648.422 | -37867.929 | -81145.609 | -36579.815 | -196815.18 | -170290.339 | -75877.996 | -8297.722 | -13447.065 | -17081.305 | -20479.124 | -62441.802
Reporting Month
Volume | 2019-04-30: -62441.802

## Fast Reserve
Costs | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Fast Reserves | 0.57531 | 0.42665 | 0.54322 | 0.62988 | 0.51559 | 0.82074 | 0.80629 | 0.8463 | 0.84786 | 0.73163 | 0.96254 | 0.77709
Hydro Spin Gen No LF (Commercial) | 5.9475 | 5.2975 | 4.8512 | 4.6185 | 4.7478 | 5.706 | 5.958 | 5.1279 | 4.7995 | 4.3296 | 4.8872 | 5.424
BM Optional Fast Reserve (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Optional Fast Reserve Availability (Commercial) | 0.057477 | 0.063072 | 0.13965 | 0.1344 | 0.13834 | 0.078442 | 0.022957 | 0.33019 | 0.43734 | 0.3669 | 1.08 | 1.1191
NBM Optional Fast Reserve Utilisation (Commercial) | 0.75819 | 0.61318 | 1.1017 | 1.1779 | 0.76482 | 0.82176 | 0.26951 | 1.0792 | 0.75932 | 1.048 | 1.3541 | 1.3269
BM Firm Fast Reserve (Tendered) | 0.50501 | 0.50728 | 0.48619 | 0.52109 | 0.47283 | 0.50251 | 0.52184 | 0.53723 | 0.59831 | 0.21088 | 0.21088 | 0.2046
NBM Firm Fast Reserve Avail + Nom (Tendered) | 0.34176 | 0.2661 | 0.24898 | 0.22988 | 0.1491 | 0.16776 | 0.19146 | 0.057444 | 0.10937 | 0.46451 | 0 | 0
NBM Firm Fast Reserve Utilisation (Tendered) | 0.45671 | 0.18944 | 0.24737 | 0.31356 | 0.11545 | 0.13024 | 0.64827 | 0.10891 | 0.14411 | 0.20019 | 0 | 0
Total BM | 7.0278 | 6.2315 | 5.8807 | 5.7695 | 5.7362 | 7.0292 | 7.2861 | 6.5114 | 6.2457 | 5.2721 | 6.0606 | 6.4057
Total Non-BM | 1.6141 | 1.1318 | 1.7377 | 1.8558 | 1.1677 | 1.1982 | 1.1322 | 1.5757 | 1.4501 | 2.0796 | 2.4341 | 2.446
Volume | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
AS - NBM Firm Fast Reserve availability + nomination (Tendered) | 44160 | 107632 | 74400 | 101184 | 93744 | 71760 | 70432 | 66216 | 66216 | 228160 | 0 | 0
AS - BM Firm Fast Reserve availability (Tendered) | 85320 | 93780 | 90990 | 94140 | 93960 | 90990 | 94140 | 89280 | 89280 | 44640 | 41760 | 44640
AS - BM Hydro Spin Gen No LF (Commercial) | 229810.81 | 208924.51 | 184416.55 | 179317.44 | 182443.96 | 220263.32 | 223558.29 | 200825.1 | 167967.77 | 200825.1 | 189059.51 | 209589.19
Reporting Month
BM | 2019-04-01: 6.4057
Non-BM | 2019-04-01: 2.446

## Response
Costs | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Response | 2.4943 | 3.2955 | 3.3807 | 3.0166 | 5.4759 | 5.3056 | 5.6949 | 4.9806 | 4.0248 | 2.9838 | 2.2454 | 1.5698
BM Generator Response (Mandatory) | 1.8891 | 2.1046 | 1.8744 | 2.0703 | 2.4808 | 2.3889 | 2.5434 | 1.9492 | 2.0918 | 1.8703 | 1.698 | 1.6023
BM Generator Response (Commercial) | 0.022435 | 0.026306 | 0.084343 | 0.035252 | 0.054448 | 0.013158 | 0.012542 | 0.042519 | 0.023024 | 0.00156 | 0.055203 | 0.014165
BM Generator Response Energy (Mandatory) | 0.074543 | 0.10547 | 0.10398 | 0.091157 | 0.087224 | 0.14257 | 0.19457 | 0.25272 | 0.17893 | 0.15051 | 0.12925 | 0.14809
BM Generator Response Energy (Commercial) | 0.011069 | 0.0072356 | 0.054078 | 0.012843 | 0.035358 | 0.0090856 | 0.021569 | 0.020489 | 0.0010667 | 0.0020469 | 0.03055 | -0.01253
Hydro Spin Gen with LF | 0.0029055 | 0.020709 | 0.0045445 | 0.024414 | 0.69917 | 3.2456 | 1.5366 | 1.2134 | 1.8828 | 2.4708 | 2.7221 | 2.7671
Hydro Pump deload | 0.013078 | 0.0086608 | 0.00027777 | 0 | 0.1128 | 0.28424 | 0.33828 | 0.30543 | 0.35235 | 0.32029 | 0.33688 | 0.31989
BM Enhanced Frequency Response (Commercial) | 1.0179 | 0.9653 | 0.92672 | 0.95577 | 1.0401 | 0.97304 | 1.0506 | 0.99412 | 1.0457 | 1.0559 | 0.97509 | 1.0547
Interconnector Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Enhanced Frequency Response (Commercial) | 0.72576 | 0.7662 | 0.76424 | 0.79554 | 0.80036 | 0.77146 | 0.805 | 0.72659 | 0.73175 | 0.67959 | 0.67822 | 0.78563
NBM Demand Side Response (Commerical) | 0.63715 | 0.67505 | 0.30539 | 0.010184 | 0.011992 | 0.00668 | 0.031088 | 0 | 0.007168 | 0 | 0 | 0.017824
BM Other Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Other Response (Commercial) | 0.062515 | 0.058647 | 0.048902 | 0.055001 | 0.19645 | 0.056147 | 0.053934 | 0.047381 | 0.15905 | 0.49044 | 0.46428 | 0.63174
BM FFR (Tendered) | 0.22401 | 0.35234 | 0.20903 | 0.19902 | 0.12224 | 0.42101 | 0.38582 | 1.7976 | 0.86413 | 1.1536 | 1.4436 | 0.75397
BM FFR Response Energy (Tendered) | 0.023011 | 0.043707 | 0.019297 | 0.027453 | 0.023647 | 0.055627 | 0.048602 | 0.15345 | 0.1255 | 0.17544 | 0.25393 | 0.067326
NBM FFR (Tendered) | 2.4915 | 2.56 | 2.6925 | 2.8495 | 2.4225 | 2.2651 | 2.4096 | 2.1205 | 2.418 | 2.5379 | 1.5916 | 1.43
| 2019-04-30: 2019-04-01; 2019-07-31: 2019-05-01; 2019-10-31: 2019-06-01; 2020-01-31: 2019-07-01 | 2019-08-01 |  |  | 2019-09-01 |  |  | 2019-10-01 |  |  | 2019-11-01 |  |  | 2019-12-01 |  |  | 2020-01-01 |  |  | 2020-02-01 |  |  | 2020-03-01
Holding volumes (MWh) | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H
BM Generator Response (Mandatory) | 237384.393 | 146979.766 | 350836.02 | 249983.793 | 156969.586 | 373954.69 | 226401.474 | 137565.597 | 351524.584 | 236482.574 | 152238.828 | 388958.086 | 281421.407 | 182038.238 | 422042.41 | 305273.582 | 200067.757 | 407901.061 | 326004.397 | 212988.605 | 423597.115 | 252200.39 | 160289.52 | 312446.88 | 257471.001 | 165572.718 | 318342.656 | 230109.906 | 147406.641 | 308204.289 | 232159.875 | 150429.264 | 296715.709 | 240773.408 | 146614.113 | 265928.394
Hydro Spin Gen with LF | 0 | 108.41 | 0 | 0 | 760.85 | 0 | 0 | 167.01 | 0 | 0 | 936.83 | 0 | 0 | 44082.13 | 0 | 0 | 127630.8 | 0 | 0 | 60414.49 | 0 | 0 | 46105.84 | 0 | 0 | 73445.07 | 0 | 0 | 46405.84 | 0 | 0 | 105487.91 | 0 | 0 | 107671.64 | 0
Hydro Pump deload | 1509.9 | 1869.4 |  | 1087.8 | 1346.8 |  | 35.7 | 44.2 |  | 0 | 0 |  | 13765.5 | 17043 |  | 35817.6 | 44345.6 |  | 40233.9 | 49813.4 |  | 37347.06 | 46303.4 |  | 43140.75 | 53470.3 |  | 37347.06 | 46303.4 |  | 41647.2 | 51563.2 |  | 39454.8 | 48848.8 |  | 0 | 108.41 | 0
BM Enhanced Frequency Response (Commercial)
Interconnector Response (Commercial) | [36 empty] | 107712.6801 | 0 | 992
NBM Enhanced Frequency Response (Commercial) | [36 empty] | 150724.48 | 298577.98 | 110899.98
NBM Demand Side Response (Commerical) | 107712.6801 | 0 | 992 | 113273.07 | 0 | 1200 | 51507.01 | 0 | 432 | 1395 | 0 | 128 | 1784 | 0 | 0 | 872 | 0 | 256 | 912 | 0 | 6176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4704
BM Other Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1509.9 | 1869.4
BM FFR (Tendered) | 36789.5 | 36789.5 | 36789.5 | 28091.5 | 28091.5 | 28091.5 | 34749.5 | 34749.5 | 34749.5 | 30869.5 | 30869.5 | 30869.5 | 20658.5 | 20658.5 | 20658.5 | 83812.08 | 84633.07 | 85312.08 | 61757.65 | 59521.65 | 62152.65 | 116503.5 | 131155.5 | 96103.5 | 77543.03 | 74590.03 | 77534.03 | 86606.72 | 83630.72 | 76686.72 | 95093 | 92340 | 75373 | 92338.67 | 89564.67 | 92338.67
NBM FFR (Tendered) | 150724.48 | 298577.98 | 110899.98 | 150214.17 | 292627.17 | 107676.17 | 138081.75 | 263793.75 | 82087.5 | 155735.5 | 298953.83 | 109783.67 | 184860.27 | 293115.27 | 110824.27 | 139183.22 | 236717.55 | 123968.8 | 168204.03 | 272229.53 | 166374.53 | 180621.1 | 196364.43 | 174827.1 | 181498.03 | 197578.08 | 179762.08 | 206279.5 | 217509.5 | 203134.5 | 169199.45 | 177234.45 | 166825.45 | 180231.35 | 206084.773 | 180231.35
| 534120.9531 | 484325.056 | 499517.5 | 542650.333 | 479795.906 | 510922.36 | 450775.434 | 436320.057 | 468793.584 | 424482.574 | 482998.988 | 529739.256 | 502489.677 | 556937.138 | 553525.18 | 564958.482 | 693394.777 | 617437.941 | 597111.977 | 654967.675 | 658300.295 | 586672.05 | 580218.69 | 583377.48 | 559652.811 | 564656.198 | 575638.766 | 560343.186 | 541256.101 | 588025.509 | 538099.525 | 577054.824 | 538914.159 | 552798.228 | 598783.996 | 543202.414
| 2019-04-30: 2019-04-01; 2019-07-31: 2019-05-01; 2019-10-31: 2019-06-01; 2020-01-31: 2019-07-01 | 2019-08-01 |  |  | 2019-09-01 |  |  | 2019-10-01 |  |  | 2019-11-01 |  |  | 2019-12-01 |  |  | 2020-01-01 |  |  | 2020-02-01 |  |  | 2020-03-01
Holding volumes (GWh) | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H
BM Generator Response (Mandatory) | 237.3844 | 146.9798 | 350.836 | 249.9838 | 156.9696 | 373.9547 | 226.4015 | 137.5656 | 351.5246 | 236.4826 | 152.2388 | 388.9581 | 281.4214 | 182.0382 | 422.0424 | 305.2736 | 200.0678 | 407.9011 | 326.0044 | 212.9886 | 423.5971 | 252.2004 | 160.2895 | 312.4469 | 257.471 | 165.5727 | 318.3427 | 230.1099 | 147.4066 | 308.2043 | 232.1599 | 150.4293 | 296.7157 | 240.7734 | 146.6141 | 265.9284
Hydro Spin Gen with LF | 0 | 0.10841 | 0 | 0 | 0.76085 | 0 | 0 | 0.16701 | 0 | 0 | 0.93683 | 0 | 0 | 44.0821 | 0 | 0 | 127.6308 | 0 | 0 | 60.4145 | 0 | 0 | 46.1058 | 0 | 0 | 73.4451 | 0 | 0 | 46.4058 | 0 | 0 | 105.4879 | 0 | 0 | 107.6716 | 0
Hydro Pump deload | 1.5099 | 1.8694 | 0 | 1.0878 | 1.3468 | 0 | 0.0357 | 0.0442 | 0 | 0 | 0 | 0 | 13.7655 | 17.043 | 0 | 35.8176 | 44.3456 | 0 | 40.2339 | 49.8134 | 0 | 37.3471 | 46.3034 | 0 | 43.1407 | 53.4703 | 0 | 37.3471 | 46.3034 | 0 | 41.6472 | 51.5632 | 0 | 39.4548 | 48.8488 | 0
BM Enhanced Frequency Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interconnector Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Enhanced Frequency Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Demand Side Response (Commerical) | 107.7127 | 0 | 0.992 | 113.2731 | 0 | 1.2 | 51.507 | 0 | 0.432 | 1.395 | 0 | 0.128 | 1.784 | 0 | 0 | 0.872 | 0 | 0.256 | 0.912 | 0 | 6.176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.704
BM Other Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM FFR (Tendered) | 36.7895 | 36.7895 | 36.7895 | 28.0915 | 28.0915 | 28.0915 | 34.7495 | 34.7495 | 34.7495 | 30.8695 | 30.8695 | 30.8695 | 20.6585 | 20.6585 | 20.6585 | 83.8121 | 84.6331 | 85.3121 | 61.7576 | 59.5217 | 62.1527 | 116.5035 | 131.1555 | 96.1035 | 77.543 | 74.59 | 77.534 | 86.6067 | 83.6307 | 76.6867 | 95.093 | 92.34 | 75.373 | 92.3387 | 89.5647 | 92.3387
NBM FFR (Tendered) | 150.7245 | 298.578 | 110.9 | 150.2142 | 292.6272 | 107.6762 | 138.0817 | 263.7937 | 82.0875 | 155.7355 | 298.9538 | 109.7837 | 184.8603 | 293.1153 | 110.8243 | 139.1832 | 236.7175 | 123.9688 | 168.204 | 272.2295 | 166.3745 | 180.6211 | 196.3644 | 174.8271 | 181.498 | 197.5781 | 179.7621 | 206.2795 | 217.5095 | 203.1345 | 169.1995 | 177.2345 | 166.8255 | 180.2313 | 206.0848 | 180.2313
| 107661.718 | 66922.086 | 185466.537 | 150171.685 | 91998.91 | 233097.589 | 104561.591 | 57607.064 | 144299.335 | 151506.822 | 97958.865 | 257625.087

## Reactive
Costs | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
AS-BM Default Utilisation (Mandatory - CVA) | 5.807 | 6.6025 | 5.9865 | 5.5563 | 5.5753 | 5.7467 | 5.455 | 4.8158 | 5.2472 | 4.7506 | 3.6976 | 4.4095
AS-BM Utilisation (Mandatory - SVA) | 0.0072084 | 0.00322 | 0.0037863 | 0.0038934 | 0.0049164 | 0.0054811 | 0.0046442 | 0.0055441 | 0.02289 | 0.022715 | 0.020268 | 0.020632
AS-BM Reactive Utilisation (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS-BM Syncronous Compensation ( Commercial) | 0.092273 | 0.097048 | 0.092273 | 0.095348 | 0.099637 | 0.092016 | 0.081283 | 0.039344 | 0.095348 | 0.095348 | 0.089197 | 0.095348
Power Potential ( Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
BM Default Utilisation (Mandatory - CVA) | 1908439.23 | 2329652.25 | 2203196.35 | 2110242.68 | 2070713.07 | 2111188.65 | 2023164.32 | 1805583.3 | 1905288.24 | 1790461.1 | 1444857.35 | 1868208.07
BM Reactive Utilisation (Commercial) | 2320.5035 | 1112.27 | 1327.93 | 1406.92 | 1789.84 | 1937.38 | 1596.91 | 1883.89 | 1221.99 | 7506.28 | 1762.4248 | 1418.52
BM Utilisation (Mandatory - SVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Potential (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1910759.7335 | 2330764.52 | 2204524.28 | 2111649.6 | 2072502.91 | 2113126.03 | 2024761.23 | 1807467.19 | 1906510.23 | 1797967.38 | 1446619.7748 | 1869626.59
Reporting Month
1869626.59
6.04

## Black Start
Costs | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
BM Black Start Availability (Commercial) | 3.0473 | 3.2061 | 2.8633 | 3.481 | 3.0912 | 3.314 | 3.5252 | 3.4298 | 3.6029 | 3.6561 | 3.326 | 3.2083
Interconnector Black Start Availability (Commercial) | 0.048385 | 0.0515 | 0.049838 | 0.0515 | 0.049908 | 0.049838 | 0.051292 | 0.049838 | 0.0515 | 0.0515 | 0.046377 | 0.04527
BM Black Start Test (Commerical) | 0 | 0.17323 | 0 | 0 | 0 | 0 | 0.030395 | 0 | 0.13411 | 0 | 0 | 0
BM Black Start Capital Contributions (Commerical) | 0 | 0 | 0.033683 | 0 | 0 | 0 | 0 | 0.12278 | 0.91509 | 1.605 | 0 | 6.2032
BM Black Start Feasibility (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0.069815 | 0 | 0 | 0 | 0 | 0.1247
BM Black Start Warming (Commercial) | 0.3248 | 0.336 | 0.3248 | 0.3136 | 0.28 | 0.224 | 0.0448 | 0 | 0 | 0 | 0 | 0.2576
BM Black Start Other (Commerical) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Other Reserves
| Costs | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
| BM Warming (Commercial) | 0.2768 | 0.048703 | 0.12621 | 0.20375 | 0.208 | 0.11375 | 0.094917 | 0.3749 | 0.183 | 0.15775 | 0.12562 | 0.099333
| BM Demand Turn Up (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BM Power Potential (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NBM Demand Turn Up (Commerical) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BM GT Fast Start Availability (Commerial) | 0.35348 | 0.36429 | 0.34696 | 0.38629 | 0.32198 | 0.33892 | 0.27945 | 0.27279 | 0.30747 | 0.33524 | 0.31818 | 0.33337
| Hydro Rapid Start And GT Fast Start Utilisation (Commercial) | 0 | 0.20615 | 0.11177 | 0.03792 | 0.61282 | 0 | 0 | 0 | 0 | 0 | 0.62609 | 0
| Hydro Optional Spin Pump (Commercial) | 0.82545 | 0.89537 | 0.85453 | 0.61053 | 1.0407 | 1.0452 | 1.0288 | 0.6905 | 0.62894 | 0.7135 | 0.75124 | 0.92655
|  | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01
availability | Hydro Optional Spin Pump availability (MWh) | 51237.3 | 56503.1 | 53596.35 | 40687.95 | 66818.65 | 64592.7 | 66980.4 | 44896.25 | 41557.05 | 44896.25 | 48250.85 | 61103.7
| Hydro Rapid Start And GT Fast Start utilisation (MWh) | 0 | 126.045 | 75.606 | 0 | 280.077 | 0 | 0 | 0 | 0 | 0 | 477.315 | 0
sites | BM GT Fast Start Availability number of sites | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 19 | 20 | 20 | 17
| NBM Demand Turn Up utilisation (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BM Power Potential utilisation (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Demand Turn Up utilisation (MWh)
instructions | BM Warming instructions | 8 | 3 | 9 | 8 | 5 | 4 | 3 | 22 | 8 | 4 | 7 | 2

## Minor components
Costs | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
BM - Minor Components | 1.2913 | 1.0926 | 2.1838 | 1.5125 | 4.9345 | 3.0277 | 3.1044 | 3.4934 | 3.4987 | 3.2984 | 2.9432 | 2.8278
SO-SO - Minor Components | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - Minor Components | 0.0020653 | 0.00043845 | 0.0015539 | 0.00046843 | 0.0012834 | 0.0006884 | 6.817e-05 | 0.00099077 | 0.0008974 | 0 | 0 | 0
Non-Delivery & Reconciliation | -0.0082512 | -0.74735 | -1.4745 | -0.45579 | -1.9425 | -1.5339 | -1.6316 | -0.88132 | -2.3983 | -2.111 | -2.2697 | -1.2171
Non Delivery | -0.53842 | -0.37121 | -0.51142 | -0.43818 | -1.0706 | -0.78694 | -0.90435 | -0.6322 | -0.96182 | -0.89933 | -0.77189 | -0.8199
Reconcilliation | 0.53017 | -0.37614 | -0.9631 | -0.017614 | -0.87184 | -0.74697 | -0.72723 | -0.24911 | -1.4365 | -1.2117 | -1.4978 | -0.39723
\