## Main
2021-01-01 | 2021-01-01
2021-01-31
`
Step 3.
Click here to import data
Select AS MBSS file.
Step 4.
Click here to copy imported data to chart tables
Step 1.
Update ROP with latest AS data.
Step 2.
Update reporting month in cell E1

## Overall cost
Report Month | 2021-01-01 | 2021-01-31 | 2021-01-01 | Balancing Cost | Balancing Cost Jan 2021
Balancing Mechanism | Trades | Ancillary Services | SO-to-SO | Other | Total
97.6459 | 8.2986 | 41.7459 | -0.69822 | -2.2984 | 144.6939

## Total categories
Cost £m | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
Energy Imbalance | 12.4749 | 12.3186 | 7.6335 | 5.7444 | 6.8055 | 8.453 | 10.881 | 7.6782 | 12.3224 | 6.5267
Operating Reserve | 4.9457 | 4.7951 | 3.7528 | 3.128 | 4.8324 | 8.7079 | 11.0717 | 13.7614 | 17.9628 | 50.2992
STOR | 2.3629 | 3.9227 | 3.4131 | 3.1398 | 2.7297 | 2.6624 | 3.1347 | 3.7962 | 4.0954 | 3.2761
Constraints | 66.5146 | 107.0436 | 94.5607 | 99.5685 | 77.9466 | 90.7534 | 85.6945 | 138.7445 | 92.5571 | 40.7936
Negative Reserve | 0.58428 | 0.6224 | 0.21629 | 0.17243 | 0.50297 | 0.55155 | 0.51608 | 0.35038 | 0.27513 | 0.046331
Fast Reserve | 7.3938 | 7.786 | 8.7522 | 7.0631 | 8.4541 | 9.6637 | 8.9072 | 10.5162 | 10.9774 | 11.5091
Response | 13.2573 | 8.6945 | 7.0035 | 8.1304 | 7.213 | 8.2096 | 12.6352 | 14.415 | 15.5627 | 15.046
Other Reserve | 1.8999 | 2.6342 | 1.8344 | 2.458 | 1.8959 | 1.9375 | 1.5717 | 1.617 | 1.4705 | 1.1939
Reactive | 6.3411 | 5.844 | 4.8262 | 4.6509 | 4.5064 | 4.1302 | 4.4693 | 5.3322 | 5.8612 | 5.0931
Black Start | 3.8273 | 3.8445 | 4.9216 | 3.7057 | 3.7639 | 9.6805 | 7.6554 | 7.9294 | 4.4655 | 8.0546
Minor Components | 6.5744 | 5.3917 | 4.0436 | 1.8191 | 2.6349 | 1.8626 | 3.496 | 1.1773 | 0.97476 | 2.5511
Total | 126.1763 | 162.8972 | 140.9578 | 139.5803 | 121.2854 | 146.6123 | 150.0328 | 205.3178 | 166.525 | 144.3899 | 0 | 0
Volume MW | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
Energy Imbalance | 161944.85 | 254260.215 | -1940.71 | 39239.184 | 74090.477 | 72913.966 | 39913.144 | -25267.854 | 113579.001 | 57770.587 | 0 | 0
Operating Reserve | 747253.071 | 692829.366 | 775747.138 | 665842.592 | 646830.401 | 781930.218 | 912870.536 | 1017929.277 | 867767.315 | 600249.119 | 0 | 0
STOR (BM only) | 0 | 529 | 0 | 0 | 0 | 3618.106 | 4237.876 | 8011.867 | 10553.217 | 4329.133 | 0 | 0
Constraints | 1936883.584 | 2309930.05 | 2124844.843 | 1842352.447 | 1350137.488 | 1465986.806 | 1419485.329 | 1855378.86 | 1228680.594 | 531684.025 | 0 | 0
Constraint Margin Replacement | 1883240.312 | 1952269.687 | 1883555.756 | 1590704.765 | 1293554.606 | 1495389.068 | 1673770.241 | 2018318.997 | 1487310.784 | 669938.58 | 0 | 0
Negative Reserve | -179008.585 | -117323.155 | -124687.588 | -93294.564 | -87937.863 | -44624.128 | -93963.113 | -48777.988 | -26560.138 | -10001.08 | 0 | 0
Fast Reserve (BM only) | 20891.868 | 20505.09 | 27104.882 | 20630.384 | 26245.077 | 21548.333 | 19880.573 | 25600.537 | 20992.869 | 16285.687 | 0 | 0
Response (Absolute- BM only) | 101006.073 | 67473.981 | 55104.63 | 103743.248 | 70271.145 | 127788.642 | 141899.347 | 150256.735 | 172751.107 | 191948.284 | 0 | 0
Minor Components | -123349.643 | -37485.065 | -46434.969 | -180022.197 | -58189.54 | -102975.145 | -174064.71 | -93097.066 | -114511.723 | -153703.005 | 0 | 0
Reporting Month
Energy Imbalance | 2020-04-30: 6.5267
Operating Reserve | 2020-04-30: 50.2992
STOR | 2020-04-30: 3.2761
Constraints | 2020-04-30: 40.7936
Negative Reserve | 2020-04-30: 0.046331
Fast Reserve | 2020-04-30: 11.5091
Response | 2020-04-30: 15.046
Other Reserve | 2020-04-30: 1.1939
Reactive | 2020-04-30: 5.0931
Black Start | 2020-04-30: 8.0546
Minor Components | 2020-04-30: 2.5511

## Additional Total categories
Cost £m | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
Energy Imbalance | 12.4749 | 12.3186 | 7.6335 | 5.7444 | 6.8055 | 8.4586 | 10.881 | 7.6782 | 12.3224 | 6.5267
Operating Reserve | 4.9457 | 4.7951 | 3.7528 | 3.128 | 4.8324 | 8.7291 | 11.0717 | 13.7614 | 17.9628 | 50.2992
STOR | 2.3629 | 3.9227 | 3.4131 | 3.1398 | 2.7297 | 2.6626 | 3.1347 | 3.7962 | 4.0954 | 3.2761
Constraints - E&W | 12.8532 | 13.7251 | 20.2458 | 27.2994 | 0.91163 | 3.8187 | 13.9818 | 67.1867 | 23.4188 | 1.5975
Constraints - Cheviot | 1.0925 | 15.0357 | 0.37641 | 0.38179 | 0.51852 | 7.8386 | 5.3953 | 0.39006 | 10.8745 | 0.30916
Constraints - Scotland | 4.0647 | 2.1213 | 4.1611 | 6.4517 | 10.8305 | 13.9253 | 11.7912 | 9.548 | 7.4768 | 3.4124
Constraints - Ancillary | 0.5826 | 18.9802 | 13.7234 | 21.7712 | 22.3715 | 17.9229 | 0.93536 | 2.0941 | 1.4099 | 0.21425
ROCOF | 37.2144 | 41.5018 | 37.1569 | 31.1132 | 32.9076 | 28.6285 | 26.4335 | 21.9333 | 22.2807 | 15.5227
Constrained Sterilised HR | 10.7073 | 15.6795 | 18.8971 | 12.5514 | 10.4068 | 18.596 | 27.1574 | 37.5923 | 27.0963 | 19.7376
Negative Reserve | 0.58428 | 0.6224 | 0.21629 | 0.17243 | 0.50297 | 0.54695 | 0.51608 | 0.35038 | 0.27513 | 0.046331
Fast Reserve | 7.3938 | 7.786 | 8.7522 | 7.0631 | 8.4541 | 9.6685 | 8.9072 | 10.5162 | 10.9774 | 11.5091
Response | 13.2573 | 8.6945 | 7.0035 | 8.1304 | 7.213 | 8.2148 | 12.6352 | 14.415 | 15.5627 | 15.046
Other Reserve | 1.8999 | 2.6342 | 1.8344 | 2.458 | 1.8959 | 1.9375 | 1.5717 | 1.617 | 1.4705 | 1.1939
Reactive | 6.3411 | 5.844 | 4.8262 | 4.6509 | 4.5064 | 4.1302 | 4.4693 | 5.3322 | 5.8612 | 5.0931
Black Start | 3.8273 | 3.8445 | 4.9216 | 3.7057 | 3.7639 | 9.6805 | 7.6554 | 7.9294 | 4.4655 | 8.0546
Minor Components | 6.5744 | 5.3917 | 4.0436 | 1.8025 | 2.6349 | 1.8537 | 3.4458 | 1.1724 | 0.97476 | 2.5511
Total | 126.1763 | 162.8972 | 140.9578 | 139.5636 | 121.2854 | 146.6123 | 149.9826 | 205.3128 | 166.525 | 144.3899 | 0 | 0

## BM total
| 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
Cost £m | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Energy balancing | 12.4914 | 12.3138 | 7.6543 | 5.7686 | 6.9034 | 8.4682 | 10.7655 | 7.5758 | 12.3943 | 6.6875
BM - Operating Reserve | 2.8167 | 2.9863 | 1.1264 | 0.9651 | 1.6987 | 2.0618 | 4.641 | 5.1489 | 12.6711 | 40.9772
BM - STOR | 0 | 0.04149 | 0 | 0 | 0 | 0.20137 | 0.38531 | 0.99161 | 1.1057 | 0.44366
BM - Constrained Margin | 2.1132 | 2.3787 | 2.4881 | 2.0918 | 2.6154 | 2.9611 | 5.5238 | 7.8242 | 3.8226 | 8.6256
BM - Constraints E&W | 34.6001 | 43.3728 | 50.1469 | 50.5941 | 20.6273 | 23.9606 | 43.3354 | 105.5157 | 43.2466 | 25.1891
BM - Constraints Cheviot | 1.4917 | 17.124 | 0.52537 | 0.50791 | 0.6021 | 10.7432 | 7.9141 | 0.86251 | 17.2376 | 1.347
BM - Constraints Scotland | 5.0682 | 3.1078 | 5.6818 | 7.7359 | 13.0196 | 18.9891 | 16.9888 | 15.3795 | 12.5092 | 6.4538
BM - Negative Reserve | 0.16345 | 0.086346 | 0.07555 | 0.21151 | 0.39168 | 0.45965 | 0.18666 | 0.2174 | 0.12134 | 0.033651
BM - Fast Reserve | 0.40952 | 0.37815 | 0.54297 | 0.32364 | 0.38387 | 0.39208 | 0.61508 | 0.78887 | 0.59955 | 0.57719
BM - Response | 2.1956 | 1.5062 | 1.245 | 1.7585 | 1.137 | 2.1531 | 3.2318 | 3.5807 | 3.4278 | 2.9845
BM - Minor Components | 4.5906 | 3.0365 | 4.1316 | 2.8295 | 3.0253 | 2.8882 | 3.4069 | 3.3153 | 2.7472 | 4.3268
Volume MW | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Energy balancing | 162445.509 | 254836.663 | -1653.003 | 39767.193 | 76811.751 | 72988.693 | 37064.902 | -27023.139 | 115207.224 | 61029.325 | 0 | 0
BM - Operating Reserve | 64418.161 | 91488.576 | 48065.982 | 68236.876 | 58248.029 | 71217.634 | 201711.788 | 148232.881 | 169701.268 | 258034.665 | 0 | 0
BM - STOR | 0 | 529 | 0 | 0 | 0 | 3618.106 | 4237.876 | 8011.867 | 10553.217 | 4329.133 | 0 | 0
BM - Constrained Margin | 676469.91 | 600653.79 | 708116.156 | 547733.716 | 527051.372 | 602586.084 | 676862.048 | 815178.445 | 644855.255 | 327964.454 | 0 | 0
BM - Constraints E&W | 1856229.917 | 2131312.115 | 1994101.803 | 1683198.12 | 1156039.389 | 1160127.482 | 1199882.959 | 1692588.997 | 989013.952 | 487499.193 | 0 | 0
BM - Constraints Cheviot | 12932.805 | 139958.273 | 5771.283 | 12801.244 | 5171.471 | 104576.319 | 62484.236 | 3999.936 | 122502.827 | 6013.938 | 0 | 0
BM - Constraints Scotland | 67720.862 | 38659.662 | 124971.757 | 146353.083 | 184298.628 | 201283.005 | 157118.134 | 158789.927 | 117163.815 | 38170.894 | 0 | 0
BM - Negative Reserve | -45873.085 | -16882.987 | -24648.088 | -32791.564 | -15986.308 | -13481.267 | -9440.113 | -7974.988 | -10591.138 | -8501.08 | 0 | 0
BM - Fast Reserve | 20891.868 | 20505.09 | 27104.882 | 20630.384 | 26245.077 | 21548.333 | 19880.573 | 25600.537 | 20992.869 | 16285.687 | 0 | 0
BM - Response | 101006.073 | 67473.981 | 55104.63 | 103743.248 | 70271.145 | 127788.642 | 141899.347 | 150256.735 | 172751.107 | 191948.284 | 0 | 0
BM - Minor Components | -122848.984 | -38135.085 | -46147.262 | -179494.188 | -56041.05 | -101844.095 | -176508.252 | -94140.4 | -112169.708 | -150444.267 | 0 | 0

## AS Total
Cost £m | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
AS - Response | 11.0618 | 7.1883 | 5.7584 | 6.3718 | 6.076 | 6.0565 | 9.4034 | 10.8401 | 12.1362 | 12.0628
AS - Fast Reserves | 6.9843 | 7.4079 | 8.2093 | 6.7395 | 8.0702 | 9.2716 | 8.5948 | 9.7707 | 10.3835 | 10.846
AS - STOR | 2.3629 | 3.8812 | 3.4131 | 3.1398 | 2.7297 | 2.461 | 2.7494 | 2.8046 | 2.9898 | 2.5734
AS - Other Reserves | 1.8999 | 2.6342 | 1.8344 | 2.458 | 1.8959 | 1.9375 | 1.5717 | 1.617 | 1.4705 | 1.1939
AS - Black Start | 3.5365 | 3.8193 | 3.6236 | 3.4276 | 3.3283 | 8.8638 | 7.5759 | 7.9294 | 4.4655 | 8.015
AS - Reactive | 6.3503 | 5.8509 | 4.8319 | 4.6578 | 4.5149 | 4.1388 | 4.4767 | 5.3675 | 5.9195 | 5.2871
AS - Constraints | 0.5826 | 18.9802 | 13.7234 | 21.7712 | 22.3715 | 17.9229 | 0.93536 | 2.0941 | 1.4099 | 0.48748
AS - SO-SO Costs | 0.91324 | 0.75276 | 0.9218 | 0.59777 | 0.60622 | 0.61784 | 0.64206 | 0.62035 | 0.60985 | 1.1246
AS - Other Ancillary Cost | 0.00010018 | 0.00083076 | 0.00097884 | 0.00016778 | -1.488e-05 | 0.00027726 | 6.306e-05 | 4.3e-06 | 5.7e-07 | 0
AS - Outstanding Liabilities | 0.13155 | 0.20936 | 0.095092 | -0.048689 | 0.091894 | 0.09092 | 0.034746 | 0.032954 | 0.03436 | 0.24811
Cost £m | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
AS Mandatory Service | 7.7233 | 6.7547 | 5.5449 | 5.5313 | 5.049 | 5.1953 | 5.9206 | 6.7184 | 7.6904 | 6.8233
AS Commercial Service | 19.5915 | 36.7265 | 29.5705 | 36.814 | 37.1077 | 38.9599 | 22.605 | 25.4338 | 22.0741 | 24.8341
AS Tendered Service | 6.1833 | 7.275 | 7.1496 | 6.5088 | 7.2005 | 7.1238 | 7.4603 | 8.4973 | 9.0921 | 9.1422
AS Miscellaneous Costs | 0.13165 | 0.21019 | 0.096071 | -0.048521 | 0.091879 | 0.091197 | 0.034809 | 0.032959 | 0.03436 | 0.24811
Graph Title
Ancillary Services Cost - Jan 2021
Note on B25: Cristian Ebau: Check the formatting for this diagram

## Trades
Volume MWh | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01 | Reporting Month
Buy Volume | 164805 | 177907 | 244259.5 | 509378 | 248423 | 343137 | 194705 | 270219 | 207977.5 | 53455 |  |  | 203493
Sell Volume | 826502.5 | 778371.1 | 802002 | 416644.2 | 537183.1 | 405483.7 | 445318.9 | 352056.7 | 311074 | 150038
Abs value | 991307.5 | 956278.1 | 1046261.5 | 926022.2 | 785606.1 | 748620.7 | 640023.9 | 622275.7 | 519051.5 | 203493 | 0 | 0
Cost £ million | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
Buy Cost | 2.3562 | 1.6982 | 4.22 | 6.5103 | 3.111 | 5.9048 | 2.1164 | 2.517 | 5.0406 | 0.99577
Sell Cost | 24.4331 | 22.7518 | 20.8681 | 12.552 | 19.1279 | 17.0564 | 15.6408 | 13.2936 | 14.7341 | 7.3029

## DSR
Cost £m | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
NBM - Frequency Response | 2.6723 | 2.724 | 2.4666 | 2.8353 | 2.6415 | 2.0008 | 1.8643 | 1.508 | 2.1807 | 2.1713 | 1.8378 |  | 0
NBM - Short-term operating reserve (STOR) | 1.7204 | 3.1217 | 2.6383 | 2.4155 | 1.9941 | 1.7745 | 2.1698 | 2.0669 | 2.2259 | 1.7974 | 1.8703
NBM - Fast Reserve | 1.0855 | 0.79903 | 1.3263 | 0.83434 | 1.8995 | 2.6106 | 2.462 | 3.6328 | 3.6308 | 3.8707 | 3.5
Cost £m | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
AS - Non BM providers | 5.4783 | 6.6448 | 6.4312 | 6.0851 | 6.535 | 6.3858 | 6.4962 | 7.2077 | 8.0374 | 7.8393 | 7.2081
AS - BM providers | 26.6821 | 42.3221 | 34.3841 | 41.4849 | 41.3135 | 43.1739 | 25.1554 | 28.1738 | 25.478 | 27.2913 | 23.1952
AS - SO-SO providers | 0.91324 | 0.75276 | 0.9218 | 0.59777 | 0.60622 | 0.61784 | 0.64206 | 0.62035 | 0.60985 | 1.1246 | 0.94491
AS - Miscellaneous | 0.00010018 | 0.00083076 | 0.00097884 | 0.00016778 | -1.488e-05 | 0.00027726 | 6.306e-05 | 4.3e-06 | 5.7e-07 | 0 | 0
Graph Title
AS Costs By Provider Type - Jan 2021

## SO2SO
| 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
Cost £m | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
SO-SO Energy Trades | -0.016528 | 0.0048182 | -0.020805 | -0.024169 | -0.09789 | -0.015219 | 0.11546 | 0.10235 | -0.071893 | -0.16073
SO-SO Margin | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0030385 | 0.0016377 | 0
SO-SO Constrained Margin | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00046569 | 0.00018358 | 0
SO-SO Footroom | 0 | 0 | 0 | 0 | 5.3139e-05 | 3.5697e-05 | 0 | 0 | 0 | 0
SO-SO Ramping | 0 | 0 | 0 | 0 | 0.0067624 | 0.29924 | 0 | 0 | 0 | 0
SO-SO Invoked by External Parties | -0.1335 | -0.01595 | -0.029517 | -0.060597 | -0.14669 | -0.30086 | -0.078888 | -0.58783 | -0.57588 | -0.53749
SO-SO Constraints | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - SO-SO Interconnector Capability (Commercial) | 0.91324 | 0.75276 | 0.9218 | 0.59777 | 0.60622 | 0.61784 | 0.64206 | 0.62035 | 0.60985 | 1.1246
| 0.76321 | 0.74163 | 0.87147 | 0.51301 | 0.36845 | 0.60103 | 0.67863 | 0.13837 | -0.036095 | 0.42634 | 0 | 0
Reporting Month
0.42634

## Energy Imbalance
Cost | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
Energy Imbalance | 12.4749 | 12.3186 | 7.6335 | 5.7444 | 6.8055 | 8.453 | 10.881 | 7.6782 | 12.3224 | 6.5267
Volume MWh | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
Energy Imbalance | 161944.85 | 254260.215 | -1940.71 | 39239.184 | 74090.477 | 72913.966 | 39913.144 | -25267.854 | 113579.001 | 57770.587 | 0 | 0

## Operating Reserve
Cost | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Operating Reserve | 2.8167 | 2.9863 | 1.1264 | 0.9651 | 1.6987 | 2.0618 | 4.641 | 5.1489 | 12.6711 | 40.9772
BM - Constrained Operating Reserve | 2.1132 | 2.3787 | 2.4881 | 2.0918 | 2.6154 | 2.9611 | 5.5238 | 7.8242 | 3.8226 | 8.6256
Trade - Operating Reserve | 0.0090917 | -0.62079 | 0.088722 | -0.21535 | 0.13934 | 2.4342 | 0.51414 | 0.58456 | 1.0245 | 0.56821
Trade - UTEV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Constrained Operating Reserve | 0.0067376 | 0.050824 | 0.049483 | 0.28643 | 0.379 | 1.2507 | 0.39287 | 0.20024 | 0.44272 | 0.12829
SO-SO - Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0030385 | 0.0016377 | 0
SO-SO - Constrained Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00046569 | 0.00018358 | 0
Volume | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Operating Reserve | 64418.161 | 91488.576 | 48065.982 | 68236.876 | 58248.029 | 71217.634 | 201711.788 | 148232.881 | 169701.268 | 258034.665 | 0 | 0
BM - Constrained Operating Reserve | 676469.91 | 600653.79 | 708116.156 | 547733.716 | 527051.372 | 602586.084 | 676862.048 | 815178.445 | 644855.255 | 327964.454 | 0 | 0
Trade - Operating Reserve | 902.5 | 0 | 5140.5 | 10830 | 14177.5 | 42669.5 | 13079 | 29791.5 | 25482.5 | 9386 | 0 | 0
Trade - UTEV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Constrained Operating Reserve | 5462.5 | 687 | 14424.5 | 39042 | 47353.5 | 65457 | 20813 | 24014.5 | 27014.5 | 4864 | 0 | 0
SO-SO - Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 422.602 | 233.527 | 0 | 0 | 0
SO-SO - Constrained Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 404.7 | 289.349 | 480.265 | 0 | 0 | 0

## STOR
| Costs | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
| BM - STOR | 0 | 0.04149 | 0 | 0 | 0 | 0.20137 | 0.38531 | 0.99161 | 1.1057 | 0.44366
| AS - BM STOR (Tendered) | 0.6425 | 0.75945 | 0.77476 | 0.72431 | 0.73564 | 0.68656 | 0.57954 | 0.73777 | 0.76392 | 0.77606
| AS - NBM STOR availability (Tendered) | 1.7397 | 2.3576 | 2.2485 | 2.356 | 2.0049 | 1.888 | 1.9857 | 2.0487 | 2.0302 | 2.0082
| AS - NBM STOR utilisation (Tendered) | 0.11233 | 0.11909 | 0.01656 | 0.00082233 | 0.00024374 | 0 | 0.21888 | 0.056159 | 0.23001 | 0.03723
| AS - BM Season/Term Reconciliation (Tendered) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| AS - NBM Season/Term Reconciliation (Tendered) | -0.13155 | 0.64505 | 0.37327 | 0.058682 | -0.011007 | -0.11351 | -0.034746 | -0.038038 | -0.03436 | -0.24811
|  | 2.3629 | 3.9227 | 3.4131 | 3.1398 | 2.7297 | 2.6624 | 3.1347 | 3.7962 | 4.0954 | 3.0171 | 0 | 0
|  | 0.6425 | 0.80094 | 0.77476 | 0.72431 | 0.73564 | 0.88792 | 0.96486 | 1.7294 | 1.8696 | 1.2197 | 0 | 0
|  | 1.7204 | 3.1217 | 2.6383 | 2.4155 | 1.9941 | 1.7745 | 2.1698 | 2.0669 | 2.2259 | 1.7974 | 0 | 0
| MWh | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
| AS - NBM STOR utilisation (Tendered) | 2166.409 | 2387.114 | 469.249 | 16.004 | 1 | 0 | 1465.44 | 437.126 | 1230.32 | 347.85
| AS - BM STOR utilisation (Tendered) | 3148.037 | 3945.266 | 237.5 | 650.427 | 0 | 2303.38 | 3511.025 | 7792.632 | 10900.4 | 4157.9
|  | 5314.446 | 6332.38 | 706.749 | 666.431 | 1 | 2303.38 | 4976.465 | 8229.758 | 12130.72 | 4505.75 | 0 | 0
Reporting Month
Total | 3.0171
BM | 1.2197
Non-BM | 1.7974
Total Vol | 4505.75
Note on A3: Cristian Ebau: this come from the ROP Outturn Daily tab. "Standing Reserve"
Note on A4: Cristian Ebau: also these AS figure are in the ROP

## Constraints
Costs | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
AS - BM Intertrip capability (Mandatory - CAP76) | 0.11025 | 0.11392 | 0.11025 | 0.11392 | 0.11392 | 0.11025 | 0.11407 | 0.11025 | 0.11392 | 0.11392 | 0.1029
AS - BM Intertrip capability (Commercial) | 0.010766 | 0.011125 | 0.010766 | 0.011125 | 0.011651 | 0.011275 | 0.011651 | 0.011275 | 0.011651 | 0.011651 | 0.010524
AS - BM Intertrip Arming (Commercial) | 0 | 0 | 0 | 0.028313 | 0 | 0.91827 | 0.04308 | 0.014639 | 0 | 0 | 0
AS - Interconnector Intertrip Arming (Commercial) | 0.048929 | 0.21096 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - BM Intertrip - trip (Mandatory and Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - BM Constraints Voltage | 0.21959 | 0.25371 | 0.24395 | 0.63638 | 0.90008 | 1.4194 | 0.64154 | 1.8969 | 1.0984 | 0.36024 | 0.336
AS - BM Constraints | 0.19307 | 18.3905 | 13.3584 | 20.9814 | 21.3459 | 15.4637 | 0.12501 | 0.061057 | 0.18596 | 0.001667 | 0.025785
Costs (£m) | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
BM - Transmission | 10.7045 | 34.1528 | 32.51 | 36.8728 | 16.8441 | 39.2874 | 53.8797 | 110.3207 | 61.7324 | 24.1109 | 0 | 0
Trades - Transmission | 0 | 0.67494 | 0.87497 | 3.4673 | 0.54984 | 0.79556 | 0.33784 | 0.75825 | 3.0414 | 0.066883 | 0 | 0
BM - Voltage | 16.1929 | 9.347 | 7.9224 | 3.1781 | 3.4553 | 3.4599 | 2.9416 | 2.1735 | 3 | 0.29228 | 0 | 0
Trades - Voltage | 2.1112 | 2.4119 | 3.4485 | 3.3032 | 2.0259 | 1.3366 | 1.2161 | 1.4646 | 1.0927 | 0.26052 | 0 | 0
BM - ROCOF | 14.5535 | 20.1048 | 16.6154 | 18.8885 | 14.0812 | 11.6257 | 11.4666 | 9.2634 | 8.2611 | 8.2606 | 0 | 0
Trades - ROCOF | 22.6608 | 21.397 | 20.5414 | 12.2247 | 18.8265 | 17.0055 | 14.9669 | 12.6699 | 14.0196 | 7.262 | 0 | 0
SO-SO - Constraints | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS Costs | 0.5826 | 18.9802 | 13.7234 | 21.7712 | 22.3715 | 17.9229 | 0.93536 | 2.0941 | 1.4099 | 0.48748 | 0.4752
Absolute Volume MWh | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
BM - Transmission | 123614.094 | 319218.083 | 451695.642 | 460727.734 | 207904.238 | 408473.595 | 485388.022 | 925282.304 | 477179.345 | 129374.613 | 0 | 0
Trades - Transmission | 0 | 22452 | 68163 | 214212.7 | 32803.1 | 107745.7 | 2451.4 | 21828.7 | 48901 | 3265 | 0 | 0
BM - Voltage | 472674.234 | 506712.579 | 340560.505 | 174083.801 | 151600.249 | 181753.153 | 202030.772 | 213260.422 | 144468.769 | 76301.229 | 0 | 0
Trades - Voltage | 136090 | 138675 | 161864.5 | 178172 | 131297 | 102552 | 153393 | 172487 | 108250.5 | 20827 | 0 | 0
BM - ROCOF | 488799.081 | 627213.388 | 404743.77 | 391966.212 | 337912.401 | 266407.858 | 210457.635 | 189169.434 | 156446.98 | 138265.183 | 0 | 0
Trades - ROCOF | 676243 | 695659 | 695579.5 | 423190 | 483992.5 | 399354.5 | 365764.5 | 333351 | 293434 | 148423 | 0 | 0
Reporting Month
AS Costs
Graph Title
Constraints - Jan 2021

## Negative Reserves
Costs | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Negative reserve | 0.16345 | 0.086346 | 0.07555 | 0.21151 | 0.39168 | 0.45965 | 0.18666 | 0.2174 | 0.12134 | 0.033651
Trade - Negative reserve | 0.42083 | 0.53606 | 0.14074 | -0.039081 | 0.11124 | 0.091865 | 0.32942 | 0.13299 | 0.15378 | 0.01268
SO-SO - Negative reserve | 0 | 0 | 0 | 0 | 5.3139e-05 | 3.5697e-05 | 0 | 0 | 0 | 0
Volumes | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Negative Reserve | -45873.085 | -16882.987 | -24648.088 | -32791.564 | -15986.308 | -13481.267 | -9440.113 | -7974.988 | -10591.138 | -8501.08 | 0 | 0
Trade - Negative Reserve | -133135.5 | -99213.7 | -100039.5 | -60503 | -71354.5 | -31142 | -84523 | -40803 | -15969 | -1500 | 0 | 0
SO-SO - Negative Reserve | 0 | -1226.468 | 0 | 0 | -597.055 | -0.861 | 0 | 0 | 0 | 0 | 0 | 0
| -179008.585 | -117323.155 | -124687.588 | -93294.564 | -87937.863 | -44624.128 | -93963.113 | -48777.988 | -26560.138 | -10001.08 | 0 | 0
Reporting Month
Volume | 2020-04-30: -10001.08

## Fast Reserve
Costs | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Fast Reserves | 0.40952 | 0.37815 | 0.54297 | 0.32364 | 0.38387 | 0.39208 | 0.61508 | 0.78887 | 0.59955 | 0.57719
Hydro Spin Gen No LF (Commercial) | 5.8988 | 6.6088 | 6.883 | 5.9051 | 6.1708 | 6.661 | 6.1328 | 6.1379 | 6.7527 | 6.9753
BM Optional Fast Reserve (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Optional Fast Reserve Availability (Commercial) | 0.54981 | 0.38979 | 0.58098 | 0.44768 | 0.97405 | 1.3187 | 1.584 | 1.7744 | 1.6197 | 1.4383
NBM Optional Fast Reserve Utilisation (Commercial) | 0.5357 | 0.40924 | 0.74529 | 0.38666 | 0.9254 | 1.2919 | 0.87795 | 1.8584 | 2.0111 | 2.4323
BM Firm Fast Reserve (Tendered) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Firm Fast Reserve Avail + Nom (Tendered) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Firm Fast Reserve Utilisation (Tendered) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total BM | 6.3083 | 6.987 | 7.426 | 6.2288 | 6.5546 | 7.0531 | 6.7479 | 6.9268 | 7.3523 | 7.5525
Total Non-BM | 1.0855 | 0.79903 | 1.3263 | 0.83434 | 1.8995 | 2.6106 | 2.462 | 3.6328 | 3.6308 | 3.8707
Volume | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
AS - NBM Firm Fast Reserve availability + nomination (Tendered) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - BM Firm Fast Reserve availability (Tendered) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - BM Hydro Spin Gen No LF (Commercial) | 223098.78 | 245048.72 | 257774.79 | 220187.64 | 234745.73 | 246477.7 | 226665.56 | 223392.75 | 251214.94 | 258383.6
Reporting Month
BM | 2020-04-01: 7.5525
Non-BM | 2020-04-01: 3.8707

## Response
Costs | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Response | 2.1956 | 1.5062 | 1.245 | 1.7585 | 1.137 | 2.1531 | 3.2318 | 3.5807 | 3.4278 | 2.9845 | 3.1779
BM Generator Response (Mandatory) | 1.3801 | 0.92761 | 0.80302 | 0.9495 | 0.60672 | 1.1455 | 1.3964 | 1.3318 | 1.788 | 1.7383 | 2.0243
BM Generator Response (Commercial) | 0.025895 | 0.012078 | 0.023113 | 0.0063764 | 0.010295 | 0.0038927 | 0.010098 | 0.024309 | 0.038697 | 0.023218 | 0.046211
BM Generator Response Energy (Mandatory) | 0.087794 | 0.074334 | 0.0048933 | 0.0051833 | 0.0036829 | 0.0059333 | 0.14559 | 0.11403 | 0.081045 | -0.10399 | 0.11137
BM Generator Response Energy (Commercial) | 0.031433 | 0.0090889 | 0.017035 | 0.0049915 | 0.0047031 | 0.0033596 | 0.010562 | 0.020639 | -0.0057767 | 0.007746 | 0.025275
Hydro Spin Gen with LF | 4.1764 | 1.1079 | 0.11937 | 0.050011 | 0.074893 | 0.0013979 | 0.090473 | 0.45711 | 0.63605 | 0.46008 | 0.29257
Hydro Pump deload | 0.25384 | 0.036832 | 0.00063886 | 0 | 0 | 0.0086663 | 0.049748 | 0.096302 | 0.11998 | 0.15058 | 0.11408
BM Enhanced Frequency Response (Commercial) | 1.0062 | 1.036 | 1.0218 | 1.0365 | 0.9944 | 1.0523 | 1.0723 | 1.0266 | 1.0793 | 1.0838 | 0.98
Interconnector Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Enhanced Frequency Response (Commercial) | 0.78017 | 0.80565 | 0.77957 | 0.78898 | 0.66879 | 0.69092 | 0.71394 | 0.64396 | 0.66275 | 0.66998 | 0.616
NBM Demand Side Response (Commerical) | 0.016188 | 0 | 0 | 0 | 0.003072 | 0 | 0.009696 | 0.02352 | 0.005056 | 0 | 0
Stability | 0 | 0 | 0 | 0.34456 | 0.43846 | 0.43097 | 0.44888 | 0.35834 | 0.38476 | 0.42872 | 0.392
FFR Bridging/ FFR Auction/Dynamic Containment | 0.56897 | 0.58408 | 0.57867 | 0.65099 | 0.69966 | 0.66139 | 3.2068 | 4.6836 | 4.8747 | 4.9063 | 4.3089
BM FFR (Tendered) | 0.81632 | 0.65241 | 0.68625 | 0.44962 | 0.57098 | 0.68477 | 1.0248 | 1.2411 | 0.95861 | 1.158 | 1.3821
BM FFR Response Energy (Tendered) | 0.042526 | 0.023935 | 0.036949 | 0.038752 | 0.030776 | 0.057521 | 0.083442 | -0.021787 | 0 | 0.0388 | 0
NBM FFR (Tendered) | 1.876 | 1.9184 | 1.6871 | 2.0463 | 1.9696 | 1.3098 | 1.1407 | 0.84054 | 1.5129 | 1.5013 | 1.2218
| 2020-04-30: 2020-04-01; 2020-07-31: 2020-05-01; 2020-10-31: 2020-06-01; 2021-01-31: 2020-07-01 | 2020-08-01 |  |  | 2020-09-01 |  |  | 2020-10-01 |  |  | 2020-11-01 |  |  | 2020-12-01 |  |  | 2021-01-01 |  |  | 2021-02-01 |  |  | 2021-03-01
Holding volumes (MWh) | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H
BM Generator Response (Mandatory) | 229023.5 | 144173.8 | 231696.3 | 154316 | 97122 | 180208 | 106298.57 | 67900.71 | 183657.75 | 123302.5 | 77495.52 | 207067.1 | 92795.01 | 58003.5 | 157311.5 | 132562.5 | 84295.96 | 211620.3 | 190021.6 | 120945.7 | 246511 | 195515.6 | 125473.7 | 228126.7 | 213774.96 | 135561.39 | 284489.23 | 214817.7 | 141448.6 | 307960.7
Hydro Spin Gen with LF | 0 | 163873.36 | 0 | 0 | 43378.65 | 0 | 0 | 4570.8 | 0 | 0 | 2966.75 | 0 | 0 | 2819.04 | 0 | 0 | 52.74 | 0 | 0 | 3086.4 | 0 | 0 | 17215.17 | 0 | 0 | 23979.35 | 0 | 0 | 17507.93 | 0
Hydro Pump deload | 31789.8 | 39358.8 |  | 4641 | 5746 |  | 79.8 | 98.8 |  | 0 | 0 |  | 0 | 0 |  | 1092 | 1352 |  | 6232.8 | 7716.8 |  | 12135.9 | 15025.4 |  | 14861.7 | 18400.2 |  | 18610.44 | 23093.2 | [7 empty] | 0 | 163873.36 | 0
BM Enhanced Frequency Response (Commercial)
Interconnector Response (Commercial) | [36 empty] | 780 | 2604 | 0
NBM Enhanced Frequency Response (Commercial) | [36 empty] | 204041.72 | 280647.72 | 195993.47
NBM Demand Side Response (Commerical) | 780 | 2604 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 2304 | 0 | 288 | 5376 | 0 | 0 | 0 | 1264 | 0 | 0 | 0
Stability | [36 empty] | 31789.8 | 39358.8
BM FFR (Tendered) | 92164.75 | 92164.75 | 92164.75 | 86089.28 | 85101.28 | 86089.28 | 86415.75 | 86415.75 | 86415.75 | 65589.75 | 62645.75 | 65589.75 | 87584.5 | 84640.5 | 87584.5 | 111608.58 | 110261.26 | 110608.55 | 142119.2 | 142119.2 | 142119.2 | 93677.72 | 108913.22 | 93677.22 | 88942 | 88942 | 88942 | 101522.42 | 101057.42 | 101522.42
NBM FFR (Tendered) | 204041.72 | 280647.72 | 195993.47 | 220822.72 | 304246.72 | 218793.22 | 180265.92 | 278622.42 | 177905.42 | 253435.52 | 360222.52 | 253435.52 | 253140 | 342351.67 | 253141 | 189229.63 | 252917.3 | 189338.07 | 156296.2 | 213647.2 | 156364.2 | 115290.73 | 115290.73 | 164850.73 | 148157.04 | 163037.03 | 148157.03 | 139035.03 | 153916.03 | 139035.03
| 557799.77 | 722822.43 | 519854.52 | 465869 | 535594.65 | 485090.5 | 373060.04 | 437608.48 | 447978.92 | 442327.77 | 503330.54 | 526092.37 | 433519.51 | 487814.71 | 498037 | 434492.71 | 448879.26 | 511566.92 | 494765.8 | 489819.3 | 544994.4 | 416907.95 | 387294.22 | 486654.65 | 465735.7 | 429919.97 | 522852.26 | 473985.59 | 437023.18 | 548518.15 | 0 | 0 | 0 | 0 | 0 | 0
| 2020-04-30: 2020-04-01; 2020-07-31: 2020-05-01; 2020-10-31: 2020-06-01; 2021-01-31: 2020-07-01 | 2020-08-01 |  |  | 2020-09-01 |  |  | 2020-10-01 |  |  | 2020-11-01 |  |  | 2020-12-01 |  |  | 2021-01-01 |  |  | 2021-02-01 |  |  | 2021-03-01
Holding volumes (GWh) | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H
BM Generator Response (Mandatory) | 229.0235 | 144.1738 | 231.6963 | 154.316 | 97.122 | 180.208 | 106.2986 | 67.9007 | 183.6577 | 123.3025 | 77.4955 | 207.0671 | 92.795 | 58.0035 | 157.3115 | 132.5625 | 84.296 | 211.6203 | 190.0216 | 120.9457 | 246.511 | 195.5156 | 125.4737 | 228.1267 | 213.775 | 135.5614 | 284.4892 | 214.8177 | 141.4486 | 307.9607 | 0 | 0 | 0 | 0 | 0 | 0
Hydro Spin Gen with LF | 0 | 163.8734 | 0 | 0 | 43.3787 | 0 | 0 | 4.5708 | 0 | 0 | 2.9668 | 0 | 0 | 2.819 | 0 | 0 | 0.05274 | 0 | 0 | 3.0864 | 0 | 0 | 17.2152 | 0 | 0 | 23.9794 | 0 | 0 | 17.5079 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro Pump deload | 31.7898 | 39.3588 | 0 | 4.641 | 5.746 | 0 | 0.0798 | 0.0988 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.092 | 1.352 | 0 | 6.2328 | 7.7168 | 0 | 12.1359 | 15.0254 | 0 | 14.8617 | 18.4002 | 0 | 18.6104 | 23.0932 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Enhanced Frequency Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interconnector Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Enhanced Frequency Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Demand Side Response (Commerical) | 0.78 | 2.604 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.096 | 2.304 | 0 | 0.288 | 5.376 | 0 | 0 | 0 | 1.264 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stability | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM FFR (Tendered) | 92.1647 | 92.1647 | 92.1647 | 86.0893 | 85.1013 | 86.0893 | 86.4158 | 86.4158 | 86.4158 | 65.5897 | 62.6457 | 65.5897 | 87.5845 | 84.6405 | 87.5845 | 111.6086 | 110.2613 | 110.6086 | 142.1192 | 142.1192 | 142.1192 | 93.6777 | 108.9132 | 93.6772 | 88.942 | 88.942 | 88.942 | 101.5224 | 101.0574 | 101.5224 | 0 | 0 | 0 | 0 | 0 | 0
NBM FFR (Tendered) | 204.0417 | 280.6477 | 195.9935 | 220.8227 | 304.2467 | 218.7932 | 180.2659 | 278.6224 | 177.9054 | 253.4355 | 360.2225 | 253.4355 | 253.14 | 342.3517 | 253.141 | 189.2296 | 252.9173 | 189.3381 | 156.2962 | 213.6472 | 156.3642 | 115.2907 | 115.2907 | 164.8507 | 148.157 | 163.037 | 148.157 | 139.035 | 153.916 | 139.035 | 0 | 0 | 0 | 0 | 0 | 0
| 107661.718 | 66922.086 | 185466.537 | 150171.685 | 91998.91 | 233097.589 | 104561.591 | 57607.064 | 144299.335 | 151506.822 | 97958.865 | 257625.087

## Reactive
Costs | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
AS-BM Default Utilisation (Mandatory - CVA) | 6.2402 | 5.7386 | 4.7172 | 4.5592 | 4.4181 | 4.0342 | 4.372 | 5.2611 | 5.7811 | 5.1801
AS-BM Utilisation (Mandatory - SVA) | 0.015136 | 0.014179 | 0.019757 | 0.015593 | 0.02045 | 0.0096534 | 0.0066572 | 0.011471 | 0.040212 | 0.0089165
AS-BM Reactive Utilisation (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS-BM Syncronous Compensation ( Commercial) | 0.094957 | 0.098122 | 0.094957 | 0.082956 | 0.076361 | 0.094957 | 0.098122 | 0.094957 | 0.098122 | 0.098122
Power Potential ( Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
BM Default Utilisation (Mandatory - CVA) | 2731698.04 | 2748293.34 | 2418467.93 | 2312693.64 | 2118606.92 | 1791148.86 | 1806248.8 | 1971376.91 | 2054988.39 | 1909887.7
BM Reactive Utilisation (Commercial) | 1546.2773 | 1713.41 | 1816.87 | 1500 | 6837 | 3917.027 | 2426.3986 | 3874.603 | 3389.59 | 2819.55
BM Utilisation (Mandatory - SVA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Potential (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2733244.3173 | 2750006.75 | 2420284.8 | 2314193.64 | 2125443.92 | 1795065.887 | 1808675.1986 | 1975251.513 | 2058377.98 | 1912707.25 | 0 | 0
Reporting Month
1912707.25
6.04

## Black Start
Costs | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
BM Black Start Availability (Commercial) | 3.4866 | 3.7479 | 3.5737 | 3.3773 | 3.2768 | 3.2329 | 3.6461 | 3.4358 | 3.8347 | 3.7611
Interconnector Black Start Availability (Commercial) | 0.049838 | 0.0515 | 0.049838 | 0.050288 | 0.0515 | 0.058631 | 0.096928 | 0.10703 | 0.11333 | 0.11232
BM Black Start Test (Commerical) | 0 | 0.01992 | 0 | 0 | 0 | 0 | 0 | 0 | 0.041823 | 0.10957
BM Black Start Capital Contributions (Commerical) | 0 | 0 | 0 | 0 | 0 | 5.5723 | 3.8329 | 4.2589 | 0 | 4.032
BM Black Start Feasibility (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12766 | 0.47559 | 0
BM Black Start Warming (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Black Start Other (Commerical) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Other Reserves
Costs | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
BM Warming (Commercial) | 0.01125 | 0.0325 | 0.015833 | 0.76777 | 0.25471 | 0.42141 | 0.37698 | 0.43613 | 0.03955 | 0.14098
BM Demand Turn Up (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Power Potential (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Demand Turn Up (Commerical) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM GT Fast Start Availability (Commerial) | 0.37413 | 0.38544 | 0.33909 | 0.38342 | 0.37331 | 0.32425 | 0.28535 | 0.3699 | 0.40878 | 0.40931
Hydro Rapid Start And GT Fast Start Utilisation (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0.051903 | 0 | 0 | 0
Hydro Optional Spin Pump (Commercial) | 1.5145 | 2.2162 | 1.4795 | 1.3068 | 1.2679 | 1.1918 | 0.8575 | 0.81092 | 1.0222 | 0.64365
| 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
Hydro Optional Spin Pump availability (MWh) | 100466.85 | 147297.9 | 98017.25 | 83422.25 | 73619.6 | 67670.55 | 48836.1 | 47078.75 | 54983 | 36143.75
Hydro Rapid Start And GT Fast Start utilisation (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM GT Fast Start Availability number of sites | 14 | 13 | 13 | 13 | 13 | 14 | 14 | 14 | 14 | 14
NBM Demand Turn Up utilisation (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Power Potential utilisation (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Demand Turn Up utilisation (MWh)
BM Warming instructions | 3 | 6 | 3 | 10 | 6 | 18 | 13 | 17 | 9 | 8

## Minor components
Costs | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Minor Components | 4.5906 | 3.0365 | 4.1316 | 2.8295 | 3.0253 | 2.8882 | 3.4069 | 3.3153 | 2.7472 | 4.3268
SO-SO - Minor Components | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - Minor Components | 0.00010018 | 0.00083076 | 0.00097884 | 0.00016778 | -1.488e-05 | 0.00027726 | 6.306e-05 | 4.3e-06 | 5.7e-07 | 0
Non-Delivery & Reconciliation | 1.0724 | 1.4082 | -1.0764 | -1.4991 | -0.94861 | -1.7331 | -0.50876 | -2.2035 | -1.8408 | -2.2984
Non Delivery | -0.55452 | -0.66095 | -0.64593 | -0.61247 | -0.46744 | -0.70204 | -0.96082 | -1.2253 | -1.149 | -1.5078
Reconcilliation | 1.627 | 2.0692 | -0.43046 | -0.88659 | -0.48117 | -1.031 | 0.45206 | -0.97822 | -0.6918 | -0.79062
\