## Main
2020-06-01 | 2020-06-01
2020-06-30
`
Step 3.
Click here to import data
Select AS MBSS file.
Step 4.
Click here to copy imported data to chart tables
Step 1.
Update ROP with latest AS data.
Step 2.
Update reporting month in cell E1

## Overall cost
Report Month | 2020-06-01 | 2020-06-30 | 2020-06-01 | Balancing Cost | Balancing Cost Jun 2020
Balancing Mechanism | Trades | Ancillary Services | SO-to-SO | Other | Total
74.5937 | 25.0846 | 41.4804 | -0.050321 | -1.0213 | 140.0871

## Total categories
Cost £m | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
Energy Imbalance | 2020-04-30: 12.4749; 2020-05-31: 12.3186; 2020-06-30: 7.6357
Operating Reserve | 2020-04-30: 4.9457; 2020-05-31: 4.7951; 2020-06-30: 3.9742
STOR | 2020-04-30: 2.3446; 2020-05-31: 0.62444; 2020-06-30: 2.7894
Constraints | 2020-04-30: 66.7101; 2020-05-31: 106.9672; 2020-06-30: 95.546
Negative Reserve | 2020-04-30: 0.58428; 2020-05-31: 0.6224; 2020-06-30: 0.20626
Fast Reserve | 2020-04-30: 7.391; 2020-05-31: 7.7556; 2020-06-30: 8.729
Response | 2020-04-30: 13.215; 2020-05-31: 8.6746; 2020-06-30: 6.7521
Other Reserve | 2020-04-30: 1.8999; 2020-05-31: 2.6342; 2020-06-30: 1.8344
Reactive | 2020-04-30: 6.317; 2020-05-31: 5.8138; 2020-06-30: 4.8078
Black Start | 2020-04-30: 3.6212; 2020-05-31: 3.9116; 2020-06-30: 3.7128
Minor Components | 2020-04-30: 5.9094; 2020-05-31: 8.6614; 2020-06-30: 4.0998
Total | 125.4131 | 162.7789 | 140.0875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Volume MW | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
Energy Imbalance | 161944.85 | 254260.215 | -1940.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating Reserve | 747253.071 | 692829.366 | 775747.138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STOR (BM only) | 0 | 529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Constraints | 1936883.584 | 2309930.05 | 2124844.843 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Constraint Margin Replacement | 1883240.312 | 1952269.687 | 1883555.756 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Negative Reserve | -179008.585 | -117323.155 | -124687.588 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fast Reserve (BM only) | 20891.868 | 20505.09 | 27104.882 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Response (Absolute- BM only) | 101006.073 | 67473.981 | 55104.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Minor Components | -123349.643 | -37485.065 | -46434.969 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
Energy Imbalance | 2020-04-30: 7.6357
Operating Reserve | 2020-04-30: 3.9742
STOR | 2020-04-30: 2.7894
Constraints | 2020-04-30: 95.546
Negative Reserve | 2020-04-30: 0.20626
Fast Reserve | 2020-04-30: 8.729
Response | 2020-04-30: 6.7521
Other Reserve | 2020-04-30: 1.8344
Reactive | 2020-04-30: 4.8078
Black Start | 2020-04-30: 3.7128
Minor Components | 2020-04-30: 4.0998

## Additional Total categories
Cost £m | 2019-04-30 | 2019-05-31 | 2019-06-30 | 2019-07-31 | 2019-08-31 | 2019-09-30 | 2019-10-31 | 2019-11-30 | 2019-12-31 | 2020-01-31 | 2020-02-29 | 2020-03-31
Energy Imbalance | 2019-04-30: 12.4749; 2019-05-31: 12.3186; 2019-06-30: 7.6357
Operating Reserve | 2019-04-30: 4.9457; 2019-05-31: 4.7951; 2019-06-30: 3.9742
STOR | 2019-04-30: 2.325; 2019-05-31: -0.25815; 2019-06-30: 2.6179
Constraints - E&W | 2019-04-30: 13.1441; 2019-05-31: 13.7503; 2019-06-30: 22.0187
Constraints - Cheviot | 2019-04-30: 1.0925; 2019-05-31: 15.0357; 2019-06-30: 0.37641
Constraints - Scotland | 2019-04-30: 4.0647; 2019-05-31: 2.1213; 2019-06-30: 3.8401
Constraints - Ancillary | 2019-04-30: 0.37628; 2019-05-31: 19.1573; 2019-06-30: 16.5201
ROCOF | 2019-04-30: 37.2144; 2019-05-31: 41.5018; 2019-06-30: 36.9336
Constraints Sterilised HR | 2019-04-30: 10.7073; 2019-05-31: 15.6795; 2019-06-30: 18.7521
Negative Reserve | 2019-04-30: 0.58428; 2019-05-31: 0.6224; 2019-06-30: 0.20626
Fast Reserve | 2019-04-30: 7.2743; 2019-05-31: 7.812; 2019-06-30: 8.7285
Response | 2019-04-30: 13.2057; 2019-05-31: 8.6481; 2019-06-30: 6.8163
Other Reserve | 2019-04-30: 1.8075; 2019-05-31: 2.5626; 2019-06-30: 1.8379
Reactive | 2019-04-30: 6.317; 2019-05-31: 5.8138; 2019-06-30: 4.7978
Black Start | 2019-04-30: 3.4275; 2019-05-31: 3.7113; 2019-06-30: 3.8961
Minor Components | 2019-04-30: 5.9095; 2019-05-31: 9.4189; 2019-06-30: 3.949
Total | 124.8707 | 162.6904 | 142.9007 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## BM total
| 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
Cost £m | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Energy balancing | 2020-04-30: 12.4914; 2020-05-31: 12.3138; 2020-06-30: 7.6565
BM - Operating Reserve | 2020-04-30: 2.8167; 2020-05-31: 2.9863; 2020-06-30: 1.1338
BM - STOR | 2020-04-30: 0; 2020-05-31: 0.04149; 2020-06-30: 0
BM - Constrained Margin | 2020-04-30: 2.1132; 2020-05-31: 2.3787; 2020-06-30: 2.7067
BM - Constraints E&W | 2020-04-30: 34.8909; 2020-05-31: 43.3728; 2020-06-30: 51.4585
BM - Constraints Cheviot | 2020-04-30: 1.4917; 2020-05-31: 17.124; 2020-06-30: 0.52537
BM - Constraints Scotland | 2020-04-30: 5.0682; 2020-05-31: 3.1078; 2020-06-30: 5.1169
BM - Negative Reserve | 2020-04-30: 0.16345; 2020-05-31: 0.086346; 2020-06-30: 0.075488
BM - Fast Reserve | 2020-04-30: 0.40952; 2020-05-31: 0.37815; 2020-06-30: 0.5441
BM - Response | 2020-04-30: 2.1956; 2020-05-31: 1.5062; 2020-06-30: 1.2452
BM - Minor Components | 2020-04-30: 4.5906; 2020-05-31: 3.0365; 2020-06-30: 4.1312
Volume MW | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Energy balancing | 162445.509 | 254836.663 | -1653.003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Operating Reserve | 64418.161 | 91488.576 | 48065.982 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - STOR | 0 | 529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constrained Margin | 676469.91 | 600653.79 | 708116.156 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constraints E&W | 1856229.917 | 2131312.115 | 1994101.803 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constraints Cheviot | 12932.805 | 139958.273 | 5771.283 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constraints Scotland | 67720.862 | 38659.662 | 124971.757 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Negative Reserve | -45873.085 | -16882.987 | -24648.088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Fast Reserve | 20891.868 | 20505.09 | 27104.882 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Response | 101006.073 | 67473.981 | 55104.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Minor Components | -122848.984 | -38135.085 | -46147.262 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## AS Total
Cost £m | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
AS - Response | 2020-04-01: 11.0195; 2020-05-01: 7.1684; 2020-06-01: 5.507
AS - Fast Reserves | 2020-04-01: 6.9815; 2020-05-01: 7.3775; 2020-06-01: 8.1849
AS - STOR | 2020-04-01: 2.3446; 2020-05-01: 0.58295; 2020-06-01: 2.7894
AS - Other Reserves | 2020-04-01: 1.8999; 2020-05-01: 2.6342; 2020-06-01: 1.8344
AS - Black Start | 2020-04-01: 3.6212; 2020-05-01: 3.9116; 2020-06-01: 3.7128
AS - Reactive | 2020-04-01: 6.317; 2020-05-01: 5.8138; 2020-06-01: 4.8078
AS - Constraints | 2020-04-01: 0.48718; 2020-05-01: 18.8787; 2020-06-01: 13.6252
AS - SO-SO Costs | 2020-04-01: 0.91324; 2020-05-01: 0.75276; 2020-06-01: 0.9218
AS - Other Ancillary Cost | 2020-04-01: 9.571e-05; 2020-05-01: 9.346e-05; 2020-06-01: 0
AS - Outstanding Liabilities | 2020-04-01: 0.13213; 2020-05-01: 2.266; 2020-06-01: 0.097665
Cost £m | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
AS Mandatory Service | 2020-04-01: 7.69; 2020-05-01: 6.7176; 2020-06-01: 5.5207
AS Commercial Service | 2020-04-01: 19.5652; 2020-05-01: 36.5094; 2020-06-01: 29.529
AS Tendered Service | 2020-04-01: 6.1354; 2020-05-01: 3.9734; 2020-06-01: 6.2827
AS Miscellaneous Costs | 2020-04-01: 0.13223; 2020-05-01: 2.2661; 2020-06-01: 0.097665
Graph Title
Ancillary Services Cost - Jun 2020
Note on B25: Cristian Ebau: Check the formatting for this diagram

## Trades
Volume MWh | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01 | Reporting Month
Buy Volume | 2020-04-01: 164805; 2020-05-01: 177907; 2020-06-01: 244259.5 | 1046261.5
Sell Volume | 2020-04-01: 826502.5; 2020-05-01: 778371.1; 2020-06-01: 802002
Abs value | 991307.5 | 956278.1 | 1046261.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost £ million | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
Buy Cost | 2020-04-01: 2.3562; 2020-05-01: 1.6982; 2020-06-01: 4.22
Sell Cost | 2020-04-01: 24.4331; 2020-05-01: 22.7518; 2020-06-01: 20.8681

## DSR
Cost £m | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
NBM - Frequency Response | 2020-04-01: 3.2034; 2020-05-01: 3.2882; 2020-06-01: 2.8029 | 0
NBM - Short-term operating reserve (STOR) | 2020-04-01: 1.7021; 2020-05-01: -0.1765; 2020-06-01: 2.0146
NBM - Fast Reserve | 2020-04-01: 1.0855; 2020-05-01: 0.79903; 2020-06-01: 1.321
Cost £m | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
AS - Non BM providers | 2020-04-01: 5.9909; 2020-05-01: 3.9108; 2020-06-01: 6.1386
AS - BM providers | 2020-04-01: 26.631; 2020-05-01: 42.2453; 2020-06-01: 34.3228
AS - SO-SO providers | 2020-04-01: 0.91324; 2020-05-01: 0.75276; 2020-06-01: 0.9218
AS - Miscellaneous | 2020-04-01: 9.571e-05; 2020-05-01: 9.346e-05; 2020-06-01: 0
Graph Title
AS Costs By Provider Type - Jun 2020

## SO2SO
| 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
Cost £m | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
SO-SO Energy Trades | 2020-04-30: -0.016528; 2020-05-31: 0.0048182; 2020-06-30: -0.020805
SO-SO Margin | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
SO-SO Constrained Margin | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
SO-SO Footroom | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
SO-SO Ramping | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
SO-SO Invoked by External Parties | 2020-04-30: -0.1335; 2020-05-31: -0.01595; 2020-06-30: -0.029517
SO-SO Constraints | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
AS - SO-SO Interconnector Capability (Commercial) | 2020-04-30: 0.91324; 2020-05-31: 0.75276; 2020-06-30: 0.9218
| 0.76321 | 0.74163 | 0.87147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
0.87147

## Energy Imbalance
Cost | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
Energy Imbalance | 2020-04-01: 12.4749; 2020-05-01: 12.3186; 2020-06-01: 7.6357
Volume MWh | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
Energy Imbalance | 161944.85 | 254260.215 | -1940.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Operating Reserve
Cost | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Operating Reserve | 2020-04-30: 2.8167; 2020-05-31: 2.9863; 2020-06-30: 1.1338
BM - Constrained Operating Reserve | 2020-04-30: 2.1132; 2020-05-31: 2.3787; 2020-06-30: 2.7067
Trade - Operating Reserve | 2020-04-30: 0.0090917; 2020-05-31: -0.62079; 2020-06-30: 0.075908
Trade - UTEV | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
Trade - Constrained Operating Reserve | 2020-04-30: 0.0067376; 2020-05-31: 0.050824; 2020-06-30: 0.057878
SO-SO - Operating Reserve | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
SO-SO - Constrained Operating Reserve | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
Volume | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Operating Reserve | 64418.161 | 91488.576 | 48065.982 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constrained Operating Reserve | 676469.91 | 600653.79 | 708116.156 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Operating Reserve | 902.5 | 0 | 5140.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - UTEV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Constrained Operating Reserve | 5462.5 | 687 | 14424.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO - Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO - Constrained Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## STOR
| Costs | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
| BM - STOR | 2020-04-30: 0; 2020-05-31: 0.04149; 2020-06-30: 0
| AS - BM STOR (Tendered) | 2020-04-30: 0.6425; 2020-05-31: 0.75945; 2020-06-30: 0.77476
| AS - NBM STOR availability (Tendered) | 2020-04-30: 1.7219; 2020-05-31: 1.9547; 2020-06-30: 2.0957
| AS - NBM STOR utilisation (Tendered) | 2020-04-30: 0.11233; 2020-05-31: 0.11909; 2020-06-30: 0.01656
| AS - BM Season/Term Reconciliation (Tendered) | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
| AS - NBM Season/Term Reconciliation (Tendered) | 2020-04-30: -0.13213; 2020-05-31: -2.2503; 2020-06-30: -0.097665
|  | 2.3446 | 0.62444 | 2.7894 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.6425 | 0.80094 | 0.77476 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1.7021 | -0.1765 | 2.0146 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MWh | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
| AS - NBM STOR utilisation (Tendered) | 2020-04-01: 2166.409; 2020-05-01: 2387.114; 2020-06-01: 469.249
| AS - BM STOR utilisation (Tendered) | 2020-04-01: 3148.037; 2020-05-01: 3945.266; 2020-06-01: 237.5
|  | 5314.446 | 6332.38 | 706.749 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
Total | 2.7894
BM | 0.77476
Non-BM | 2.0146
Total Vol | 706.749
|  | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01
| BM STOR (July MBSS) | 2020-04-01: 1523.353
| BM STOR | 2020-04-01: 4612.492
| AS BM STOR | 2020-04-01: 4468.876
Note on A3: Cristian Ebau: this come from the ROP Outturn Daily tab. "Standing Reserve"
Note on A4: Cristian Ebau: also these AS figure are in the ROP
Note on A13: Cristian Ebau: These data come from the MBSS AS Volumes tab at the begging of this spreadsheet

## Constraints
Costs | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
AS - BM Intertrip capability (Mandatory - CAP76) | 2020-04-01: 0.11785; 2020-05-01: 0.12178; 2020-06-01: 0.11785
AS - BM Intertrip capability (Commercial) | 2020-04-01: 0.010766; 2020-05-01: 0.011125; 2020-06-01: 0.010766
AS - BM Intertrip Arming (Commercial) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
AS - Interconnector Intertrip Arming (Commercial) | 2020-04-01: 0.048929; 2020-05-01: 0.21096; 2020-06-01: 0
AS - BM Intertrip - trip (Mandatory and Commercial) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
AS - BM Constraints Voltage | 2020-04-01: 0.11656; 2020-05-01: 0.14435; 2020-06-01: 0.13811
AS - BM Constraints | 2020-04-01: 0.19307; 2020-05-01: 18.3905; 2020-06-01: 13.3584
Costs (£m) | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
BM - Transmission | 10.7045 | 34.1528 | 32.5008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - Transmission | 0 | 0.67494 | 0.87497 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Voltage | 16.1929 | 9.347 | 8.1052 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - Voltage | 2.1112 | 2.4119 | 3.5062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - ROCOF | 14.5535 | 20.1048 | 16.4948 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - ROCOF | 22.6608 | 21.397 | 20.4388 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO - Constraints | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS Costs | 2020-04-01: 0.48718; 2020-05-01: 18.8787; 2020-06-01: 13.6252
Absolute Volume MWh | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
BM - Transmission | 123614.094 | 319218.083 | 451695.642 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - Transmission | 0 | 22452 | 68163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Voltage | 472674.234 | 506712.579 | 342798.431 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - Voltage | 136090 | 138675 | 161864.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - ROCOF | 488799.081 | 627213.388 | 404743.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - ROCOF | 676243 | 695659 | 695579.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
AS Costs
Graph Title
Constraints - Jun 2020

## Negative Reserves
Costs | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Negative reserve | 2020-04-30: 0.16345; 2020-05-31: 0.086346; 2020-06-30: 0.075488
Trade - Negative reserve | 2020-04-30: 0.42083; 2020-05-31: 0.53606; 2020-06-30: 0.13077
SO-SO - Negative reserve | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
Volumes | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Negative Reserve | -45873.085 | -16882.987 | -24648.088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Negative Reserve | -133135.5 | -99213.7 | -100039.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO - Negative Reserve | 0 | -1226.468 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| -179008.585 | -117323.155 | -124687.588 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
Volume | 2020-04-30: -124687.588

## Fast Reserve
Costs | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Fast Reserves | 2020-04-30: 0.40952; 2020-05-31: 0.37815; 2020-06-30: 0.5441
Hydro Spin Gen No LF (Commercial) | 2020-04-30: 5.896; 2020-05-31: 6.5785; 2020-06-30: 6.8639
BM Optional Fast Reserve (Commercial) | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
NBM Optional Fast Reserve Availability (Commercial) | 2020-04-30: 0.54981; 2020-05-31: 0.38979; 2020-06-30: 0.57575
NBM Optional Fast Reserve Utilisation (Commercial) | 2020-04-30: 0.5357; 2020-05-31: 0.40924; 2020-06-30: 0.74529
BM Firm Fast Reserve (Tendered) | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
NBM Firm Fast Reserve Avail + Nom (Tendered) | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
NBM Firm Fast Reserve Utilisation (Tendered) | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
Total BM | 6.3055 | 6.9566 | 7.408 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Non-BM | 1.0855 | 0.79903 | 1.321 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Volume | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
AS - NBM Firm Fast Reserve availability + nomination (Tendered) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
AS - BM Firm Fast Reserve availability (Tendered) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
AS - BM Hydro Spin Gen No LF (Commercial) | 2020-04-01: 223098.78; 2020-05-01: 245048.72; 2020-06-01: 257774.79
Reporting Month
BM | 2020-04-01: 7.408
Non-BM | 2020-04-01: 1.321

## Response
Costs | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Response | 2020-04-30: 2.1956; 2020-05-31: 1.5062; 2020-06-30: 1.2452
BM Generator Response (Mandatory) | 2020-04-30: 1.3801; 2020-05-31: 0.92761; 2020-06-30: 0.80302
BM Generator Response (Commercial) | 2020-04-30: 0.025895; 2020-05-31: 0.012078; 2020-06-30: 0.023113
BM Generator Response Energy (Mandatory) | 2020-04-30: 0.087794; 2020-05-31: 0.074334; 2020-06-30: 0.0048933
BM Generator Response Energy (Commercial) | 2020-04-30: 0.031433; 2020-05-31: 0.0090889; 2020-06-30: 0.017035
Hydro Spin Gen with LF | 2020-04-30: 4.1764; 2020-05-31: 1.1079; 2020-06-30: 0.11937
Hydro Pump deload | 2020-04-30: 0.25384; 2020-05-31: 0.036832; 2020-06-30: 0.00063886
BM Enhanced Frequency Response (Commercial) | 2020-04-30: 1.0062; 2020-05-31: 1.036; 2020-06-30: 1.0218
Interconnector Response (Commercial) | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
NBM Enhanced Frequency Response (Commercial) | 2020-04-30: 0.76737; 2020-05-31: 0.79212; 2020-06-30: 0.76613
NBM Demand Side Response (Commerical) | 2020-04-30: 0.016188; 2020-05-31: 0; 2020-06-30: 0
BM Other Response (Commercial) | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
NBM Other Response (Commercial) | 2020-04-30: 0.56897; 2020-05-31: 0.58104; 2020-06-30: 0.57867
BM FFR (Tendered) | 2020-04-30: 0.812; 2020-05-31: 0.65241; 2020-06-30: 0.68103
BM FFR Response Energy (Tendered) | 2020-04-30: 0.042526; 2020-05-31: 0.023935; 2020-06-30: 0.033067
NBM FFR (Tendered) | 2020-04-30: 1.8508; 2020-05-31: 1.9151; 2020-06-30: 1.4581
| 2020-04-30: 2020-04-01; 2020-07-31: 2020-05-01; 2020-10-31: 2020-06-01; 2021-01-31: 2020-07-01 | 2020-08-01 |  |  | 2020-09-01 |  |  | 2020-10-01 |  |  | 2020-11-01 |  |  | 2020-12-01 |  |  | 2021-01-01 |  |  | 2021-02-01 |  |  | 2021-03-01
Holding volumes (MWh) | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H
BM Generator Response (Mandatory) | 229023.5 | 144173.8 | 231696.3 | 154316 | 97122 | 180208 | 106298.57 | 67900.71 | 183657.75
Hydro Spin Gen with LF | 0 | 163873.36 | 0 | 0 | 43378.65 | 0 | 0 | 4570.8 | 0
Hydro Pump deload | 2020-04-30: 31789.8; 2020-05-31: 39358.8; 2020-07-31: 4641; 2020-08-31: 5746; 2020-10-31: 79.8; 2020-11-30: 98.8 | [24 empty] | 0 | 163873.36 | 0
BM Enhanced Frequency Response (Commercial)
Interconnector Response (Commercial) | [36 empty] | 780 | 2604 | 0
NBM Enhanced Frequency Response (Commercial) | [36 empty] | 204041.72 | 280647.72 | 195993.47
NBM Demand Side Response (Commerical) | 780 | 2604 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Other Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 31789.8 | 39358.8
BM FFR (Tendered) | 92164.75 | 92164.75 | 92164.75 | 86089.28 | 85101.28 | 86089.28 | 86415.75 | 86415.75 | 86415.75
NBM FFR (Tendered) | 204041.72 | 280647.72 | 195993.47 | 220822.72 | 304246.72 | 218793.22 | 180265.92 | 278622.42 | 177905.42
| 557799.77 | 722822.43 | 519854.52 | 465869 | 535594.65 | 485090.5 | 373060.04 | 437608.48 | 447978.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2020-04-30: 2020-04-01; 2020-07-31: 2020-05-01; 2020-10-31: 2020-06-01; 2021-01-31: 2020-07-01 | 2020-08-01 |  |  | 2020-09-01 |  |  | 2020-10-01 |  |  | 2020-11-01 |  |  | 2020-12-01 |  |  | 2021-01-01 |  |  | 2021-02-01 |  |  | 2021-03-01
Holding volumes (GWh) | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H
BM Generator Response (Mandatory) | 229.0235 | 144.1738 | 231.6963 | 154.316 | 97.122 | 180.208 | 106.2986 | 67.9007 | 183.6577 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro Spin Gen with LF | 0 | 163.8734 | 0 | 0 | 43.3787 | 0 | 0 | 4.5708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro Pump deload | 31.7898 | 39.3588 | 0 | 4.641 | 5.746 | 0 | 0.0798 | 0.0988 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Enhanced Frequency Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interconnector Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Enhanced Frequency Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Demand Side Response (Commerical) | 0.78 | 2.604 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Other Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM FFR (Tendered) | 92.1647 | 92.1647 | 92.1647 | 86.0893 | 85.1013 | 86.0893 | 86.4158 | 86.4158 | 86.4158 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM FFR (Tendered) | 204.0417 | 280.6477 | 195.9935 | 220.8227 | 304.2467 | 218.7932 | 180.2659 | 278.6224 | 177.9054 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 107661.718 | 66922.086 | 185466.537 | 150171.685 | 91998.91 | 233097.589 | 104561.591 | 57607.064 | 144299.335 | 151506.822 | 97958.865 | 257625.087

## Reactive
Costs | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
AS-BM Default Utilisation (Mandatory - CVA) | 2020-04-01: 6.2069; 2020-05-01: 5.7015; 2020-06-01: 4.6937
AS-BM Utilisation (Mandatory - SVA) | 2020-04-01: 0.015136; 2020-05-01: 0.014179; 2020-06-01: 0.019086
AS-BM Reactive Utilisation (Commercial) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
AS-BM Syncronous Compensation ( Commercial) | 2020-04-01: 0.094957; 2020-05-01: 0.098122; 2020-06-01: 0.094957
Power Potential ( Commercial) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
| 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
BM Default Utilisation (Mandatory - CVA) | 2020-04-01: 2731698.04; 2020-05-01: 2748293.34; 2020-06-01: 2418467.93
BM Reactive Utilisation (Commercial) | 2020-04-01: 1546.2773; 2020-05-01: 1713.41; 2020-06-01: 1816.87
BM Utilisation (Mandatory - SVA) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
Power Potential (Commercial) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
| 2733244.3173 | 2750006.75 | 2420284.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
2420284.8
6.04

## Black Start
Costs | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
BM Black Start Availability (Commercial) | 2020-04-01: 3.5713; 2020-05-01: 3.8401; 2020-06-01: 3.663
Interconnector Black Start Availability (Commercial) | 2020-04-01: 0.049838; 2020-05-01: 0.0515; 2020-06-01: 0.049838
BM Black Start Test (Commerical) | 2020-04-01: 0; 2020-05-01: 0.01992; 2020-06-01: 0
BM Black Start Capital Contributions (Commerical) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
BM Black Start Feasibility (Commercial) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
BM Black Start Warming (Commercial) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
BM Black Start Other (Commerical) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0

## Other Reserves
| Costs | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
| BM Warming (Commercial) | 2020-04-01: 0.01125; 2020-05-01: 0.0325; 2020-06-01: 0.015833
| BM Demand Turn Up (Commercial) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
| BM Power Potential (Commercial) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
| NBM Demand Turn Up (Commerical) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
| BM GT Fast Start Availability (Commerial) | 2020-04-01: 0.37413; 2020-05-01: 0.38544; 2020-06-01: 0.33909
| Hydro Rapid Start And GT Fast Start Utilisation (Commercial) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
| Hydro Optional Spin Pump (Commercial) | 2020-04-01: 1.5145; 2020-05-01: 2.2162; 2020-06-01: 1.4795
|  | 2020-04-01 | 2020-05-01 | 2020-06-01 | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01
availability | Hydro Optional Spin Pump availability (MWh) | 2020-04-01: 100466.85; 2020-05-01: 147297.9; 2020-06-01: 98017.25
| Hydro Rapid Start And GT Fast Start utilisation (MWh) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
sites | BM GT Fast Start Availability number of sites | 2020-04-01: 14; 2020-05-01: 13; 2020-06-01: 13
| NBM Demand Turn Up utilisation (MWh) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
| BM Power Potential utilisation (MWh) | 2020-04-01: 0; 2020-05-01: 0; 2020-06-01: 0
BM Demand Turn Up utilisation (MWh)
instructions | BM Warming instructions | 2020-04-01: 3; 2020-05-01: 6; 2020-06-01: 3

## Minor components
Costs | 2020-04-30 | 2020-05-31 | 2020-06-30 | 2020-07-31 | 2020-08-31 | 2020-09-30 | 2020-10-31 | 2020-11-30 | 2020-12-31 | 2021-01-31 | 2021-02-28 | 2021-03-31
BM - Minor Components | 2020-04-30: 4.5906; 2020-05-31: 3.0365; 2020-06-30: 4.1312
SO-SO - Minor Components | 2020-04-30: 0; 2020-05-31: 0; 2020-06-30: 0
AS - Minor Components | 2020-04-30: 9.571e-05; 2020-05-31: 9.346e-05; 2020-06-30: 0
Non-Delivery & Reconciliation | 2020-04-30: 0.40684; 2020-05-31: 2.622; 2020-06-30: -1.0213
Non Delivery | 2020-04-30: -0.5588; 2020-05-31: -0.66065; 2020-06-30: -0.65185
Reconcilliation | 2020-04-30: 0.96564; 2020-05-31: 3.2826; 2020-06-30: -0.36946
\