## Overall cost
Report Month | 2021-04-01 | 2021-04-30 | 2021-04-01 | Balancing Cost | Balancing Cost Apr 2021
Balancing Mechanism | Trades | Ancillary Services | SO-to-SO | Other | Total
71.9789 | 10.8373 | 47.9918 | 0 | -2.4885 | 128.3196

## Total categories
Cost £m | 2021-04-30 | 2021-05-31 | 2021-06-30 | 2021-07-31 | 2021-08-31 | 2021-09-30 | 2021-10-31 | 2021-11-30 | 2021-12-31 | 2022-01-31 | 2022-02-28 | 2022-03-31
Energy Imbalance | 2021-04-30: 5.9331
Operating Reserve | 2021-04-30: 22.7097
STOR | 2021-04-30: 3.9166
Constraints | 2021-04-30: 45.0533
Negative Reserve | 2021-04-30: 0.34026
Fast Reserve | 2021-04-30: 17.1561
Response | 2021-04-30: 20.3987
Other Reserve | 2021-04-30: 1.3712
Reactive | 2021-04-30: 7.4635
Black Start | 2021-04-30: 3.8057
Minor Components | 2021-04-30: 1.068
Total | 129.216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Volume MW | 2021-04-30 | 2021-05-31 | 2021-06-30 | 2021-07-31 | 2021-08-31 | 2021-09-30 | 2021-10-31 | 2021-11-30 | 2021-12-31 | 2022-01-31 | 2022-02-28 | 2022-03-31
Energy Imbalance | 19705.284 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating Reserve | 549290.886 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STOR (BM only) | 11713.076 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Constraints | 629515.671 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Constraint Margin Replacement | 734095.892 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Negative Reserve | -37149.674 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fast Reserve (BM only) | 14345.754 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Response (Absolute- BM only) | 267500.633 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Minor Components | -61004.178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
Energy Imbalance | 2021-04-30: 5.9331
Operating Reserve | 2021-04-30: 22.7097
STOR | 2021-04-30: 3.9166
Constraints | 2021-04-30: 45.0533
Negative Reserve | 2021-04-30: 0.34026
Fast Reserve | 2021-04-30: 17.1561
Response | 2021-04-30: 20.3987
Other Reserve | 2021-04-30: 1.3712
Reactive | 2021-04-30: 7.4635
Black Start | 2021-04-30: 3.8057
Minor Components | 2021-04-30: 1.068

## Additional Total categories
Cost £m | 2021-04-30 | 2021-05-31 | 2021-06-30 | 2021-07-31 | 2021-08-31 | 2021-09-30 | 2021-10-31 | 2021-11-30 | 2021-12-31 | 2022-01-31 | 2022-02-28 | 2022-03-31
Energy Imbalance | 2021-04-30: 5.9331
Operating Reserve | 2021-04-30: 22.7097
STOR | 2021-04-30: 3.9166
Constraints - E&W | 2021-04-30: -4.932
Constraints - Cheviot | 2021-04-30: 1.065
Constraints - Scotland | 2021-04-30: 3.9988
Constraints - Ancillary | 2021-04-30: 1.2541
ROCOF | 2021-04-30: 23.0258
Constrained Sterilised HR | 2021-04-30: 20.6416
Negative Reserve | 2021-04-30: 0.34026
Fast Reserve | 2021-04-30: 17.1561
Response | 2021-04-30: 20.3987
Other Reserve | 2021-04-30: 1.3712
Reactive | 2021-04-30: 7.4635
Black Start | 2021-04-30: 3.8057
Minor Components | 2021-04-30: 1.068
Total | 129.216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## BM total
| 2021-04-30 | 2021-05-31 | 2021-06-30 | 2021-07-31 | 2021-08-31 | 2021-09-30 | 2021-10-31 | 2021-11-30 | 2021-12-31 | 2022-01-31 | 2022-02-28 | 2022-03-31
Cost £m | 2021-04-30 | 2021-05-31 | 2021-06-30 | 2021-07-31 | 2021-08-31 | 2021-09-30 | 2021-10-31 | 2021-11-30 | 2021-12-31 | 2022-01-31 | 2022-02-28 | 2022-03-31
BM - Energy balancing | 2021-04-30: 5.9331
BM - Operating Reserve | 2021-04-30: 12.6922
BM - STOR | 2021-04-30: 1.3943
BM - Constrained Margin | 2021-04-30: 8.8013
BM - Constraints E&W | 2021-04-30: 27.214
BM - Constraints Cheviot | 2021-04-30: 1.471
BM - Constraints Scotland | 2021-04-30: 5.7524
BM - Negative Reserve | 2021-04-30: 0.081014
BM - Fast Reserve | 2021-04-30: 0.52739
BM - Response | 2021-04-30: 5.2945
BM - Minor Components | 2021-04-30: 2.527
Volume MW | 2021-04-30 | 2021-05-31 | 2021-06-30 | 2021-07-31 | 2021-08-31 | 2021-09-30 | 2021-10-31 | 2021-11-30 | 2021-12-31 | 2022-01-31 | 2022-02-28 | 2022-03-31
BM - Energy balancing | 19705.284 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Operating Reserve | 171007.724 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - STOR | 11713.076 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constrained Margin | 355013.162 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constraints E&W | 550033.236 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constraints Cheviot | 19395.729 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constraints Scotland | 60086.706 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Negative Reserve | -4227.174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Fast Reserve | 14345.754 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Response | 267500.633 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Minor Components | -61004.178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## AS Total
Cost £m | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
AS - Response | 2021-04-01: 15.1042
AS - Fast Reserves | 2021-04-01: 16.6084
AS - STOR | 2021-04-01: 2.5223
AS - Other Reserves | 2021-04-01: 1.3712
AS - Black Start | 2021-04-01: 3.5148
AS - Reactive | 2021-04-01: 7.4635
AS - Constraints | 2021-04-01: 1.2541
AS - SO-SO Costs | 2021-04-01: 0.61525
AS - Other Ancillary Cost | 2021-04-01: 0
AS - Outstanding Liabilities | 2021-04-01: 0.4142
Cost £m | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
AS Mandatory Service | 2021-04-01: 10.7145
AS Commercial Service | 2021-04-01: 25.7762
AS Tendered Service | 2021-04-01: 11.0868
AS Miscellaneous Costs | 2021-04-01: 0.4142
Graph Title
Ancillary Services Cost - Apr 2021
Note on B25: Cristian Ebau: Check the formatting for this diagram

## Trades
Volume MWh | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | Reporting Month
Buy Volume | 2021-04-01: 63613 | 277998.5
Sell Volume | 2021-04-01: 214385.5
Abs value | 277998.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost £ million | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
Buy Cost | 2021-04-01: 1.6434
Sell Cost | 2021-04-01: 9.1939

## DSR
Cost £m | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
NBM - Frequency Response | 2021-04-01: 0.943 | 0
NBM - Short-term operating reserve (STOR) | 2021-04-01: 1.5954
NBM - Fast Reserve | 2021-04-01: 8.3034
Cost £m | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
AS - Non BM providers | 2021-04-01: 10.8418
AS - BM providers | 2021-04-01: 28.3054
AS - SO-SO providers | 2021-04-01: 0.61525
AS - Miscellaneous | 2021-04-01: 0
Graph Title
AS Costs By Provider Type - Apr 2021

## SO2SO
| 2021-04-30 | 2021-05-31 | 2021-06-30 | 2021-07-31 | 2021-08-31 | 2021-09-30 | 2021-10-31 | 2021-11-30 | 2021-12-31 | 2022-01-31 | 2022-02-28 | 2022-03-31
Cost £m | 2021-04-30 | 2021-05-31 | 2021-06-30 | 2021-07-31 | 2021-08-31 | 2021-09-30 | 2021-10-31 | 2021-11-30 | 2021-12-31 | 2022-01-31 | 2022-02-28 | 2022-03-31
SO-SO Energy Trades | 2021-04-30: 0
SO-SO Margin | 2021-04-30: 0
SO-SO Constrained Margin | 2021-04-30: 0
SO-SO Footroom | 2021-04-30: 0
SO-SO Ramping | 2021-04-30: 0
SO-SO Invoked by External Parties | 2021-04-30: 0
SO-SO Constraints | 2021-04-30: 0
AS - SO-SO Interconnector Capability (Commercial) | 2021-04-30: 0.61525
| 0.61525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
0.61525

## Energy Imbalance
Cost | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
Energy Imbalance | 2021-04-01: 5.9331
Volume MWh | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
Energy Imbalance | 19705.284 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Operating Reserve
Cost | 2021-04-30 | 2021-05-31 | 2021-06-30 | 2021-07-31 | 2021-08-31 | 2021-09-30 | 2021-10-31 | 2021-11-30 | 2021-12-31 | 2022-01-31 | 2022-02-28 | 2022-03-31
BM - Operating Reserve | 2021-04-30: 12.6922
BM - Constrained Operating Reserve | 2021-04-30: 8.8013
Trade - Operating Reserve | 2021-04-30: 1.0005
Trade - UTEV | 2021-04-30: 0
Trade - Constrained Operating Reserve | 2021-04-30: 0.21575
SO-SO - Operating Reserve | 2021-04-30: 0
SO-SO - Constrained Operating Reserve | 2021-04-30: 0
Volume | 2021-04-30 | 2021-05-31 | 2021-06-30 | 2021-07-31 | 2021-08-31 | 2021-09-30 | 2021-10-31 | 2021-11-30 | 2021-12-31 | 2022-01-31 | 2022-02-28 | 2022-03-31
BM - Operating Reserve | 171007.724 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constrained Operating Reserve | 355013.162 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Operating Reserve | 14752 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - UTEV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Constrained Operating Reserve | 8518 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO - Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO - Constrained Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## STOR
| Costs | 2021-04-30 | 2021-05-31 | 2021-06-30 | 2021-07-31 | 2021-08-31 | 2021-09-30 | 2021-10-31 | 2021-11-30 | 2021-12-31 | 2022-01-31 | 2022-02-28 | 2022-03-31
| BM - STOR | 2021-04-30: 1.3943
| AS - BM STOR (Tendered) | 2021-04-30: 0.92692
| AS - NBM STOR availability (Tendered) | 2021-04-30: 1.9265
| AS - NBM STOR utilisation (Tendered) | 2021-04-30: 0.083096
| AS - BM Season/Term Reconciliation (Tendered) | 2021-04-30: 0
| AS - NBM Season/Term Reconciliation (Tendered) | 2021-04-30: -0.4142
|  | 3.9166 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2.3212 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1.5954 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MWh | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
| AS - NBM STOR utilisation (Tendered) | 2021-04-01: 2166.409
AS - BM STOR utilisation (Tendered)
|  | 2166.409 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
Total | 3.9166
BM | 2.3212
Non-BM | 1.5954
Total Vol | 2166.409

## Constraints
Costs | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
AS - BM Intertrip capability (Mandatory - CAP76) | 2021-04-01: 0.11192
AS - BM Intertrip capability (Commercial) | 2021-04-01: 0.011
AS - BM Intertrip Arming (Commercial) | 2021-04-01: 0
AS - Interconnector Intertrip Arming (Commercial) | 2021-04-01: 0
AS - BM Intertrip - trip (Mandatory and Commercial) | 2021-04-01: 0
AS - BM Constraints Voltage | 2021-04-01: 1.1295
AS - BM Constraints | 2021-04-01: 0.001667
Costs (£m) | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
BM - Transmission | 18.9451 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - Transmission | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Voltage | 1.5534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - Voltage | 0.42717 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - ROCOF | 14.2297 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - ROCOF | 8.9347 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO - Constraints | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS Costs | 2021-04-01: 1.2541
Absolute Volume MWh | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
BM - Transmission | 94725.379 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - Transmission | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Voltage | 98749.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - Voltage | 40343 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - ROCOF | 214234.492 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - ROCOF | 181463 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
AS Costs
Graph Title
Constraints - Apr 2021

## Negative Reserves
Costs | 2021-04-30 | 2021-05-31 | 2021-06-30 | 2021-07-31 | 2021-08-31 | 2021-09-30 | 2021-10-31 | 2021-11-30 | 2021-12-31 | 2022-01-31 | 2022-02-28 | 2022-03-31
BM - Negative reserve | 2021-04-30: 0.081014
Trade - Negative reserve | 2021-04-30: 0.25925
SO-SO - Negative reserve | 2021-04-30: 0
Volumes | 2021-04-30 | 2021-05-31 | 2021-06-30 | 2021-07-31 | 2021-08-31 | 2021-09-30 | 2021-10-31 | 2021-11-30 | 2021-12-31 | 2022-01-31 | 2022-02-28 | 2022-03-31
BM - Negative Reserve | -4227.174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Negative Reserve | -32922.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO - Negative Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| -37149.674 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
Volume | 2021-04-30: -37149.674

## Fast Reserve
Costs | 2021-04-30 | 2021-05-31 | 2021-06-30 | 2021-07-31 | 2021-08-31 | 2021-09-30 | 2021-10-31 | 2021-11-30 | 2021-12-31 | 2022-01-31 | 2022-02-28 | 2022-03-31
BM - Fast Reserves | 2021-04-30: 0.52739
Hydro Spin Gen No LF (Commercial) | 2021-04-30: 8.3253
BM Optional Fast Reserve (Commercial) | 2021-04-30: 0
NBM Optional Fast Reserve Availability (Commercial) | 2021-04-30: 3.8069
NBM Optional Fast Reserve Utilisation (Commercial) | 2021-04-30: 4.4965
BM Firm Fast Reserve (Tendered) | 2021-04-30: 0
NBM Firm Fast Reserve Avail + Nom (Tendered) | 2021-04-30: 0
NBM Firm Fast Reserve Utilisation (Tendered) | 2021-04-30: 0
Total BM | 8.8527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Non-BM | 8.3034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Volume | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
AS - NBM Firm Fast Reserve availability + nomination (Tendered) | 2021-04-01: 0
AS - BM Firm Fast Reserve availability (Tendered) | 2021-04-01: 0
AS - BM Hydro Spin Gen No LF (Commercial) | 2021-04-01: 305472.16
Reporting Month
BM | 2021-04-01: 8.8527
Non-BM | 2021-04-01: 8.3034

## Response
Costs | 2021-04-30 | 2021-05-31 | 2021-06-30 | 2021-07-31 | 2021-08-31 | 2021-09-30 | 2021-10-31 | 2021-11-30 | 2021-12-31 | 2022-01-31 | 2022-02-28 | 2022-03-31
BM - Response | 2021-04-30: 5.2945
BM Generator Response (Mandatory) | 2021-04-30: 3.0055
BM Generator Response (Commercial) | 2021-04-30: 0.053668
BM Generator Response Energy (Mandatory) | 2021-04-30: 0.34191
BM Generator Response Energy (Commercial) | 2021-04-30: -0.12311
Hydro Spin Gen with LF | 2021-04-30: 0.98165
Hydro Pump deload | 2021-04-30: 0.13505
BM Enhanced Frequency Response (Commercial) | 2021-04-30: 1.0238
Interconnector Response (Commercial) | 2021-04-30: 0
NBM Enhanced Frequency Response (Commercial) | 2021-04-30: 0.67153
NBM Demand Side Response (Commerical) | 2021-04-30: 0.021184
Stability | 2021-04-30: 0.46331
FFR Bridging/ FFR Auction/Dynamic Containment | 2021-04-30: 8.2482
BM FFR (Tendered) | 2021-04-30: 0.12045
BM FFR Response Energy (Tendered) | 2021-04-30: -0.089289
NBM FFR (Tendered) | 2021-04-30: 0.25029
| 2021-04-30: 2021-04-01; 2021-07-31: 2021-05-01; 2021-10-31: 2021-06-01; 2022-01-31: 2021-07-01 | 2021-08-01 |  |  | 2021-09-01 |  |  | 2021-10-01 |  |  | 2021-11-01 |  |  | 2021-12-01 |  |  | 2022-01-01 |  |  | 2022-02-01 |  |  | 2022-03-01
Holding volumes (MWh) | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H
BM Generator Response (Mandatory) | 2021-04-30: 308903.25; 2021-05-31: 202859.04; 2021-06-30: 436330.62
Hydro Spin Gen with LF | 2021-04-30: 4126.5; 2021-05-31: 39567.96; 2021-06-30: 0
Hydro Pump deload | 2021-04-30: 16349.56; 2021-05-31: 20784.4
BM Enhanced Frequency Response (Commercial)
Interconnector Response (Commercial)
NBM Enhanced Frequency Response (Commercial)
NBM Demand Side Response (Commerical) | 2021-04-30: 0; 2021-05-31: 0; 2021-06-30: 5296
Stability
BM FFR (Tendered) | 2021-04-30: 4065; 2021-05-31: 4065; 2021-06-30: 54955
NBM FFR (Tendered) | 2021-04-30: 19913.97; 2021-05-31: 55833.97; 2021-06-30: 19359.55
| 353358.28 | 323110.37 | 515941.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2021-04-30: 2021-04-01; 2021-07-31: 2021-05-01; 2021-10-31: 2021-06-01; 2022-01-31: 2021-07-01 | 2021-08-01 |  |  | 2021-09-01 |  |  | 2021-10-01 |  |  | 2021-11-01 |  |  | 2021-12-01 |  |  | 2022-01-01 |  |  | 2022-02-01 |  |  | 2022-03-01
Holding volumes (GWh) | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H
BM Generator Response (Mandatory) | 308.9033 | 202.859 | 436.3306 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro Spin Gen with LF | 4.1265 | 39.568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro Pump deload | 16.3496 | 20.7844 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Enhanced Frequency Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interconnector Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Enhanced Frequency Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Demand Side Response (Commerical) | 0 | 0 | 5.296 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stability | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM FFR (Tendered) | 4.065 | 4.065 | 54.955 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM FFR (Tendered) | 19.914 | 55.834 | 19.3595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 107661.718 | 66922.086 | 185466.537 | 150171.685 | 91998.91 | 233097.589 | 104561.591 | 57607.064 | 144299.335 | 151506.822 | 97958.865 | 257625.087

## Reactive
Costs | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
AS-BM Default Utilisation (Mandatory - CVA) | 2021-04-01: 7.3589
AS-BM Utilisation (Mandatory - SVA) | 2021-04-01: 0.0083063
AS-BM Reactive Utilisation (Commercial) | 2021-04-01: 0
AS-BM Syncronous Compensation ( Commercial) | 2021-04-01: 0.096356
Power Potential ( Commercial) | 2021-04-01: 0
| 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
BM Default Utilisation (Mandatory - CVA) | 2021-04-01: 2503047.75
BM Reactive Utilisation (Commercial) | 2021-04-01: 0
BM Utilisation (Mandatory - SVA) | 2021-04-01: 2461.88
Power Potential (Commercial)
| 2505509.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
2505509.63
6.04

## Black Start
Costs | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
BM Black Start Availability (Commercial) | 2021-04-01: 3.3017
Interconnector Black Start Availability (Commercial) | 2021-04-01: 0.11028
BM Black Start Test (Commerical) | 2021-04-01: 0.10281
BM Black Start Capital Contributions (Commerical) | 2021-04-01: 0
BM Black Start Feasibility (Commercial) | 2021-04-01: 0
BM Black Start Warming (Commercial) | 2021-04-01: 0
BM Black Start Other (Commerical) | 2021-04-01: 0

## Other Reserves
Costs | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
BM Warming (Commercial) | 2021-04-01: 0.12867
BM Demand Turn Up (Commercial) | 2021-04-01: 0
BM Power Potential (Commercial) | 2021-04-01: 0
NBM Demand Turn Up (Commerical) | 2021-04-01: 0
BM GT Fast Start Availability (Commerial) | 2021-04-01: 0.29607
Hydro Rapid Start And GT Fast Start Utilisation (Commercial) | 2021-04-01: 0
Hydro Optional Spin Pump (Commercial) | 2021-04-01: 0.94646
| 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01
Hydro Optional Spin Pump availability (MWh) | 2021-04-01: 48159
Hydro Rapid Start And GT Fast Start utilisation (MWh) | 2021-04-01: 0
BM GT Fast Start Availability number of sites | 2021-04-01: 14
NBM Demand Turn Up utilisation (MWh)
BM Power Potential utilisation (MWh)
BM Demand Turn Up utilisation (MWh)
BM Warming instructions | 2021-04-01: 4

## Minor components
Costs | 2021-04-30 | 2021-05-31 | 2021-06-30 | 2021-07-31 | 2021-08-31 | 2021-09-30 | 2021-10-31 | 2021-11-30 | 2021-12-31 | 2022-01-31 | 2022-02-28 | 2022-03-31
BM - Minor Components | 2021-04-30: 2.527
SO-SO - Minor Components | 2021-04-30: 0
AS - Minor Components | 2021-04-30: 0
Non-Delivery & Reconciliation | 2021-04-30: -2.4885
Non Delivery | 2021-04-30: -1.0064
Reconcilliation | 2021-04-30: -1.4821
\