## Overall cost
Report Month | 2022-05-01 | 2022-05-31 | 2022-05-01 | Balancing Cost | Balancing Cost May 2022
Balancing Mechanism | Trades | Ancillary Services | SO-to-SO | Other | Total
117.9732 | 10.1605 | 83.7929 | 0 | -0.38163 | 211.5449

## Total categories
Cost £m | 2022-04-30 | 2022-05-31 | 2022-06-30 | 2022-07-31 | 2022-08-31 | 2022-09-30 | 2022-10-31 | 2022-11-30 | 2022-12-31 | 2023-01-31 | 2023-02-28 | 2023-03-31
Energy Imbalance | 2022-04-30: 2.6407; 2022-05-31: 7.0113
Operating Reserve | 2022-04-30: 30.393; 2022-05-31: 15.3347
STOR | 2022-04-30: 3.4113; 2022-05-31: 5.6966
Constraints | 2022-04-30: 71.7109; 2022-05-31: 91.304
Negative Reserve | 2022-04-30: 0.21197; 2022-05-31: 0.33182
Fast Reserve | 2022-04-30: 17.2325; 2022-05-31: 16.3648
Response | 2022-04-30: 25.3628; 2022-05-31: 31.0561
Other Reserve | 2022-04-30: 1.9277; 2022-05-31: 1.8329
Reactive | 2022-04-30: 21.4794; 2022-05-31: 26.8798
Black Start | 2022-04-30: 5.5294; 2022-05-31: 3.5992
Minor Components | 2022-04-30: 7.1517; 2022-05-31: 12.1338
Total | 187.0512 | 211.5449 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Volume MW | 2022-04-30 | 2022-05-31 | 2022-06-30 | 2022-07-31 | 2022-08-31 | 2022-09-30 | 2022-10-31 | 2022-11-30 | 2022-12-31 | 2023-01-31 | 2023-02-28 | 2023-03-31
Energy Imbalance | -23253.58 | -23014.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating Reserve | 346628.817 | 471766.737 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STOR (BM only) | 1077.671 | 2307.842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Constraints | 411370.311 | 771257.723 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Constraint Margin Replacement | 362357.625 | 752441.567 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Negative Reserve | -45126.591 | -12365.814 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fast Reserve (BM only) | 8824.328 | 14879.817 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Response (Absolute- BM only) | 178219.425 | 169073.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Minor Components | -222924.697 | -93429.896 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
Energy Imbalance | 2022-04-30: 7.0113
Operating Reserve | 2022-04-30: 15.3347
STOR | 2022-04-30: 5.6966
Constraints | 2022-04-30: 91.304
Negative Reserve | 2022-04-30: 0.33182
Fast Reserve | 2022-04-30: 16.3648
Response | 2022-04-30: 31.0561
Other Reserve | 2022-04-30: 1.8329
Reactive | 2022-04-30: 26.8798
Black Start | 2022-04-30: 3.5992
Minor Components | 2022-04-30: 12.1338

## Additional Total categories
Cost £m | 2022-04-30 | 2022-05-31 | 2022-06-30 | 2022-07-31 | 2022-08-31 | 2022-09-30 | 2022-10-31 | 2022-11-30 | 2022-12-31 | 2023-01-31 | 2023-02-28 | 2023-03-31
Energy Imbalance | 2022-04-30: 2.6407; 2022-05-31: 7.0113
Operating Reserve | 2022-04-30: 30.393; 2022-05-31: 15.3347
STOR | 2022-04-30: 3.4113; 2022-05-31: 5.6966
Constraints - E&W | 2022-04-30: 9.7526; 2022-05-31: 14.5689
Constraints - Cheviot | 2022-04-30: 8.7091; 2022-05-31: 7.8321
Constraints - Scotland | 2022-04-30: 23.4322; 2022-05-31: 39.7088
Constraints - Ancillary | 2022-04-30: 2.1975; 2022-05-31: 4.5221
ROCOF | 2022-04-30: 10.4976; 2022-05-31: 1.6395
Constrained Sterilised HR | 2022-04-30: 17.122; 2022-05-31: 23.0324
Negative Reserve | 2022-04-30: 0.21197; 2022-05-31: 0.33182
Fast Reserve | 2022-04-30: 17.2325; 2022-05-31: 16.3648
Response | 2022-04-30: 25.3628; 2022-05-31: 31.0561
Other Reserve | 2022-04-30: 1.9277; 2022-05-31: 1.8329
Reactive | 2022-04-30: 21.4794; 2022-05-31: 26.8798
Restoration | 2022-04-30: 5.5294; 2022-05-31: 3.5992
Minor Components | 2022-04-30: 7.1517; 2022-05-31: 12.1338
Total | 187.0512 | 211.5449 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## BM total
| 2022-04-30 | 2022-05-31 | 2022-06-30 | 2022-07-31 | 2022-08-31 | 2022-09-30 | 2022-10-31 | 2022-11-30 | 2022-12-31 | 2023-01-31 | 2023-02-28 | 2023-03-31
Cost £m | 2022-04-30 | 2022-05-31 | 2022-06-30 | 2022-07-31 | 2022-08-31 | 2022-09-30 | 2022-10-31 | 2022-11-30 | 2022-12-31 | 2023-01-31 | 2023-02-28 | 2023-03-31
BM - Energy balancing | 2022-04-30: 2.6407; 2022-05-31: 7.0113
BM - Operating Reserve | 2022-04-30: 23.0249; 2022-05-31: 5.9568
BM - STOR | 2022-04-30: 0.31595; 2022-05-31: 0.26179
BM - Constrained Margin | 2022-04-30: 4.6045; 2022-05-31: 4.7226
BM - Constraints E&W | 2022-04-30: 18.5842; 2022-05-31: 11.9357
BM - Constraints Cheviot | 2022-04-30: 14.2143; 2022-05-31: 10.7223
BM - Constraints Scotland | 2022-04-30: 33.9228; 2022-05-31: 58.6093
BM - Negative Reserve | 2022-04-30: 0.11718; 2022-05-31: 0.34115
BM - Fast Reserve | 2022-04-30: 0.99878; 2022-05-31: 0.94452
BM - Response | 2022-04-30: 4.3909; 2022-05-31: 5.4335
BM - Minor Components | 2022-04-30: 8.7925; 2022-05-31: 12.0342
Volume MW | 2022-04-30 | 2022-05-31 | 2022-06-30 | 2022-07-31 | 2022-08-31 | 2022-09-30 | 2022-10-31 | 2022-11-30 | 2022-12-31 | 2023-01-31 | 2023-02-28 | 2023-03-31
BM - Energy balancing | -23253.58 | -23014.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Operating Reserve | 172064.018 | 63167.333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - STOR | 1077.671 | 2307.842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constrained Margin | 158502.799 | 344151.404 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constraints E&W | 223178.163 | 254281.434 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constraints Cheviot | 44050.087 | 74682.484 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constraints Scotland | 144142.061 | 442293.805 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Negative Reserve | -8489.591 | -8644.814 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Fast Reserve | 8824.328 | 14879.817 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Response | 178219.425 | 169073.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Minor Components | -222924.697 | -93429.896 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## AS Total
Cost £m | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
AS - Response | 20.9719 | 25.6226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - Fast Reserves | 16.1665 | 15.4203 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - STOR | 3.0953 | 5.4348 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - Other Reserves | 1.9277 | 1.8329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - Black Start | 5.5294 | 3.5992 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - Reactive | 21.4794 | 26.8798 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - Constraints | 2.1975 | 4.5221 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - SO-SO Costs | 0.50007 | 0.48122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - Other Ancillary Cost | 0.00032523 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - Outstanding Liabilities | 0.06157 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost £m | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
AS Mandatory Service | 23.7566 | 28.9842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS Commercial Service | 30.8363 | 35.7668 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS Tendered Service | 17.2335 | 19.0419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS Miscellaneous Costs | 0.061895 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Graph Title
Ancillary Services Cost - May 2022
Note on B25: Cristian Ebau: Check the formatting for this diagram

## Trades
Volume MWh | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | Reporting Month
Buy Volume | 2022-04-01: 82739.5; 2022-05-01: 235718.5 | 243454.5
Sell Volume | 2022-04-01: 81604; 2022-05-01: 7736
Abs value | 164343.5 | 243454.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost £ million | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
Buy Cost | 2022-04-01: 6.5126; 2022-05-01: 14.2065
Sell Cost | 2022-04-01: -0.46515; 2022-05-01: -0.082322

## DSR
Cost £m | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
NBM - Frequency Response | 2.3562 | 2.0038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM - Short-term operating reserve (STOR) | 2.1282 | 2.7286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM - Fast Reserve | 8.916 | 8.3684 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost £m | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
AS - Non BM providers | 13.4005 | 13.1008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - BM providers | 45.7537 | 53.1425 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.09882
AS - SO-SO providers | 0.50007 | 0.48122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - Miscellaneous | 0.00032523 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Graph Title
AS Costs By Provider Type - May 2022

## SO2SO
| 2022-04-30 | 2022-05-31 | 2022-06-30 | 2022-07-31 | 2022-08-31 | 2022-09-30 | 2022-10-31 | 2022-11-30 | 2022-12-31 | 2023-01-31 | 2023-02-28 | 2023-03-31
Cost £m | 2022-04-30 | 2022-05-31 | 2022-06-30 | 2022-07-31 | 2022-08-31 | 2022-09-30 | 2022-10-31 | 2022-11-30 | 2022-12-31 | 2023-01-31 | 2023-02-28 | 2023-03-31
SO-SO Energy Trades | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO Margin | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO Constrained Margin | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO Footroom | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO Ramping | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO Invoked by External Parties | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO Constraints | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - SO-SO Interconnector Capability (Commercial) | 0.50007 | 0.48122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.50007 | 0.48122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
0.48122

## Energy Imbalance
Cost | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
Energy Imbalance | 2022-04-01: 2.6407; 2022-05-01: 7.0113
Volume MWh | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
Energy Imbalance | -23253.58 | -23014.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Operating Reserve
Cost | 2022-04-30 | 2022-05-31 | 2022-06-30 | 2022-07-31 | 2022-08-31 | 2022-09-30 | 2022-10-31 | 2022-11-30 | 2022-12-31 | 2023-01-31 | 2023-02-28 | 2023-03-31
BM - Operating Reserve | 2022-04-30: 23.0249; 2022-05-31: 5.9568
BM - Constrained Operating Reserve | 2022-04-30: 4.6045; 2022-05-31: 4.7226
Trade - Operating Reserve | 2022-04-30: 2.4541; 2022-05-31: 4.362
Trade - UTEV | 2022-04-30: 0; 2022-05-31: 0
Trade - Constrained Operating Reserve | 2022-04-30: 0.30946; 2022-05-31: 0.29324
SO-SO - Operating Reserve | 2022-04-30: 0; 2022-05-31: 0
SO-SO - Constrained Operating Reserve | 2022-04-30: 0; 2022-05-31: 0
Volume | 2022-04-30 | 2022-05-31 | 2022-06-30 | 2022-07-31 | 2022-08-31 | 2022-09-30 | 2022-10-31 | 2022-11-30 | 2022-12-31 | 2023-01-31 | 2023-02-28 | 2023-03-31
BM - Operating Reserve | 172064.018 | 63167.333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constrained Operating Reserve | 158502.799 | 344151.404 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Operating Reserve | 11745.5 | 43018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - UTEV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Constrained Operating Reserve | 4316.5 | 21430 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO - Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO - Constrained Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## STOR
| Costs | 2022-04-30 | 2022-05-31 | 2022-06-30 | 2022-07-31 | 2022-08-31 | 2022-09-30 | 2022-10-31 | 2022-11-30 | 2022-12-31 | 2023-01-31 | 2023-02-28 | 2023-03-31
| BM - STOR | 2022-04-30: 0.31595; 2022-05-31: 0.26179
| AS - BM STOR (Tendered) | 2022-04-30: 0.96711; 2022-05-31: 2.7062
| AS - NBM STOR availability (Tendered) | 2022-04-30: 1.9419; 2022-05-31: 2.7367
| AS - NBM STOR utilisation (Tendered) | 2022-04-30: 0.24796; 2022-05-31: 0
| AS - BM Season/Term Reconciliation (Tendered) | 2022-04-30: 0; 2022-05-31: 0
| AS - NBM Season/Term Reconciliation (Tendered) | 2022-04-30: -0.06157; 2022-05-31: -0.0081167
|  | 3.4113 | 5.6966 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1.2831 | 2.968 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2.1282 | 2.7286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MWh | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
| AS - NBM STOR utilisation (Tendered) | 2022-04-01: 697.583; 2022-05-01: 0
| AS - BM STOR utilisation (Tendered) | 2022-04-01: 0; 2022-05-01: 0
|  | 697.583 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
Total | 5.6966
BM | 2.968
Non-BM | 2.7286
Total Vol | 0

## Constraints
Costs | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
AS - BM Intertrip capability (Mandatory - CAP76) | 0.12194 | 0.126 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - BM Intertrip capability (Commercial) | 0.01247 | 0.012886 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - BM Intertrip Arming (Commercial) | 1.0303 | 2.9402 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - Interconnector Intertrip Arming (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - BM Intertrip - trip (Mandatory and Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - BM Constraints Voltage | 1.0328 | 1.4285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS - BM Constraints | 0 | 0.01453 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Costs (£m) | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
BM - Transmission | 51.0477 | 74.1352 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - Transmission | 0 | 2.6442 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Voltage | 5.2656 | 5.6124 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - Voltage | 2.7026 | 2.3008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - ROCOF | 10.408 | 1.5197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - ROCOF | 0.0896 | 0.56946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO - Constraints | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AS Costs | 2.1975 | 4.5221 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Absolute Volume MWh | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
BM - Transmission | 199100.991 | 574322.424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - Transmission | 0 | 40199 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Voltage | 66036.702 | 74334.229 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - Voltage | 44385.5 | 41389.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - ROCOF | 100036.491 | 30392.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - ROCOF | 1980 | 10620 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
AS Costs
Graph Title
Constraints - May 2022

## Negative Reserves
Costs | 2022-04-30 | 2022-05-31 | 2022-06-30 | 2022-07-31 | 2022-08-31 | 2022-09-30 | 2022-10-31 | 2022-11-30 | 2022-12-31 | 2023-01-31 | 2023-02-28 | 2023-03-31
BM - Negative reserve | 2022-04-30: 0.11718; 2022-05-31: 0.34115
Trade - Negative reserve | 2022-04-30: 0.094783; 2022-05-31: -0.0093283
SO-SO - Negative reserve | 2022-04-30: 0; 2022-05-31: 0
Volumes | 2022-04-30 | 2022-05-31 | 2022-06-30 | 2022-07-31 | 2022-08-31 | 2022-09-30 | 2022-10-31 | 2022-11-30 | 2022-12-31 | 2023-01-31 | 2023-02-28 | 2023-03-31
BM - Negative Reserve | -8489.591 | -8644.814 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Negative Reserve | -36637 | -3721 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO - Negative Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| -45126.591 | -12365.814 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
Volume | 2022-04-30: -12365.814

## Fast Reserve
Costs | 2022-04-30 | 2022-05-31 | 2022-06-30 | 2022-07-31 | 2022-08-31 | 2022-09-30 | 2022-10-31 | 2022-11-30 | 2022-12-31 | 2023-01-31 | 2023-02-28 | 2023-03-31
BM - Fast Reserves | 2022-04-30: 0.99878; 2022-05-31: 0.94452
Hydro Spin Gen No LF (Commercial) | 2022-04-30: 7.3177; 2022-05-31: 7.0518
BM Optional Fast Reserve (Commercial) | 2022-04-30: 0; 2022-05-31: 0
NBM Optional Fast Reserve Availability (Commercial) | 2022-04-30: 2.9583; 2022-05-31: 2.9709
NBM Optional Fast Reserve Utilisation (Commercial) | 2022-04-30: 5.9577; 2022-05-31: 5.3975
BM Firm Fast Reserve (Tendered) | 2022-04-30: 0; 2022-05-31: 0
NBM Firm Fast Reserve Avail + Nom (Tendered) | 2022-04-30: 0; 2022-05-31: 0
NBM Firm Fast Reserve Utilisation (Tendered) | 2022-04-30: 0; 2022-05-31: 0
Total BM | 8.3165 | 7.9964 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Non-BM | 8.916 | 8.3684 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Volume | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
AS - NBM Firm Fast Reserve availability + nomination (Tendered) | 2022-04-01: 0; 2022-05-01: 0
AS - BM Firm Fast Reserve availability (Tendered) | 2022-04-01: 0; 2022-05-01: 0
AS - BM Hydro Spin Gen No LF (Commercial) | 2022-04-01: 262557.31; 2022-05-01: 249316.04
Reporting Month
BM | 2022-04-01: 7.9964
Non-BM | 2022-04-01: 8.3684

## Response
Costs | 2022-04-30 | 2022-05-31 | 2022-06-30 | 2022-07-31 | 2022-08-31 | 2022-09-30 | 2022-10-31 | 2022-11-30 | 2022-12-31 | 2023-01-31 | 2023-02-28 | 2023-03-31
BM - Response | 4.3909 | 5.4335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Generator Response (Mandatory) | 2.1539 | 2.0914 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Generator Response (Commercial) | 0.024626 | 0.029842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Generator Response Energy (Mandatory) | 0.26822 | 0.12416 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Generator Response Energy (Commercial) | 0.037286 | 0.035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro Spin Gen with LF | 0.010757 | 0.019722 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro Pump deload | 0.00086108 | 0.029842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Enhanced Frequency Response (Commercial) | 0.6968 | 0.73605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interconnector Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Enhanced Frequency Response (Commercial) | 0.20667 | 0.21356 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Demand Side Response (Commerical) | 0.002752 | 0.035933 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stability | 3.9925 | 5.4845 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FFR Bridging/ FFR Auction/Dynamic Containment | 8.2881 | 11.5839 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM FFR (Tendered) | 2.8099 | 3.2256 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM FFR Response Energy (Tendered) | 0.33276 | 0.25873 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM FFR (Tendered) | 2.1468 | 1.7543 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2022-04-30: 2022-04-01; 2022-07-31: 2022-05-01; 2022-10-31: 2022-06-01; 2023-01-31: 2022-07-01 | 2022-08-01 |  |  | 2022-09-01 |  |  | 2022-10-01 |  |  | 2022-11-01 |  |  | 2022-12-01 |  |  | 2023-01-01 |  |  | 2023-02-01 |  |  | 2023-03-01
Holding volumes (MWh) | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H
BM Generator Response (Mandatory) | 2022-04-30: 183976.44; 2022-05-31: 109814.02; 2022-06-30: 308536.95; 2022-07-31: 186078.34; 2022-08-31: 112364.64; 2022-09-30: 308111.016
Hydro Spin Gen with LF | 2022-04-30: 0; 2022-05-31: 380.9; 2022-06-30: 0; 2022-07-31: 0; 2022-08-31: 697.34; 2022-09-30: 0
Hydro Pump deload | 2022-04-30: 33.99; 2022-05-31: 1133; 2022-07-31: 879.9; 2022-08-31: 1089.4 | [24 empty] | 0 | 380.9 | 0
BM Enhanced Frequency Response (Commercial)
Interconnector Response (Commercial) | [36 empty] | 0 | 0 | 688
NBM Enhanced Frequency Response (Commercial) | [36 empty] | 97521.6 | 250875.5 | 90785.5
NBM Demand Side Response (Commerical) | 2022-04-30: 0; 2022-05-31: 0; 2022-06-30: 688; 2022-07-31: 0; 2022-08-31: 0; 2022-09-30: 8933.333
Stability | [36 empty] | 33.99 | 1133
BM FFR (Tendered) | 2022-04-30: 159549.78; 2022-05-31: 159549.78; 2022-06-30: 159549.78; 2022-07-31: 163773.2; 2022-08-31: 163773.2; 2022-09-30: 163773.2
NBM FFR (Tendered) | 2022-04-30: 97521.6; 2022-05-31: 250875.5; 2022-06-30: 90785.5; 2022-07-31: 68014.8; 2022-08-31: 234598.13; 2022-09-30: 60842
| 441081.81 | 521753.2 | 559560.23 | 418746.24 | 512522.71 | 541659.549 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2022-04-30: 2022-04-01; 2022-07-31: 2022-05-01; 2022-10-31: 2022-06-01; 2023-01-31: 2022-07-01 | 2022-08-01 |  |  | 2022-09-01 |  |  | 2022-10-01 |  |  | 2022-11-01 |  |  | 2022-12-01 |  |  | 2023-01-01 |  |  | 2023-02-01 |  |  | 2023-03-01
Holding volumes (GWh) | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H
BM Generator Response (Mandatory) | 183.9764 | 109.814 | 308.5369 | 186.0783 | 112.3646 | 308.111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro Spin Gen with LF | 0 | 0.3809 | 0 | 0 | 0.69734 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro Pump deload | 0.03399 | 1.133 | 0 | 0.8799 | 1.0894 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Enhanced Frequency Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interconnector Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Enhanced Frequency Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Demand Side Response (Commerical) | 0 | 0 | 0.688 | 0 | 0 | 8.9333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stability | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM FFR (Tendered) | 159.5498 | 159.5498 | 159.5498 | 163.7732 | 163.7732 | 163.7732 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM FFR (Tendered) | 97.5216 | 250.8755 | 90.7855 | 68.0148 | 234.5981 | 60.842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 107661.718 | 66922.086 | 185466.537 | 150171.685 | 91998.91 | 233097.589 | 104561.591 | 57607.064 | 144299.335 | 151506.822 | 97958.865 | 257625.087

## Reactive
Costs | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
AS-BM Default Utilisation (Mandatory - CVA) | 2022-04-01: 21.3129; 2022-05-01: 26.7345
AS-BM Utilisation (Mandatory - SVA) | 2022-04-01: 0.021589; 2022-05-01: 0.034156
AS-BM Reactive Utilisation (Commercial) | 2022-04-01: 0; 2022-05-01: 0
AS-BM Syncronous Compensation ( Commercial) | 2022-04-01: 0.14488; 2022-05-01: 0.11115
Power Potential ( Commercial) | 2022-04-01: 0; 2022-05-01: 0
| 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
BM Default Utilisation (Mandatory - CVA) | 2022-04-01: 2788122.25; 2022-05-01: 2864785.42
BM Reactive Utilisation (Commercial) | 2022-04-01: 0; 2022-05-01: 0
BM Utilisation (Mandatory - SVA) | 2022-04-01: 2379.6152; 2022-05-01: 3116.14
Power Potential (Commercial)
| 2790501.8652 | 2867901.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
2867901.56
6.04

## Black Start
Costs | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
BM Restoration Availability (Commercial) | 2022-04-01: 3.3313; 2022-05-01: 3.4202
Interconnector Restoration Availability (Commercial) | 2022-04-01: 0.0486; 2022-05-01: 0.11374
BM Restoration Test (Commerical) | 2022-04-01: 0; 2022-05-01: 0
BM Restoration Capital Contributions (Commerical) | 2022-04-01: 2.1494; 2022-05-01: 0.065306
BM Restoration Feasibility (Commercial) | 2022-04-01: 0; 2022-05-01: 0
BM Restoration Warming (Commercial) | 2022-04-01: 0; 2022-05-01: 0
BM Restoration Other (Commerical) | 2022-04-01: 0; 2022-05-01: 0

## Other Reserves
| Costs | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
| BM Warming (Commercial) | 0.083 | 0.16448 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BM Demand Turn Up (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BM Power Potential (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NBM Demand Turn Up (Commerical) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BM GT Fast Start Availability (Commerial) | 0.33687 | 0.33509 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydro Rapid Start And GT Fast Start Utilisation (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydro Optional Spin Pump (Commercial) | 1.5078 | 1.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01
availability | Hydro Optional Spin Pump availability (MWh) | 2022-04-01: 70155.45; 2022-05-01: 59913.65
| Hydro Rapid Start And GT Fast Start utilisation (MWh) | 2022-04-01: 0; 2022-05-01: 0
sites | BM GT Fast Start Availability number of sites | 2022-04-01: 14; 2022-05-01: 13
NBM Demand Turn Up utilisation (MWh)
BM Power Potential utilisation (MWh)
BM Demand Turn Up utilisation (MWh)
instructions | BM Warming instructions | 2022-04-01: 2; 2022-05-01: 7

## Minor components
Costs | 2022-04-30 | 2022-05-31 | 2022-06-30 | 2022-07-31 | 2022-08-31 | 2022-09-30 | 2022-10-31 | 2022-11-30 | 2022-12-31 | 2023-01-31 | 2023-02-28 | 2023-03-31
BM - Minor Components | 2022-04-30: 8.7925; 2022-05-31: 12.0342
SO-SO - Minor Components | 2022-04-30: 0; 2022-05-31: 0
AS - Minor Components | 2022-04-30: 0.00032523; 2022-05-31: 0
Non-Delivery & Reconciliation | 2022-04-30: -2.1615; 2022-05-31: -0.38163
Non Delivery | -1.0914 | -1.0808 | -0.66376 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reconcilliation | -1.0701 | 0.69921 | 0.36142 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
\