## Front Sheet
Voltage 2026 Tender Results
Further information on the Voltage 2026 procurement and other Network Services Procurement (NSP) Programme can be found here
If you have any queries about the tender results please submit them to: box.voltage@nationalenergyso.com

## Main Table
Company Name | Solution Reference | Region | Service Start Date | Grid Entry Point | Reactive Absorption (Mvar) Capability at Connection Point | Effective Absorption Contribution (Mvar) | Technology Type | Stage 1 Mandatory Due Diligence Questions | Stage 1 Technical Assessment | Stage 2 Financial Health Assessment | Stage 3 Project Deliverability Assessment | Overall Outcome Following Stage 4 Economic Assessment
Balwen Limited | BalwenLimited-2026-N1 | North England | 2026-04-01 | Thornton 400 kV | 200 | 134 | BESS | Pass | Pass | Pass | Pass | Option Selected
Balwen Limited | BalwenLimited-2026-N2 | North England | 2026-04-01 | Thornton 400 kV | 150 | 100 | BESS | Pass | Pass | Pass | Pass | Option Not Selected
Balwen Limited | BalwenLimited-2026-N3 | North England | 2026-04-01 | Thornton 400 kV | 75 | 50 | BESS | Pass | Pass | Pass | Pass | Option Not Selected
Balwen Limited | BalwenLimited-2027-N1 | North England | 2026-04-01 | Thornton 400 kV | 200 | 134 | BESS | Pass | Pass | Pass | Pass | Option Not Selected
Balwen Limited | BalwenLimited-2027-N2 | North England | 2026-04-01 | Thornton 400 kV | 150 | 100 | BESS | Pass | Pass | Pass | Pass | Option Not Selected
Balwen Limited | BalwenLimited-2027-N3 | North England | 2026-04-01 | Thornton 400 kV | 75 | 50 | BESS | Pass | Pass | Pass | Pass | Option Not Selected
Conrad Energy (Developments) II Limited | Conrad Energy-2027-N1 | North England | 2027-01-10 | Neepsend 275 kV | 150 | 110 | Shunt Reactor | Pass | Pass | Pass | Pass | Option Not Selected
Conrad Energy (Developments) II Limited | Conrad Energy-2027-N2 | North England | 2027-01-10 | Neepsend 275 kV | 300 | 219 | Shunt Reactor | Pass | Pass | Pass | Pass | Option Not Selected
Conrad Energy (Developments) II Limited | Conrad Energy-2027-N3 | North England | 2027-01-10 | Neepsend 275 kV | 137 | 100 | Shunt Reactor | Pass | Pass | Pass | Pass | Option Not Selected
Conrad Energy (Developments) II Limited | Conrad Energy-2027-N4 | North England | 2027-01-10 | Neepsend 275 kV | 274 | 200 | Shunt Reactor | Pass | Pass | Pass | Pass | Option Not Selected
Conrad Energy (Developments) II Limited | Conrad Energy-2027-N5 | North England | 2027-01-10 | Neepsend 275 kV | 92 | 67 | Shunt Reactor | Pass | Pass | Pass | Pass | Option Not Selected
Conrad Energy (Developments) II Limited | Conrad Energy-2027-N6 | North England | 2027-01-10 | Neepsend 275 kV | 184 | 134 | Shunt Reactor | Pass | Pass | Pass | Pass | Option Not Selected
EDF Energy Renewables Limited | Pivot-2026-N1 | London | 2026-04-01 | Bredbury 275 kV | 16.4 | 8.53 | BESS | Pass | Pass | Pass | Pass | Option Not Selected
EDF Energy Renewables Limited | Longfield-L1 | London | 2028-09-30 | Bulls Lodge 400 kV | 165 | 123.75 | PV + BESS | Pass | Fail | Pass | Pass | Option not considered due to failure in previous stages.
EDF Energy Renewables Limited | Longfield-L2 | London | 2028-09-30 | Bulls Lodge 400 kV | 110 | 82.5 | PV + BESS | Pass | Fail | Pass | Pass | Option not considered due to failure in previous stages.
EDF Energy Renewables Limited | Longfield-L3 | London | 2028-05-31 | Bulls Lodge 400 kV | 55 | 41.25 | PV + BESS | Pass | Fail | Pass | Pass | Option not considered due to failure in previous stages.
EDF Energy Renewables Limited | Pivot-L4 | London | 2026-04-01 | Kemsley 400 kV | 16.4 | 11.97 | BESS | Pass | Pass | Pass | Pass | Option Not Selected
EP Eggborough New Energy Developments Limited | EP_EGGBOROUGH_NEW_ENERGY_DEVELOPMENTS_LIMITED-2026-N1 | North England | 2027-01-01 | Eggborough 400 kV | 95 | 95 | BESS | Pass | Pass | Pass | Pass | Option Not Selected
EP Eggborough New Energy Developments Limited | EP_EGGBOROUGH_NEW_ENERGY_DEVELOPMENTS_LIMITED-2027-N1 | North England | 2027-04-01 | Eggborough 400 kV | 95 | 95 | BESS | Pass | Pass | Pass | Pass | Option Not Selected
Green Frog (Livesey) Limited | Green Frog Power (Livesey) Limited 2027-N1 | North England | 2027-12-01 | Neepsend 275 kV | 316 | 230 | Reactor | Pass | Pass | Pass | Pass | Option Not Selected
NZED PROJECTCO 5 Limited | NZED-PROJECTCO-5-limited-2026-N1 | North England | 2027-11-30 | Neepsend 275 kV | 150 | 109.5 | Reactor | Pass | Pass | Pass | Pass | Option Not Selected
NZED PROJECTCO 5 Limited | NZED-PROJECTCO-5-limited-2026-N2 | North England | 2027-11-30 | Neepsend 275 kV | 300 | 219 | Reactor | Pass | Pass | Pass | Pass | Option Not Selected
NZED PROJECTCO 5 Limited | NZED-PROJECTCO-5-limited-2027-N1 | North England | 2027-11-30 | Neepsend 275 kV | 150 | 109.5 | Reactor | Pass | Pass | Pass | Pass | Option Not Selected
NZED PROJECTCO 5 Limited | NZED-PROJECTCO-5-limited-2027-N2 | North England | 2027-11-30 | Neepsend 275 kV | 300 | 219 | Reactor | Pass | Pass | Pass | Pass | Option Selected
Pulse Clean Energy UK Limited | Pulse-2026-N1 | North England | 2027-10-01 | Neepsend 275 kV | 274 | 200 | Variable Shunt Reactor | Pass | Pass | Pass | Pass | Option Not Selected
Pulse Clean Energy UK Limited | Pulse-2026-N2 | North England | 2027-10-01 | Neepsend 275 kV | 322 | 235 | Variable Shunt Reactor | Pass | Pass | Pass | Pass | Option Not Selected
Pulse Clean Energy UK Limited | Pulse-2026-N3 | North England | 2027-10-01 | Neepsend 275 kV | 322 | 235 | Variable Shunt Reactor | Pass | Pass | Pass | Pass | Option Not Selected
Pulse Clean Energy UK Limited | Pulse-2027-N1 | North England | 2028-03-01 | Eggborough 400 kV | 165 | 165 | Variable Shunt Reactor | Pass | Fail | Pass | Pass | Option not considered due to failure in previous stages.
Pulse Clean Energy UK Limited | Pulse-2027-N2 | North England | 2028-03-01 | Eggborough 400 kV | 200 | 200 | Variable Shunt Reactor | Pass | Fail | Pass | Pass | Option not considered due to failure in previous stages.
Pulse Clean Energy UK Limited | Pulse-2027-N3 | North England | 2028-03-01 | Eggborough 400 kV | 200 | 200 | Variable Shunt Reactor | Pass | Fail | Pass | Pass | Option not considered due to failure in previous stages.
Pulse Clean Energy UK Limited | Pulse-L1 | London | 2028-03-01 | Tilbury 400 kV | 200 | 200 | Variable Shunt Reactor | Pass | Fail | Pass | Pass | Option not considered due to failure in previous stages.
Pulse Clean Energy UK Limited | Pulse-L2 | London | 2028-03-01 | Tilbury 400 kV | 200 | 200 | Variable Shunt Reactor | Pass | Fail | Pass | Pass | Option not considered due to failure in previous stages.
Pulse Clean Energy UK Limited | Pulse-L3 | London | 2028-03-01 | Warley 275 kV | 253 | 200 | Variable Shunt Reactor | Pass | Fail | Pass | Pass | Option not considered due to failure in previous stages.
Pulse Clean Energy UK Limited | Pulse-L4 | London | 2028-03-01 | Warley 275 kV | 253 | 200 | Variable Shunt Reactor | Pass | Fail | Pass | Pass | Option not considered due to failure in previous stages.
SSE Battery Monk Fryston Limited | SSE_Battery_Monk_Fryston_Limited-2026-N1 | North England | 2027-03-31 | Monk Fryston 275 kV | 105 | 93.5 | BESS | Pass | Pass | Pass | Pass | Option Selected
SSE Battery Monk Fryston Limited | SSE_Battery_Monk_Fryston_Limited-2027-N1 | North England | 2027-04-01 | Monk Fryston 275 kV | 105 | 93.5 | BESS | Pass | Pass | Pass | Pass | Option Not Selected
Statera Energy Limited | ThurrockStorageLimited-L1 | London | 2025-10-01 | Tilbury 275 kV | 79.33 | 66.6 | BESS | Pass | Pass | Pass | Pass | Option Not Selected
Statera Energy Limited | ThurrockStorageLimited-L2 | London | 2025-10-01 | Tilbury 275 kV | 158.66 | 133.2 | BESS | Pass | Pass | Pass | Pass | Option Not Selected
Statera Energy Limited | ThurrockStorageLimited-L3 | London | 2025-10-01 | Tilbury 275 kV | 238 | 199.9 | BESS | Pass | Pass | Pass | Pass | Option Selected
TagEnergy UK Limited | Tagenergy UK Ltd-2026-N1 | North England | 2026-03-31 | Drax 132 kV | 32.8 | 26.9 | BESS - Grid Forming Inverter | Pass | Fail | Pass | Pass | Option not considered due to failure in previous stages.
TagEnergy UK Limited | Tagenergy UK Ltd-2027-N1 | North England | 2026-03-31 | Drax 132 kV | 32.8 | 26.9 | BESS - Grid Forming Inverter | Pass | Fail | Pass | Pass | Option not considered due to failure in previous stages.