## 12B High Risk Dem Reduc
Schedule 12B
HIGH RISK OF DEMAND REDUCTIONS
Network Operator: |  |  | GRID CODE: OC 6.5.3
Year:
Good question re the year do we want thi son all the post CIM schedules?
Tranche | Percentage Voltage Reduction (if VR)or Percentage Demand Reduction (if DD) | Voltage Reduction or Demand Disconnection |  | Conflicts with the existing Schedule 12 and 12A - need a new number
(For Tranches 1 & 2, Please, delete "VR" or "DD" as applicable)
1 |  | VR/DD
2 |  | VR/DD
3 |  | DD
4 |  | DD
5 |  | DD
Complete either | two voltage reduction stages each of 2 - 4%voltage reduction and up to three demand disconnection stages each of 4-6% demand reduction
or | four demand disconnection stages each of 4-6% demand reduction
Required Data
Note on E4: OC6.5.3 (a) Whether a National Electricity Transmission System Warning - High Risk of Demand Reduction or National Electricity Transmission System Warning - Demand Control Imminent has been issued or not: (i) provided the instruction relates to not more than 20 per cent of its total Demand (measured at the time the Demand reduction is required); and (ii) if the instruction relates to less than 20 per cent of its total Demand, is in • two voltage reduction stages of between 2 and 4 percent, each of which can be expected to deliver around 1.5 percent Demand reduction; and • up to three Demand Disconnection stages, each of which can reasonably be expected to deliver between four and six percent Demand reduction, each Network Operator will abide by the instructions of NGET, which should specify whether a voltage reduction or Demand Disconnection stage is required; or (iii) if the instruction relates to less than 20 per cent of its total Demand, is in four Demand Disconnection stages each of which can reasonably be expected to deliver between four and six per cent Demand reduction, each Network Operator will abide by the instructions of NGET with regard to Demand reduction under OC6.5 without delay. (b) The Demand reduction must be achieved within the Network Operator's System as far as possible uniformly across all Grid Supply Points (unless otherwise specified in the National Electricity Transmission System Warning - High Risk of Demand Reduction) either by Customer voltage reduction or by Demand Disconnection; (c) Demand Control initiated by voltage reduction shall be initiated as soon as possible but in any event no longer than two minutes from the instruction being received from NGET, and completed within 10 minutes of the instruction being received from NGET. (d) Demand Control initiated by Demand Disconnection shall be initiated as soon as possible but in any event no longer than two minutes from the instruction being received from NGET, and completed within five minutes of the instruction being received from NGET. (e) Each Network Operator must notify NGET in writing by calendar week 24 each year, for the succeeding Financial Year onwards, whether Demand Control is to be implemented either: i) by a combination of voltage reduction and Demand Disconnection; or ii) Demand Disconnection alone; together with the magnitude of the voltage reduction stages (where applicable) and for Demand Disconnection stages, the demand reduction anticipated. Thereafter, any changes must be notified in writing to NGET at least 10 Business Days prior to the change coming into effect.

## Notes
STILL TO BE REVISED
CONNECTION POINT DATA | Schedule 11

## Revision notes
Changes from previous version
Reference to "pre fault" demand transfer removed. Instead, called this just eg: Maintenance Period Single Line diagram
Removed financial year 0 (no requirement in the Grid Code to provide out-turn data)
Added rows for due allowance in Maintenance Period sheet
Added brackets for sections to be repeated
Lumped susceptance removed (to be added to Schedule 5 instead)
Added date & time rows for Connection Point peak (not currently a Grid Code requirement)
Revised to the requirement of the 4th External working group meeting
07/08/07 Changed 'Maintenance' period to 'Access' period
16/05/2016 Deleted "SPD" spurious label throughout
2018-04-23 | Pages "Other time specified", "Basic Data Sheet" and "Example Access Period" hidden to simplify form appearance
Comments regarding Financial Year 1 added to all tables

## Proposed Definitions
Propposed Definitions |  |  | Schedule 11
| Group Demand | Aggregate import to Embedded Customers’ sites other than to those where the primary purpose is wholly or mainly that of an Embedded Generator. When establishing the primary purpose the Network Operator will consider factors including: • the maximum export capacity relative to the maximum import capacity; • whether the Customer has a generation licence or licence exemption; and • whether the Customer’s site is categorised as having a demand connection or generation connection as defined in DCUSA Schedule 22. When estimating the Group Demand the Network Operator should, where necessary, take into consideration Latent Demand.
| Measured Demand | Demand measured at the relevant Connection Point. Sometimes referred to as the net demand.
| Gross Demand | The sum of the Group Demand and Embedded Generation Import
| Latent Demand | An increase in Group Demand that would appear: • If any demand side response was not operating; • If any Suppliers’ time of use tariffs were not implemented; • If any Network Operator or The Company’s price signals were not implemented; • If any other means of suppressing the Embedded Customer’s demand were not operating; or in the event of Cold Load Pickup.
| Embedded Generation Import | Import to an Embedded Customer’s site where the primary purpose is wholly or mainly that of an Embedded Generator. When establishing the primary purpose, the Network Operator will consider factors including: • the maximum export capacity relative to the maximum import capacity; • whether the Embedded Customer has a generation licence or licence exemption; and whether the Embedded Customer’s site is categorised as having a demand connection or generation connection as defined in DCUSA Schedule 22.
| Embedded Generation Export | Export from an Embedded Customer’s site.
| Energy Source | Any of the sources of energy listed in PC.G.8 used in the production of electricity.
| Aggregated Energy Source | The aggregation of Energy Source types as defined in PC.G.8.2

## 27a Dem Profile User Peak
Schedule 27a
Network Operator: | [11 empty] | PC.9.3.3.10
Demand Profile for Day of Network Operator's Peak Demand based on Annual ACS conditions
Day of Network Operator's peak
Date of Network Operator's Peak
|  |  | F.Yr | F.Yr | F.Yr. | F.Yr. | F.Yr. | F.Yr | F.Yr | F.Yr | F.Yr | F.Yr |  | Needs a post CIM number and
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
This is slightly different to the existing GC profomra
Demand Period
| From: | To: | 1: Active Power (MW)
| 0:00 | 0:30
| 0:30 | 1:00 | [11 empty] | Active Power not Power level
| 1:00 | 1:30
| 1:30 | 2:00
| 2:00 | 2:30 | [11 empty] | Prob need to refer to the Measured Demand. NGET may use this to determine the Tx short time ratings - and this provides forecast profile. It would be good if TOs didn't get this information from DNOs - their own operational metering. These are existing tables. Are they required.
| 2:30 | 3:00
| 3:00 | 3:30
| 3:30 | 4:00
| 4:00 | 4:30
| 4:30 | 5:00
| 5:00 | 5:30
| 5:30 | 6:00
| 6:00 | 6:30
| 6:30 | 7:00
| 7:00 | 7:30
| 7:30 | 8:00
| 8:00 | 8:30
| 8:30 | 9:00
| 9:00 | 9:30
| 9:30 | 10:00
| 10:00 | 10:30
| 10:30 | 11:00
| 11:00 | 11:30
| 11:30 | 12:00
| 12:00 | 12:30
| 12:30 | 13:00
| 13:00 | 13:30
| 13:30 | 14:00
| 14:00 | 14:30
| 14:30 | 15:00
| 15:00 | 15:30
| 15:30 | 16:00
| 16:00 | 16:30
| 16:30 | 17:00
| 17:00 | 17:30
| 17:30 | 18:00
| 18:00 | 18:30
| 18:30 | 19:00
| 19:00 | 19:30
| 19:30 | 20:00
| 20:00 | 20:30
| 20:30 | 21:00
| 21:00 | 21:30
| 21:30 | 22:00
| 22:00 | 22:30
| 22:30 | 23:00
| 23:00 | 23:30
| 23:30 | 24:00
Additional information required about the Half Hour of Network Operator's Peak Demand
Generation Netted Out
Required Data
Note on E7: F.Yr 1 - current financial year.

## 27b Dem Profile NETS Peak
Schedule 27b
Network Operator: | [14 empty] | PC.9.3.3.11
Demand Profile for Day of the GB Transmission System Peak Demand based on Annual ACS conditions
Date of GB Transmission System Peak
[5 empty] | Outturn | F.Yr | F.Yr | F.Yr. | F.Yr. | F.Yr. | F.Yr | F.Yr | F.Yr | F.Yr | F.Yr | Needs a post CIM number and
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
This is slightly different to the existing GC profomra
| Demand Period |  |  | Actual | ACS Corrected
| From: | To: |  | Active Power (MW)
| 0:00 | 0:30
| 0:30 | 1:00
| 1:00 | 1:30
| 1:30 | 2:00
| 2:00 | 2:30
| 2:30 | 3:00
| 3:00 | 3:30
| 3:30 | 4:00
| 4:00 | 4:30
| 4:30 | 5:00
| 5:00 | 5:30
| 5:30 | 6:00
| 6:00 | 6:30
| 6:30 | 7:00
| 7:00 | 7:30
| 7:30 | 8:00
| 8:00 | 8:30
| 8:30 | 9:00
| 9:00 | 9:30
| 9:30 | 10:00
| 10:00 | 10:30
| 10:30 | 11:00
| 11:00 | 11:30
| 11:30 | 12:00
| 12:00 | 12:30
| 12:30 | 13:00
| 13:00 | 13:30
| 13:30 | 14:00
| 14:00 | 14:30
| 14:30 | 15:00
| 15:00 | 15:30
| 15:30 | 16:00
| 16:00 | 16:30
| 16:30 | 17:00 | [13 empty] | The User needs to identify the peak - this is only an example?
| 17:00 | 17:30 | Peak
| 17:30 | 18:00
| 18:00 | 18:30
| 18:30 | 19:00
| 19:00 | 19:30
| 19:30 | 20:00
| 20:00 | 20:30
| 20:30 | 21:00
| 21:00 | 21:30
| 21:30 | 22:00
| 22:00 | 22:30
| 22:30 | 23:00
| 23:00 | 23:30
| 23:30 | 24:00
Additional information required about the Half Hour of the GB Transmission System Peak Demand
Generation Netted Out
Required Data
Note on H7: F.Yr 1 - current financial year.

## 27c Dem Profile NETS Min
Schedule 27c
Network Operator: | [13 empty] | PC.9.3.3.12
Demand Profile for Day of GB Transmission System Minimum Demand based on Annual Average conditions
Date of GB Transmission System Minimum
|  |  |  | Outturn | F.Yr | F.Yr | F.Yr. | F.Yr. | F.Yr. | F.Yr | F.Yr | F.Yr | F.Yr | F.Yr | Needs a post CIM number and
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
This is slightly different to the existing GC profomra
Demand Period
| From: | To: |  |  | 1: Active Power (MW)
| 0:00 | 0:30
| 0:30 | 1:00
| 1:00 | 1:30
| 1:30 | 2:00
| 2:00 | 2:30
| 2:30 | 3:00
| 3:00 | 3:30
| 3:30 | 4:00
| 4:00 | 4:30
| 4:30 | 5:00
| 5:00 | 5:30 | Min.
| 5:30 | 6:00
| 6:00 | 6:30
| 6:30 | 7:00
| 7:00 | 7:30
| 7:30 | 8:00
| 8:00 | 8:30
| 8:30 | 9:00
| 9:00 | 9:30
| 9:30 | 10:00
| 10:00 | 10:30
| 10:30 | 11:00
| 11:00 | 11:30
| 11:30 | 12:00
| 12:00 | 12:30
| 12:30 | 13:00
| 13:00 | 13:30
| 13:30 | 14:00
| 14:00 | 14:30
| 14:30 | 15:00
| 15:00 | 15:30
| 15:30 | 16:00
| 16:00 | 16:30
| 16:30 | 17:00
| 17:00 | 17:30
| 17:30 | 18:00
| 18:00 | 18:30
| 18:30 | 19:00
| 19:00 | 19:30
| 19:30 | 20:00
| 20:00 | 20:30
| 20:30 | 21:00
| 21:00 | 21:30
| 21:30 | 22:00
| 22:00 | 22:30
| 22:30 | 23:00
| 23:00 | 23:30
| 23:30 | 24:00
Additional information required about the Half Hour of the GB Transmission System Peak Demand
Generation Netted Out
Required Data
Note on F7: F.Yr 1 - current financial year.

## 28 User's Total System Active
Schedule 28
| User’s Total System Active Energy Data |  |  | PC.9.3.3.13
USER:
User's Active Energy Requirements by Customer Class
|  | Outturn | Weather Corrected
Financial Year
LV1 |  |  |  | 3.3.13
LV2 |  |  |  | 3.3.13
LV3 |  |  |  | 3.3.13
HV |  |  |  | 3.3.13
EHV |  |  |  | 3.3.13
Traction |  |  |  | 3.3.13
Public Lighting ( - inc in LV3) |  |  |  | 3.3.13
Total Customer Requirements
User System Losses |  |  |  | 3.3.13
Total User Requirements
Energy from Embedded Generating Plant under 100MW |  |  |  | 3.3.13
Required Data

## 29a Auto Low Freq Disconn
Schedule 29a
AUTOMATIC LOW FREQUENCY DISCONNECTION:
GRID CODE: OC.6.6.2
Network Operator:
Year: | [12 empty] | Good question re the year do we want thi son all the post CIM schedules?
[7 empty] | Auto Frequency Block (MW) |  |  |  |  | Residual | Conflicts with the existing Schedule 12 and 12A - need a new number
Connection Point | Notes | Peak | 48.8Hz | 48.75Hz | 48.7Hz | 48.6Hz | 48.5Hz | 48.4Hz | 48.2Hz | 48.0Hz | 47.8Hz | Demand
|  | (MW) | Block 1 | Block 2 | Block 3 | Block 4 | Block 5 | Block 6 | Block 7 | Block 8 | Block 9 | (MW)
Demand disconnected | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
per Block | %
Total Demand Disconnected : |  | 0 | Block 1: MW (; Block 2: 0; Block 3: % of aggregate peak demand of; Block 7: 0; Block 8: MW )
Notes: 1. | The 'Peak MW' is the net MW at GB Transmission System peak
Required Data

## 29b High Risk Demaand Red
Schedule 29b
HIGH RISK OF DEMAND REDUCTIONS
Network Operator: |  | GRID CODE: OC 6.5.3
Year
Tranche | Percentage Voltage Reduction (if VR) or Percentage Demand Reduction (if DD) | Voltage Reduction or Demand Disconnection |  | Conflicts with the existing Schedule 12 and 12A - need a new number
(For Tranches 1 & 2 please delete "VR" or "DD" as applicable)
1 |  | VR/DD
2 |  | VR/DD
3 |  | DD
4 |  | DD
5 |  | DD
Complete either | Two voltage reduction stages each of 2-4% voltage reduction and up to three demand disconnection stages each of 4-6% demand reduction
or | Four demand disconnection stages each of 4-6% demand reduction
Required Data
Note on D4: OC6.5.3 (a) Whether a National Electricity Transmission System Warning - High Risk of Demand Reduction or National Electricity Transmission System Warning - Demand Control Imminent has been issued or not: (i) provided the instruction relates to not more than 20 per cent of its total Demand (measured at the time the Demand reduction is required); and (ii) if the instruction relates to less than 20 per cent of its total Demand, is in • two voltage reduction stages of between 2 and 4 percent, each of which can be expected to deliver around 1.5 percent Demand reduction; and • up to three Demand Disconnection stages, each of which can reasonably be expected to deliver between four and six percent Demand reduction, each Network Operator will abide by the instructions of NGET, which should specify whether a voltage reduction or Demand Disconnection stage is required; or (iii) if the instruction relates to less than 20 per cent of its total Demand, is in four Demand Disconnection stages each of which can reasonably be expected to deliver between four and six per cent Demand reduction, each Network Operator will abide by the instructions of NGET with regard to Demand reduction under OC6.5 without delay. (b) The Demand reduction must be achieved within the Network Operator's System as far as possible uniformly across all Grid Supply Points (unless otherwise specified in the National Electricity Transmission System Warning - High Risk of Demand Reduction) either by Customer voltage reduction or by Demand Disconnection; (c) Demand Control initiated by voltage reduction shall be initiated as soon as possible but in any event no longer than two minutes from the instruction being received from NGET, and completed within 10 minutes of the instruction being received from NGET. (d) Demand Control initiated by Demand Disconnection shall be initiated as soon as possible but in any event no longer than two minutes from the instruction being received from NGET, and completed within five minutes of the instruction being received from NGET. (e) Each Network Operator must notify NGET in writing by calendar week 24 each year, for the succeeding Financial Year onwards, whether Demand Control is to be implemented either: i) by a combination of voltage reduction and Demand Disconnection; or ii) Demand Disconnection alone; together with the magnitude of the voltage reduction stages (where applicable) and for Demand Disconnection stages, the demand reduction anticipated. Thereafter, any changes must be notified in writing to NGET at least 10 Business Days prior to the change coming into effect.

## 29c Emerg Man Dem Disconn
Schedule 29c
EMERGENCY MANUAL DEMAND DISCONNECTION
Network Operator: | [6 empty] | GRID CODE: OC6.7.2
Year
Grid Supply Point | Peak | Notes | Cumulative demand disconnection : % after
| (MW) |  | 5 min | 10 min | 15 min | 20 min | 25 min | 30 min
Conflicts with the existing Schedule 12 and 12A - need a new number
As an aside this net value doesn’t form part of the post CIM submission
Notes: 1. | The 'Peak MW' is the net MW at the Connection Point peak demand
Required Data

## 21a Wk 28 GB Peak
To be completed as part of Week 28 data submission | [13 empty] | Schedule 21a
Network Operator:
Connection Point: | [7 empty] | Access Group:
Time of GB National Electricity Transmission System (NETS) Peak Demand
DATA DESCRIPTION |  | Outturn | Weather Corrected Outturn | F.Yr | F.Yr | F.Yr. | F.Yr. | F.Yr. | F.Yr | F.Yr | F.Yr | F.Yr | F.Yr | DATA CAT
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Date of GB Transmission System Peak Demand (provided by NESO) | [13 empty] | PC.9.3.3.4
Time of GB Transmission System Peak Demand (provided by NESO)
Connection Point Group Demand at time of GB Transmission System Peak (MW) |  |  |  | 1: Note 2
Connection Point Group Demand at time of GB Transmission System Peak (MVAr) |  |  |  | 1: Note 2
Embedded Power Station Export | Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source 1 |  |  | 1: Note 2 |  | May be repeated if necessary to include each applicable Energy Source (Including Electricity Storage)
| Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source 2 |  |  | 1: Note 2
| Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source n |  |  | 1: Note 2
| Output from Power Stations and Customer Generating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source 1 |  |  | 1: Note 2
| Output from Power Stations and Customer Generating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source 2 |  |  | 1: Note 2
| Output from Power Stations and Customer Generating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source n |  |  | 1: Note 2
Increase in the Group Demand associated with Latent Demand |  |  |  | 1: Note 3
Import to Subtransmission connected Electricity Storage Plant (MW) |  |  |  | 1: Note 3
Import to Electricity Storage Plant connected below below the Subtransmission voltage (MW) |  |  |  | 1: Note 3
Provided by NESO
Required data
Optional data as this will be the demand data set included in the Solved PSM
Not required
Note 1 | Output from Power Stations relates to observed values for outturn and estimates for financial years 1 to 10.
Note 2 | These forecasts may be able made using the same methodology as at present - but this is not necessarily the case depending on the Network Opertors's current treatment of Electricity Storage Import. The Network Operator needs to clarify their assumptions.
Note 3 | These values may be populated in due course following clarification of industry requirements. At the present there is no requirement forecast the effect of DSR.
Note on E10: F.Yr 1 - current financial year.

## 21b Wk 28 Conn Pt Pk
To be completed as part of Week 28 data submission | [13 empty] | Schedule 21b
Network Operator:
Connection Point: | [7 empty] | Access Group:
Time of Connection Point Peak Group Demand | [15 empty] | Delete Group
DATA DESCRIPTION |  | Outturn | Weather Corrected Outturn | F.Yr | F.Yr | F.Yr. | F.Yr. | F.Yr. | F.Yr | F.Yr | F.Yr | F.Yr | F.Yr | DATA CAT
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Date of Connection Point Peak Group Demand | [13 empty] | PC.9.3.3.5
Time of Connection Point Peak Group Demand
Connection Point Peak Group Demand (MW) |  |  |  | 1: Note 2
Connection Point Peak Group Demand (MVAr) |  |  |  | 1: Note 2
Embedded Generation Export | Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source 1 |  |  | 1: Note 2 |  | May be repeated if necessary to include each applicable Energy Source (Including Electricity Storage)
| Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source 2 |  |  | 1: Note 2
| Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source n |  |  | 1: Note 2
| Output from Power Stations and Customer Generating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source 1 |  |  | 1: Note 2
| Output from Power Stations and Customer Geerating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source 2 |  |  | 1: Note 2
| Output from Power Stations and Customer Geerating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source n |  |  | 1: Note 2
Increase in the Group Demand associated with Latent Demand |  |  |  | 1: Note 3
Import to Subtransmission connected Electricity Storage Plant (MW) |  |  |  | 1: Note 3
Import to Electricity Storage Plant connected below below the Subtransmission voltage (MW) |  |  |  | 1: Note 3
Reference to post-fault operational configuration in the PSM Scenario Document | [13 empty] | PC.G.5.1.3.1 | May be repeated if necessary to identify each post-fault action.
Reference to Outage Running arrangements associated with the operational configuration in the PSM Scenario Document |  |  |  | 1: This information shall be provided in the PSM Scenario Document
Reference to the description of the actions and timescales involved in effecting the post-fault actions (e.g. auto-switching, manual, teleswitching, overload protection operation etc) associated with the operational configuration in the PSM Scenario Document
Associated Connection Point within the same Access Group: | [13 empty] | PC.9.3.3.5 | Repeat for each Connection Point within the same Access Group | bar: 4 to 10
Group Demand at associated Connection Point at time of 'parent' Connection Point Peak Group Demand (MW)
Group Demand at associated Connection Point at time of 'parent' Connection Point Peak Group Demand (MVAr)
Embedded Power Station Export | Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source 1 |  |  | 1: Note 4
| Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source 2 |  |  | 1: Note 4
| Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source n |  |  | 1: Note 4
| Output from Power Stations and Customer Generating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source 1 |  |  | 1: Note 4
| Output from Power Stations and Customer Geerating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source 2 |  |  | 1: Note 4
| Output from Power Stations and Customer Geerating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source n |  |  | 1: Note 4
Increase in the Group Demand associated with Latent Demand |  |  |  | 1: Note 3
Import to Subtransmission connected Electricity Storage Plant (MW) |  |  |  | 1: Note 3
Import to Electricity Storage Plant connected below below the subtransmission voltage (MW) |  |  |  | 1: Note 3
Required data
Not required
Detailed information shall be provided in the PSM Scenario Document. A summary may be provided here.
Note 1 | Output from Power Stations relates to observed values for outturn outturn and estimates for financial years 1 to 10.
Note 2 | These forecasts may be able made using the same methodology as at present - but this is not necessarily the case depending on the Network Opertors's current treatment of Electricity Storage Import. The Network Operator needs to clarify their assumptions.
Note 3 | These values may be populated in due course following clarification of industry requirements. At the present there is no requirement forecast the effect of DSR.
Note 4 | These forecasts could be made using the same methodology as at present.
Note 5 | These values may be populated in due course following clarification of industry requirements. At the present there is no requirement forecast the effect of DSR.
Note on E10: F.Yr 1 - current financial year.

## 21c Wk 2 GB Min
To be completed as part of Week 2 data submission | [13 empty] | Schedule 21c
Network Operator:
Connection Point: | [7 empty] | Access Group:
Time of GB National Electricity Transmission System (NETS) Minimum Demand
DATA DESCRIPTION |  | Outturn | Weather Corrected Outturn | F.Yr | F.Yr | F.Yr. | F.Yr. | F.Yr. | F.Yr | F.Yr. | F.Yr | F.Yr | F.Yr | DATA CAT
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Date of GB Transmission System Minimum Demand (provided by NESO) | [13 empty] | PC.9.3.2.4
Time of GB Transmission System Minimum Demand (provided by NESO)
Connection Point Group Demand at time of GB Transmission System Minimum (MW)
Connection Point Group Demand at time of GB Transmission System Minimum (MVAr)
Embedded Power Station Export | Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source 1 |  |  | 1: Note 2 |  | May be repeated if necessary to include each applicable Energy Source (Including Electricity Storage)
| Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source 2 |  |  | 1: Note 2
| Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source n |  |  | 1: Note 2
| Output from Power Stations and Customer Generating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source 1 |  |  | 1: Note 2
| Output from Power Stations and Customer Geerating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source 2 |  |  | 1: Note 2
| Output from Power Stations and Customer Geerating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source n |  |  | 1: Note 2
Increase in the Group Demand associated with Latent Demand |  |  |  | 1: Note 3
Import to Subtransmission connected Electricity Storage Plant (MW) |  |  |  | 1: Note 3
Import to Electricity Storage Plant connected below below the subtransmission voltage (MW) |  |  |  | 1: Note 3
Provided by NESO
Required data
Optional data as this will be the demand data set included in the Solved PSM
Not required
Note 1 | Output from Power Stations relates to observed values for outturn and estimates for financial years 1 to 10.
Note 2 | These forecasts may be able made using the same methodology as at present - but this is not necessarily the case depending on the Network Operator's current treatment of Electricity Storage Import. The Network Operator needs to clarify their assumptions.
Note 3 | These values may be populated in due course following clarification of industry requirements. At the present there is no requirement forecast the effect of DSR.
Note on E10: F.Yr 1 - current financial year.

## 21d Wk 2 Conn Pt Summer Min
To be completed as part of Week 2 data submission | [13 empty] | Schedule 21d
Network Operator:
Connection Point: | [7 empty] | Access Group:
Time of Connection Point Summer Minimum Group Demand | [15 empty] | Should this be Gross Demand rather than Group Demand?
DATA DESCRIPTION |  | Outturn | Weather Corrected Outturn | F.Yr | F.Yr | F.Yr. | F.Yr. | F.Yr. | F.Yr | F.Yr. | F.Yr | F.Yr | F.Yr | DATA CAT
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Date of Connection Point Min Group Demand | [13 empty] | PC.9.3.2.5
Time of Connection Point Min Group Demand
Connection Point Min Group Demand (MW)
Connection Point Min Group Demand (MVAr)
Embedded Power Station Export | Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source 1 | [13 empty] | May be repeated if necessary to include each applicable Energy Source (Including Electricity Storage)
Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source 2
Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source n
Output from Power Stations and Customer Generating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source 1
Output from Power Stations and Customer Geerating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source 2
Output from Power Stations and Customer Geerating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source n
Increase in the Group Demand associated with Latent Demand
Import to Subtransmission connected Electricity Storage Plant (MW)
Import to Electricity Storage Plant connected below below the subtransmission voltage (MW)
Required data
Not required
Note on E10: F.Yr 1 - current financial year.

## 21e Wk 2 GSP Summer Daylght Min
To be completed as part of Week 2 data submission | [13 empty] | Schedule 21e
Network Operator:
Connection Point: | [7 empty] | Access Group:
Time of Connection Point Summer Daylight Minimum Group Demand
DATA DESCRIPTION |  | Outturn | Weather Corrected Outturn | F.Yr | F.Yr | F.Yr. | F.Yr. | F.Yr. | F.Yr. | F.Yr. | F.Yr | F.Yr | F.Yr | DATA CAT
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Date of Connection Point Summer Min Group Demand | [13 empty] | PC.9.3.2.6
Time of Connection Point Summer Min Group Demand
Connection Point Summer Min Group Demand (MW) | [15 empty] | Check that the definition of weather correction relates to Summer
Connection Point Summer Min Group Demand (MVAr)
Embedded Power Station Export | Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source 1 | [13 empty] | May be repeated if necessary to include each applicable Energy Source (Including Electricity Storage)
Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source 2
Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source n
Output from Power Stations and Customer Generating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source 1
Output from Power Stations and Customer Geerating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source 2
Output from Power Stations and Customer Geerating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source n
Increase in the Group Demand associated with Latent Demand
Import to Subtransmission connected Electricity Storage Plant (MW)
Import to Electricity Storage Plant connected below below the subtransmission voltage (MW)
Required data
Not required
Note on E10: F.Yr 1 - current financial year.

## 22 Wk28 Access Period
To be completed as part of Week 28 data submission | [13 empty] | Schedule 22
Network Operator:
Connection Point: | [7 empty] | Access Group:
Connection Point Access Period
DATA DESCRIPTION |  | Outturn | Weather Corrected Outturn | F.Yr | F.Yr | F.Yr. | F.Yr. | F.Yr. | F.Yr | F.Yr | F.Yr | F.Yr | F.Yr | DATA CAT
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Transmission Interface Circuit: | [16 empty] | Repeat for each Transmission Interface Circuit at the Connection Point
Date of Connection Point Peak Group Demand during the Access Period | [13 empty] | PC.9.3.3.6
Time of Connection Point Peak Group Demand during the Access Period
Access Period Peak Group Demand at Connection Point (MW)
Access Period Peak Group Demand at Connection Point (MVAr)
Embedded Generation Export | Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source 1 |  |  | 1: Note 1 |  | May be repeated if necessary to include each applicable Energy Source (Including Electricity Storage)
| Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source 2 |  |  | 1: Note 1
| Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source n |  |  | 1: Note 1
| Output from Power Stations and Customer Generating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source 1 |  |  | 1: Note 1
| Output from Power Stations and Customer Geerating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source 2 |  |  | 1: Note 1
| Output from Power Stations and Customer Geerating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source n |  |  | 1: Note 1
Increase in the Group Demand associated with Latent Demand |  |  |  | 1: Note 2
Import to Subtransmission connected Electricity Storage Plant (MW) |  |  |  | 1: Note 2
Import to Electricity Storage Plant connected below below the subtransmission voltage (MW) |  |  |  | 1: Note 2
| Reference to post-fault operational configuration in the PSM Scenario Document | [12 empty] | PC.G.5.1.3.1 | May be repeated if necessary to identify each post-fault action.
| Reference to post-fault revision of the node and branch data associated with the operational configuration in the PSM Scenario Document |  |  | 2: This information shall be provided in the PSM Scenario Document
Reference to the description of the actions and timescales involved in effecting the post-fault actions (e.g. auto-switching, manual, teleswitching, overload protection operation etc) associated with the operational configuration in the PSM Scenario Document
| Associated Connection Point within the same Access Group: | [14 empty] | Repeat for each Connection Point within the same Access Group
| Group Demand at associated Connection Point (MVAr) at the data & time of Connection Point Group Real Demand during the Access Period | [12 empty] | PC.9.3.2.7
Group Demand at associated Connection Point (MW) at the data & time of Connection Point Peak Group Demand during the Access Period
Embedded Generation Export | Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source 1 |  |  | 1: Note 1 |  | May be repeated if necessary to include each applicable Energy Source (Including Electricty Storage)
| Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source 2 |  |  | 1: Note 1
| Output from Sub-transmission connected Power Stations and Customer Generating Plant (MW) Aggregated Energy Source n |  |  | 1: Note 1
| Output from Power Stations and Customer Generating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source 1 |  |  | 1: Note 1
| Output from Power Stations and Customer Geerating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source 2 |  |  | 1: Note 1
| Output from Power Stations and Customer Geerating Plant connected below the subtransmission voltage (MW) Aggregated Energy Source n |  |  | 1: Note 1
Increase in the Group Demand associated with Latent Demand |  |  |  | 1: Note 2
Import to Subtransmission connected Electricity Storage Plant (MW) |  |  |  | 1: Note 2
Import to Electricity Storage Plant connected below below the subtransmission voltage (MW) |  |  |  | 1: Note 2
Required data
Not required
Detailed information shall be provided in the PSM Scenario Document. A summary may be provided here.
Note 1 | These forecasts may be able made using the same methodology as at present - but this is not necessarily the case depending on the DNOs current treatment of Electricity Storage Import. The DNO needs to clarify their assumptions.
Note 2 | These values may be populated in due course following clarification of industry requirements. At the present there is no requirement forecast the effect of DSR.
Note on E10: F.Yr 1 - current financial year.

## Other time specified (hidden)
Comments | [11 empty] | Schedule 11
Network Operator:
Connection Point: | [7 empty] | Access Group:
Date & time specified by NGET or User
DATA DESCRIPTION |  | Outturn | Weather Corrected Outturn | F.Yr | F.Yr | F.Yr. | F.Yr. | F.Yr. | F.Yr | F.Yr | F.Yr | DATA CAT
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Date specified by NGET or User | [11 empty] | PC.A.4.3.3
Time specified by NGET or User | [11 empty] | PC.A.4.3.3
Connection Point Demand at time specified by NGET (MW) | [11 empty] | PC.A.4.3.1
Connection Point Demand at time specified by NGET (MVAr) | [11 empty] | PC.A.4.3.1
Deduction made from Connection Point Demand at time specified by NGET for Small Power Stations, Medium Power Stations and Customer Generating Plant (MW) | [11 empty] | PC.A.4.3.2 (a)
Reference to Single Line Diagram for time and date specified by NGET | [11 empty] | PC.A.4.3.5
Reference to node and branch data spreadsheet for time and date specified by NGET | [11 empty] | PC.A.2.2
Reference to post-fault revision of Single Line Diagram | [11 empty] | PC.A.4.5 | May be repeated if necessary to identify each post-fault action.
Reference to post-fault revision of the node and branch data associated with the Single Line Diagram | [11 empty] | PC.A.4.5
Reference to the description of the actions and timescales involved in effecting the post-fault actions (e.g. auto-switching, manual, teleswitching, overload protection operation etc) | [11 empty] | PC.A.4.5
Associated Connection Point within the same Access Group: | [11 empty] | PC.A.4.3.1 | Repeat for each Connection Point within the same Access Group | bar: 4 to 8
Demand at associated Connection Point at time of 'parent' Connection Point peak (MW) | [11 empty] | PC.A.4.3.1
Demand at associated Connection Point at time of 'parent' Connection Point peak (Mvar) | [11 empty] | PC.A.4.3.1
Deduction made from Demand at associated Connection Point for Small Power Stations, Medium Power Stations and Customer Generating Plant (MW) | [11 empty] | PC.A.4.3.2 (a)
Required Data
Optional data
Not required

## 21G Embedded Gen >=1MW
To be completed as part of Week 2 & 28 data submission | [17 empty] | Schedule 23
Network Operator:
Connection Point:
Embedded Power Stations ≥ 1MW
[11 empty] | If Control Mode = Voltage |  |  | If Control Mode = Power Factor
Indentifer of Related PSM Generation Object | Connection Date (Financial Year for generator connecting after week 24 2015) | Name of connection point to the sub-transmission system | Individual or Aggregated Equivalent model | Location if wind or PV |  |  |  |  | Registered Capacity MW | Control Mode | Voltage Set Point Per Unit | Min Reactive Capability MVAr | Max Reactive Capability MVAr | Target Power Factor MW | Loss of Mains Protection Type | Loss of Mains Protection Settings | Connected / Accepted-to-Connect | Comments | Data Category
|  |  |  | Latitude | Longitude | Grid Ref | Energy Source | Part of CHP | [10 empty] | PC.9.3.2.7, PC.9.3.3.8
Connected
Accepted-to-Connect
Required data

## 24 Embedded Gen < 1MW
To be completed as part of Week 2 & 28 data submission |  |  |  | Schedule 24
Network Operator:
Connection Point:
Embedded Power Stations < 1MW
Indentifer of Related PSM Generation Object | Name of connection point to the sub-transmission system | Aggregated Energy Source | Aggregated Registered Capacity (MW) | Data Category
PC.9.3.2.8, PC.9.3.3.8
Required data
Advanced Fuel (produced via gasification or pyrolysis of biofuel or waste)
Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage)
Biofuel - Landfill gas
Biofuel - Sewage gas
Biofuel - Other
Biomass
Fossil - Brown coal/lignite
Fossil - Coal gas
Fossil - Gas
Fossil - Hard coal
Fossil - Oil
Fossil - Oil shale
Fossil - Peat
Fossil - Other
Geothermal
Hydrogen
Nuclear
Solar
Stored Energy (all stored energy irrespectve of the original energy source)
Waste
Water (flowing water or head of water)
Wind
Other
Data not available

## 25 Embedded Gen Constraints
To be completed as part of Week 2 & 28 data submission | [13 empty] | Schedule 25
Network Operator:
Connection Point:
Add unts for System Constrained Capacity
Embedded Generation Constraints
[15 empty] | XXX | Is this dat ameaningful - grey out
DATA DESCRIPTION |  | Outurn | Weather Corrected Outturn | F.Yr | F.Yr | F.Yr. | F.Yr. | F.Yr. | F.Yr | F.Yr | F.Yr | F.Yr | F.Yr | DATA CAT
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Where the Network Operator’s System places a constraint on the capacity of an Embedded Large Power Station
Power Station Name | [13 empty] | PC.9.3.2.9 | This PC9 reference s for week 2 only - is it required for week 28?
Generating Unit
System Constrained Capacity
Reactive Despach Network Restriction
Where the Network Operator’s System places a constraint on the capacity of an Offshore Transmission System at an Interface Point
Offshore Transmission System Name | [13 empty] | PC.9.3.2.9
Interface Point Name
Maximum Export Capacity
Maximum Import Capacity
Required data
Not required
Note on E10: F.Yr 1 - current financial year.

## 26 Embedded Gen Cap Forecast
Schedule 26
Network Operator:
Connection Point: | [5 empty] | Access Group:
Embedded Power Stations Forecasts
DATA DESCRIPTION |  | F.Yr | F.Yr | F.Yr. | F.Yr. | F.Yr. | F.Yr. | F.Yr. | F.Yr | F.Yr | F.Yr | DATA CAT
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Forecasted Customer Generation Summary | [11 empty] | PC.9.3.2.10
Forecast aggregate Registered Capacity from Power Stations and Customer Generating Plant connected (MW) Technology Type 1 | [12 empty] | What's the difference between a Power Station and Customer Generation Plant?
Forecast aggregate Registered Capacity from Power Stations and Customer Generating Plant connected (MW) Technology Type 2
Forecast aggregate Registered Capacity from Power Stations and Customer Generating Plant connected (MW) Technology Type 3
Forecast aggregate Registered Capacity from Power Stations and Customer Generating Plant connected (MW) Technology Type 4
Forecast aggregate Registered Capacity from Power Stations and Customer Generating Plant connected (MW) Technology Type 5
Forecast aggregate Registered Capacity from Power Stations and Customer Generating Plant connected (MW) Technology Type n
Note 1. Values provided should be represented as cumulative values across the financial years
Note 2. The F.Yr listed is the date by when the Network Operator wish to connect the generation that will be used to assess the impact on the National Electricity Transmission System
Note 3. Network Operators to add additional rows where a technology type forecast is to be provided.
Required data
Note on C10: F.Yr 1 - current financial year.

## 30a Access Group
To be completed as part of Week 28 data submission | [84 empty] | Schedule 30a
Network Operator:
Access Group
| Overview |  |  |  |  | Process | [8 empty] | 8 WEEK ACCESS PERIOD SCHEDULE
[6 empty] | √ |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93
|  | Start Week | End Week | Maint Year | Duration | Potential Concurrent Outages | START NO | END NO | 8 WEEK ACCESS PERIOD SCHEDULE 15: Year 1; 8 WEEK ACCESS PERIOD SCHEDULE 46: Year 2; 8 WEEK ACCESS PERIOD SCHEDULE 77: Year 3 | Concurrent Check - Sum | Concurrent Check - Sum Product | Concurrent Check - Ratio
[9 empty] | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | This schedule needs to be modified and called a new Schedule as there is already a different Scheduel 17
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | The tab should relate to Access Period not Access Group
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Spring(Normal Cold)
Summer
Autumn(Normal Hot)
Note on B7: Overview of Access Group This Schedule defines an actual Access Group. The aim of an Access Group is to identify those Connection Points (and the TICs at each) which need to be assessed simultaneously when considering whether each TIC is maintainable in accordance with GBSQSS. An Access Group has since been taken within the Grid Code to mean informally “a group of Connection Points, with are either permanently interconnected or where a post fault action will see them become so (and as a consequence of this a transfer of demand from one Connection Point to another occurs). All Connection Points will be considered as either an Access Group on their own (if they are not at any time interconnected through the DNO network to another Connection Point), or for a group of interconnected Connection Points to be considered as an Access Group. Each Connection Point on the GB Transmission System would then be in one, and only one Access Group as by definition if a Connection Point were to be in two Access Groups then both Access Groups should be merged into a single larger Access Groups as they would be interconnected through the shared Connection Point. Once an Access Groups had been identified then all compliance assessments would take place on the Access Group basis. For planning purposes,national Grid assumes that the maintenance season will be British Summer Time (BST) (i.e. engineering weeks 13 to 43) Note: The process does not aim to operationally place or constrain planned operational outages. This activity will still be one for the operational teams at both National Grid and DNOs and will continue to take place nearer to real time following the processes set out in the Operating Codes of the Grid Code. The planning process concentrates solely on the theoretical maintainability of the assets. If operational teams find that in practice maintenance is proving extremely difficult at a site this will need to be fed into the planning discussions in the same manner as it is currently. martin.banton: January 2007
Note on G7: Data should only be entered into the spreadsheet in the cells coloured tan. The rest will be automatically populated..... One work book should be prepared for each Access Group. 1. Choose the work sheet that most closely matches the potential Access Group 2. Enter the name of the Access Group 3. Down the left hand side enter the Connection Points followed by the specific Transmission Interface Circuits (SGT's) at each Connection Point. (P.C.A.4.1.4.1) 4. For each Transmission Interface Circuit (SGT) enter the maintenance period start and end weeks - In Calendar Week numbers.(P.C.A.4.1.4.2/3) 5.Enter the maintenace year. 6. The Duration, Potential Concurrent Outages, and Maintenance Outage Period will automatically be displayed. 7.Add/delete any futher Connection Points and TIC's as required 8. Delete any unused work sheets 9. Submit to NGET by calendar Week 6 (P.C.A.4.1.4.4) Note: martin.banton: Jan 2007
Note on CY10: Jeremy Caplin: This column is sum of 3 years - ie no of weeks of outage. The bottom row is sum of each week. The next col to right is the sumproduct of this row and the sum row. If there are any concurrent outages in this row, then the sum row will contain some 2s rather than 1s for weeks where this row is 1, and so the sum product will be greater than then sum of this row. eg sum sump 00111000000 3 6 00000011100 3 3 10000000000 1 1 00111000000 3 6 10222011100
Comments

## 30b Access Period
To be completed as part of Week 28 data submission | [5 empty] | Schedule 30b
Network Operator:
Access Group: | [6 empty] | New Schedule added
Ref PC.9.3.3.7
Asset Identifier | Start Week | End Week | Mainenance Year (1, 2 or 3) | Duration | Potential Concurrent Outage (Y/N) |  | Asset Identifier - Transmission Interface Curcuit Identifier?
Required data
Note on D9: F.Yr 1 - current financial year.

## Basic Data Sheet (hidden)
Comments | [11 empty] | Schedule 11
Network Operator:
Connection Point: | [7 empty] | Access Group:
Connection Point Demand at the time of - a) maximum Demand b) peak GB Transmission System Demand c) minimum GB Transmission System Demand d) maximum Demand during Access Period e) specified by either NGET or a User (delete as appropriate)
DATA DESCRIPTION |  | Outturn | Weather Corrected Outturn | F.Yr | F.Yr | F.Yr. | F.Yr. | F.Yr. | F.Yr | F.Yr | F.Yr | DATA CAT
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Name of Transmission Interface Circuit considered out of service during Access Period. | [13 empty] | Repeat for each Transmission Interface Circuit at the Connection Point
Date of Connection Point Peak Demand | [11 empty] | PC.A.4.3.3
Time of Connection Point Peak Demand | [11 empty] | PC.A.4.3.3
Connection Point Demand (MW) | [11 empty] | PC.A.4.3.1
Connection Point Demand (MVAr) | [11 empty] | PC.A.4.3.1
Deduction made at Connection Point for Small Power Stations, Medium Power Stations and Customer Generating Plant (MW) | [11 empty] | PC.A.4.3.2 (a)
Reference to Single Line Diagram valid at time quoted. | [11 empty] | PC.A.4.3.5
Reference to node and branch data spreadsheet valid at time quoted. | [11 empty] | PC.A.2.2
Reference to post-fault revision of Single Line Diagram | [11 empty] | PC.A.4.5 | May be repeated if necessary to identify each post-fault action.
Reference to post-fault revision of the node and branch data associated with the Single Line Diagram | [11 empty] | PC.A.4.5
Reference to the description of the actions and timescales involved in effecting the post-fault actions (e.g. auto-switching, manual, teleswitching, overload protection operation etc) | [11 empty] | PC.A.4.5
Associated Connection Point within the same Access Group: | [11 empty] | PC.A.4.3.1 | Repeat for each Connection Point within the same Access Group | bar: 4 to 8
Demand at associated Connection Point (MW) | [11 empty] | PC.A.4.3.1
Demand at associated Connection Point (MVAr) | [11 empty] | PC.A.4.3.1
Deduction made at Connection Point for Small Power Stations, Medium Power Stations and Customer Generating Plant (MW) | [11 empty] | PC.A.4.3.2 (a)
Required Data
Optional data
Not required

## Example Access Period (hidden)
Comments | [11 empty] | Schedule 11
Network Operator: | Electricity Networks Ltd
Connection Point: | Camblewick Green | [6 empty] | Access Group: | North-East Group (Camblewick Green - Trumpton - Chigley)
Connection Point Access Period
DATA DESCRIPTION |  | Outturn | Weather Corrected Outturn | F.Yr. 1 | F.Yr. 2 | F.Yr. 3 | F.Yr. 4 | F.Yr. 5 | F.Yr. 6 | F.Yr. 7 | F.Yr. 8 | DATA CAT
|  |  |  | 2008/9 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2015/16
Transmission Interface Circuit: |  | SGT1A or SGT2A or SGT3A | [11 empty] | Repeat for each Transmission Interface Circuit at the Connection Point
Date of Connection Point Peak Demand during the Access Period |  | 2007-12-18 |  | 2008-12-15 | 2009-12-14 | 2010-12-13 | 2011-12-19 | 2012-12-17 | 2013-12-16 | 2014-12-15 | 2015-12-14 | PC.A.4.3.3
Time of Connection Point Peak Demand during the Access Period |  | 17:30 |  | 17:30 | 17:30 | 17:30 | 17:30 | 17:30 | 17:30 | 17:30 | 17:30 | PC.A.4.3.3
Access Period Peak Demand at Connection Point (MW) |  | 230 | 228 | 230 | 233 | 235 | 238 | 240 | 246 | 250 | 260 | PC.A.4.3.1
Access Period Peak Demand at Connection Point (MVAr) |  | 65 | 62 | 65 | 67 | 70 | 72.8263 | 73.9186 | 75.0274 | 76.1528 | 80.8258 | PC.A.4.3.1
Deduction made from Access Period Demand at Connection Point for Small Power Stations, Medium Power Stations and Customer Generating Plant (MW) |  | 22 | 20 | 23 | 23 | 24 | 25 | 26 | 30 | 33 | 40 | PC.A.4.3.2 (a)
Reference to Single Line Diagram for time of Access Period |  |  |  | 2008-12-15: Diagram Number 123 Version A (2007-2012); 2013-12-16: Diagram Number 123 Version B (2013-) | PC.A.4.3.5
Reference to node and branch data spreadsheet for time of Access Period |  |  |  | 2008-12-15: Network data spreadsheet 123 Version A (2007-2012); 2013-12-16: Network data spreadsheet 123-Version B (2013-) | PC.A.2.2
Reference to post-fault revision of Single Line Diagram |  |  |  | 2008-12-15: Diagram Number 123 Version A (2007-2011): In the event of a fault outage of an SGT at Camblewick Green, nodes 1 and 2 at Town Hall 132kV to be merged; 2013-12-16: Diagram Number 123 Version B (2013-): In the event of a fault outage of an SGT at Camblewick Green, nodes 1 and 2 at Town Hall 132kV to be merged | PC.A.4.5 | May be repeated if necessary to identify each post-fault action.
Reference to post-fault revision of the node and branch data associated with the Single Line Diagram | [11 empty] | PC.A.4.5
Reference to the description of the actions and timescales involved in effecting the post-fault actions (e.g. auto-switching, manual, teleswitching, overload protection operation etc) |  |  |  | 2008-12-15: Switching at Town Hall 132kV to be carried out by telecontrol within 10 minutes | PC.A.4.5
Associated Connection Point within the same Access Group: |  | Trumpton | [9 empty] | PC.A.4.3.1 | Repeat for each Connection Point within the same Access Group | bar: 2011-12-19 to 2015-12-14
Access Period Demand at associated Connection Point (MW) |  | 215 | 211 | 214.165 | 217.3775 | 220.6381 | 223.9477 | 227.3069 | 230.7165 | 234.1773 | 237.6899 | PC.A.4.3.1
Access Period Demand at associated Connection Point (MVAr) |  | 62.7083 | 61.5417 | 62.4648 | 63.4018 | 64.3528 | 65.3181 | 66.2979 | 67.2923 | 68.3017 | 69.3262 | PC.A.4.3.1
Deduction made from Access Period Demand at associated Connection Point for Small Power Stations, Medium Power Stations and Customer Generating Plant (MW) |  | 10 | 10 | 10 | 10 | 12 | 12 | 15 | 15 | 15 | 15 | PC.A.4.3.2 (a)
Associated Connection Point within the same Access Group: |  | Chigley | [9 empty] | PC.A.4.3.1 | Repeat for each Connection Point within the same Access Group | bar: 2011-12-19 to 2015-12-14
Access Period Demand at associated Connection Point (MW) |  | 305 | 300 | 304 | 309 | 314 | 319 | 324 | 350 | 355 | 360 | PC.A.4.3.1
Access Period Demand at associated Connection Point (MVAr) |  | 88.9583 | 87.5 | 88.6667 | 90.125 | 91.5833 | 93.0417 | 94.5 | 95.9583 | 97.4167 | 98.875 | PC.A.4.3.1
Deduction made from Access Period Demand at associated Connection Point for Small Power Stations, Medium Power Stations and Customer Generating Plant (MW) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PC.A.4.3.2 (a)