## Totals
Data Set | 2023 | Notes
Total Generation Output | 296740034.535 | All Tranmission connected generation, Interconnectors Import and best estimate of embedded PV and wind
Renewable Generation (Inc CHP & Biomass) | 115131234.477 | Embedded PV and Wind, Transmission connected wind, hydro, biomass and CHP
Bids on Renewable Generation (Inc CHP & Biomass) | 4036306.088 | Embedded PV and Wind, Transmission connected wind, hydro, biomass and CHP
Renewable Generation (Exc CHP & Inc Biomass) | 108416912.128 | Embedded PV and Wind, Transmission connected wind, hydro, biomass
Bids on Renewable Generation (Exc CHP & Inc Biomass) | 4023543.174 | Embedded PV and Wind, Transmission connected wind, hydro, biomass
Renewable Generation (Exc CHP & Biomass) | 95206990.526 | Embedded PV and Wind, Transmission connected wind, hydro
Bids on Renewable Generation (Exc CHP & Biomass) | 4022670.811 | Embedded PV and Wind, Transmission connected wind, hydro
Renewable output (Including CHP & Biomass) vs Total generation output | 38.8%
Bid volume of renewables(Inc CHP & Inc Biomass) against Total Renewable generation output (Inc CHP & Inc Biomass) | 3.506%
Renewable output (Exc CHP & Inc Biomass) vs Total generation output | 36.54%
Bid volume of renewables(Exc CHP & Inc Biomass) against Total Renewable generation output (Exc CHP & Inc Biomass) | 3.711%
Renewable output (Excluding CHP & Biomass) vs Total generation output | 32.08%
Bid volume of renewables(Exc CHP & Biomass) against Total Renewable generation output (Exc CHP & Biomass) | 4.225%
|  | Constraint Type | Generation Recource | Downward Redispatching (MWh) | Constraint Type | Generation resource | Downward Redispatching (MWh) |  | Trend
|  | RoCoF | INTERCONNECTOR | 450 |  |  | 2022 | 2023
|  |  | PUMP STORAGE | 2551.544 | ROCOF | CHP | 0 | 0 | 0
|  | Thermal | AGGREGATED | 456.506 |  | BIOMASS | 0 | 0 | 0
|  |  | BATTERY | 3404.365 |  | HYDRO | 0 | 0 | 0
|  |  | BIOMASS | 872.363 |  | WIND | 19 | 0 | -19
|  |  | CCGT | 873049.068 |  | Sub-Total | 19 | 0 | -19
|  |  | CHP | 12762.914 | Thermal | CHP | 32 | 12763 | 12731
|  |  | GAS | 650.364 |  | BIOMASS | 135 | 872 | 737
|  |  | INTERCONNECTOR | 78077 |  | HYDRO | 394645.683 | 325914 | -68731.683
|  |  | NPSHYD | 325913.721 |  | WIND | 3184784.696 | 3696757 | 511972.304
|  |  | OTHER | 1014.366 |  | Sub-Total | 3579565.379 | 4036306 | 456740.621
|  |  | PUMP STORAGE | 682821.7 | Voltage | CHP | 0 | 0 | 0
|  |  | WIND | 3696757.09 |  | BIOMASS | 0 | 0 | 0
|  | Voltage |  | 0 |  | HYDRO | 0 | 0 | 0
[6 empty] | WIND | 0 | 0 | 0
[6 empty] | Sub-Total | 0 | 0 | 0
[5 empty] | All type | TOTAL | 3579584.379 | 4036306 | 456721.621

## BidActions
Fuel_TYPE | BID_VOL_MWh
BIOMASS | -872.363 | Bids on Renewable Generation (Inc CHP & Biomass) | 4036306.088
CHP | -12762.914 | Bids on Renewable Generation (Exc. CHP & Inc Biomass) | 4023543.174
NPSHYD | -325913.721 | Bids on Renewable Generation (Exc. CHP & Biomass) | 4022670.811
WIND | -3696757.09

## EMB_Wind_Solar
YEAR | MONTH | TYPE | OP_MET_MWH | INT_IMP_EXP
2023 | APR | SOLAR | 1487659 | NO_INT | Emb.Wind & Solar | 28950509
2023 | APR | WIND | 1085015.5 | NO_INT
2023 | AUG | SOLAR | 1578526 | NO_INT
2023 | AUG | WIND | 1071767.5 | NO_INT
2023 | DEC | SOLAR | 217367.5 | NO_INT
2023 | DEC | WIND | 2067332.5 | NO_INT
2023 | FEB | SOLAR | 614033 | NO_INT
2023 | FEB | WIND | 1312892 | NO_INT
2023 | JAN | SOLAR | 421415 | NO_INT
2023 | JAN | WIND | 1767479 | NO_INT
2023 | JUL | SOLAR | 1629477 | NO_INT
2023 | JUL | WIND | 1334134 | NO_INT
2023 | JUN | SOLAR | 2061999 | NO_INT
2023 | JUN | WIND | 813911.5 | NO_INT
2023 | MAR | SOLAR | 842582.5 | NO_INT
2023 | MAR | WIND | 1336296.5 | NO_INT
2023 | MAY | SOLAR | 1944766.5 | NO_INT
2023 | MAY | WIND | 817354 | NO_INT
2023 | NOV | SOLAR | 487956 | NO_INT
2023 | NOV | WIND | 1360891 | NO_INT
2023 | OCT | SOLAR | 824394.5 | NO_INT
2023 | OCT | WIND | 1440269 | NO_INT
2023 | SEP | SOLAR | 1273700.5 | NO_INT
2023 | SEP | WIND | 1159290 | NO_INT

## Interconnector_Import
YEAR | MONTH | TYPE | OP_MET_MWH | INT_IMP_EXP
2023 | APR | BRITNED | -468889.5 | INT_IMPORT | Total_INT_Import | 33474306
2023 | APR | ELEC | -337263.5 | INT_IMPORT
2023 | APR | EWIC | -22527 | INT_IMPORT
2023 | APR | IFA | -606708.5 | INT_IMPORT
2023 | APR | IFA2 | -318683.5 | INT_IMPORT
2023 | APR | MOYLE | -39831.5 | INT_IMPORT
2023 | APR | NEMO | -323759.5 | INT_IMPORT
2023 | APR | NSL | -718362 | INT_IMPORT
2023 | AUG | BRITNED | -226434 | INT_IMPORT
2023 | AUG | ELEC | -312492.5 | INT_IMPORT
2023 | AUG | EWIC | -18177.5 | INT_IMPORT
2023 | AUG | IFA | -500812.5 | INT_IMPORT
2023 | AUG | IFA2 | -291694 | INT_IMPORT
2023 | AUG | MOYLE | -29610 | INT_IMPORT
2023 | AUG | NEMO | -233539.5 | INT_IMPORT
2023 | AUG | NSL | -942381.5 | INT_IMPORT
2023 | DEC | BRITNED | -244641 | INT_IMPORT
2023 | DEC | ELEC | -369315.5 | INT_IMPORT
2023 | DEC | EWIC | -34816.5 | INT_IMPORT
2023 | DEC | IFA | -698898 | INT_IMPORT
2023 | DEC | MOYLE | -51689 | INT_IMPORT
2023 | DEC | NEMO | -363688.5 | INT_IMPORT
2023 | DEC | NSL | -396983 | INT_IMPORT
2023 | FEB | BRITNED | -533756.5 | INT_IMPORT
2023 | FEB | ELEC | -282721 | INT_IMPORT
2023 | FEB | EWIC | -43779 | INT_IMPORT
2023 | FEB | IFA | -588771.5 | INT_IMPORT
2023 | FEB | IFA2 | -279648.5 | INT_IMPORT
2023 | FEB | MOYLE | -76613.5 | INT_IMPORT
2023 | FEB | NEMO | -356256 | INT_IMPORT
2023 | FEB | NSL | -782521 | INT_IMPORT
2023 | JAN | BRITNED | -523415.5 | INT_IMPORT
2023 | JAN | ELEC | -389440.5 | INT_IMPORT
2023 | JAN | EWIC | -32556.5 | INT_IMPORT
2023 | JAN | IFA | -426460.5 | INT_IMPORT
2023 | JAN | IFA2 | -329912.5 | INT_IMPORT
2023 | JAN | MOYLE | -66313 | INT_IMPORT
2023 | JAN | NEMO | -382732.5 | INT_IMPORT
2023 | JAN | NSL | -694781.5 | INT_IMPORT
2023 | JUL | BRITNED | -277185.5 | INT_IMPORT
2023 | JUL | ELEC | -277814.5 | INT_IMPORT
2023 | JUL | EWIC | -14535.5 | INT_IMPORT
2023 | JUL | IFA | -491201 | INT_IMPORT
2023 | JUL | IFA2 | -250498 | INT_IMPORT
2023 | JUL | MOYLE | -20156.5 | INT_IMPORT
2023 | JUL | NEMO | -287116.5 | INT_IMPORT
2023 | JUL | NSL | -768561 | INT_IMPORT
2023 | JUN | BRITNED | -280133 | INT_IMPORT
2023 | JUN | ELEC | -401457.5 | INT_IMPORT
2023 | JUN | EWIC | -3851 | INT_IMPORT
2023 | JUN | IFA | -647885 | INT_IMPORT
2023 | JUN | IFA2 | -334615 | INT_IMPORT
2023 | JUN | MOYLE | -9446 | INT_IMPORT
2023 | JUN | NEMO | -281536 | INT_IMPORT
2023 | JUN | NSL | -689057.5 | INT_IMPORT
2023 | MAR | BRITNED | -619805.5 | INT_IMPORT
2023 | MAR | ELEC | -464539 | INT_IMPORT
2023 | MAR | EWIC | -29536.5 | INT_IMPORT
2023 | MAR | IFA | -650378 | INT_IMPORT
2023 | MAR | IFA2 | -437868 | INT_IMPORT
2023 | MAR | MOYLE | -54327.5 | INT_IMPORT
2023 | MAR | NEMO | -457956.5 | INT_IMPORT
2023 | MAR | NSL | -797106 | INT_IMPORT
2023 | MAY | BRITNED | -316605 | INT_IMPORT
2023 | MAY | ELEC | -565906 | INT_IMPORT
2023 | MAY | EWIC | -12755 | INT_IMPORT
2023 | MAY | IFA | -1137953.5 | INT_IMPORT
2023 | MAY | IFA2 | -527798.5 | INT_IMPORT
2023 | MAY | MOYLE | -19005.5 | INT_IMPORT
2023 | MAY | NEMO | -353673.5 | INT_IMPORT
2023 | MAY | NSL | -866192.5 | INT_IMPORT
2023 | NOV | BRITNED | -380164 | INT_IMPORT
2023 | NOV | ELEC | -454623 | INT_IMPORT
2023 | NOV | EWIC | -12764.5 | INT_IMPORT
2023 | NOV | IFA | -650670.5 | INT_IMPORT
2023 | NOV | IFA2 | -272958 | INT_IMPORT
2023 | NOV | MOYLE | -19069.5 | INT_IMPORT
2023 | NOV | NEMO | -451701.5 | INT_IMPORT
2023 | NOV | NSL | -763799.5 | INT_IMPORT
2023 | OCT | BRITNED | -272805 | INT_IMPORT
2023 | OCT | ELEC | -432552 | INT_IMPORT
2023 | OCT | EWIC | -2050.5 | INT_IMPORT
2023 | OCT | IFA | -482989.5 | INT_IMPORT
2023 | OCT | IFA2 | -422008.5 | INT_IMPORT
2023 | OCT | MOYLE | -8858 | INT_IMPORT
2023 | OCT | NEMO | -330745.5 | INT_IMPORT
2023 | OCT | NSL | -554935 | INT_IMPORT
2023 | SEP | BRITNED | -121514.5 | INT_IMPORT
2023 | SEP | ELEC | -361054.5 | INT_IMPORT
2023 | SEP | EWIC | -11691 | INT_IMPORT
2023 | SEP | IFA | -280857 | INT_IMPORT
2023 | SEP | IFA2 | -338787 | INT_IMPORT
2023 | SEP | MOYLE | -26861 | INT_IMPORT
2023 | SEP | NEMO | -162888.5 | INT_IMPORT
2023 | SEP | NSL | -970624.5 | INT_IMPORT

## Renewable_inc_CHP_BIOMASS
Row Labels | Sum of TOTAL_OPERATIONAL_METERED_MWH
BIOMASS | 13209921.602
CHP | 6133376.505
NPSHYD | 3250908.557
WIND | 63586518.813
Grand Total | 86180725.477
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.

## Renewable_Exc_CHP_inc_BIOMASS
Row Labels | Sum of TOTAL_OPERATIONAL_METERED_MWH
BIOMASS | 13209921.602
NPSHYD | 3250908.557
PUMP STORAGE | -580945.844
WIND | 63586518.813
Grand Total | 79466403.128
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.

## Renewable_Exc_CHP_Exc_BIOMASS
Row Labels | Sum of TOTAL_OPERATIONAL_METERED_MWH
NPSHYD | 3250908.557
PUMP STORAGE | -580945.844
WIND | 63586518.813
Grand Total | 66256481.526
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.

## Total Generation by Fuel Type
Row Labels | Sum of TOTAL_OPERATIONAL_METERED_MWH
AGGREGATED | 153877.806
BATTERY | -39771.123
BIOMASS | 13209921.602
CCGT | 81150528.111
CHP | 6133376.505
COAL | 2751112.083
DIESEL | 900.704
GAS | 437747.864
LOAD RESPONSE | 4775.673
NPSHYD | 3250908.557
NUCLEAR | 38297998.863
OCGT | 79744.284
OTHER | 25871879.205
PUMP STORAGE | -580945.844
SOLAR | 6372.948
SYNCHRONOUS COMPENSATOR | 273.484
WIND | 63586518.813
Grand Total | 234315219.535
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.

## Daily_System_BIDS
| ROCOF |  | THERMAL
SETT_DATE | INTERCONNECTOR | PUMP STORAGE | AGGREGATED | BATTERY | BIOMASS | CCGT | CHP | GAS | INTERCONNECTOR | NPSHYD | OTHER | PUMP STORAGE | WIND | Grand Total
2023-01-02 | [12 empty] | -1.975 | -1.975
2023-01-03 | [9 empty] | -439.709 |  | -2118.509 | -1756.426 | -4314.644
2023-01-04 | [9 empty] | -234.099 |  | -791.558 | -262.2 | -1287.857
2023-01-05 | [9 empty] | -1726.325 |  | -1776.774 | -6478.105 | -9981.204
2023-01-06 |  |  |  | -8.958 | [5 empty] | -1747.283 |  | -5124.143 | -16802.968 | -23683.352
2023-01-07 | [9 empty] | -1633.984 |  | -1680.425 | -11908.41 | -15222.819
2023-01-08 |  |  |  | -4 | [5 empty] | -3085.416 |  | -6102.375 | -20708.511 | -29900.302
2023-01-09 |  |  |  | -12.834 | [5 empty] | -565.808 |  | -752.048 | -1556.527 | -2887.217
2023-01-10 | [9 empty] | -1987.753 |  | -5665.886 | -5244.179 | -12897.818
2023-01-11 |  |  |  | -2.519 | [5 empty] | -2833.442 |  | -4540.39 | -20531.046 | -27907.397
2023-01-12 | [9 empty] | -43.35 |  |  | -381.92 | -425.27
2023-01-13 | [9 empty] | -32.149 |  | -661.708 | -1269.484 | -1963.341
2023-01-14 | [9 empty] | -217.4 |  | -481.992 | -1029.166 | -1728.558
2023-01-15 | [9 empty] | -142.058 |  | -1018.408 | -2704.345 | -3864.811
2023-01-16 |  |  |  | -9.783 |  | -9158.86 |  |  |  | -861.578 |  | -181.933 | -463.74 | -10675.894
2023-01-17 | [5 empty] | -17093.911 |  |  |  | -1413.771 |  | -2520.6 | -4194.109 | -25222.391
2023-01-18 |  |  |  | -8 |  | -21933.405 |  |  |  | -258.525 |  | -1058.5 | -1503.011 | -24761.441
2023-01-19 |  |  |  | -16.667 |  | -18339.155 |  |  |  | -1573.248 |  | -5016.975 | -2157.587 | -27103.632
2023-01-20 | [5 empty] | -2951.701 |  |  |  | -0.6 |  | -43.458 | -21.736 | -3017.495
2023-01-21 | [9 empty] | -989.963 |  | -2452.277 | -6062.443 | -9504.683
2023-01-22 | [9 empty] | -890.175 |  | -1775.849 | -5300.834 | -7966.858
2023-01-23 | [5 empty] | -10904.017 |  |  |  | -1293.453 |  | -3740.699 | -1897.385 | -17835.554
2023-01-24 | [5 empty] | -14807.552 |  |  |  | -692.16 |  | -3601.716 | -2803.269 | -21904.697
2023-01-25 | [5 empty] | -17864.987 |  | -20.583 |  | -1493.172 |  | -2476.65 | -6405.81 | -28261.202
2023-01-26 | [5 empty] | -9795.974 | -14.633 | [6 empty] | -9810.607
2023-01-27 |  |  |  | -3.867 |  | -3074.277 |  |  |  | -23.733 |  | -1518.05 | -31.625 | -4651.552
2023-01-28 | [5 empty] | -1295.361 |  |  |  | -8.808 |  | -151.35 | -60.089 | -1515.608
2023-01-29 | [9 empty] | -4908.084 |  | -6871.9 | -35852.114 | -47632.098
2023-01-30 | [9 empty] | -1825.104 |  | -1483.251 | -24535.217 | -27843.572
2023-01-31 | [5 empty] | -105.275 |  | -32.916 |  | -5293.317 |  | -12911.939 | -39161.755 | -57505.202
2023-02-01 | [5 empty] | -222.125 |  |  |  | -2270.45 |  | -4430.436 | -24653.253 | -31576.264
2023-02-02 | [9 empty] | -3413.249 |  | -5600.493 | -21665.872 | -30679.614
2023-02-03 |  |  |  | -8.892 |  | -881.214 |  |  |  | -748.483 |  | -757.436 | -13476.366 | -15872.391
2023-02-04 | [9 empty] | -1001.276 |  | -2515.076 | -10493.771 | -14010.123
2023-02-05 | [5 empty] | -96.4 |  |  |  | -322.232 |  | -1559.608 | -2649.459 | -4627.699
2023-02-06 | [5 empty] | -15416.678 |  |  |  | -1013.308 |  | -2682.275 | -814.749 | -19927.01
2023-02-07 |  |  |  | -3.501 |  | -9117.517 |  | -13.599 |  | -406.133 |  | -1356.234 | -42.881 | -10939.865
2023-02-08 |  |  |  | -10.333 |  | -1134.798 |  |  |  | -5728.887 |  | -9038.402 | -21843.09 | -37755.51
2023-02-09 | [5 empty] | -852.04 |  |  |  | -3484.763 |  | -3040.668 | -18238.429 | -25615.9
2023-02-10 | [5 empty] | -715.849 |  | -32.583 |  | -4933.948 |  | -6229.568 | -21080.347 | -32992.295
2023-02-11 | [5 empty] | -940.592 |  |  |  | -1868.328 |  | -1396.3 | -4134.014 | -8339.234
2023-02-12 | [5 empty] | -6419.659 | [7 empty] | -6419.659
2023-02-13 | [5 empty] | -1835.75 | [7 empty] | -1835.75
2023-02-14 | [5 empty] | -1133.225 |  |  |  | -21 |  | -153.808 | -91.25 | -1399.283
2023-02-15 | [9 empty] | -2459.212 |  | -6127.823 | -6283.49 | -14870.525
2023-02-16 | [9 empty] | -51.908 |  | -441.95 | -3913.772 | -4407.63
2023-02-17 | [9 empty] | -2389.31 |  | -7436.929 | -36445.329 | -46271.568
2023-02-18 | [9 empty] | -349.491 |  | -4616.727 | -7746.77 | -12712.988
2023-02-19 | [9 empty] | -5169.152 |  | -10980.114 | -30816.074 | -46965.34
2023-02-20 |  |  |  | -14.534 | [5 empty] | -4288.971 |  | -4158.849 | -48348.621 | -56810.975
2023-02-21 | [5 empty] | -15018.767 |  |  |  | -122.667 |  | -606.767 |  | -15748.201
2023-02-22 | [5 empty] | -6195.502 |  |  |  | -744.317 |  | -1455.35 | -821.183 | -9216.352
2023-02-23 |  |  |  | -2.917 |  | -223.333 |  |  |  | -2402.675 |  | -3161.393 | -6879.077 | -12669.395
2023-02-24 |  |  |  | -5.6 | [5 empty] | -1084.592 |  | -4050.276 | -5904.014 | -11044.482
2023-02-25 | [5 empty] | -124.465 | [7 empty] | -124.465
2023-02-26 | [5 empty] | -4842.478 |  |  | -1718 |  |  |  |  | -6560.478
2023-02-28 | [5 empty] | -2811.522 | -331.661 |  |  |  |  | -72.6 |  | -3215.783
2023-03-01 | [5 empty] | -11814.09 | -1518.562 | -45.934 |  | -223.383 |  | -724.101 | -110.423 | -14436.493
2023-03-03 | [5 empty] | -1354.883 | [7 empty] | -1354.883
2023-03-06 | [5 empty] | -10631.748 | [5 empty] | -75.1 | -452.098 | -11158.946
2023-03-10 | [5 empty] | -352.968 | [7 empty] | -352.968
2023-03-11 | [9 empty] | -39.475 |  | -1167.867 |  | -1207.342
2023-03-12 | [11 empty] | -78.792 |  | -78.792
2023-03-13 | [9 empty] | -769.416 |  | -3765.135 | -13541.107 | -18075.658
2023-03-14 | [7 empty] | -8 |  |  |  | -35.999 |  | -43.999
2023-03-15 | [5 empty] | -300.187 | [5 empty] | -1092.95 |  | -1393.137
2023-03-16 | [9 empty] | -87.633 |  |  |  | -87.633
2023-03-18 | [9 empty] | -53.537 |  |  | -156.64 | -210.177
2023-03-19 | [12 empty] | -323.84 | -323.84
2023-03-20 | [5 empty] | -155.952 | [5 empty] | -60.808 |  | -216.76
2023-03-21 |  |  |  | -33.504 |  |  |  | -10.675 |  | -1688.224 |  | -4131.706 | -9538 | -15402.109
2023-03-22 |  |  |  | -1.933 | [5 empty] | -3648.529 |  | -7158.197 | -67180.084 | -77988.743
2023-03-23 |  |  |  | -4 | [5 empty] | -127.608 |  | -673.575 | -3263.291 | -4068.474
2023-03-24 | [12 empty] | -228.8 | -228.8
2023-03-25 | [12 empty] | -240.24 | -240.24
2023-03-26 | [5 empty] | -2114.168 |  |  |  | -1234.76 |  | -515.1 | -636.269 | -4500.297
2023-03-27 | [5 empty] | -4856.338 |  |  |  | -294.449 |  | -5.333 | -152.525 | -5308.645
2023-03-28 | [9 empty] | -64.933 |  |  | -323.84 | -388.773
2023-03-29 |  |  |  | -13.333 |  |  |  |  | -5150 | -2605.299 |  | -8129.707 | -6557.615 | -22455.954
2023-03-30 | [8 empty] | -20899 |  | -151 |  | -37.583 | -21087.583
2023-03-31 | [8 empty] | -2700 |  |  |  |  | -2700
2023-04-03 |  |  |  | -1.9 | -503.363 | -2368.795 | -93.075 | -19.675 |  | -649.299 |  | -1046.309 | -201.333 | -4883.749
2023-04-04 |  |  |  | -17.65 |  | -17272.681 |  | -21.583 |  | -2093.139 |  | -7628.843 | -14063.489 | -41097.385
2023-04-05 |  |  | -5.53 | -8.899 |  | -13897.459 | -10.85 | -0.717 |  | -1418.734 |  | -5510.15 | -28122.856 | -48975.195
2023-04-06 |  |  |  | -29.632 | [5 empty] | -412.976 |  | -7903.929 | -10952.828 | -19299.365
2023-04-08 | [9 empty] | -9.125 |  | -60.359 |  | -69.484
2023-04-09 |  |  |  | -38.416 | [5 empty] | -1954.624 |  | -16718.608 | -61833.314 | -80544.962
2023-04-10 |  |  |  | -1.167 | [5 empty] | -1170.716 |  | -4956.474 | -53567.459 | -59695.816
2023-04-11 |  |  |  | -0.45 | [5 empty] | -3163.982 |  | -10044.673 | -55040.116 | -68249.221
2023-04-12 |  |  |  | -84.668 | [5 empty] | -4918.306 |  | -12689.191 | -65837.782 | -83529.947
2023-04-13 |  |  |  | -10.551 | [5 empty] | -331.249 |  | -1447.008 | -9944.465 | -11733.273
2023-04-14 | [5 empty] | -1311.234 | -485.658 | [5 empty] | -95.817 | -1892.709
2023-04-15 |  |  |  | -7.734 | [5 empty] | -127.791 |  | -71.142 | -432.139 | -638.806
2023-04-16 |  |  |  | -61.383 |  | -343.641 |  |  |  | -282.032 |  | -2104.997 | -3765.842 | -6557.895
2023-04-17 | [5 empty] | -10948.906 | [7 empty] | -10948.906
2023-04-18 | [5 empty] | -12774.436 |  |  |  | -603.557 |  | -816.099 | -237.778 | -14431.87
2023-04-19 | [9 empty] | -354.734 |  | -2410.798 | -7736.446 | -10501.978
2023-04-20 |  |  |  | -22.166 | [5 empty] | -1168.039 |  | -922.499 | -13.789 | -2126.493
2023-04-21 |  |  | -9.458 | -71 |  |  |  | -17.417 |  | -1804.286 |  | -4718.458 | -10327.043 | -16947.662
2023-04-22 |  |  |  | -23.265 | [5 empty] | -21.183 |  | -683.166 | -12.737 | -740.351
2023-04-23 | [5 empty] | -9944.59 |  |  |  | -1374.635 |  | -4820.034 | -15498.453 | -31637.712
2023-04-24 | [5 empty] | -22432.311 |  |  |  | -582.934 |  | -1980.674 | -10654.336 | -35650.255
2023-04-25 | [5 empty] | -8642.746 | [6 empty] | -133.49 | -8776.236
2023-04-26 | [5 empty] | -649.734 | [7 empty] | -649.734
2023-04-27 | [5 empty] | -13189.145 | -35.267 |  |  | -24.467 |  | -1641.857 | -687.461 | -15578.197
2023-04-28 | [5 empty] | -2003.565 | [6 empty] | -122.907 | -2126.472
2023-04-29 | [5 empty] | -674.977 | [6 empty] | -10.733 | -685.71
2023-05-01 | [5 empty] | -3964.549 | [7 empty] | -3964.549
2023-05-02 | [5 empty] | -687.13 | [7 empty] | -687.13
2023-05-04 |  |  |  | -19.867 |  | -567.325 |  |  |  | -659.701 |  | -16098.808 | -55429.934 | -72775.635
2023-05-05 | [5 empty] | -4168.649 |  |  |  | -550.317 |  | -4917.367 | -22317.75 | -31954.083
2023-05-06 |  |  |  | -0.3 |  | -2176.341 |  |  |  | -237.867 |  | -1600.05 | -61.508 | -4076.066
2023-05-07 | [5 empty] | -1504.901 |  |  |  | -40.166 |  | -1590.834 | -391.536 | -3527.437
2023-05-08 |  |  |  | -5.833 | [5 empty] | -551.448 |  | -2008.2 | -8788.828 | -11354.309
2023-05-09 | [5 empty] | -1996.544 | [7 empty] | -1996.544
2023-05-10 | [5 empty] | -3463.421 | [7 empty] | -3463.421
2023-05-11 | [5 empty] | -3590.781 | [7 empty] | -3590.781
2023-05-12 | [5 empty] | -422.101 | -643.49 | [6 empty] | -1065.591
2023-05-13 | [5 empty] | -3007.827 |  |  | -600 |  |  |  |  | -3607.827
2023-05-14 | [11 empty] | -91.675 | -14.583 | -106.258
2023-05-16 | [9 empty] | -60.001 |  | -75.1 | -2244.503 | -2379.604
2023-05-17 | [9 empty] | -361.966 |  | -1485.858 | -953.446 | -2801.27
2023-05-18 | [9 empty] | -162.284 |  | -307.417 | -307.583 | -777.284
2023-05-20 | [5 empty] | -510.386 | [6 empty] | -4.15 | -514.536
2023-05-22 | [9 empty] | -138.583 |  | -1365.255 | -593.047 | -2096.885
2023-05-23 | [5 empty] | -2117.246 | -206.134 |  |  | -269.964 |  | -1563.667 | -2056.434 | -6213.445
2023-05-24 |  |  |  | -0.8 | [5 empty] | -521.358 |  | -4865.255 | -7819.984 | -13207.397
2023-05-27 |  |  |  | -0.667 | [5 empty] | -718.67 |  | -2090.888 | -11143.588 | -13953.813
2023-05-29 | [12 empty] | -22.55 | -22.55
2023-05-31 | [5 empty] | -121.783 | [7 empty] | -121.783
2023-06-08 |  |  |  | -20.026 | [5 empty] | -0.213 |  | -6.558 | -81.602 | -108.399
2023-06-09 | [9 empty] | -75.188 |  | -120.958 | -99.76 | -295.906
2023-06-10 |  |  |  | -5.2 | [5 empty] | -200.975 |  | -252.064 | -1481.101 | -1939.34
2023-06-11 |  |  |  | -29.733 | [5 empty] | -15.125 |  | -322.458 | -687.989 | -1055.305
2023-06-12 |  |  | -131 |  |  | -176.926 | [7 empty] | -307.926
2023-06-14 | [5 empty] | -61.249 | [7 empty] | -61.249
2023-06-17 | [5 empty] | -57.158 | [7 empty] | -57.158
2023-06-19 |  |  | -124.326 | -18.206 |  | -20.167 |  | -165.266 |  | -105.8 |  | -1886.824 | -868.061 | -3188.65
2023-06-20 |  |  |  |  | -369 | -4561.121 | -259.675 | [5 empty] | -197.428 | -5387.224
2023-06-21 |  |  |  | -0.15 | [5 empty] | -76.801 |  | -285.935 | -283.964 | -646.85
2023-06-22 |  |  | -2.975 | -0.15 |  | -110.969 |  |  | -870 |  |  | -170 |  | -1154.094
2023-06-23 |  |  | -6.083 | -18.516 |  | -12.198 |  |  | -2075 | -80.8 | -175 | -787.25 | -860.729 | -4015.576
2023-06-24 |  |  |  | -13.552 | [7 empty] | -8 |  | -21.552
2023-06-25 |  |  |  | -14.933 | [5 empty] | -284.742 |  | -8605.154 | -10695.969 | -19600.798
2023-06-26 | [5 empty] | -9.668 |  |  |  | -21.367 |  | -3560.979 | -288.013 | -3880.027
2023-06-27 | [9 empty] | -43.8 |  | -1562.718 | -591.694 | -2198.212
2023-06-28 | [11 empty] | -1657.776 |  | -1657.776
2023-06-29 |  |  |  | -2.4 | [7 empty] | -246.783 | -341.173 | -590.356
2023-06-30 | [11 empty] | -542.142 | -963.862 | -1506.004
2023-07-01 |  |  |  | -2.066 | [5 empty] | -122.033 |  | -2891.484 | -67976.073 | -70991.656
2023-07-02 |  |  |  | -3.667 | [7 empty] | -4008.675 | -55226.419 | -59238.761
2023-07-03 |  |  |  | -88.851 | [5 empty] | -694.407 |  | -6289.667 | -49844.28 | -56917.205
2023-07-04 | [9 empty] | -202.025 |  | -33 | -3837.075 | -4072.1
2023-07-05 | [5 empty] | -302.033 | [6 empty] | -76.466 | -378.499
2023-07-06 |  |  |  | -16.967 |  | -1238.947 |  |  |  | -2068.399 |  | -7024.702 | -18246.63 | -28595.645
2023-07-07 |  |  |  | -4.583 |  | -2943.629 | -529.333 |  |  | -1106.282 |  | -8963.601 | -61909.633 | -75457.061
2023-07-08 | [5 empty] | -402.95 | -161.258 |  |  | -1213.162 |  | -10996.881 | -19157.031 | -31931.282
2023-07-09 | [11 empty] | -1825.885 |  | -1825.885
2023-07-10 | [5 empty] | -287.604 | [5 empty] | -91 |  | -378.604
2023-07-11 | [5 empty] | -3109.036 |  | -16 |  | -143.242 |  |  | -1354.184 | -4622.462
2023-07-13 | [5 empty] | -460.15 | [6 empty] | -132.291 | -592.441
2023-07-14 |  |  |  | -31.184 |  |  |  |  | -5435 | -853.343 | -15 | -3539.068 | -14716.631 | -24590.226
2023-07-15 | [9 empty] | -466.566 |  | -1321.375 | -11240.785 | -13028.726
2023-07-16 | [9 empty] | -932.358 |  | -4702.876 | -6019.688 | -11654.922
2023-07-17 |  | -157.868 | [10 empty] | -69.189 | -227.057
2023-07-18 |  | -128.001 |  |  |  | -575.873 | -148.908 | [6 empty] | -852.782
2023-07-19 | [9 empty] | -44.183 |  |  |  | -44.183
2023-07-22 | -450 | [7 empty] | -7750 |  | -200 | -138.425 | -76.751 | -8615.176
2023-07-23 | [8 empty] | -15480 |  | -315 |  | -3531.784 | -19326.784
2023-07-26 |  | -71.35 | [11 empty] | -71.35
2023-07-27 | [11 empty] | -202.25 | -2294.041 | -2496.291
2023-07-30 | [12 empty] | -1352.222 | -1352.222
2023-07-31 |  |  |  | -4.55 | [8 empty] | -631.491 | -636.041
2023-08-01 | [12 empty] | -809.192 | -809.192
2023-08-02 | [12 empty] | -1314.509 | -1314.509
2023-08-03 | [7 empty] | -46.05 |  | -976.246 |  | -1256.851 | -725.489 | -3004.636
2023-08-04 | [12 empty] | -401.393 | -401.393
2023-08-05 | [8 empty] | -1250 |  |  |  | -40.858 | -1290.858
2023-08-06 | [12 empty] | -3779.266 | -3779.266
2023-08-07 | [12 empty] | -265.037 | -265.037
2023-08-08 | [9 empty] | -334.374 |  | -749.183 | -569.632 | -1653.189
2023-08-09 | [11 empty] | -2.5 | -826.79 | -829.29
2023-08-11 |  | -2194.325 |  | -52.194 | [5 empty] | -380.205 |  | -439.6 | -5911.006 | -8977.33
2023-08-12 |  |  |  | -185.904 | [5 empty] | -2223.249 |  | -9134.637 | -51517.698 | -63061.488
2023-08-13 |  |  |  | -78.324 | [5 empty] | -418.389 |  | -5501.36 | -6350.718 | -12348.791
2023-08-14 | [5 empty] | -572.767 | [7 empty] | -572.767
2023-08-15 | [8 empty] | -300 |  |  |  |  | -300
2023-08-17 | [5 empty] | -2448.371 |  |  |  | -546.8 |  | -1795.893 | -2689.492 | -7480.556
2023-08-18 |  |  |  | -20.499 |  | -2753.723 |  |  |  | -2224.069 |  | -6281.544 | -53317.654 | -64597.489
2023-08-19 |  |  |  | -9.616 |  |  | -202.075 |  |  | -2305.472 |  | -3700.747 | -76734.148 | -82952.058
2023-08-20 |  |  | -50 | [6 empty] | -8.833 |  | -18.134 | -281.266 | -358.233
2023-08-21 |  |  | -28.333 | -4.033 |  | -7.684 |  |  |  | -2572.732 |  | -4468.945 | -23905.929 | -30987.656
2023-08-22 |  |  |  | -4.033 |  | -26082.758 |  |  |  | -2653.059 |  | -3516.568 | -13030.609 | -45287.027
2023-08-23 | [5 empty] | -1436.468 | [7 empty] | -1436.468
2023-08-25 | [5 empty] | -8182.001 | [6 empty] | -50.725 | -8232.726
2023-08-26 | [8 empty] | -400 |  |  |  | -7.358 | -407.358
2023-08-27 | [9 empty] | -151.784 |  | -1781.237 | -849.88 | -2782.901
2023-08-29 | [5 empty] | -4301.858 |  |  |  | -763.333 |  | -1483.453 | -7806.618 | -14355.262
2023-08-30 |  |  |  | -6.609 |  | -1548.34 |  |  |  | -218.408 |  |  | -1475.474 | -3248.831
2023-08-31 | [5 empty] | -3750.975 | [7 empty] | -3750.975
2023-09-01 | [5 empty] | -4397.104 | [7 empty] | -4397.104
2023-09-02 | [5 empty] | -9485.208 |  |  |  | -1145.362 |  |  | -3135.368 | -13765.938
2023-09-03 | [5 empty] | -8517.093 |  |  |  | -1738.848 |  | -2006.937 | -40758.531 | -53021.409
2023-09-04 | [5 empty] | -22289.287 |  |  |  | -1161.751 |  |  | -8294.904 | -31745.942
2023-09-05 | [5 empty] | -2019.096 |  |  |  | -108.308 |  |  |  | -2127.404
2023-09-06 | [5 empty] | -15916.906 |  |  |  | -92.083 |  |  | -207.959 | -16216.948
2023-09-07 | [5 empty] | -11318.67 |  |  |  | -339.833 |  |  | -81.243 | -11739.746
2023-09-08 | [5 empty] | -113.549 | [7 empty] | -113.549
2023-09-09 | [5 empty] | -8790.646 |  |  |  | -610.282 |  | -19.333 | -3901.977 | -13322.238
2023-09-10 | [5 empty] | -406.563 |  |  |  | -7.125 |  |  |  | -413.688
2023-09-11 |  |  |  | -63.954 |  | -4981.694 |  |  |  | -362.225 |  | -1049.723 | -5333.953 | -11791.549
2023-09-12 | [5 empty] | -9209.27 | -846.721 | [5 empty] | -1488.297 | -11544.288
2023-09-13 |  |  |  | -1.248 |  | -10792.808 |  |  |  | -897.621 |  | -1367.619 | -10566.78 | -23626.076
2023-09-14 |  |  |  | -5.166 |  | -27903.069 |  |  |  | -2166.276 |  | -6736.714 | -32526.886 | -69338.111
2023-09-15 | [5 empty] | -16719.547 | [7 empty] | -16719.547
2023-09-16 |  |  |  | -30.884 |  | -14182.845 |  |  | -700 |  |  | -389.625 | -224.471 | -15527.825
2023-09-17 | [8 empty] | -9200 | -1068.283 |  | -106.058 | -36.25 | -10410.591
2023-09-18 |  |  |  | -18.604 |  |  |  | -12.666 | -1550 | -1737.356 |  | -3235.942 | -3450.842 | -10005.41
2023-09-19 | [9 empty] | -1073.89 |  | -751.979 | -7737.808 | -9563.677
2023-09-20 |  |  |  | -2.334 | [5 empty] | -4034.502 |  | -8188.253 | -48987.235 | -61212.324
2023-09-21 | [5 empty] | -1481.866 |  |  |  | -4983.691 |  | -4601.633 | -23683.324 | -34750.514
2023-09-22 |  |  |  | -21.2 |  | -2574.658 |  |  |  | -1800.595 |  | -515 | -3414.844 | -8326.297
2023-09-23 |  |  |  | -1.467 | [5 empty] | -869.959 |  | -1187.268 | -4785.1 | -6843.794
2023-09-24 |  |  |  | -12.717 |  |  |  |  | -300 | -3045.717 |  | -5342.224 | -57262.698 | -65963.356
2023-09-25 |  |  | -50 | -21.35 |  | -2413.908 |  | -50 |  | -4861.528 |  | -2510.518 | -75949.16 | -85856.464
2023-09-26 |  |  |  | -42.467 | [5 empty] | -5541.951 |  | -3112.02 | -28160.707 | -36857.145
2023-09-27 |  |  |  | -27.566 | [5 empty] | -3007.185 |  | -1873.66 | -31617.733 | -36526.144
2023-09-28 | [9 empty] | -4035.75 |  | -3458.725 | -61089.774 | -68584.249
2023-09-29 | [9 empty] | -4214.523 |  | -5586.237 | -57489.35 | -67290.11
2023-09-30 |  |  |  | -73.367 | [5 empty] | -596.726 |  | -597.093 | -2678.632 | -3945.818
2023-10-01 |  |  |  | -101.217 |  | -6931.309 |  |  |  | -2286.793 |  | -4213.636 | -13946.21 | -27479.165
2023-10-02 |  |  |  | -14.287 |  | -12272.409 |  |  |  | -3723.317 |  | -1607.6 | -13355.807 | -30973.42
2023-10-03 |  |  |  | -39.238 | [5 empty] | -2310.924 |  | -1684.25 | -16025.795 | -20060.207
2023-10-04 |  |  |  | -26.366 | [5 empty] | -2902.271 |  | -3813.502 | -13009.185 | -19751.324
2023-10-05 | [5 empty] | -0.052 |  |  |  | -1318.007 |  | -250.4 | -15836.554 | -17405.013
2023-10-06 |  |  |  | -8.24 | [5 empty] | -1793.731 |  | -212.25 | -37714.571 | -39728.792
2023-10-07 |  |  |  | -9.626 |  | -2068.633 |  |  |  | -124.234 |  |  | -496.231 | -2698.724
2023-10-08 |  |  |  | -7.992 | [5 empty] | -372.241 |  |  | -8252.377 | -8632.61
2023-10-09 | [5 empty] | -2248.921 |  |  |  | -24.333 |  | -548.308 | -50.492 | -2872.054
2023-10-10 |  |  |  | -1.05 | [5 empty] | -1417.673 |  | -5747.092 | -47089.899 | -54255.714
2023-10-11 |  |  |  | -0.3 | [5 empty] | -3089.132 |  | -2299.051 | -45075.161 | -50463.644
2023-10-12 | [5 empty] | -11362.474 |  |  |  | -2380.669 |  | -376.067 | -10111.812 | -24231.022
2023-10-13 |  |  |  | -4.534 |  |  |  |  | -1100 | -4213.534 |  | -3131.15 | -42981.578 | -51430.796
2023-10-14 |  |  |  | -22.283 | [5 empty] | -2841.726 |  | -3340.118 | -43911.052 | -50115.179
2023-10-15 | [5 empty] | -2385.766 |  |  |  | -367.527 |  | -520.299 | -8206.145 | -11479.737
2023-10-16 | [5 empty] | -6061.779 |  |  |  | -1063.072 |  | -291.783 | -3.072 | -7419.706
2023-10-17 | [12 empty] | -246.675 | -246.675
2023-10-18 | [9 empty] | -2886.233 |  | -5946.577 | -44830.33 | -53663.14
2023-10-19 |  |  |  | -13.509 | [5 empty] | -3414.448 |  | -11220.793 | -33456.893 | -48105.643
2023-10-20 |  |  |  | -8.708 | [5 empty] | -4829.216 |  | -7471.374 | -62625.557 | -74934.855
2023-10-21 |  |  |  | -0.3 | [5 empty] | -3648.546 |  | -2081.8 | -30706.221 | -36436.867
2023-10-22 | [5 empty] | -2536.696 | [7 empty] | -2536.696
2023-10-23 | [11 empty] | -166.725 | -202.4 | -369.125
2023-10-24 | [5 empty] | -8784.057 |  |  |  | -330.076 |  | -677.366 | -705.696 | -10497.195
2023-10-25 |  |  |  | -3.467 |  | -16618.944 |  |  |  | -1295.362 |  | -2944.026 | -16425.746 | -37287.545
2023-10-26 |  |  |  | -14.2 |  | -18914.239 |  |  |  | -895.523 |  | -1926.742 | -11606.702 | -33357.406
2023-10-27 |  |  |  | -3.841 | [5 empty] | -2869.729 |  | -4030.576 | -44186.893 | -51091.039
2023-10-28 |  |  |  | -10.242 | [5 empty] | -2723.384 |  | -17.333 | -50017.201 | -52768.16
2023-10-29 |  |  |  | -23.233 | [5 empty] | -1654.19 |  | -2357.367 | -47645.667 | -51680.457
2023-10-30 |  |  |  | -43.035 | [5 empty] | -1860.15 |  | -905.092 | -8747.373 | -11555.65
2023-10-31 |  |  |  | -2.666 | [5 empty] | -656.459 |  | -2601.953 | -1191.404 | -4452.482
2023-11-01 |  |  |  | -6.8 | [5 empty] | -3274.834 |  | -7387.846 | -26490.325 | -37159.805
2023-11-02 |  |  |  | -10.062 | [5 empty] | -1080.4 |  | -473.225 | -8918.276 | -10481.963
2023-11-03 | [9 empty] | -1394.683 |  | -527.6 | -16568.541 | -18490.824
2023-11-04 | [12 empty] | -32 | -32
2023-11-05 | [12 empty] | -462.09 | -462.09
2023-11-07 | [5 empty] | -32 |  |  |  | -84.425 |  | -53.983 | -173.825 | -344.233
2023-11-08 |  |  |  | -52.132 | [5 empty] | -1220.301 |  | -8353.26 | -42025.067 | -51650.76
2023-11-09 | [5 empty] | -6.846 |  |  |  | -62.991 |  | -222.225 | -1484.025 | -1776.087
2023-11-10 |  |  |  | -3.85 |  | -816.644 |  |  |  | -13.125 |  | -71.809 | -1548.207 | -2453.635
2023-11-11 | [5 empty] | -1180.77 |  |  |  | -146.708 |  | -76.209 | -1674.038 | -3077.725
2023-11-12 |  |  |  | -28.045 | [5 empty] | -707.298 |  | -936.533 | -4903.811 | -6575.687
2023-11-13 |  |  |  | -100.4 |  | -32.428 |  |  |  | -1622.567 |  | -3695.567 | -27673.562 | -33124.524
2023-11-14 |  |  |  | -32.226 |  | -163.301 | [5 empty] | -231.208 | -562.399 | -989.134
2023-11-15 | [5 empty] | -1686.848 | [6 empty] | -378.035 | -2064.883
2023-11-16 | [5 empty] | -3341.647 | [7 empty] | -3341.647
2023-11-17 | [5 empty] | -3374.524 |  |  |  | -292.15 |  | -358.85 | -1563.402 | -5588.926
2023-11-18 |  |  |  | -21.783 | [5 empty] | -1636.1 |  | -2491.45 | -18430.886 | -22580.219
2023-11-20 | [5 empty] | -18797.244 |  |  |  | -3043.834 |  | -2860.76 | -14284.842 | -38986.68
2023-11-21 |  |  |  | -30.567 |  | -18097.666 | -1369.389 |  |  | -1319.008 |  | -2389.716 | -9751.389 | -32957.735
2023-11-22 |  |  |  | -23.729 |  | -770.09 |  |  |  | -4592.204 |  | -8438.569 | -65914.676 | -79739.268
2023-11-23 |  |  |  | -8.001 |  | -970.932 |  |  |  | -5190.48 |  | -5516.276 | -66975.031 | -78660.72
2023-11-24 |  |  |  | -14.375 |  | -147.299 |  |  |  | -3469.079 |  | -3337.941 | -35107.293 | -42075.987
2023-11-25 | [5 empty] | -2610.638 | -50.426 | [5 empty] | -3263.027 | -5924.091
2023-11-26 | [5 empty] | -3522.749 | [7 empty] | -3522.749
2023-11-27 |  |  |  | -11.7 |  | -17030.55 |  |  |  | -1351.092 |  | -2475.085 | -7387.203 | -28255.63
2023-11-28 |  |  |  | -51.064 |  | -12628.418 | -3147.331 |  |  | -1706.085 |  | -1270.2 | -2302.417 | -21105.515
2023-11-29 |  |  |  | -19.812 |  | -4067.221 |  |  |  | -8.5 |  | -89.066 | -3081.451 | -7266.05
2023-11-30 |  |  |  | -3.417 |  | -6033.267 | -922.507 | [6 empty] | -6959.191
2023-12-01 | [5 empty] | -3435.826 | [7 empty] | -3435.826
2023-12-02 | [5 empty] | -4631.884 | [7 empty] | -4631.884
2023-12-03 |  |  |  | -9.773 |  | -5083.822 | -363.225 |  | -200 |  |  |  |  | -5656.82
2023-12-04 |  |  |  | -0.8 |  | -12768.395 | -534.917 |  | -400 |  |  | -1040.625 | -2199.472 | -16944.209
2023-12-05 | [5 empty] | -4041.675 | -727.144 | [6 empty] | -4768.819
2023-12-06 |  |  | -48.801 | -37.834 |  | -10988.259 |  | -136.7 |  | -1412.136 | -34.783 | -762.6 | -7229.67 | -20650.783
2023-12-07 |  |  |  | -1.9 | [5 empty] | -2034.684 |  | -4531.042 | -30071.156 | -36638.782
2023-12-08 |  |  |  | -99.133 | [5 empty] | -366.366 |  | -952.468 | -4963.936 | -6381.903
2023-12-09 | [9 empty] | -246.05 |  | -181.551 | -9183.1 | -9610.701
2023-12-10 |  |  |  | -70.318 |  | -428.618 | [6 empty] | -129.442 | -628.378
2023-12-12 |  |  |  | -1.6 |  | -16909.428 | -126.109 |  |  | -558.24 |  | -2887.151 | -6125.013 | -26607.541
2023-12-13 |  |  |  | -59.822 |  | -4678.899 | -34.566 |  |  | -199.241 |  | -812.299 | -818.133 | -6602.96
2023-12-14 |  |  |  | -97.992 |  | -13710.898 |  |  |  | -42.108 |  | -2799.616 | -3929.479 | -20580.093
2023-12-15 |  |  |  | -49.642 |  | -244.399 |  |  |  | -2164.807 |  | -6403.143 | -12645.038 | -21507.029
2023-12-16 |  |  |  | -75.339 | [5 empty] | -5058.705 |  | -8646.518 | -57009.938 | -70790.5
2023-12-17 |  |  |  | -49.376 | [5 empty] | -3137.59 |  | -7073.885 | -40710.197 | -50971.048
2023-12-18 | [9 empty] | -2043.974 |  | -2750.366 | -6948.586 | -11742.926
2023-12-19 |  |  |  | -61.298 | [5 empty] | -3684.383 |  | -5685.624 | -27796.184 | -37227.489
2023-12-20 |  |  |  | -28.316 | [5 empty] | -3177.118 |  | -6108.294 | -33942.311 | -43256.039
2023-12-21 |  |  |  | -120.202 | [5 empty] | -3555.555 |  | -7239.628 | -55696.319 | -66611.704
2023-12-22 |  |  |  | -63.81 |  | -15.866 |  |  |  | -3594.243 |  | -3043.009 | -45753.23 | -52470.158
2023-12-23 | [9 empty] | -1949.287 |  | -3082.867 | -28479.099 | -33511.253
2023-12-24 | [9 empty] | -2460.606 |  | -1801.416 | -52802.911 | -57064.933
2023-12-25 | [9 empty] | -611.326 |  | -412.3 | -6590.194 | -7613.82
2023-12-26 |  |  |  | -34.242 |  | -46.401 |  |  |  | -227.916 |  | -212.642 | -764.679 | -1285.88
2023-12-27 |  |  |  | -71.459 | [5 empty] | -3528.456 |  | -6376.302 | -40370.781 | -50346.998
2023-12-28 |  |  |  | -69.166 | [5 empty] | -3560.475 | -123.583 | -6624.535 | -14397.186 | -24774.945
2023-12-29 | [12 empty] | -299.2 | -299.2
2023-12-30 |  |  |  | -96.253 | [5 empty] | -641.743 |  | -4703.053 | -6014.554 | -11455.603
2023-12-31 | [9 empty] | -57.016 |  |  |  | -57.016